## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-24 00:00:00 | 7.128 | 214.227 | 9.184 | 208.194 | 10.461 | 211.167 | 11.377 | 205.633 | 21.348 | 890 | 39.072 | 63.8622
2019-07-24 00:15:00 | 7.656 | 213.2 | 8.782 | 210.878 | 9.662 | 212.833 | 10.66 | 206.567 | 20.848 | 889.383 | 40.491 | 63.8657
2019-07-24 00:30:00 | 10.146 | 208.827 | 11.423 | 204.609 | 12.431 | 207.5 | 13.328 | 203.3 | 20.631 | 889.892 | 44.949 | 64.3084
2019-07-24 00:45:00 | 9.236 | 215.507 | 10.347 | 211.987 | 11.133 | 214.2 | 11.874 | 209 | 20.235 | 889.642 | 46.165 | 67.7326
2019-07-24 01:00:00 | 9.644 | 208.18 | 11.133 | 204.74 | 12.475 | 207.367 | 13.582 | 204.5 | 19.648 | 890.058 | 47.851 | 72.9489
2019-07-24 01:15:00 | 7.853 | 211.507 | 9.897 | 206.719 | 11.309 | 209.4 | 11.695 | 206.433 | 19.548 | 889.783 | 47.701 | 74.4397
2019-07-24 01:30:00 | 8.406 | 209.24 | 10.461 | 205.917 | 11.928 | 210 | 12.669 | 206.267 | 19.702 | 889.917 | 47.68 | 75.1325
2019-07-24 01:45:00 | 7.064 | 215.513 | 8.575 | 211.695 | 10.161 | 214.633 | 11.263 | 211.933 | 19.802 | 889.833 | 47.573 | 72.7741
2019-07-24 02:00:00 | 6.591 | 217.347 | 8.452 | 210.539 | 10.061 | 212 | 10.872 | 209.2 | 19.344 | 889.858 | 47.467 | 71.127
2019-07-24 02:15:00 | 8.381 | 211.86 | 10.527 | 207.376 | 11.348 | 211.5 | 12.095 | 208.567 | 19.914 | 889.867 | 46.773 | 71.5207
2019-07-24 02:30:00 | 6.773 | 231.753 | 8.204 | 219.672 | 9.222 | 218.7 | 10.079 | 212.333 | 19.289 | 889.775 | 47.211 | 72.5759
2019-07-24 02:45:00 | 7.914 | 216.153 | 9.938 | 212.424 | 10.809 | 215.7 | 11.053 | 212.867 | 19.698 | 889.692 | 46.165 | 73.1635
2019-07-24 03:00:00 | 8.162 | 217.58 | 10.103 | 213.862 | 10.925 | 218 | 10.996 | 214.267 | 19.614 | 889.883 | 45.493 | 71.294
2019-07-24 03:15:00 | 7.373 | 214 | 9.347 | 210.243 | 10.225 | 212.867 | 10.685 | 211.2 | 19.044 | 889.833 | 46.741 | 66.3492
2019-07-24 03:30:00 | 6.165 | 214.793 | 8.362 | 212.912 | 10.12 | 215.8 | 11.047 | 213.667 | 19.439 | 889.467 | 46.805 | 75.3414
2019-07-24 03:45:00 | 7.712 | 215.98 | 9.793 | 213.172 | 11.113 | 219.133 | 10.981 | 216.5 | 19.189 | 889.8 | 47.2 | 77.8014
2019-07-24 04:00:00 | 7.767 | 221.653 | 9.64 | 218.982 | 10.676 | 224.667 | 10.634 | 222.267 | 18.864 | 889.95 | 45.877 | 72.7215
2019-07-24 04:15:00 | 7.751 | 216.253 | 10.032 | 211.793 | 11.025 | 215.533 | 10.977 | 214.8 | 19.356 | 890.017 | 45.003 | 64.4015
2019-07-24 04:30:00 | 7.233 | 211.047 | 9.508 | 209.754 | 10.038 | 214.067 | 10.079 | 212.533 | 19.123 | 889.9 | 46.411 | 57.8067
2019-07-24 04:45:00 | 6.843 | 210.793 | 8.685 | 207.388 | 9.066 | 211.233 | 9.246 | 208.167 | 19.406 | 889.367 | 46.539 | 51.617
2019-07-24 05:00:00 | 6.657 | 208.853 | 8.611 | 208.757 | 8.834 | 213.933 | 8.837 | 212.867 | 19.035 | 889.75 | 45.568 | 39.958
2019-07-24 05:15:00 | 5.595 | 212.787 | 7.472 | 213.562 | 7.835 | 221.933 | 7.571 | 220.6 | 19.494 | 889.858 | 45.803 | 40.3119
2019-07-24 05:30:00 | 5.999 | 212.887 | 8.398 | 211.754 | 9.079 | 216.5 | 8.905 | 214.167 | 19.423 | 889.7 | 44.576 | 47.2605
2019-07-24 05:45:00 | 6.042 | 210.48 | 7.409 | 208.103 | 7.939 | 211.967 | 8.286 | 209.2 | 20.264 | 889.933 | 43.147 | 39.1899
2019-07-24 06:00:00 | 3.772 | 238.927 | 5.167 | 245.692 | 6.241 | 252.267 | 6.571 | 244.917 | 20.16 | 889.692 | 40.685 | 18.5827
2019-07-24 06:15:00 | 5.937 | 311.613 | 6.435 | 304.479 | 6.688 | 309.433 | 7.188 | 307.967 | 21.814 | 889.667 | 38.48 | 20.6739
2019-07-24 06:30:00 | 8.289 | 330.52 | 9.166 | 322.596 | 9.798 | 327.633 | 10.152 | 325.833 | 21.86 | 889.55 | 36.36 | 24.8485
2019-07-24 06:45:00 | 0.825 | 32.867 | 1.407 | 313.394 | 2.331 | 312.667 | 3.164 | 305.333 | 21.089 | 889.883 | 36.619 | 2.3392
2019-07-24 07:00:00 | 5.229 | 184.707 | 5.837 | 182.304 | 5.498 | 186.8 | 5.39 | 183.6 | 21.339 | 889.867 | 41.531 | 13.5825
2019-07-24 07:15:00 | 5.511 | 194.84 | 7.129 | 193.159 | 7.287 | 201 | 7.169 | 199.8 | 20.744 | 890.067 | 42.688 | 14.9844
2019-07-24 07:30:00 | 6.331 | 189.46 | 7.268 | 185.432 | 7.204 | 192.1 | 7.338 | 190.267 | 21.385 | 889.842 | 41.824 | 25.5506
2019-07-24 07:45:00 | 8.506 | 198.14 | 8.981 | 200.13 | 8.879 | 207.933 | 8.858 | 208.467 | 22.089 | 889.483 | 38.763 | 42.4237
2019-07-24 08:00:00 | 6.641 | 199.167 | 6.954 | 196.893 | 7.405 | 201.667 | 7.579 | 201.467 | 22.781 | 889.683 | 35.872 | 30.9303
2019-07-24 08:15:00 | 6.648 | 199.667 | 6.762 | 199.077 | 6.816 | 204.3 | 7.086 | 201.8 | 23.531 | 889.917 | 34.251 | 26.4693
2019-07-24 08:30:00 | 6.315 | 212 | 6.912 | 211.091 | 7.368 | 214.4 | 7.635 | 210.9 | 23.598 | 889.6 | 33.019 | 31.5755
2019-07-24 08:45:00 | 7.292 | 223.327 | 7.774 | 221.915 | 8.03 | 225.967 | 8.08 | 219.333 | 24.773 | 889.717 | 30.565 | 35.8197
2019-07-24 09:00:00 | 5.881 | 284.74 | 6.122 | 283.314 | 6.198 | 286.1 | 6.549 | 281.733 | 23.981 | 890.183 | 30.712 | 22.1626
2019-07-24 09:15:00 | 3.08 | 331.107 | 3.052 | 324.751 | 3.204 | 327.533 | 3.827 | 325.933 | 24.318 | 889.6 | 30.141 | 6.7959
2019-07-24 09:30:00 | 4.429 | 273.313 | 4.677 | 277.211 | 4.714 | 282.833 | 5.031 | 281 | 24.389 | 890.183 | 28.957 | 5.3356
2019-07-24 09:45:00 | 5.707 | 286.147 | 6.074 | 288.724 | 6.354 | 295.433 | 6.537 | 291.433 | 24.873 | 890.017 | 27.571 | 17.6483
2019-07-24 10:00:00 | 6.754 | 279.113 | 7.092 | 282.085 | 7.249 | 286.233 | 7.341 | 283.833 | 25.289 | 889.617 | 26.421 | 20.912
2019-07-24 10:15:00 | 5.784 | 279.873 | 6.079 | 283.628 | 6.236 | 286.167 | 6.35 | 284.1 | 25.223 | 889.483 | 26.12 | 18.2609
2019-07-24 10:30:00 | 4.686 | 275.827 | 4.957 | 279.197 | 4.992 | 283.333 | 5.08 | 282.6 | 24.998 | 889.867 | 26.307 | 12.3511
2019-07-24 10:45:00 | 4.25 | 289.987 | 4.42 | 287.634 | 4.661 | 289.9 | 4.795 | 284.533 | 25.16 | 889.75 | 25.488 | 10.3387
2019-07-24 11:00:00 | 4.517 | 280.54 | 4.78 | 283.253 | 4.75 | 284.633 | 5.006 | 281.433 | 26.36 | 889.75 | 23.56 | 13.7786
2019-07-24 11:15:00 | 6.065 | 281.46 | 6.51 | 285.327 | 6.886 | 289.267 | 7.446 | 286.933 | 27.018 | 889.317 | 20.983 | 29.0075
2019-07-24 11:30:00 | 6.077 | 326.467 | 6.527 | 319.246 | 6.67 | 324.633 | 6.998 | 323.1 | 26.944 | 890.033 | 22.144 | 30.6311
2019-07-24 11:45:00 | 7.127 | 314.24 | 7.81 | 331.869 | 8.176 | 312.067 | 8.322 | 320.9 | 26.918 | 890.033 | 23.059 | 33.1785
2019-07-24 12:00:00 | 6.524 | 323.88 | 6.95 | 320.837 | 7.313 | 327.267 | 7.284 | 324.467 | 27.039 | 889.583 | 21.821 | 34.3268
2019-07-24 12:15:00 | 8.436 | 275.274 | 8.647 | 330.146 | 8.966 | 320.9 | 9.076 | 320.367 | 27.323 | 890.333 | 21.155 | 34.0475
2019-07-24 12:30:00 | 4.182 | 323.947 | 4.38 | 319.244 | 4.48 | 324.433 | 4.78 | 323.433 | 26.531 | 889.8 | 21.957 | 14.6583
2019-07-24 12:45:00 | 3.744 | 139.949 | 3.66 | 244.306 | 3.641 | 142.367 | 4.005 | 106.133 | 27.406 | 889.183 | 20.237 | 3.8577
2019-07-24 13:00:00 | 2.753 | 154.813 | 3.281 | 221.817 | 3.534 | 244.967 | 4.128 | 288.133 | 27.318 | 889.767 | 19.557 | 2.7279
2019-07-24 13:15:00 | 3.213 | 298.013 | 3.215 | 281.543 | 3.396 | 286.8 | 3.845 | 288.3 | 28.248 | 889.5 | 19.021 | 3.8911
2019-07-24 13:30:00 | 4.281 | 153.16 | 4.49 | 202.882 | 4.598 | 189.333 | 4.754 | 206.667 | 28.731 | 889.4 | 18.976 | 5.9446
2019-07-24 13:45:00 | 6.785 | 19.273 | 7.441 | 97.374 | 7.386 | 15.433 | 7.058 | 63.133 | 28.568 | 889.2 | 18.047 | 13.3764
2019-07-24 14:00:00 | 5.098 | 28.324 | 5.16 | 9.757 | 5.439 | 10.067 | 5.369 | 6.9 | 28.018 | 889.367 | 18.845 | 11.0976
2019-07-24 14:15:00 | 4.128 | 223.262 | 4.118 | 244.283 | 4.056 | 183.234 | 4.254 | 127.933 | 27.773 | 889.767 | 18.976 | 11.0443
2019-07-24 14:30:00 | 6.088 | 27.818 | 6.244 | 22.569 | 6.587 | 26.033 | 6.956 | 21.533 | 28.039 | 889.65 | 21.072 | 16.5107
2019-07-24 14:45:00 | 4.278 | 38.792 | 4.595 | 32.33 | 4.621 | 39.4 | 4.947 | 35.833 | 28.048 | 889.733 | 20.896 | 10.51
2019-07-24 15:00:00 | 5.81 | 15.248 | 5.955 | 21.236 | 5.866 | 12.533 | 5.914 | 22.233 | 27.923 | 889.417 | 20.909 | 6.5791
2019-07-24 15:15:00 | 4.216 | 122 | 4.46 | 143.536 | 4.35 | 50.967 | 4.176 | 96.2 | 28.723 | 889.683 | 20.281 | 6.1293
2019-07-24 15:30:00 | 3.407 | 27.186 | 3.529 | 58.101 | 3.425 | 53.4 | 4.243 | 40.933 | 28.198 | 889.933 | 20.143 | 3.6978
2019-07-24 15:45:00 | 4.064 | 148.034 | 4.249 | 206.044 | 4.446 | 150.633 | 4.583 | 123.801 | 29.044 | 889.933 | 19.469 | 2.7975
2019-07-24 16:00:00 | 4.564 | 28.717 | 4.439 | 22.25 | 4.706 | 24.767 | 4.94 | 25.467 | 28.252 | 889.4 | 20.448 | 2.0336
2019-07-24 16:15:00 | 1.789 | 66.95 | 1.87 | 54.916 | 2.464 | 62.233 | 2.812 | 60.4 | 28.364 | 889.867 | 20.773 | 1.328
2019-07-24 16:30:00 | 1.742 | 61.612 | 1.114 | 45.41 | 1.26 | 47.367 | 2.25 | 40.867 | 28.61 | 890.033 | 20.6 | 0.58551
2019-07-24 16:45:00 | 0.992 | 109.8 | 0.46 | 86.369 | 0.196 | 60.367 | 0.359 | 26.167 | 28.998 | 889.75 | 20.325 | 0.23733
2019-07-24 17:00:00 | 5.025 | 203.417 | 5.026 | 241.088 | 5.358 | 250.5 | 6.126 | 281.35 | 28.902 | 889.933 | 20.907 | 7.5817
2019-07-24 17:15:00 | 5.281 | 330.293 | 5.623 | 324.794 | 5.926 | 330.833 | 6.322 | 330.867 | 28.518 | 889.733 | 21.931 | 9.9884
2019-07-24 17:30:00 | 7.294 | 296.027 | 7.973 | 334.987 | 8.005 | 339.533 | 8.437 | 337.6 | 28.239 | 889.533 | 22.749 | 31.6266
2019-07-24 17:45:00 | 7.116 | 305.055 | 7.731 | 325.892 | 8.345 | 307.767 | 8.887 | 342.267 | 27.964 | 889.75 | 22.915 | 40.0959
2019-07-24 18:00:00 | 8.806 | 331.613 | 9.569 | 327.784 | 10.124 | 332.033 | 10.564 | 332.133 | 27.394 | 890.2 | 24.192 | 69.632
2019-07-24 18:15:00 | 9.494 | 312.44 | 10.412 | 308.254 | 10.475 | 312.167 | 10.842 | 312.033 | 27.56 | 889.65 | 24.699 | 73.0896
2019-07-24 18:30:00 | 13.41 | 307.8 | 14.299 | 306.682 | 14.77 | 309.9 | 15.388 | 310 | 26.873 | 889.8 | 26.795 | 71.6741
2019-07-24 18:45:00 | 13.805 | 302.773 | 14.404 | 301.363 | 15.266 | 306.633 | 16.005 | 305.233 | 25.789 | 889.383 | 28.539 | 68.7942
2019-07-24 19:00:00 | 14.646 | 295.867 | 15.996 | 295.99 | 16.463 | 301.033 | 17.459 | 297.133 | 25.423 | 889.817 | 29.704 | 64.7092
2019-07-24 19:15:00 | 11.718 | 303.2 | 12.629 | 299.721 | 13.023 | 303.7 | 13.402 | 299.667 | 24.714 | 889.35 | 30.848 | 64.6729
2019-07-24 19:30:00 | 10.028 | 288.067 | 11.452 | 292.054 | 11.485 | 295.7 | 11.83 | 291.933 | 24.873 | 889.783 | 30.893 | 64.9238
2019-07-24 19:45:00 | 10.1 | 287.893 | 11.031 | 289.142 | 11.429 | 295.433 | 11.878 | 292.033 | 25.381 | 889.55 | 29.539 | 65.5427
2019-07-24 20:00:00 | 12.327 | 287.88 | 13.33 | 289.115 | 13.993 | 292.067 | 14.582 | 290.333 | 25.644 | 889.933 | 28.248 | 66.5446
2019-07-24 20:15:00 | 11.362 | 279.327 | 13.039 | 285.613 | 13.223 | 290.167 | 13.901 | 287.167 | 25.035 | 890.1 | 30.008 | 65.7509
2019-07-24 20:30:00 | 10.545 | 293.08 | 11.38 | 290.257 | 11.748 | 296.933 | 12.295 | 293.5 | 24.223 | 889.567 | 31.965 | 67.0157
2019-07-24 20:45:00 | 9.75 | 276.607 | 10.932 | 280.801 | 11.124 | 285.8 | 11.532 | 282.467 | 24.11 | 889.8 | 32.152 | 64.9792
2019-07-24 21:00:00 | 8.196 | 286.387 | 9.015 | 285.442 | 9.186 | 289.433 | 9.647 | 287.7 | 24.298 | 889.633 | 32.379 | 58.1116
2019-07-24 21:15:00 | 8.68 | 285.74 | 9.908 | 287.07 | 10.524 | 292.7 | 10.953 | 289.033 | 24.118 | 889.483 | 32.347 | 71.1434
2019-07-24 21:30:00 | 8.898 | 285.267 | 10.267 | 288.392 | 11.025 | 290.867 | 11.815 | 289.033 | 24.139 | 889.417 | 31.949 | 74.3011
2019-07-24 21:45:00 | 8.439 | 293.16 | 9.77 | 293.737 | 10.354 | 298.133 | 10.962 | 294.967 | 23.498 | 889.6 | 33.736 | 73.415
2019-07-24 22:00:00 | 9.009 | 292.4 | 10.497 | 292.383 | 11.1 | 296.8 | 12.148 | 293.667 | 23.014 | 889.9 | 35.008 | 72.7158
2019-07-24 22:15:00 | 9.621 | 288.307 | 10.773 | 289.056 | 11.362 | 291.1 | 11.873 | 288.933 | 22.548 | 889.667 | 35.981 | 72.9482
2019-07-24 22:30:00 | 9.422 | 277.467 | 10.731 | 280.713 | 11.312 | 283.6 | 11.938 | 279.067 | 22.398 | 889.6 | 36.829 | 75.8388
2019-07-24 22:45:00 | 8.588 | 253.993 | 9.854 | 272.439 | 10.447 | 277.567 | 10.924 | 272.867 | 22.244 | 889.75 | 37.275 | 75.3087
2019-07-24 23:00:00 | 8.212 | 252.167 | 9.331 | 262.612 | 9.717 | 268.2 | 9.801 | 263.283 | 22.285 | 889.867 | 37.499 | 72.1559
2019-07-24 23:15:00 | 6.962 | 256.527 | 8.074 | 265.136 | 8.515 | 271.267 | 8.739 | 264.667 | 21.989 | 889.583 | 37.867 | 54.347
2019-07-24 23:30:00 | 6.034 | 249.28 | 7.314 | 256.446 | 7.797 | 261.333 | 8.086 | 257.717 | 21.714 | 889.767 | 38.733 | 43.7197
2019-07-24 23:45:00 | 7.658 | 249.66 | 8.603 | 253.146 | 8.832 | 257.567 | 9.034 | 253.833 | 21.173 | 889.667 | 39.296 | 51.4642