## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-25 00:00:00 | 6.436 | 246.967 | 7.637 | 249.673 | 8.274 | 255.967 | 8.607 | 251.033 | 21.281 | 890.05 | 40.069 | 55.5983
2019-07-25 00:15:00 | 6.814 | 249.153 | 8.071 | 250.393 | 8.587 | 256.317 | 9.035 | 252.483 | 21.077 | 890.033 | 40.245 | 57.9893
2019-07-25 00:30:00 | 6.324 | 249.187 | 7.797 | 253.837 | 8.438 | 259.55 | 8.554 | 256.65 | 20.894 | 889.458 | 40.789 | 49.5379
2019-07-25 00:45:00 | 5.294 | 252.553 | 7.114 | 252.108 | 7.811 | 257.233 | 8.117 | 254.8 | 20.71 | 889.458 | 40.829 | 46.3119
2019-07-25 01:00:00 | 5.504 | 250.287 | 7.034 | 251.344 | 7.657 | 257.483 | 7.975 | 251.95 | 20.302 | 889.458 | 41.723 | 51.7655
2019-07-25 01:15:00 | 7.058 | 241.493 | 8.151 | 243.316 | 8.745 | 249 | 9.111 | 244.567 | 20.406 | 889.342 | 41.344 | 53.2726
2019-07-25 01:30:00 | 6.677 | 240.48 | 8.248 | 241.444 | 9.111 | 249.017 | 9.196 | 244.1 | 20.439 | 889.733 | 41.216 | 47.7543
2019-07-25 01:45:00 | 4.392 | 274.133 | 5.492 | 269.908 | 6.089 | 268.75 | 6.472 | 260 | 20.248 | 889.742 | 42.155 | 35.0693
2019-07-25 02:00:00 | 4.874 | 292.427 | 5.444 | 289.587 | 5.658 | 295.667 | 6.052 | 293.267 | 19.477 | 889.925 | 43.643 | 19.9307
2019-07-25 02:15:00 | 3.847 | 245.267 | 4.343 | 254.914 | 4.786 | 265.567 | 5.299 | 261.333 | 19.489 | 890.158 | 43.979 | 12.6516
2019-07-25 02:30:00 | 4.811 | 245.28 | 5.011 | 247.655 | 5.157 | 253.333 | 5.417 | 248.517 | 18.902 | 890.017 | 45.707 | 17.5013
2019-07-25 02:45:00 | 5.052 | 233.827 | 6.722 | 237.091 | 7.066 | 244.933 | 7.148 | 240.9 | 18.323 | 889.833 | 48.416 | 25.9378
2019-07-25 03:00:00 | 5.538 | 239.333 | 6.608 | 237.919 | 6.794 | 245.333 | 6.842 | 240.767 | 17.894 | 889.925 | 49.195 | 29.0529
2019-07-25 03:15:00 | 4.815 | 227.453 | 6.778 | 221.604 | 7.138 | 230.767 | 7.087 | 229.667 | 17.785 | 889.367 | 50.933 | 30.597
2019-07-25 03:30:00 | 5.316 | 228.8 | 7.127 | 227.971 | 7.319 | 234.933 | 7.422 | 231.7 | 17.106 | 889.608 | 51.349 | 31.2067
2019-07-25 03:45:00 | 5.074 | 236.307 | 6.866 | 234.545 | 7.309 | 244.633 | 7.501 | 240.5 | 16.931 | 890.058 | 51.616 | 32.4828
2019-07-25 04:00:00 | 5.741 | 238.067 | 7.567 | 239.96 | 7.614 | 247.767 | 7.244 | 244.467 | 16.998 | 889.833 | 51.488 | 30.241
2019-07-25 04:15:00 | 5.622 | 238.787 | 7.19 | 238.376 | 7.838 | 245.1 | 7.953 | 238.267 | 17.323 | 889.842 | 51.104 | 26.2284
2019-07-25 04:30:00 | 5.97 | 236.453 | 7.14 | 236.4 | 7.362 | 241.967 | 7.698 | 235.633 | 17.252 | 889.942 | 50.699 | 20.5887
2019-07-25 04:45:00 | 5.936 | 243.007 | 6.954 | 246.117 | 6.817 | 252.567 | 7.184 | 249.283 | 16.864 | 889.642 | 51.264 | 19.3935
2019-07-25 05:00:00 | 5.014 | 247.707 | 6.632 | 250.431 | 6.835 | 257.433 | 7.017 | 253.133 | 16.998 | 889.633 | 51.616 | 17.9859
2019-07-25 05:15:00 | 5.183 | 252.453 | 6.426 | 253.219 | 6.77 | 258.233 | 7.056 | 253.533 | 17.164 | 889.833 | 51.952 | 14.5048
2019-07-25 05:30:00 | 5.373 | 247.413 | 5.549 | 250.577 | 5.472 | 259.6 | 5.612 | 257.817 | 16.881 | 890.292 | 50.699 | 11.7137
2019-07-25 05:45:00 | 5.116 | 254.34 | 4.763 | 256.519 | 4.651 | 266.467 | 4.758 | 266.1 | 16.631 | 889.933 | 51.296 | 8.5446
2019-07-25 06:00:00 | 5.256 | 247.74 | 4.884 | 252.354 | 4.137 | 263.533 | 4.06 | 267.467 | 16.388 | 889.858 | 51.371 | 7.3963
2019-07-25 06:15:00 | 5.6 | 239.407 | 5.807 | 243.778 | 4.96 | 252.9 | 4.569 | 256.433 | 15.39 | 889.475 | 50.997 | 9.415
2019-07-25 06:30:00 | 5.413 | 241.493 | 6.083 | 243.048 | 5.337 | 251.433 | 4.544 | 249.433 | 15.428 | 889.833 | 50.805 | 6.6665
2019-07-25 06:45:00 | 4.997 | 229.293 | 4.865 | 233.304 | 4.231 | 244.933 | 3.729 | 246.533 | 15.668 | 889.917 | 48.363 | 5.2596
2019-07-25 07:00:00 | 5.217 | 227.633 | 5.539 | 233.547 | 5.05 | 241.433 | 4.624 | 239.267 | 16.231 | 890 | 44.363 | 7.6599
2019-07-25 07:15:00 | 4.302 | 244.627 | 4.855 | 237.379 | 4.613 | 249.45 | 4.3 | 247.233 | 17.835 | 890.05 | 39.141 | 4.4148
2019-07-25 07:30:00 | 3.583 | 241.8 | 4.547 | 244.78 | 4.097 | 254.767 | 3.936 | 251.517 | 18.573 | 890 | 36.885 | 3.4626
2019-07-25 07:45:00 | 4.575 | 225.307 | 5.051 | 233.76 | 5.067 | 244.2 | 4.771 | 240.333 | 18.148 | 889.85 | 36.571 | 6.1002
2019-07-25 08:00:00 | 4.281 | 224.927 | 5.372 | 226.121 | 5.044 | 237.767 | 4.648 | 235.867 | 18.71 | 889.683 | 35.776 | 5.9737
2019-07-25 08:15:00 | 3.726 | 218.347 | 4.206 | 225.918 | 3.952 | 236.667 | 3.871 | 236.567 | 20.044 | 889.8 | 32.763 | 2.8565
2019-07-25 08:30:00 | 3.911 | 227.22 | 4.223 | 229.537 | 4.092 | 241.7 | 3.897 | 243.567 | 21.214 | 889.733 | 30.805 | 2.3847
2019-07-25 08:45:00 | 3.717 | 260.72 | 3.846 | 260.333 | 3.782 | 262.417 | 3.953 | 258.2 | 22.306 | 889.9 | 29.456 | 4.5448
2019-07-25 09:00:00 | 2.871 | 301.4 | 2.817 | 302.257 | 3.152 | 308.7 | 3.818 | 309.2 | 22.498 | 889.9 | 27.776 | 2.4834
2019-07-25 09:15:00 | 3.149 | 289.347 | 3.217 | 292.036 | 3.246 | 297.5 | 3.534 | 295.367 | 22.848 | 889.617 | 27.243 | 4.9733
2019-07-25 09:30:00 | 4.684 | 265.927 | 5.085 | 281.217 | 5.203 | 288.7 | 5.438 | 286.833 | 23.131 | 889.833 | 26.469 | 5.1878
2019-07-25 09:45:00 | 4.144 | 304.16 | 4.16 | 300.052 | 4.246 | 301.733 | 4.451 | 301 | 23.131 | 889.7 | 26.976 | 10.4197
2019-07-25 10:00:00 | 5.556 | 305.52 | 5.859 | 303.196 | 6.054 | 305.833 | 6.399 | 303.5 | 22.981 | 890.017 | 28.445 | 11.0649
2019-07-25 10:15:00 | 4.031 | 272.84 | 4.193 | 276.769 | 4.247 | 281.267 | 4.498 | 280.067 | 22.798 | 889.583 | 28.592 | 6.1635
2019-07-25 10:30:00 | 4.207 | 264.06 | 4.182 | 269.49 | 4.474 | 274.5 | 4.667 | 273.033 | 22.831 | 889.683 | 28.76 | 5.5133
2019-07-25 10:45:00 | 4.263 | 278.327 | 4.383 | 276.988 | 4.411 | 280.833 | 4.54 | 277.067 | 22.964 | 889.717 | 28.573 | 6.6303
2019-07-25 11:00:00 | 3.779 | 267.413 | 3.863 | 269.031 | 3.872 | 274.683 | 3.917 | 273.133 | 23.031 | 889.967 | 27.072 | 6.8591
2019-07-25 11:15:00 | 5.318 | 267.313 | 5.447 | 271.503 | 5.855 | 276.1 | 6.175 | 273.833 | 23.414 | 889.917 | 26.384 | 13.7793
2019-07-25 11:30:00 | 6.203 | 309.76 | 6.495 | 303.69 | 6.733 | 304.6 | 7.057 | 301.533 | 24.064 | 889.867 | 24.664 | 26.4722
2019-07-25 11:45:00 | 7.266 | 305.253 | 7.803 | 303.508 | 8.006 | 309.567 | 8.296 | 307.5 | 23.414 | 889.483 | 25.883 | 31.1598
2019-07-25 12:00:00 | 8.116 | 298.013 | 8.29 | 299.136 | 8.569 | 304.1 | 8.682 | 300.267 | 24.135 | 889.517 | 25.699 | 34.1449
2019-07-25 12:15:00 | 6.185 | 294.567 | 6.764 | 298.711 | 7.376 | 303.167 | 7.657 | 301.567 | 24.302 | 889.717 | 25.581 | 33.921
2019-07-25 12:30:00 | 7.441 | 278.353 | 7.713 | 285.705 | 7.89 | 293.767 | 8.324 | 292.967 | 24.302 | 889.467 | 25.789 | 29.4501
2019-07-25 12:45:00 | 7.784 | 307.147 | 8.025 | 303.726 | 8.206 | 308.9 | 8.598 | 308.3 | 24.798 | 890.033 | 24.645 | 31.1484
2019-07-25 13:00:00 | 5.833 | 279.253 | 6.272 | 283.15 | 6.337 | 291.233 | 6.708 | 289.6 | 24.518 | 889.567 | 24.811 | 30.7455
2019-07-25 13:15:00 | 7.581 | 300.48 | 7.794 | 297.61 | 7.993 | 301.233 | 8.23 | 296.2 | 24.627 | 889.6 | 26.176 | 34.1065
2019-07-25 13:30:00 | 7.101 | 321.933 | 7.359 | 315.727 | 7.708 | 318.133 | 8.288 | 316.567 | 24.194 | 890.15 | 27.576 | 31.3516
2019-07-25 13:45:00 | 9.742 | 305.213 | 10.061 | 304.888 | 10.706 | 308.933 | 11.014 | 306.467 | 23.839 | 890.267 | 29.349 | 54.9339
2019-07-25 14:00:00 | 9.258 | 315.44 | 9.687 | 312.904 | 10.098 | 318.2 | 10.196 | 316 | 23.448 | 889.683 | 31.363 | 57.5964
2019-07-25 14:15:00 | 7.956 | 300.167 | 8.403 | 298.952 | 8.713 | 303.4 | 9.307 | 301.467 | 23.664 | 889.75 | 30.965 | 44.63
2019-07-25 14:30:00 | 7.194 | 272.487 | 7.514 | 280.323 | 7.705 | 285.2 | 8.15 | 280.867 | 24.231 | 889.8 | 29.48 | 40.8356
2019-07-25 14:45:00 | 7.965 | 286.16 | 8.246 | 285.177 | 8.202 | 287.4 | 8.303 | 286.933 | 23.544 | 889.5 | 29.955 | 42.9211
2019-07-25 15:00:00 | 8.295 | 297.08 | 8.989 | 295.39 | 9.097 | 299.3 | 9.71 | 297.933 | 23.518 | 889.567 | 31.181 | 67.1436
2019-07-25 15:15:00 | 10.298 | 300.147 | 11.04 | 299.388 | 11.324 | 302.767 | 11.924 | 299.867 | 23.048 | 889.867 | 34.277 | 74.9086
2019-07-25 15:30:00 | 11.212 | 294.067 | 11.966 | 294.693 | 12.137 | 300.467 | 12.732 | 298 | 22.548 | 889.95 | 35.267 | 72.7926
2019-07-25 15:45:00 | 9.495 | 296.167 | 9.979 | 299.19 | 10.23 | 305.533 | 10.692 | 303.767 | 22.248 | 889.683 | 35.083 | 56.3842
2019-07-25 16:00:00 | 8.006 | 304.16 | 8.566 | 301.794 | 8.571 | 306.433 | 9.167 | 301.967 | 22.748 | 889.867 | 33.347 | 45.17
2019-07-25 16:15:00 | 8.519 | 291.6 | 8.878 | 295.884 | 9.142 | 300.467 | 9.608 | 298.167 | 22.681 | 889.7 | 33.808 | 51.2582
2019-07-25 16:30:00 | 8.455 | 300.84 | 8.838 | 298.775 | 9.13 | 303.6 | 9.37 | 301.2 | 22.514 | 890.017 | 33.648 | 52.0234
2019-07-25 16:45:00 | 9.015 | 299.653 | 9.302 | 296.289 | 9.448 | 301.067 | 9.934 | 299.833 | 22.364 | 889.5 | 34.709 | 53.9896
2019-07-25 17:00:00 | 6.729 | 291.933 | 6.844 | 293.2 | 6.852 | 298.267 | 7.146 | 295.067 | 22.298 | 889.967 | 33.368 | 39.3789
2019-07-25 17:15:00 | 8.39 | 279.307 | 9.066 | 281.62 | 8.979 | 286.367 | 9.167 | 283.867 | 23.131 | 889.5 | 32.752 | 48.0194
2019-07-25 17:30:00 | 8.807 | 292.64 | 9.771 | 290.742 | 9.887 | 294.267 | 10.301 | 293.4 | 23.148 | 890.033 | 32.923 | 49.9173
2019-07-25 17:45:00 | 8.205 | 299.36 | 8.841 | 298.524 | 9.341 | 302.833 | 9.844 | 298.733 | 23.314 | 889.867 | 31.747 | 48.7413
2019-07-25 18:00:00 | 9.623 | 295.653 | 10.157 | 294.224 | 10.46 | 300.667 | 11.08 | 296.767 | 23.214 | 889.55 | 32.28 | 60.3946
2019-07-25 18:15:00 | 8.985 | 283.213 | 9.74 | 285.777 | 10.101 | 290.567 | 10.601 | 288.833 | 23.331 | 890.017 | 32.088 | 62.0183
2019-07-25 18:30:00 | 9.11 | 275.753 | 9.613 | 283.82 | 10.004 | 288.3 | 10.334 | 286.167 | 23.614 | 889.9 | 31.416 | 64.3738
2019-07-25 18:45:00 | 9.456 | 269.733 | 10.35 | 278.142 | 10.467 | 282.8 | 10.871 | 279.4 | 23.331 | 889.65 | 31.888 | 58.1975
2019-07-25 19:00:00 | 9.249 | 302.373 | 9.598 | 298.759 | 9.783 | 303.633 | 10.329 | 300.933 | 23.498 | 890.017 | 32.797 | 52.6438
2019-07-25 19:15:00 | 10.13 | 279.373 | 10.868 | 279.896 | 10.801 | 286.567 | 11.212 | 283.767 | 22.598 | 889.683 | 34.373 | 44.4388
2019-07-25 19:30:00 | 9.273 | 264.2 | 9.837 | 272.323 | 10.24 | 277.367 | 10.455 | 273.633 | 22.381 | 889.8 | 34.939 | 54.4202
2019-07-25 19:45:00 | 9.089 | 288.233 | 9.81 | 289.579 | 10.186 | 292.333 | 10.748 | 289.067 | 22.631 | 889.65 | 36.099 | 55.1911
2019-07-25 20:00:00 | 10.377 | 265.833 | 11.243 | 273.734 | 11.414 | 278.633 | 11.704 | 276.433 | 22.148 | 889.65 | 36.771 | 54.035
2019-07-25 20:15:00 | 10.471 | 290.947 | 11.261 | 293.784 | 11.705 | 297.033 | 12.386 | 295.433 | 21.748 | 889.633 | 37.051 | 53.4183
2019-07-25 20:30:00 | 10.988 | 295.213 | 12.014 | 296.22 | 12.688 | 300.7 | 13.355 | 298.467 | 21.614 | 889.7 | 38.483 | 54.531
2019-07-25 20:45:00 | 11.295 | 285.92 | 12.637 | 286.447 | 12.983 | 289.733 | 13.607 | 285.967 | 20.935 | 889.883 | 41.333 | 54.2376
2019-07-25 21:00:00 | 11.438 | 284.467 | 12.858 | 286.797 | 13.715 | 289.767 | 14.081 | 287.9 | 20.744 | 890.142 | 41.664 | 56.2897
2019-07-25 21:15:00 | 9.946 | 284.54 | 10.964 | 285.546 | 11.337 | 289.433 | 11.722 | 288.8 | 20.635 | 889.492 | 40.747 | 54.7222
2019-07-25 21:30:00 | 9.889 | 291.013 | 11.05 | 288.967 | 11.452 | 293.033 | 11.898 | 289.9 | 19.856 | 889.6 | 42.181 | 57.7144
2019-07-25 21:45:00 | 8.802 | 276.24 | 10.004 | 281.687 | 10.462 | 285.033 | 11.086 | 283.733 | 19.485 | 890.075 | 41.979 | 55.9344
2019-07-25 22:00:00 | 10.134 | 276.64 | 11.702 | 278.152 | 12.155 | 280.867 | 12.547 | 277.733 | 19.706 | 889.608 | 41.568 | 55.2352
2019-07-25 22:15:00 | 11.302 | 259.227 | 12.592 | 270.334 | 12.852 | 275.367 | 13.024 | 271.767 | 19.335 | 889.583 | 38.485 | 56.3991
2019-07-25 22:30:00 | 8.625 | 263.867 | 9.9 | 269.104 | 10.413 | 273.433 | 10.845 | 270.367 | 19.073 | 889.783 | 39.917 | 54.5843
2019-07-25 22:45:00 | 6.315 | 266.733 | 7.252 | 273.52 | 7.513 | 279.533 | 7.998 | 276.533 | 19.181 | 889.458 | 40.875 | 50.9732
2019-07-25 23:00:00 | 7.595 | 277.66 | 8.618 | 278.934 | 9.007 | 283.4 | 9.668 | 280.367 | 18.839 | 889.608 | 41.339 | 54.6227
2019-07-25 23:15:00 | 9.398 | 265.507 | 10.636 | 272.882 | 11.311 | 278.4 | 11.885 | 275.3 | 18.223 | 890.017 | 42.443 | 53.5433
2019-07-25 23:30:00 | 10.595 | 264.913 | 12.138 | 275.367 | 12.722 | 277.933 | 13.267 | 275.267 | 18.402 | 889.992 | 42.256 | 54.0542
2019-07-25 23:45:00 | 10.572 | 253.76 | 12.146 | 263.596 | 12.88 | 269.167 | 13.325 | 265.5 | 18.035 | 890 | 43.349 | 58.9557