## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-26 00:00:00 | 9.69 | 266.6 | 11.06 | 275.848 | 11.563 | 280 | 11.901 | 276.667 | 17.581 | 889.725 | 44.704 | 60.5644
2019-07-26 00:15:00 | 7.91 | 270.607 | 9.064 | 273.851 | 9.553 | 278.7 | 10.099 | 273.333 | 17.527 | 890.283 | 45.307 | 61.3915
2019-07-26 00:30:00 | 8.75 | 247.82 | 9.772 | 261.933 | 10.198 | 265 | 10.336 | 261.65 | 17.656 | 890.192 | 45.547 | 60.6469
2019-07-26 00:45:00 | 8.104 | 257.027 | 9.146 | 269.133 | 9.294 | 273.8 | 9.805 | 269.283 | 17.118 | 889.525 | 46.656 | 58.6225
2019-07-26 01:00:00 | 8.334 | 259.693 | 9.12 | 265.397 | 9.388 | 270.8 | 9.606 | 266.483 | 17.131 | 889.55 | 47.291 | 58.3738
2019-07-26 01:15:00 | 8.386 | 262.593 | 9.408 | 272.426 | 10.088 | 276.3 | 10.621 | 271.767 | 16.798 | 889.717 | 47.595 | 57.4081
2019-07-26 01:30:00 | 8.08 | 252.493 | 9.026 | 269.11 | 9.73 | 274.1 | 10.159 | 270.567 | 16.831 | 889.542 | 48.181 | 64.0796
2019-07-26 01:45:00 | 9 | 248.333 | 10.316 | 260.72 | 11.037 | 265.767 | 11.373 | 262.433 | 16.714 | 889.933 | 49.253 | 62.1689
2019-07-26 02:00:00 | 9.909 | 256.18 | 11.284 | 263.728 | 11.495 | 268.733 | 11.632 | 264.133 | 16.331 | 889.892 | 51.339 | 61.6594
2019-07-26 02:15:00 | 9.32 | 250.653 | 10.777 | 263.696 | 11.08 | 268.6 | 11.416 | 264.433 | 16.103 | 890.142 | 52.256 | 61.6267
2019-07-26 02:30:00 | 9.568 | 254.56 | 10.908 | 266.132 | 11.026 | 270.7 | 11.093 | 264.683 | 15.975 | 889.85 | 53.253 | 61.5997
2019-07-26 02:45:00 | 8.964 | 255.18 | 9.636 | 268.617 | 10.204 | 271.867 | 10.695 | 269 | 15.994 | 889.983 | 53.915 | 59.721
2019-07-26 03:00:00 | 8.124 | 266.093 | 8.949 | 274.567 | 9.382 | 278.567 | 9.888 | 274.967 | 16.215 | 889.675 | 53.696 | 50.2406
2019-07-26 03:15:00 | 7.448 | 248.793 | 8.308 | 264.29 | 8.421 | 269.817 | 8.828 | 266.25 | 16.044 | 890.25 | 54.123 | 46.6977
2019-07-26 03:30:00 | 7.308 | 248.507 | 8.123 | 264.068 | 8.493 | 267.333 | 8.62 | 262.4 | 15.951 | 889.842 | 55.168 | 45.5878
2019-07-26 03:45:00 | 7.671 | 247.18 | 8.746 | 264.967 | 9 | 269.567 | 9.454 | 264.7 | 16.082 | 889.692 | 56.853 | 49.5748
2019-07-26 04:00:00 | 7.316 | 256.013 | 8.576 | 269.008 | 8.879 | 272.867 | 9.235 | 268.333 | 15.837 | 889.867 | 59.269 | 55.5528
2019-07-26 04:15:00 | 9.233 | 243.973 | 10.336 | 263.615 | 10.526 | 264.45 | 10.858 | 260.6 | 15.804 | 890.133 | 60.165 | 62.0929
2019-07-26 04:30:00 | 8.322 | 247.573 | 9.225 | 266.835 | 9.444 | 272.167 | 9.751 | 266.65 | 16.322 | 889.817 | 60.933 | 62.8979
2019-07-26 04:45:00 | 10.058 | 244.887 | 11.09 | 260.885 | 11.43 | 266.6 | 11.671 | 262.917 | 16.072 | 889.425 | 61.163 | 60.8366
2019-07-26 05:00:00 | 8.222 | 257.867 | 9.503 | 269.886 | 9.835 | 274.533 | 10.496 | 269.55 | 15.937 | 889.867 | 61.509 | 63.3683
2019-07-26 05:15:00 | 10.757 | 249.3 | 12.268 | 263.662 | 12.803 | 268.633 | 13.242 | 264.483 | 15.773 | 889.608 | 63.083 | 70.5003
2019-07-26 05:30:00 | 9.731 | 243.673 | 10.662 | 257.292 | 11.027 | 261.55 | 11.326 | 259.233 | 15.647 | 889.875 | 63.227 | 72.7599
2019-07-26 05:45:00 | 9.563 | 246.767 | 10.906 | 255.133 | 11.334 | 262.25 | 11.207 | 257.433 | 15.652 | 889.742 | 61.28 | 69.2618
2019-07-26 06:00:00 | 7.235 | 250.38 | 8.465 | 259.564 | 8.704 | 265.733 | 9.193 | 261.217 | 15.816 | 890.142 | 60.763 | 68.2513
2019-07-26 06:15:00 | 9.242 | 250.073 | 10.035 | 261.544 | 10.02 | 266.783 | 10.107 | 262.5 | 15.564 | 890.233 | 59.861 | 64.0228
2019-07-26 06:30:00 | 8.333 | 262.52 | 9.316 | 275.267 | 9.629 | 279.467 | 9.835 | 275.8 | 15.925 | 889.875 | 58.912 | 56.166
2019-07-26 06:45:00 | 8.539 | 261.34 | 9.932 | 274.315 | 10.344 | 278.233 | 10.719 | 272.7 | 15.476 | 889.775 | 59.051 | 64.6481
2019-07-26 07:00:00 | 8.864 | 257.833 | 9.871 | 270.83 | 10.163 | 275.967 | 10.418 | 273.217 | 15.404 | 890.05 | 59.648 | 66.9354
2019-07-26 07:15:00 | 9.179 | 251.62 | 10.039 | 266.134 | 10.243 | 271 | 10.356 | 268.483 | 15.364 | 889.992 | 60.235 | 60.4515
2019-07-26 07:30:00 | 7.681 | 265.033 | 8.628 | 274.986 | 9.117 | 277.867 | 9.571 | 273.033 | 15.378 | 890.025 | 59.109 | 36.6091
2019-07-26 07:45:00 | 9.244 | 237.927 | 10.416 | 264.875 | 10.938 | 271.333 | 11.417 | 265.917 | 15.654 | 889.608 | 59.755 | 29.4729
2019-07-26 08:00:00 | 8.914 | 249.393 | 10.057 | 268.698 | 10.221 | 273.833 | 10.641 | 269.367 | 15.682 | 889.683 | 59.995 | 40.6807
2019-07-26 08:15:00 | 9.767 | 243.267 | 10.716 | 262.063 | 10.999 | 267.067 | 11.076 | 263.883 | 15.516 | 889.667 | 58.453 | 62.8688
2019-07-26 08:30:00 | 9.17 | 241.933 | 9.772 | 267.297 | 9.868 | 271.367 | 10.209 | 266.15 | 15.806 | 889.883 | 57.573 | 69.632
2019-07-26 08:45:00 | 8.396 | 253.507 | 8.792 | 268.87 | 8.878 | 272.3 | 9.081 | 267.9 | 16.262 | 889.933 | 57.893 | 61.4576
2019-07-26 09:00:00 | 9.562 | 254.42 | 10.386 | 269.902 | 10.451 | 273.267 | 10.57 | 271.1 | 16.414 | 890.058 | 57.744 | 64.0029
2019-07-26 09:15:00 | 8.055 | 256.427 | 8.913 | 267.906 | 8.828 | 271.233 | 8.871 | 265.3 | 16.498 | 889.817 | 57.205 | 57.1246
2019-07-26 09:30:00 | 9.285 | 246.493 | 9.926 | 260.175 | 10.18 | 265.2 | 10.032 | 259 | 16.985 | 890.008 | 54.171 | 57.0379
2019-07-26 09:45:00 | 7.446 | 234.1 | 8.059 | 262.232 | 8.482 | 268.233 | 8.649 | 266.2 | 17.31 | 890.533 | 53.269 | 55.4469
2019-07-26 10:00:00 | 9.44 | 253.653 | 10.15 | 271.922 | 10.008 | 278.2 | 10.058 | 273.367 | 17.418 | 890.133 | 51.349 | 60.4635
2019-07-26 10:15:00 | 9.234 | 254.547 | 10.235 | 272.309 | 10.547 | 276.1 | 10.484 | 270.633 | 18.139 | 889.8 | 49.163 | 65.991
2019-07-26 10:30:00 | 7.081 | 258.027 | 7.407 | 269.929 | 7.56 | 273.233 | 7.74 | 269.5 | 18.502 | 889.7 | 47.664 | 45.7427
2019-07-26 10:45:00 | 8.964 | 292.92 | 8.914 | 294.462 | 9.132 | 299.8 | 9.403 | 295.833 | 18.694 | 889.4 | 44.336 | 48.6873
2019-07-26 11:00:00 | 9.07 | 282.093 | 9.595 | 281.512 | 9.894 | 286.733 | 10.47 | 283.1 | 19.11 | 889.658 | 43.008 | 65.5484
2019-07-26 11:15:00 | 8.625 | 271.807 | 9.43 | 280.527 | 9.564 | 282.6 | 10.082 | 280.267 | 19.181 | 889.875 | 43.035 | 72.7272
2019-07-26 11:30:00 | 11.489 | 255 | 12.135 | 275.123 | 12.196 | 280.233 | 12.124 | 279.767 | 19.173 | 889.625 | 44.245 | 76.0335
2019-07-26 11:45:00 | 9.363 | 292.773 | 10.301 | 292.445 | 10.353 | 295.6 | 10.598 | 291.333 | 19.306 | 890.158 | 43.861 | 76.6318
2019-07-26 12:00:00 | 11.4 | 264.267 | 12.344 | 275.93 | 12.37 | 278.467 | 12.371 | 278.8 | 19.739 | 890.033 | 42.965 | 77.1299
2019-07-26 12:15:00 | 13.509 | 273.313 | 14.192 | 280.184 | 14.432 | 281.333 | 14.666 | 277 | 19.994 | 889.717 | 41.592 | 77.9612
2019-07-26 12:30:00 | 12.235 | 271.773 | 13.025 | 280.341 | 13.041 | 286.667 | 13.744 | 283.533 | 19.748 | 890 | 41.347 | 77.7275
2019-07-26 12:45:00 | 11.118 | 291.413 | 11.787 | 287.821 | 12.097 | 293.133 | 12.811 | 291.167 | 20.06 | 889.75 | 41.213 | 77.2571
2019-07-26 13:00:00 | 12.16 | 283.98 | 12.993 | 286.855 | 13.21 | 290.867 | 13.705 | 287.367 | 20.089 | 889.8 | 40.453 | 78.0856
2019-07-26 13:15:00 | 11.632 | 283.047 | 12.216 | 283.378 | 12.528 | 286.733 | 13.051 | 285.433 | 20.406 | 889.8 | 39.432 | 78.5574
2019-07-26 13:30:00 | 12.885 | 290.693 | 13.473 | 290.37 | 13.782 | 294.433 | 14.354 | 293.433 | 20.331 | 889.617 | 37.984 | 76.9544
2019-07-26 13:45:00 | 10.768 | 274.993 | 11.619 | 283.366 | 11.616 | 288.3 | 11.885 | 287.967 | 20.964 | 889.767 | 36.259 | 77.3644
2019-07-26 14:00:00 | 11.431 | 267.72 | 12.488 | 282.059 | 12.544 | 285.033 | 12.738 | 283.9 | 21.581 | 890.1 | 36.677 | 75.9631
2019-07-26 14:15:00 | 13.708 | 283.953 | 14.454 | 287.425 | 14.777 | 292.433 | 15.433 | 290.567 | 21.414 | 890.067 | 36.083 | 78.6555
2019-07-26 14:30:00 | 10.747 | 281.713 | 11.425 | 285.134 | 11.594 | 290.133 | 11.843 | 287.633 | 22.144 | 889.95 | 33.611 | 76.1287
2019-07-26 14:45:00 | 11.348 | 285.24 | 11.823 | 288.751 | 12.109 | 291.3 | 12.722 | 289.633 | 22.452 | 889.717 | 30.867 | 77.1604
2019-07-26 15:00:00 | 11.665 | 281.153 | 12.876 | 287.28 | 12.892 | 291.333 | 13.277 | 289.7 | 22.577 | 890.083 | 29.872 | 78.3222
2019-07-26 15:15:00 | 12.508 | 288.5 | 13.218 | 292.347 | 13.582 | 297.933 | 14.255 | 296.2 | 22.331 | 889.633 | 29.747 | 78.1638
2019-07-26 15:30:00 | 13.762 | 293.373 | 14.867 | 293.91 | 15.376 | 298.267 | 15.568 | 295.567 | 22.931 | 890.2 | 28.347 | 77.0283
2019-07-26 15:45:00 | 14.869 | 295.56 | 14.998 | 295.603 | 15.551 | 300.4 | 16.15 | 296.6 | 23.164 | 889.783 | 27.517 | 75.9333
2019-07-26 16:00:00 | 14.028 | 294.667 | 14.871 | 296.661 | 15.222 | 301.9 | 16.037 | 299.367 | 23.677 | 890 | 26.595 | 76.5195
2019-07-26 16:15:00 | 14.425 | 287.493 | 16.053 | 286.063 | 16.528 | 289.7 | 17.156 | 287.033 | 23.798 | 889.283 | 25.565 | 76.9096
2019-07-26 16:30:00 | 12.192 | 286.147 | 13.602 | 287.908 | 13.939 | 291.133 | 14.558 | 290.8 | 23.956 | 889.933 | 26.957 | 78.227
2019-07-26 16:45:00 | 14.177 | 273.887 | 15.381 | 278.261 | 15.358 | 283.1 | 15.708 | 279.3 | 23.198 | 889.683 | 29.389 | 75.6419
2019-07-26 17:00:00 | 15.184 | 284.233 | 16.198 | 289.631 | 16.475 | 293.1 | 17.486 | 290.4 | 22.594 | 889.783 | 31.912 | 74.2073
2019-07-26 17:15:00 | 13.782 | 279.667 | 15.134 | 285.878 | 15.648 | 288.433 | 16.161 | 286.4 | 22.514 | 889.55 | 32.931 | 73.5188
2019-07-26 17:30:00 | 12.718 | 283.033 | 13.809 | 288.724 | 14.115 | 292.967 | 14.597 | 290.1 | 22.264 | 890.067 | 32.677 | 76.9082
2019-07-26 17:45:00 | 10.66 | 328.453 | 11.054 | 324.653 | 11.358 | 328.367 | 11.539 | 327.067 | 22.01 | 890.033 | 35.283 | 70.1741
2019-07-26 18:00:00 | 8.578 | 328.533 | 8.696 | 319.697 | 8.839 | 322.867 | 8.908 | 321.767 | 21.035 | 889.6 | 36.784 | 47.1241
2019-07-26 18:15:00 | 8.656 | 323.173 | 9.234 | 316.718 | 9.313 | 321.767 | 9.656 | 319.833 | 21.318 | 889.433 | 36.435 | 45.8266
2019-07-26 18:30:00 | 7.564 | 293.747 | 8.031 | 290.904 | 8.384 | 295.567 | 8.67 | 292.833 | 21.377 | 889.617 | 36.451 | 33.5018
2019-07-26 18:45:00 | 7.295 | 286.067 | 7.7 | 289.048 | 7.663 | 293.7 | 7.945 | 293.5 | 21.581 | 889.883 | 38.256 | 30.1863
2019-07-26 19:00:00 | 5.924 | 286.053 | 6.313 | 287.796 | 6.475 | 292.033 | 6.577 | 288.667 | 21.381 | 889.767 | 38.357 | 29.0018
2019-07-26 19:15:00 | 7.29 | 256.693 | 8.341 | 267.767 | 9.046 | 272.967 | 9.036 | 268.983 | 21.706 | 889.8 | 36.611 | 48.2482
2019-07-26 19:30:00 | 10.028 | 239.633 | 10.566 | 238.529 | 11.091 | 244.35 | 11.118 | 239.3 | 21.381 | 889.933 | 39.563 | 69.3954
2019-07-26 19:45:00 | 9.927 | 243.113 | 11.036 | 249.26 | 11.397 | 254.633 | 11.389 | 249.267 | 21.256 | 889.55 | 38.384 | 74.6216
2019-07-26 20:00:00 | 9.255 | 246.747 | 10.486 | 255.719 | 10.649 | 260.333 | 10.623 | 255.933 | 21.498 | 889.883 | 35.027 | 77.0936
2019-07-26 20:15:00 | 8.619 | 246.707 | 9.012 | 251.814 | 9.333 | 255.183 | 9.458 | 252.35 | 21.568 | 889.75 | 36.099 | 72.4465
2019-07-26 20:30:00 | 7.338 | 249.427 | 8.487 | 258.79 | 8.694 | 265.933 | 9.078 | 262.75 | 21.306 | 889.55 | 38.131 | 38.1965
2019-07-26 20:45:00 | 4.687 | 280.04 | 5.421 | 322.73 | 5.473 | 346.5 | 5.605 | 344.367 | 20.36 | 889.542 | 40.643 | 10.8639
2019-07-26 21:00:00 | 4.228 | 298.84 | 4.728 | 341.525 | 4.654 | 332.867 | 4.989 | 329.5 | 20.498 | 889.533 | 40.376 | 9.1542
2019-07-26 21:15:00 | 3.773 | 316.107 | 3.971 | 308.909 | 4.207 | 311.233 | 5.026 | 308 | 20.294 | 889.383 | 39.867 | 11.946
2019-07-26 21:30:00 | 7.337 | 286.92 | 8.815 | 288.652 | 9.282 | 294.733 | 9.885 | 290.1 | 20.635 | 889.65 | 37.749 | 50.7728
2019-07-26 21:45:00 | 9.131 | 288.16 | 10.6 | 290.144 | 11.348 | 294.367 | 12.241 | 293.333 | 20.96 | 889.667 | 37.128 | 66.1481
2019-07-26 22:00:00 | 6.902 | 282.767 | 8.221 | 286.705 | 8.753 | 293.567 | 9.182 | 291.033 | 20.789 | 889.783 | 37.405 | 55.7262
2019-07-26 22:15:00 | 7.337 | 272.153 | 8.464 | 277.126 | 8.946 | 282.567 | 9.38 | 280.867 | 20.444 | 889.667 | 37.469 | 41.9291
2019-07-26 22:30:00 | 5.95 | 292.3 | 7.01 | 293.773 | 7.413 | 300.7 | 7.713 | 299.567 | 20.514 | 890.05 | 38.131 | 32.4992
2019-07-26 22:45:00 | 5.43 | 288.513 | 6.349 | 291.582 | 6.685 | 298.833 | 7.081 | 297 | 19.798 | 889.558 | 42.096 | 20.8182
2019-07-26 23:00:00 | 4.076 | 291.773 | 5.257 | 292.954 | 5.411 | 298.867 | 5.888 | 297.2 | 19.002 | 890.008 | 44.405 | 11.6505
2019-07-26 23:15:00 | 3.613 | 295.813 | 4.421 | 296.025 | 4.673 | 300.333 | 5.188 | 297.833 | 18.973 | 889.792 | 46.64 | 5.3477
2019-07-26 23:30:00 | 2.274 | 253.04 | 2.94 | 266.046 | 3.11 | 272.167 | 3.709 | 269.433 | 18.144 | 889.833 | 47.387 | 2.1615
2019-07-26 23:45:00 | 4.368 | 220.267 | 3.964 | 225.727 | 3.75 | 239.433 | 3.798 | 241.367 | 17.368 | 889.758 | 47.787 | 7.5974