## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-27 00:00:00 | 5.046 | 229.38 | 5.656 | 238.154 | 5.775 | 248.5 | 5.69 | 247.15 | 16.831 | 889.625 | 49.429 | 18.9338
2019-07-27 00:15:00 | 5.418 | 228.807 | 6.544 | 235.785 | 6.919 | 244.267 | 6.951 | 242.2 | 16.681 | 890.058 | 50.176 | 28.9364
2019-07-27 00:30:00 | 6.128 | 235.373 | 7.276 | 238.702 | 7.58 | 246.7 | 7.884 | 243.8 | 17.318 | 890.042 | 49.291 | 39.575
2019-07-27 00:45:00 | 5.998 | 231.8 | 6.83 | 234.32 | 7.201 | 242.733 | 7.32 | 240.3 | 16.948 | 889.875 | 49.579 | 39.8038
2019-07-27 01:00:00 | 5.325 | 241.213 | 6.392 | 242.068 | 7.056 | 249.2 | 7.25 | 245.5 | 16.798 | 889.983 | 52.341 | 37.8
2019-07-27 01:15:00 | 5.567 | 248.4 | 6.599 | 252.998 | 6.954 | 259.033 | 7.264 | 254.817 | 16.898 | 890.267 | 52.427 | 33.4506
2019-07-27 01:30:00 | 5.447 | 237.093 | 6.502 | 241.598 | 6.642 | 251.433 | 6.643 | 249.217 | 16.196 | 889.733 | 53.941 | 31.7943
2019-07-27 01:45:00 | 5.474 | 230.607 | 6.443 | 233.505 | 6.629 | 241.067 | 6.677 | 237.367 | 16.15 | 889.883 | 55.179 | 32.0373
2019-07-27 02:00:00 | 6.108 | 230.393 | 7.364 | 233.995 | 7.902 | 241.867 | 7.997 | 238.733 | 15.951 | 890.292 | 55.392 | 39.521
2019-07-27 02:15:00 | 5.707 | 226.24 | 6.838 | 231.523 | 7.457 | 240.2 | 7.733 | 237.467 | 15.994 | 889.642 | 55.861 | 34.2721
2019-07-27 02:30:00 | 6.015 | 217.653 | 7.52 | 222.226 | 7.859 | 230.8 | 7.758 | 227.833 | 16.162 | 889.717 | 57.099 | 36.7413
2019-07-27 02:45:00 | 5.15 | 221.313 | 6.772 | 225.415 | 7.401 | 235.833 | 7.657 | 232.233 | 15.433 | 890.392 | 58.859 | 32.2512
2019-07-27 03:00:00 | 4.737 | 224.867 | 6.582 | 229.39 | 7.086 | 238.167 | 7.149 | 235.433 | 14.841 | 889.758 | 60 | 32.8971
2019-07-27 03:15:00 | 5.018 | 225.053 | 6.365 | 230.772 | 6.683 | 239.467 | 7.108 | 235.467 | 15.196 | 889.892 | 59.829 | 28.1747
2019-07-27 03:30:00 | 4.866 | 235.1 | 6.269 | 235.715 | 6.959 | 244.8 | 7.349 | 241.45 | 15.421 | 889.767 | 60.203 | 34.5044
2019-07-27 03:45:00 | 5.47 | 241.833 | 7.109 | 243.83 | 7.531 | 253.3 | 7.644 | 251.1 | 15.041 | 889.717 | 59.957 | 35.9397
2019-07-27 04:00:00 | 5.484 | 231.627 | 6.81 | 235.193 | 7.328 | 243.867 | 7.379 | 240.333 | 15.378 | 889.9 | 60.171 | 27.0477
2019-07-27 04:15:00 | 4.22 | 220 | 5.583 | 225.276 | 5.843 | 238.367 | 5.913 | 235.9 | 15.008 | 889.45 | 61.504 | 20.3783
2019-07-27 04:30:00 | 5.435 | 208.027 | 6.873 | 210.655 | 7.288 | 218.7 | 7.164 | 217.7 | 14.295 | 889.825 | 64.896 | 28.3026
2019-07-27 04:45:00 | 5.624 | 213.6 | 7.965 | 212.588 | 8.102 | 216.633 | 8.137 | 213.2 | 13.791 | 890.175 | 65.163 | 35.4104
2019-07-27 05:00:00 | 5.59 | 213.34 | 7.529 | 214.953 | 7.759 | 224.733 | 7.798 | 222.9 | 14.099 | 889.483 | 64.203 | 41.9128
2019-07-27 05:15:00 | 5.508 | 221.44 | 7.194 | 224.813 | 8.22 | 232.933 | 8.789 | 230.8 | 14.12 | 890.183 | 63.168 | 47.9952
2019-07-27 05:30:00 | 5.428 | 223.067 | 7.404 | 225.883 | 8.52 | 234.3 | 8.938 | 231.767 | 14.658 | 889.975 | 61.376 | 43.2906
2019-07-27 05:45:00 | 5.925 | 221.507 | 7.402 | 225.048 | 8.187 | 233.167 | 8.482 | 230.633 | 14.495 | 889.933 | 61.333 | 39.1885
2019-07-27 06:00:00 | 5.572 | 225.167 | 7.301 | 227.172 | 8.16 | 236.5 | 8.297 | 233.333 | 14.658 | 889.883 | 61.28 | 36.9637
2019-07-27 06:15:00 | 5.854 | 230.3 | 7.398 | 233.22 | 7.906 | 240.767 | 8.229 | 236.167 | 14.624 | 890.2 | 60.384 | 34.584
2019-07-27 06:30:00 | 5.566 | 235.953 | 7.414 | 236.585 | 8.033 | 242.8 | 8.34 | 237.7 | 14.946 | 890.117 | 59.136 | 42.5899
2019-07-27 06:45:00 | 6.854 | 233.467 | 8.408 | 234.203 | 9.057 | 241 | 9.14 | 236.667 | 15.761 | 889.925 | 56.277 | 53.1795
2019-07-27 07:00:00 | 5.975 | 237.94 | 7.466 | 239.144 | 8.098 | 245.4 | 8.369 | 240.333 | 16.167 | 889.408 | 54.464 | 45.9175
2019-07-27 07:15:00 | 5.703 | 238.967 | 6.915 | 236.565 | 7.379 | 245.233 | 7.669 | 242.633 | 16.631 | 890.025 | 52.501 | 41.7408
2019-07-27 07:30:00 | 5.507 | 232.38 | 6.666 | 230.418 | 7.096 | 238.833 | 7.198 | 235.367 | 17.014 | 889.9 | 50.208 | 38.313
2019-07-27 07:45:00 | 6.321 | 234.62 | 7.668 | 234.052 | 8.102 | 240.433 | 8.23 | 238 | 17.731 | 890.017 | 47.435 | 40.4746
2019-07-27 08:00:00 | 5.922 | 232.267 | 6.581 | 230.053 | 7.044 | 236.7 | 7.229 | 234.233 | 18.489 | 890.025 | 44.992 | 32.08
2019-07-27 08:15:00 | 5.687 | 240.867 | 5.926 | 240.545 | 6.006 | 248.733 | 6.178 | 246.533 | 19.639 | 890.133 | 42.379 | 27.3831
2019-07-27 08:30:00 | 6.681 | 240.887 | 7.18 | 257.565 | 7.183 | 262.45 | 7.144 | 259.067 | 20.006 | 889.483 | 40.64 | 28.9975
2019-07-27 08:45:00 | 7.995 | 246.147 | 8.073 | 260.643 | 8.222 | 265.783 | 8.289 | 260.267 | 20.423 | 889.933 | 39.629 | 33.3703
2019-07-27 09:00:00 | 6.704 | 257.507 | 7.173 | 258.271 | 7.241 | 263.15 | 7.443 | 258.85 | 20.618 | 889.467 | 38.459 | 35.6029
2019-07-27 09:15:00 | 8.147 | 253.713 | 8.53 | 269.333 | 8.746 | 273.767 | 8.827 | 268.633 | 21.302 | 889.483 | 36.549 | 41.836
2019-07-27 09:30:00 | 8.203 | 255.347 | 8.314 | 271.602 | 8.186 | 276.6 | 8.583 | 272.167 | 21.498 | 889.517 | 35.893 | 48.2482
2019-07-27 09:45:00 | 8.892 | 264.393 | 9.469 | 273.137 | 9.592 | 278.533 | 9.815 | 277.267 | 21.573 | 889.683 | 35.048 | 47.814
2019-07-27 10:00:00 | 7.158 | 275.627 | 7.722 | 280.567 | 7.721 | 286.2 | 8.007 | 284.3 | 21.927 | 889.767 | 33.251 | 38.2391
2019-07-27 10:15:00 | 6.95 | 272.867 | 7.31 | 284.118 | 7.473 | 287.767 | 7.8 | 286.267 | 22.202 | 889.8 | 32.88 | 35.5106
2019-07-27 10:30:00 | 8.216 | 294.22 | 8.68 | 296.584 | 9.011 | 301.833 | 9.304 | 300.033 | 22.548 | 889.75 | 31.208 | 36.3142
2019-07-27 10:45:00 | 7.578 | 320.64 | 7.879 | 314.066 | 7.913 | 316.567 | 8.152 | 313.633 | 23.448 | 889.717 | 30.597 | 31.628
2019-07-27 11:00:00 | 8.281 | 295.907 | 8.208 | 299.265 | 8.477 | 304.367 | 8.765 | 303.7 | 22.948 | 889.75 | 30.619 | 39.4229
2019-07-27 11:15:00 | 7.93 | 288.913 | 8.258 | 293.4 | 8.362 | 300.667 | 8.538 | 298.467 | 23.439 | 889.8 | 30.325 | 38.5248
2019-07-27 11:30:00 | 6.244 | 306.24 | 6.569 | 303.932 | 6.728 | 311.167 | 7.172 | 311.533 | 23.564 | 889.85 | 29.949 | 31.3019
2019-07-27 11:45:00 | 6.927 | 285.78 | 7.575 | 291.535 | 7.901 | 295.8 | 7.986 | 295.033 | 24.152 | 890.133 | 29.083 | 21.6751
2019-07-27 12:00:00 | 6.228 | 289.553 | 6.746 | 289.363 | 6.963 | 295.2 | 7.432 | 290.9 | 24.148 | 889.867 | 26.976 | 25.9279
2019-07-27 12:15:00 | 5.143 | 256.117 | 5.371 | 266.836 | 5.53 | 274.25 | 5.913 | 272.75 | 24.344 | 890.083 | 27.507 | 27.705
2019-07-27 12:30:00 | 5.623 | 304.612 | 5.761 | 305.049 | 5.981 | 306.562 | 6.337 | 302.938 | 25.211 | 889.906 | 26.45 | 30.0946
2019-07-27 12:45:00 | 5.468 | 308.093 | 5.809 | 306.536 | 5.702 | 312.367 | 6.323 | 307.367 | 24.677 | 889.583 | 26.843 | 38.6364
2019-07-27 13:00:00 | 9.082 | 317.813 | 9.634 | 321.718 | 9.843 | 324.3 | 10.442 | 321.3 | 24.518 | 889.933 | 26.28 | 31.697
2019-07-27 13:15:00 | 7.94 | 273.707 | 8.45 | 278.079 | 8.676 | 285.7 | 8.751 | 280.65 | 25.006 | 889.683 | 24.917 | 30.6915
2019-07-27 13:30:00 | 5.957 | 281.6 | 6.367 | 284.731 | 6.38 | 287.4 | 6.955 | 283.967 | 25.123 | 889.717 | 24.067 | 31.3147
2019-07-27 13:45:00 | 6.581 | 312.547 | 6.646 | 305.389 | 6.658 | 310.067 | 6.961 | 309.633 | 25.035 | 890.017 | 21.645 | 39.0648
2019-07-27 14:00:00 | 8.709 | 276.62 | 9.313 | 278.704 | 9.668 | 282.933 | 9.852 | 278.833 | 25.681 | 889.9 | 23.464 | 33.1259
2019-07-27 14:15:00 | 9.046 | 277.327 | 9.457 | 285.697 | 9.689 | 290.767 | 9.984 | 287.167 | 26.235 | 889.8 | 23.128 | 33.9118
2019-07-27 14:30:00 | 5.559 | 251.18 | 6.046 | 258.052 | 6.446 | 270.8 | 7.106 | 271.633 | 25.944 | 889.983 | 23.499 | 37.1278
2019-07-27 14:45:00 | 7.408 | 280.32 | 7.968 | 283.789 | 8.142 | 285.167 | 8.567 | 278.817 | 26.385 | 889.3 | 22.763 | 37.5897
2019-07-27 15:00:00 | 9.167 | 300.02 | 9.786 | 299.857 | 9.949 | 304.333 | 10.36 | 300.767 | 26.768 | 889.783 | 22.304 | 40.1676
2019-07-27 15:15:00 | 8.954 | 277.587 | 9.599 | 284.282 | 9.66 | 287.767 | 9.937 | 284.233 | 26.902 | 889.7 | 22.891 | 45.8259
2019-07-27 15:30:00 | 8.23 | 275.12 | 8.982 | 281.275 | 9.336 | 284.3 | 9.489 | 285.167 | 27.235 | 889.417 | 21.635 | 52.1073
2019-07-27 15:45:00 | 8.145 | 285.107 | 8.454 | 289.31 | 8.74 | 292.933 | 9.128 | 290.1 | 27.01 | 889.567 | 20.932 | 59.8667
2019-07-27 16:00:00 | 10.572 | 294.64 | 10.992 | 296.081 | 11.128 | 301.333 | 11.696 | 297.6 | 26.985 | 889.833 | 21.259 | 65.5377
2019-07-27 16:15:00 | 10.643 | 302.827 | 11.387 | 299.529 | 11.634 | 301.733 | 11.954 | 299.8 | 27.818 | 889.567 | 19.269 | 68.8958
2019-07-27 16:30:00 | 9.152 | 286.4 | 9.44 | 293.321 | 9.408 | 298.667 | 9.7 | 296.733 | 27.244 | 889.767 | 19.631 | 72.1133
2019-07-27 16:45:00 | 9.319 | 285.073 | 9.839 | 287.542 | 9.702 | 296 | 9.984 | 291.967 | 27.518 | 889.767 | 19.54 | 75.0273
2019-07-27 17:00:00 | 11.07 | 323.84 | 11.561 | 317.396 | 11.966 | 321.8 | 12.226 | 318.3 | 27.968 | 889.433 | 18.797 | 71.5157
2019-07-27 17:15:00 | 11.537 | 297.307 | 12.152 | 295.802 | 12.486 | 298.467 | 12.558 | 295.033 | 27.202 | 889.4 | 18.627 | 51.8557
2019-07-27 17:30:00 | 7.05 | 177.223 | 7.737 | 197.8 | 7.966 | 166.667 | 8.274 | 143.267 | 25.844 | 889.833 | 26.429 | 48.2397
2019-07-27 17:45:00 | 8.796 | 96.018 | 9.482 | 185.717 | 9.26 | 107.467 | 9.626 | 118.233 | 25.514 | 889.983 | 27.88 | 29.5752
2019-07-27 18:00:00 | 6.84 | 135.265 | 7.088 | 116.628 | 7.037 | 117.1 | 7.056 | 116.9 | 25.006 | 889.95 | 27.883 | 29.9603
2019-07-27 18:15:00 | 6.618 | 314.874 | 7.459 | 339.399 | 7.554 | 320.067 | 7.708 | 343 | 25.606 | 889.5 | 26.072 | 30.8699
2019-07-27 18:30:00 | 5.699 | 197.387 | 6.413 | 252.397 | 6.56 | 220.267 | 6.972 | 290.067 | 25.668 | 889.4 | 26.045 | 23.1211
2019-07-27 18:45:00 | 5.978 | 327.16 | 6.22 | 323.806 | 6.545 | 341.5 | 6.624 | 316 | 26.223 | 890 | 25.699 | 21.6254
2019-07-27 19:00:00 | 6.753 | 332.2 | 6.702 | 325.713 | 6.925 | 327 | 7.008 | 324.7 | 26.256 | 889.633 | 25.805 | 17.3648
2019-07-27 19:15:00 | 4.245 | 330.787 | 4.365 | 323.396 | 4.404 | 325.833 | 4.606 | 322.3 | 26.156 | 889.5 | 26.128 | 41.701
2019-07-27 19:30:00 | 8.1 | 298.813 | 8.38 | 299.754 | 8.295 | 304.2 | 8.732 | 300.6 | 26.152 | 890.083 | 25.613 | 37.8021
2019-07-27 19:45:00 | 7.926 | 264.82 | 8.614 | 278.53 | 8.829 | 284.633 | 9.169 | 281.467 | 26.152 | 889.833 | 26.805 | 63.2312
2019-07-27 20:00:00 | 9.211 | 290.933 | 10.216 | 295.137 | 11.054 | 299.867 | 11.688 | 298.167 | 26.273 | 889.667 | 23.541 | 75.1581
2019-07-27 20:15:00 | 12.849 | 309.307 | 13.635 | 307.13 | 14.526 | 314.067 | 15.352 | 313 | 26.298 | 889.717 | 20.717 | 73.4832
2019-07-27 20:30:00 | 12.847 | 297.667 | 13.806 | 299.173 | 14.835 | 303.033 | 15.449 | 299.167 | 25.868 | 889.767 | 21.107 | 73.5181
2019-07-27 20:45:00 | 12.368 | 293.147 | 13.647 | 293.767 | 14.1 | 297.967 | 14.719 | 295.067 | 25.61 | 889.833 | 20.904 | 72.7947
2019-07-27 21:00:00 | 12.302 | 290.867 | 13.925 | 288.775 | 14.811 | 293.9 | 15.338 | 292.133 | 25.339 | 890 | 21.501 | 72.5886
2019-07-27 21:15:00 | 10.482 | 285.907 | 11.896 | 289.98 | 12.376 | 295.167 | 12.967 | 293.8 | 25.044 | 889.767 | 21.875 | 63.5829
2019-07-27 21:30:00 | 12.636 | 276.133 | 14.752 | 284.099 | 15.577 | 287.8 | 16.346 | 285.4 | 24.414 | 889.817 | 23.584 | 57.0109
2019-07-27 21:45:00 | 10.525 | 284.507 | 12.225 | 286.416 | 12.829 | 291.067 | 13.63 | 290.667 | 23.789 | 889.667 | 25.784 | 54.352
2019-07-27 22:00:00 | 10.104 | 289.693 | 11.356 | 287.69 | 11.789 | 294.033 | 12.54 | 290.767 | 23.656 | 889.583 | 25.736 | 55.955
2019-07-27 22:15:00 | 10.91 | 285.693 | 12.055 | 285.811 | 12.583 | 289.833 | 13.489 | 288.5 | 23.498 | 889.883 | 26.307 | 71.4695
2019-07-27 22:30:00 | 10.33 | 280.853 | 11.348 | 281.661 | 11.742 | 287.833 | 12.334 | 287.367 | 23.681 | 890.033 | 26.363 | 68.9704
2019-07-27 22:45:00 | 13.18 | 277.46 | 14.718 | 278.748 | 15.209 | 283.733 | 16.194 | 281.933 | 23.648 | 889.683 | 26.504 | 72.1893
2019-07-27 23:00:00 | 15.088 | 277.18 | 17.138 | 280.176 | 18.305 | 283.833 | 19.148 | 282.7 | 22.781 | 889.917 | 30.605 | 72.2852
2019-07-27 23:15:00 | 12.386 | 269.1 | 14.02 | 275.126 | 14.455 | 279 | 15.112 | 276.633 | 22.244 | 890.133 | 31.259 | 72.1914
2019-07-27 23:30:00 | 10.902 | 251.807 | 12.31 | 266.103 | 12.923 | 271.9 | 13.04 | 268.967 | 22.048 | 889.633 | 31.184 | 71.7615
2019-07-27 23:45:00 | 9.593 | 244.907 | 11.232 | 261.5 | 11.619 | 264.883 | 11.967 | 259.2 | 21.852 | 889.733 | 31.165 | 73.8307