## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-28 00:00:00 | 9.668 | 262.667 | 10.444 | 271.089 | 11.158 | 274.8 | 11.347 | 270.467 | 21.523 | 890 | 31.555 | 27.8741
2019-07-28 00:15:00 | 5.002 | 320.933 | 5.612 | 312.523 | 5.91 | 312.833 | 6.018 | 309.633 | 21.602 | 889.767 | 33.672 | 48.4678
2019-07-28 00:30:00 | 7.155 | 233.547 | 8.098 | 240.229 | 8.317 | 243.267 | 8.264 | 236.983 | 20.768 | 890.167 | 42.371 | 70.8392
2019-07-28 00:45:00 | 9.257 | 231.48 | 10.443 | 229.582 | 11.26 | 237.267 | 11.289 | 233.033 | 19.239 | 889.683 | 46.667 | 42.9488
2019-07-28 01:00:00 | 7.178 | 212.107 | 8.374 | 209.612 | 8.67 | 215.2 | 8.674 | 213.933 | 18.381 | 889.925 | 48.768 | 28.9911
2019-07-28 01:15:00 | 5.136 | 214.5 | 6.26 | 208.757 | 7.229 | 210.767 | 7.838 | 206 | 18.489 | 889.467 | 48.757 | 15.7526
2019-07-28 01:30:00 | 4.173 | 212.207 | 5.018 | 201.912 | 5.461 | 202.933 | 5.92 | 198.633 | 18.502 | 889.792 | 50.496 | 10.9534
2019-07-28 01:45:00 | 2.763 | 226.033 | 3.504 | 231.953 | 4.186 | 246.8 | 4.791 | 246.333 | 18.623 | 889.758 | 47.749 | 12.1457
2019-07-28 02:00:00 | 2.816 | 244.827 | 3.594 | 253.524 | 3.961 | 262.8 | 4.648 | 264.433 | 19.368 | 889.783 | 43.131 | 9.5699
2019-07-28 02:15:00 | 2.91 | 228 | 3.273 | 230.915 | 3.597 | 241.7 | 3.879 | 241.95 | 19.756 | 889.875 | 42.92 | 15.1251
2019-07-28 02:30:00 | 4.926 | 232.107 | 5.593 | 229.58 | 5.898 | 235.2 | 6.129 | 231.9 | 18.923 | 889.917 | 44.949 | 20.4174
2019-07-28 02:45:00 | 3.399 | 263.853 | 3.691 | 255.774 | 3.942 | 256.167 | 4.313 | 250.1 | 19.21 | 889.608 | 44.453 | 27.1657
2019-07-28 03:00:00 | 4.858 | 272.813 | 5.823 | 274.347 | 6.296 | 278.7 | 6.672 | 276.5 | 19.456 | 889.5 | 41.813 | 23.8146
2019-07-28 03:15:00 | 5.173 | 310 | 5.47 | 302.265 | 5.68 | 304.867 | 6.201 | 301.433 | 19.027 | 890.042 | 45.285 | 8.7748
2019-07-28 03:30:00 | 3.714 | 271.147 | 4.541 | 280.668 | 5.025 | 282.867 | 5.375 | 279.533 | 19.16 | 889.783 | 46.219 | 8.2774
2019-07-28 03:45:00 | 4.042 | 240.753 | 4.494 | 241.698 | 4.86 | 249.033 | 5.124 | 244.267 | 19.123 | 889.875 | 46.56 | 12.226
2019-07-28 04:00:00 | 4.408 | 215.92 | 5.007 | 218.632 | 5.259 | 223.467 | 5.523 | 220.233 | 18.864 | 890.033 | 46.901 | 20.0849
2019-07-28 04:15:00 | 4.097 | 207.513 | 4.808 | 217.372 | 5.279 | 228.267 | 5.557 | 226.333 | 17.818 | 890.158 | 54.56 | 35.7479
2019-07-28 04:30:00 | 6.364 | 209.033 | 8.068 | 201.541 | 8.485 | 205.733 | 8.644 | 203.833 | 17.844 | 890.217 | 55.883 | 30.2623
2019-07-28 04:45:00 | 6.388 | 205.633 | 7.278 | 205.392 | 6.733 | 213.9 | 6.67 | 214.733 | 17.135 | 890.058 | 57.76 | 33.7519
2019-07-28 05:00:00 | 6 | 200.567 | 7.297 | 198.677 | 7.754 | 206.967 | 7.293 | 209.033 | 17.214 | 889.767 | 59.136 | 33.4279
2019-07-28 05:15:00 | 6.155 | 207.893 | 7.38 | 207.778 | 7.228 | 213.2 | 7.243 | 212.767 | 16.614 | 889.842 | 59.243 | 36.1245
2019-07-28 05:30:00 | 5.598 | 222.207 | 7.206 | 222.692 | 7.368 | 228.867 | 7.616 | 225 | 16.448 | 889.7 | 58.933 | 43.4966
2019-07-28 05:45:00 | 6.498 | 226.74 | 7.97 | 226.534 | 8.515 | 232.8 | 8.605 | 229.467 | 16.964 | 889.533 | 54.507 | 56.4716
2019-07-28 06:00:00 | 7.321 | 229.427 | 8.778 | 228.953 | 9.23 | 235.767 | 9.365 | 231.267 | 16.731 | 890.358 | 53.867 | 54.256
2019-07-28 06:15:00 | 6.37 | 228.02 | 7.625 | 231.628 | 8.244 | 239.5 | 8.536 | 235.733 | 16.948 | 889.425 | 52.96 | 55.648
2019-07-28 06:30:00 | 6.444 | 237.453 | 7.925 | 238.281 | 8.402 | 246.333 | 8.7 | 242.533 | 17.114 | 890.425 | 52.544 | 60.1715
2019-07-28 06:45:00 | 6.75 | 238.6 | 8.143 | 239.371 | 8.76 | 247.5 | 9.014 | 243.667 | 16.864 | 889.575 | 53.493 | 56.8702
2019-07-28 07:00:00 | 7.125 | 242.473 | 8.565 | 242.255 | 9.244 | 249.367 | 9.332 | 245.4 | 16.781 | 889.625 | 53.931 | 56.3387
2019-07-28 07:15:00 | 7.296 | 238.987 | 8.655 | 239.257 | 9.437 | 245.933 | 9.67 | 241.667 | 17.114 | 890.383 | 52.469 | 59.9015
2019-07-28 07:30:00 | 7.042 | 240.7 | 8.162 | 240.827 | 8.938 | 246.4 | 9.058 | 240.7 | 17.352 | 889.875 | 50.709 | 63.6256
2019-07-28 07:45:00 | 7.353 | 236.36 | 8.432 | 236.194 | 9 | 240.5 | 9.271 | 235.567 | 17.81 | 889.808 | 49.568 | 61.7234
2019-07-28 08:00:00 | 7.959 | 239.853 | 8.884 | 240.428 | 9.502 | 245.1 | 9.635 | 239.033 | 18.344 | 889.842 | 49.109 | 57.693
2019-07-28 08:15:00 | 7.366 | 240.233 | 8.16 | 238.979 | 8.776 | 244.3 | 9.011 | 238.767 | 18.623 | 889.483 | 47.541 | 44.3159
2019-07-28 08:30:00 | 7.112 | 240.447 | 7.87 | 237.628 | 8.244 | 243.267 | 8.107 | 236.967 | 18.918 | 889.95 | 45.76 | 33.8237
2019-07-28 08:45:00 | 6.294 | 240.373 | 6.707 | 239.526 | 6.702 | 246.1 | 6.634 | 243.033 | 20.148 | 890.058 | 43.371 | 33.5842
2019-07-28 09:00:00 | 6.781 | 250.873 | 7.212 | 258.668 | 7.094 | 264.267 | 7.351 | 259.65 | 20.581 | 889.733 | 40.384 | 36.8955
2019-07-28 09:15:00 | 7.662 | 244.547 | 8.142 | 256.78 | 8.33 | 261.083 | 8.506 | 255.233 | 20.918 | 889.917 | 38.251 | 39.2894
2019-07-28 09:30:00 | 7.259 | 248.007 | 7.686 | 259.531 | 7.749 | 264.45 | 7.779 | 263.45 | 21.318 | 889.7 | 37.853 | 40.1705
2019-07-28 09:45:00 | 7.323 | 263.807 | 7.569 | 277.107 | 7.408 | 281.133 | 7.778 | 277.667 | 21.218 | 889.617 | 37.416 | 39.2311
2019-07-28 10:00:00 | 6.962 | 250.22 | 7.677 | 269.604 | 7.691 | 273.9 | 7.6 | 269.017 | 21.373 | 889.633 | 36.44 | 36.0243
2019-07-28 10:15:00 | 7.955 | 253.787 | 8.314 | 265.511 | 8.475 | 270.067 | 8.558 | 268.5 | 21.644 | 890.1 | 34.144 | 42.2972
2019-07-28 10:30:00 | 8.164 | 276.233 | 8.84 | 283.898 | 9.053 | 285.4 | 9.365 | 282.733 | 21.518 | 889.667 | 34.493 | 43.2827
2019-07-28 10:45:00 | 9.083 | 280.847 | 9.565 | 280.624 | 9.726 | 286.567 | 9.73 | 283.567 | 21.664 | 890.083 | 34.645 | 42.4365
2019-07-28 11:00:00 | 8.648 | 261.593 | 9.259 | 272.513 | 9.12 | 277.633 | 8.937 | 273.833 | 22.21 | 889.767 | 33.021 | 45.6077
2019-07-28 11:15:00 | 7.505 | 267.693 | 7.868 | 277.736 | 8.095 | 280.933 | 8.257 | 277.817 | 22.573 | 889.817 | 32.541 | 51.2297
2019-07-28 11:30:00 | 8.404 | 260.12 | 8.605 | 266.274 | 8.755 | 273.433 | 8.997 | 270.95 | 22.506 | 889.8 | 32.739 | 53.5376
2019-07-28 11:45:00 | 8.259 | 264.647 | 8.831 | 278.545 | 9.153 | 279.467 | 9.29 | 277.333 | 22.798 | 889.767 | 31.493 | 48.9389
2019-07-28 12:00:00 | 8.228 | 259.173 | 8.877 | 271.154 | 8.933 | 275.917 | 9.068 | 272.983 | 22.731 | 889.483 | 30.045 | 56.1646
2019-07-28 12:15:00 | 8.028 | 265.153 | 8.084 | 287.188 | 8.243 | 292 | 8.542 | 288.233 | 23.606 | 889.733 | 28.955 | 51.9843
2019-07-28 12:30:00 | 7.32 | 271.74 | 7.69 | 275.502 | 7.968 | 280.5 | 8.148 | 277.517 | 23.298 | 889.633 | 28.976 | 59.9484
2019-07-28 12:45:00 | 7.585 | 295.52 | 7.959 | 295.892 | 8.259 | 298.333 | 8.803 | 295.533 | 23.131 | 889.933 | 24.973 | 65.0659
2019-07-28 13:00:00 | 9.5 | 281.833 | 9.988 | 286.464 | 10.148 | 292.233 | 10.798 | 289.767 | 23.856 | 889.633 | 25.376 | 58.7134
2019-07-28 13:15:00 | 9.596 | 287.573 | 9.985 | 294.448 | 10.258 | 300 | 10.774 | 295.4 | 23.96 | 890.25 | 24.557 | 61.5479
2019-07-28 13:30:00 | 9.218 | 262.447 | 9.739 | 279.664 | 10.1 | 283.667 | 10.507 | 282.367 | 24.352 | 889.75 | 23.323 | 72.087
2019-07-28 13:45:00 | 10.247 | 300.8 | 10.746 | 298.681 | 11.014 | 303.367 | 11.493 | 300.233 | 24.223 | 889.25 | 22.541 | 64.0547
2019-07-28 14:00:00 | 9.921 | 294.027 | 10.191 | 298.849 | 10.472 | 302.667 | 11.064 | 300.833 | 24.464 | 889.517 | 21.503 | 66.5083
2019-07-28 14:15:00 | 9.392 | 289.64 | 10.437 | 292.249 | 10.77 | 297.267 | 11.213 | 294.433 | 24.673 | 889.417 | 20.825 | 72.7905
2019-07-28 14:30:00 | 10.247 | 260.52 | 10.748 | 271.388 | 10.835 | 277.567 | 11.112 | 275.4 | 24.339 | 889.367 | 21.872 | 69.5837
2019-07-28 14:45:00 | 11.534 | 290.8 | 12.358 | 293.941 | 12.644 | 299.667 | 12.973 | 295.767 | 24.768 | 889.667 | 22.056 | 71.0304
2019-07-28 15:00:00 | 8.876 | 294.127 | 9.48 | 294.781 | 9.504 | 298.333 | 9.954 | 296.6 | 25.023 | 889.4 | 21.483 | 72.0245
2019-07-28 15:15:00 | 8.892 | 286.447 | 9.386 | 286.196 | 9.843 | 289.1 | 10.327 | 286.8 | 24.852 | 889.95 | 23.155 | 69.389
2019-07-28 15:30:00 | 8.93 | 282.413 | 9.55 | 285.444 | 10.067 | 290.433 | 10.549 | 289.433 | 24.935 | 890.1 | 22.92 | 72.6839
2019-07-28 15:45:00 | 9.397 | 290.6 | 9.943 | 288.546 | 10.201 | 292.833 | 10.729 | 291.5 | 25.289 | 889.783 | 23.675 | 69.5993
2019-07-28 16:00:00 | 10.5 | 296.733 | 11.042 | 297.656 | 11.338 | 302.633 | 11.748 | 300.5 | 25.485 | 889.567 | 22.765 | 72.541
2019-07-28 16:15:00 | 11.106 | 307.893 | 11.501 | 300.533 | 12.052 | 305.867 | 12.503 | 301.733 | 25.418 | 889.7 | 22.608 | 71.9477
2019-07-28 16:30:00 | 11.588 | 268.82 | 12.575 | 273.552 | 12.665 | 279.533 | 12.736 | 276.6 | 25.323 | 889.7 | 24.035 | 74.7005
2019-07-28 16:45:00 | 11.864 | 297.147 | 12.454 | 298.769 | 12.694 | 303.833 | 13.609 | 302.7 | 25.323 | 889.833 | 24.397 | 72.8771
2019-07-28 17:00:00 | 9.825 | 300.72 | 10.648 | 300.696 | 10.951 | 307 | 11.783 | 306.033 | 25.577 | 889.967 | 23.603 | 72.3577
2019-07-28 17:15:00 | 9.316 | 288.2 | 9.948 | 288.909 | 10.373 | 293.267 | 10.675 | 291.033 | 25.406 | 889.2 | 21.917 | 73.5529
2019-07-28 17:30:00 | 11.624 | 287.133 | 12.097 | 287.974 | 12.525 | 293 | 13.502 | 290.967 | 25.664 | 890.083 | 21.453 | 72.47
2019-07-28 17:45:00 | 11.612 | 287.613 | 12.462 | 291.756 | 12.955 | 297.367 | 12.947 | 293.333 | 25.66 | 889.583 | 21.544 | 74.0133
2019-07-28 18:00:00 | 10.941 | 271 | 11.612 | 277.479 | 11.716 | 282.467 | 11.935 | 281.333 | 25.235 | 889.5 | 21.952 | 72.9766
2019-07-28 18:15:00 | 12.551 | 284.92 | 13.732 | 290.182 | 14.17 | 294 | 14.706 | 291 | 26.306 | 889.8 | 21.541 | 73.1031
2019-07-28 18:30:00 | 11.955 | 272.06 | 12.931 | 278.328 | 13.002 | 281.133 | 13.12 | 277.767 | 25.764 | 889.617 | 21.885 | 73.4648
2019-07-28 18:45:00 | 10 | 290.053 | 10.676 | 289.612 | 11.139 | 293.867 | 12.178 | 292.6 | 25.718 | 889.583 | 21.483 | 71.6166
2019-07-28 19:00:00 | 12.004 | 293.5 | 12.536 | 292.983 | 12.982 | 297.767 | 13.268 | 295.8 | 25.031 | 889.9 | 21.784 | 72.1296
2019-07-28 19:15:00 | 10.734 | 285.187 | 11.548 | 289.24 | 11.9 | 295.767 | 12.316 | 292.1 | 25.202 | 889.967 | 21.261 | 72.1403
2019-07-28 19:30:00 | 10.234 | 268.293 | 11.323 | 271.538 | 11.587 | 276.9 | 11.925 | 274.15 | 25.473 | 889.467 | 21.179 | 72.2952
2019-07-28 19:45:00 | 9.92 | 293.72 | 10.495 | 292.778 | 10.89 | 294.933 | 11.736 | 292.033 | 25.889 | 889.417 | 21.56 | 71.7125
2019-07-28 20:00:00 | 11.684 | 288.213 | 12.632 | 290.65 | 13.115 | 294.467 | 13.634 | 291.033 | 25.239 | 889.967 | 22.915 | 72.2746
2019-07-28 20:15:00 | 11.748 | 286.993 | 12.671 | 286.706 | 13.032 | 292.667 | 13.531 | 289.333 | 24.835 | 890.133 | 22.819 | 72.1474
2019-07-28 20:30:00 | 11.05 | 289.64 | 12.612 | 289.2 | 13.054 | 293.533 | 13.769 | 289.333 | 24.789 | 889.75 | 23.331 | 73.7838
2019-07-28 20:45:00 | 11.498 | 286.48 | 12.889 | 289.124 | 13.449 | 294.467 | 13.894 | 292.267 | 24.189 | 889.6 | 24.432 | 74.8085
2019-07-28 21:00:00 | 11.016 | 291.24 | 12.545 | 292.024 | 13.233 | 296.7 | 13.945 | 294.3 | 24.285 | 889.583 | 24.637 | 69.8409
2019-07-28 21:15:00 | 10.272 | 292.88 | 11.469 | 292.429 | 12.116 | 298.9 | 12.639 | 295.667 | 23.906 | 889.567 | 25.432 | 71.8212
2019-07-28 21:30:00 | 9.205 | 294.107 | 10.504 | 294.623 | 11.089 | 298.567 | 11.582 | 296 | 23.448 | 889.5 | 25.715 | 66.4785
2019-07-28 21:45:00 | 8.084 | 292.107 | 9.42 | 296.906 | 10.405 | 302.733 | 11.011 | 300.867 | 22.881 | 889.683 | 26.581 | 62.4382
2019-07-28 22:00:00 | 8.04 | 286.987 | 9.418 | 286.128 | 9.83 | 291.9 | 10.39 | 289.933 | 22.914 | 890.017 | 26.493 | 59.1035
2019-07-28 22:15:00 | 7.601 | 286.753 | 8.773 | 289.489 | 9.272 | 294.333 | 10.032 | 294 | 22.898 | 889.417 | 27.107 | 50.0502
2019-07-28 22:30:00 | 7.715 | 288.3 | 9.109 | 290.435 | 9.63 | 296.333 | 10.217 | 294.867 | 22.698 | 889.967 | 27.168 | 27.1699
2019-07-28 22:45:00 | 5.825 | 292.36 | 6.953 | 290.252 | 7.568 | 296.4 | 8.085 | 294.3 | 22.352 | 889.9 | 27.416 | 17.7066
2019-07-28 23:00:00 | 4.096 | 305.427 | 4.976 | 302.976 | 5.564 | 305.867 | 6.102 | 304.933 | 21.931 | 889.683 | 28.261 | 11.7826
2019-07-28 23:15:00 | 3.772 | 304.747 | 4.697 | 304.202 | 5.01 | 310.2 | 5.568 | 309.267 | 21.377 | 889.95 | 29.059 | 5.504
2019-07-28 23:30:00 | 3.262 | 284.16 | 3.717 | 292.11 | 3.794 | 300.333 | 4.308 | 302.967 | 20.806 | 889.75 | 30.387 | 5.9794
2019-07-28 23:45:00 | 3.662 | 272.32 | 4.38 | 284.361 | 4.443 | 294.567 | 4.876 | 295.133 | 20.406 | 889.75 | 31.928 | 5.4948