## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-29 00:00:00 | 3.614 | 264.887 | 4.248 | 281.903 | 4.345 | 289.533 | 4.973 | 291.633 | 20.185 | 889.667 | 33.323 | 2.5069
2019-07-29 00:15:00 | 3.923 | 253.233 | 4.484 | 268.989 | 4.518 | 279.2 | 4.934 | 279.733 | 19.481 | 889.433 | 34.539 | 2.4735
2019-07-29 00:30:00 | 3.7 | 250.667 | 4.352 | 264.321 | 4.361 | 273 | 4.664 | 272.767 | 18.756 | 889.65 | 36.013 | 5.1225
2019-07-29 00:45:00 | 4.163 | 251.887 | 4.996 | 266.684 | 5.11 | 276.067 | 5.432 | 274.867 | 18.331 | 889.667 | 37.728 | 8.1076
2019-07-29 01:00:00 | 4.426 | 246.193 | 4.77 | 260.946 | 4.876 | 272.267 | 5.226 | 272.067 | 17.981 | 889.75 | 38.621 | 10.068
2019-07-29 01:15:00 | 4.194 | 238.893 | 4.94 | 254.862 | 5.221 | 269.533 | 5.658 | 272.367 | 17.439 | 889.7 | 39.259 | 11.3215
2019-07-29 01:30:00 | 4.583 | 233.24 | 5.223 | 244.577 | 5.16 | 256.967 | 5.338 | 260.117 | 16.848 | 889.333 | 40.549 | 11.9802
2019-07-29 01:45:00 | 4.909 | 239.933 | 5.274 | 249.094 | 5.155 | 259.4 | 5.386 | 259.5 | 16.864 | 890.025 | 41.045 | 13.7146
2019-07-29 02:00:00 | 5.03 | 242.66 | 5.313 | 252.983 | 5.277 | 264.8 | 5.706 | 264.4 | 16.864 | 889.758 | 41.44 | 11.6263
2019-07-29 02:15:00 | 4.92 | 244.88 | 5.157 | 256.517 | 5.141 | 269.2 | 5.48 | 269.367 | 16.498 | 890.175 | 41.931 | 8.8998
2019-07-29 02:30:00 | 4.585 | 246.107 | 4.511 | 260.504 | 4.616 | 272.067 | 5.035 | 274.233 | 16.931 | 890 | 42.309 | 9.1585
2019-07-29 02:45:00 | 4.572 | 241.76 | 4.775 | 258.128 | 4.832 | 271.133 | 5.346 | 272.367 | 16.414 | 889.667 | 42.613 | 8.9062
2019-07-29 03:00:00 | 4.508 | 240.133 | 4.486 | 257.734 | 4.411 | 267.4 | 4.886 | 268.1 | 16.431 | 889.858 | 42.928 | 9.1962
2019-07-29 03:15:00 | 4.764 | 233.32 | 4.98 | 248.338 | 4.811 | 259.333 | 5.008 | 258.917 | 16.106 | 889.5 | 43.435 | 9.7582
2019-07-29 03:30:00 | 4.528 | 233.46 | 4.988 | 248.209 | 4.758 | 258.633 | 5.035 | 258.2 | 15.535 | 890.05 | 44.235 | 11.4252
2019-07-29 03:45:00 | 5.532 | 228.507 | 5.549 | 241.539 | 5.28 | 251.267 | 5.454 | 250.2 | 15.374 | 889.658 | 44.768 | 12.6147
2019-07-29 04:00:00 | 5.308 | 221.867 | 5.804 | 234.436 | 5.541 | 245.467 | 5.329 | 242.5 | 14.824 | 889.683 | 45.579 | 15.479
2019-07-29 04:15:00 | 5.754 | 223.867 | 6.382 | 233.836 | 6.09 | 242.167 | 5.978 | 237.833 | 14.608 | 889.733 | 46.229 | 19.8454
2019-07-29 04:30:00 | 6.094 | 223.5 | 7.293 | 228.506 | 6.923 | 237.3 | 6.687 | 233.9 | 14.808 | 889.592 | 46.165 | 21.5081
2019-07-29 04:45:00 | 5.951 | 221.033 | 7.065 | 225.853 | 7.092 | 231.4 | 7.048 | 227.933 | 14.504 | 889.567 | 46.048 | 21.2943
2019-07-29 05:00:00 | 5.933 | 223.733 | 6.788 | 227.066 | 6.877 | 233.667 | 6.823 | 230.033 | 14.658 | 889.667 | 45.579 | 25.11
2019-07-29 05:15:00 | 6.494 | 217.467 | 7.233 | 221.24 | 7.222 | 227.7 | 7.103 | 224.6 | 14.47 | 890.108 | 45.408 | 23.394
2019-07-29 05:30:00 | 6.018 | 223.027 | 7.421 | 226.299 | 7.386 | 232.933 | 7.362 | 228.767 | 14.633 | 889.625 | 46.133 | 24.2317
2019-07-29 05:45:00 | 6.29 | 221.447 | 7.928 | 222.11 | 7.428 | 227.667 | 7.189 | 224.733 | 14.399 | 890.042 | 46.176 | 22.5598
2019-07-29 06:00:00 | 5.788 | 222.64 | 7.594 | 223.624 | 7.3 | 231.5 | 7.234 | 228 | 13.916 | 889.775 | 46.773 | 19.2414
2019-07-29 06:15:00 | 5.934 | 222.113 | 7.2 | 224.75 | 6.925 | 231.1 | 6.955 | 227.433 | 13.704 | 889.867 | 47.36 | 17.816
2019-07-29 06:30:00 | 6.705 | 216.313 | 7.162 | 219.619 | 6.29 | 226.4 | 6.256 | 223.667 | 13.683 | 890.133 | 47.723 | 16.8852
2019-07-29 06:45:00 | 5.548 | 218.513 | 7.477 | 217.202 | 7.066 | 221.3 | 6.474 | 219.4 | 13.449 | 890.383 | 47.957 | 13.6187
2019-07-29 07:00:00 | 5.819 | 224.04 | 6.645 | 227.9 | 6.131 | 234.8 | 5.851 | 230.867 | 13.541 | 889.55 | 47.925 | 9.4676
2019-07-29 07:15:00 | 5.429 | 228.087 | 6.421 | 223.636 | 5.789 | 230.633 | 5.835 | 228.067 | 14.474 | 890.033 | 45.856 | 7.1348
2019-07-29 07:30:00 | 5.582 | 220.173 | 5.862 | 221.309 | 5.26 | 224.767 | 5.571 | 221.033 | 14.512 | 889.833 | 44.853 | 6.6864
2019-07-29 07:45:00 | 4.105 | 229.567 | 5.63 | 227.5 | 5.544 | 236.667 | 5.292 | 235.133 | 15.314 | 890.333 | 42.773 | 4.9583
2019-07-29 08:00:00 | 4.405 | 228.1 | 5.601 | 231.854 | 5.073 | 244.733 | 4.754 | 243.7 | 16.264 | 889.95 | 40.315 | 3.5848
2019-07-29 08:15:00 | 3.924 | 231.153 | 4.673 | 231.626 | 4.163 | 246.9 | 3.868 | 247.333 | 17.498 | 889.683 | 37.403 | 1.9938
2019-07-29 08:30:00 | 3.688 | 239.333 | 3.733 | 238.736 | 3.748 | 251.467 | 3.606 | 259.4 | 18.606 | 889.767 | 34.219 | 0.37873
2019-07-29 08:45:00 | 3.03 | 246.133 | 2.96 | 249.48 | 2.622 | 262.233 | 3.05 | 273.233 | 20.339 | 889.067 | 31.133 | 0.21104
2019-07-29 09:00:00 | 2.405 | 266.78 | 2.259 | 265.217 | 2.11 | 274.6 | 2.624 | 276.5 | 21.089 | 889.95 | 29.243 | 0.17977
2019-07-29 09:15:00 | 2.367 | 305.013 | 2.174 | 303.402 | 2.005 | 309.1 | 2.659 | 311.767 | 20.706 | 890 | 29.08 | 1.1426
2019-07-29 09:30:00 | 3.075 | 321.733 | 3.025 | 317.981 | 3.159 | 322.433 | 3.765 | 317.867 | 20.677 | 889.95 | 29.083 | 1.3344
2019-07-29 09:45:00 | 3.435 | 313.04 | 3.418 | 307.628 | 3.473 | 319.767 | 4.037 | 320.467 | 21.677 | 889.633 | 28.667 | 0.43273
2019-07-29 10:00:00 | 3.364 | 322.373 | 3.384 | 326.602 | 3.639 | 329.967 | 4.089 | 326.767 | 21.756 | 889.633 | 27.853 | 0.15064
2019-07-29 10:15:00 | 2.99 | 300.24 | 3.113 | 301.067 | 3.159 | 302.267 | 3.707 | 299.933 | 21.944 | 889.85 | 26.72 | 0.16983
2019-07-29 10:30:00 | 2.317 | 280.333 | 1.997 | 275.131 | 1.739 | 280.6 | 2.273 | 276.567 | 23.331 | 889.75 | 24.851 | 0.16059
2019-07-29 10:45:00 | 1.095 | 276.24 | 0.991 | 232.501 | 1.369 | 289.883 | 2.254 | 291.983 | 23.698 | 889.75 | 23.893 | 0.22028
2019-07-29 11:00:00 | 1.392 | 202.707 | 1.086 | 222.661 | 0.773 | 226.183 | 1.23 | 231.2 | 23.031 | 889.717 | 24.477 | 0.17977
2019-07-29 11:15:00 | 1.143 | 238.227 | 0.783 | 246.844 | 0.679 | 218.504 | 1.392 | 257.467 | 23.618 | 889.8 | 23.523 | 0.2018
2019-07-29 11:30:00 | 2.428 | 285.113 | 2.366 | 277.039 | 2.222 | 278.967 | 2.998 | 278.7 | 23.198 | 890 | 22.752 | 0.17409
2019-07-29 11:45:00 | 1.065 | 151.733 | 0.599 | 137.569 | 0.377 | 227.433 | 0.628 | 205.533 | 24.773 | 889.983 | 21.296 | 0.13785
2019-07-29 12:00:00 | 0.995 | 111.393 | 0.703 | 96.868 | 0.443 | 81.467 | 1.382 | 103.7 | 24.606 | 889.533 | 20.427 | 0.11298
2019-07-29 12:15:00 | 3.127 | 151.276 | 2.887 | 186.328 | 2.905 | 111.533 | 3.215 | 41.468 | 24.51 | 889.767 | 20.795 | 0.16201
2019-07-29 12:30:00 | 1.562 | 89.098 | 0.8 | 58.613 | 1.039 | 73.833 | 2.245 | 60.45 | 24.473 | 889.6 | 20.301 | 0.13359
2019-07-29 12:45:00 | 3.433 | 277.293 | 3.215 | 275.686 | 3.12 | 278.733 | 3.24 | 278.767 | 25.523 | 889.3 | 19.333 | 0.10374
2019-07-29 13:00:00 | 0.889 | 224.98 | 0.474 | 258.861 | 0.273 | 241.367 | 1.025 | 221.5 | 25.614 | 889.367 | 18.779 | 0.25225
2019-07-29 13:15:00 | 2.6 | 259.333 | 2.098 | 246.156 | 2.054 | 245.417 | 2.19 | 241.283 | 26.094 | 889.733 | 18.341 | 0.14282
2019-07-29 13:30:00 | 1.961 | 283.387 | 2.033 | 280.115 | 2.11 | 286.1 | 2.91 | 278.467 | 25.977 | 889.233 | 18.296 | 0.29986
2019-07-29 13:45:00 | 2.939 | 328.12 | 2.464 | 319.824 | 2.261 | 328.567 | 2.746 | 322.2 | 25.564 | 889.167 | 18.145 | 0.16059
2019-07-29 14:00:00 | 3.27 | 163.336 | 2.885 | 219.993 | 2.613 | 261.1 | 3.063 | 277.533 | 26.277 | 889.633 | 18.044 | 0.18759
2019-07-29 14:15:00 | 0.487 | 154.026 | 0.589 | 182.633 | 0.216 | 194.017 | 0.81 | 198.1 | 27.602 | 889.667 | 18.452 | 0.39863
2019-07-29 14:30:00 | 4.006 | 177.868 | 3.973 | 270.915 | 3.88 | 257.333 | 4.062 | 292.033 | 26.748 | 889.533 | 18.079 | 0.87044
2019-07-29 14:45:00 | 2.314 | 294.613 | 2.094 | 296.598 | 2.173 | 296.367 | 2.69 | 275.283 | 26.852 | 889.5 | 18.001 | 2.5474
2019-07-29 15:00:00 | 3.704 | 131.625 | 3.518 | 188.996 | 3.527 | 98.542 | 3.994 | 104.9 | 27.406 | 889.2 | 18.059 | 1.208
2019-07-29 15:15:00 | 1.562 | 130.129 | 1.461 | 203.882 | 1.953 | 171.802 | 2.427 | 229.15 | 26.777 | 889.833 | 17.675 | 0.63454
2019-07-29 15:30:00 | 3.411 | 94.033 | 3.472 | 120.703 | 3.504 | 101.9 | 3.965 | 102.602 | 28.035 | 889.267 | 16.456 | 0.17977
2019-07-29 15:45:00 | 1.967 | 261.787 | 1.913 | 257.915 | 2.03 | 276.133 | 2.753 | 274.383 | 27.781 | 889.8 | 15.279 | 1.4965
2019-07-29 16:00:00 | 4.374 | 320.413 | 4.491 | 325.683 | 4.292 | 332.567 | 4.474 | 329.567 | 28.706 | 889.533 | 14.861 | 2.8302
2019-07-29 16:15:00 | 5.217 | 167.763 | 5.074 | 215.608 | 5.023 | 194.5 | 5.098 | 209.267 | 28.073 | 889.533 | 15.208 | 4.9335
2019-07-29 16:30:00 | 5.988 | 256.747 | 6.315 | 260.03 | 6.246 | 265.467 | 6.526 | 263.567 | 28.694 | 889.567 | 14.332 | 3.4043
2019-07-29 16:45:00 | 5.028 | 305.4 | 5.176 | 328.732 | 5.491 | 333.533 | 5.47 | 329.367 | 28.931 | 889.7 | 14.451 | 1.8944
2019-07-29 17:00:00 | 0.819 | 191.77 | 0.36 | 164.307 | 0.169 | 153.667 | 0.708 | 150.333 | 28.635 | 889.533 | 14.039 | 2.2518
2019-07-29 17:15:00 | 2.501 | 283.42 | 2.073 | 300.474 | 2.098 | 311.708 | 2.56 | 313.502 | 28.968 | 889.233 | 12.527 | 4.3615
2019-07-29 17:30:00 | 3.128 | 135.353 | 3.044 | 174.252 | 3.384 | 155.2 | 3.536 | 204.2 | 28.964 | 889.133 | 12.879 | 3.7582
2019-07-29 17:45:00 | 2.848 | 218.167 | 3.051 | 196.146 | 3.05 | 174.867 | 3.502 | 167.302 | 28.964 | 889.567 | 13.217 | 5.0457
2019-07-29 18:00:00 | 6.268 | 254.154 | 6.482 | 310.486 | 6.441 | 232.533 | 6.517 | 314.6 | 29.214 | 889.767 | 12.584 | 8.5183
2019-07-29 18:15:00 | 4.717 | 57.118 | 4.283 | 63.737 | 4.528 | 64.033 | 4.518 | 61.967 | 29.431 | 889.5 | 13.239 | 1.8503
2019-07-29 18:30:00 | 2.785 | 86.903 | 2.462 | 110.119 | 2.57 | 28.5 | 2.765 | 29.767 | 29.498 | 889.6 | 12.795 | 0.31691
2019-07-29 18:45:00 | 1.426 | 309.82 | 0.819 | 317.48 | 1.13 | 297.567 | 1.525 | 293.417 | 29.481 | 889.433 | 12.196 | 2.7058
2019-07-29 19:00:00 | 4.287 | 288.093 | 3.862 | 318.203 | 3.863 | 317.967 | 4.325 | 320.533 | 29.048 | 889.6 | 12.747 | 3.8363
2019-07-29 19:15:00 | 4.065 | 295.673 | 3.891 | 315.924 | 4.378 | 312.767 | 4.424 | 325.133 | 28.948 | 889.467 | 13.064 | 2.8593
2019-07-29 19:30:00 | 3.711 | 15.208 | 3.838 | 49.053 | 3.528 | 15.267 | 3.481 | 26.033 | 29.348 | 889.333 | 13.168 | 6.1585
2019-07-29 19:45:00 | 2.444 | 193.387 | 2.643 | 280.743 | 2.922 | 296.733 | 3.125 | 336.933 | 28.86 | 889.633 | 13.263 | 6.6722
2019-07-29 20:00:00 | 4.221 | 151.167 | 4.549 | 255.627 | 4.638 | 156.968 | 4.484 | 151.7 | 29.231 | 889.667 | 13.537 | 4.7651
2019-07-29 20:15:00 | 3.842 | 31.138 | 3.98 | 33.862 | 4.675 | 16.533 | 4.834 | 16.733 | 28.948 | 889.167 | 13.54 | 5.1175
2019-07-29 20:30:00 | 4.069 | 25.133 | 4.212 | 30.763 | 4.39 | 10.867 | 4.312 | 10.333 | 28.931 | 889.433 | 13.291 | 5.8167
2019-07-29 20:45:00 | 3.531 | 5.502 | 3.841 | 37.648 | 3.778 | 3.633 | 3.868 | 3.8 | 28.564 | 889.3 | 14.088 | 5.7257
2019-07-29 21:00:00 | 3.886 | 12.637 | 4.24 | 5.279 | 4.279 | 6.4 | 4.513 | 4.3 | 28.498 | 889.5 | 14.453 | 3.7433
2019-07-29 21:15:00 | 4.411 | 6.737 | 5.082 | 5.375 | 4.941 | 3.167 | 5.058 | 1.467 | 27.723 | 889.367 | 14.611 | 1.7039
2019-07-29 21:30:00 | 2.908 | 12.147 | 3.836 | 250.922 | 4.196 | 4.733 | 4.415 | 0 | 27.21 | 890.033 | 14.573 | 0.28067
2019-07-29 21:45:00 | 2.73 | 342.173 | 3.537 | 354.27 | 3.619 | 239.267 | 3.918 | 213.6 | 26.994 | 889.167 | 14.849 | 0.20535
2019-07-29 22:00:00 | 2.563 | 59.413 | 3.145 | 0 | 2.826 | 0.267 | 3.152 | 0.8 | 26.96 | 889.4 | 15.445 | 0.15917
2019-07-29 22:15:00 | 1.813 | 2.005 | 2.171 | 15.137 | 2.604 | 17.6 | 2.888 | 16.333 | 26.618 | 889.2 | 16.243 | 0.27428
2019-07-29 22:30:00 | 1.506 | 28.053 | 1.169 | 24.066 | 1.28 | 23 | 2.054 | 24 | 26.514 | 889.1 | 17.411 | 0.22028
2019-07-29 22:45:00 | 0 | 28.13 | 0.939 | 18.067 | 1.239 | 21.133 | 1.944 | 24 | 25.864 | 889.567 | 18.248 | 0.19327
2019-07-29 23:00:00 | 0 | 28.083 | 0 | 18.074 | 0 | 21 | 1.495 | 23.9 | 24.531 | 889.5 | 19.189 | 0.17764
2019-07-29 23:15:00 | 1.797 | 248.267 | 0 | 128.13 | 0 | 21 | 0 | 24 | 24.598 | 889.767 | 19.613 | 0.17054
2019-07-29 23:30:00 | 1.381 | 248.613 | 0.123 | 250.423 | 0 | 338.067 | 0.309 | 327.1 | 24.881 | 889.967 | 20.195 | 0.17054
2019-07-29 23:45:00 | 1.803 | 235.74 | 0 | 250.457 | 0 | 338 | 0 | 327 | 24.577 | 889.6 | 19.955 | 0.17054