## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-30 00:00:00 | 3.719 | 230.093 | 0.689 | 243.706 | 0 | 338 | 0 | 327 | 23.906 | 889.3 | 19.432 | 0.17054
2019-07-30 00:15:00 | 4.594 | 232.613 | 2.593 | 229.925 | 1.549 | 304.333 | 1.41 | 306.333 | 22.556 | 889.9 | 20.125 | 1.4986
2019-07-30 00:30:00 | 5.134 | 225.747 | 2.591 | 227.839 | 1.762 | 252 | 1.516 | 282 | 21.714 | 889.767 | 21.408 | 8.5119
2019-07-30 00:45:00 | 1.866 | 86.177 | 1.673 | 79.297 | 1.689 | 78 | 2.114 | 80.1 | 21.452 | 889.567 | 22.08 | 16.5036
2019-07-30 01:00:00 | 1.256 | 180.127 | 1.437 | 139.108 | 2.936 | 129.9 | 3.969 | 118.833 | 21.96 | 889.433 | 22.368 | 13.8909
2019-07-30 01:15:00 | 2.95 | 130.033 | 4.203 | 118.934 | 4.389 | 126.167 | 4.974 | 119.6 | 22.481 | 889.7 | 23.365 | 7.0438
2019-07-30 01:30:00 | 2.262 | 157.36 | 2.748 | 138.075 | 2.509 | 134.7 | 2.933 | 126.033 | 22.181 | 889.883 | 23.723 | 1.4737
2019-07-30 01:45:00 | 2.636 | 139.4 | 2.82 | 121.989 | 3.095 | 122.433 | 3.492 | 117.8 | 22.431 | 890.383 | 24.939 | 1.1689
2019-07-30 02:00:00 | 3.087 | 161.033 | 2.817 | 140.831 | 2.398 | 139.933 | 2.749 | 139.367 | 22.539 | 889.933 | 24.272 | 1.0587
2019-07-30 02:15:00 | 2.532 | 184.18 | 2.204 | 152.387 | 2.614 | 146 | 2.729 | 136.1 | 21.356 | 889.767 | 24.016 | 0.84486
2019-07-30 02:30:00 | 3.614 | 212.367 | 1.966 | 157.656 | 1.887 | 144.667 | 2.261 | 131.2 | 20.439 | 889.85 | 23.099 | 0.27996
2019-07-30 02:45:00 | 5.071 | 221.033 | 3.263 | 204.541 | 2.21 | 186.833 | 2.304 | 154.4 | 19.606 | 889.517 | 24.203 | 0.22596
2019-07-30 03:00:00 | 5.907 | 219.467 | 3.739 | 213.979 | 3.238 | 205.3 | 3.126 | 190.333 | 18.656 | 889.633 | 25.659 | 0.17977
2019-07-30 03:15:00 | 5.219 | 220.34 | 3.597 | 217.764 | 2.921 | 212.7 | 2.806 | 198.033 | 17.552 | 890.05 | 26.795 | 3.0824
2019-07-30 03:30:00 | 5.807 | 223.86 | 5.993 | 231.315 | 5.304 | 235.6 | 4.758 | 230.167 | 17.61 | 889.45 | 27.131 | 5.9666
2019-07-30 03:45:00 | 5.412 | 218.787 | 5.235 | 228.154 | 5.042 | 234.367 | 4.762 | 228.8 | 17.51 | 889.783 | 27.013 | 2.2497
2019-07-30 04:00:00 | 4.894 | 211.713 | 4.635 | 222.918 | 4.236 | 233.533 | 3.768 | 228 | 17.339 | 889.55 | 26.72 | 0.64093
2019-07-30 04:15:00 | 4.036 | 206.113 | 5.175 | 215.018 | 4.131 | 235.633 | 3.524 | 234.6 | 17.481 | 889.817 | 26.155 | 0.9749
2019-07-30 04:30:00 | 3.336 | 196.08 | 4.304 | 211.622 | 4.434 | 238.867 | 4.164 | 239.333 | 17.035 | 889.85 | 26.064 | 0.54571
2019-07-30 04:45:00 | 3.56 | 192.567 | 3.391 | 202.077 | 4.38 | 238.467 | 4.156 | 246.033 | 17.744 | 889.567 | 25.899 | 1.6371
2019-07-30 05:00:00 | 3.11 | 196.007 | 3.034 | 205.779 | 4.582 | 234.4 | 4.325 | 247.067 | 17.202 | 889.533 | 25.621 | 4.6876
2019-07-30 05:15:00 | 3.829 | 201.833 | 4.553 | 211.901 | 5.721 | 231.433 | 4.865 | 236.533 | 16.914 | 889.567 | 25.643 | 3.4121
2019-07-30 05:30:00 | 2.96 | 183.253 | 3.893 | 199.69 | 5.621 | 220.4 | 4.768 | 233 | 16.598 | 889.367 | 25.392 | 1.8191
2019-07-30 05:45:00 | 3.081 | 195.693 | 3.176 | 215.542 | 4.72 | 240.833 | 3.879 | 251.1 | 16.082 | 889.733 | 25.232 | 1.959
2019-07-30 06:00:00 | 4.435 | 205.32 | 4.902 | 214.595 | 4.244 | 236.267 | 3.519 | 241.333 | 15.989 | 889.65 | 24.571 | 2.4863
2019-07-30 06:15:00 | 5.126 | 190.087 | 4.648 | 196.412 | 5.326 | 220.567 | 4.151 | 230.867 | 16.317 | 889.467 | 24.709 | 2.4607
2019-07-30 06:30:00 | 5.403 | 197.1 | 4.944 | 199.72 | 5.09 | 225.9 | 4.29 | 232.967 | 16.981 | 889.667 | 23.701 | 1.3941
2019-07-30 06:45:00 | 5.089 | 195.453 | 5.013 | 199.396 | 4.306 | 232 | 3.735 | 235.667 | 17.181 | 889.817 | 23.184 | 0.38939
2019-07-30 07:00:00 | 5.078 | 185.907 | 5.281 | 197.386 | 4.702 | 217.7 | 3.312 | 224.733 | 16.481 | 889.683 | 24.251 | 1.0104
2019-07-30 07:15:00 | 4.976 | 197.667 | 5.83 | 208.921 | 4.387 | 225.533 | 3.676 | 225.6 | 16.814 | 889.983 | 23.824 | 1.9846
2019-07-30 07:30:00 | 4.875 | 206.387 | 5.76 | 216.817 | 3.818 | 228.1 | 2.698 | 230.667 | 16.664 | 889.567 | 23.483 | 1.333
2019-07-30 07:45:00 | 4.349 | 205.14 | 4.701 | 218.281 | 3.22 | 226.667 | 2.476 | 223.433 | 17.706 | 889.8 | 22.539 | 2.0791
2019-07-30 08:00:00 | 4.188 | 214.367 | 4.347 | 221.55 | 3.107 | 232.533 | 2.559 | 227 | 18.76 | 890.117 | 21.168 | 2.3299
2019-07-30 08:15:00 | 4.508 | 217.873 | 4.957 | 219.555 | 3.784 | 223.967 | 2.889 | 221.9 | 20.402 | 889.7 | 19.627 | 4.0197
2019-07-30 08:30:00 | 4.283 | 216.173 | 4.922 | 215.861 | 5.324 | 223.6 | 4.607 | 217.933 | 22.002 | 889.467 | 18.435 | 3.4882
2019-07-30 08:45:00 | 4.976 | 223.813 | 5.018 | 222.868 | 4.939 | 228.7 | 4.681 | 220.9 | 23.381 | 889.533 | 16.664 | 1.6897
2019-07-30 09:00:00 | 3.808 | 220.053 | 3.724 | 218.689 | 3.745 | 225.633 | 3.882 | 221.833 | 24.794 | 890.067 | 15.387 | 0.24159
2019-07-30 09:15:00 | 2.768 | 223.227 | 2.506 | 218.341 | 2.501 | 219.933 | 2.846 | 214.5 | 25.935 | 889.833 | 14.52 | 0.27641
2019-07-30 09:30:00 | 1.826 | 194.18 | 1.4 | 197.064 | 1.37 | 204.9 | 1.86 | 218.433 | 26.664 | 889.533 | 13.883 | 0.20393
2019-07-30 09:45:00 | 1.846 | 169.36 | 1.432 | 171.639 | 1.614 | 180.4 | 2.241 | 180.5 | 26.927 | 889.333 | 13.125 | 0.17338
2019-07-30 10:00:00 | 1.442 | 169.917 | 0.786 | 175.357 | 1.264 | 188.733 | 1.978 | 182.867 | 26.918 | 889.5 | 13.235 | 0.17054
2019-07-30 10:15:00 | 1.209 | 147.43 | 0.607 | 153.802 | 1.01 | 163.2 | 1.669 | 158.033 | 27.589 | 889.067 | 13.416 | 0.17338
2019-07-30 10:30:00 | 1.672 | 146.227 | 0.987 | 150.342 | 1.344 | 136.367 | 1.686 | 148.833 | 27.16 | 889.5 | 13.568 | 0.17338
2019-07-30 10:45:00 | 1.986 | 106.813 | 1.696 | 102.603 | 1.817 | 112.867 | 2.325 | 94.767 | 28.464 | 889.2 | 13.219 | 0.18475
2019-07-30 11:00:00 | 1.776 | 49.766 | 1.84 | 59.212 | 2.034 | 72.567 | 2.59 | 71 | 27.91 | 889.733 | 13.256 | 0.17267
2019-07-30 11:15:00 | 1.362 | 101.307 | 0.636 | 91.9 | 0.715 | 90.433 | 1.266 | 94.567 | 27.973 | 889.267 | 13.541 | 0.17267
2019-07-30 11:30:00 | 1.818 | 84.852 | 1.231 | 59.342 | 1.118 | 70.133 | 1.985 | 55.567 | 28.489 | 889.667 | 12.691 | 0.1478
2019-07-30 11:45:00 | 3.061 | 64 | 2.908 | 60.614 | 3.2 | 62.667 | 3.69 | 57.5 | 29.098 | 889.467 | 12.797 | 0.16698
2019-07-30 12:00:00 | 1.883 | 181.78 | 1.136 | 185.874 | 0.896 | 188.3 | 1.528 | 200.267 | 28.981 | 889.633 | 12.901 | 0.095926
2019-07-30 12:15:00 | 2.15 | 311.933 | 1.512 | 303.016 | 1.146 | 159.3 | 0.942 | 132.2 | 29.064 | 889.5 | 13.056 | 0.1208
2019-07-30 12:30:00 | 2.953 | 150.127 | 3.187 | 106.58 | 3.259 | 105.3 | 3.542 | 114.667 | 29.198 | 889.5 | 13.168 | 0.071057
2019-07-30 12:45:00 | 3.223 | 38.865 | 3.273 | 38.898 | 3.307 | 30.333 | 3.699 | 36.8 | 30.168 | 889.1 | 12.659 | 0.1279
2019-07-30 13:00:00 | 2.87 | 185.023 | 2.73 | 322.194 | 2.972 | 266.933 | 3.068 | 163.068 | 29.564 | 889.533 | 11.961 | 0.098769
2019-07-30 13:15:00 | 2.648 | 311.533 | 2.66 | 307.319 | 2.444 | 316.833 | 2.896 | 322.733 | 29.764 | 889.867 | 11.948 | 0.13003
2019-07-30 13:30:00 | 3.314 | 161.537 | 3.48 | 238.592 | 3.535 | 189.633 | 3.839 | 174.334 | 29.814 | 889.467 | 12.04 | 0.2288
2019-07-30 13:45:00 | 1.462 | 246.24 | 0.857 | 293.128 | 1.007 | 308.967 | 1.721 | 290.3 | 29.935 | 889.533 | 11.911 | 1.0225
2019-07-30 14:00:00 | 1.776 | 76.136 | 1.788 | 77.688 | 2.187 | 51.771 | 2.608 | 51.733 | 30.623 | 889.4 | 11.98 | 0.79228
2019-07-30 14:15:00 | 2.577 | 156.103 | 2.277 | 158.277 | 2.309 | 168.567 | 2.498 | 168.767 | 31.044 | 889.567 | 11.384 | 0.3027
2019-07-30 14:30:00 | 2.71 | 148.827 | 1.843 | 138.552 | 1.702 | 153.667 | 1.686 | 178.7 | 30.294 | 889.5 | 11.419 | 0.8207
2019-07-30 14:45:00 | 4.521 | 291.127 | 4.725 | 290.259 | 4.842 | 295.067 | 5.122 | 290.733 | 30.577 | 889.6 | 11.14 | 1.0154
2019-07-30 15:00:00 | 3.046 | 253.741 | 3.844 | 318.789 | 3.617 | 315.6 | 3.885 | 315.767 | 30.723 | 889.9 | 11.303 | 1.316
2019-07-30 15:15:00 | 3.295 | 281.852 | 3.238 | 277.388 | 3.098 | 277.933 | 3.67 | 274.2 | 31.958 | 889.5 | 10.813 | 2.2411
2019-07-30 15:30:00 | 4.343 | 270.46 | 4.612 | 274.203 | 4.559 | 282.767 | 4.581 | 277.767 | 31.457 | 889.7 | 10.529 | 1.991
2019-07-30 15:45:00 | 2.411 | 76.508 | 1.762 | 69.996 | 1.965 | 53.433 | 2.452 | 64.667 | 31.413 | 889.467 | 10.968 | 2.3264
2019-07-30 16:00:00 | 4.294 | 61.475 | 4.099 | 19.604 | 4.368 | 23.534 | 4.614 | 21.6 | 31.339 | 889.667 | 11.373 | 0.41426
2019-07-30 16:15:00 | 3.214 | 136.41 | 2.931 | 137.916 | 2.176 | 141.4 | 2.159 | 106.267 | 30.581 | 889.067 | 11.077 | 0.42208
2019-07-30 16:30:00 | 1.433 | 200.367 | 1.012 | 192.44 | 0.624 | 227.3 | 0.942 | 206.6 | 32.354 | 889 | 9.82 | 0.96282
2019-07-30 16:45:00 | 3.502 | 277.62 | 3.509 | 271.925 | 3.517 | 280.433 | 3.708 | 284.9 | 32.52 | 889 | 9.257 | 1.657
2019-07-30 17:00:00 | 1.982 | 89.211 | 1.74 | 90.944 | 1.923 | 92.8 | 2.259 | 145.5 | 32.913 | 888.667 | 9.159 | 2.5452
2019-07-30 17:15:00 | 2.477 | 117.87 | 2.133 | 111.581 | 2.419 | 107.8 | 2.925 | 92.633 | 32.73 | 888.8 | 9.317 | 3.1606
2019-07-30 17:30:00 | 3.875 | 45.351 | 3.915 | 27.693 | 4.355 | 30.867 | 4.571 | 28.467 | 32.896 | 889 | 8.835 | 3.4441
2019-07-30 17:45:00 | 4.181 | 25.196 | 4.27 | 18.074 | 4.383 | 17.633 | 4.426 | 14.767 | 32.624 | 888.867 | 8.825 | 2.7208
2019-07-30 18:00:00 | 4.994 | 36.956 | 4.969 | 36.408 | 4.936 | 42.933 | 4.784 | 41.633 | 32.632 | 889.2 | 9.101 | 4.7636
2019-07-30 18:15:00 | 4.606 | 60.522 | 4.554 | 56.95 | 4.33 | 56.7 | 4.152 | 49.9 | 32.196 | 889.133 | 9.559 | 1.8439
2019-07-30 18:30:00 | 2.046 | 158.653 | 1.442 | 139.422 | 1.549 | 162.167 | 2.124 | 167.367 | 33.146 | 889.333 | 8.825 | 3.5976
2019-07-30 18:45:00 | 1.534 | 79.494 | 1.795 | 47.706 | 2.365 | 97.5 | 2.834 | 39.6 | 33.346 | 889.067 | 8.626 | 5.2475
2019-07-30 19:00:00 | 4.285 | 126.556 | 4.474 | 115.317 | 4.536 | 133.567 | 4.731 | 118.4 | 32.681 | 889 | 9.65 | 3.1812
2019-07-30 19:15:00 | 3.932 | 102.372 | 3.976 | 131.84 | 4.166 | 98.334 | 4.433 | 88.367 | 32.62 | 888.8 | 9.897 | 2.2063
2019-07-30 19:30:00 | 4.149 | 34.084 | 4.161 | 28.411 | 4.28 | 18.434 | 4.184 | 50.133 | 32.36 | 889 | 10.033 | 3.7156
2019-07-30 19:45:00 | 4.139 | 122.279 | 4.331 | 109.97 | 4.518 | 7.906 | 4.589 | 30.933 | 32.123 | 889.2 | 9.982 | 4.964
2019-07-30 20:00:00 | 3.15 | 28.881 | 2.908 | 27.829 | 2.794 | 20.167 | 2.969 | 19.967 | 31.631 | 888.767 | 10.223 | 5.4905
2019-07-30 20:15:00 | 4.89 | 36.202 | 5.321 | 30.618 | 5.598 | 37.633 | 5.451 | 33.233 | 31.56 | 889.3 | 10.215 | 3.3432
2019-07-30 20:30:00 | 3.626 | 39.526 | 3.569 | 33.821 | 3.686 | 37.633 | 3.692 | 33.133 | 31.405 | 889.267 | 10.32 | 2.956
2019-07-30 20:45:00 | 3.358 | 26.636 | 3.536 | 22.232 | 3.647 | 29.267 | 3.68 | 25.2 | 31.7 | 889.833 | 10.677 | 2.7215
2019-07-30 21:00:00 | 3.626 | 39.249 | 3.593 | 36.375 | 3.475 | 40.9 | 3.458 | 37.867 | 31.331 | 889.667 | 11.12 | 0.80223
2019-07-30 21:15:00 | 2.385 | 59.603 | 2.239 | 55.008 | 2.172 | 62.733 | 2.521 | 60.1 | 30.994 | 889.533 | 11.515 | 0.16343
2019-07-30 21:30:00 | 1.969 | 45.048 | 1.896 | 32.44 | 2.161 | 31.533 | 2.493 | 28.633 | 30.344 | 889.767 | 12.224 | 0.3091
2019-07-30 21:45:00 | 1.773 | 39.607 | 1.972 | 40.446 | 2.076 | 42.067 | 2.297 | 34.033 | 29.964 | 889.6 | 12.701 | 0.30839
2019-07-30 22:00:00 | 0.919 | 52.06 | 1.183 | 48.108 | 1.551 | 44.967 | 2.15 | 38 | 29.381 | 889.533 | 13.048 | 0.26007
2019-07-30 22:15:00 | 1.287 | 118.4 | 0 | 78.223 | 0.103 | 48.9 | 2.132 | 38.033 | 29.064 | 889.9 | 13.347 | 0.20606
2019-07-30 22:30:00 | 2.092 | 153.76 | 1.754 | 87.692 | 1.237 | 69 | 1.629 | 65.033 | 28.456 | 889.433 | 13.405 | 0.1414
2019-07-30 22:45:00 | 1.79 | 134.1 | 1.697 | 90.252 | 1.712 | 71 | 2.148 | 73 | 28.318 | 889.367 | 13.552 | 0.18333
2019-07-30 23:00:00 | 1.424 | 134.033 | 1.434 | 90.24 | 1.538 | 71 | 2.062 | 73.067 | 28.644 | 889.433 | 13.584 | 0.20251
2019-07-30 23:15:00 | 1.046 | 126.13 | 1.94 | 90.303 | 2.181 | 71 | 2.49 | 73 | 28.348 | 890.067 | 13.824 | 0.17338
2019-07-30 23:30:00 | 3.31 | 201.787 | 1.758 | 175.256 | 0.446 | 102.933 | 1.168 | 73 | 26.914 | 889.433 | 14.371 | 0.17054
2019-07-30 23:45:00 | 3.449 | 207.167 | 2.058 | 176.006 | 1.596 | 107.133 | 1.475 | 74.267 | 26.702 | 889.667 | 14.731 | 0.17054