## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-31 00:00:00 | 3.622 | 214.427 | 1.45 | 185.453 | 0 | 107 | 0.03 | 75 | 26.431 | 889.8 | 14.979 | 0.17054
2019-07-31 00:15:00 | 4.448 | 224.853 | 1.985 | 205.584 | 0.634 | 107 | 0.856 | 75 | 25.618 | 889.533 | 15.416 | 0.17338
2019-07-31 00:30:00 | 4.898 | 230.613 | 2.454 | 216.399 | 1.229 | 107 | 1.234 | 75 | 23.614 | 889.6 | 17.195 | 0.19754
2019-07-31 00:45:00 | 5.857 | 222.06 | 3.246 | 224.192 | 1.43 | 136.867 | 1.109 | 89 | 22.664 | 889.067 | 18.291 | 0.085268
2019-07-31 01:00:00 | 6.134 | 217.693 | 4.29 | 222.272 | 3.309 | 219.333 | 2.562 | 198.7 | 22.281 | 889.567 | 18.661 | 0.12932
2019-07-31 01:15:00 | 6.107 | 220.653 | 4.23 | 220.12 | 3.085 | 216 | 2.654 | 199.033 | 22.302 | 889.2 | 18.611 | 0.1684
2019-07-31 01:30:00 | 6.262 | 221.173 | 5.18 | 225.254 | 3.471 | 220.9 | 2.439 | 199 | 22.427 | 889.9 | 18.693 | 0.1549
2019-07-31 01:45:00 | 5.907 | 223.287 | 3.978 | 228.529 | 3.318 | 227 | 2.649 | 212 | 21.589 | 889.7 | 18.992 | 0.3901
2019-07-31 02:00:00 | 5.93 | 230.873 | 5.753 | 234.892 | 4.239 | 240.733 | 3.121 | 231.833 | 21.648 | 889.9 | 19.405 | 1.9853
2019-07-31 02:15:00 | 5.692 | 227.793 | 4.697 | 242.594 | 3.485 | 248.9 | 3.118 | 238.433 | 21.535 | 889.2 | 19.851 | 2.5602
2019-07-31 02:30:00 | 5.638 | 221.16 | 4.991 | 239.163 | 3.43 | 254.067 | 3.145 | 251.083 | 21.073 | 889.767 | 20.069 | 3.9479
2019-07-31 02:45:00 | 5.816 | 221.233 | 5.948 | 228.119 | 4.849 | 240.867 | 3.728 | 246.4 | 20.798 | 889.633 | 19.941 | 3.8484
2019-07-31 03:00:00 | 6.061 | 221.28 | 4.933 | 231.722 | 4.148 | 242.9 | 3.34 | 247.267 | 21.135 | 889.633 | 19.819 | 5.9155
2019-07-31 03:15:00 | 6.57 | 215.433 | 7.013 | 216.813 | 6.122 | 222.6 | 5.118 | 222.267 | 21.068 | 889.967 | 19.96 | 5.1672
2019-07-31 03:30:00 | 6.242 | 219.307 | 6.283 | 214.168 | 5.528 | 220.967 | 4.839 | 221.033 | 21.239 | 889.8 | 19.629 | 8.2227
2019-07-31 03:45:00 | 6.639 | 214.327 | 7.398 | 211.861 | 6.862 | 213.7 | 6.026 | 209.433 | 20.952 | 889.433 | 19.675 | 8.4927
2019-07-31 04:00:00 | 6.336 | 214.487 | 7.052 | 212.504 | 6.467 | 217.633 | 5.878 | 212.5 | 20.648 | 889.3 | 20.12 | 11.4977
2019-07-31 04:15:00 | 6.678 | 220.527 | 7.654 | 218.146 | 6.972 | 222.333 | 6.005 | 219.033 | 20.664 | 889.683 | 21.248 | 15.2857
2019-07-31 04:30:00 | 6.302 | 220.287 | 7.49 | 217.578 | 6.908 | 223.533 | 6.336 | 220.9 | 20.752 | 889.383 | 22.48 | 17.249
2019-07-31 04:45:00 | 6.838 | 214.887 | 8.515 | 214.803 | 7.706 | 219 | 6.911 | 215.333 | 21.144 | 889.75 | 22.315 | 20.1694
2019-07-31 05:00:00 | 7.126 | 214.093 | 8.192 | 210.937 | 7.937 | 215.2 | 7.601 | 213.567 | 20.439 | 889.317 | 23.483 | 22.4127
2019-07-31 05:15:00 | 5.336 | 205.08 | 7.558 | 205.515 | 7.936 | 209.533 | 7.603 | 206.9 | 20.777 | 889.2 | 25.104 | 19.9044
2019-07-31 05:30:00 | 5.638 | 208.533 | 8.049 | 205.571 | 7.933 | 207.033 | 7.357 | 203.033 | 20.356 | 889.583 | 26.043 | 17.9638
2019-07-31 05:45:00 | 6.518 | 234.087 | 7.235 | 226.764 | 7.064 | 227.367 | 7.549 | 220.533 | 20.906 | 889.817 | 25.541 | 21.5934
2019-07-31 06:00:00 | 7.216 | 223.213 | 7.808 | 218.758 | 7.567 | 220.833 | 6.96 | 217.767 | 20.198 | 889.867 | 26.533 | 22.839
2019-07-31 06:15:00 | 6.71 | 211.34 | 8.847 | 209.659 | 8.818 | 213.733 | 8.503 | 210.7 | 20.302 | 890.167 | 26.672 | 23.2682
2019-07-31 06:30:00 | 5.162 | 210.427 | 7.183 | 207.874 | 7.327 | 211.133 | 7.492 | 209.133 | 20.394 | 889.767 | 26.709 | 23.4039
2019-07-31 06:45:00 | 6.566 | 212.593 | 8.554 | 212.79 | 8.059 | 216.2 | 7.652 | 213.333 | 20.156 | 889.883 | 26.581 | 24.2836
2019-07-31 07:00:00 | 5.558 | 209.4 | 8.139 | 212.147 | 8.28 | 219 | 7.433 | 217.067 | 20.527 | 890.183 | 25.339 | 27.0811
2019-07-31 07:15:00 | 6.221 | 209.347 | 7.984 | 207.614 | 8.882 | 215.467 | 8.323 | 213.767 | 20.348 | 889.3 | 24.24 | 25.638
2019-07-31 07:30:00 | 5.709 | 211.047 | 8.365 | 208.011 | 8.224 | 214.867 | 7.551 | 213.533 | 20.756 | 890.067 | 24.037 | 20.325
2019-07-31 07:45:00 | 5.042 | 209.36 | 6.194 | 210.086 | 8.112 | 215.8 | 7.577 | 214.133 | 21.944 | 889.533 | 23.051 | 14.5943
2019-07-31 08:00:00 | 4.573 | 201.453 | 6.135 | 204.084 | 6.987 | 212.833 | 6.15 | 212.4 | 22.748 | 889.6 | 21.675 | 10.5185
2019-07-31 08:15:00 | 4.131 | 199.393 | 4.897 | 197.478 | 5.746 | 203.9 | 6.153 | 206.667 | 23.96 | 889.467 | 20.808 | 5.1772
2019-07-31 08:30:00 | 3.161 | 201.68 | 3.527 | 202.252 | 4.19 | 210.8 | 5.095 | 207.133 | 24.539 | 889.433 | 19.576 | 0.59403
2019-07-31 08:45:00 | 2.044 | 207.1 | 1.771 | 202.215 | 2.02 | 211.7 | 2.357 | 212.533 | 26.444 | 889.4 | 17.331 | 0.12932
2019-07-31 09:00:00 | 3.074 | 239.627 | 3.032 | 232.205 | 3.174 | 231.767 | 3.408 | 226.467 | 25.735 | 889.3 | 16.933 | 0.21601
2019-07-31 09:15:00 | 1.835 | 233.113 | 1.644 | 217.675 | 2.046 | 219.033 | 2.323 | 212 | 26.402 | 889.667 | 16.997 | 0.24372
2019-07-31 09:30:00 | 2.01 | 228.333 | 1.694 | 221.089 | 1.91 | 224.867 | 2.196 | 212 | 26.498 | 889.533 | 16.565 | 0.16556
2019-07-31 09:45:00 | 2.167 | 229.833 | 1.92 | 230.473 | 2.186 | 231.3 | 2.546 | 222.667 | 28.473 | 889.867 | 15.053 | 0.082426
2019-07-31 10:00:00 | 2.633 | 247.42 | 2.682 | 244.575 | 2.73 | 245.783 | 2.894 | 235.767 | 29.064 | 889.5 | 14.599 | 1.7082
2019-07-31 10:15:00 | 4.281 | 203.14 | 4.355 | 197.969 | 4.223 | 201.2 | 4.458 | 195.8 | 28.435 | 889.567 | 15.349 | 1.8198
2019-07-31 10:30:00 | 3.158 | 190.52 | 3.096 | 187.599 | 3.091 | 193.333 | 3.367 | 191.567 | 28.614 | 888.933 | 15.811 | 0.32047
2019-07-31 10:45:00 | 2.695 | 216.953 | 2.656 | 214.843 | 2.748 | 221.683 | 2.961 | 216.6 | 29.348 | 889.233 | 15.749 | 0.16983
2019-07-31 11:00:00 | 1.89 | 304.802 | 1.713 | 320.887 | 1.958 | 303.167 | 2.544 | 297.883 | 29.614 | 889.467 | 16.524 | 2.0713
2019-07-31 11:15:00 | 3.366 | 297.34 | 3.303 | 331.941 | 3.414 | 334.8 | 3.608 | 331.333 | 28.914 | 889.4 | 19.133 | 9.3447
2019-07-31 11:30:00 | 5.685 | 267.327 | 5.842 | 318.318 | 5.981 | 312.333 | 6.058 | 333.633 | 29.648 | 890.133 | 21.104 | 16.3402
2019-07-31 11:45:00 | 6.067 | 320.867 | 6.237 | 316.044 | 6.606 | 321.3 | 6.915 | 322.4 | 29.481 | 889.7 | 22.896 | 30.8087
2019-07-31 12:00:00 | 6.416 | 315.68 | 6.947 | 314.388 | 7.182 | 317.633 | 7.622 | 316.3 | 29.381 | 889.55 | 22.819 | 31.7161
2019-07-31 12:15:00 | 6.981 | 330.587 | 7.331 | 325.306 | 7.517 | 329.133 | 7.689 | 327.733 | 29.448 | 890.067 | 21.904 | 43.6991
2019-07-31 12:30:00 | 7.648 | 324.707 | 8.221 | 315.451 | 8.632 | 319.367 | 9.347 | 318.833 | 29.464 | 889.533 | 21.984 | 44.8368
2019-07-31 12:45:00 | 7.719 | 323 | 7.892 | 314.98 | 8.592 | 319.133 | 8.841 | 317.633 | 29.448 | 889.783 | 21.925 | 51.2347
2019-07-31 13:00:00 | 8.144 | 322.707 | 8.75 | 315.567 | 8.87 | 317.433 | 9.326 | 315.1 | 29.939 | 889.583 | 21.072 | 54.8593
2019-07-31 13:15:00 | 8.543 | 317 | 9.003 | 315.812 | 9.338 | 321.867 | 10.19 | 310.767 | 29.939 | 889.65 | 21.888 | 61.9913
2019-07-31 13:30:00 | 9.443 | 309.433 | 9.669 | 307.34 | 10.023 | 313.867 | 10.117 | 312.4 | 30.085 | 890.167 | 21.837 | 64.1016
2019-07-31 13:45:00 | 10.362 | 324.48 | 10.363 | 317.287 | 10.488 | 323.3 | 10.542 | 321.967 | 30.294 | 890.05 | 22.072 | 57.4941
2019-07-31 14:00:00 | 8.37 | 325.12 | 8.707 | 317.364 | 8.8 | 322.933 | 8.916 | 312.933 | 30.414 | 889.783 | 21.877 | 58.9443
2019-07-31 14:15:00 | 8.94 | 329.187 | 9.465 | 324.134 | 9.903 | 326.333 | 10.253 | 322.7 | 30.744 | 889.633 | 21.12 | 55.5045
2019-07-31 14:30:00 | 8.677 | 315.76 | 8.988 | 331.267 | 9.042 | 334.5 | 9.236 | 331.633 | 30.939 | 889.35 | 19.893 | 55.2849
2019-07-31 14:45:00 | 9.623 | 293.893 | 10.192 | 293.454 | 10.379 | 295.933 | 10.929 | 293.367 | 30.732 | 889.5 | 20.276 | 46.7866
2019-07-31 15:00:00 | 7.091 | 304.907 | 7.401 | 300.098 | 7.706 | 308.4 | 8.226 | 306.367 | 30.802 | 889.567 | 19.675 | 46.2124
2019-07-31 15:15:00 | 7.854 | 290.127 | 8.495 | 288.954 | 8.46 | 292.767 | 8.784 | 291.867 | 30.364 | 889.967 | 20.241 | 55.508
2019-07-31 15:30:00 | 9.61 | 320.227 | 10.134 | 316.045 | 10.251 | 319.2 | 10.434 | 318.733 | 29.698 | 889.6 | 21.629 | 47.1241
2019-07-31 15:45:00 | 8.457 | 302.433 | 8.862 | 304.174 | 8.784 | 308.967 | 9.251 | 309.467 | 29.968 | 889.817 | 21.411 | 72.3492
2019-07-31 16:00:00 | 11.96 | 304.893 | 12.39 | 302.345 | 12.957 | 307.467 | 13.324 | 304.033 | 30.081 | 889.633 | 21.965 | 75.7024
2019-07-31 16:15:00 | 11.327 | 315.387 | 11.766 | 310.571 | 12.18 | 313 | 12.496 | 311.833 | 29.631 | 889.633 | 22.312 | 74.1576
2019-07-31 16:30:00 | 11.847 | 303.56 | 12.299 | 301.036 | 12.231 | 306.867 | 12.423 | 304.8 | 28.635 | 889.317 | 24.203 | 74.2485
2019-07-31 16:45:00 | 9.804 | 318.84 | 10.432 | 313.413 | 10.903 | 317.3 | 11.114 | 318.567 | 28.564 | 889.633 | 24.333 | 72.2199
2019-07-31 17:00:00 | 10.046 | 298.56 | 10.751 | 302.754 | 11.197 | 310 | 11.651 | 308.067 | 28.735 | 889.467 | 24.24 | 71.3842
2019-07-31 17:15:00 | 9.662 | 319.267 | 10.498 | 316.879 | 10.697 | 322.1 | 10.972 | 320.633 | 28.66 | 889.8 | 26.077 | 59.3472
2019-07-31 17:30:00 | 9.539 | 325.853 | 10.172 | 321.755 | 10.382 | 324.4 | 10.728 | 324.1 | 27.368 | 889.717 | 26.808 | 44.0104
2019-07-31 17:45:00 | 7.809 | 323.907 | 8.506 | 318.543 | 8.6 | 322.1 | 9.025 | 322.333 | 27.473 | 889.633 | 27.333 | 21.4342
2019-07-31 18:00:00 | 6.184 | 318.4 | 6.393 | 312.948 | 6.582 | 318.433 | 6.911 | 317.433 | 26.723 | 889.9 | 27.92 | 14.8146
2019-07-31 18:15:00 | 5.357 | 300.533 | 5.636 | 295.021 | 5.757 | 299.433 | 5.943 | 297.267 | 27.027 | 889.95 | 27.68 | 18.8833
2019-07-31 18:30:00 | 5.528 | 303.933 | 5.68 | 302.244 | 5.656 | 306.233 | 6.169 | 302.467 | 26.939 | 889.5 | 26.995 | 18.7817
2019-07-31 18:45:00 | 6.261 | 318.907 | 6.352 | 313.718 | 6.556 | 318.2 | 6.712 | 317.5 | 27.698 | 889.6 | 25.925 | 21.3028
2019-07-31 19:00:00 | 5.753 | 293.913 | 6.009 | 294.896 | 6.061 | 301.333 | 6.312 | 301.6 | 27.81 | 889.483 | 24.851 | 17.1339
2019-07-31 19:15:00 | 5.54 | 310.28 | 5.78 | 305.76 | 5.791 | 310.2 | 6.032 | 308.533 | 27.994 | 889.617 | 23.821 | 13.6898
2019-07-31 19:30:00 | 4.615 | 303.013 | 4.705 | 299.598 | 4.832 | 305.033 | 5.145 | 304 | 28.298 | 889.683 | 23.493 | 20.168
2019-07-31 19:45:00 | 6.377 | 289.973 | 6.719 | 289.169 | 6.791 | 294.467 | 7.125 | 291.067 | 28.614 | 889.733 | 23.776 | 17.8445
2019-07-31 20:00:00 | 5.532 | 302.2 | 5.933 | 298.846 | 6.201 | 303.033 | 6.391 | 300.033 | 27.848 | 889.433 | 24.8 | 6.6587
2019-07-31 20:15:00 | 5.345 | 294.693 | 5.607 | 295.503 | 5.606 | 302.167 | 5.9 | 300 | 28.077 | 889.683 | 24.755 | 3.9039
2019-07-31 20:30:00 | 4.702 | 300.76 | 5.036 | 302.35 | 5.076 | 308.3 | 5.498 | 308 | 27.873 | 889.933 | 24.64 | 3.1826
2019-07-31 20:45:00 | 3.707 | 296.627 | 3.99 | 296.411 | 4.243 | 301.733 | 4.639 | 300.433 | 28.314 | 889.7 | 24.611 | 4.0197
2019-07-31 21:00:00 | 3.191 | 302.2 | 3.452 | 300.142 | 3.777 | 305.367 | 4.471 | 303.4 | 27.844 | 889.567 | 24.72 | 5.9339
2019-07-31 21:15:00 | 4.045 | 315.333 | 4.526 | 310.938 | 4.696 | 312.033 | 5.098 | 310.167 | 27.777 | 889.183 | 24.805 | 7.4979
2019-07-31 21:30:00 | 3.984 | 313.92 | 4.241 | 308.248 | 4.396 | 313.567 | 5.01 | 315.333 | 27.71 | 889.283 | 24.896 | 9.0611
2019-07-31 21:45:00 | 3.903 | 311.987 | 4.172 | 308.619 | 4.466 | 314.333 | 4.903 | 314.9 | 27.044 | 890.017 | 25.336 | 8.8046
2019-07-31 22:00:00 | 4.193 | 303.493 | 4.92 | 304.174 | 5.156 | 312.633 | 5.448 | 312.067 | 27.273 | 889.75 | 25.659 | 6.1116
2019-07-31 22:15:00 | 3.094 | 301.307 | 3.72 | 302.638 | 3.982 | 310 | 4.547 | 310.8 | 26.881 | 889.55 | 26.059 | 3.2949
2019-07-31 22:30:00 | 2.719 | 299 | 3.232 | 303.018 | 3.426 | 310.3 | 3.927 | 310.233 | 26.514 | 889.417 | 26.371 | 0.75391
2019-07-31 22:45:00 | 2.019 | 308.213 | 2.748 | 315.587 | 3.288 | 323.133 | 3.875 | 325.033 | 26.356 | 889.933 | 27.04 | 0.089531
2019-07-31 23:00:00 | 1.048 | 272.96 | 1.073 | 300.111 | 1.742 | 311.233 | 2.732 | 318.4 | 26.298 | 889.6 | 27.387 | 0.24941
2019-07-31 23:15:00 | 2.784 | 219.793 | 1.857 | 238.186 | 1.277 | 277.6 | 1.699 | 297.167 | 25.498 | 889.617 | 28.077 | 0.17409
2019-07-31 23:30:00 | 3.644 | 216.5 | 2.529 | 219.874 | 1.775 | 250.033 | 1.96 | 257.933 | 25.598 | 889.483 | 28.325 | 0.2487
2019-07-31 23:45:00 | 4.086 | 227.627 | 3.244 | 231.718 | 2.648 | 248.733 | 2.696 | 256.4 | 25.227 | 889.933 | 28.72 | 0.87187