## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-01 00:00:00 | 4.012 | 243.607 | 3.573 | 251.354 | 3.151 | 264.067 | 3.272 | 263.867 | 25.002 | 889.933 | 29.168 | 1.1127
2019-08-01 00:15:00 | 3.277 | 241.987 | 3.289 | 251.569 | 2.854 | 264 | 3.001 | 268.067 | 24.689 | 889.683 | 29.744 | 1.8148
2019-08-01 00:30:00 | 3.954 | 235.453 | 4.133 | 244.772 | 3.463 | 255.867 | 3.426 | 261.367 | 24.518 | 889.917 | 30.123 | 3.447
2019-08-01 00:45:00 | 4.165 | 228.3 | 4.127 | 236.014 | 3.866 | 248.067 | 3.785 | 245.2 | 24.614 | 889.733 | 30.443 | 3.1912
2019-08-01 01:00:00 | 3.468 | 238.8 | 4.01 | 245.442 | 3.708 | 253.467 | 3.737 | 250.3 | 24.26 | 889.767 | 30.757 | 7.5441
2019-08-01 01:15:00 | 4.565 | 243.887 | 5.663 | 249.611 | 5.527 | 258.867 | 5.285 | 254.183 | 23.985 | 889.917 | 31.403 | 6.2871
2019-08-01 01:30:00 | 4.024 | 247.32 | 4.827 | 258.499 | 4.562 | 267 | 4.708 | 265.933 | 23.448 | 889.917 | 31.739 | 7.6031
2019-08-01 01:45:00 | 3.799 | 253.113 | 4.544 | 264.804 | 4.754 | 274.167 | 5.097 | 271.633 | 23.564 | 889.5 | 32.749 | 9.2395
2019-08-01 02:00:00 | 4.084 | 260.227 | 4.8 | 271.801 | 4.995 | 281.033 | 5.412 | 279.5 | 23.364 | 889.967 | 34.453 | 6.825
2019-08-01 02:15:00 | 4.035 | 241.86 | 4.516 | 260.582 | 4.445 | 273.6 | 4.908 | 273.5 | 22.781 | 889.483 | 35.451 | 5.4493
2019-08-01 02:30:00 | 4.452 | 238.547 | 4.721 | 249.792 | 4.525 | 260.2 | 4.669 | 259.867 | 22.731 | 890.05 | 36.427 | 5.2632
2019-08-01 02:45:00 | 3.972 | 250.46 | 4.242 | 262.992 | 4.19 | 273.8 | 4.776 | 277.233 | 22.681 | 889.733 | 37.168 | 5.2902
2019-08-01 03:00:00 | 4.144 | 241.233 | 4.224 | 256.56 | 3.916 | 267.933 | 4.28 | 266.733 | 22.531 | 889.8 | 37.925 | 5.9986
2019-08-01 03:15:00 | 4.051 | 236.6 | 3.791 | 254.368 | 3.547 | 269.867 | 4.009 | 270.433 | 21.989 | 889.983 | 38.8 | 9.28
2019-08-01 03:30:00 | 4.961 | 266.52 | 4.761 | 281.771 | 4.735 | 291.8 | 5.384 | 293.667 | 21.977 | 889.8 | 38.896 | 7.5853
2019-08-01 03:45:00 | 4.785 | 245.14 | 4.923 | 268.486 | 4.796 | 278.133 | 5.21 | 279.933 | 21.36 | 889.65 | 39.621 | 8.2952
2019-08-01 04:00:00 | 4.875 | 230.2 | 5.118 | 249.355 | 4.863 | 263 | 5.04 | 265.367 | 20.76 | 889.542 | 40.875 | 8.2845
2019-08-01 04:15:00 | 4.721 | 225.407 | 5.12 | 239.989 | 4.642 | 254.333 | 4.738 | 256.9 | 20.489 | 889.842 | 42.112 | 7.6471
2019-08-01 04:30:00 | 5.106 | 225.633 | 5.36 | 236.16 | 4.706 | 248.8 | 4.628 | 252.867 | 20.427 | 890.008 | 42.827 | 7.5981
2019-08-01 04:45:00 | 4.778 | 215.8 | 5.654 | 228.207 | 4.986 | 239.4 | 4.662 | 238.133 | 20.064 | 889.858 | 43.424 | 8.1857
2019-08-01 05:00:00 | 4.739 | 223.06 | 5.441 | 232.656 | 5.017 | 242.4 | 4.875 | 241.067 | 19.794 | 890.017 | 43.861 | 9.9806
2019-08-01 05:15:00 | 5.206 | 226.173 | 5.686 | 234.619 | 5.391 | 243.7 | 5.372 | 240.667 | 19.581 | 889.817 | 44.149 | 9.7746
2019-08-01 05:30:00 | 4.791 | 223.6 | 6.077 | 230.708 | 5.597 | 239.467 | 5.36 | 238.1 | 19.723 | 889.442 | 44.469 | 9.1983
2019-08-01 05:45:00 | 4.801 | 230.847 | 5.518 | 239.038 | 5.303 | 248 | 5.178 | 246.033 | 19.648 | 889.217 | 44.587 | 7.8951
2019-08-01 06:00:00 | 4.885 | 221.407 | 5.524 | 233.063 | 5.127 | 245.8 | 4.954 | 245.9 | 19.194 | 889.833 | 44.683 | 7.8397
2019-08-01 06:15:00 | 5.434 | 228.407 | 5.757 | 236.188 | 5.308 | 247.433 | 4.981 | 246.967 | 19.127 | 890.092 | 45.056 | 6.5642
2019-08-01 06:30:00 | 4.656 | 219.193 | 5.508 | 230.744 | 4.931 | 241.333 | 4.712 | 241.667 | 19.014 | 890.167 | 45.301 | 6.3162
2019-08-01 06:45:00 | 5.086 | 217.867 | 5.922 | 223.05 | 4.952 | 237.067 | 4.554 | 236.967 | 18.656 | 890.067 | 45.963 | 5.4465
2019-08-01 07:00:00 | 5.298 | 223.733 | 5.152 | 229.565 | 4.737 | 239.967 | 4.464 | 239.233 | 18.289 | 889.75 | 46.229 | 5.9311
2019-08-01 07:15:00 | 5.181 | 215.313 | 5.478 | 227.199 | 4.792 | 236.267 | 4.418 | 238.2 | 18.685 | 889.967 | 45.419 | 5.2944
2019-08-01 07:30:00 | 5.287 | 219.06 | 5.493 | 224.123 | 4.641 | 234.5 | 4.136 | 235.367 | 19.131 | 889.925 | 44.491 | 6.7554
2019-08-01 07:45:00 | 4.776 | 223.473 | 5.934 | 227.8 | 5.453 | 238.667 | 5.09 | 237.267 | 20.114 | 889.925 | 42.421 | 8.1566
2019-08-01 08:00:00 | 4.909 | 234.807 | 5.69 | 238.438 | 5.327 | 248.033 | 5.16 | 247.067 | 21.223 | 890.067 | 40.107 | 8.0436
2019-08-01 08:15:00 | 4.199 | 232.2 | 5.088 | 235.062 | 5.403 | 246.8 | 5.168 | 245.167 | 22.848 | 889.6 | 37.253 | 5.7194
2019-08-01 08:30:00 | 4.255 | 227.16 | 4.414 | 229.195 | 4.565 | 238.1 | 4.529 | 239.567 | 23.773 | 889.483 | 34.997 | 3.0725
2019-08-01 08:45:00 | 3.85 | 225.247 | 3.803 | 222.64 | 3.704 | 228.867 | 3.842 | 229.033 | 24.981 | 889.3 | 33.184 | 1.9583
2019-08-01 09:00:00 | 3.53 | 226.38 | 3.536 | 225.533 | 3.516 | 230.767 | 3.673 | 227.4 | 25.91 | 889.85 | 31.696 | 0.95571
2019-08-01 09:15:00 | 3.214 | 239.227 | 2.902 | 236.823 | 2.726 | 240.967 | 2.918 | 237.567 | 27.256 | 889.7 | 30.379 | 0.14282
2019-08-01 09:30:00 | 2.138 | 237.72 | 2.136 | 240.697 | 2.298 | 247.633 | 2.608 | 241.267 | 27.494 | 889.617 | 29.285 | 0.18759
2019-08-01 09:45:00 | 1.729 | 275.433 | 1.731 | 269.952 | 2.136 | 274.5 | 2.771 | 268.267 | 28.064 | 889.733 | 28.723 | 0.25651
2019-08-01 10:00:00 | 2.19 | 278.14 | 1.995 | 265.658 | 1.966 | 267.25 | 2.475 | 264.317 | 27.548 | 890.017 | 29.245 | 0.25509
2019-08-01 10:15:00 | 1.397 | 270.28 | 1.634 | 269.231 | 1.61 | 267.167 | 2.182 | 221.501 | 28.802 | 889.483 | 28.341 | 0.21601
2019-08-01 10:30:00 | 1.879 | 304.253 | 2.256 | 296.026 | 2.03 | 299.967 | 2.631 | 297.4 | 27.627 | 889.6 | 28.203 | 0.21957
2019-08-01 10:45:00 | 0.25 | 114.52 | 0.294 | 319.853 | 0.23 | 307.733 | 0.959 | 298.567 | 27.898 | 890 | 27.805 | 0.18972
2019-08-01 11:00:00 | 1.909 | 105.132 | 2.064 | 290.01 | 2.215 | 303.333 | 2.54 | 260.071 | 28.014 | 890.017 | 26.12 | 0.20464
2019-08-01 11:15:00 | 2.46 | 310.4 | 2.224 | 308.259 | 2.429 | 316.267 | 2.92 | 312.1 | 29.814 | 889.7 | 24.581 | 0.18901
2019-08-01 11:30:00 | 1.813 | 98.027 | 1.496 | 98.357 | 1.34 | 39.269 | 1.377 | 30.6 | 29.481 | 889.467 | 23.179 | 0.16556
2019-08-01 11:45:00 | 3.766 | 250.447 | 3.512 | 244.855 | 3.148 | 247.85 | 3.16 | 245 | 29.081 | 889.75 | 24.291 | 0.11227
2019-08-01 12:00:00 | 2.334 | 215.353 | 2.073 | 222.501 | 2.258 | 228.6 | 2.436 | 234.267 | 30.402 | 889.667 | 23.288 | 0.20393
2019-08-01 12:15:00 | 1.646 | 248.441 | 1.344 | 262.404 | 1.4 | 247.283 | 1.785 | 264.5 | 30.514 | 889.4 | 22.267 | 0.18191
2019-08-01 12:30:00 | 1.123 | 249.04 | 0.72 | 253.909 | 0.386 | 263.083 | 0.863 | 237.267 | 30.979 | 889.983 | 21.805 | 0.10587
2019-08-01 12:45:00 | 3.389 | 296.96 | 3.597 | 309.532 | 3.973 | 305.817 | 4.459 | 293.233 | 30.345 | 889.833 | 22.144 | 0.16059
2019-08-01 13:00:00 | 1.716 | 134.19 | 1.729 | 96.984 | 1.771 | 98.2 | 1.898 | 104.267 | 31.228 | 889.85 | 21.525 | 0.067504
2019-08-01 13:15:00 | 2.289 | 178.513 | 2.316 | 197.007 | 2.23 | 205.567 | 2.012 | 200.733 | 31.181 | 890.017 | 21.2 | 0.13643
2019-08-01 13:30:00 | 1.822 | 76.667 | 1.981 | 59.885 | 2.37 | 60.667 | 2.757 | 47.8 | 30.614 | 890.017 | 21.088 | 0.21601
2019-08-01 13:45:00 | 2.171 | 120.327 | 2.532 | 115.452 | 3.067 | 123.867 | 3.35 | 120.833 | 31.246 | 889.85 | 21.115 | 0.14638
2019-08-01 14:00:00 | 2.571 | 235.2 | 2.235 | 247.688 | 1.998 | 255.133 | 2.404 | 254.233 | 32.327 | 889.533 | 19.716 | 0.16769
2019-08-01 14:15:00 | 3.503 | 268.947 | 3.207 | 288.535 | 3.626 | 304.15 | 4.061 | 296.333 | 30.812 | 889.017 | 20.535 | 0.11156
2019-08-01 14:30:00 | 2.137 | 266.473 | 1.996 | 270.823 | 2.129 | 269.967 | 2.088 | 257.05 | 32.432 | 889.567 | 19.62 | 0.41639
2019-08-01 14:45:00 | 4.768 | 143.937 | 4.544 | 140.634 | 4.418 | 144.233 | 4.162 | 131.4 | 31.914 | 889.767 | 19.059 | 0.2757
2019-08-01 15:00:00 | 1.185 | 159.083 | 1.017 | 177.285 | 0.606 | 201.9 | 1.186 | 123.654 | 32.084 | 889.433 | 19.396 | 0.10872
2019-08-01 15:15:00 | 4.784 | 68.929 | 4.992 | 62.909 | 4.75 | 66 | 5.112 | 60.3 | 32.443 | 889.433 | 19.197 | 0.16911
2019-08-01 15:30:00 | 2.505 | 150.15 | 2.233 | 170.41 | 2.33 | 204.933 | 2.81 | 201.967 | 33.313 | 889.467 | 17.296 | 1.3842
2019-08-01 15:45:00 | 3.851 | 275.013 | 4.266 | 271.201 | 4.106 | 269.733 | 3.899 | 272.283 | 33.58 | 889.8 | 16.432 | 1.9896
2019-08-01 16:00:00 | 3.746 | 54.802 | 3.852 | 49.564 | 3.762 | 55.767 | 3.898 | 46.7 | 33.396 | 889.333 | 16.867 | 1.4368
2019-08-01 16:15:00 | 3.686 | 63.682 | 4.273 | 66.12 | 4.354 | 67 | 4.217 | 70.467 | 33.196 | 889.7 | 17.411 | 1.6769
2019-08-01 16:30:00 | 3.529 | 68.272 | 3.714 | 77.736 | 3.953 | 74.6 | 4.222 | 76.233 | 32.946 | 889.733 | 17.936 | 1.6556
2019-08-01 16:45:00 | 2.849 | 122.482 | 2.447 | 56.401 | 2.823 | 59.173 | 3.019 | 32.536 | 33.813 | 889.767 | 16.873 | 3.5649
2019-08-01 17:00:00 | 4.619 | 75.608 | 4.556 | 74.679 | 4.691 | 82.5 | 4.789 | 75.633 | 34.038 | 889.967 | 16.2 | 3.8243
2019-08-01 17:15:00 | 3.543 | 71.473 | 3.429 | 68.342 | 3.724 | 76.767 | 4.014 | 72.333 | 33.146 | 889.2 | 17.179 | 2.3797
2019-08-01 17:30:00 | 2.424 | 86.025 | 2.196 | 63.086 | 2.538 | 59.067 | 3 | 68.533 | 33.213 | 889.567 | 17.272 | 7.1277
2019-08-01 17:45:00 | 2.492 | 97.723 | 2.646 | 78.311 | 3.072 | 43.136 | 3.263 | 14.933 | 33.23 | 889 | 17.344 | 10.7246
2019-08-01 18:00:00 | 4.182 | 45.537 | 3.984 | 46.377 | 4.109 | 49.833 | 4.353 | 47.267 | 33.563 | 888.9 | 17.371 | 7.473
2019-08-01 18:15:00 | 4.24 | 82.232 | 4.587 | 77.148 | 4.694 | 84.267 | 4.809 | 79.933 | 32.98 | 889.467 | 18.333 | 6.9827
2019-08-01 18:30:00 | 4.848 | 65.943 | 4.993 | 58.734 | 5.241 | 68.767 | 5.225 | 64.9 | 32.525 | 889.667 | 22.101 | 5.5765
2019-08-01 18:45:00 | 3.847 | 59.557 | 3.986 | 49.498 | 4.266 | 55.433 | 4.58 | 49.867 | 32.559 | 889.717 | 20.541 | 6.8939
2019-08-01 19:00:00 | 4.341 | 42.22 | 4.79 | 45.588 | 5.293 | 35.4 | 5.489 | 56.333 | 32.614 | 889.2 | 19.664 | 12.3305
2019-08-01 19:15:00 | 6.042 | 34.165 | 6.163 | 28.728 | 6.475 | 31.533 | 6.42 | 26.767 | 32.361 | 889.467 | 20.029 | 12.3688
2019-08-01 19:30:00 | 5.276 | 4.006 | 5.879 | 84.583 | 5.645 | 2.933 | 5.633 | 0.933 | 32.514 | 889.683 | 20.391 | 12.1457
2019-08-01 19:45:00 | 5.996 | 8.952 | 5.668 | 6.357 | 6.203 | 7.967 | 5.962 | 6.5 | 32.315 | 889.5 | 20.283 | 13.5661
2019-08-01 20:00:00 | 5.625 | 12.992 | 6.094 | 11.935 | 6.384 | 19.3 | 6.268 | 19.067 | 32.361 | 889.2 | 20.315 | 13.9832
2019-08-01 20:15:00 | 5.431 | 50.792 | 5.873 | 46.15 | 5.705 | 49.3 | 5.724 | 46.7 | 32.277 | 889.3 | 20.331 | 15.0526
2019-08-01 20:30:00 | 5.155 | 53.582 | 5.068 | 49.453 | 4.679 | 55.867 | 4.367 | 49.833 | 32.233 | 889.783 | 20.525 | 12.7881
2019-08-01 20:45:00 | 4.42 | 51.025 | 4.588 | 45.47 | 4.382 | 51.4 | 4.132 | 47.167 | 31.62 | 889.6 | 20.859 | 14.5822
2019-08-01 21:00:00 | 4.962 | 53.628 | 4.795 | 52.462 | 4.111 | 54.233 | 4.118 | 49.033 | 31.614 | 889.683 | 21.024 | 13.7843
2019-08-01 21:15:00 | 4.449 | 48.607 | 5.379 | 42.696 | 6.096 | 47.4 | 6.164 | 44.367 | 31.376 | 889.783 | 21.285 | 11.9361
2019-08-01 21:30:00 | 3.984 | 44.532 | 5.32 | 38.201 | 6.465 | 43.967 | 6.686 | 42.7 | 31.027 | 889.917 | 21.573 | 11.5901
2019-08-01 21:45:00 | 3.049 | 42.595 | 4.385 | 36.762 | 5.669 | 40.633 | 6.407 | 37.933 | 30.344 | 889.767 | 22.016 | 12.9934
2019-08-01 22:00:00 | 3.161 | 17.594 | 4.133 | 18.155 | 4.458 | 24 | 4.572 | 24.1 | 30.085 | 889.783 | 22.379 | 9.3347
2019-08-01 22:15:00 | 2.889 | 5.853 | 3.852 | 5.347 | 5.554 | 11.733 | 5.676 | 11.767 | 29.898 | 889.933 | 22.885 | 10.9243
2019-08-01 22:30:00 | 3.233 | 4.147 | 4.534 | 5.453 | 5.947 | 10.667 | 5.975 | 10.2 | 29.781 | 890 | 23.179 | 17.2973
2019-08-01 22:45:00 | 3.715 | 13.85 | 5.23 | 21.172 | 6.161 | 16.267 | 6.154 | 16 | 29.431 | 889.9 | 23.448 | 13.5164
2019-08-01 23:00:00 | 2.737 | 7.639 | 3.923 | 8.63 | 5.621 | 14.933 | 6.076 | 14.3 | 29.298 | 890 | 23.776 | 5.3463
2019-08-01 23:15:00 | 2.394 | 338.973 | 3.677 | 36.51 | 4.316 | 2.738 | 4.691 | 2.933 | 28.41 | 890.217 | 24.325 | 1.6798
2019-08-01 23:30:00 | 3.03 | 340.4 | 4.454 | 263.135 | 4.398 | 0.268 | 4.634 | 1.333 | 28.314 | 889.433 | 24.725 | 2.3449
2019-08-01 23:45:00 | 3.32 | 152.24 | 5.626 | 49.371 | 6.074 | 0 | 6.51 | 0 | 28.623 | 889.633 | 24.507 | 3.8165