## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-02 00:00:00 | 2.741 | 354.107 | 3.548 | 322.228 | 4.039 | 47.867 | 5.124 | 83.4 | 28.531 | 889.717 | 24.683 | 6.0107
2019-08-02 00:15:00 | 1.684 | 341.907 | 2.956 | 342.944 | 4.481 | 348.233 | 5.205 | 347.933 | 28.039 | 889.233 | 24.885 | 6.3155
2019-08-02 00:30:00 | 0.847 | 316.68 | 3.358 | 325.931 | 4.19 | 338.467 | 4.876 | 343.667 | 26.818 | 889.367 | 24.845 | 4.1767
2019-08-02 00:45:00 | 4.052 | 305.96 | 4.399 | 317.157 | 4.462 | 327.033 | 4.702 | 328.567 | 27.548 | 889.617 | 22.747 | 7.0211
2019-08-02 01:00:00 | 4.1 | 305.147 | 4.577 | 317.901 | 4.818 | 328.467 | 5.008 | 330.533 | 27.91 | 890.483 | 21.411 | 9.69
2019-08-02 01:15:00 | 3.553 | 300.947 | 4.939 | 310.759 | 5.24 | 318.5 | 5.366 | 320.133 | 27.123 | 889.95 | 21.379 | 12.1585
2019-08-02 01:30:00 | 4.067 | 276.093 | 4.889 | 283.102 | 5.542 | 293.533 | 5.993 | 294.4 | 26.831 | 889.667 | 21.387 | 15.0043
2019-08-02 01:45:00 | 3.54 | 275.287 | 5.003 | 279.662 | 6.042 | 285.8 | 6.506 | 284.6 | 27.452 | 889.633 | 19.641 | 21.2658
2019-08-02 02:00:00 | 5.139 | 274.773 | 5.912 | 279.5 | 6.287 | 286 | 7.006 | 285.033 | 26.977 | 889.533 | 19.479 | 20.2632
2019-08-02 02:15:00 | 4.057 | 255.607 | 5.564 | 262.388 | 6.264 | 270.133 | 6.426 | 268.433 | 27.227 | 889.517 | 20.271 | 45.8813
2019-08-02 02:30:00 | 7.539 | 268.24 | 8.813 | 281.422 | 9.676 | 284.833 | 10.704 | 282.1 | 26.814 | 889.8 | 20.481 | 51.5282
2019-08-02 02:45:00 | 9.44 | 277.353 | 10.12 | 282.102 | 10.57 | 287.367 | 11.015 | 285.7 | 26.731 | 889.5 | 22.04 | 28.0404
2019-08-02 03:00:00 | 6.646 | 313.667 | 7.534 | 310.834 | 8.344 | 315.267 | 9.395 | 313.5 | 26.635 | 890.083 | 22.845 | 29.2242
2019-08-02 03:15:00 | 6.528 | 282.347 | 7.714 | 285.533 | 8.181 | 290.733 | 8.73 | 288 | 26.094 | 889.717 | 24.016 | 34.0688
2019-08-02 03:30:00 | 8.356 | 297.547 | 9.215 | 297.84 | 9.561 | 301.6 | 10.2 | 299.467 | 26.389 | 889.7 | 25.669 | 33.8052
2019-08-02 03:45:00 | 7.849 | 270.547 | 9.046 | 273.168 | 9.358 | 279.1 | 9.686 | 276.467 | 26.144 | 890 | 26.368 | 43.8953
2019-08-02 04:00:00 | 8.762 | 264.56 | 10.321 | 268.524 | 10.789 | 274.367 | 11.067 | 270.167 | 25.814 | 889.617 | 27.003 | 42.6056
2019-08-02 04:15:00 | 7.376 | 282.587 | 8.939 | 288.245 | 9.188 | 294.433 | 9.752 | 292.167 | 25.756 | 890.417 | 27.357 | 37.1662
2019-08-02 04:30:00 | 7.122 | 313.573 | 7.707 | 310.372 | 8.392 | 315.267 | 8.909 | 313.333 | 25.723 | 889.733 | 27.205 | 32.0615
2019-08-02 04:45:00 | 6.192 | 332.147 | 7.294 | 326.078 | 7.825 | 330.367 | 8.669 | 330.467 | 25.66 | 889.867 | 26.792 | 25.7723
2019-08-02 05:00:00 | 5.735 | 309.653 | 6.43 | 309.135 | 7.154 | 314.9 | 7.656 | 316.333 | 25.498 | 889.8 | 26.496 | 31.5556
2019-08-02 05:15:00 | 6.061 | 266.773 | 6.776 | 269.639 | 7.155 | 274.833 | 7.461 | 271.45 | 25.348 | 889.5 | 27.2 | 35.8239
2019-08-02 05:30:00 | 6.223 | 291.54 | 7.295 | 293.006 | 7.653 | 297.8 | 8.143 | 295.533 | 25.898 | 889.55 | 27.139 | 24.7007
2019-08-02 05:45:00 | 4.701 | 323.227 | 5.638 | 314.606 | 6.119 | 318.667 | 6.569 | 317.1 | 25.352 | 889.617 | 27.416 | 15.312
2019-08-02 06:00:00 | 5.338 | 262.153 | 6.411 | 271.376 | 6.8 | 279.833 | 7.107 | 278.233 | 24.973 | 889.917 | 28.443 | 20.3243
2019-08-02 06:15:00 | 4.252 | 283.76 | 4.927 | 279.036 | 5.361 | 281.7 | 5.682 | 279.033 | 25.031 | 889.85 | 28.955 | 16.127
2019-08-02 06:30:00 | 5.566 | 261.26 | 6.637 | 263.476 | 6.989 | 270.767 | 7.311 | 268.433 | 24.868 | 890.05 | 29.357 | 0.81857
2019-08-02 06:45:00 | 1.603 | 262.593 | 1.786 | 276.334 | 2.193 | 282.467 | 3.057 | 285.533 | 24.735 | 889.55 | 29.475 | 2.7236
2019-08-02 07:00:00 | 3.592 | 276.08 | 4.082 | 281.245 | 4.102 | 287.433 | 4.487 | 287.467 | 25.039 | 889.717 | 29.579 | 0.68285
2019-08-02 07:15:00 | 0.599 | 279.413 | 0.707 | 340.911 | 1.168 | 338.933 | 1.836 | 342.833 | 24.923 | 890.05 | 29.603 | 0.32402
2019-08-02 07:30:00 | 1.832 | 225.753 | 1.522 | 249.806 | 1.567 | 239.933 | 2.054 | 248.9 | 24.248 | 889.383 | 30.216 | 0.2288
2019-08-02 07:45:00 | 0.842 | 217.98 | 0.15 | 276.822 | 0.139 | 268.067 | 0.981 | 311.333 | 24.202 | 889.75 | 30.637 | 0.21885
2019-08-02 08:00:00 | 1.299 | 276.787 | 0.76 | 287.088 | 0.283 | 301.433 | 1.353 | 322.733 | 23.985 | 889.633 | 31.093 | 5.713
2019-08-02 08:15:00 | 4.626 | 271.26 | 5.184 | 274.922 | 5.075 | 280.333 | 5.177 | 278.467 | 24.464 | 889.567 | 31.168 | 14.0721
2019-08-02 08:30:00 | 4.339 | 281.447 | 5.04 | 280.577 | 5.508 | 283.433 | 6.053 | 281.7 | 24.281 | 889.4 | 32.517 | 13.1675
2019-08-02 08:45:00 | 4.584 | 306.48 | 4.882 | 300.963 | 5.093 | 309 | 5.532 | 307.833 | 24.439 | 890.033 | 32.491 | 4.7636
2019-08-02 09:00:00 | 4.15 | 288.66 | 4.328 | 289.598 | 4.297 | 297.033 | 4.582 | 296.433 | 24.748 | 889.783 | 31.403 | 3.3901
2019-08-02 09:15:00 | 3.184 | 293.64 | 3.242 | 288.932 | 3.117 | 290.1 | 3.598 | 284.933 | 25.164 | 889.55 | 30.507 | 3.14
2019-08-02 09:30:00 | 3.803 | 285.773 | 3.904 | 284.372 | 3.769 | 284.9 | 4.034 | 281.433 | 25.314 | 889.7 | 30.672 | 27.7697
2019-08-02 09:45:00 | 6.429 | 283.433 | 6.935 | 283.928 | 7.059 | 288.867 | 7.529 | 287.4 | 25.923 | 889.667 | 30.451 | 60.1807
2019-08-02 10:00:00 | 9.5 | 266.547 | 10.207 | 274.914 | 10.38 | 279.6 | 10.581 | 277.5 | 25.598 | 889.5 | 32.901 | 48.8038
2019-08-02 10:15:00 | 8.125 | 277.947 | 8.608 | 281.379 | 8.669 | 285.767 | 9.082 | 283.167 | 24.998 | 890.35 | 34.912 | 40.3218
2019-08-02 10:30:00 | 7.715 | 279.847 | 8.153 | 283.534 | 8.111 | 288.3 | 8.344 | 286.6 | 25.306 | 890.033 | 34.315 | 47.7408
2019-08-02 10:45:00 | 8.815 | 273.9 | 9.67 | 275.631 | 9.567 | 278.2 | 9.676 | 273.2 | 24.894 | 890.033 | 35.277 | 29.5873
2019-08-02 11:00:00 | 7.692 | 264.433 | 8.02 | 274.189 | 7.909 | 277.7 | 7.976 | 273.233 | 25.427 | 889.483 | 34.877 | 1.7352
2019-08-02 11:15:00 | 2.802 | 323.347 | 2.66 | 319.168 | 2.581 | 326.367 | 2.963 | 329.133 | 24.61 | 889.783 | 35.496 | 0.40218
2019-08-02 11:30:00 | 2.808 | 340.56 | 2.901 | 333.176 | 2.819 | 340.633 | 3.194 | 339.467 | 25.202 | 889.817 | 33.488 | 2.2639
2019-08-02 11:45:00 | 3.31 | 317.16 | 3.193 | 314.334 | 3.062 | 320.1 | 3.705 | 321.6 | 25.573 | 889.633 | 32.581 | 10.8148
2019-08-02 12:00:00 | 6.521 | 328.213 | 6.564 | 323.225 | 6.712 | 329.533 | 6.956 | 330.633 | 26.339 | 889.85 | 30.128 | 26.9703
2019-08-02 12:15:00 | 7.47 | 322.987 | 7.755 | 320.006 | 7.84 | 324.667 | 8.218 | 325.333 | 26.739 | 889.983 | 30.008 | 26.7599
2019-08-02 12:30:00 | 5.854 | 304.987 | 6.263 | 305.012 | 6.688 | 308.467 | 7.005 | 305.5 | 26.827 | 890.017 | 29.939 | 23.1488
2019-08-02 12:45:00 | 6.698 | 324.173 | 6.861 | 324.743 | 6.904 | 328.9 | 7.412 | 326.4 | 27.868 | 890.017 | 28.496 | 31.3005
2019-08-02 13:00:00 | 8.011 | 320.933 | 7.967 | 317.702 | 8.165 | 323.767 | 8.692 | 323.233 | 27.673 | 890.017 | 29.104 | 12.6168
2019-08-02 13:15:00 | 5.262 | 323.64 | 5.762 | 331.728 | 6.004 | 333.167 | 6.084 | 330.467 | 27.714 | 889.767 | 27.163 | 14.9859
2019-08-02 13:30:00 | 6.433 | 316.373 | 6.602 | 310.157 | 6.905 | 313.467 | 7.251 | 309.8 | 28.36 | 889.617 | 25.955 | 15.8698
2019-08-02 13:45:00 | 6.595 | 327.853 | 6.695 | 323.616 | 6.732 | 334.067 | 7.085 | 330.967 | 29.164 | 890 | 23.765 | 13.2592
2019-08-02 14:00:00 | 8.677 | 329.867 | 9.277 | 324.21 | 9.272 | 327.5 | 9.347 | 328.4 | 28.964 | 890.017 | 26.067 | 22.0936
2019-08-02 14:15:00 | 6.53 | 333.507 | 6.692 | 332.231 | 6.913 | 326.067 | 7.223 | 335.833 | 28.614 | 889.367 | 27.424 | 29.9184
2019-08-02 14:30:00 | 6.529 | 320.333 | 6.579 | 315.566 | 6.804 | 318.9 | 7.098 | 319.3 | 28.118 | 890.033 | 28.267 | 13.586
2019-08-02 14:45:00 | 4.113 | 338.347 | 4.118 | 324.43 | 4.077 | 340.4 | 4.283 | 337 | 28.639 | 889.9 | 26.192 | 13.6393
2019-08-02 15:00:00 | 6.229 | 303.133 | 6.161 | 319.329 | 6.261 | 323.3 | 6.706 | 319.6 | 28.823 | 889.85 | 26.235 | 21.0178
2019-08-02 15:15:00 | 4.575 | 317.147 | 4.749 | 319.9 | 4.932 | 312.5 | 5.161 | 321 | 28.777 | 889.5 | 25.725 | 19.9406
2019-08-02 15:30:00 | 6.308 | 300.6 | 6.496 | 309.865 | 6.726 | 290.033 | 7.006 | 302.367 | 29.381 | 889.483 | 25.261 | 20.0522
2019-08-02 15:45:00 | 5.514 | 305.2 | 5.702 | 308.141 | 6.033 | 313 | 6.425 | 312.267 | 29.614 | 889.833 | 25.171 | 20.9745
2019-08-02 16:00:00 | 5.75 | 215.902 | 6.028 | 286.525 | 5.85 | 251.7 | 6.064 | 334.433 | 29.631 | 889.867 | 25.269 | 27.5366
2019-08-02 16:15:00 | 7.429 | 295.093 | 7.914 | 294.736 | 8.311 | 301.567 | 8.704 | 299.4 | 29.214 | 889.667 | 26.016 | 43.977
2019-08-02 16:30:00 | 6.793 | 327.987 | 7.202 | 322.64 | 7.232 | 325.3 | 7.457 | 323.367 | 28.406 | 889.95 | 27.776 | 44.1042
2019-08-02 16:45:00 | 7.388 | 294.24 | 7.597 | 303.602 | 7.666 | 308.667 | 8.243 | 304.267 | 29.031 | 889.617 | 27.507 | 41.566
2019-08-02 17:00:00 | 8.331 | 309.907 | 8.733 | 307.567 | 8.61 | 312.3 | 8.788 | 313.5 | 28.664 | 889.433 | 27.141 | 48.3306
2019-08-02 17:15:00 | 6.689 | 303.493 | 7.104 | 305.122 | 7.046 | 307.233 | 7.344 | 305.667 | 28.873 | 889.867 | 27.515 | 55.4171
2019-08-02 17:30:00 | 9.269 | 307.787 | 9.415 | 305.372 | 9.444 | 309.467 | 9.682 | 308.2 | 28.61 | 889.367 | 27.856 | 46.3083
2019-08-02 17:45:00 | 8.929 | 309.92 | 9.333 | 306.232 | 9.59 | 312.067 | 9.939 | 310.667 | 28.373 | 889.683 | 28.589 | 53.7565
2019-08-02 18:00:00 | 9.606 | 302.987 | 9.914 | 304.926 | 9.95 | 308.833 | 10.415 | 304.233 | 28.764 | 890.033 | 28.075 | 64.4143
2019-08-02 18:15:00 | 8.909 | 314.44 | 9.257 | 310.991 | 9.385 | 316.133 | 9.971 | 314.767 | 28.039 | 889.383 | 29.909 | 51.8778
2019-08-02 18:30:00 | 8.892 | 301.613 | 9.551 | 300.324 | 9.955 | 305.133 | 10.361 | 302.8 | 28.098 | 889.633 | 28.624 | 50.9334
2019-08-02 18:45:00 | 8.354 | 287.92 | 9.197 | 287.565 | 9.282 | 290.4 | 9.749 | 288.467 | 28.256 | 890.217 | 27.429 | 34.876
2019-08-02 19:00:00 | 6.617 | 321.307 | 6.874 | 316.253 | 6.85 | 320.967 | 7.12 | 318.467 | 28.227 | 889.75 | 28.808 | 32.5184
2019-08-02 19:15:00 | 7.341 | 318.707 | 8.008 | 312.856 | 8.3 | 316.633 | 8.965 | 314.2 | 28.106 | 890.167 | 29.464 | 40.4796
2019-08-02 19:30:00 | 7.697 | 304.187 | 7.996 | 303.209 | 8.437 | 307.7 | 8.673 | 305.567 | 28.714 | 889.867 | 27.475 | 51.9247
2019-08-02 19:45:00 | 8.968 | 300.947 | 9.548 | 301.198 | 10.001 | 305.267 | 10.595 | 299.9 | 28.96 | 889.817 | 27.165 | 51.5424
2019-08-02 20:00:00 | 8.724 | 314.533 | 9.272 | 309.576 | 9.559 | 313.6 | 9.82 | 312.067 | 28.66 | 889.567 | 28.021 | 51.7257
2019-08-02 20:15:00 | 7.449 | 310.107 | 7.636 | 308.96 | 8.169 | 313.867 | 8.661 | 312.833 | 27.939 | 890.033 | 28.421 | 55.4498
2019-08-02 20:30:00 | 7.526 | 310.467 | 7.933 | 307.321 | 8.173 | 311.767 | 8.592 | 311.833 | 27.606 | 890.117 | 29.251 | 63.8721
2019-08-02 20:45:00 | 8.836 | 311.613 | 9.746 | 305.419 | 9.868 | 310.667 | 10.171 | 308.433 | 26.718 | 889.983 | 32.549 | 57.9851
2019-08-02 21:00:00 | 8.073 | 310.32 | 8.643 | 307.58 | 9.201 | 312.367 | 9.677 | 310.7 | 26.294 | 889.633 | 34.128 | 54.8721
2019-08-02 21:15:00 | 8.814 | 313.48 | 9.758 | 311.378 | 10.157 | 315.433 | 10.856 | 314.967 | 25.781 | 889.933 | 34.243 | 56.9725
2019-08-02 21:30:00 | 8.045 | 311.147 | 8.924 | 306.86 | 9.401 | 312.767 | 10.114 | 310.933 | 25.489 | 889.967 | 33.837 | 55.6104
2019-08-02 21:45:00 | 7.464 | 310.8 | 8.303 | 305.661 | 8.695 | 311.433 | 9.068 | 308.733 | 24.889 | 889.667 | 34.251 | 49.5343
2019-08-02 22:00:00 | 7.782 | 302.313 | 8.687 | 298.755 | 9.283 | 303.5 | 9.853 | 301.567 | 24.902 | 890 | 33.611 | 49.4611
2019-08-02 22:15:00 | 6.444 | 286.667 | 7.491 | 286.118 | 8.004 | 290.767 | 8.72 | 288.767 | 24.681 | 890.067 | 33.085 | 35.5013
2019-08-02 22:30:00 | 6.154 | 270.127 | 7.092 | 276.833 | 7.696 | 281.9 | 8.196 | 279.367 | 24.585 | 889.633 | 31.805 | 31.643
2019-08-02 22:45:00 | 7.086 | 256.073 | 7.89 | 266.505 | 8.199 | 273.867 | 8.81 | 269.317 | 24.506 | 889.6 | 31.027 | 27.8571
2019-08-02 23:00:00 | 6.191 | 253.62 | 7.145 | 258.607 | 7.541 | 264.217 | 8.04 | 261.95 | 24.148 | 889.717 | 31.083 | 35.7919
2019-08-02 23:15:00 | 6.628 | 251.953 | 7.92 | 267.41 | 8.423 | 272.633 | 9.002 | 271.467 | 24.044 | 890.067 | 30.008 | 36.0961
2019-08-02 23:30:00 | 6.366 | 255.873 | 7.792 | 265.001 | 8.073 | 271.933 | 8.552 | 270.2 | 24.002 | 889.783 | 29.224 | 32.5241
2019-08-02 23:45:00 | 5.968 | 249.913 | 7.226 | 262.566 | 7.562 | 269.2 | 8.01 | 266.8 | 23.581 | 889.65 | 29.397 | 36.2879