## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-03 00:00:00 | 6.145 | 253.58 | 7.25 | 260.462 | 7.671 | 266.833 | 7.885 | 264.6 | 23.248 | 889.933 | 30.141 | 38.2313
2019-08-03 00:15:00 | 5.723 | 249.693 | 6.747 | 252.995 | 7.135 | 258.683 | 7.464 | 256.617 | 23.014 | 890.267 | 30.827 | 33.1231
2019-08-03 00:30:00 | 5.169 | 248.053 | 6.165 | 251.064 | 6.522 | 257.733 | 6.766 | 255.783 | 23.398 | 889.8 | 31.232 | 28.9051
2019-08-03 00:45:00 | 5.036 | 250.08 | 6.143 | 254.433 | 6.664 | 263.967 | 7.034 | 262.4 | 22.514 | 889.733 | 31.891 | 28.4049
2019-08-03 01:00:00 | 5.254 | 250.393 | 6.699 | 264.221 | 7.161 | 272.467 | 7.492 | 267.5 | 22.681 | 889.783 | 32.117 | 27.7739
2019-08-03 01:15:00 | 5.896 | 252.92 | 7.233 | 259.949 | 7.654 | 269.167 | 8.098 | 267.567 | 22.698 | 889.35 | 32.267 | 26.8239
2019-08-03 01:30:00 | 5.706 | 238.227 | 6.96 | 242.94 | 6.946 | 253.233 | 7.081 | 252.25 | 22.264 | 889.5 | 33.323 | 29.0664
2019-08-03 01:45:00 | 6.07 | 246.22 | 7.337 | 246.563 | 7.453 | 254.2 | 7.512 | 253.117 | 21.96 | 890.333 | 33.552 | 20.1502
2019-08-03 02:00:00 | 5.089 | 248.933 | 6.234 | 249.428 | 6.376 | 256.467 | 6.625 | 255.3 | 22.414 | 889.667 | 33.195 | 12.8726
2019-08-03 02:15:00 | 4.863 | 237.353 | 5.256 | 239.396 | 5.272 | 247.5 | 5.349 | 243.967 | 21.998 | 889.817 | 33.632 | 10.5548
2019-08-03 02:30:00 | 3.699 | 210.52 | 4.313 | 217.909 | 4.236 | 228.9 | 4.226 | 229.6 | 20.939 | 889.833 | 34.907 | 11.1566
2019-08-03 02:45:00 | 2.827 | 246.26 | 3.89 | 252.944 | 4.52 | 259.067 | 5.156 | 254.75 | 20.498 | 889.517 | 35.816 | 16.3658
2019-08-03 03:00:00 | 2.788 | 233.707 | 4.101 | 234.88 | 5.272 | 243.067 | 5.812 | 240.7 | 21.41 | 889.9 | 35.307 | 21.6048
2019-08-03 03:15:00 | 5.346 | 248.213 | 6.182 | 242.356 | 6.801 | 248.6 | 7.012 | 244.8 | 21.198 | 889.867 | 36.096 | 31.0027
2019-08-03 03:30:00 | 3.283 | 233.367 | 4.726 | 231.922 | 6.165 | 237.867 | 7.027 | 235.467 | 20.848 | 889.733 | 36.149 | 39.3
2019-08-03 03:45:00 | 6.108 | 232.22 | 7.837 | 233.928 | 8.151 | 243.533 | 8.234 | 240.933 | 21.077 | 889.85 | 36.037 | 37.9897
2019-08-03 04:00:00 | 6.204 | 228.953 | 7.648 | 233.208 | 7.867 | 242.967 | 7.837 | 240.933 | 20.768 | 889.433 | 36.021 | 36.796
2019-08-03 04:15:00 | 6.085 | 228.553 | 7.687 | 231.406 | 7.817 | 241.3 | 7.842 | 238.367 | 20.906 | 889.983 | 36.229 | 35.3422
2019-08-03 04:30:00 | 6.007 | 225.887 | 7.872 | 229.584 | 8.044 | 236.733 | 7.963 | 234.2 | 20.598 | 889.817 | 36.272 | 29.1496
2019-08-03 04:45:00 | 5.37 | 227.52 | 6.988 | 227.762 | 7.559 | 236.633 | 7.514 | 232.567 | 20.648 | 889.717 | 36.363 | 29.5837
2019-08-03 05:00:00 | 5.305 | 211.733 | 6.258 | 218.617 | 7.134 | 231.067 | 7.309 | 232.467 | 20.714 | 889.817 | 36.875 | 37.4
2019-08-03 05:15:00 | 6.292 | 216.487 | 8.191 | 221.447 | 8.591 | 233.867 | 8.267 | 232.6 | 19.798 | 890.1 | 37.451 | 39.7605
2019-08-03 05:30:00 | 5.105 | 223.687 | 6.447 | 226.588 | 7.992 | 236.833 | 8.242 | 236.367 | 20.023 | 889.75 | 37.44 | 34.3424
2019-08-03 05:45:00 | 6.414 | 218.353 | 7.929 | 225.1 | 7.939 | 234.167 | 7.758 | 232.067 | 19.902 | 889.65 | 37.285 | 33.2659
2019-08-03 06:00:00 | 5.907 | 231.267 | 7.698 | 234.05 | 7.905 | 242.367 | 7.876 | 239 | 20.289 | 889.767 | 37.088 | 36.2808
2019-08-03 06:15:00 | 5.923 | 222 | 7.635 | 227.159 | 7.778 | 235.867 | 7.744 | 233.367 | 20.881 | 889.983 | 36.155 | 32.6093
2019-08-03 06:30:00 | 5.085 | 222.533 | 6.96 | 229.228 | 7.296 | 241.933 | 7.152 | 243.967 | 20.289 | 890.3 | 36.661 | 33.3483
2019-08-03 06:45:00 | 6.718 | 216.113 | 7.688 | 219.226 | 7.416 | 229.3 | 6.932 | 231.633 | 20.144 | 889.183 | 37.504 | 31.3331
2019-08-03 07:00:00 | 6.063 | 216.067 | 6.73 | 226.178 | 6.737 | 241.833 | 6.781 | 247.6 | 19.756 | 889.333 | 37.733 | 32.9205
2019-08-03 07:15:00 | 6.305 | 240.48 | 7.347 | 249.613 | 7.688 | 260.9 | 7.876 | 258.483 | 20.552 | 889.55 | 37.653 | 34.5691
2019-08-03 07:30:00 | 5.747 | 238.487 | 6.949 | 247.2 | 7.297 | 257.933 | 7.729 | 257.45 | 21.673 | 889.717 | 35.371 | 28.2486
2019-08-03 07:45:00 | 5.427 | 230.867 | 6.022 | 240.024 | 6.137 | 251.733 | 6.37 | 250.9 | 22.331 | 889.65 | 33.813 | 23.0145
2019-08-03 08:00:00 | 5.598 | 218.513 | 6.46 | 220.556 | 6.521 | 225.767 | 6.422 | 223.633 | 22.998 | 890.1 | 32.528 | 18.8293
2019-08-03 08:15:00 | 4.236 | 222.1 | 4.82 | 223.757 | 5.369 | 231.8 | 5.699 | 230.733 | 24.11 | 889.933 | 30.955 | 19.9975
2019-08-03 08:30:00 | 5.302 | 238.287 | 5.577 | 234.919 | 6.005 | 241.367 | 6.265 | 236.633 | 25.081 | 889.633 | 28.773 | 20.7009
2019-08-03 08:45:00 | 5.826 | 239.34 | 6.058 | 240.342 | 6.082 | 247.633 | 6.306 | 245.117 | 25.473 | 889.8 | 27.624 | 22.2819
2019-08-03 09:00:00 | 6.175 | 261.867 | 6.74 | 268.574 | 6.98 | 274.1 | 7.048 | 269.2 | 26.218 | 889.717 | 26.757 | 28.5143
2019-08-03 09:15:00 | 6.703 | 258.387 | 6.992 | 263.612 | 7.147 | 269.9 | 7.262 | 266.283 | 26.477 | 889.683 | 26.8 | 34.508
2019-08-03 09:30:00 | 7.513 | 279.387 | 8.258 | 288.334 | 8.204 | 292.2 | 8.308 | 287.967 | 26.71 | 889.483 | 26.123 | 41.2406
2019-08-03 09:45:00 | 7.355 | 281.873 | 7.909 | 283.478 | 7.834 | 288.8 | 8.122 | 288.3 | 26.848 | 889.467 | 26.077 | 45.2844
2019-08-03 10:00:00 | 8.904 | 285.127 | 9.143 | 288.213 | 9.627 | 291.033 | 10.013 | 286.667 | 27.185 | 889.233 | 25.816 | 45.0876
2019-08-03 10:15:00 | 7.209 | 288.553 | 7.652 | 292.69 | 7.563 | 296.267 | 8.076 | 294.233 | 27.785 | 889.917 | 25.853 | 49.2629
2019-08-03 10:30:00 | 7.918 | 317.92 | 8.216 | 309.314 | 8.76 | 313.7 | 9.519 | 310.3 | 28.068 | 889.683 | 25.405 | 47.0459
2019-08-03 10:45:00 | 7.416 | 297.233 | 7.956 | 296.88 | 8.09 | 303.067 | 8.401 | 298.433 | 28.36 | 889.65 | 25.059 | 41.5646
2019-08-03 11:00:00 | 7.757 | 314.533 | 8.031 | 309.224 | 8.372 | 311.833 | 8.477 | 309.567 | 28.66 | 889.517 | 24.44 | 40.8732
2019-08-03 11:15:00 | 9.155 | 326.36 | 9.414 | 322.494 | 9.882 | 325.667 | 10.122 | 325.433 | 28.531 | 889.967 | 23.213 | 32.2015
2019-08-03 11:30:00 | 7.438 | 279.753 | 8.204 | 282.125 | 8.517 | 287.967 | 8.8 | 287.467 | 28.714 | 889.65 | 23.107 | 37.6565
2019-08-03 11:45:00 | 7.702 | 328.08 | 8.129 | 312.82 | 8.31 | 317.3 | 8.313 | 338.1 | 29.448 | 889.65 | 22.232 | 34.5954
2019-08-03 12:00:00 | 8.638 | 297.787 | 8.804 | 300.335 | 9.094 | 305.167 | 9.327 | 307.067 | 28.977 | 889.717 | 21.891 | 29.8616
2019-08-03 12:15:00 | 7.941 | 312.12 | 8.848 | 311.382 | 9.294 | 314.933 | 9.639 | 315.567 | 29.781 | 889.55 | 21.84 | 32.8488
2019-08-03 12:30:00 | 7.744 | 320.053 | 8.157 | 311.822 | 8.384 | 317.1 | 8.787 | 317.433 | 29.731 | 889.8 | 21.168 | 34.0425
2019-08-03 12:45:00 | 6.884 | 290.893 | 7.318 | 327.46 | 7.641 | 330 | 8.068 | 330 | 29.348 | 889.55 | 21.568 | 41.1276
2019-08-03 13:00:00 | 8.034 | 313.2 | 8.437 | 311.361 | 8.382 | 312.767 | 8.412 | 313.367 | 29.614 | 889.917 | 20.736 | 27.4684
2019-08-03 13:15:00 | 6.362 | 299.987 | 6.848 | 298.021 | 7.045 | 303.2 | 7.143 | 300.2 | 30.039 | 889.467 | 20.843 | 30.2645
2019-08-03 13:30:00 | 7.741 | 298.2 | 7.896 | 299.989 | 7.965 | 304.3 | 8.274 | 301.533 | 30.077 | 889.4 | 20.016 | 27.44
2019-08-03 13:45:00 | 5.863 | 317.267 | 6.078 | 302.223 | 6.286 | 317.4 | 6.454 | 314.533 | 31.335 | 889.1 | 19.683 | 28.4156
2019-08-03 14:00:00 | 6.617 | 182.081 | 7.148 | 239.764 | 7.132 | 182.567 | 7.123 | 189.2 | 31.066 | 889.567 | 18.365 | 19.5804
2019-08-03 14:15:00 | 4.556 | 267.488 | 4.591 | 290.255 | 5.075 | 310.267 | 5.416 | 305.5 | 31.118 | 889.067 | 18.364 | 21.5799
2019-08-03 14:30:00 | 5.605 | 282.207 | 5.882 | 291.139 | 6.344 | 292.8 | 6.872 | 293.9 | 31.088 | 889.5 | 18.473 | 17.5908
2019-08-03 14:45:00 | 7.959 | 284.707 | 8.187 | 284.954 | 8.35 | 289.367 | 8.478 | 287.5 | 31.478 | 889.767 | 18.799 | 16.726
2019-08-03 15:00:00 | 7.983 | 301.013 | 7.913 | 299.407 | 8.536 | 302.467 | 9.024 | 300.3 | 31.838 | 890.133 | 17.799 | 14.6277
2019-08-03 15:15:00 | 7.453 | 294.76 | 8.058 | 301.918 | 8.312 | 309.633 | 8.492 | 306.2 | 31.991 | 889.367 | 17.792 | 18.2985
2019-08-03 15:30:00 | 8.896 | 317.627 | 9.068 | 313.575 | 9.338 | 317.4 | 9.73 | 315.867 | 32.046 | 889.3 | 16.892 | 25.1839
2019-08-03 15:45:00 | 7.788 | 248.65 | 8.322 | 299.339 | 8.789 | 304.067 | 9.063 | 339.4 | 32.492 | 889.133 | 15.377 | 14.2476
2019-08-03 16:00:00 | 1.899 | 206.992 | 2.101 | 227.256 | 2.4 | 231.817 | 3.142 | 259.1 | 32.366 | 889.3 | 15.225 | 10.6969
2019-08-03 16:15:00 | 6.922 | 287.867 | 7.344 | 287.463 | 7.261 | 291.333 | 7.6 | 284.867 | 33.013 | 889.667 | 14.736 | 33.2041
2019-08-03 16:30:00 | 9.839 | 303.4 | 10.37 | 333.542 | 10.453 | 338.1 | 10.157 | 324.167 | 32.675 | 889.467 | 16.087 | 21.0015
2019-08-03 16:45:00 | 2.647 | 318.04 | 2.438 | 298.483 | 2.342 | 307.267 | 2.771 | 306.7 | 32.399 | 889.867 | 16.091 | 19.9563
2019-08-03 17:00:00 | 6.07 | 299.653 | 6.417 | 298.521 | 6.841 | 303.4 | 7.137 | 302.767 | 32.963 | 889.533 | 13.665 | 19.9811
2019-08-03 17:15:00 | 3.214 | 274.053 | 3.066 | 280.59 | 3.374 | 287.233 | 3.508 | 288.1 | 32.874 | 889.367 | 13.463 | 20.2497
2019-08-03 17:30:00 | 4.828 | 181.908 | 5.37 | 216.975 | 5.826 | 183.533 | 5.988 | 205.567 | 32.802 | 889.567 | 13.5 | 20.6746
2019-08-03 17:45:00 | 5.864 | 326.853 | 6.365 | 332.981 | 6.503 | 337.567 | 6.975 | 340.433 | 33.263 | 889.667 | 13.901 | 33.4449
2019-08-03 18:00:00 | 7.962 | 322.467 | 8.154 | 328.444 | 8.285 | 333.9 | 8.382 | 332.233 | 33.03 | 889.633 | 14.391 | 28.5214
2019-08-03 18:15:00 | 8.832 | 318.133 | 9.123 | 312.466 | 9.399 | 317.733 | 9.578 | 315.267 | 32.796 | 889.033 | 14.651 | 23.3243
2019-08-03 18:30:00 | 5.262 | 330.12 | 5.602 | 326.219 | 5.946 | 326.933 | 6.106 | 326.567 | 32.963 | 889.7 | 14.572 | 26.6676
2019-08-03 18:45:00 | 6.339 | 325.627 | 6.736 | 322.822 | 6.932 | 329.267 | 7.21 | 328.8 | 33.163 | 889.4 | 14.631 | 35.1581
2019-08-03 19:00:00 | 6.376 | 164.201 | 7.317 | 302.405 | 7.26 | 271.733 | 7.532 | 327.467 | 33.08 | 890.067 | 14.435 | 32.0309
2019-08-03 19:15:00 | 6.913 | 257.28 | 7.285 | 336.791 | 7.416 | 245.033 | 7.58 | 327.667 | 33.146 | 889.7 | 14.149 | 26.1361
2019-08-03 19:30:00 | 7.822 | 319.48 | 8.177 | 317.41 | 8.344 | 300.733 | 8.428 | 311.3 | 32.796 | 889.467 | 12.996 | 31.8007
2019-08-03 19:45:00 | 7.359 | 329.147 | 7.751 | 323.537 | 7.913 | 326.5 | 8.386 | 325.1 | 33.296 | 889.567 | 12.993 | 27.0086
2019-08-03 20:00:00 | 8.053 | 318.8 | 8.58 | 317.267 | 8.957 | 322 | 9.125 | 322.667 | 32.78 | 889.633 | 13.408 | 27.4407
2019-08-03 20:15:00 | 4.406 | 318.08 | 4.625 | 309.565 | 4.804 | 310.867 | 5.736 | 304.433 | 32.547 | 889.533 | 13.072 | 28.1171
2019-08-03 20:30:00 | 6.645 | 321.333 | 7.3 | 315.082 | 7.482 | 323.3 | 7.902 | 322.133 | 32.896 | 889.133 | 13.095 | 28.5101
2019-08-03 20:45:00 | 6.673 | 330.187 | 7.198 | 323.246 | 7.689 | 327.1 | 7.895 | 327.467 | 32.285 | 889.367 | 13.236 | 20.4359
2019-08-03 21:00:00 | 5.862 | 325.92 | 6.566 | 319.051 | 6.93 | 323.2 | 7.158 | 323 | 32.36 | 889.2 | 14.088 | 14.7151
2019-08-03 21:15:00 | 4.821 | 335.48 | 5.712 | 332.516 | 5.927 | 337.533 | 5.943 | 336.4 | 32.012 | 889.6 | 14.004 | 9.6928
2019-08-03 21:30:00 | 3.876 | 327.667 | 5.077 | 323.507 | 5.38 | 329.467 | 5.518 | 329.8 | 31.408 | 889.733 | 14.536 | 8.1594
2019-08-03 21:45:00 | 3.818 | 331.013 | 4.907 | 328.994 | 5.345 | 334.167 | 5.537 | 334.3 | 30.823 | 889.633 | 15.883 | 7.9868
2019-08-03 22:00:00 | 3.344 | 325.16 | 4.142 | 326.129 | 4.463 | 332.967 | 4.722 | 335.067 | 30.839 | 889.533 | 16.423 | 5.7662
2019-08-03 22:15:00 | 2.701 | 326.88 | 3.718 | 330.733 | 4.002 | 338.8 | 4.273 | 339.467 | 30.789 | 889.6 | 16.436 | 6.0547
2019-08-03 22:30:00 | 2.834 | 338.293 | 4.094 | 330.15 | 4.68 | 313.667 | 5.182 | 280.8 | 30.718 | 889.533 | 16.472 | 1.0516
2019-08-03 22:45:00 | 2.702 | 344.747 | 3.819 | 353.526 | 3.99 | 40.6 | 4.631 | 0 | 29.631 | 889.533 | 16.879 | 0.55851
2019-08-03 23:00:00 | 1.626 | 348.96 | 2.549 | 6.65 | 3.396 | 9.556 | 3.579 | 7.433 | 29.648 | 889.433 | 17.363 | 0.12435
2019-08-03 23:15:00 | 0.77 | 348.027 | 2.133 | 8.691 | 2.446 | 15.11 | 3.138 | 15.1 | 29.414 | 889.7 | 17.608 | 0.18901
2019-08-03 23:30:00 | 1.697 | 292.373 | 1.624 | 339.923 | 1.837 | 8.016 | 2.534 | 11.4 | 28.768 | 889.433 | 18.272 | 0.25509
2019-08-03 23:45:00 | 2.076 | 255.06 | 0.277 | 350.222 | 1.307 | 8.079 | 2.983 | 7 | 28.606 | 889.767 | 18.311 | 0.25438