## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-04 00:00:00 | 2.38 | 244.127 | 0.253 | 306.02 | 0.566 | 8 | 1.817 | 7 | 27.952 | 889.233 | 18.843 | 0.23591
2019-08-04 00:15:00 | 4.47 | 228.373 | 1.896 | 249.67 | 0.033 | 74.933 | 1.545 | 4.267 | 26.714 | 889.733 | 19.68 | 0.21601
2019-08-04 00:30:00 | 4.663 | 230.233 | 2.092 | 238.126 | 0 | 288 | 1.245 | 0.134 | 25.373 | 889.367 | 21.019 | 0.19114
2019-08-04 00:45:00 | 5.665 | 229.773 | 3.012 | 244.278 | 1.721 | 274.8 | 1.435 | 99 | 24.56 | 889.933 | 21.499 | 3.3766
2019-08-04 01:00:00 | 1.734 | 216.82 | 0.646 | 178.576 | 1.071 | 72.769 | 1.992 | 104.233 | 24.102 | 889.55 | 22.235 | 8.5318
2019-08-04 01:15:00 | 2.95 | 116.447 | 3.962 | 107.211 | 4.472 | 109.933 | 4.95 | 106 | 26.923 | 889.417 | 20.571 | 8.5105
2019-08-04 01:30:00 | 1.626 | 154.473 | 1.83 | 124.075 | 2.611 | 124.567 | 3.378 | 121.433 | 27.039 | 889.267 | 19.781 | 6.0988
2019-08-04 01:45:00 | 2.197 | 219.007 | 1.093 | 164.366 | 1.732 | 137.4 | 2.766 | 121.367 | 26.189 | 889.75 | 20.512 | 4.5704
2019-08-04 02:00:00 | 2.42 | 230.093 | 1.402 | 195.87 | 1.113 | 170.8 | 1.925 | 141.933 | 25.839 | 890.267 | 20.96 | 1.7046
2019-08-04 02:15:00 | 1.644 | 210.8 | 1.256 | 175.535 | 1.578 | 158.9 | 2.345 | 141.533 | 25.798 | 889.567 | 20.656 | 0.20606
2019-08-04 02:30:00 | 3.264 | 229.293 | 1.182 | 198.679 | 1.136 | 161.2 | 2.375 | 145.267 | 24.685 | 889.55 | 21.749 | 0.59972
2019-08-04 02:45:00 | 2.591 | 211.48 | 1.897 | 164.53 | 2.47 | 140.567 | 3.881 | 122.6 | 24.931 | 889.517 | 21.611 | 0.62459
2019-08-04 03:00:00 | 2.411 | 167.24 | 3.405 | 121.362 | 3.904 | 120.333 | 4.351 | 115.6 | 24.764 | 889.517 | 21.328 | 0.10516
2019-08-04 03:15:00 | 1.115 | 249.387 | 0.326 | 129.986 | 0.593 | 99.017 | 1.371 | 109.133 | 24.202 | 889.633 | 21.952 | 0.27996
2019-08-04 03:30:00 | 3.847 | 232.707 | 0 | 212.421 | 0 | 99 | 1.138 | 116.033 | 20.998 | 889.667 | 25.381 | 0.19043
2019-08-04 03:45:00 | 3.053 | 223.773 | 0.68 | 185.756 | 0.25 | 142 | 2.102 | 118.067 | 22.964 | 889.783 | 24.261 | 0.1748
2019-08-04 04:00:00 | 5.208 | 216.38 | 2.038 | 184.566 | 1.616 | 145.467 | 2.512 | 111 | 22.831 | 890.217 | 24.043 | 0.17054
2019-08-04 04:15:00 | 5.52 | 224.133 | 2.179 | 207.234 | 0.34 | 148.867 | 0.843 | 123 | 20.664 | 889.333 | 26.48 | 0.1748
2019-08-04 04:30:00 | 6.308 | 225.087 | 3.887 | 226.018 | 1.577 | 219.733 | 0.208 | 136.833 | 19.644 | 889.183 | 27.835 | 0.10374
2019-08-04 04:45:00 | 6.159 | 228.693 | 5.964 | 238.234 | 3.727 | 239.767 | 2.097 | 217.5 | 20.118 | 889.533 | 28.128 | 0.81502
2019-08-04 05:00:00 | 6.278 | 225.047 | 5.65 | 234.342 | 4.138 | 241.867 | 2.651 | 235.6 | 19.698 | 889.783 | 28.763 | 2.1488
2019-08-04 05:15:00 | 6.158 | 222.067 | 5.084 | 231.918 | 3.737 | 238.2 | 2.455 | 229.9 | 19.756 | 889.533 | 28.709 | 1.888
2019-08-04 05:30:00 | 5.878 | 221.76 | 4.785 | 231.829 | 3.186 | 236.433 | 1.958 | 226.767 | 20.068 | 889.417 | 28.539 | 6.798
2019-08-04 05:45:00 | 6.269 | 224.433 | 7.095 | 229.212 | 5.774 | 239.2 | 4.466 | 236.833 | 19.927 | 889.583 | 28.379 | 5.8231
2019-08-04 06:00:00 | 5.935 | 220.013 | 6.259 | 224.253 | 5.268 | 233.033 | 4.022 | 229.433 | 19.477 | 889.383 | 28.144 | 5.6675
2019-08-04 06:15:00 | 5.556 | 222.213 | 6.423 | 227.38 | 5.642 | 238 | 4.81 | 237.933 | 19.714 | 889.617 | 28.571 | 6.2523
2019-08-04 06:30:00 | 5.794 | 219.64 | 5.445 | 229.426 | 4.921 | 240.067 | 4.252 | 238 | 19.581 | 889.7 | 29.115 | 7.9328
2019-08-04 06:45:00 | 5.779 | 221.5 | 5.745 | 230.902 | 5.021 | 242.333 | 4.399 | 242.933 | 19.198 | 889.967 | 29.525 | 5.7968
2019-08-04 07:00:00 | 5.125 | 219.113 | 5.915 | 223.076 | 5.092 | 235.733 | 4.249 | 237.5 | 19.344 | 889.8 | 29.525 | 4.4972
2019-08-04 07:15:00 | 5.41 | 217.84 | 5.606 | 221.494 | 4.557 | 232.867 | 3.921 | 235.067 | 20.164 | 889.633 | 28.363 | 6.5017
2019-08-04 07:30:00 | 5.448 | 218.393 | 6.359 | 221.974 | 5.503 | 231.233 | 4.698 | 230.3 | 20.902 | 889.683 | 27.12 | 7.0538
2019-08-04 07:45:00 | 5.188 | 218.567 | 6.012 | 220.14 | 5.412 | 228.467 | 4.952 | 227.933 | 21.956 | 889.283 | 25.552 | 8.05
2019-08-04 08:00:00 | 4.849 | 220 | 5.856 | 221.672 | 5.289 | 230.833 | 4.876 | 229.133 | 22.964 | 890.017 | 24.032 | 8.3982
2019-08-04 08:15:00 | 4.244 | 215.187 | 5.218 | 216.178 | 5.335 | 223.733 | 5.126 | 221.333 | 24.198 | 889.85 | 22.677 | 6.15
2019-08-04 08:30:00 | 3.72 | 217.173 | 4.167 | 214.712 | 4.918 | 220.9 | 5.247 | 216.867 | 25.677 | 889.567 | 21.675 | 2.0216
2019-08-04 08:45:00 | 3.384 | 217.94 | 3.278 | 214.367 | 3.42 | 219 | 3.849 | 216.667 | 27.089 | 889.35 | 20.397 | 1.0779
2019-08-04 09:00:00 | 3.293 | 226.587 | 3.131 | 226.284 | 3.142 | 233.233 | 3.312 | 228.167 | 28.056 | 889.533 | 18.619 | 1.6656
2019-08-04 09:15:00 | 3.037 | 237.107 | 3.147 | 232.7 | 3.26 | 237.35 | 3.323 | 234.467 | 28.81 | 889.1 | 17.429 | 1.8389
2019-08-04 09:30:00 | 3.416 | 229.373 | 3.314 | 226.304 | 3.477 | 233.933 | 3.611 | 227.2 | 29.198 | 889.433 | 16.851 | 0.27712
2019-08-04 09:45:00 | 2.03 | 245.913 | 1.897 | 241.306 | 2.033 | 244.033 | 2.583 | 241.333 | 30.268 | 889.433 | 16.556 | 0.28423
2019-08-04 10:00:00 | 1.094 | 193.527 | 0.702 | 206.973 | 0.942 | 214.9 | 1.875 | 214.8 | 30.86 | 889.533 | 15.579 | 0.20891
2019-08-04 10:15:00 | 2.18 | 204.14 | 1.874 | 207.832 | 1.824 | 219.033 | 2.36 | 217.367 | 31.172 | 889.667 | 15.056 | 0.18333
2019-08-04 10:30:00 | 1.32 | 245.653 | 1.28 | 218.978 | 1.24 | 220.933 | 2.126 | 222.267 | 32.261 | 889.167 | 14.731 | 0.18048
2019-08-04 10:45:00 | 0.376 | 75.531 | 0.136 | 96.908 | 0 | 163.767 | 0.302 | 176.5 | 31.979 | 889.667 | 14.995 | 0.19754
2019-08-04 11:00:00 | 2.603 | 77.397 | 2.473 | 80.501 | 2.63 | 97.333 | 2.876 | 94.633 | 31.752 | 889.667 | 15.301 | 0.69351
2019-08-04 11:15:00 | 2.74 | 91.452 | 2.841 | 81.597 | 2.797 | 85.367 | 3.13 | 83.967 | 31.068 | 889.733 | 15.877 | 1.198
2019-08-04 11:30:00 | 3.566 | 94.787 | 3.8 | 91.265 | 3.839 | 98.833 | 3.9 | 94.967 | 31.223 | 889.8 | 16.872 | 1.564
2019-08-04 11:45:00 | 2.614 | 131.455 | 2.774 | 128.496 | 2.939 | 132.567 | 3.47 | 132.667 | 31.769 | 889.4 | 16.285 | 2.2752
2019-08-04 12:00:00 | 3.106 | 56.207 | 3.46 | 38.856 | 3.743 | 46.636 | 3.967 | 52 | 31.924 | 889.833 | 15.896 | 1.8851
2019-08-04 12:15:00 | 3.68 | 87.395 | 3.666 | 79.224 | 3.584 | 85.8 | 3.748 | 84.633 | 32.846 | 889.567 | 15.432 | 1.4503
2019-08-04 12:30:00 | 4.385 | 131.267 | 4.57 | 123.031 | 4.472 | 123.2 | 4.681 | 117.5 | 32.304 | 889.1 | 15.752 | 1.5412
2019-08-04 12:45:00 | 3.861 | 32.231 | 3.727 | 32.475 | 3.556 | 38.9 | 3.873 | 36.5 | 32.35 | 889.367 | 15.467 | 1.3337
2019-08-04 13:00:00 | 2.504 | 31.74 | 2.313 | 67.078 | 2.325 | 10.334 | 2.578 | 16.5 | 31.969 | 889.4 | 15.517 | 1.0765
2019-08-04 13:15:00 | 2.63 | 136.133 | 2.557 | 133.089 | 2.29 | 131.133 | 2.263 | 117.5 | 32.83 | 889.567 | 15.059 | 1.6258
2019-08-04 13:30:00 | 4.328 | 46.162 | 4.027 | 35.929 | 3.979 | 40.6 | 3.929 | 41.133 | 32.908 | 889.5 | 15.195 | 1.4545
2019-08-04 13:45:00 | 4.188 | 41.418 | 4.274 | 30.375 | 4.75 | 38.267 | 5.207 | 35.4 | 32.73 | 889.2 | 14.899 | 1.576
2019-08-04 14:00:00 | 2.51 | 214.167 | 2.546 | 225.945 | 3.122 | 249.205 | 3.202 | 214.8 | 33.313 | 889.633 | 14.279 | 2.9957
2019-08-04 14:15:00 | 3.904 | 47.964 | 3.982 | 42.572 | 4.002 | 32.867 | 4.419 | 40.367 | 33.563 | 889.3 | 13.972 | 2.3172
2019-08-04 14:30:00 | 3.024 | 123.932 | 3.344 | 111.836 | 3.225 | 90.767 | 3.55 | 73.633 | 33.788 | 889.733 | 13.541 | 1.014
2019-08-04 14:45:00 | 3.939 | 79.393 | 4.021 | 77.233 | 4.25 | 86.967 | 4.513 | 75.7 | 34.271 | 889.5 | 13.963 | 0.93297
2019-08-04 15:00:00 | 3.589 | 78.46 | 3.682 | 75.347 | 3.586 | 76.3 | 3.81 | 68.533 | 33.413 | 889.9 | 13.989 | 0.90171
2019-08-04 15:15:00 | 3.89 | 40.484 | 3.699 | 29.892 | 3.82 | 39.433 | 4.065 | 36.833 | 33.48 | 889.533 | 13.584 | 3.2345
2019-08-04 15:30:00 | 2.892 | 101.77 | 2.431 | 103.947 | 2.321 | 108.233 | 2.375 | 101.8 | 33.805 | 889.2 | 13.696 | 3.486
2019-08-04 15:45:00 | 2.147 | 75.724 | 2.989 | 52.104 | 3.092 | 62.233 | 3.684 | 29.471 | 34.071 | 889.433 | 12.891 | 2.067
2019-08-04 16:00:00 | 5.453 | 39.573 | 5.422 | 35.407 | 5.524 | 44.133 | 5.549 | 37.867 | 33.846 | 889.467 | 12.795 | 1.608
2019-08-04 16:15:00 | 2.132 | 110.083 | 1.893 | 111.518 | 1.931 | 117.433 | 1.999 | 111.433 | 33.788 | 889.633 | 13.155 | 0.45547
2019-08-04 16:30:00 | 3.202 | 216.76 | 2.865 | 196.696 | 3.361 | 200.817 | 3.726 | 194.967 | 34.013 | 890.033 | 12.875 | 1.662
2019-08-04 16:45:00 | 4.929 | 34.717 | 5.141 | 30.489 | 5.085 | 32.7 | 5.184 | 26.967 | 34.43 | 889.333 | 12.944 | 3.1755
2019-08-04 17:00:00 | 2.932 | 73.272 | 2.397 | 79.665 | 2.449 | 74.567 | 2.62 | 66.1 | 33.896 | 889.6 | 12.813 | 1.2797
2019-08-04 17:15:00 | 3.898 | 68.125 | 4.267 | 64.959 | 4.453 | 67.9 | 4.366 | 63 | 34.596 | 889.133 | 12.411 | 0.18901
2019-08-04 17:30:00 | 3.144 | 86.193 | 3.148 | 77.295 | 3.21 | 83.967 | 3.237 | 75.3 | 34.163 | 889.667 | 12.184 | 4.3892
2019-08-04 17:45:00 | 3.296 | 19.4 | 3.387 | 26.491 | 3.443 | 35.533 | 3.527 | 31.867 | 34.821 | 889.467 | 11.469 | 4.5284
2019-08-04 18:00:00 | 3.045 | 55.699 | 2.87 | 61.596 | 3.84 | 63.433 | 4.106 | 55.667 | 34.388 | 889.467 | 11.952 | 4.8681
2019-08-04 18:15:00 | 3.98 | 17.207 | 4.308 | 22.753 | 4.646 | 22.3 | 4.826 | 23.767 | 34.321 | 889.5 | 11.696 | 4.1788
2019-08-04 18:30:00 | 4.257 | 63.253 | 4.317 | 59.134 | 4.56 | 66.933 | 4.915 | 62.367 | 34.638 | 889.7 | 11.507 | 0.72407
2019-08-04 18:45:00 | 1.305 | 107.109 | 1.507 | 117.498 | 1.831 | 114.6 | 2.207 | 113.3 | 34.638 | 889.867 | 11.697 | 0.55424
2019-08-04 19:00:00 | 3.177 | 85.66 | 3.048 | 61.072 | 3.247 | 57.233 | 3.311 | 44.567 | 35.355 | 889.133 | 11.168 | 2.5083
2019-08-04 19:15:00 | 5.332 | 59.548 | 5.412 | 53.532 | 5.579 | 56.1 | 5.489 | 56.5 | 34.605 | 888.967 | 11.48 | 1.0083
2019-08-04 19:30:00 | 3.072 | 55.853 | 3.253 | 51.602 | 3.303 | 56.767 | 3.326 | 52.767 | 34.455 | 889.833 | 11.701 | 0.32757
2019-08-04 19:45:00 | 0.619 | 209.158 | 0.157 | 195.538 | 0.07 | 75.708 | 0.678 | 120.8 | 34.905 | 889.633 | 11.637 | 0.22241
2019-08-04 20:00:00 | 3.712 | 324.88 | 3.973 | 331.916 | 4.204 | 336.433 | 4.28 | 335.167 | 33.896 | 889.933 | 12.339 | 0.79228
2019-08-04 20:15:00 | 3.241 | 345.027 | 3.09 | 338.825 | 3.068 | 342.1 | 3.131 | 339.733 | 33.363 | 889.3 | 12.583 | 0.18119
2019-08-04 20:30:00 | 2.001 | 329.253 | 1.504 | 327.796 | 1.682 | 330.4 | 2.205 | 334.5 | 33.496 | 889.233 | 12.965 | 0.2153
2019-08-04 20:45:00 | 2.649 | 102.396 | 2.33 | 207.376 | 2.308 | 115.367 | 2.87 | 151.267 | 33.446 | 889.267 | 12.932 | 0.1073
2019-08-04 21:00:00 | 2.893 | 18.789 | 3.242 | 2.773 | 3.333 | 3.667 | 3.771 | 14.833 | 33.546 | 889.633 | 12.656 | 0.23662
2019-08-04 21:15:00 | 3.039 | 18.791 | 3.227 | 11.497 | 3.372 | 10.867 | 3.496 | 9.467 | 32.93 | 889.133 | 12.749 | 0.093084
2019-08-04 21:30:00 | 1.845 | 7.045 | 2.358 | 1.071 | 2.888 | 1.067 | 2.975 | 0.867 | 32.383 | 889.367 | 13.285 | 0.053293
2019-08-04 21:45:00 | 2.046 | 0 | 2.325 | 1.538 | 2.942 | 8 | 2.902 | 5.9 | 31.73 | 889.533 | 13.795 | 0.23378
2019-08-04 22:00:00 | 1.813 | 0 | 2.724 | 6.018 | 3.758 | 8.067 | 3.266 | 6.933 | 31.802 | 889.2 | 13.688 | 0.48745
2019-08-04 22:15:00 | 1.537 | 288.613 | 2.64 | 10.826 | 3.302 | 16.702 | 3.344 | 12.9 | 31.073 | 889.833 | 14.035 | 0.19541
2019-08-04 22:30:00 | 0 | 355.4 | 1.834 | 26.602 | 2.367 | 34.125 | 2.861 | 25 | 30.777 | 889.767 | 14.403 | 0.26717
2019-08-04 22:45:00 | 0 | 355.28 | 1.172 | 24.793 | 1.817 | 25.596 | 2.48 | 24.967 | 30.264 | 889.633 | 15.16 | 0.2757
2019-08-04 23:00:00 | 0 | 354.32 | 0.04 | 20.062 | 1.481 | 34.125 | 2.253 | 25 | 29.564 | 889.433 | 15.803 | 0.23875
2019-08-04 23:15:00 | 1.004 | 282.413 | 0.027 | 18.801 | 1.497 | 32.944 | 2.395 | 25 | 29.598 | 889.467 | 16.152 | 0.18333
2019-08-04 23:30:00 | 0 | 282.853 | 0 | 18.063 | 0.857 | 32.162 | 1.635 | 25 | 29.831 | 889.667 | 15.776 | 0.17196
2019-08-04 23:45:00 | 1.82 | 245.113 | 0 | 18.057 | 0 | 32.021 | 1.131 | 25 | 29.231 | 889.467 | 16.312 | 0.17054