## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-05 00:00:00 | 2.301 | 235 | 0 | 18.056 | 0 | 32 | 1.044 | 25.133 | 29.031 | 889.767 | 16.387 | 0.17054
2019-08-05 00:15:00 | 2.826 | 218.747 | 0 | 18.071 | 0 | 32 | 0.954 | 25 | 29.364 | 889.7 | 16.445 | 0.17054
2019-08-05 00:30:00 | 4.303 | 211.433 | 2.105 | 169.668 | 0.514 | 83 | 0 | 25 | 28.385 | 889.433 | 16.539 | 0.17622
2019-08-05 00:45:00 | 5.488 | 213.047 | 3.297 | 199.42 | 2.417 | 196.033 | 1.647 | 164 | 25.235 | 889.2 | 19.16 | 0.17338
2019-08-05 01:00:00 | 5.817 | 220.593 | 3.113 | 209.72 | 2.093 | 196 | 1.566 | 165 | 26.431 | 889.267 | 18.541 | 0.19896
2019-08-05 01:15:00 | 5.884 | 221.02 | 3.666 | 213.351 | 2.566 | 206.367 | 1.811 | 165.033 | 24.944 | 889.133 | 19.912 | 0.17977
2019-08-05 01:30:00 | 6.322 | 222.547 | 4.785 | 213.971 | 3.846 | 212.8 | 3.065 | 193.8 | 24.185 | 889.933 | 20.483 | 3.7781
2019-08-05 01:45:00 | 6.503 | 233.2 | 7.649 | 234.908 | 6.993 | 236.4 | 5.749 | 222.933 | 24.073 | 889.65 | 20.501 | 15.69
2019-08-05 02:00:00 | 6.403 | 225.833 | 6.796 | 236.956 | 6.255 | 244.6 | 5.911 | 234.467 | 23.952 | 889.467 | 20.971 | 22.7836
2019-08-05 02:15:00 | 6.846 | 230.22 | 7.679 | 234.912 | 7.066 | 245.2 | 6.432 | 243.433 | 24.877 | 889.467 | 20.587 | 22.4297
2019-08-05 02:30:00 | 6.284 | 226.58 | 7.366 | 232.456 | 6.906 | 243.033 | 6.336 | 243.6 | 24.656 | 889.633 | 20.208 | 25.5832
2019-08-05 02:45:00 | 5.075 | 236.08 | 7.25 | 247.754 | 7.492 | 261.2 | 7.285 | 261.6 | 24.944 | 890.4 | 20.779 | 17.8061
2019-08-05 03:00:00 | 5.195 | 245.167 | 6.427 | 255.219 | 6.457 | 267.733 | 6.849 | 265.6 | 25.46 | 889.4 | 21.309 | 10.3594
2019-08-05 03:15:00 | 4.342 | 249.7 | 5.608 | 262.359 | 5.85 | 271.2 | 6.204 | 268.567 | 25.023 | 889.933 | 22.699 | 5.6312
2019-08-05 03:30:00 | 3.89 | 245.533 | 4.633 | 261.429 | 5.032 | 272 | 5.404 | 271.667 | 25.139 | 890.267 | 25.363 | 6.1912
2019-08-05 03:45:00 | 3.567 | 219.847 | 4.394 | 249.449 | 4.608 | 264.733 | 5.165 | 263.4 | 23.823 | 890.25 | 27.717 | 7.1767
2019-08-05 04:00:00 | 5.471 | 207 | 5.744 | 214.468 | 4.614 | 228.367 | 3.916 | 240.733 | 23.456 | 890.133 | 29.333 | 6.9977
2019-08-05 04:15:00 | 4.974 | 211.727 | 5.852 | 219.481 | 5.538 | 229.267 | 4.845 | 230.667 | 23.681 | 890.233 | 27.883 | 12.4307
2019-08-05 04:30:00 | 4.999 | 212.373 | 6.3 | 217.416 | 5.828 | 223.1 | 5.222 | 220.267 | 23.031 | 889.283 | 28.432 | 17.0458
2019-08-05 04:45:00 | 5.325 | 217.06 | 6.71 | 221.755 | 6.442 | 229.667 | 6.424 | 227.7 | 22.848 | 890.133 | 29.472 | 11.7656
2019-08-05 05:00:00 | 4.966 | 215.18 | 6.024 | 221.253 | 5.744 | 231.833 | 5.532 | 230.5 | 22.814 | 889.583 | 29.664 | 8.8984
2019-08-05 05:15:00 | 4.767 | 217.36 | 5.621 | 226.832 | 5.411 | 236.8 | 5.152 | 235.1 | 22.731 | 889.617 | 30.453 | 14.0067
2019-08-05 05:30:00 | 5.626 | 213.867 | 6.657 | 222.529 | 6.184 | 232.667 | 5.754 | 229.7 | 22.481 | 889.333 | 31.44 | 19.9008
2019-08-05 05:45:00 | 5.006 | 223.233 | 7.02 | 227.478 | 6.875 | 237.6 | 6.599 | 235.4 | 22.481 | 889.75 | 31.344 | 17.6533
2019-08-05 06:00:00 | 5.738 | 224.18 | 6.648 | 229.668 | 6.53 | 238.933 | 6.192 | 237.5 | 22.981 | 889.633 | 31.216 | 13.9925
2019-08-05 06:15:00 | 5.338 | 217.96 | 6.47 | 227.194 | 6.135 | 239.133 | 5.691 | 238 | 22.831 | 889.817 | 31.435 | 14.9446
2019-08-05 06:30:00 | 5.446 | 217.013 | 6.456 | 222.933 | 6.328 | 233.033 | 5.88 | 230.3 | 22.631 | 889.967 | 31.531 | 15.1457
2019-08-05 06:45:00 | 5.746 | 222.36 | 6.581 | 227.383 | 6.317 | 238.1 | 5.893 | 237.133 | 23.098 | 889.75 | 31.237 | 13.2528
2019-08-05 07:00:00 | 5.355 | 226.233 | 6.347 | 230.14 | 6.186 | 240.033 | 5.922 | 238.4 | 23.464 | 889.983 | 30.635 | 14.5552
2019-08-05 07:15:00 | 4.64 | 221.46 | 6.148 | 228.076 | 5.973 | 240.667 | 5.761 | 238.8 | 24.11 | 889.883 | 29.467 | 15.1685
2019-08-05 07:30:00 | 4.699 | 224.833 | 5.858 | 228.928 | 5.924 | 241.267 | 5.724 | 238.767 | 24.648 | 889.533 | 28.453 | 19.0574
2019-08-05 07:45:00 | 4.765 | 229.047 | 6.198 | 230.032 | 6.178 | 238.367 | 5.984 | 235.467 | 24.677 | 889.55 | 28.645 | 19.9577
2019-08-05 08:00:00 | 4.853 | 220.14 | 5.814 | 223.231 | 6.546 | 231.067 | 6.591 | 228.4 | 26.444 | 889.9 | 26.389 | 10.1455
2019-08-05 08:15:00 | 3.846 | 238.28 | 3.931 | 238.358 | 4.143 | 244.367 | 4.461 | 242.1 | 28.752 | 889.9 | 23.925 | 7.0311
2019-08-05 08:30:00 | 4.099 | 261.153 | 4.319 | 261.378 | 4.396 | 266.867 | 4.56 | 266.117 | 29.598 | 890.05 | 22.725 | 8.3278
2019-08-05 08:45:00 | 4.592 | 281.8 | 4.8 | 284.691 | 4.896 | 288.533 | 4.913 | 284.967 | 29.131 | 889.6 | 23.653 | 9.344
2019-08-05 09:00:00 | 5.78 | 303.453 | 6.038 | 301.998 | 6.176 | 306.6 | 6.638 | 305 | 28.51 | 889.783 | 24.451 | 9.9394
2019-08-05 09:15:00 | 4.702 | 311.533 | 4.814 | 307.059 | 5.161 | 313.6 | 5.537 | 313.567 | 28.523 | 889.633 | 24.152 | 12.8001
2019-08-05 09:30:00 | 4.903 | 330.56 | 5.124 | 323.678 | 5.425 | 328.467 | 5.676 | 325.167 | 29.114 | 889.733 | 23.045 | 10.586
2019-08-05 09:45:00 | 4.795 | 335.987 | 4.96 | 330.08 | 5.032 | 335.767 | 5.181 | 335.533 | 29.531 | 889.567 | 22.424 | 7.4446
2019-08-05 10:00:00 | 4.212 | 318.08 | 4.415 | 312.426 | 4.363 | 314.967 | 4.538 | 312.333 | 29.998 | 889.933 | 21.381 | 7.1177
2019-08-05 10:15:00 | 4.988 | 263.593 | 5.114 | 260.601 | 5.196 | 264.15 | 5.157 | 258.867 | 30.168 | 889.633 | 21.509 | 5.0258
2019-08-05 10:30:00 | 4.484 | 273.247 | 4.641 | 268.555 | 4.848 | 273.9 | 4.89 | 269.9 | 30.664 | 889.433 | 21.051 | 8.3506
2019-08-05 10:45:00 | 4.468 | 325.4 | 4.542 | 314.091 | 4.769 | 319.333 | 4.993 | 318.7 | 30.61 | 889.667 | 21.669 | 3.3098
2019-08-05 11:00:00 | 2.886 | 315.533 | 3.018 | 309.733 | 3.284 | 316.567 | 3.791 | 316.867 | 30.164 | 889.767 | 21.093 | 0.71057
2019-08-05 11:15:00 | 2.584 | 291.027 | 2.626 | 285.4 | 2.758 | 301.033 | 3.39 | 291.167 | 31.14 | 889.333 | 19.856 | 1.1852
2019-08-05 11:30:00 | 4.274 | 242.067 | 4.672 | 239.156 | 4.933 | 242.967 | 4.946 | 233.35 | 32.813 | 889.4 | 18.603 | 0.75818
2019-08-05 11:45:00 | 1.012 | 248.55 | 0.927 | 274.302 | 0.96 | 273.55 | 1.577 | 286.333 | 33.196 | 889.633 | 16.837 | 0.16769
2019-08-05 12:00:00 | 3.473 | 235.98 | 3.69 | 230.306 | 3.98 | 238.65 | 4.272 | 232.617 | 33.696 | 889.5 | 15.745 | 0.78944
2019-08-05 12:15:00 | 2.348 | 134.723 | 1.936 | 145.751 | 1.863 | 146.6 | 1.75 | 142.767 | 33.83 | 889.267 | 16.067 | 5.0202
2019-08-05 12:30:00 | 5.486 | 232.353 | 5.532 | 232.256 | 5.672 | 238.9 | 5.72 | 232.05 | 34.246 | 889.3 | 14.868 | 10.699
2019-08-05 12:45:00 | 5.064 | 216.16 | 5.559 | 212.423 | 5.827 | 215.2 | 5.976 | 210.533 | 33.213 | 889.567 | 15.233 | 7.8859
2019-08-05 13:00:00 | 3.645 | 196.047 | 3.832 | 199.968 | 4.084 | 209.4 | 4.491 | 203.967 | 32.963 | 889.333 | 15.683 | 2.3747
2019-08-05 13:15:00 | 4.546 | 186.793 | 4.817 | 188.034 | 5.044 | 194.267 | 5.407 | 192.6 | 33.046 | 889.733 | 15.301 | 0.56064
2019-08-05 13:30:00 | 3.993 | 268.52 | 4.259 | 268.247 | 4.487 | 272.967 | 4.564 | 265.2 | 33.396 | 889.6 | 15.501 | 11.1147
2019-08-05 13:45:00 | 7.042 | 262.053 | 7.459 | 260.222 | 7.446 | 266.45 | 7.476 | 260.617 | 33.013 | 889.367 | 17.317 | 9.4321
2019-08-05 14:00:00 | 5.09 | 263.907 | 5.172 | 262.438 | 5.435 | 268.867 | 5.613 | 263.883 | 32.98 | 889.3 | 16.947 | 2.9794
2019-08-05 14:15:00 | 4.052 | 312.36 | 3.929 | 303.698 | 4.284 | 306.867 | 4.562 | 295.517 | 31.903 | 889.467 | 16.772 | 0.6523
2019-08-05 14:30:00 | 2.502 | 337.04 | 2.131 | 335.264 | 2.204 | 327.633 | 2.681 | 284.267 | 33.002 | 889.333 | 15.628 | 0.21743
2019-08-05 14:45:00 | 2.486 | 319.013 | 2.423 | 308.764 | 2.68 | 317.7 | 3.208 | 285.333 | 32.731 | 889.367 | 16.153 | 0.96069
2019-08-05 15:00:00 | 4.294 | 228.647 | 4.222 | 229.199 | 4.479 | 234.533 | 4.854 | 231.767 | 32.896 | 889.567 | 16.656 | 2.8785
2019-08-05 15:15:00 | 3.062 | 280.493 | 2.97 | 275.15 | 3.175 | 285.5 | 3.558 | 286.267 | 33.163 | 889.6 | 17.208 | 5.8295
2019-08-05 15:30:00 | 3.705 | 265.533 | 3.916 | 271.576 | 3.977 | 277.033 | 3.97 | 274.617 | 32.98 | 889.6 | 17.773 | 6.6047
2019-08-05 15:45:00 | 4.508 | 250.233 | 4.726 | 249.874 | 4.929 | 253.567 | 5.224 | 246.733 | 32.73 | 889.3 | 17.847 | 10.2563
2019-08-05 16:00:00 | 2.59 | 257.073 | 2.45 | 256.383 | 2.75 | 260.6 | 3.462 | 257.233 | 32.531 | 889.367 | 17.961 | 6.545
2019-08-05 16:15:00 | 3.434 | 213.567 | 3.497 | 215.212 | 3.633 | 218.9 | 4.052 | 213.167 | 32.946 | 889.633 | 17.581 | 5.1168
2019-08-05 16:30:00 | 4.228 | 217.733 | 4.334 | 215.235 | 4.568 | 217.633 | 4.884 | 211.7 | 33.296 | 889.633 | 17.413 | 9.0391
2019-08-05 16:45:00 | 5.485 | 270.067 | 5.842 | 265.949 | 5.743 | 270.267 | 6.03 | 266.667 | 32.371 | 889.4 | 18.461 | 9.1883
2019-08-05 17:00:00 | 5.588 | 258.16 | 5.927 | 255.898 | 5.834 | 259.917 | 5.96 | 253.633 | 32.416 | 889.367 | 19.34 | 45.72
2019-08-05 17:15:00 | 9.557 | 275.72 | 10.305 | 271.263 | 10.484 | 275.1 | 10.274 | 271.033 | 30.998 | 889.95 | 23.261 | 46.2295
2019-08-05 17:30:00 | 8.127 | 265.82 | 9.176 | 263.831 | 9.364 | 268.4 | 9.615 | 263.85 | 30.706 | 889.983 | 24.053 | 31.5527
2019-08-05 17:45:00 | 7.133 | 277.693 | 7.657 | 276.582 | 7.545 | 280.833 | 7.721 | 277.5 | 31.106 | 889.65 | 23.389 | 19.8049
2019-08-05 18:00:00 | 6.109 | 263.107 | 6.296 | 262.703 | 6.473 | 268.133 | 6.703 | 264.667 | 31.386 | 890.133 | 21.829 | 14.7507
2019-08-05 18:15:00 | 6.412 | 276.947 | 6.603 | 275.054 | 6.758 | 277.9 | 6.796 | 271.767 | 32.438 | 889.233 | 19.768 | 11.335
2019-08-05 18:30:00 | 5.944 | 270.007 | 6.306 | 270.644 | 6.238 | 274.467 | 6.404 | 271.35 | 33.146 | 889.5 | 19.069 | 10.4496
2019-08-05 18:45:00 | 4.222 | 277.233 | 4.302 | 276.275 | 4.462 | 281.2 | 4.825 | 276.433 | 32.908 | 889.367 | 19.508 | 9.4733
2019-08-05 19:00:00 | 3.987 | 243.473 | 4.408 | 242.648 | 4.718 | 247.117 | 4.92 | 241.8 | 33.13 | 889.6 | 18.663 | 5.5332
2019-08-05 19:15:00 | 3.796 | 244.94 | 3.949 | 238.525 | 4.02 | 244.233 | 4.26 | 237.667 | 32.179 | 889.5 | 19.679 | 3.4157
2019-08-05 19:30:00 | 3.042 | 253.007 | 2.951 | 252.379 | 3.13 | 259.667 | 3.484 | 258.067 | 32.426 | 889.033 | 19.989 | 1.9306
2019-08-05 19:45:00 | 2.835 | 285.153 | 2.758 | 274.642 | 2.949 | 277.5 | 3.292 | 275.25 | 32.542 | 890.25 | 20.736 | 2.082
2019-08-05 20:00:00 | 3.048 | 307.44 | 3.052 | 321.869 | 3.151 | 321.333 | 3.515 | 317.767 | 31.929 | 889.85 | 21.459 | 1.2193
2019-08-05 20:15:00 | 2.661 | 307.92 | 2.469 | 301.03 | 2.687 | 301.567 | 3.379 | 295.233 | 31.824 | 889.733 | 21.616 | 1.262
2019-08-05 20:30:00 | 2.554 | 268.847 | 2.736 | 265.394 | 2.794 | 272.367 | 3.376 | 262.933 | 31.829 | 889.617 | 21.763 | 1.0168
2019-08-05 20:45:00 | 3.086 | 255.6 | 3.508 | 255.376 | 3.461 | 260.333 | 3.772 | 256.467 | 31.025 | 889.75 | 21.891 | 1.5441
2019-08-05 21:00:00 | 2.619 | 254.02 | 2.89 | 248.092 | 3.011 | 251.7 | 3.284 | 246.633 | 31.168 | 889.9 | 22.421 | 2.6305
2019-08-05 21:15:00 | 3.535 | 228.493 | 3.748 | 226.894 | 3.846 | 231.333 | 4.106 | 226.033 | 30.627 | 889.65 | 22.981 | 4.4645
2019-08-05 21:30:00 | 3.278 | 234.473 | 4.037 | 233.591 | 4.23 | 239.7 | 4.494 | 234.3 | 30.535 | 889.467 | 23.211 | 4.0701
2019-08-05 21:45:00 | 2.817 | 239.507 | 3.773 | 237.454 | 3.978 | 244.667 | 4.205 | 239.867 | 30.156 | 889.467 | 23.573 | 4.311
2019-08-05 22:00:00 | 3.154 | 238.827 | 3.732 | 244.931 | 3.747 | 254.2 | 3.878 | 253.583 | 30.014 | 889.7 | 24.075 | 5.4536
2019-08-05 22:15:00 | 3.636 | 235.647 | 4.132 | 240.678 | 4.046 | 250.867 | 4.1 | 251.017 | 29.498 | 889.6 | 24.485 | 5.2411
2019-08-05 22:30:00 | 3.854 | 223.533 | 4.346 | 226.952 | 4.181 | 238.2 | 4.229 | 237.433 | 29.614 | 889.233 | 24.795 | 6.1293
2019-08-05 22:45:00 | 4.296 | 218.007 | 4.678 | 227.207 | 4.388 | 236.4 | 4.334 | 235.433 | 28.802 | 889.517 | 25.376 | 8.3179
2019-08-05 23:00:00 | 4.032 | 220.453 | 4.817 | 227.063 | 4.735 | 233.667 | 4.608 | 228.1 | 28.531 | 889.55 | 26.117 | 16.9271
2019-08-05 23:15:00 | 4.804 | 212.793 | 6.345 | 213.847 | 6.3 | 220.267 | 6.019 | 217.833 | 27.748 | 889.867 | 26.469 | 22.0794
2019-08-05 23:30:00 | 5.993 | 219.56 | 7.472 | 215.8 | 7.775 | 218.033 | 7.73 | 212.4 | 27.864 | 889.367 | 26.149 | 19.6529
2019-08-05 23:45:00 | 5.013 | 223.367 | 6.774 | 219.753 | 7.14 | 221.9 | 7.294 | 215.233 | 28.085 | 889.95 | 26.389 | 24.236