## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-06 00:00:00 | 5.367 | 226.047 | 7.272 | 221.819 | 8.082 | 222.8 | 8.138 | 215.1 | 27.856 | 890.017 | 26.501 | 33.1621
2019-08-06 00:15:00 | 6.202 | 227.833 | 7.609 | 224.895 | 7.992 | 226.6 | 8.271 | 219.2 | 27.244 | 889.867 | 26.933 | 41.5959
2019-08-06 00:30:00 | 6.798 | 235.9 | 7.957 | 231.446 | 8.4 | 234.033 | 8.581 | 225.667 | 27.244 | 889.833 | 26.677 | 45.8614
2019-08-06 00:45:00 | 6.915 | 227.987 | 8.244 | 225.302 | 9.014 | 229.733 | 9.254 | 225.8 | 27.423 | 889.783 | 26.496 | 42.1934
2019-08-06 01:00:00 | 5.986 | 229.433 | 7.446 | 227.7 | 8.091 | 233.933 | 8.321 | 231.1 | 28.118 | 889.983 | 26.384 | 25.6536
2019-08-06 01:15:00 | 4.876 | 243.033 | 5.956 | 244.531 | 6.379 | 252.633 | 6.329 | 248.817 | 28.273 | 889.7 | 26.72 | 28.1129
2019-08-06 01:30:00 | 5.982 | 254.387 | 7.247 | 254.186 | 7.476 | 258.533 | 7.514 | 254.517 | 27.948 | 890.1 | 27.813 | 31.3374
2019-08-06 01:45:00 | 5.949 | 254.493 | 6.743 | 255.266 | 7.133 | 260.417 | 7.534 | 255.733 | 27.873 | 889.517 | 29.277 | 31.9684
2019-08-06 02:00:00 | 6.006 | 252.947 | 6.666 | 250.882 | 7.277 | 256.017 | 7.312 | 252.967 | 27.531 | 889.417 | 29.725 | 34.6657
2019-08-06 02:15:00 | 6.962 | 258.367 | 7.66 | 256.905 | 8.334 | 264.383 | 8.746 | 258.783 | 27.235 | 889.783 | 30.021 | 37.2863
2019-08-06 02:30:00 | 7.737 | 257.227 | 8.635 | 259.113 | 9.153 | 266.7 | 9.578 | 261.9 | 27.11 | 890.35 | 30.067 | 41.7771
2019-08-06 02:45:00 | 8.026 | 260.813 | 9.324 | 262.502 | 9.536 | 268.767 | 9.691 | 264.533 | 26.931 | 890.317 | 30.003 | 44.9114
2019-08-06 03:00:00 | 7.545 | 259.847 | 8.823 | 265.497 | 9.671 | 271.233 | 9.99 | 266.1 | 26.994 | 889.867 | 30.069 | 38.6648
2019-08-06 03:15:00 | 7.358 | 260.967 | 8.666 | 261.344 | 9.022 | 267.633 | 9.339 | 262.45 | 26.677 | 889.533 | 30.4 | 30.8116
2019-08-06 03:30:00 | 6.529 | 255.173 | 7.826 | 257.263 | 8.196 | 262.883 | 8.518 | 258.317 | 26.902 | 889.517 | 30.416 | 26.4231
2019-08-06 03:45:00 | 5.699 | 251.7 | 6.557 | 251.515 | 6.989 | 256.75 | 7.451 | 251.983 | 26.956 | 889.8 | 30.493 | 25.078
2019-08-06 04:00:00 | 6.543 | 246.48 | 7.352 | 246.969 | 7.834 | 253.067 | 8.213 | 250.567 | 26.681 | 889.85 | 31.072 | 30.7235
2019-08-06 04:15:00 | 6.342 | 256.62 | 7.567 | 263.138 | 8.272 | 267.8 | 8.599 | 263.883 | 26.889 | 889.6 | 31.091 | 49.0156
2019-08-06 04:30:00 | 9.216 | 249.613 | 10.737 | 246.264 | 10.93 | 252.583 | 10.856 | 249.283 | 26.127 | 889.283 | 31.952 | 60.8202
2019-08-06 04:45:00 | 8.713 | 230.633 | 9.812 | 229.218 | 10.531 | 235.8 | 10.521 | 230.333 | 25.898 | 889.533 | 33.493 | 71.176
2019-08-06 05:00:00 | 7.758 | 214.7 | 9.365 | 214.124 | 10.439 | 218.9 | 10.904 | 215.367 | 25.898 | 889.75 | 32.811 | 75.3485
2019-08-06 05:15:00 | 8.902 | 211.88 | 10.481 | 211.052 | 11.827 | 214.167 | 12.694 | 211.233 | 26.202 | 889.917 | 35.477 | 43.7531
2019-08-06 05:30:00 | 6.856 | 230.553 | 8.11 | 226.524 | 8.802 | 230.333 | 9.088 | 223.7 | 25.131 | 889.7 | 36.923 | 42.5111
2019-08-06 05:45:00 | 7.535 | 231.193 | 8.938 | 229.018 | 9.606 | 233.4 | 9.82 | 227.533 | 25.056 | 889.783 | 40.117 | 38.3606
2019-08-06 06:00:00 | 5.822 | 225.8 | 6.748 | 223.216 | 7.461 | 226.333 | 7.952 | 221.8 | 25.106 | 889.7 | 38.997 | 28.7779
2019-08-06 06:15:00 | 5.02 | 239.507 | 5.677 | 230.274 | 6.624 | 230.067 | 7.25 | 222.6 | 24.706 | 889.517 | 40.613 | 16.4077
2019-08-06 06:30:00 | 5.205 | 219.74 | 5.415 | 223.142 | 5.042 | 234.3 | 4.482 | 237 | 24.002 | 889.683 | 47.456 | 19.5889
2019-08-06 06:45:00 | 4.04 | 229.227 | 5.348 | 228.01 | 5.845 | 234.133 | 5.936 | 229 | 23.731 | 890.075 | 48.853 | 14.6903
2019-08-06 07:00:00 | 5.053 | 221.333 | 6.124 | 218.897 | 6.676 | 220.233 | 6.867 | 213.567 | 22.864 | 889.65 | 51.584 | 11.5844
2019-08-06 07:15:00 | 4.583 | 213.32 | 5.715 | 213.958 | 6.759 | 218.1 | 7.051 | 211.867 | 23.064 | 890.158 | 50.656 | 10.024
2019-08-06 07:30:00 | 4.795 | 210.433 | 6.1 | 209.135 | 6.111 | 214 | 5.878 | 211.4 | 22.981 | 890.125 | 50.581 | 9.4321
2019-08-06 07:45:00 | 4.414 | 212.107 | 5.555 | 208.379 | 5.768 | 212.433 | 5.509 | 211.667 | 23.431 | 890.092 | 48.629 | 15.8215
2019-08-06 08:00:00 | 4.707 | 216.28 | 5.682 | 210.824 | 6.152 | 213.467 | 6.501 | 210.567 | 23.281 | 890.033 | 47.936 | 16.2421
2019-08-06 08:15:00 | 5.11 | 225.393 | 6.019 | 219.415 | 6.563 | 221.267 | 6.792 | 217 | 23.635 | 889.517 | 46.4 | 13.4702
2019-08-06 08:30:00 | 4.586 | 232.407 | 4.733 | 227.734 | 5.102 | 231.733 | 5.719 | 226.267 | 24.423 | 889.6 | 43.637 | 10.6649
2019-08-06 08:45:00 | 4.834 | 225.58 | 4.962 | 222.033 | 5.305 | 227.433 | 5.577 | 225.967 | 25.456 | 889.55 | 39.68 | 8.5986
2019-08-06 09:00:00 | 4.824 | 227.96 | 4.816 | 225.424 | 5.02 | 230.267 | 5.317 | 227.8 | 26.327 | 889.817 | 37.269 | 7.0417
2019-08-06 09:15:00 | 4.494 | 237.26 | 4.593 | 235.052 | 4.656 | 240.8 | 4.842 | 236.767 | 26.344 | 889.933 | 36.133 | 6.2857
2019-08-06 09:30:00 | 3.961 | 234.367 | 4.152 | 229.666 | 4.179 | 235.067 | 4.406 | 229.533 | 26.256 | 890.317 | 36.592 | 5.0877
2019-08-06 09:45:00 | 3.935 | 233.66 | 4.02 | 230.777 | 3.977 | 236.4 | 4.433 | 230.6 | 26.26 | 890.467 | 36.027 | 5.563
2019-08-06 10:00:00 | 4.22 | 245.36 | 4.368 | 239.716 | 4.373 | 243.183 | 4.731 | 236.933 | 26.185 | 889.667 | 35.637 | 5.0926
2019-08-06 10:15:00 | 4.136 | 264.14 | 4.06 | 261.002 | 3.918 | 263.967 | 4.194 | 259.333 | 26.86 | 889.65 | 35.08 | 2.0159
2019-08-06 10:30:00 | 3.443 | 269.54 | 3.423 | 273.873 | 3.281 | 277.667 | 3.537 | 275.3 | 26.144 | 889.567 | 34.568 | 0.60043
2019-08-06 10:45:00 | 2.982 | 288.427 | 2.865 | 284.156 | 3.04 | 291.067 | 3.506 | 291.667 | 26.544 | 889.767 | 33.504 | 0.56419
2019-08-06 11:00:00 | 2.319 | 302.04 | 2.357 | 291.036 | 2.264 | 296.533 | 2.736 | 295.8 | 26.694 | 889.5 | 32.605 | 0.48887
2019-08-06 11:15:00 | 1.884 | 308.787 | 1.62 | 299.822 | 1.352 | 298.933 | 2.348 | 297.9 | 27.385 | 889.683 | 32.029 | 1.0118
2019-08-06 11:30:00 | 4.536 | 319.413 | 4.561 | 312.195 | 4.252 | 318 | 4.42 | 314 | 26.748 | 889.617 | 30.651 | 1.78
2019-08-06 11:45:00 | 4.182 | 296.68 | 4.323 | 294.238 | 4.15 | 298.9 | 4.456 | 296.533 | 26.935 | 889.583 | 30.437 | 1.3565
2019-08-06 12:00:00 | 3.799 | 334.12 | 3.891 | 327.343 | 3.707 | 328.2 | 3.985 | 325.5 | 27.435 | 889.683 | 30.133 | 0.48958
2019-08-06 12:15:00 | 2.832 | 327.823 | 2.664 | 329.992 | 2.465 | 333.133 | 2.824 | 330.2 | 27.06 | 889.65 | 31.315 | 0.29489
2019-08-06 12:30:00 | 1.788 | 249.033 | 1.534 | 260.862 | 1.613 | 259.5 | 2.179 | 254.083 | 27.352 | 889.967 | 31.515 | 0.27073
2019-08-06 12:45:00 | 2.36 | 202.787 | 2.027 | 199.598 | 2.044 | 210 | 2.677 | 200.5 | 27.302 | 889.75 | 31.605 | 0.57698
2019-08-06 13:00:00 | 4.381 | 208.653 | 4.509 | 206.397 | 4.444 | 209.233 | 4.67 | 203.233 | 27.694 | 889.933 | 33.243 | 6.0142
2019-08-06 13:15:00 | 5.636 | 208.32 | 5.376 | 203.874 | 5.341 | 207.933 | 5.402 | 203.333 | 26.777 | 889.217 | 38.283 | 12.4747
2019-08-06 13:30:00 | 6.28 | 211.327 | 7.02 | 208.799 | 7.453 | 211.267 | 7.802 | 205.433 | 25.752 | 889.483 | 46.325 | 2.082
2019-08-06 13:45:00 | 4.128 | 180.96 | 4.958 | 181.051 | 4.676 | 184.467 | 4.807 | 181.4 | 24.514 | 889.583 | 48.928 | 2.3356
2019-08-06 14:00:00 | 4.86 | 178.267 | 5.346 | 176.392 | 5.578 | 182.6 | 5.956 | 181.3 | 25.056 | 889.717 | 40.976 | 2.8188
2019-08-06 14:15:00 | 3.264 | 170.393 | 3.547 | 172.006 | 4.101 | 177.133 | 5.045 | 174.3 | 25.735 | 889.883 | 38.736 | 5.104
2019-08-06 14:30:00 | 5.427 | 175.567 | 6.066 | 175.047 | 6.334 | 180.233 | 6.789 | 178.567 | 25.614 | 889.9 | 37.04 | 8.7378
2019-08-06 14:45:00 | 6.095 | 182.573 | 6.532 | 178.942 | 6.644 | 184.9 | 7.239 | 181.233 | 25.998 | 889.283 | 37.589 | 10.7871
2019-08-06 15:00:00 | 6.827 | 182.633 | 7.361 | 181.686 | 7.526 | 186.6 | 7.875 | 184.267 | 25.831 | 890.05 | 35.621 | 15.5699
2019-08-06 15:15:00 | 7.036 | 188.913 | 7.246 | 181.008 | 7.478 | 184.7 | 7.953 | 180.667 | 26.748 | 889.417 | 34.72 | 13.6074
2019-08-06 15:30:00 | 7.233 | 188.027 | 7.648 | 183.435 | 7.831 | 188.4 | 8.103 | 184.3 | 26.86 | 889.467 | 33.125 | 13.2904
2019-08-06 15:45:00 | 7.664 | 180.047 | 8.1 | 176.837 | 8.311 | 180.767 | 8.715 | 179.267 | 27.685 | 889.617 | 31.339 | 17.1126
2019-08-06 16:00:00 | 7.193 | 179.433 | 7.718 | 178.076 | 7.884 | 182.733 | 8.189 | 178.933 | 28.523 | 890.233 | 30.203 | 18.8194
2019-08-06 16:15:00 | 7.68 | 181.44 | 8.145 | 178.463 | 8.275 | 183.333 | 8.519 | 180.533 | 28.91 | 889.75 | 29.568 | 16.4738
2019-08-06 16:30:00 | 7.116 | 190.733 | 7.343 | 187.892 | 7.583 | 191.933 | 8.094 | 187.233 | 28.844 | 890.017 | 29.093 | 13.6351
2019-08-06 16:45:00 | 7.226 | 179.733 | 7.366 | 177.485 | 7.599 | 180.033 | 7.752 | 178.6 | 29.748 | 889.45 | 26.016 | 11.357
2019-08-06 17:00:00 | 5.977 | 181.107 | 6.402 | 178.072 | 6.451 | 182.067 | 6.611 | 179.6 | 30.198 | 889.9 | 25.856 | 9.5983
2019-08-06 17:15:00 | 5.478 | 183.747 | 5.757 | 179.231 | 6.001 | 183.333 | 6.358 | 179.433 | 29.814 | 890.067 | 26.203 | 9.091
2019-08-06 17:30:00 | 5.296 | 178.147 | 5.686 | 177.644 | 5.469 | 184.333 | 5.914 | 181.033 | 29.448 | 889.85 | 26.512 | 9.0448
2019-08-06 17:45:00 | 4.602 | 212.107 | 4.914 | 209.717 | 5.085 | 210.333 | 5.411 | 205.6 | 29.664 | 889.367 | 26.107 | 12.0434
2019-08-06 18:00:00 | 6.64 | 215.853 | 6.901 | 212.524 | 7.021 | 214.867 | 7.207 | 210.5 | 30.014 | 889.533 | 25.371 | 20.1097
2019-08-06 18:15:00 | 6.739 | 205.927 | 7.193 | 202.124 | 7.478 | 204.433 | 7.703 | 198.833 | 29.681 | 889.733 | 25.211 | 20.367
2019-08-06 18:30:00 | 6.053 | 192.133 | 6.393 | 188.61 | 6.57 | 191.233 | 6.809 | 188.533 | 30.048 | 890.083 | 25.264 | 16.9555
2019-08-06 18:45:00 | 6.194 | 203.587 | 6.622 | 199.958 | 6.936 | 202.8 | 7.235 | 196.2 | 29.914 | 889.8 | 25.92 | 14.5268
2019-08-06 19:00:00 | 5.414 | 213.86 | 5.71 | 211.281 | 5.726 | 214.033 | 5.882 | 208.933 | 30.781 | 889.933 | 25.077 | 14.9304
2019-08-06 19:15:00 | 6.278 | 209.4 | 6.53 | 204.06 | 6.793 | 206.8 | 7.101 | 203.067 | 30.573 | 889.45 | 24.469 | 14.3719
2019-08-06 19:30:00 | 5.598 | 197.027 | 5.902 | 192.474 | 5.908 | 196.8 | 6.099 | 192.2 | 30.248 | 889.617 | 24.901 | 13.3722
2019-08-06 19:45:00 | 5.527 | 201.393 | 5.945 | 195.698 | 6.163 | 199.333 | 6.591 | 193.933 | 30.452 | 889.433 | 25.509 | 12.6857
2019-08-06 20:00:00 | 5.355 | 198.807 | 5.81 | 194.43 | 6.054 | 199.4 | 6.139 | 195.167 | 30.414 | 889.917 | 25.931 | 19.0482
2019-08-06 20:15:00 | 6.501 | 204.227 | 6.811 | 200.012 | 7.318 | 202.133 | 7.565 | 196.433 | 29.598 | 889.933 | 27.029 | 18.97
2019-08-06 20:30:00 | 6.199 | 197.18 | 6.846 | 193.154 | 7.223 | 196.933 | 7.561 | 191.667 | 29.831 | 889.967 | 27.781 | 20.0984
2019-08-06 20:45:00 | 5.595 | 196.447 | 6.237 | 191.11 | 6.638 | 193.667 | 7.051 | 187.967 | 28.998 | 889.883 | 28.912 | 24.3277
2019-08-06 21:00:00 | 6.599 | 195.633 | 7.47 | 191.956 | 7.803 | 194.667 | 8.347 | 189.2 | 28.677 | 889.933 | 29.616 | 20.475
2019-08-06 21:15:00 | 5.854 | 196.86 | 6.695 | 194.202 | 7.187 | 196.9 | 7.731 | 192.267 | 28.173 | 890.2 | 29.899 | 26.1318
2019-08-06 21:30:00 | 5.923 | 192.82 | 7.386 | 190.39 | 8.071 | 194.233 | 8.64 | 189.633 | 27.627 | 889.533 | 30.901 | 28.3729
2019-08-06 21:45:00 | 5.019 | 194.293 | 6.418 | 192.931 | 7.103 | 195.267 | 7.958 | 190.267 | 27.302 | 889.483 | 31.899 | 21.7817
2019-08-06 22:00:00 | 4.588 | 188.167 | 6.016 | 183.49 | 6.764 | 189.933 | 7.495 | 183.8 | 26.906 | 889.817 | 32.571 | 27.4655
2019-08-06 22:15:00 | 4.923 | 198.66 | 6.531 | 194.563 | 7.12 | 197.433 | 7.781 | 192.333 | 26.468 | 889.683 | 33.093 | 31.3623
2019-08-06 22:30:00 | 5.513 | 197.287 | 7.25 | 193.648 | 7.894 | 195.867 | 8.588 | 190.1 | 26.144 | 890.333 | 33.568 | 37.6124
2019-08-06 22:45:00 | 5.042 | 199.627 | 6.903 | 196.715 | 7.314 | 198.333 | 7.954 | 192.2 | 26.194 | 889.717 | 33.941 | 34.66
2019-08-06 23:00:00 | 6.574 | 204.48 | 8.04 | 196.671 | 8.459 | 198.933 | 8.96 | 193.567 | 25.789 | 889.783 | 33.717 | 31.4539
2019-08-06 23:15:00 | 6.603 | 204.48 | 8.413 | 197.418 | 8.921 | 199.367 | 9.479 | 193.833 | 26.164 | 890.15 | 34 | 29.9063
2019-08-06 23:30:00 | 5.908 | 202.847 | 7.749 | 197.423 | 8.662 | 199.3 | 9.22 | 193.6 | 25.794 | 889.6 | 34.352 | 30.2851
2019-08-06 23:45:00 | 5.97 | 196.2 | 7.833 | 194.782 | 8.702 | 198.433 | 9.46 | 193.767 | 25.256 | 889.75 | 35.408 | 31.3125