## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-07 00:00:00 | 5.866 | 199.767 | 8.084 | 194.664 | 8.372 | 196.633 | 8.646 | 190.9 | 24.714 | 889.717 | 35.819 | 33.2481
2019-08-07 00:15:00 | 7.333 | 202.8 | 8.988 | 197.838 | 8.904 | 200.9 | 9.044 | 198.333 | 25.139 | 889.917 | 35.995 | 34.6749
2019-08-07 00:30:00 | 5.665 | 210.507 | 7.529 | 206.6 | 8.541 | 209.267 | 9.187 | 205.2 | 24.831 | 889.45 | 37.237 | 37.7418
2019-08-07 00:45:00 | 5.786 | 209.033 | 6.991 | 202.858 | 8.349 | 206.4 | 9.401 | 200.7 | 24.989 | 889.983 | 37.397 | 39.3021
2019-08-07 01:00:00 | 5.77 | 208.633 | 7.812 | 201.515 | 9.027 | 203.533 | 9.342 | 200.3 | 24.631 | 890.067 | 38.069 | 43.6437
2019-08-07 01:15:00 | 5.551 | 215.473 | 7.79 | 208.106 | 8.944 | 211.167 | 9.479 | 207.167 | 24.189 | 889.433 | 38.405 | 55.1883
2019-08-07 01:30:00 | 7.282 | 213.42 | 9.23 | 212.078 | 10.056 | 216.867 | 10.493 | 213.933 | 24.502 | 889.95 | 38.181 | 56.5938
2019-08-07 01:45:00 | 7.524 | 213.067 | 9.655 | 214.39 | 10.473 | 220.2 | 10.636 | 217.7 | 24.818 | 889.9 | 36.885 | 54.2304
2019-08-07 02:00:00 | 6.869 | 215.267 | 8.689 | 218.133 | 9.12 | 224.1 | 9.092 | 221.933 | 25.256 | 889.433 | 35.797 | 47.9746
2019-08-07 02:15:00 | 5.632 | 231.3 | 7.24 | 228.676 | 7.972 | 235.067 | 8.235 | 232.267 | 24.852 | 889.6 | 35.195 | 36.0357
2019-08-07 02:30:00 | 4.284 | 245.44 | 5.951 | 241.876 | 6.957 | 247.9 | 7.17 | 244.167 | 24.489 | 889.617 | 35.456 | 27.7327
2019-08-07 02:45:00 | 5.466 | 244.76 | 6.372 | 245.056 | 6.062 | 252.733 | 6.039 | 249.1 | 24.127 | 889.567 | 36.059 | 13.2123
2019-08-07 03:00:00 | 4.159 | 262.627 | 5.205 | 267.48 | 5.238 | 274.833 | 5.557 | 272.267 | 23.585 | 889.683 | 37.568 | 9.0739
2019-08-07 03:15:00 | 3.855 | 263.513 | 5.308 | 274.447 | 5.612 | 282.767 | 5.874 | 284.567 | 22.898 | 889.967 | 39.376 | 7.8958
2019-08-07 03:30:00 | 4.051 | 265 | 5.118 | 277.191 | 5.111 | 283.833 | 5.546 | 285.433 | 22.814 | 889.867 | 40.627 | 4.5583
2019-08-07 03:45:00 | 4.272 | 283.4 | 5.308 | 290.476 | 5.497 | 297.2 | 5.952 | 297.5 | 22.448 | 889.308 | 41.083 | 3.8598
2019-08-07 04:00:00 | 2.118 | 257.327 | 4.86 | 284.836 | 5.533 | 296.267 | 6.059 | 296.2 | 22.289 | 889.325 | 41.691 | 7.0048
2019-08-07 04:15:00 | 3.251 | 274.32 | 5.052 | 290.197 | 5.87 | 301.5 | 6.384 | 299.9 | 21.535 | 889.867 | 42.971 | 11.5744
2019-08-07 04:30:00 | 5.545 | 283.573 | 6.967 | 289.775 | 7.271 | 296.833 | 7.684 | 293.067 | 22.081 | 889.85 | 42.912 | 17.3691
2019-08-07 04:45:00 | 4.874 | 296.733 | 6.373 | 298.787 | 6.686 | 304.433 | 7.288 | 302.5 | 22.598 | 889.692 | 42.133 | 21.5835
2019-08-07 05:00:00 | 4.826 | 289.6 | 6.397 | 295.89 | 6.713 | 303.9 | 7.22 | 301.533 | 22.748 | 889.542 | 41.84 | 22.0425
2019-08-07 05:15:00 | 4.798 | 291.027 | 6.582 | 297.869 | 6.887 | 305.067 | 7.345 | 303.167 | 22.064 | 890.05 | 42.661 | 18.9181
2019-08-07 05:30:00 | 4.567 | 289.56 | 6.289 | 294.218 | 6.53 | 301.333 | 6.902 | 299.5 | 21.931 | 890.025 | 43.12 | 15.2658
2019-08-07 05:45:00 | 4.841 | 289.333 | 5.888 | 296.08 | 5.804 | 304.633 | 6.127 | 306 | 22.614 | 889.567 | 43.093 | 6.6999
2019-08-07 06:00:00 | 4.209 | 276.573 | 5.566 | 291.109 | 5.117 | 305.567 | 5.143 | 312.133 | 21.927 | 890.4 | 42.843 | 1.7537
2019-08-07 06:15:00 | 3.602 | 269.353 | 3.757 | 294.294 | 3.414 | 315.967 | 3.65 | 332.8 | 21.931 | 889.825 | 43.451 | 0.81502
2019-08-07 06:30:00 | 4.528 | 271.627 | 4.555 | 290.997 | 4.098 | 306.5 | 4.08 | 313.9 | 21.702 | 890 | 44 | 0.27002
2019-08-07 06:45:00 | 3.077 | 261.427 | 2.558 | 294.899 | 2.67 | 314.633 | 2.895 | 332.633 | 21.956 | 889.883 | 43.525 | 0.27712
2019-08-07 07:00:00 | 3.371 | 258.567 | 2.317 | 292.519 | 1.759 | 323.7 | 2.482 | 274.8 | 21.894 | 889.575 | 43.387 | 0.21672
2019-08-07 07:15:00 | 4.162 | 255.96 | 3.275 | 281.462 | 2.666 | 303.767 | 2.674 | 324.7 | 21.381 | 889.858 | 44.171 | 0.15917
2019-08-07 07:30:00 | 3.966 | 250.607 | 3.46 | 281.959 | 2.699 | 300.533 | 2.684 | 312.8 | 21.273 | 889.683 | 44.907 | 0.25438
2019-08-07 07:45:00 | 3.709 | 259.953 | 2.797 | 284.965 | 2.312 | 300.6 | 2.498 | 312.267 | 21.61 | 889.417 | 44.597 | 0.16343
2019-08-07 08:00:00 | 3.155 | 273.427 | 2.612 | 298.423 | 2.231 | 318.7 | 2.549 | 330.567 | 22.681 | 889.808 | 41.749 | 0.66509
2019-08-07 08:15:00 | 2.975 | 268.933 | 3.205 | 305.136 | 3.112 | 318.5 | 3.456 | 328.533 | 24.652 | 889.5 | 37.296 | 1.6244
2019-08-07 08:30:00 | 3.076 | 268.573 | 3.587 | 281.701 | 3.702 | 306.867 | 3.95 | 322 | 24.239 | 889.7 | 36.333 | 0.1613
2019-08-07 08:45:00 | 2.254 | 287.227 | 1.928 | 291.28 | 1.971 | 305.733 | 2.756 | 314.367 | 26.098 | 889.533 | 33.192 | 0.17622
2019-08-07 09:00:00 | 2.975 | 232.147 | 2.994 | 344.486 | 2.884 | 303.3 | 3.301 | 223.533 | 25.739 | 889.567 | 29.597 | 1.1213
2019-08-07 09:15:00 | 3.826 | 12.939 | 3.747 | 10.464 | 3.94 | 13.633 | 4.265 | 10.733 | 26.102 | 890.267 | 29.803 | 2.4443
2019-08-07 09:30:00 | 3.198 | 22.163 | 3.427 | 18.485 | 3.462 | 23.8 | 3.566 | 21.033 | 26.181 | 889.8 | 28.133 | 1.8915
2019-08-07 09:45:00 | 3.269 | 25.89 | 3.259 | 21.354 | 3.207 | 24.433 | 3.45 | 20.8 | 26.602 | 889.3 | 26.165 | 2.8288
2019-08-07 10:00:00 | 3.703 | 42.636 | 3.788 | 34.441 | 3.968 | 36.467 | 4.036 | 32.067 | 27.127 | 889.583 | 23.691 | 2.7129
2019-08-07 10:15:00 | 4.003 | 46.174 | 4.095 | 36.025 | 4.184 | 39.4 | 4.208 | 35.067 | 27.206 | 889.683 | 21.645 | 2.3392
2019-08-07 10:30:00 | 3.286 | 34.388 | 3.347 | 33.283 | 3.37 | 35.867 | 3.553 | 28.1 | 28.256 | 890.067 | 20.832 | 4.3828
2019-08-07 10:45:00 | 4.666 | 29.625 | 4.81 | 23.698 | 4.873 | 27.233 | 5.117 | 24.433 | 27.873 | 889.967 | 22.784 | 7.009
2019-08-07 11:00:00 | 4.292 | 41.962 | 4.296 | 32.387 | 4.307 | 36.233 | 4.355 | 31.567 | 28.189 | 889.533 | 22.971 | 4.7764
2019-08-07 11:15:00 | 3.11 | 39.933 | 3.346 | 31.492 | 3.683 | 37.267 | 4.03 | 34.867 | 29.048 | 889.983 | 22.448 | 3.1727
2019-08-07 11:30:00 | 3.831 | 212.534 | 4.131 | 234.585 | 4.051 | 106.701 | 3.979 | 71.567 | 28.927 | 890.017 | 22.589 | 1.6244
2019-08-07 11:45:00 | 2.919 | 61.38 | 3.031 | 58.904 | 3.011 | 60.3 | 3.39 | 46.167 | 28.814 | 889.567 | 22.64 | 0.36026
2019-08-07 12:00:00 | 2.34 | 152.786 | 2.338 | 174.36 | 2.682 | 66.206 | 3.29 | 24.4 | 29.948 | 889.633 | 21.957 | 0.17125
2019-08-07 12:15:00 | 2.841 | 72.193 | 2.333 | 63.974 | 2.034 | 64.9 | 2.097 | 58.9 | 29.598 | 889.65 | 22.085 | 0.1947
2019-08-07 12:30:00 | 3.377 | 285.187 | 3.296 | 272.396 | 3.322 | 275.517 | 3.857 | 272.667 | 30.102 | 889.483 | 21.059 | 0.99906
2019-08-07 12:45:00 | 1.056 | 224.553 | 0.289 | 222.683 | 0.06 | 128.383 | 0.077 | 226.8 | 30.962 | 889.767 | 20.385 | 1.3039
2019-08-07 13:00:00 | 3.929 | 162.095 | 4.039 | 177.528 | 4.157 | 168.033 | 4.399 | 208.967 | 31.521 | 889.567 | 19.489 | 2.9318
2019-08-07 13:15:00 | 4.682 | 287.8 | 5.285 | 316.582 | 5.371 | 284.6 | 5.249 | 292.7 | 30.485 | 889.267 | 20.529 | 7.6784
2019-08-07 13:30:00 | 5.956 | 266.04 | 6.268 | 267.09 | 6.314 | 273.467 | 6.273 | 276.017 | 30.79 | 889.467 | 20.147 | 5.4778
2019-08-07 13:45:00 | 2.927 | 162.42 | 3.401 | 230.607 | 3.254 | 212.3 | 3.48 | 213.768 | 30.885 | 889.867 | 19.324 | 0.8605
2019-08-07 14:00:00 | 1.399 | 296.527 | 1.866 | 300.924 | 2.229 | 284.383 | 2.952 | 289.767 | 31.119 | 889.667 | 19.927 | 1.9171
2019-08-07 14:15:00 | 2.417 | 76.28 | 2.464 | 186.993 | 2.4 | 199.2 | 2.72 | 286 | 30.598 | 889.883 | 20.112 | 3.594
2019-08-07 14:30:00 | 4.65 | 271.92 | 4.95 | 269.26 | 4.663 | 277.967 | 4.922 | 277.383 | 30.878 | 889.983 | 20.408 | 1.7089
2019-08-07 14:45:00 | 4.69 | 297.493 | 4.612 | 287.321 | 4.545 | 298.033 | 4.831 | 296.3 | 32.055 | 889.733 | 18.052 | 2.8003
2019-08-07 15:00:00 | 5.284 | 277.02 | 5.589 | 273.514 | 5.454 | 273.85 | 5.292 | 271.033 | 32.432 | 889.4 | 17.716 | 6.4683
2019-08-07 15:15:00 | 4.557 | 182.812 | 5.089 | 223.349 | 5.416 | 247.467 | 5.171 | 222.667 | 31.956 | 889.467 | 19.059 | 1.905
2019-08-07 15:30:00 | 2.219 | 249.648 | 2.228 | 245.103 | 2.34 | 298.6 | 2.911 | 261.567 | 31.267 | 889.767 | 19.628 | 1.1987
2019-08-07 15:45:00 | 3.125 | 248.807 | 2.641 | 249.633 | 2.996 | 259.267 | 3.113 | 256.367 | 32.173 | 890.033 | 17.277 | 4.3174
2019-08-07 16:00:00 | 5.54 | 287.333 | 5.935 | 280.857 | 5.97 | 282.5 | 5.92 | 280.867 | 32.549 | 889.667 | 15.335 | 19.4617
2019-08-07 16:15:00 | 6.295 | 224.001 | 6.621 | 246.335 | 7.112 | 238.333 | 7.237 | 266.408 | 32.836 | 889.133 | 15.317 | 14.5489
2019-08-07 16:30:00 | 5.419 | 314.507 | 5.511 | 326.526 | 5.96 | 331.233 | 5.984 | 331.267 | 32.93 | 889.367 | 15.231 | 22.5278
2019-08-07 16:45:00 | 8.257 | 260.454 | 8.61 | 325.91 | 8.831 | 293.2 | 8.976 | 301.633 | 33.496 | 889.333 | 15.183 | 23.794
2019-08-07 17:00:00 | 5.847 | 290.46 | 6.208 | 284.527 | 6.466 | 287.2 | 6.59 | 282.1 | 32.83 | 889.467 | 15.559 | 29.4487
2019-08-07 17:15:00 | 6.328 | 305.76 | 6.762 | 301.638 | 6.959 | 306.233 | 7.459 | 305.067 | 32.93 | 889.533 | 14.565 | 21.6154
2019-08-07 17:30:00 | 6.288 | 299.487 | 6.576 | 296.185 | 6.94 | 301.5 | 7.484 | 300.067 | 33.213 | 889.133 | 13.477 | 29.3244
2019-08-07 17:45:00 | 5.764 | 316.6 | 5.69 | 311.181 | 6.052 | 318.233 | 6.383 | 314.2 | 33.296 | 889.7 | 13.328 | 29.4182
2019-08-07 18:00:00 | 5.757 | 323.467 | 5.871 | 316.445 | 6.15 | 320.133 | 6.173 | 315.967 | 32.846 | 889.633 | 13.552 | 38.4417
2019-08-07 18:15:00 | 8.269 | 300.173 | 8.643 | 292.586 | 9.074 | 299.967 | 9.392 | 294.567 | 33.024 | 889.467 | 12.781 | 33.5572
2019-08-07 18:30:00 | 6.779 | 295.28 | 7.104 | 289.522 | 7.243 | 294.133 | 7.309 | 293.2 | 32.713 | 889.367 | 13.981 | 24.4264
2019-08-07 18:45:00 | 7.46 | 303.947 | 7.952 | 300.941 | 8.222 | 304.667 | 8.661 | 303.7 | 33.346 | 889.533 | 13.04 | 31.7026
2019-08-07 19:00:00 | 5.72 | 325.933 | 5.993 | 318.811 | 6.27 | 325.6 | 6.711 | 323.133 | 32.963 | 889.467 | 14.3 | 30.3497
2019-08-07 19:15:00 | 7.774 | 40.104 | 7.402 | 34.127 | 7.539 | 40.767 | 7.748 | 37.867 | 31.752 | 889.567 | 16.475 | 42.7072
2019-08-07 19:30:00 | 9.055 | 44.648 | 8.723 | 40.908 | 8.977 | 45.333 | 9.32 | 41.5 | 31.686 | 889.567 | 17.357 | 25.1413
2019-08-07 19:45:00 | 5.959 | 57.985 | 5.858 | 54.401 | 6.112 | 59.6 | 6.48 | 54.433 | 31.451 | 889.567 | 18.013 | 14.0685
2019-08-07 20:00:00 | 4.726 | 79.842 | 5.22 | 75.395 | 5.305 | 80.167 | 5.422 | 75.433 | 30.848 | 889.467 | 19.781 | 19.1448
2019-08-07 20:15:00 | 4.21 | 91.293 | 4.414 | 84.714 | 4.184 | 89.967 | 4.243 | 85.267 | 30.648 | 889.517 | 20.648 | 33.2481
2019-08-07 20:30:00 | 7.644 | 104.557 | 7.478 | 99.3 | 7.171 | 103.3 | 7.239 | 100.633 | 30.385 | 889.733 | 25.072 | 64.2452
2019-08-07 20:45:00 | 7.908 | 122.473 | 8.706 | 118.774 | 9.027 | 122.233 | 9.088 | 118.533 | 29.831 | 889.65 | 26.331 | 75.46
2019-08-07 21:00:00 | 10.818 | 120.827 | 12.143 | 115.02 | 12.257 | 119.833 | 12.629 | 115.767 | 28.635 | 889.267 | 31.12 | 72.411
2019-08-07 21:15:00 | 9.414 | 123.727 | 10.521 | 118.716 | 10.779 | 122.167 | 10.817 | 118.267 | 27.914 | 889.767 | 32.341 | 65.807
2019-08-07 21:30:00 | 7.755 | 121.237 | 8.732 | 116.447 | 9.104 | 122.233 | 9.287 | 117.867 | 27.585 | 889.45 | 33.408 | 53.7018
2019-08-07 21:45:00 | 7.211 | 108.467 | 7.976 | 107.927 | 8.297 | 112 | 8.79 | 108.667 | 27.298 | 890.35 | 34.288 | 60.6071
2019-08-07 22:00:00 | 6.699 | 98.407 | 6.542 | 94.442 | 5.903 | 98.867 | 6.224 | 92.767 | 26.764 | 889.9 | 35.344 | 67.9394
2019-08-07 22:15:00 | 9.114 | 120.237 | 11.135 | 113.846 | 11.776 | 117.767 | 12.284 | 112.5 | 26.139 | 889.917 | 36.224 | 51.1992
2019-08-07 22:30:00 | 7.155 | 103.727 | 7.583 | 98.061 | 7.535 | 101.167 | 7.483 | 96.5 | 26.298 | 889.817 | 36.368 | 54.6859
2019-08-07 22:45:00 | 6.84 | 92.03 | 7.459 | 86.313 | 7.228 | 91 | 7.216 | 88.1 | 25.16 | 889.667 | 39.307 | 65.9022
2019-08-07 23:00:00 | 7.845 | 91.553 | 8.043 | 86.671 | 7.234 | 95 | 6.594 | 90.8 | 24.189 | 889.858 | 41.163 | 71.6919
2019-08-07 23:15:00 | 8.497 | 102.813 | 8.479 | 96.337 | 7.254 | 101.3 | 7.007 | 96.067 | 23.848 | 890 | 42.229 | 40.908
2019-08-07 23:30:00 | 5.862 | 114.83 | 6.173 | 107.784 | 6.312 | 112.967 | 6.81 | 106.767 | 23.877 | 890.017 | 41.461 | 4.9804
2019-08-07 23:45:00 | 0.55 | 122.3 | 0.636 | 128.865 | 0.769 | 151.1 | 2.053 | 163.933 | 24.564 | 889.8 | 41.131 | 16.4873