## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-08 00:00:00 | 2.689 | 244.38 | 3.324 | 235.511 | 3.524 | 239.7 | 4.06 | 235.033 | 24.998 | 889.95 | 40.293 | 41.2612
2019-08-08 00:15:00 | 6.114 | 230.94 | 7.686 | 230.615 | 8.21 | 235.633 | 8.541 | 230.767 | 24.714 | 889.317 | 38.96 | 41.7579
2019-08-08 00:30:00 | 5.806 | 236.593 | 6.955 | 235.559 | 7.602 | 241.433 | 7.922 | 236.667 | 25.414 | 889.55 | 35.819 | 41.1965
2019-08-08 00:45:00 | 5.977 | 221.733 | 7.228 | 221.084 | 7.734 | 227.533 | 7.75 | 225 | 25.46 | 890.05 | 34.171 | 60.3662
2019-08-08 01:00:00 | 6.745 | 219.893 | 8.349 | 221.011 | 8.701 | 227 | 9.029 | 222.733 | 24.789 | 889.65 | 34.581 | 76.5252
2019-08-08 01:15:00 | 7.951 | 231.327 | 9.137 | 230.301 | 10.23 | 234.567 | 10.904 | 228.8 | 25.735 | 889.4 | 32.139 | 76.0676
2019-08-08 01:30:00 | 10.05 | 234.773 | 12.089 | 231.938 | 13.306 | 236.833 | 14.148 | 231.333 | 25.627 | 889.6 | 33.088 | 74.871
2019-08-08 01:45:00 | 9.424 | 235.9 | 11.046 | 234.182 | 12.426 | 240.1 | 13.349 | 234.4 | 25.731 | 890.017 | 33.275 | 77.1633
2019-08-08 02:00:00 | 8.49 | 238.833 | 10.419 | 237.204 | 11.481 | 244.5 | 11.985 | 238.8 | 25.327 | 890 | 33.573 | 71.4795
2019-08-08 02:15:00 | 7.925 | 240.273 | 9.456 | 240.405 | 10.272 | 247.2 | 10.569 | 242.833 | 24.902 | 889.45 | 34.203 | 61.5408
2019-08-08 02:30:00 | 7.44 | 249.353 | 8.732 | 249.065 | 9.774 | 254.9 | 10.237 | 250 | 25.223 | 889.75 | 33.115 | 48.2546
2019-08-08 02:45:00 | 6.502 | 290.32 | 8.023 | 287.949 | 8.579 | 291.167 | 9.009 | 288.1 | 25.327 | 889.683 | 32.6 | 37.5449
2019-08-08 03:00:00 | 6.676 | 300.467 | 7.898 | 295.532 | 8.542 | 299.933 | 8.913 | 294.667 | 23.281 | 889.658 | 40.749 | 32.8474
2019-08-08 03:15:00 | 6.211 | 299.107 | 7.502 | 294.544 | 7.922 | 298.4 | 8.21 | 293.867 | 22.218 | 889.817 | 44.875 | 31.0603
2019-08-08 03:30:00 | 5.807 | 289.947 | 7.075 | 287.385 | 7.389 | 291.667 | 7.852 | 287.6 | 21.768 | 889.792 | 46.592 | 34.0518
2019-08-08 03:45:00 | 5.792 | 290.36 | 6.977 | 288.371 | 7.513 | 293.833 | 7.878 | 292.867 | 21.031 | 889.592 | 47.488 | 25.5115
2019-08-08 04:00:00 | 5.23 | 297.347 | 6.364 | 293.248 | 6.844 | 299 | 7.447 | 295.5 | 20.623 | 889.817 | 48.208 | 28.1697
2019-08-08 04:15:00 | 5.243 | 305.853 | 6.45 | 303.208 | 6.988 | 308.933 | 7.766 | 305.033 | 20.239 | 889.458 | 49.68 | 26.0181
2019-08-08 04:30:00 | 5.02 | 293.76 | 6.541 | 291.87 | 7.135 | 298.233 | 7.709 | 296.967 | 20.231 | 889.842 | 49.995 | 15.4456
2019-08-08 04:45:00 | 5.382 | 293.44 | 6.149 | 294.227 | 6.19 | 300.7 | 6.425 | 303.033 | 20.177 | 889.733 | 49.333 | 6.248
2019-08-08 05:00:00 | 4.239 | 279.04 | 4.956 | 280.152 | 4.878 | 288.733 | 5.097 | 292.633 | 20.106 | 889.65 | 48.725 | 3.8278
2019-08-08 05:15:00 | 3.829 | 255.88 | 4.176 | 261.423 | 4.176 | 275.933 | 4.285 | 280.733 | 19.944 | 890.067 | 47.888 | 5.2887
2019-08-08 05:30:00 | 4.316 | 225.52 | 5.168 | 238.052 | 4.815 | 249.567 | 4.366 | 248.983 | 19.631 | 889.983 | 49.995 | 8.9148
2019-08-08 05:45:00 | 6.632 | 218.907 | 6.218 | 227.212 | 5.136 | 238.933 | 4.187 | 237.333 | 19.06 | 889.6 | 52.053 | 16.9605
2019-08-08 06:00:00 | 7.255 | 218.72 | 7.113 | 226.465 | 6.074 | 232.433 | 5.694 | 231.167 | 19.206 | 889.9 | 52.331 | 29.0537
2019-08-08 06:15:00 | 6.888 | 209.527 | 8.297 | 214.502 | 7.392 | 225.533 | 6.85 | 225.367 | 19.356 | 889.883 | 52.213 | 33.3632
2019-08-08 06:30:00 | 6.475 | 213.793 | 8.038 | 220.546 | 7.957 | 229.2 | 7.888 | 228.6 | 19.285 | 889.775 | 50.965 | 30.9949
2019-08-08 06:45:00 | 5.907 | 213.593 | 7.886 | 218.043 | 7.874 | 228.2 | 7.673 | 227.133 | 19.202 | 889.842 | 50.411 | 29.8438
2019-08-08 07:00:00 | 6.118 | 215.627 | 7.594 | 219.66 | 7.492 | 228.767 | 7.61 | 227.733 | 19.435 | 890.308 | 47.701 | 24.1031
2019-08-08 07:15:00 | 5.359 | 217.38 | 6.266 | 224.509 | 6.56 | 234.533 | 6.636 | 232.367 | 19.956 | 889.633 | 44.395 | 20.7194
2019-08-08 07:30:00 | 4.578 | 217.113 | 6.068 | 231.257 | 6.604 | 243.233 | 6.736 | 242.267 | 20.448 | 889.592 | 41.189 | 27.9537
2019-08-08 07:45:00 | 4.921 | 235.027 | 6.486 | 240.698 | 7.115 | 251.5 | 7.151 | 248.967 | 21.431 | 889.8 | 36.507 | 34.6756
2019-08-08 08:00:00 | 5.132 | 244.167 | 6.069 | 245.95 | 6.738 | 252.9 | 7.203 | 250.017 | 22.931 | 889.633 | 32.139 | 42.8138
2019-08-08 08:15:00 | 6.102 | 243.753 | 7.34 | 242.935 | 8.024 | 250.5 | 8.331 | 247.1 | 24.398 | 889.667 | 28 | 48.1956
2019-08-08 08:30:00 | 6.691 | 249.847 | 7.699 | 248.928 | 8.272 | 253.883 | 8.679 | 249.833 | 25.739 | 889.317 | 24.656 | 37.1967
2019-08-08 08:45:00 | 6.346 | 253.527 | 7.005 | 250.414 | 7.665 | 256.75 | 7.734 | 251.6 | 27.385 | 889.667 | 22.067 | 29.3158
2019-08-08 09:00:00 | 6.055 | 261.647 | 6.345 | 261.414 | 6.513 | 265.517 | 6.55 | 260.917 | 27.614 | 890 | 20.583 | 34.535
2019-08-08 09:15:00 | 6.372 | 267.76 | 6.652 | 264.008 | 6.411 | 268.583 | 6.562 | 265.283 | 28.314 | 889.7 | 19.781 | 35.2121
2019-08-08 09:30:00 | 7.728 | 275.58 | 8.582 | 273.252 | 8.714 | 277.533 | 8.952 | 272.933 | 27.627 | 889.267 | 18.909 | 38.7351
2019-08-08 09:45:00 | 7.264 | 289.973 | 7.818 | 284.977 | 7.892 | 289.5 | 7.917 | 285.017 | 27.835 | 889.533 | 19.132 | 51.666
2019-08-08 10:00:00 | 8.316 | 279.973 | 8.838 | 279.371 | 9.053 | 284.533 | 9.184 | 281.4 | 27.939 | 889.967 | 18.047 | 55.5457
2019-08-08 10:15:00 | 7.875 | 287.867 | 8.088 | 287.756 | 8.219 | 291.4 | 8.261 | 292.033 | 28.048 | 889.433 | 18.569 | 53.8766
2019-08-08 10:30:00 | 8.526 | 290.2 | 9.081 | 285.34 | 9.402 | 290.5 | 9.715 | 287.833 | 28.014 | 889.9 | 18.332 | 47.5092
2019-08-08 10:45:00 | 6.938 | 299.667 | 7.564 | 294.858 | 7.849 | 300.3 | 8.431 | 297.167 | 28.606 | 889.533 | 18.085 | 38.2299
2019-08-08 11:00:00 | 7.853 | 292.027 | 8.401 | 289.848 | 8.517 | 293.5 | 8.868 | 289.7 | 28.785 | 889.233 | 17.661 | 46.7709
2019-08-08 11:15:00 | 9.075 | 314.8 | 9.214 | 307.442 | 9.693 | 311.667 | 10.017 | 309.967 | 28.981 | 889.4 | 17.419 | 52.7901
2019-08-08 11:30:00 | 7.598 | 296.027 | 8.011 | 294.756 | 8.03 | 305.7 | 8.235 | 302.367 | 29.231 | 890 | 17.064 | 46.1591
2019-08-08 11:45:00 | 9.027 | 325.053 | 9.399 | 317.925 | 9.624 | 319.833 | 9.777 | 317.967 | 29.364 | 889.567 | 16.571 | 45.6234
2019-08-08 12:00:00 | 9.708 | 306.667 | 10.033 | 302.613 | 10.154 | 306.2 | 10.691 | 301.7 | 29.631 | 889.6 | 16.384 | 52.7454
2019-08-08 12:15:00 | 9.412 | 311 | 9.678 | 305.497 | 9.83 | 312 | 10.3 | 309.433 | 29.948 | 889.067 | 15.525 | 68.6429
2019-08-08 12:30:00 | 9.355 | 278.98 | 10.542 | 277.709 | 10.961 | 282.6 | 11.714 | 281.333 | 30.035 | 889.333 | 16.017 | 65.5107
2019-08-08 12:45:00 | 9.138 | 304.2 | 9.747 | 298.613 | 10.058 | 303.733 | 10.516 | 302.133 | 30.623 | 889.333 | 15.745 | 67.258
2019-08-08 13:00:00 | 8.793 | 302.653 | 9.575 | 301.396 | 9.965 | 305.3 | 10.301 | 302.933 | 30.373 | 889.4 | 15.527 | 65.2563
2019-08-08 13:15:00 | 8.792 | 287.653 | 9.478 | 280.406 | 9.815 | 297.367 | 10.178 | 291.933 | 30.348 | 889.467 | 15.977 | 69.5808
2019-08-08 13:30:00 | 13.208 | 289.253 | 14.413 | 287.498 | 14.714 | 290.667 | 15.202 | 287.533 | 30.71 | 889.5 | 15.821 | 65.7303
2019-08-08 13:45:00 | 9.862 | 290.167 | 10.167 | 288.655 | 10.019 | 294.8 | 10.486 | 293.267 | 30.956 | 889.9 | 16.108 | 64.8328
2019-08-08 14:00:00 | 12.242 | 307.333 | 12.465 | 303.202 | 12.61 | 307.767 | 12.968 | 305.567 | 31.131 | 889.333 | 15.683 | 66.5147
2019-08-08 14:15:00 | 11.31 | 300.453 | 12.186 | 293.67 | 12.334 | 299.867 | 12.579 | 296.533 | 31.524 | 889.3 | 15.52 | 61.1869
2019-08-08 14:30:00 | 11.223 | 292.813 | 11.951 | 291.099 | 11.995 | 295.133 | 12.424 | 292.8 | 31.573 | 889.533 | 14.604 | 56.7927
2019-08-08 14:45:00 | 11.708 | 284.947 | 12.352 | 282.958 | 12.539 | 287.5 | 13.191 | 284.533 | 31.995 | 889.167 | 14.459 | 54.5637
2019-08-08 15:00:00 | 9.895 | 289 | 10.336 | 288.715 | 10.727 | 295.233 | 11.124 | 290.6 | 31.708 | 889.367 | 15.019 | 53.3998
2019-08-08 15:15:00 | 9.97 | 283.053 | 10.538 | 282.404 | 10.745 | 286.433 | 11.14 | 284.233 | 31.869 | 889.333 | 14.152 | 50.8474
2019-08-08 15:30:00 | 7.363 | 283.107 | 7.828 | 282.857 | 8.14 | 288.933 | 8.644 | 284.533 | 31.727 | 889.6 | 14.44 | 55.0021
2019-08-08 15:45:00 | 9.526 | 281.787 | 10.109 | 282.032 | 10.206 | 288.967 | 10.674 | 285.8 | 32.443 | 889.367 | 13.585 | 51.6184
2019-08-08 16:00:00 | 9.028 | 288.147 | 9.501 | 285.773 | 10.061 | 291.2 | 10.662 | 285.4 | 32.245 | 890 | 14.383 | 53.2385
2019-08-08 16:15:00 | 11.455 | 285.933 | 11.978 | 284.425 | 11.874 | 288.633 | 12.297 | 288.7 | 32.747 | 889.733 | 14.861 | 53.0673
2019-08-08 16:30:00 | 12.18 | 286.673 | 13.408 | 284.464 | 13.964 | 287.4 | 14.636 | 287.133 | 32.345 | 889.7 | 14.043 | 53.134
2019-08-08 16:45:00 | 12.695 | 309.76 | 14.078 | 306.394 | 14.192 | 311.067 | 14.455 | 307.7 | 32.708 | 889.733 | 13.101 | 54.3591
2019-08-08 17:00:00 | 14.647 | 285.96 | 15.28 | 285.063 | 15.757 | 289.867 | 16.337 | 288.567 | 32.78 | 889.3 | 13.304 | 55.1329
2019-08-08 17:15:00 | 12.706 | 281.84 | 13.829 | 280.193 | 14.178 | 286.967 | 14.75 | 282.6 | 33.113 | 889.533 | 13.436 | 55.5365
2019-08-08 17:30:00 | 11.559 | 279.813 | 12.441 | 279.418 | 12.774 | 284.9 | 13.273 | 282.967 | 32.454 | 889.267 | 12.668 | 56.8098
2019-08-08 17:45:00 | 12.16 | 291.347 | 13.274 | 288.737 | 13.413 | 293.233 | 13.851 | 289.833 | 32.41 | 889.5 | 12.497 | 58.5393
2019-08-08 18:00:00 | 13.223 | 295.6 | 13.771 | 293.828 | 14.034 | 299.5 | 14.587 | 297.167 | 32.846 | 889.4 | 12.617 | 59.5085
2019-08-08 18:15:00 | 13.221 | 285.093 | 14.291 | 285.144 | 14.733 | 288.1 | 15.127 | 286.867 | 32.714 | 889.3 | 12.669 | 61.1855
2019-08-08 18:30:00 | 11.621 | 288.813 | 12.773 | 285.321 | 13.011 | 293.3 | 13.612 | 290.7 | 32.88 | 889.567 | 12.204 | 59.7693
2019-08-08 18:45:00 | 12.566 | 295.307 | 13.529 | 294.094 | 13.838 | 297.433 | 14.612 | 294.1 | 32.98 | 889.5 | 12.311 | 60.1218
2019-08-08 19:00:00 | 15.04 | 282.133 | 16.43 | 282.113 | 17.171 | 287.667 | 17.501 | 284.867 | 32.713 | 889.667 | 12.208 | 60.6362
2019-08-08 19:15:00 | 14.655 | 295.373 | 16.258 | 292.806 | 16.695 | 296.833 | 17.402 | 294.367 | 32.625 | 889.633 | 13.003 | 59.9903
2019-08-08 19:30:00 | 14.991 | 302.467 | 16.223 | 299.051 | 16.93 | 304.067 | 17.866 | 301.7 | 32.411 | 889.4 | 12.729 | 61.1293
2019-08-08 19:45:00 | 12.006 | 297.467 | 12.778 | 294.145 | 13.105 | 300.767 | 13.894 | 299.533 | 31.842 | 889.333 | 13.629 | 63.0457
2019-08-08 20:00:00 | 11.608 | 292.733 | 12.513 | 292.663 | 12.985 | 299.733 | 13.482 | 297.8 | 32.211 | 889.867 | 14.512 | 70.3383
2019-08-08 20:15:00 | 11.935 | 290.72 | 13.223 | 289.298 | 13.835 | 295.033 | 14.616 | 290.9 | 31.907 | 889.5 | 14.069 | 72.4828
2019-08-08 20:30:00 | 12.985 | 284.153 | 14.878 | 282.345 | 15.406 | 286.533 | 16.278 | 283.333 | 31.89 | 889.6 | 14.672 | 67.9557
2019-08-08 20:45:00 | 12.972 | 279.68 | 14.464 | 280.084 | 14.978 | 283.1 | 15.457 | 279.767 | 31.304 | 889.167 | 14.477 | 68.8568
2019-08-08 21:00:00 | 10.553 | 285.253 | 12.25 | 282.456 | 12.725 | 286.833 | 13.773 | 286.5 | 31.185 | 889.7 | 15.324 | 68.3288
2019-08-08 21:15:00 | 10.171 | 288.12 | 11.458 | 287.52 | 12.178 | 291 | 13.096 | 289.1 | 30.998 | 889.333 | 15.489 | 63.2831
2019-08-08 21:30:00 | 8.107 | 300.427 | 9.585 | 297.91 | 10.117 | 304.267 | 10.831 | 301.1 | 30.531 | 889.7 | 14.803 | 58.4448
2019-08-08 21:45:00 | 8.737 | 304.2 | 10.181 | 302.746 | 10.564 | 308.133 | 11.522 | 306.833 | 29.881 | 889.433 | 14.62 | 51.1622
2019-08-08 22:00:00 | 7.398 | 294.36 | 8.556 | 294.148 | 9.546 | 298.467 | 10.275 | 296.533 | 29.664 | 889.767 | 14.485 | 39.8294
2019-08-08 22:15:00 | 6.292 | 292.507 | 7.762 | 293.617 | 8.597 | 298.9 | 9.335 | 297.9 | 29.598 | 889.667 | 14.419 | 30.4833
2019-08-08 22:30:00 | 5.483 | 294.4 | 6.863 | 290.851 | 7.522 | 297.333 | 8.165 | 296.3 | 29.098 | 889.667 | 14.428 | 27.435
2019-08-08 22:45:00 | 5.29 | 288 | 6.609 | 288.858 | 7.387 | 297.167 | 8.07 | 295.433 | 28.46 | 889.6 | 14.285 | 20.4679
2019-08-08 23:00:00 | 4.424 | 281.48 | 5.456 | 281.544 | 6.128 | 290.4 | 6.659 | 287.7 | 28.268 | 889.767 | 14.428 | 21.3817
2019-08-08 23:15:00 | 4.657 | 280.173 | 6.018 | 284.984 | 6.765 | 293.6 | 7.53 | 292.367 | 27.918 | 889.2 | 14.768 | 18.6808
2019-08-08 23:30:00 | 4.117 | 276.16 | 5.681 | 282.325 | 6.281 | 289.1 | 6.924 | 289.333 | 27.189 | 889.233 | 14.888 | 15.1351
2019-08-08 23:45:00 | 4.221 | 271.693 | 5.219 | 280.024 | 5.882 | 286.5 | 6.268 | 286.133 | 26.164 | 889.633 | 15.528 | 12.8989