## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-09 00:00:00 | 4.025 | 287.6 | 4.795 | 291.229 | 5.071 | 298.767 | 5.297 | 299.2 | 26.323 | 889.167 | 16.128 | 14.1367
2019-08-09 00:15:00 | 4.433 | 280.12 | 5.013 | 286.576 | 5.541 | 295.733 | 5.844 | 296.167 | 26.464 | 889.8 | 16.4 | 18.619
2019-08-09 00:30:00 | 4.491 | 277.78 | 5.787 | 288.834 | 6.243 | 298.733 | 6.64 | 299.7 | 25.756 | 889.567 | 17.269 | 16.0219
2019-08-09 00:45:00 | 4.917 | 264.833 | 5.734 | 280.48 | 5.835 | 288.833 | 6.344 | 290.433 | 25.139 | 889.733 | 17.963 | 11.8977
2019-08-09 01:00:00 | 4.367 | 258.753 | 5.184 | 272.736 | 5.477 | 281.633 | 5.805 | 284.933 | 24.244 | 889.5 | 18.839 | 8.6398
2019-08-09 01:15:00 | 5.033 | 241.327 | 5.102 | 256.579 | 5.014 | 272 | 5.073 | 275.4 | 22.914 | 889.533 | 20.304 | 6.717
2019-08-09 01:30:00 | 4.622 | 231.42 | 4.7 | 249.205 | 4.797 | 261.6 | 4.764 | 264.183 | 22.881 | 889.9 | 21.117 | 4.0325
2019-08-09 01:45:00 | 4.873 | 216.793 | 4.55 | 230.764 | 4.015 | 238.8 | 3.727 | 236.533 | 22.027 | 889.85 | 22.533 | 5.7179
2019-08-09 02:00:00 | 5.416 | 215.593 | 4.561 | 228.037 | 4.309 | 238.733 | 4.336 | 235.967 | 21.298 | 889.25 | 23.2 | 10.0069
2019-08-09 02:15:00 | 6.195 | 220.7 | 5.044 | 233.754 | 5.212 | 242.3 | 5.164 | 238.333 | 20.952 | 890.083 | 23.856 | 19.2031
2019-08-09 02:30:00 | 6.031 | 213.533 | 6.255 | 229.496 | 5.962 | 243.333 | 6.079 | 241.233 | 20.864 | 889.583 | 24.464 | 37.3502
2019-08-09 02:45:00 | 7.233 | 218.613 | 8.55 | 220.266 | 8.357 | 224.767 | 8.354 | 221.033 | 20.618 | 889.517 | 24.523 | 43.2444
2019-08-09 03:00:00 | 7.163 | 215.06 | 8.764 | 218.346 | 8.835 | 224.3 | 8.795 | 221.633 | 20.731 | 889.433 | 24.395 | 55.7496
2019-08-09 03:15:00 | 6.81 | 219.86 | 9.508 | 219.261 | 9.87 | 225.167 | 9.576 | 221.533 | 20.26 | 889.5 | 25.611 | 66.4728
2019-08-09 03:30:00 | 7.498 | 227.407 | 9.535 | 226.644 | 10.422 | 233.933 | 10.498 | 230.2 | 20.948 | 889.467 | 24.928 | 70.0214
2019-08-09 03:45:00 | 8.467 | 229.48 | 10.384 | 232.008 | 10.881 | 238.767 | 10.799 | 234.7 | 21.323 | 889.5 | 23.653 | 70.0875
2019-08-09 04:00:00 | 7.858 | 234.147 | 9.831 | 234.38 | 10.578 | 241.3 | 10.529 | 237.233 | 22.002 | 888.783 | 22.315 | 75.1311
2019-08-09 04:15:00 | 8.063 | 230.493 | 10.319 | 232.382 | 11.252 | 238.967 | 11.188 | 235.567 | 21.552 | 889.933 | 22.544 | 78.0088
2019-08-09 04:30:00 | 8.691 | 228.16 | 10.842 | 229.896 | 11.666 | 237.8 | 11.63 | 233.433 | 21.585 | 889.8 | 21.979 | 76.1678
2019-08-09 04:45:00 | 7.873 | 237.34 | 9.973 | 237.61 | 10.848 | 245.467 | 10.942 | 241.333 | 21.731 | 890.15 | 21.264 | 64.8143
2019-08-09 05:00:00 | 7.773 | 232.08 | 9.912 | 234.364 | 10.725 | 243.4 | 10.668 | 240.633 | 21.731 | 889.4 | 22.107 | 54.7449
2019-08-09 05:15:00 | 6.758 | 227.873 | 8.459 | 230.437 | 9.475 | 241.133 | 9.538 | 238.667 | 21.394 | 889.933 | 22.213 | 46.5251
2019-08-09 05:30:00 | 7.147 | 221.287 | 8.788 | 225.692 | 9.388 | 235.233 | 9.153 | 231.667 | 20.602 | 889.617 | 23.451 | 42.1316
2019-08-09 05:45:00 | 6.788 | 220.373 | 8.05 | 223.727 | 8.88 | 231.033 | 9.018 | 227.6 | 19.806 | 889.967 | 24.677 | 37.5463
2019-08-09 06:00:00 | 6.155 | 219.16 | 8.382 | 220.576 | 8.59 | 227.967 | 8.637 | 224.733 | 19.406 | 889.467 | 25.227 | 35.2285
2019-08-09 06:15:00 | 6.382 | 212.667 | 9.149 | 216.334 | 8.865 | 222.133 | 8.661 | 219.167 | 18.656 | 889.767 | 25.499 | 33.7093
2019-08-09 06:30:00 | 6.444 | 214.5 | 8.553 | 216.253 | 8.556 | 223.067 | 8.115 | 220.233 | 18.473 | 889.467 | 24.987 | 26.1723
2019-08-09 06:45:00 | 6.164 | 212.133 | 7.648 | 212.702 | 7.341 | 217.667 | 7.547 | 214.433 | 18.423 | 889.417 | 24.88 | 21.6431
2019-08-09 07:00:00 | 4.802 | 213.1 | 7.222 | 212.714 | 6.953 | 218.267 | 7.063 | 217.233 | 18.506 | 889.7 | 25.157 | 18.2523
2019-08-09 07:15:00 | 5.824 | 216.467 | 7.231 | 213.62 | 6.83 | 218.067 | 6.929 | 215.567 | 19.673 | 889.933 | 24.416 | 16.4653
2019-08-09 07:30:00 | 5.575 | 217.327 | 6.44 | 217.86 | 6.191 | 222.767 | 6.084 | 220 | 19.71 | 889.6 | 23.963 | 17.7585
2019-08-09 07:45:00 | 4.91 | 221.493 | 6.488 | 222.917 | 6.19 | 229.633 | 6.302 | 227.9 | 20.156 | 889.6 | 23.488 | 19.5804
2019-08-09 08:00:00 | 4.752 | 218.033 | 6.003 | 223.408 | 6.791 | 230.333 | 7.047 | 226.2 | 21.31 | 889.95 | 22.56 | 23.016
2019-08-09 08:15:00 | 3.97 | 231.333 | 5.531 | 226.726 | 6.653 | 232.733 | 6.955 | 228.967 | 22.864 | 889.55 | 20.896 | 21.4122
2019-08-09 08:30:00 | 5.071 | 226.907 | 5.74 | 224.945 | 6.558 | 231.367 | 6.842 | 228 | 24.356 | 889.167 | 19.768 | 17.421
2019-08-09 08:45:00 | 5.277 | 233.853 | 5.472 | 230.452 | 5.892 | 235.867 | 6.001 | 230.8 | 25.414 | 889.333 | 18.797 | 14.3883
2019-08-09 09:00:00 | 5.329 | 240.347 | 5.558 | 235.883 | 5.657 | 243.2 | 5.652 | 239.067 | 25.994 | 889.533 | 18.413 | 12.5074
2019-08-09 09:15:00 | 5.246 | 250.18 | 5.5 | 248.824 | 5.814 | 255.883 | 6.131 | 249.017 | 26.718 | 889.4 | 17.841 | 11.2639
2019-08-09 09:30:00 | 4.506 | 257.133 | 4.764 | 256.396 | 5.058 | 263.717 | 5.534 | 259.35 | 26.918 | 889.167 | 17.659 | 12.9565
2019-08-09 09:45:00 | 5.322 | 283.72 | 5.473 | 280.216 | 5.501 | 280.7 | 5.64 | 276 | 26.723 | 889.3 | 17.516 | 11.4927
2019-08-09 10:00:00 | 4.746 | 272.513 | 4.92 | 268.912 | 4.954 | 272.4 | 5.213 | 269.55 | 27.194 | 889.533 | 17.021 | 8.1289
2019-08-09 10:15:00 | 4.653 | 284.147 | 4.767 | 279.822 | 4.968 | 281.633 | 5.282 | 279.4 | 27.064 | 889.533 | 15.576 | 7.2684
2019-08-09 10:30:00 | 5.008 | 273 | 5.207 | 271.212 | 5.451 | 274.9 | 5.901 | 269.933 | 27.114 | 889.333 | 15.564 | 6.6736
2019-08-09 10:45:00 | 4.871 | 263.453 | 4.727 | 258.348 | 4.911 | 263.2 | 5.134 | 257.467 | 28.248 | 889.567 | 14.999 | 6.172
2019-08-09 11:00:00 | 3.569 | 266.067 | 3.88 | 268.128 | 4.057 | 272.1 | 4.124 | 269.617 | 28.948 | 889.433 | 14.664 | 5.9403
2019-08-09 11:15:00 | 3.976 | 276.813 | 4.014 | 278.054 | 4.158 | 279.367 | 4.435 | 274.2 | 28.994 | 889.6 | 14.849 | 6.3901
2019-08-09 11:30:00 | 4.574 | 283.727 | 4.778 | 284.474 | 4.684 | 289.933 | 5.031 | 288.933 | 28.664 | 889.533 | 14.771 | 6.6815
2019-08-09 11:45:00 | 3.823 | 303.307 | 3.833 | 302.091 | 4.301 | 303.633 | 4.72 | 302.267 | 28.668 | 889.333 | 13.955 | 7.1021
2019-08-09 12:00:00 | 4.813 | 265.307 | 5.329 | 264.773 | 5.249 | 271.8 | 5.676 | 267.933 | 30.052 | 889.433 | 12.975 | 7.6947
2019-08-09 12:15:00 | 5.681 | 309.987 | 5.95 | 304.62 | 6.315 | 308.467 | 6.426 | 305.6 | 29.635 | 889.667 | 12.116 | 6.1954
2019-08-09 12:30:00 | 2.952 | 217.573 | 2.927 | 219.827 | 3.462 | 240.433 | 4.218 | 243.833 | 29.923 | 889.6 | 12.104 | 4.1831
2019-08-09 12:45:00 | 3.029 | 280.437 | 3.739 | 280.745 | 4.318 | 288.667 | 4.91 | 301.467 | 30.389 | 889.6 | 11.665 | 5.9261
2019-08-09 13:00:00 | 4.862 | 319.281 | 5.338 | 333.482 | 5.532 | 335.6 | 5.463 | 332.6 | 30.781 | 889.333 | 10.967 | 4.6009
2019-08-09 13:15:00 | 3.063 | 141.541 | 3.169 | 256.578 | 3.164 | 185.7 | 3.345 | 188.534 | 31.471 | 889.5 | 10.283 | 6.4619
2019-08-09 13:30:00 | 4.709 | 313.373 | 4.501 | 315.156 | 4.552 | 311.8 | 4.565 | 320.6 | 31.186 | 889.067 | 8.517 | 3.8811
2019-08-09 13:45:00 | 2.177 | 261.495 | 2.398 | 305.947 | 2.729 | 243.034 | 2.961 | 301.483 | 31.764 | 888.8 | 9.211 | 3.9564
2019-08-09 14:00:00 | 5.102 | 259.174 | 5.138 | 315.71 | 5.296 | 313.433 | 5.315 | 319.867 | 32.73 | 889 | 8.361 | 2.0521
2019-08-09 14:15:00 | 4.11 | 286.52 | 3.905 | 293.788 | 3.867 | 302.467 | 4.319 | 300.133 | 32.746 | 889.067 | 8.379 | 1.5945
2019-08-09 14:30:00 | 3.035 | 126.461 | 3.377 | 177.182 | 3.759 | 225.567 | 4.226 | 318.233 | 32.289 | 889 | 7.986 | 5.5282
2019-08-09 14:45:00 | 4.74 | 315.24 | 4.774 | 313.201 | 5.181 | 318.567 | 5.189 | 316.267 | 32.156 | 889 | 8.324 | 3.1393
2019-08-09 15:00:00 | 4.032 | 282.973 | 3.678 | 282.366 | 3.298 | 292.2 | 3.588 | 288.483 | 32.813 | 888.933 | 7.603 | 2.7989
2019-08-09 15:15:00 | 2.765 | 279.393 | 2.461 | 283.939 | 2.685 | 296.333 | 3.156 | 291.05 | 32.796 | 888.933 | 7.711 | 3.5621
2019-08-09 15:30:00 | 4.245 | 119.804 | 4.295 | 289.72 | 4.202 | 277 | 4.362 | 263.2 | 33.33 | 889.133 | 7.212 | 7.6464
2019-08-09 15:45:00 | 3.672 | 213.548 | 3.45 | 219.104 | 4.058 | 240.733 | 3.817 | 239.667 | 32.98 | 889.067 | 7.153 | 3.9543
2019-08-09 16:00:00 | 4.58 | 307.4 | 4.942 | 301.336 | 5.313 | 307.733 | 5.45 | 307.167 | 33.838 | 888.467 | 6.948 | 3.744
2019-08-09 16:15:00 | 3.746 | 279 | 3.329 | 274.08 | 3.345 | 279.333 | 3.611 | 276.967 | 33.43 | 888.467 | 6.891 | 6.3546
2019-08-09 16:30:00 | 4.626 | 288.707 | 5.017 | 286.103 | 5.352 | 292.233 | 5.39 | 292.033 | 33.513 | 888.8 | 6.811 | 8.0379
2019-08-09 16:45:00 | 3.525 | 293.38 | 3.388 | 289.464 | 3.091 | 299.5 | 3.207 | 300.033 | 33.746 | 888.733 | 6.978 | 6.7085
2019-08-09 17:00:00 | 6.943 | 310.187 | 7.165 | 304.338 | 7.392 | 309.633 | 7.425 | 307.5 | 34.53 | 889.133 | 6.615 | 6.6012
2019-08-09 17:15:00 | 2.917 | 156.744 | 2.349 | 179.543 | 2.97 | 116.7 | 3.225 | 140.567 | 34.23 | 888.6 | 6.42 | 9.8513
2019-08-09 17:30:00 | 6.258 | 338.413 | 6.734 | 330.773 | 6.917 | 330.033 | 6.891 | 327.2 | 34.23 | 889.333 | 6.939 | 8.5865
2019-08-09 17:45:00 | 4.306 | 333.08 | 4.246 | 327.455 | 4.696 | 322.033 | 4.599 | 333.4 | 34.705 | 889.333 | 6.843 | 11.3918
2019-08-09 18:00:00 | 4.653 | 220.011 | 5.059 | 286.69 | 5.449 | 221.267 | 5.4 | 211.133 | 34.33 | 889.067 | 6.893 | 20.3748
2019-08-09 18:15:00 | 5.87 | 333.107 | 6.082 | 336.4 | 6.287 | 342.833 | 6.25 | 329.267 | 33.855 | 889 | 7.301 | 8.8338
2019-08-09 18:30:00 | 3.431 | 315.387 | 3.629 | 318.764 | 3.855 | 311.333 | 3.976 | 304.2 | 34.371 | 889.133 | 7.188 | 6.6267
2019-08-09 18:45:00 | 2.612 | 311.8 | 2.328 | 310.02 | 2.445 | 311.7 | 2.79 | 307.9 | 34.396 | 888.733 | 7.145 | 5.8394
2019-08-09 19:00:00 | 3.956 | 310.76 | 3.992 | 309.808 | 4.261 | 313.1 | 4.522 | 312.867 | 34.388 | 889.133 | 7.227 | 3.0185
2019-08-09 19:15:00 | 1.933 | 255.587 | 1.023 | 269.156 | 0.995 | 275.167 | 1.173 | 282.5 | 34.538 | 889.2 | 7.074 | 6.5379
2019-08-09 19:30:00 | 5.329 | 315.12 | 5.641 | 310.177 | 5.931 | 314.9 | 6.028 | 301.833 | 34.146 | 889 | 6.745 | 8.9389
2019-08-09 19:45:00 | 3.695 | 308.48 | 3.666 | 299.744 | 3.962 | 302.533 | 3.873 | 303.433 | 34.246 | 889.333 | 6.885 | 3.3951
2019-08-09 20:00:00 | 3.047 | 178.47 | 2.913 | 269.235 | 3.23 | 210.7 | 3.284 | 257.067 | 34.421 | 889.2 | 7.033 | 1.0666
2019-08-09 20:15:00 | 1.769 | 243.818 | 1.316 | 206.507 | 1.716 | 140.805 | 1.872 | 131.5 | 34.771 | 889.2 | 6.705 | 2.2063
2019-08-09 20:30:00 | 3.19 | 255.175 | 3.385 | 299.142 | 3.585 | 267.3 | 3.907 | 316.933 | 34.455 | 888.8 | 6.878 | 5.8167
2019-08-09 20:45:00 | 3.062 | 278.64 | 3.342 | 344.903 | 3.586 | 288.033 | 3.78 | 286.333 | 33.663 | 888.867 | 7.353 | 7.2471
2019-08-09 21:00:00 | 4.311 | 327.533 | 5.17 | 320.447 | 5.56 | 325.633 | 5.68 | 325.233 | 33.48 | 888.8 | 7.938 | 6.7603
2019-08-09 21:15:00 | 3.675 | 337.773 | 4.873 | 333.255 | 5.304 | 337.733 | 5.348 | 336.6 | 32.775 | 889.067 | 8.567 | 4.5292
2019-08-09 21:30:00 | 2.943 | 323.187 | 3.436 | 323.993 | 4.004 | 330.133 | 4.254 | 329.933 | 32.117 | 889.067 | 8.78 | 1.4318
2019-08-09 21:45:00 | 2.266 | 321.307 | 2.346 | 335.042 | 2.763 | 342.7 | 3.111 | 338.033 | 31.99 | 888.733 | 9.289 | 0.23733
2019-08-09 22:00:00 | 1.904 | 303.04 | 1.273 | 320.979 | 2.178 | 330.2 | 2.783 | 334.667 | 31.89 | 888.733 | 9.371 | 0.26788
2019-08-09 22:15:00 | 2.722 | 279.787 | 2.133 | 305.738 | 2.47 | 321.8 | 2.976 | 325.633 | 31.32 | 889.067 | 9.515 | 0.18261
2019-08-09 22:30:00 | 3.307 | 258.453 | 2.826 | 283.379 | 2.934 | 298.967 | 3.304 | 306.967 | 29.664 | 888.667 | 9.943 | 0.59759
2019-08-09 22:45:00 | 5.129 | 238.573 | 4.334 | 254.805 | 3.44 | 272.867 | 3.365 | 284.067 | 28.231 | 889.433 | 10.543 | 2.1786
2019-08-09 23:00:00 | 4.056 | 247.233 | 3.372 | 265.745 | 3.642 | 277.4 | 4.129 | 281.467 | 27.589 | 889.567 | 10.996 | 2.3655
2019-08-09 23:15:00 | 4.242 | 246.433 | 3.082 | 265.816 | 3.181 | 280.867 | 3.523 | 282.633 | 28.523 | 889.667 | 10.98 | 1.5732
2019-08-09 23:30:00 | 5.058 | 232.02 | 3.459 | 250.039 | 3.09 | 267.533 | 3.041 | 267.467 | 26.573 | 889.9 | 11.816 | 1.8439
2019-08-09 23:45:00 | 5.261 | 227.993 | 3.599 | 248.28 | 3.421 | 258 | 3.432 | 266 | 25.552 | 889.867 | 12.976 | 2.3335