## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-11 00:00:00 | 14.198 | 255.007 | 16.392 | 262.607 | 17.282 | 266.2 | 17.638 | 263.033 | 17.389 | 889.7 | 63.557 | 42.2105
2019-08-11 00:15:00 | 11.954 | 258.833 | 13.706 | 260.194 | 13.984 | 265.433 | 14.073 | 260.067 | 17.277 | 890.1 | 63.003 | 40.5542
2019-08-11 00:30:00 | 13.626 | 263.853 | 14.891 | 270.196 | 15.682 | 275.8 | 16.199 | 272.467 | 17.398 | 889.742 | 62.027 | 36.6198
2019-08-11 00:45:00 | 11.765 | 275.813 | 13.447 | 278.227 | 14.097 | 282 | 14.872 | 278.667 | 17.214 | 889.8 | 62.085 | 33.6119
2019-08-11 01:00:00 | 11.09 | 272.553 | 12.45 | 277.104 | 13.188 | 283.067 | 13.659 | 278.933 | 17.231 | 889.867 | 62.853 | 33.9018
2019-08-11 01:15:00 | 12.825 | 275.807 | 14.65 | 282.441 | 14.893 | 285.233 | 15.484 | 281.7 | 17.048 | 889.542 | 62.331 | 33.1025
2019-08-11 01:30:00 | 14.821 | 269.727 | 16.635 | 276.753 | 17.534 | 281.133 | 18.04 | 276.967 | 16.948 | 889.492 | 62.219 | 30.4535
2019-08-11 01:45:00 | 12.394 | 267.147 | 14.394 | 276.214 | 15.045 | 279.567 | 15.368 | 276.233 | 16.814 | 890.35 | 62.912 | 29.404
2019-08-11 02:00:00 | 14.039 | 264.893 | 15.788 | 272.873 | 16.156 | 275.833 | 16.495 | 273.067 | 16.648 | 889.967 | 63.477 | 27.2985
2019-08-11 02:15:00 | 14.426 | 266.093 | 15.769 | 270.798 | 16.44 | 276.1 | 17.093 | 272.333 | 16.731 | 889.642 | 64.619 | 27.8926
2019-08-11 02:30:00 | 14.214 | 264.74 | 15.918 | 271.934 | 16.568 | 276.4 | 17.215 | 271.433 | 16.314 | 889.908 | 64.848 | 28.9229
2019-08-11 02:45:00 | 13.873 | 262.22 | 15.265 | 264.814 | 15.874 | 269.7 | 16.326 | 265.1 | 16.798 | 889.533 | 64.421 | 28.6678
2019-08-11 03:00:00 | 14.038 | 255.92 | 15.511 | 269.488 | 16.254 | 274.467 | 16.562 | 270.533 | 16.464 | 890.233 | 65.195 | 29.1283
2019-08-11 03:15:00 | 12.753 | 259.02 | 14.447 | 268.784 | 15.578 | 274.267 | 16.027 | 269.467 | 16.398 | 889.858 | 65.275 | 30.4151
2019-08-11 03:30:00 | 13.142 | 262.647 | 14.646 | 269.388 | 15.398 | 273.767 | 15.711 | 271.1 | 16.731 | 890.167 | 65.221 | 31.1541
2019-08-11 03:45:00 | 12.01 | 263.267 | 13.15 | 271.321 | 13.673 | 275.433 | 14.193 | 271.567 | 16.398 | 889.967 | 65.451 | 29.0117
2019-08-11 04:00:00 | 11.11 | 266.107 | 12.522 | 273.321 | 13.276 | 276.933 | 13.464 | 272.1 | 15.977 | 890.05 | 65.04 | 30.1259
2019-08-11 04:15:00 | 11.706 | 263.787 | 13.314 | 271.242 | 14.128 | 275.267 | 14.509 | 271.8 | 16.094 | 889.55 | 64.389 | 32.0345
2019-08-11 04:30:00 | 12.063 | 257.473 | 13.514 | 265.632 | 14.555 | 270.333 | 14.702 | 266.233 | 16.212 | 889.883 | 64.293 | 32.9355
2019-08-11 04:45:00 | 12.681 | 253.92 | 14.114 | 261.631 | 14.818 | 265.567 | 15.2 | 261.167 | 15.939 | 890 | 64.624 | 34.0546
2019-08-11 05:00:00 | 11.076 | 256.2 | 12.913 | 260.082 | 13.495 | 265.567 | 13.852 | 260.733 | 16.022 | 889.8 | 64.389 | 33.791
2019-08-11 05:15:00 | 9.524 | 253.553 | 11.509 | 253.896 | 12.251 | 259.483 | 12.612 | 254.867 | 16.065 | 889.858 | 63.952 | 35.2718
2019-08-11 05:30:00 | 10.75 | 251.92 | 11.727 | 251.377 | 12.115 | 256.917 | 12.322 | 253.667 | 15.659 | 890.067 | 63.456 | 35.5873
2019-08-11 05:45:00 | 10.023 | 254.98 | 11.85 | 257.745 | 12.165 | 261.433 | 12.163 | 257.867 | 15.989 | 889.567 | 63.525 | 35.7372
2019-08-11 06:00:00 | 10.605 | 252.907 | 12.068 | 255.61 | 12.491 | 260.433 | 12.711 | 255.767 | 15.854 | 889.85 | 63.461 | 34.7567
2019-08-11 06:15:00 | 10.424 | 254.393 | 11.596 | 258.293 | 12.378 | 262.25 | 12.528 | 257.433 | 16.098 | 890.117 | 64.592 | 33.661
2019-08-11 06:30:00 | 11.865 | 252.927 | 13.188 | 259.466 | 13.986 | 264.667 | 13.864 | 259 | 16.006 | 890.158 | 66.133 | 32.9625
2019-08-11 06:45:00 | 10.531 | 247.693 | 12.073 | 257.351 | 12.717 | 262.933 | 12.851 | 258 | 15.383 | 890.025 | 69.781 | 34.9158
2019-08-11 07:00:00 | 8.893 | 247.033 | 10.444 | 245.414 | 11.129 | 251.4 | 11.28 | 246.767 | 15.141 | 889.75 | 74.965 | 35.4722
2019-08-11 07:15:00 | 7.067 | 235.633 | 7.816 | 235.427 | 8.544 | 240.533 | 8.878 | 236.167 | 14.774 | 890.217 | 76.576 | 37.6778
2019-08-11 07:30:00 | 8.818 | 236.5 | 9.986 | 233.763 | 10.772 | 239.5 | 11.127 | 234.1 | 14.178 | 890.017 | 81.056 | 39.759
2019-08-11 07:45:00 | 8.543 | 233.787 | 9.819 | 231.506 | 10.764 | 237.1 | 11.106 | 232.1 | 14.249 | 889.888 | 83.157 | 47.3131
2019-08-11 08:00:00 | 8.016 | 229.873 | 9.168 | 227.382 | 9.842 | 232.4 | 9.925 | 228 | 14.066 | 890.025 | 83.883 | 40.6579
2019-08-11 08:15:00 | 5.705 | 235.153 | 6.672 | 232.948 | 7.259 | 239.667 | 7.491 | 235.433 | 14.474 | 889.883 | 82.08 | 56.6975
2019-08-11 08:30:00 | 7.772 | 229.2 | 8.708 | 227.957 | 9.493 | 232.633 | 9.656 | 228.933 | 14.558 | 890.192 | 77.6 | 58.0576
2019-08-11 08:45:00 | 8.397 | 236.927 | 9.392 | 233.696 | 9.99 | 238.333 | 10.26 | 233.067 | 15.255 | 889.45 | 74.453 | 55.9138
2019-08-11 09:00:00 | 8.734 | 248.88 | 9.619 | 246.309 | 10.103 | 251 | 10.112 | 245.283 | 15.576 | 889.683 | 70.571 | 54.0436
2019-08-11 09:15:00 | 8.756 | 250.993 | 9.93 | 248.613 | 10.219 | 253.4 | 10.084 | 247.567 | 16.381 | 889.625 | 66.411 | 51.4571
2019-08-11 09:30:00 | 7.194 | 253.46 | 8.044 | 253.636 | 8.359 | 257.85 | 8.438 | 253.683 | 15.718 | 890.2 | 66.053 | 46.0227
2019-08-11 09:45:00 | 7.28 | 254.92 | 8.176 | 260.484 | 8.485 | 266 | 8.562 | 261.767 | 17.131 | 890.242 | 61.424 | 47.4246
2019-08-11 10:00:00 | 7.701 | 259.727 | 8.917 | 266.819 | 9.243 | 271.767 | 9.43 | 265.667 | 17.302 | 889.708 | 56.101 | 44.7081
2019-08-11 10:15:00 | 7.865 | 265.793 | 8.701 | 274.506 | 9.077 | 277.133 | 9.254 | 273.233 | 17.468 | 889.733 | 52.603 | 37.9222
2019-08-11 10:30:00 | 7.585 | 258.813 | 8.089 | 266.575 | 8.308 | 271.233 | 8.533 | 266.633 | 18.798 | 889.983 | 47.541 | 37.9293
2019-08-11 10:45:00 | 6.61 | 265.133 | 7.739 | 271.178 | 7.699 | 276.6 | 7.924 | 272.25 | 19.389 | 889.95 | 44.928 | 48.0109
2019-08-11 11:00:00 | 8.117 | 273.96 | 8.833 | 279.796 | 8.802 | 285.467 | 9.379 | 282.9 | 18.931 | 889.967 | 45.664 | 48.7292
2019-08-11 11:15:00 | 8.731 | 279.967 | 9.408 | 283.315 | 9.33 | 285.6 | 9.322 | 282.433 | 19.31 | 889.675 | 42.496 | 56.3323
2019-08-11 11:30:00 | 9.213 | 281.533 | 9.78 | 283.007 | 10.268 | 288.033 | 10.536 | 286.733 | 20.302 | 889.6 | 37.936 | 51.9993
2019-08-11 11:45:00 | 10.044 | 287.327 | 10.779 | 291.506 | 11.15 | 297.133 | 11.416 | 294.033 | 21.194 | 889.867 | 33.472 | 49.4427
2019-08-11 12:00:00 | 8.658 | 306.993 | 9.249 | 305.363 | 9.589 | 309.167 | 10.098 | 307.067 | 21.106 | 889.6 | 31.707 | 49.8178
2019-08-11 12:15:00 | 8.295 | 269.34 | 8.805 | 277.524 | 8.805 | 281.067 | 9.224 | 277.4 | 21.364 | 889.95 | 30.651 | 46.9791
2019-08-11 12:30:00 | 9.891 | 276.753 | 10.641 | 283.858 | 10.774 | 287.267 | 10.935 | 284.8 | 21.714 | 889.867 | 28.613 | 45.9147
2019-08-11 12:45:00 | 8.225 | 283.82 | 8.622 | 291.301 | 8.816 | 295.9 | 9.124 | 291.9 | 21.881 | 889.15 | 27.941 | 44.5213
2019-08-11 13:00:00 | 8.251 | 292.773 | 8.924 | 293.138 | 9.157 | 298.767 | 9.285 | 295 | 21.894 | 889.3 | 26.616 | 47.0097
2019-08-11 13:15:00 | 9.251 | 283.72 | 9.448 | 286.846 | 9.722 | 290.833 | 10.02 | 290.033 | 23.114 | 889.517 | 25.096 | 45.4912
2019-08-11 13:30:00 | 8.507 | 276.693 | 8.957 | 279.886 | 9.451 | 284.3 | 9.703 | 280.667 | 22.781 | 889.633 | 24.805 | 44.8098
2019-08-11 13:45:00 | 8.426 | 284.747 | 9.012 | 288.615 | 9.339 | 293.733 | 9.584 | 289.333 | 23.098 | 889.983 | 24.232 | 47.4367
2019-08-11 14:00:00 | 9.095 | 295.693 | 9.298 | 296.433 | 9.795 | 304.467 | 10.548 | 303.967 | 22.931 | 889.883 | 24.016 | 46.2103
2019-08-11 14:15:00 | 8.442 | 270.127 | 8.936 | 271.72 | 9.088 | 275.833 | 9.214 | 272.85 | 23.527 | 889.583 | 23.173 | 47.2385
2019-08-11 14:30:00 | 8.547 | 298.493 | 9.17 | 299.162 | 9.179 | 306.067 | 9.445 | 303.467 | 23.889 | 889.617 | 22.229 | 45.8635
2019-08-11 14:45:00 | 8.085 | 278.927 | 8.534 | 284.1 | 8.919 | 288.367 | 9.297 | 286.2 | 24.535 | 889.783 | 21.48 | 44.1788
2019-08-11 15:00:00 | 8.644 | 280.673 | 9.16 | 284.027 | 9.494 | 287.2 | 9.882 | 283.167 | 24.494 | 889.133 | 19.761 | 46.3879
2019-08-11 15:15:00 | 10.438 | 307.773 | 10.382 | 303.909 | 10.707 | 308.5 | 11.106 | 304.6 | 24.535 | 889.5 | 17.984 | 47.1397
2019-08-11 15:30:00 | 9.408 | 262.12 | 10.205 | 264.304 | 10.626 | 272.067 | 10.442 | 269.7 | 25.177 | 889.8 | 18.303 | 49.8818
2019-08-11 15:45:00 | 7.094 | 289.507 | 7.604 | 293.328 | 7.88 | 294.867 | 8.453 | 291.967 | 25.156 | 889.667 | 17.043 | 46.6672
2019-08-11 16:00:00 | 7.541 | 274.507 | 7.793 | 280.433 | 8.306 | 285.367 | 8.7 | 282.3 | 25.531 | 889.267 | 17.052 | 48.5246
2019-08-11 16:15:00 | 7.704 | 298.287 | 7.842 | 292.319 | 8.611 | 294.8 | 9.184 | 290 | 25.431 | 889.233 | 16.432 | 43.6792
2019-08-11 16:30:00 | 8.343 | 306.093 | 8.503 | 300.289 | 8.769 | 302.6 | 9.007 | 296.833 | 25.744 | 889.7 | 15.637 | 43.3012
2019-08-11 16:45:00 | 8.188 | 288.66 | 8.706 | 289.602 | 8.902 | 295.633 | 9.03 | 297.367 | 26.098 | 889.167 | 15.033 | 32.3237
2019-08-11 17:00:00 | 7.176 | 281.873 | 7.644 | 282.459 | 7.947 | 288.133 | 7.953 | 283.8 | 25.948 | 889.8 | 15.103 | 32.517
2019-08-11 17:15:00 | 7.036 | 251.107 | 7.407 | 252.321 | 7.746 | 260.567 | 7.741 | 257.067 | 26.694 | 889.567 | 14.181 | 31.9748
2019-08-11 17:30:00 | 8.627 | 280.667 | 8.845 | 281.507 | 9.217 | 285.633 | 9.373 | 283.033 | 26.364 | 889.3 | 14.147 | 36.43
2019-08-11 17:45:00 | 8.734 | 268.033 | 9.202 | 270.124 | 9.348 | 273.85 | 9.36 | 270.5 | 26.914 | 889.733 | 14.003 | 26.5077
2019-08-11 18:00:00 | 5.675 | 280.32 | 5.868 | 279.982 | 6.091 | 285.067 | 6.419 | 284.267 | 26.402 | 889.733 | 13.445 | 37.3609
2019-08-11 18:15:00 | 7.886 | 286.573 | 8.495 | 290.77 | 8.776 | 293.267 | 8.877 | 291.1 | 26.139 | 889.333 | 13.853 | 32.9163
2019-08-11 18:30:00 | 8.465 | 279.127 | 8.958 | 283.596 | 9.189 | 290.633 | 9.541 | 287.567 | 26.677 | 889.4 | 14.281 | 38.765
2019-08-11 18:45:00 | 7.06 | 280.327 | 7.31 | 282.583 | 7.585 | 287.3 | 7.693 | 285.333 | 26.81 | 889.667 | 13.956 | 32.0657
2019-08-11 19:00:00 | 6.338 | 282.507 | 6.344 | 277.856 | 6.854 | 283.267 | 6.978 | 280.9 | 25.964 | 889.233 | 13.801 | 33.5402
2019-08-11 19:15:00 | 7.584 | 268.987 | 8.182 | 276.76 | 8.361 | 282.3 | 8.753 | 282.6 | 26.239 | 889.533 | 15.177 | 34.7986
2019-08-11 19:30:00 | 7.629 | 289.987 | 8.207 | 289.309 | 8.28 | 293.267 | 8.583 | 291.633 | 26.244 | 889.5 | 14.981 | 35.5447
2019-08-11 19:45:00 | 7.367 | 288.987 | 7.948 | 288.608 | 8.2 | 293 | 8.744 | 291 | 26.023 | 889.6 | 14.808 | 30.5679
2019-08-11 20:00:00 | 7.4 | 297.053 | 8.072 | 294.413 | 8.407 | 300.467 | 8.692 | 298.267 | 25.989 | 889.733 | 14.905 | 34.8121
2019-08-11 20:15:00 | 7.7 | 294.267 | 8.205 | 295.914 | 8.617 | 301.367 | 9.09 | 297.9 | 25.427 | 889.367 | 14.713 | 22.4489
2019-08-11 20:30:00 | 5.04 | 287.6 | 5.274 | 285.307 | 5.587 | 290.533 | 5.811 | 290.1 | 25.781 | 889.567 | 15.173 | 33.2716
2019-08-11 20:45:00 | 6.942 | 312.053 | 7.441 | 306.719 | 7.866 | 310 | 8.1 | 307.8 | 25.394 | 889.633 | 15.415 | 28.2891
2019-08-11 21:00:00 | 6.339 | 294.64 | 7.094 | 292.285 | 7.488 | 296.233 | 7.917 | 293.6 | 24.944 | 889.4 | 16.824 | 27.0562
2019-08-11 21:15:00 | 5.872 | 285.947 | 6.962 | 283.376 | 7.529 | 287.5 | 7.961 | 284.767 | 24.61 | 889.633 | 17.456 | 24.1308
2019-08-11 21:30:00 | 5.351 | 285.027 | 6.336 | 283.532 | 6.869 | 288.833 | 7.333 | 285.933 | 24.156 | 889.7 | 16.893 | 18.933
2019-08-11 21:45:00 | 4.698 | 291.947 | 5.532 | 290.95 | 5.918 | 296.833 | 6.588 | 294.333 | 23.731 | 889.3 | 16.708 | 15.6985
2019-08-11 22:00:00 | 4.511 | 276.84 | 5.426 | 280.839 | 5.904 | 284.467 | 6.387 | 281.667 | 23.398 | 889.5 | 17.497 | 16.0062
2019-08-11 22:15:00 | 4.769 | 277.327 | 5.81 | 281.08 | 6.498 | 287.167 | 6.768 | 285.867 | 23.164 | 889.833 | 18.151 | 19.2244
2019-08-11 22:30:00 | 4.465 | 271.2 | 5.717 | 278.052 | 6.186 | 284.933 | 6.694 | 282.1 | 22.898 | 889.267 | 18.525 | 16.6962
2019-08-11 22:45:00 | 4.528 | 261.513 | 5.677 | 271.959 | 5.911 | 278.6 | 6.236 | 277.067 | 22.273 | 889.333 | 19.24 | 17.9809
2019-08-11 23:00:00 | 4.439 | 256.7 | 5.681 | 268.006 | 6.117 | 275.8 | 6.647 | 273.5 | 21.081 | 889.383 | 20.795 | 19.0204
2019-08-11 23:15:00 | 4.833 | 255.187 | 5.781 | 264.885 | 6.097 | 274.967 | 6.369 | 274.067 | 20.456 | 890.1 | 22.123 | 17.6363
2019-08-11 23:30:00 | 4.949 | 257.12 | 6.052 | 267.45 | 6.382 | 273.967 | 6.818 | 271.6 | 20.206 | 889.833 | 23.251 | 18.1166
2019-08-11 23:45:00 | 4.73 | 255.513 | 6.191 | 268.496 | 6.701 | 275.333 | 7.108 | 274.1 | 19.606 | 889.85 | 24.179 | 15.469