## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-12 00:00:00 | 4.632 | 234.42 | 5.37 | 253.982 | 5.857 | 268.067 | 6.243 | 266.9 | 19.46 | 889.633 | 25.888 | 14.8587
2019-08-12 00:15:00 | 4.96 | 235.44 | 5.318 | 252.211 | 5.674 | 269.2 | 6.038 | 270.733 | 18.485 | 889.95 | 27.539 | 15.047
2019-08-12 00:30:00 | 4.578 | 237.133 | 5.313 | 256.686 | 5.68 | 269.2 | 6.144 | 269.1 | 18.489 | 889.617 | 27.859 | 15.5671
2019-08-12 00:45:00 | 4.685 | 243.06 | 5.379 | 262.948 | 5.738 | 274.6 | 6.204 | 272.8 | 18.168 | 889.717 | 28.184 | 13.218
2019-08-12 01:00:00 | 4.525 | 244.733 | 5.011 | 262.01 | 5.514 | 274.267 | 5.99 | 273.333 | 17.639 | 889.95 | 28.979 | 11.4351
2019-08-12 01:15:00 | 3.704 | 237.707 | 4.934 | 267.253 | 5.67 | 278.4 | 6.103 | 278.633 | 17.294 | 889.8 | 29.888 | 12.8271
2019-08-12 01:30:00 | 3.832 | 238.28 | 5.418 | 261.818 | 5.872 | 272.267 | 6.175 | 269.567 | 16.881 | 889.45 | 30.584 | 14.3129
2019-08-12 01:45:00 | 4.628 | 244.587 | 5.582 | 260.646 | 5.663 | 269.2 | 6.02 | 266.567 | 16.831 | 889.85 | 31.035 | 16.3743
2019-08-12 02:00:00 | 5.028 | 241.347 | 5.711 | 255.364 | 6.019 | 263 | 6.247 | 260.967 | 17.16 | 889.85 | 31.168 | 16.3779
2019-08-12 02:15:00 | 4.68 | 241.087 | 5.443 | 253.844 | 5.705 | 260.567 | 5.939 | 257.517 | 16.981 | 889.95 | 31.779 | 15.6609
2019-08-12 02:30:00 | 5.212 | 253.98 | 5.616 | 261.742 | 5.863 | 267.667 | 6.205 | 266 | 17.273 | 889.717 | 31.315 | 13.0645
2019-08-12 02:45:00 | 5.164 | 251.947 | 5.582 | 262.457 | 5.852 | 270.833 | 6.112 | 268.167 | 18.023 | 889.633 | 31.112 | 12.5607
2019-08-12 03:00:00 | 5.076 | 242.133 | 5.417 | 259.347 | 5.569 | 269.067 | 5.813 | 268.133 | 16.881 | 890.05 | 32.672 | 10.2755
2019-08-12 03:15:00 | 5.443 | 235.9 | 5.099 | 251.002 | 5.297 | 261.467 | 5.447 | 260.733 | 16.398 | 889.533 | 33.819 | 9.9401
2019-08-12 03:30:00 | 5.352 | 221.607 | 4.884 | 234.343 | 4.925 | 250.2 | 5.038 | 251.883 | 15.764 | 890.183 | 34.731 | 10.7146
2019-08-12 03:45:00 | 4.876 | 215.047 | 5.07 | 235.473 | 5.448 | 254.5 | 5.195 | 254.433 | 15.59 | 889.683 | 35.851 | 12.3667
2019-08-12 04:00:00 | 4.725 | 216.4 | 4.963 | 234.192 | 5.636 | 250.033 | 5.1 | 247.8 | 15.124 | 889.8 | 37.547 | 12.5379
2019-08-12 04:15:00 | 5.141 | 227.433 | 5.781 | 237.135 | 5.65 | 247.8 | 5.442 | 245.5 | 15.008 | 889.633 | 37.179 | 12.6268
2019-08-12 04:30:00 | 5.292 | 231.62 | 6.056 | 239.994 | 5.725 | 249.5 | 5.278 | 248.367 | 15.336 | 890 | 36.827 | 14.0472
2019-08-12 04:45:00 | 5.572 | 217.867 | 6.414 | 229.173 | 6.005 | 246.3 | 5.686 | 243.933 | 15.141 | 889.85 | 37.509 | 12.1194
2019-08-12 05:00:00 | 5.809 | 230.733 | 5.93 | 240.972 | 5.625 | 251.3 | 5.278 | 250.267 | 14.674 | 889.767 | 38.085 | 10.6926
2019-08-12 05:15:00 | 5.339 | 228.513 | 5.706 | 243.688 | 5.144 | 255 | 4.976 | 253.383 | 14.737 | 889.633 | 38.485 | 10.9683
2019-08-12 05:30:00 | 5.811 | 224.4 | 5.978 | 234.174 | 5.251 | 251 | 4.741 | 254.833 | 14.487 | 890.017 | 39.024 | 12.2594
2019-08-12 05:45:00 | 5.946 | 220.94 | 6.963 | 225.697 | 6.14 | 241.2 | 5.267 | 243.733 | 14.474 | 889.6 | 38.677 | 11.0408
2019-08-12 06:00:00 | 5.895 | 219.173 | 6.385 | 224.705 | 5.896 | 236.133 | 5.26 | 236.2 | 14.374 | 889.367 | 38.672 | 11.33
2019-08-12 06:15:00 | 6.244 | 215.987 | 6.711 | 222.596 | 6.143 | 235.5 | 5.524 | 236.033 | 13.845 | 889.617 | 39.541 | 12.6374
2019-08-12 06:30:00 | 4.874 | 221.04 | 6.966 | 224.269 | 6.208 | 236.5 | 5.581 | 235.667 | 13.745 | 889.567 | 39.595 | 12.334
2019-08-12 06:45:00 | 5.598 | 220.36 | 6.762 | 221.747 | 5.854 | 230 | 5.313 | 229.9 | 13.595 | 890.033 | 39.221 | 10.3132
2019-08-12 07:00:00 | 5.656 | 222.767 | 6.625 | 222.978 | 5.74 | 230.933 | 5.025 | 231.367 | 13.841 | 889.933 | 39.243 | 11.4081
2019-08-12 07:15:00 | 5.805 | 221.8 | 6.638 | 222.236 | 5.704 | 230.667 | 5.103 | 230.467 | 14.145 | 889.567 | 38.085 | 12.3894
2019-08-12 07:30:00 | 5.932 | 221.733 | 6.696 | 218.374 | 6.285 | 225.2 | 5.437 | 224.033 | 14.641 | 889.983 | 36.528 | 12.4776
2019-08-12 07:45:00 | 5.576 | 219.48 | 7.139 | 217.256 | 6.474 | 223.433 | 5.726 | 220.467 | 15.26 | 889.567 | 35.04 | 10.9179
2019-08-12 08:00:00 | 5.264 | 222.507 | 6.582 | 222.521 | 5.658 | 228.867 | 5.08 | 228.567 | 16.414 | 889.95 | 32.805 | 10.6315
2019-08-12 08:15:00 | 4.679 | 220.953 | 5.96 | 220.439 | 5.488 | 227.5 | 5.025 | 227.8 | 17.56 | 889.783 | 30.613 | 10.4837
2019-08-12 08:30:00 | 4.965 | 220.467 | 5.493 | 219.881 | 5.378 | 227.733 | 5.078 | 228.167 | 18.639 | 889.85 | 28.773 | 7.6514
2019-08-12 08:45:00 | 4.595 | 223.147 | 4.572 | 220.723 | 4.863 | 224.267 | 4.888 | 224.567 | 20.094 | 889.833 | 26.971 | 5.8544
2019-08-12 09:00:00 | 4.366 | 225.96 | 4.164 | 223.022 | 4.31 | 225.533 | 4.339 | 222.267 | 21.16 | 889.867 | 24.923 | 3.95
2019-08-12 09:15:00 | 3.313 | 235.067 | 3.218 | 233.427 | 3.36 | 238.033 | 3.534 | 233.2 | 22.248 | 889.567 | 23.563 | 2.6028
2019-08-12 09:30:00 | 3.954 | 244.287 | 3.877 | 242.26 | 3.921 | 247.5 | 4.054 | 244.533 | 23.114 | 889.4 | 22.464 | 2.32
2019-08-12 09:45:00 | 3.894 | 235.24 | 3.797 | 230.596 | 3.896 | 235.833 | 3.985 | 232.217 | 23.514 | 889.683 | 22.149 | 1.9889
2019-08-12 10:00:00 | 3.004 | 275.113 | 2.741 | 279.697 | 3.045 | 277.017 | 3.437 | 277.7 | 23.906 | 889.65 | 22.347 | 2.6
2019-08-12 10:15:00 | 4.579 | 279.2 | 4.872 | 282.816 | 5.112 | 286.267 | 5.224 | 282.7 | 23.014 | 889.983 | 23.461 | 2.2717
2019-08-12 10:30:00 | 2.917 | 329.373 | 2.718 | 321.073 | 2.986 | 291.333 | 3.096 | 323.333 | 22.898 | 889.533 | 22.888 | 1.0651
2019-08-12 10:45:00 | 2.669 | 233.987 | 2.273 | 237.061 | 2.941 | 253.017 | 3.222 | 250.283 | 23.435 | 890.05 | 22.613 | 1.5675
2019-08-12 11:00:00 | 1.743 | 170.482 | 1.343 | 280.552 | 1.74 | 199.3 | 2.336 | 333.067 | 23.889 | 889.583 | 22.128 | 0.70488
2019-08-12 11:15:00 | 3.002 | 246.933 | 2.503 | 253.264 | 2.412 | 267.733 | 2.462 | 270.667 | 23.652 | 889.883 | 22.115 | 0.45121
2019-08-12 11:30:00 | 4.261 | 275.413 | 4.297 | 274.673 | 4.265 | 275.733 | 4.176 | 268.983 | 24.26 | 889.933 | 21.165 | 1.1987
2019-08-12 11:45:00 | 3.687 | 283.793 | 3.583 | 295.713 | 3.834 | 299.567 | 4.009 | 299.2 | 24.956 | 889.783 | 20.468 | 1.6684
2019-08-12 12:00:00 | 4.199 | 252.673 | 4.243 | 248.657 | 4.618 | 254.15 | 4.742 | 250.317 | 25.273 | 889.567 | 19.924 | 2.6049
2019-08-12 12:15:00 | 3.299 | 216.48 | 3.397 | 213.929 | 3.684 | 216.167 | 3.844 | 210.267 | 26.302 | 889.5 | 19.2 | 0.89531
2019-08-12 12:30:00 | 2.357 | 235.737 | 2.605 | 259.276 | 3.422 | 273.3 | 3.859 | 269.567 | 25.614 | 889.5 | 18.103 | 2.3363
2019-08-12 12:45:00 | 3.169 | 276.193 | 2.812 | 270.88 | 3.187 | 269.05 | 3.597 | 260.7 | 25.244 | 889.3 | 18.56 | 3.022
2019-08-12 13:00:00 | 4.932 | 246.02 | 4.741 | 243.801 | 5.242 | 249.133 | 5.552 | 246.717 | 26.852 | 889.333 | 16.609 | 1.6862
2019-08-12 13:15:00 | 3.974 | 242.98 | 4.122 | 240.618 | 4.59 | 241.583 | 4.683 | 237.383 | 26.656 | 889.3 | 16.251 | 3.594
2019-08-12 13:30:00 | 2.188 | 207.28 | 1.52 | 196.325 | 2.377 | 199.167 | 2.96 | 198.367 | 27.118 | 889.667 | 15.979 | 1.5092
2019-08-12 13:45:00 | 4.595 | 313.973 | 4.672 | 330.816 | 5.089 | 334.767 | 5.108 | 319.267 | 27.214 | 889.667 | 15.14 | 2.9403
2019-08-12 14:00:00 | 3.19 | 268.8 | 2.88 | 263.904 | 3.519 | 267.733 | 3.734 | 264.367 | 26.814 | 889.733 | 15.648 | 2.3598
2019-08-12 14:15:00 | 1.726 | 198.857 | 1.414 | 226.845 | 2.34 | 226.3 | 2.826 | 240.367 | 27.418 | 889.5 | 14.664 | 2.3022
2019-08-12 14:30:00 | 2.775 | 275.627 | 2.187 | 276.252 | 2.631 | 288.733 | 3.158 | 280.35 | 27.744 | 889.5 | 14.144 | 4.1966
2019-08-12 14:45:00 | 3.771 | 281.373 | 3.328 | 302.334 | 3.331 | 309.1 | 3.344 | 303.25 | 28.035 | 889.2 | 13.421 | 5.1942
2019-08-12 15:00:00 | 4.022 | 319.493 | 4.015 | 313.338 | 4.154 | 314.333 | 4.131 | 312.467 | 28.518 | 889.2 | 13.148 | 3.9543
2019-08-12 15:15:00 | 4.708 | 221.993 | 4.134 | 227.131 | 4.351 | 236.167 | 4.535 | 246.5 | 29.348 | 889.633 | 12.197 | 3.5983
2019-08-12 15:30:00 | 5.59 | 304.693 | 5.198 | 301.034 | 5.573 | 305.667 | 5.572 | 302.967 | 28.498 | 889.767 | 12.252 | 6.5891
2019-08-12 15:45:00 | 3.845 | 274.807 | 3.898 | 306.81 | 4.317 | 320.967 | 4.416 | 287.333 | 29.731 | 889.733 | 11.656 | 5.2866
2019-08-12 16:00:00 | 3.302 | 145.596 | 3.24 | 203.59 | 3.529 | 207.3 | 3.898 | 230.1 | 28.639 | 889.433 | 11.841 | 3.928
2019-08-12 16:15:00 | 4.593 | 327.027 | 4.788 | 321.397 | 5.12 | 322.633 | 5.469 | 326.2 | 29.998 | 889.667 | 11.053 | 4.6507
2019-08-12 16:30:00 | 1.683 | 145.041 | 1.163 | 65.508 | 1.83 | 54.344 | 2.743 | 98.133 | 29.964 | 889 | 10.921 | 3.9806
2019-08-12 16:45:00 | 2.877 | 271.202 | 2.697 | 279.413 | 3.423 | 264.1 | 3.62 | 311.5 | 29.764 | 889.367 | 11.001 | 6.9429
2019-08-12 17:00:00 | 6.645 | 309.6 | 6.629 | 301.438 | 7.147 | 305.1 | 7.548 | 302.133 | 29.814 | 889.4 | 10.733 | 8.5225
2019-08-12 17:15:00 | 3.099 | 206.689 | 3.219 | 267.15 | 3.71 | 300.333 | 3.999 | 311.667 | 30.485 | 889.367 | 10.253 | 12.8726
2019-08-12 17:30:00 | 4.383 | 130.368 | 4.544 | 219.89 | 4.791 | 151.8 | 5.215 | 151.868 | 30.039 | 889.033 | 10.081 | 20.3258
2019-08-12 17:45:00 | 4.68 | 306.88 | 4.658 | 337.987 | 5.168 | 314.867 | 5.775 | 335.533 | 29.898 | 889.467 | 10.19 | 13.6088
2019-08-12 18:00:00 | 5.437 | 257.588 | 5.956 | 323.156 | 6.14 | 348.7 | 6.105 | 336.833 | 30.106 | 889.2 | 9.99 | 15.4719
2019-08-12 18:15:00 | 6.192 | 256.174 | 6.29 | 310.563 | 6.588 | 277.467 | 6.706 | 321.833 | 30.344 | 888.733 | 9.796 | 11.0991
2019-08-12 18:30:00 | 4.048 | 266.371 | 3.519 | 305.645 | 4.084 | 238.033 | 4.279 | 281.267 | 30.668 | 888.733 | 9.501 | 14.6306
2019-08-12 18:45:00 | 7.51 | 328.427 | 7.884 | 322.3 | 8.123 | 326.3 | 8.337 | 322.667 | 30.668 | 889.067 | 8.672 | 17.8473
2019-08-12 19:00:00 | 5.749 | 331.533 | 5.862 | 325.004 | 6.181 | 330.933 | 6.321 | 328.233 | 30.91 | 889 | 8.419 | 22.5129
2019-08-12 19:15:00 | 6.042 | 311.96 | 6.2 | 309.702 | 6.455 | 319.8 | 6.44 | 308.433 | 30.381 | 888.933 | 8.508 | 22.0418
2019-08-12 19:30:00 | 5.312 | 312.853 | 5.589 | 304.992 | 6.252 | 311.533 | 6.577 | 311.367 | 30.66 | 889.267 | 8.373 | 28.3502
2019-08-12 19:45:00 | 7.933 | 315.707 | 8.17 | 310.46 | 8.348 | 314.5 | 8.633 | 311.833 | 30.648 | 889 | 8.519 | 30.624
2019-08-12 20:00:00 | 6.626 | 322.467 | 6.964 | 315.653 | 7.151 | 320.1 | 7.519 | 320.133 | 30.385 | 888.6 | 9.073 | 29.3855
2019-08-12 20:15:00 | 7.783 | 303.333 | 8.11 | 301.379 | 8.307 | 307.5 | 8.591 | 306.767 | 29.581 | 889.267 | 9.443 | 28.2891
2019-08-12 20:30:00 | 6.579 | 306.867 | 6.75 | 304.593 | 7.064 | 310.8 | 7.587 | 312.067 | 29.848 | 889.133 | 9.769 | 23.7848
2019-08-12 20:45:00 | 6.009 | 306.067 | 6.269 | 302.928 | 6.682 | 307.033 | 7.009 | 304.8 | 29.514 | 889.467 | 10.203 | 23.4856
2019-08-12 21:00:00 | 5.168 | 314.667 | 5.743 | 309.721 | 6.342 | 314.233 | 6.852 | 313.567 | 28.914 | 889.1 | 10.111 | 19.3637
2019-08-12 21:15:00 | 4.509 | 313.533 | 5.24 | 308.361 | 5.759 | 312.467 | 6.04 | 310.367 | 28.489 | 889.533 | 10.56 | 17.0515
2019-08-12 21:30:00 | 4.283 | 310.413 | 5.08 | 306.792 | 5.744 | 310.833 | 6.245 | 307.667 | 27.673 | 889.6 | 10.925 | 13.8482
2019-08-12 21:45:00 | 3.85 | 294.68 | 4.934 | 297.287 | 5.671 | 303.7 | 6.249 | 301.067 | 27.481 | 889.5 | 11.205 | 14.4231
2019-08-12 22:00:00 | 4.225 | 292.44 | 5.138 | 296.888 | 5.657 | 303.7 | 6.108 | 301.7 | 26.506 | 889.667 | 11.74 | 16.5981
2019-08-12 22:15:00 | 4.246 | 277.533 | 5.364 | 288.647 | 6.192 | 296.7 | 6.741 | 294.833 | 26.427 | 889.4 | 11.999 | 16.8816
2019-08-12 22:30:00 | 4.43 | 278.627 | 5.519 | 285.935 | 5.992 | 292.833 | 6.487 | 291.367 | 25.81 | 889.533 | 12.316 | 15.5152
2019-08-12 22:45:00 | 4.276 | 266.867 | 5.189 | 279.263 | 5.771 | 286.933 | 6.27 | 286.433 | 25.339 | 888.967 | 12.725 | 15.7497
2019-08-12 23:00:00 | 4.486 | 256.94 | 5.107 | 270.588 | 5.629 | 280.467 | 5.998 | 282.167 | 24.385 | 889.5 | 13.412 | 15.9032
2019-08-12 23:15:00 | 4.558 | 258.46 | 5.394 | 273.404 | 5.763 | 282.367 | 6.403 | 282.533 | 24.252 | 890 | 13.857 | 16.186
2019-08-12 23:30:00 | 4.584 | 258.973 | 5.272 | 274.468 | 5.59 | 282.967 | 6.045 | 282.8 | 23.514 | 890 | 14.304 | 17.1637
2019-08-12 23:45:00 | 4.886 | 260.393 | 5.59 | 275.452 | 5.971 | 283.733 | 6.289 | 284.333 | 23.198 | 888.933 | 14.513 | 19.1192