## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-13 00:00:00 | 5.482 | 258 | 5.955 | 271.448 | 6.603 | 280.367 | 6.872 | 280.4 | 22.381 | 889.833 | 15.215 | 20.8061
2019-08-13 00:15:00 | 5.678 | 250.673 | 6.349 | 267.003 | 6.938 | 276.2 | 7.361 | 275.3 | 21.848 | 889.167 | 16.003 | 20.0749
2019-08-13 00:30:00 | 5.121 | 246.813 | 6.059 | 263.658 | 6.295 | 272.533 | 6.566 | 271.1 | 22.085 | 889.3 | 16.249 | 18.0043
2019-08-13 00:45:00 | 5.301 | 240.367 | 6.111 | 258.544 | 6.286 | 268.733 | 6.361 | 268.233 | 21.156 | 889.4 | 17.083 | 16.1974
2019-08-13 01:00:00 | 4.832 | 245.847 | 5.838 | 257.184 | 6.106 | 265.6 | 6.381 | 262.633 | 21.235 | 889.4 | 16.747 | 14.3861
2019-08-13 01:15:00 | 5.354 | 217.76 | 5.255 | 234.838 | 5.544 | 251.6 | 5.699 | 252.4 | 19.673 | 889.733 | 18.109 | 18.5017
2019-08-13 01:30:00 | 6.052 | 212.633 | 7.042 | 217.612 | 6.621 | 227.667 | 6.023 | 226 | 19.998 | 889.733 | 18.229 | 21.6083
2019-08-13 01:45:00 | 5.783 | 215.193 | 7.32 | 216.58 | 7.42 | 223.1 | 7.326 | 220 | 19.76 | 890 | 18.528 | 21.263
2019-08-13 02:00:00 | 5.915 | 219.773 | 6.835 | 221.452 | 6.955 | 226.733 | 6.729 | 222.767 | 19.973 | 889.067 | 18.845 | 19.6678
2019-08-13 02:15:00 | 4.635 | 237.447 | 6.079 | 232.865 | 6.329 | 238.867 | 6.25 | 234.4 | 19.527 | 889.433 | 18.568 | 20.2938
2019-08-13 02:30:00 | 5.343 | 236.04 | 6.019 | 237.567 | 6.099 | 244.6 | 6.087 | 239.767 | 19.31 | 889.467 | 18.384 | 26.3954
2019-08-13 02:45:00 | 6.35 | 238.427 | 7.217 | 237.871 | 7.63 | 244.3 | 7.666 | 239.7 | 19.048 | 889.467 | 18.845 | 25.4298
2019-08-13 03:00:00 | 6.282 | 233.107 | 7.019 | 234.545 | 7.173 | 242.067 | 6.923 | 237.533 | 19.177 | 889.367 | 19 | 23.109
2019-08-13 03:15:00 | 6.259 | 224.633 | 7.093 | 231.243 | 6.923 | 238.667 | 6.631 | 236.267 | 18.889 | 889.667 | 19.68 | 21.3689
2019-08-13 03:30:00 | 6.365 | 222.047 | 6.956 | 232.276 | 6.727 | 242.4 | 6.338 | 241.9 | 18.681 | 889.667 | 19.8 | 18.3916
2019-08-13 03:45:00 | 5.996 | 222.853 | 6.702 | 231.474 | 6.37 | 244.967 | 6.074 | 243.833 | 17.968 | 889.883 | 20.552 | 18.0797
2019-08-13 04:00:00 | 6.309 | 220.893 | 7.2 | 226.066 | 6.602 | 235.567 | 5.894 | 236.367 | 17.506 | 889.567 | 20.531 | 18.0292
2019-08-13 04:15:00 | 6.83 | 214.367 | 7.478 | 220.894 | 7.09 | 229.867 | 6.27 | 228.267 | 17.914 | 889.833 | 21.125 | 16.353
2019-08-13 04:30:00 | 6.369 | 217.847 | 6.99 | 223.235 | 6.406 | 235.167 | 5.658 | 235.7 | 17.452 | 889.833 | 21.472 | 18.6886
2019-08-13 04:45:00 | 6.99 | 217.887 | 7.172 | 223.143 | 6.617 | 234 | 5.966 | 232.167 | 17.527 | 889.917 | 21.648 | 22.4262
2019-08-13 05:00:00 | 6.362 | 218.347 | 6.853 | 226.814 | 7.078 | 234.933 | 6.74 | 231.967 | 17.231 | 889.65 | 21.669 | 25.5214
2019-08-13 05:15:00 | 6.438 | 218.407 | 7.168 | 227.867 | 6.975 | 236.5 | 6.488 | 233.867 | 16.548 | 889.367 | 21.984 | 26.1652
2019-08-13 05:30:00 | 6.244 | 217.807 | 7.423 | 223.239 | 7.252 | 233.733 | 6.818 | 231.9 | 16.431 | 889.983 | 21.925 | 31.1164
2019-08-13 05:45:00 | 6.22 | 217.193 | 8.152 | 222.256 | 8.089 | 236.167 | 7.769 | 236.1 | 16.581 | 889.583 | 22.432 | 33.3909
2019-08-13 06:00:00 | 6.84 | 219.793 | 7.894 | 228.731 | 7.899 | 239.6 | 7.708 | 237.167 | 16.531 | 889.483 | 22.469 | 33.872
2019-08-13 06:15:00 | 7.197 | 217.067 | 8.135 | 226.25 | 7.961 | 236.5 | 7.693 | 234.3 | 16.714 | 889.4 | 22.411 | 38.2484
2019-08-13 06:30:00 | 7.076 | 216.687 | 8.087 | 224.617 | 8.121 | 233.167 | 7.765 | 229.533 | 16.414 | 889.267 | 22.789 | 37.5158
2019-08-13 06:45:00 | 6.548 | 218.227 | 8.638 | 218.538 | 8.625 | 223.7 | 8.345 | 220.767 | 16.514 | 890 | 22.784 | 48.7108
2019-08-13 07:00:00 | 7.783 | 215.047 | 10.187 | 217.376 | 9.938 | 223.8 | 9.397 | 221.1 | 16.498 | 889.483 | 22.171 | 47.1681
2019-08-13 07:15:00 | 6.927 | 218.28 | 9.132 | 215.873 | 8.814 | 220.733 | 9.151 | 217.8 | 17.294 | 889.667 | 20.869 | 48.6234
2019-08-13 07:30:00 | 6.605 | 216.333 | 9.371 | 216.078 | 9.438 | 221.4 | 9.29 | 218.6 | 17.773 | 889.067 | 19.877 | 49.9003
2019-08-13 07:45:00 | 6.59 | 219.66 | 8.984 | 217.035 | 9.66 | 224.233 | 9.201 | 222.1 | 19.202 | 889.4 | 18.629 | 43.1158
2019-08-13 08:00:00 | 6.439 | 221.88 | 8.17 | 221.996 | 8.653 | 231.067 | 8.715 | 229.467 | 20.264 | 889.3 | 17.757 | 37.4113
2019-08-13 08:15:00 | 5.404 | 228.593 | 6.934 | 228.408 | 7.883 | 239.4 | 7.978 | 237.333 | 21.635 | 889.633 | 16.664 | 33.2147
2019-08-13 08:30:00 | 5.739 | 230.093 | 6.48 | 228.96 | 7.343 | 235.6 | 7.526 | 232.433 | 22.948 | 889.1 | 15.808 | 29.5937
2019-08-13 08:45:00 | 6.208 | 235.533 | 6.536 | 234.872 | 7.228 | 240.2 | 7.359 | 236.167 | 24.394 | 889.367 | 14.92 | 28.6195
2019-08-13 09:00:00 | 6.289 | 241.46 | 6.428 | 238.218 | 6.817 | 242.167 | 7.058 | 237.117 | 25.11 | 889.667 | 14.245 | 29.4686
2019-08-13 09:15:00 | 6.484 | 243.933 | 6.501 | 241.056 | 6.823 | 246.067 | 6.818 | 241.233 | 25.714 | 889.5 | 13.824 | 30.9502
2019-08-13 09:30:00 | 6.562 | 246.46 | 6.718 | 243.899 | 7.137 | 248.717 | 7.045 | 244.75 | 26.048 | 889.5 | 13.693 | 27.8819
2019-08-13 09:45:00 | 6.415 | 264.767 | 6.544 | 266.375 | 6.93 | 270.483 | 7.044 | 269 | 26.852 | 889.6 | 13.537 | 39.2986
2019-08-13 10:00:00 | 7.938 | 266.607 | 8.504 | 269.692 | 8.567 | 274.3 | 8.63 | 270.933 | 26.723 | 889.433 | 14.212 | 41.5497
2019-08-13 10:15:00 | 7.463 | 280.373 | 7.871 | 282.745 | 7.925 | 284.467 | 8.298 | 280.1 | 26.794 | 889.533 | 14.588 | 40.7617
2019-08-13 10:30:00 | 8.122 | 276.307 | 8.546 | 276.168 | 8.836 | 280.667 | 8.899 | 276.9 | 26.614 | 889.633 | 14.873 | 38.9412
2019-08-13 10:45:00 | 8.132 | 276.927 | 8.817 | 280.248 | 8.991 | 284.267 | 9.028 | 281.6 | 26.485 | 889.533 | 15.069 | 45.4045
2019-08-13 11:00:00 | 8.156 | 282.127 | 8.529 | 285.821 | 8.511 | 289.967 | 8.843 | 287.867 | 26.956 | 889.767 | 15.18 | 51.4074
2019-08-13 11:15:00 | 8.322 | 279.013 | 9.274 | 282.3 | 9.454 | 286.6 | 9.806 | 283.8 | 27.31 | 889.467 | 15.396 | 51.0222
2019-08-13 11:30:00 | 7.118 | 280.86 | 7.67 | 279.909 | 7.906 | 284.6 | 8.383 | 281.583 | 27.285 | 889.533 | 15.435 | 52.783
2019-08-13 11:45:00 | 8.703 | 290.14 | 9.666 | 289.119 | 10.024 | 293.8 | 10.329 | 292.167 | 27.789 | 888.933 | 15.581 | 52.1499
2019-08-13 12:00:00 | 8.435 | 279.067 | 9.057 | 281.364 | 9.454 | 285.567 | 9.586 | 281.85 | 27.968 | 889.233 | 15.431 | 49.9649
2019-08-13 12:15:00 | 8.783 | 292.44 | 9.19 | 289.516 | 9.252 | 291.333 | 9.683 | 290 | 28.244 | 889.633 | 14.948 | 52.3958
2019-08-13 12:30:00 | 7.635 | 300.813 | 7.697 | 295.519 | 8.3 | 295.5 | 8.706 | 294.033 | 28.348 | 889.633 | 14.92 | 50.3643
2019-08-13 12:45:00 | 8.316 | 272.827 | 9.124 | 274.499 | 9.297 | 282.067 | 9.774 | 280.867 | 28.844 | 889.5 | 13.697 | 55.5521
2019-08-13 13:00:00 | 7.439 | 285.467 | 7.833 | 282.639 | 8.162 | 288.733 | 8.272 | 286.567 | 29.448 | 889.733 | 13.332 | 57.3939
2019-08-13 13:15:00 | 8.086 | 274.093 | 8.691 | 272.929 | 9.075 | 277.633 | 9.267 | 274.333 | 29.448 | 889.233 | 13.139 | 60.5723
2019-08-13 13:30:00 | 8.934 | 281.987 | 9.351 | 283.956 | 9.588 | 288.1 | 9.991 | 283.633 | 29.573 | 889.133 | 13.048 | 62.8461
2019-08-13 13:45:00 | 9.318 | 277.44 | 9.757 | 281.207 | 9.814 | 289.6 | 10.04 | 288.633 | 29.852 | 889.3 | 12.876 | 60.757
2019-08-13 14:00:00 | 9.176 | 292.827 | 9.616 | 290.146 | 9.864 | 295.233 | 10.339 | 292.133 | 29.981 | 889.9 | 11.608 | 61.8086
2019-08-13 14:15:00 | 8.075 | 268.927 | 8.689 | 269.045 | 8.758 | 275.367 | 8.998 | 271.433 | 30.36 | 889.567 | 11.891 | 70.3923
2019-08-13 14:30:00 | 10.073 | 287.44 | 10.687 | 285.173 | 10.71 | 288.7 | 11.074 | 287.467 | 30.106 | 889.3 | 11.565 | 71.1249
2019-08-13 14:45:00 | 10.56 | 295.88 | 11.022 | 294.012 | 11.277 | 297.6 | 11.92 | 294.7 | 31.312 | 889.967 | 10.647 | 69.0834
2019-08-13 15:00:00 | 9.034 | 289.8 | 9.482 | 290.326 | 9.562 | 297.833 | 9.968 | 296.4 | 30.068 | 889.567 | 10.776 | 66.4792
2019-08-13 15:15:00 | 9.69 | 285.927 | 10.167 | 285.14 | 10.293 | 290.7 | 10.58 | 286.633 | 30.577 | 889.1 | 10.486 | 68.1576
2019-08-13 15:30:00 | 10.808 | 309.76 | 11.383 | 306.792 | 11.66 | 312.667 | 11.982 | 310.467 | 30.485 | 889.233 | 9.809 | 66.8665
2019-08-13 15:45:00 | 9.691 | 305.72 | 10.154 | 303.114 | 10.543 | 309.2 | 11.133 | 307.367 | 30.694 | 888.933 | 9.999 | 68.6777
2019-08-13 16:00:00 | 8.482 | 283.52 | 8.936 | 278.736 | 9.355 | 283.667 | 9.458 | 278.433 | 30.828 | 889.3 | 9.99 | 64.8584
2019-08-13 16:15:00 | 11.17 | 301.72 | 11.61 | 297.115 | 11.786 | 303.1 | 11.815 | 299.1 | 30.948 | 888.933 | 9.096 | 60.0578
2019-08-13 16:30:00 | 10.085 | 300.58 | 10.831 | 294.81 | 11.225 | 298.467 | 11.053 | 294.9 | 30.848 | 888.933 | 9.313 | 57.6731
2019-08-13 16:45:00 | 10.681 | 307.76 | 11.153 | 304.174 | 11.487 | 307.367 | 11.983 | 303.967 | 31.244 | 889.333 | 9.127 | 56.0999
2019-08-13 17:00:00 | 9.997 | 282.72 | 10.634 | 281.369 | 10.893 | 286.733 | 11.185 | 283.8 | 31.448 | 888.867 | 8.501 | 51.1793
2019-08-13 17:15:00 | 8.896 | 293.027 | 9.36 | 290.161 | 10.093 | 294.733 | 10.477 | 293.733 | 31.224 | 889.067 | 8.403 | 48.8323
2019-08-13 17:30:00 | 10.448 | 302.173 | 10.492 | 298.112 | 11.033 | 304.3 | 11.424 | 300.2 | 31.035 | 889.2 | 8.277 | 48.2766
2019-08-13 17:45:00 | 10.565 | 297.48 | 11.223 | 296.557 | 11.263 | 302.033 | 11.521 | 298.767 | 31.578 | 889.4 | 8.481 | 49.6466
2019-08-13 18:00:00 | 10.254 | 303.72 | 10.249 | 301.998 | 10.446 | 307.933 | 11.09 | 305.5 | 30.981 | 888.733 | 8.753 | 50.9313
2019-08-13 18:15:00 | 10.448 | 284.98 | 11.056 | 283.287 | 10.938 | 288.967 | 11.311 | 285.567 | 31.655 | 888.933 | 8.756 | 49.8775
2019-08-13 18:30:00 | 8.595 | 295.707 | 9.023 | 293.918 | 9.3 | 297.233 | 9.8 | 293.633 | 31.455 | 888.867 | 9.16 | 48.8365
2019-08-13 18:45:00 | 8.648 | 297.507 | 8.706 | 292.228 | 8.906 | 298.333 | 9.329 | 295.467 | 31.747 | 888.867 | 9.806 | 50.5867
2019-08-13 19:00:00 | 9.088 | 297.347 | 9.948 | 296.251 | 10.36 | 301.4 | 10.948 | 300.167 | 31.387 | 889.1 | 9.788 | 48.8038
2019-08-13 19:15:00 | 8.216 | 298.013 | 8.906 | 297.608 | 9.352 | 300.6 | 9.73 | 297.567 | 31.928 | 888.933 | 9.508 | 54.8081
2019-08-13 19:30:00 | 8.368 | 291.78 | 8.831 | 291.118 | 9.336 | 296.367 | 9.823 | 295.467 | 31.389 | 889.067 | 10 | 56.3714
2019-08-13 19:45:00 | 8.718 | 288.267 | 9.073 | 288.731 | 9.527 | 292.633 | 10.083 | 289.633 | 31.131 | 889.467 | 10.511 | 54.1317
2019-08-13 20:00:00 | 7.793 | 304.72 | 8.366 | 299.161 | 8.932 | 304.133 | 9.434 | 301.467 | 30.423 | 889.733 | 10.952 | 48.4415
2019-08-13 20:15:00 | 7.471 | 286.627 | 8.536 | 284.124 | 8.953 | 288.8 | 9.431 | 284.767 | 30.923 | 889.7 | 10.948 | 53.4346
2019-08-13 20:30:00 | 7.75 | 292.133 | 8.414 | 291.764 | 8.857 | 296.567 | 9.34 | 294.167 | 30.727 | 889.533 | 10.994 | 48.6255
2019-08-13 20:45:00 | 6.815 | 289.933 | 7.682 | 287.103 | 8.045 | 292.533 | 8.696 | 289.167 | 29.931 | 889.233 | 11.684 | 45.3718
2019-08-13 21:00:00 | 6.166 | 283.22 | 7.13 | 282.347 | 7.658 | 287.5 | 8.24 | 284.4 | 29.798 | 889.433 | 12.433 | 35.7685
2019-08-13 21:15:00 | 5.904 | 273.533 | 6.671 | 272.968 | 7.078 | 279.4 | 7.235 | 276.267 | 29.298 | 889.5 | 13.129 | 31.8384
2019-08-13 21:30:00 | 6.107 | 265.353 | 7.446 | 271.658 | 7.988 | 276.367 | 8.551 | 272.8 | 28.798 | 889.6 | 14.028 | 29.6001
2019-08-13 21:45:00 | 5.97 | 261.44 | 7.008 | 268.346 | 7.394 | 272.967 | 7.566 | 268.533 | 28.273 | 889.567 | 14.275 | 21.3873
2019-08-13 22:00:00 | 4.523 | 262.36 | 5.776 | 266.199 | 6.497 | 274.433 | 6.896 | 270.633 | 27.589 | 889.5 | 14.853 | 25.1057
2019-08-13 22:15:00 | 4.848 | 258.26 | 6.414 | 263.862 | 7.019 | 270.267 | 7.313 | 266.167 | 26.981 | 889.333 | 15.459 | 32.2306
2019-08-13 22:30:00 | 5.608 | 264.407 | 6.911 | 266.479 | 7.414 | 272.967 | 7.928 | 267.8 | 27.094 | 889.7 | 15.824 | 27.6624
2019-08-13 22:45:00 | 5.304 | 255.473 | 6.506 | 261.06 | 6.98 | 268.267 | 7.254 | 265.267 | 26.794 | 889.733 | 15.899 | 19.3317
2019-08-13 23:00:00 | 4.956 | 253.933 | 6.351 | 260.442 | 6.884 | 267.1 | 7.236 | 263.233 | 26.344 | 889.4 | 16.315 | 16.6351
2019-08-13 23:15:00 | 4.903 | 224.147 | 5.512 | 233.418 | 5.592 | 244.333 | 5.672 | 245.433 | 24.777 | 889.6 | 16.736 | 20.5446
2019-08-13 23:30:00 | 5.139 | 223.287 | 5.844 | 233.983 | 5.847 | 246.467 | 5.888 | 245.533 | 24.435 | 889.967 | 17.12 | 24.0328
2019-08-13 23:45:00 | 5.861 | 231.927 | 6.141 | 240.093 | 6.331 | 253.4 | 6.518 | 251.817 | 23.923 | 889.5 | 17.685 | 22.3153