## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-14 00:00:00 | 4.683 | 234.387 | 5.969 | 245.521 | 6.198 | 257.533 | 6.488 | 255.75 | 23.698 | 889.467 | 18.032 | 25.3175
2019-08-14 00:15:00 | 5.406 | 234.96 | 6.55 | 246.102 | 6.792 | 256.367 | 7.211 | 255.917 | 23.414 | 889.6 | 18.235 | 25.7715
2019-08-14 00:30:00 | 5.435 | 227.693 | 6.338 | 233.739 | 6.169 | 246.767 | 5.921 | 247.467 | 23.464 | 889.4 | 18.376 | 31.061
2019-08-14 00:45:00 | 6.019 | 227.113 | 6.935 | 234.279 | 6.952 | 245.433 | 6.823 | 245.367 | 22.931 | 889.367 | 18.736 | 38.8808
2019-08-14 01:00:00 | 6.163 | 232.767 | 7.326 | 238.102 | 7.353 | 248.833 | 7.349 | 247.9 | 23.198 | 889.733 | 18.771 | 41.2768
2019-08-14 01:15:00 | 6.181 | 234.047 | 7.891 | 237.331 | 8.109 | 246.567 | 7.906 | 245 | 22.914 | 889.6 | 18.779 | 39.3753
2019-08-14 01:30:00 | 4.701 | 238.487 | 6.866 | 237.141 | 7.297 | 245.967 | 7.165 | 244.033 | 22.931 | 889.167 | 18.939 | 38.561
2019-08-14 01:45:00 | 6.445 | 236.767 | 7.871 | 237.748 | 8.165 | 245.6 | 7.884 | 242.633 | 23.048 | 889.733 | 18.909 | 31.9975
2019-08-14 02:00:00 | 5.782 | 238.467 | 7.243 | 241.691 | 7.453 | 249.4 | 7.119 | 247.733 | 23.181 | 889.6 | 19.176 | 19.817
2019-08-14 02:15:00 | 5.421 | 245.233 | 6.297 | 250.038 | 6.16 | 257.8 | 6.26 | 257.817 | 22.698 | 889.567 | 19.752 | 15.0569
2019-08-14 02:30:00 | 4.422 | 221.32 | 5.07 | 233.538 | 5.066 | 246.633 | 4.888 | 245.4 | 22.048 | 889.567 | 20.632 | 14.5886
2019-08-14 02:45:00 | 5.616 | 234.26 | 5.449 | 243.448 | 5.211 | 255.433 | 5.284 | 256.65 | 21.298 | 889.917 | 21.621 | 19.8809
2019-08-14 03:00:00 | 5.648 | 225.273 | 6.865 | 232.616 | 6.648 | 244.1 | 5.974 | 243.067 | 21.289 | 889.567 | 22.453 | 30.479
2019-08-14 03:15:00 | 6.398 | 218.78 | 7.72 | 221.849 | 7.576 | 232.367 | 7.177 | 230.333 | 20.094 | 889.5 | 23.045 | 32.2228
2019-08-14 03:30:00 | 6.6 | 226.06 | 7.673 | 228.547 | 7.789 | 236.6 | 7.553 | 232.467 | 20.123 | 889.9 | 22.885 | 34.7048
2019-08-14 03:45:00 | 6.056 | 221.747 | 7.93 | 226.552 | 8.088 | 236.1 | 7.833 | 233.167 | 19.631 | 889.833 | 23.216 | 33.7398
2019-08-14 04:00:00 | 6.25 | 222.013 | 8.188 | 224.944 | 8.26 | 232.667 | 7.817 | 230.533 | 19.885 | 889.85 | 23.275 | 35.3251
2019-08-14 04:15:00 | 6.247 | 222.6 | 8.168 | 223.899 | 8.28 | 230.333 | 8.082 | 227.1 | 19.552 | 889.7 | 23.061 | 34.5833
2019-08-14 04:30:00 | 6.782 | 218.927 | 8.352 | 220.748 | 8.223 | 225.667 | 8.216 | 222.4 | 19.76 | 889.783 | 22.88 | 30.8819
2019-08-14 04:45:00 | 6.463 | 221.893 | 8.274 | 222.412 | 7.945 | 227.467 | 7.924 | 223.767 | 19.656 | 889.717 | 23.243 | 24.8897
2019-08-14 05:00:00 | 6.31 | 218.087 | 7.94 | 220.602 | 7.534 | 228.7 | 7.544 | 225.067 | 19.289 | 889.767 | 23.867 | 22.6763
2019-08-14 05:15:00 | 6.628 | 220.147 | 7.359 | 223.054 | 7.491 | 231.533 | 7.171 | 228.133 | 18.935 | 889.867 | 24.427 | 21.0875
2019-08-14 05:30:00 | 6.294 | 224.973 | 7.128 | 228.427 | 6.968 | 237.667 | 6.647 | 235.333 | 19.264 | 889.517 | 24.704 | 31.4191
2019-08-14 05:45:00 | 7.462 | 217.733 | 9.727 | 213.847 | 9.197 | 221.5 | 8.331 | 220.567 | 18.318 | 890.217 | 25.627 | 30.398
2019-08-14 06:00:00 | 7.066 | 220.327 | 9 | 219.259 | 8.798 | 224.033 | 8.067 | 221.667 | 18.339 | 889.967 | 25.696 | 29.8019
2019-08-14 06:15:00 | 7.024 | 215.413 | 8.775 | 215.227 | 8.524 | 219.2 | 8.247 | 216.533 | 18.277 | 889.783 | 26.325 | 30.8748
2019-08-14 06:30:00 | 7.135 | 220.32 | 8.858 | 218.827 | 8.475 | 221.9 | 8.492 | 219.167 | 18.273 | 889.7 | 26.997 | 26.7798
2019-08-14 06:45:00 | 6.693 | 218.4 | 8.548 | 219.381 | 7.841 | 224.1 | 7.7 | 222.333 | 18.673 | 889.95 | 27.344 | 24.2623
2019-08-14 07:00:00 | 6.691 | 218.553 | 8.772 | 220.14 | 7.708 | 226.1 | 7.452 | 224.5 | 18.41 | 889.85 | 27.504 | 24.6886
2019-08-14 07:15:00 | 6.536 | 220.167 | 8.624 | 221.472 | 7.652 | 228.867 | 7.268 | 227.4 | 18.389 | 889.517 | 27.083 | 25.2173
2019-08-14 07:30:00 | 6.606 | 216.713 | 8.275 | 220.232 | 7.837 | 226.667 | 7.59 | 225.5 | 18.702 | 889.783 | 26.613 | 27.4883
2019-08-14 07:45:00 | 6.576 | 217.907 | 9.168 | 219.721 | 8.26 | 225.267 | 7.808 | 223.267 | 19.431 | 890.05 | 25.563 | 27.042
2019-08-14 08:00:00 | 6.428 | 223.227 | 8.675 | 222.218 | 7.856 | 229.567 | 7.587 | 227.967 | 20.714 | 889.917 | 24.064 | 21.6467
2019-08-14 08:15:00 | 6.028 | 219.66 | 7.622 | 220.278 | 7.158 | 228.033 | 6.835 | 227.633 | 21.652 | 889.85 | 22.608 | 19.3175
2019-08-14 08:30:00 | 5.858 | 224 | 6.886 | 221.24 | 7.135 | 227.4 | 6.892 | 225.367 | 22.764 | 889.667 | 21.323 | 19.4326
2019-08-14 08:45:00 | 6.007 | 225.36 | 6.37 | 222.618 | 7.082 | 227.133 | 7.16 | 223.433 | 24.089 | 889.367 | 19.472 | 15.0903
2019-08-14 09:00:00 | 5.617 | 227.96 | 5.672 | 224.074 | 6.064 | 229.633 | 6.394 | 226.367 | 25.614 | 889.233 | 18.123 | 13.7814
2019-08-14 09:15:00 | 5.518 | 223.88 | 5.424 | 222.967 | 5.625 | 228.833 | 5.76 | 225.6 | 26.681 | 889.633 | 17.368 | 16.1618
2019-08-14 09:30:00 | 5.809 | 230.587 | 6.126 | 230.557 | 6.342 | 233.1 | 6.548 | 227.9 | 27.335 | 889.833 | 16.464 | 18.0505
2019-08-14 09:45:00 | 5.895 | 244.66 | 5.952 | 243.85 | 6.281 | 246.733 | 6.382 | 241.317 | 28.581 | 889.333 | 15.429 | 13.9186
2019-08-14 10:00:00 | 5.596 | 243.293 | 5.582 | 240.859 | 5.933 | 246.2 | 6.035 | 240.6 | 28.26 | 889.367 | 13.811 | 15.6254
2019-08-14 10:15:00 | 5.664 | 243.147 | 5.807 | 237.114 | 5.966 | 241.583 | 5.996 | 235.817 | 29.131 | 889.267 | 12.997 | 14.1005
2019-08-14 10:30:00 | 4.832 | 249.5 | 4.966 | 244.144 | 5.302 | 247.717 | 5.564 | 241.617 | 29.364 | 889.333 | 13.052 | 12.8726
2019-08-14 10:45:00 | 5.268 | 247.253 | 5.33 | 243.983 | 5.615 | 249.033 | 5.76 | 244.15 | 29.331 | 889 | 12.868 | 11.5702
2019-08-14 11:00:00 | 4.745 | 264.7 | 4.938 | 263.526 | 5.334 | 268.3 | 5.633 | 264.15 | 29.148 | 889.467 | 12.816 | 11.4181
2019-08-14 11:15:00 | 4.125 | 267.933 | 4.188 | 275.662 | 4.38 | 279.767 | 4.405 | 279.033 | 28.785 | 889.6 | 14 | 8.3421
2019-08-14 11:30:00 | 3.127 | 257.907 | 2.79 | 254.916 | 3.35 | 253.633 | 3.786 | 249.333 | 29.898 | 889.333 | 13.061 | 6.0221
2019-08-14 11:45:00 | 3.882 | 243.247 | 4.102 | 249.226 | 4.504 | 259.15 | 4.576 | 255.7 | 30.556 | 889.133 | 12.575 | 5.0059
2019-08-14 12:00:00 | 3.678 | 312.427 | 3.466 | 305.983 | 3.996 | 311.433 | 4.361 | 306.133 | 30.268 | 889.667 | 12.379 | 5.7634
2019-08-14 12:15:00 | 5.036 | 274.227 | 5.284 | 273.989 | 5.424 | 279.867 | 5.76 | 279 | 30.481 | 889.267 | 12.453 | 5.315
2019-08-14 12:30:00 | 3.926 | 328.013 | 3.426 | 319.922 | 3.819 | 308.075 | 4.468 | 312.117 | 30.385 | 889.367 | 12.44 | 5.9787
2019-08-14 12:45:00 | 3.925 | 246.413 | 3.627 | 244.946 | 3.638 | 250.317 | 3.627 | 251.467 | 31.065 | 889.5 | 12.292 | 3.567
2019-08-14 13:00:00 | 5.002 | 298.28 | 5.142 | 295.56 | 5.466 | 299.267 | 5.663 | 294.3 | 31.327 | 889.233 | 11.583 | 7.2947
2019-08-14 13:15:00 | 4.97 | 279.067 | 5.045 | 274.366 | 5.448 | 281.233 | 5.765 | 278 | 31.342 | 889.367 | 11.296 | 7.7459
2019-08-14 13:30:00 | 4.767 | 294.853 | 4.646 | 292.855 | 5.02 | 298.733 | 5.605 | 296.467 | 31.287 | 889.467 | 10.667 | 9.8989
2019-08-14 13:45:00 | 4.206 | 318.667 | 4.096 | 315.5 | 4.678 | 282.667 | 4.982 | 329.4 | 31.814 | 889.633 | 10.737 | 6.901
2019-08-14 14:00:00 | 6.937 | 316.613 | 6.957 | 310.175 | 6.992 | 316.3 | 7.258 | 316.233 | 32.178 | 889.233 | 9.815 | 10.0268
2019-08-14 14:15:00 | 3.485 | 224.67 | 3.469 | 298.737 | 3.916 | 310.233 | 4.33 | 306.867 | 32.404 | 889.233 | 10.221 | 11.654
2019-08-14 14:30:00 | 3.908 | 235.279 | 3.611 | 301.813 | 3.979 | 268.701 | 4.416 | 290.867 | 32.25 | 889.133 | 9.743 | 7.0289
2019-08-14 14:45:00 | 5.334 | 312.733 | 5.097 | 312.579 | 5.464 | 320.4 | 5.916 | 309.6 | 32.763 | 889.2 | 9.395 | 5.8764
2019-08-14 15:00:00 | 4.271 | 315.094 | 3.859 | 324.949 | 4.254 | 318.2 | 4.699 | 235.667 | 32.141 | 888.933 | 9.248 | 5.5232
2019-08-14 15:15:00 | 3.282 | 174.368 | 2.604 | 162.537 | 3.456 | 222.933 | 4.012 | 198 | 32.813 | 889.067 | 8.669 | 3.9479
2019-08-14 15:30:00 | 3.738 | 306.76 | 3.241 | 310.531 | 3.567 | 315 | 4.018 | 311.9 | 32.863 | 889.267 | 8.678 | 3.8584
2019-08-14 15:45:00 | 3.256 | 217.28 | 2.928 | 297.405 | 3.465 | 265.967 | 3.772 | 252.367 | 33.363 | 889.133 | 8.431 | 3.8726
2019-08-14 16:00:00 | 3.914 | 179.242 | 3.82 | 315.942 | 4.14 | 282.533 | 4.32 | 315.533 | 33.346 | 889 | 8.655 | 1.3813
2019-08-14 16:15:00 | 3.395 | 315.907 | 3.583 | 309.485 | 4.09 | 291.8 | 4.427 | 296.2 | 33.971 | 889.267 | 8.57 | 1.4368
2019-08-14 16:30:00 | 4.183 | 183.815 | 4.06 | 230.631 | 4.462 | 250.567 | 4.65 | 282.233 | 34.096 | 888.933 | 8.825 | 1.8034
2019-08-14 16:45:00 | 0.991 | 181.283 | 0.043 | 148.12 | 0.166 | 122.433 | 0.101 | 79.667 | 33.58 | 889 | 8.765 | 0.30696
2019-08-14 17:00:00 | 3.62 | 240.44 | 3.198 | 314.043 | 3.84 | 316.9 | 4.21 | 316.967 | 33.938 | 888.8 | 8.606 | 0.20251
2019-08-14 17:15:00 | 1.583 | 216.767 | 0.92 | 224.438 | 1.15 | 237.867 | 1.323 | 215.9 | 34.88 | 888.867 | 8.608 | 1.6272
2019-08-14 17:30:00 | 3.007 | 322.107 | 2.281 | 324.482 | 2.992 | 332.233 | 3.091 | 327.267 | 33.58 | 889 | 8.245 | 0.56064
2019-08-14 17:45:00 | 3.821 | 313.08 | 3.587 | 314.593 | 3.877 | 323.9 | 4.071 | 327.367 | 33.946 | 888.867 | 8.051 | 0.53079
2019-08-14 18:00:00 | 4.322 | 127.083 | 4.16 | 176.481 | 4.664 | 132.967 | 4.6 | 126.467 | 34.013 | 889 | 8.054 | 0.93653
2019-08-14 18:15:00 | 2.056 | 179.277 | 1.366 | 187.731 | 1.662 | 180.667 | 2.217 | 156.267 | 34.613 | 889.067 | 7.795 | 1.0417
2019-08-14 18:30:00 | 3.637 | 189.293 | 3.422 | 236.06 | 3.251 | 107.167 | 3.468 | 130.833 | 34.33 | 889 | 8.215 | 1.2989
2019-08-14 18:45:00 | 1.554 | 43.822 | 0.46 | 56.652 | 1.384 | 53.933 | 1.757 | 45.967 | 34.538 | 889 | 7.799 | 0.13998
2019-08-14 19:00:00 | 3.558 | 308.267 | 3.214 | 320.649 | 3.537 | 328.633 | 3.866 | 328.267 | 34.713 | 889.133 | 7.5 | 0.59119
2019-08-14 19:15:00 | 2.581 | 50.638 | 1.845 | 39.746 | 2.114 | 41.533 | 2.586 | 33.8 | 34.096 | 889.133 | 8.209 | 1.5185
2019-08-14 19:30:00 | 3.319 | 310.12 | 2.684 | 311.062 | 2.947 | 321.133 | 3.234 | 302.468 | 34.53 | 889 | 8.221 | 0.85481
2019-08-14 19:45:00 | 1.791 | 280.161 | 1.223 | 342.238 | 1.981 | 314.733 | 2.746 | 345.5 | 34.33 | 889.4 | 8.339 | 0.31478
2019-08-14 20:00:00 | 2.575 | 80.48 | 1.336 | 69.711 | 1.789 | 62.367 | 2.085 | 95.633 | 34.313 | 889.133 | 8.16 | 1.8894
2019-08-14 20:15:00 | 3.501 | 24.163 | 3.378 | 19.764 | 3.669 | 25.667 | 3.978 | 24.767 | 33.63 | 888.8 | 7.817 | 2.8011
2019-08-14 20:30:00 | 3.675 | 12.749 | 4.154 | 36.05 | 4.282 | 16.867 | 4.31 | 35.7 | 33.396 | 889.267 | 8.313 | 3.4022
2019-08-14 20:45:00 | 3.301 | 14.524 | 2.752 | 9.927 | 3.233 | 17.5 | 3.508 | 16.4 | 32.913 | 889.267 | 8.805 | 3.6459
2019-08-14 21:00:00 | 3.338 | 28.639 | 3.499 | 23.039 | 3.644 | 28.133 | 3.908 | 25.367 | 32.624 | 889.2 | 8.868 | 2.5865
2019-08-14 21:15:00 | 2.982 | 29.602 | 2.857 | 26.572 | 3.07 | 27.233 | 3.257 | 22.633 | 31.631 | 888.733 | 9.452 | 0.72478
2019-08-14 21:30:00 | 2.696 | 42.325 | 2.418 | 27.626 | 2.548 | 26.033 | 2.834 | 24.933 | 31.591 | 889.267 | 9.74 | 0.34107
2019-08-14 21:45:00 | 0 | 30.088 | 0 | 21.069 | 0.03 | 23.033 | 1.317 | 21 | 30.844 | 889.133 | 10.285 | 0.29418
2019-08-14 22:00:00 | 0 | 30.083 | 0 | 21.184 | 1.053 | 23.1 | 1.638 | 21 | 30.248 | 889.533 | 10.989 | 0.2288
2019-08-14 22:15:00 | 0.671 | 75.653 | 0.203 | 37.793 | 1.36 | 36.967 | 1.824 | 29.167 | 30.068 | 889.833 | 11.141 | 0.20038
2019-08-14 22:30:00 | 0.129 | 131.34 | 0 | 41.129 | 1.488 | 56.4 | 2.263 | 55 | 29.902 | 889.533 | 10.755 | 0.1748
2019-08-14 22:45:00 | 2.306 | 174.913 | 0 | 141.502 | 0.491 | 62.2 | 1.903 | 63.233 | 29.814 | 889.833 | 10.813 | 0.17054
2019-08-14 23:00:00 | 2.251 | 182.507 | 0 | 141.553 | 0.514 | 63 | 2.063 | 71.9 | 28.685 | 889.467 | 10.941 | 0.17196
2019-08-14 23:15:00 | 2.948 | 190.087 | 0 | 141.434 | 1.441 | 83 | 2.151 | 72 | 28.227 | 889.667 | 11.139 | 0.17054
2019-08-14 23:30:00 | 3.499 | 203.773 | 0 | 145.007 | 0 | 83 | 1.088 | 72 | 28.048 | 889.633 | 11.261 | 0.17054
2019-08-14 23:45:00 | 4.655 | 216.953 | 1.422 | 178.413 | 0 | 82.9 | 0 | 72 | 26.368 | 889.4 | 12.333 | 0.17054