## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-15 00:00:00 | 4.654 | 217.173 | 1.832 | 193.463 | 1.367 | 170.8 | 0.329 | 72.033 | 25.206 | 889.467 | 12.896 | 0.17196
2019-08-15 00:15:00 | 4.788 | 215.473 | 2.55 | 195.696 | 1.702 | 183.1 | 1.425 | 89 | 25.594 | 889.833 | 12.989 | 0.1947
2019-08-15 00:30:00 | 5.824 | 221.527 | 2.777 | 204.06 | 2.194 | 190.767 | 1.791 | 118 | 24.21 | 889.533 | 14.176 | 0.16556
2019-08-15 00:45:00 | 6.352 | 223.773 | 4.176 | 213.11 | 2.988 | 202.867 | 2.721 | 161 | 23.014 | 889.333 | 15.264 | 0.2217
2019-08-15 01:00:00 | 6.175 | 222.233 | 5.235 | 220.049 | 3.716 | 214.067 | 3.083 | 185 | 22.614 | 890 | 15.533 | 4.5981
2019-08-15 01:15:00 | 3.745 | 186.467 | 4.013 | 186.22 | 3.064 | 185.067 | 3.097 | 164.9 | 22.431 | 889.2 | 15.76 | 7.5917
2019-08-15 01:30:00 | 3.058 | 165.82 | 3.684 | 139.348 | 3.248 | 133.333 | 3.621 | 125.867 | 24.877 | 889.667 | 13.813 | 6.6083
2019-08-15 01:45:00 | 2.733 | 165.267 | 3.329 | 130.756 | 3.501 | 129 | 3.826 | 122.7 | 24.935 | 889.833 | 14.621 | 6.7582
2019-08-15 02:00:00 | 3.301 | 167.093 | 3.495 | 133.166 | 3.893 | 128.1 | 4.603 | 117.9 | 25.564 | 889.333 | 14.613 | 10.1774
2019-08-15 02:15:00 | 3.097 | 164.793 | 4.13 | 131.163 | 4.2 | 129.267 | 4.437 | 125.5 | 24.973 | 889.667 | 16.072 | 12.3589
2019-08-15 02:30:00 | 3.888 | 172.173 | 5.713 | 143.68 | 5.777 | 145.6 | 5.374 | 138.867 | 24.598 | 889.9 | 16.952 | 13.8461
2019-08-15 02:45:00 | 4.313 | 170.787 | 6.352 | 143.298 | 6.179 | 145.633 | 6.057 | 139.767 | 24.198 | 889.767 | 17.728 | 21.4151
2019-08-15 03:00:00 | 4.554 | 150.84 | 5.852 | 141.083 | 5.447 | 139.867 | 5.039 | 135.167 | 24.694 | 889.7 | 17.304 | 23.696
2019-08-15 03:15:00 | 4.633 | 141.507 | 5.234 | 132.716 | 4.789 | 134.433 | 4.648 | 130.8 | 25.61 | 889.033 | 16.701 | 26.3215
2019-08-15 03:30:00 | 5.087 | 138.653 | 5.426 | 131.73 | 5.088 | 136.5 | 5.284 | 132 | 25.856 | 889.433 | 16.349 | 30.7775
2019-08-15 03:45:00 | 5.587 | 149.737 | 6.458 | 139.034 | 6.611 | 143.567 | 6.924 | 139.267 | 25.756 | 889.733 | 16.28 | 31.1761
2019-08-15 04:00:00 | 4.207 | 144.973 | 5.009 | 138.57 | 4.971 | 141 | 4.851 | 136.467 | 25.985 | 889.6 | 16.368 | 14.5155
2019-08-15 04:15:00 | 2.717 | 164.967 | 3.056 | 148.925 | 3.46 | 145.667 | 3.678 | 136.133 | 25.406 | 889.433 | 16.888 | 1.4616
2019-08-15 04:30:00 | 1.222 | 166.66 | 0.813 | 118.905 | 2.412 | 120.5 | 2.777 | 114 | 24.16 | 889.533 | 17.987 | 3.9628
2019-08-15 04:45:00 | 2.886 | 125.53 | 3.313 | 111.22 | 3.728 | 114.7 | 4.174 | 103.933 | 25.223 | 889.533 | 17.741 | 5.2362
2019-08-15 05:00:00 | 2.481 | 131.963 | 2.736 | 115.753 | 3.468 | 115.833 | 4.035 | 107.267 | 26.044 | 889.633 | 17.072 | 2.0308
2019-08-15 05:15:00 | 2.574 | 175.623 | 1.798 | 146.088 | 2.367 | 136.133 | 2.454 | 115.733 | 25.464 | 889.4 | 17.259 | 0.27002
2019-08-15 05:30:00 | 0.997 | 240.94 | 0 | 237.576 | 0.502 | 224.933 | 1.643 | 163.067 | 23.664 | 889.467 | 18.755 | 0.26433
2019-08-15 05:45:00 | 3.942 | 257.213 | 1.634 | 251.544 | 0.277 | 193.283 | 0.03 | 90.408 | 21.91 | 889.033 | 19.859 | 0.21175
2019-08-15 06:00:00 | 4.141 | 318.24 | 3.116 | 321.866 | 2.645 | 331.4 | 2.16 | 333.633 | 22.598 | 889.533 | 19.941 | 0.20109
2019-08-15 06:15:00 | 2.255 | 37.758 | 1.761 | 42.548 | 2.605 | 55 | 3.233 | 60.433 | 24.939 | 889.533 | 18.493 | 0.33397
2019-08-15 06:30:00 | 0.656 | 83.27 | 0.99 | 85.959 | 1.891 | 101.667 | 2.399 | 104.367 | 25.068 | 889.7 | 18.496 | 0.25225
2019-08-15 06:45:00 | 5.032 | 249.013 | 1.813 | 228.539 | 1.548 | 191.867 | 2.368 | 153.7 | 21.952 | 889.75 | 22.752 | 0.14282
2019-08-15 07:00:00 | 3.547 | 232.553 | 1.136 | 213.314 | 1.378 | 183.5 | 2.258 | 148.633 | 21.706 | 889.583 | 25.541 | 1.6862
2019-08-15 07:15:00 | 4.215 | 214.76 | 3.306 | 189.869 | 3.616 | 176.933 | 3.782 | 158.067 | 22.348 | 889.967 | 25.008 | 3.8044
2019-08-15 07:30:00 | 6.045 | 217.247 | 4.487 | 206.65 | 4.389 | 195.367 | 4.596 | 182.2 | 20.485 | 889.933 | 32.443 | 8.0109
2019-08-15 07:45:00 | 6.082 | 215.367 | 6.147 | 204.288 | 6.018 | 197.8 | 5.999 | 183.867 | 20.523 | 890.017 | 33.387 | 14.6164
2019-08-15 08:00:00 | 6.048 | 227.06 | 7.283 | 227.458 | 6.989 | 224.533 | 6.972 | 211.633 | 21.331 | 889.967 | 33.659 | 13.7104
2019-08-15 08:15:00 | 5.434 | 231.653 | 6.395 | 225.543 | 6.825 | 222.067 | 6.521 | 209.7 | 22.914 | 889.6 | 29.589 | 16.0609
2019-08-15 08:30:00 | 6.316 | 218.96 | 6.424 | 216.099 | 6.921 | 215.267 | 7.225 | 205.633 | 24.448 | 889.75 | 26.661 | 14.3499
2019-08-15 08:45:00 | 6.031 | 218.64 | 6.108 | 215.193 | 6.655 | 215.733 | 6.895 | 206.467 | 25.831 | 889.433 | 25.701 | 9.587
2019-08-15 09:00:00 | 5.902 | 210.7 | 5.927 | 206.47 | 6.46 | 204.867 | 6.64 | 196.333 | 26.444 | 889.75 | 23.84 | 8.8124
2019-08-15 09:15:00 | 5.628 | 200.6 | 5.782 | 196.272 | 6.045 | 198.533 | 6.47 | 192.267 | 26.956 | 889.817 | 21.957 | 6.5322
2019-08-15 09:30:00 | 6.068 | 200.3 | 6.147 | 195.353 | 6.445 | 196.833 | 6.786 | 188.167 | 27.452 | 889.817 | 20.416 | 4.3266
2019-08-15 09:45:00 | 4.384 | 183.367 | 4.572 | 179.582 | 4.884 | 183.633 | 5.095 | 179.9 | 28.406 | 889.6 | 18.581 | 5.2816
2019-08-15 10:00:00 | 3.65 | 180.98 | 3.61 | 174.183 | 3.893 | 178.733 | 4.15 | 174.667 | 28.277 | 889.367 | 17.365 | 5.0671
2019-08-15 10:15:00 | 2.625 | 106.7 | 2.172 | 109.678 | 2.326 | 117.467 | 2.754 | 117.667 | 28.639 | 889.8 | 14.899 | 5.2916
2019-08-15 10:30:00 | 3.586 | 129.1 | 3.297 | 129.588 | 3.355 | 127.833 | 3.711 | 122.133 | 28.856 | 889.467 | 14.859 | 4.6023
2019-08-15 10:45:00 | 2.965 | 68.433 | 2.198 | 69.076 | 2.778 | 80.4 | 3.175 | 80.9 | 29.131 | 889.6 | 14.643 | 4.4211
2019-08-15 11:00:00 | 2.078 | 117.08 | 1.977 | 110.289 | 2.625 | 107.52 | 3.401 | 102.76 | 28.971 | 889.28 | 14.781 | 4.7189
2019-08-15 11:15:00 | 4.829 | 107.707 | 4.793 | 102.133 | 5.141 | 107.567 | 5.26 | 102.833 | 30.031 | 889.267 | 14.315 | 5.8828
2019-08-15 11:30:00 | 4.033 | 76.853 | 4.108 | 70.644 | 4.447 | 78.3 | 4.917 | 74.9 | 29.748 | 889.3 | 14.469 | 4.8454
2019-08-15 11:45:00 | 4.952 | 111.467 | 4.806 | 105.646 | 4.957 | 114.5 | 5.116 | 109.833 | 29.731 | 889.833 | 14.733 | 2.2283
2019-08-15 12:00:00 | 3.006 | 91.623 | 2.816 | 89.324 | 3.359 | 98 | 3.973 | 98.033 | 30.26 | 889.467 | 14.381 | 1.0204
2019-08-15 12:15:00 | 3.111 | 99.533 | 3.024 | 94.907 | 3.584 | 99.767 | 3.919 | 98.167 | 30.577 | 889.633 | 14.077 | 1.0133
2019-08-15 12:30:00 | 3.242 | 104.79 | 2.876 | 91.046 | 3.728 | 93.533 | 3.969 | 94.933 | 30.71 | 889.467 | 13.725 | 1.6705
2019-08-15 12:45:00 | 2.749 | 146.64 | 2.216 | 135.687 | 2.773 | 139.967 | 3.007 | 135.533 | 31.396 | 888.967 | 13.027 | 0.93226
2019-08-15 13:00:00 | 4.764 | 101.203 | 4.767 | 98.668 | 4.982 | 108.367 | 5.398 | 105.767 | 31.472 | 889.4 | 12.683 | 0.79868
2019-08-15 13:15:00 | 0.62 | 108.58 | 0.463 | 141.534 | 1.238 | 51.888 | 2.09 | 45.533 | 32.377 | 889.467 | 12.087 | 0.62388
2019-08-15 13:30:00 | 2.958 | 73.418 | 2.749 | 70.45 | 3.402 | 79.733 | 3.628 | 75.133 | 32.343 | 889.067 | 12.035 | 0.8072
2019-08-15 13:45:00 | 2.583 | 199.112 | 2.414 | 62.83 | 2.716 | 65.234 | 3.168 | 69.033 | 32.427 | 889.533 | 11.973 | 0.4441
2019-08-15 14:00:00 | 2.274 | 67.603 | 1.866 | 61.858 | 2.063 | 67.533 | 2.637 | 66.3 | 32.697 | 890 | 12.091 | 0.27357
2019-08-15 14:15:00 | 2.847 | 77.992 | 2.666 | 74.083 | 3.347 | 76.533 | 3.963 | 81.867 | 33.03 | 889.867 | 11.92 | 0.27002
2019-08-15 14:30:00 | 0.382 | 171.882 | 0.036 | 148.168 | 0.14 | 138.275 | 0.165 | 133 | 33.13 | 889.767 | 11.425 | 0.42989
2019-08-15 14:45:00 | 1.548 | 226.043 | 0.48 | 230.394 | 1.084 | 220.346 | 1.709 | 150.044 | 33.246 | 889.467 | 11.325 | 1.0573
2019-08-15 15:00:00 | 2.47 | 157.633 | 1.842 | 155.631 | 2.344 | 125.308 | 3.174 | 30.618 | 33.563 | 889.433 | 11.531 | 0.96708
2019-08-15 15:15:00 | 3.779 | 117.529 | 3.388 | 79.462 | 3.732 | 93.234 | 3.817 | 65.833 | 33.446 | 889.833 | 11.328 | 0.59901
2019-08-15 15:30:00 | 1.274 | 109.616 | 0.487 | 155.409 | 1.359 | 52.438 | 1.914 | 17.836 | 33.396 | 889.667 | 11.197 | 0.67433
2019-08-15 15:45:00 | 3.074 | 50.967 | 2.381 | 101.059 | 2.502 | 114.733 | 3.057 | 102.638 | 33.513 | 889.733 | 12.353 | 1.5085
2019-08-15 16:00:00 | 2.726 | 78.645 | 2.515 | 81.456 | 2.99 | 85.033 | 3.415 | 80.067 | 33.896 | 889.533 | 12.144 | 1.1113
2019-08-15 16:15:00 | 3.816 | 60.973 | 3.653 | 71.167 | 4.079 | 24.9 | 4.144 | 54.9 | 33.988 | 889.867 | 14.003 | 6.8108
2019-08-15 16:30:00 | 5.717 | 254.528 | 5.896 | 299.102 | 6.056 | 255.3 | 6.441 | 290.233 | 33.363 | 889.433 | 15.156 | 9.4001
2019-08-15 16:45:00 | 4.733 | 23.141 | 4.393 | 21.551 | 4.862 | 35.233 | 5.073 | 35.233 | 33.563 | 889.433 | 15.003 | 12.1237
2019-08-15 17:00:00 | 3.812 | 60.84 | 3.727 | 52.529 | 4.047 | 48.167 | 4.33 | 39.533 | 33.013 | 889.433 | 15.451 | 10.2229
2019-08-15 17:15:00 | 5.162 | 189.39 | 5.452 | 292.453 | 5.461 | 187.902 | 6.034 | 210.667 | 33.58 | 889.667 | 14.832 | 10.9008
2019-08-15 17:30:00 | 4.763 | 299.227 | 4.756 | 341.325 | 5.218 | 323.8 | 5.54 | 276.967 | 33.013 | 889.533 | 15.027 | 10.0112
2019-08-15 17:45:00 | 4.089 | 167.559 | 4.101 | 145.604 | 4.316 | 66.205 | 4.332 | 52.8 | 32.88 | 890 | 16.525 | 19.6898
2019-08-15 18:00:00 | 7.756 | 306.56 | 8.216 | 302.461 | 8.374 | 304.967 | 8.947 | 303.233 | 32.741 | 889.133 | 16.817 | 44.7963
2019-08-15 18:15:00 | 10.435 | 305.16 | 11.205 | 302.164 | 11.471 | 304.933 | 11.954 | 301.467 | 30.581 | 889.133 | 19.623 | 45.9523
2019-08-15 18:30:00 | 9.887 | 302.08 | 10.738 | 298.044 | 11.196 | 304.567 | 11.928 | 303.167 | 30.518 | 889.733 | 20.293 | 38.873
2019-08-15 18:45:00 | 9.789 | 316.36 | 10.515 | 308.452 | 11.06 | 313.267 | 11.591 | 311.067 | 30.518 | 889.567 | 20.135 | 35.9888
2019-08-15 19:00:00 | 9.953 | 299.56 | 10.422 | 294.733 | 10.852 | 299.933 | 11.507 | 297.2 | 30.118 | 890.2 | 21.011 | 50.7266
2019-08-15 19:15:00 | 9.665 | 292.28 | 9.983 | 292.362 | 10.335 | 297.567 | 10.916 | 294.667 | 30.048 | 889.6 | 21.808 | 65.9058
2019-08-15 19:30:00 | 9.87 | 296.187 | 10.603 | 294.024 | 11.212 | 299.9 | 11.941 | 296.133 | 29.514 | 889.55 | 22.616 | 64.636
2019-08-15 19:45:00 | 9.863 | 294.507 | 11.046 | 294.36 | 11.387 | 298.133 | 12.078 | 296.633 | 29.581 | 889.55 | 23.432 | 61.5003
2019-08-15 20:00:00 | 11.046 | 297.72 | 12.322 | 299.389 | 12.779 | 303.6 | 13.497 | 301.8 | 29.464 | 889.833 | 23.616 | 52.7916
2019-08-15 20:15:00 | 10.974 | 290.033 | 12.231 | 289.823 | 12.963 | 296.267 | 13.395 | 294 | 29.231 | 889.867 | 24.397 | 59.7764
2019-08-15 20:30:00 | 9.897 | 284.687 | 10.97 | 287.239 | 11.402 | 291.8 | 11.945 | 290.667 | 28.818 | 889.583 | 24.875 | 68.8056
2019-08-15 20:45:00 | 9.503 | 284.613 | 11.101 | 286.725 | 11.687 | 290.167 | 12.568 | 287.667 | 28.452 | 889.917 | 25.109 | 66.9091
2019-08-15 21:00:00 | 8.459 | 291.307 | 9.486 | 290.293 | 10.098 | 295.467 | 10.456 | 291.133 | 28.106 | 890.283 | 25.352 | 66.9269
2019-08-15 21:15:00 | 9.366 | 289.24 | 10.802 | 284.459 | 11.291 | 289.933 | 11.856 | 288.233 | 28.21 | 890.217 | 25.595 | 59.8816
2019-08-15 21:30:00 | 8.108 | 285.773 | 9.27 | 284.349 | 9.706 | 288.367 | 10.336 | 284.367 | 28.006 | 889.767 | 25.901 | 52.5144
2019-08-15 21:45:00 | 8.452 | 292.253 | 8.891 | 293.146 | 9.289 | 296.333 | 9.875 | 293.1 | 27.952 | 889.833 | 25.92 | 48.207
2019-08-15 22:00:00 | 8.01 | 292.533 | 8.875 | 293.668 | 9.537 | 297.667 | 10.157 | 296.133 | 27.573 | 889.733 | 25.787 | 48.6951
2019-08-15 22:15:00 | 7.057 | 288.253 | 7.939 | 286.709 | 8.371 | 292.033 | 9.045 | 290.733 | 27.848 | 889.3 | 25.888 | 47.6854
2019-08-15 22:30:00 | 7.332 | 285.48 | 8.134 | 285.241 | 8.686 | 291.733 | 9.436 | 288.233 | 27.944 | 889.433 | 26.003 | 58.6729
2019-08-15 22:45:00 | 9.748 | 287.18 | 11.419 | 287.604 | 11.662 | 292.767 | 12.354 | 289.467 | 27.606 | 889.667 | 27.517 | 68.1462
2019-08-15 23:00:00 | 9.336 | 282.053 | 10.355 | 279.926 | 10.982 | 284.467 | 11.722 | 282.267 | 26.998 | 889.75 | 29.205 | 67.8421
2019-08-15 23:15:00 | 9.282 | 275.867 | 10.404 | 278.649 | 10.763 | 283.333 | 11.175 | 280.733 | 26.573 | 889.617 | 29.875 | 56.6869
2019-08-15 23:30:00 | 8.738 | 279.007 | 9.56 | 277.946 | 10.076 | 282.767 | 10.498 | 279.967 | 26.398 | 889.717 | 30.363 | 55.0021
2019-08-15 23:45:00 | 8.414 | 278.667 | 9.844 | 279.062 | 10.612 | 284.1 | 11.093 | 280.533 | 26.202 | 889.967 | 30.072 | 55.9116