## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-16 00:00:00 | 8.49 | 276.56 | 9.8 | 277.022 | 10.318 | 281 | 10.76 | 277.1 | 26.248 | 889.817 | 30.021 | 52.1151
2019-08-16 00:15:00 | 9.114 | 271.253 | 10.488 | 273.757 | 10.895 | 277.233 | 11.652 | 274.233 | 26.044 | 889.517 | 31.085 | 43.1072
2019-08-16 00:30:00 | 12.271 | 273.393 | 14.23 | 278.415 | 14.72 | 281.1 | 15.338 | 277.7 | 25.352 | 889.817 | 33.016 | 43.0667
2019-08-16 00:45:00 | 13.145 | 267.08 | 14.645 | 272.208 | 15.106 | 276.867 | 15.467 | 274.033 | 24.96 | 889.733 | 34.92 | 43.1563
2019-08-16 01:00:00 | 13.039 | 277.133 | 14.88 | 279.392 | 15.669 | 282.667 | 16.316 | 281.833 | 24.481 | 889.333 | 35.456 | 43.2309
2019-08-16 01:15:00 | 12.721 | 264.5 | 13.932 | 270.174 | 14.783 | 275.133 | 15.338 | 270.7 | 24.439 | 889.7 | 36.104 | 43.6743
2019-08-16 01:30:00 | 14.282 | 269.633 | 15.731 | 276.808 | 16.292 | 279.967 | 16.751 | 276.267 | 24.206 | 889.7 | 37.067 | 43.4682
2019-08-16 01:45:00 | 13.51 | 272.233 | 15.117 | 275.713 | 15.871 | 279.567 | 17.282 | 276.6 | 23.702 | 889.767 | 37.677 | 44.8886
2019-08-16 02:00:00 | 11.516 | 274.26 | 13.212 | 277.965 | 13.969 | 279.233 | 14.818 | 276.267 | 23.777 | 889.55 | 37.653 | 45.6731
2019-08-16 02:15:00 | 13.416 | 266.467 | 15.125 | 272.901 | 15.696 | 278.333 | 16.015 | 274.367 | 23.631 | 889.867 | 37.997 | 45.6646
2019-08-16 02:30:00 | 13.743 | 268.52 | 15.414 | 272.004 | 16.094 | 276.867 | 16.665 | 273.967 | 23.298 | 889.75 | 38.267 | 45.8856
2019-08-16 02:45:00 | 13.894 | 266.853 | 15.52 | 272.495 | 16.391 | 277.667 | 17.198 | 273.7 | 23.448 | 889.933 | 38.688 | 47.0424
2019-08-16 03:00:00 | 15.456 | 267.333 | 17.455 | 274.092 | 18.19 | 278 | 18.641 | 274.667 | 22.998 | 889.65 | 40.003 | 47.0352
2019-08-16 03:15:00 | 14.146 | 260.24 | 15.614 | 271.349 | 16.208 | 276.3 | 16.704 | 270.333 | 22.864 | 889.958 | 41.499 | 47.4978
2019-08-16 03:30:00 | 15.508 | 255.1 | 17.86 | 268.189 | 18.438 | 272.733 | 19.132 | 269.367 | 22.548 | 889.95 | 43.589 | 48.2866
2019-08-16 03:45:00 | 14.216 | 258.267 | 16.663 | 267.757 | 17.793 | 272.4 | 18.327 | 268.5 | 21.694 | 890.108 | 47.072 | 49.8683
2019-08-16 04:00:00 | 14.87 | 250.38 | 16.542 | 261.078 | 17.134 | 266.15 | 17.733 | 260.367 | 21.677 | 889.35 | 50.709 | 50.0509
2019-08-16 04:15:00 | 12.282 | 259.407 | 13.833 | 265.236 | 14.44 | 270.767 | 14.898 | 266.167 | 21.068 | 890.283 | 52.507 | 50.6066
2019-08-16 04:30:00 | 13.215 | 249.5 | 15.155 | 265.613 | 16.085 | 271.133 | 16.405 | 265.967 | 21.31 | 889.85 | 53.488 | 50.625
2019-08-16 04:45:00 | 13.432 | 256.607 | 14.568 | 267.269 | 15.016 | 270.7 | 15.393 | 267.467 | 20.389 | 889.967 | 57.216 | 50.1738
2019-08-16 05:00:00 | 12.261 | 254.58 | 13.812 | 260.397 | 14.39 | 264 | 14.478 | 259.95 | 19.902 | 889.717 | 57.717 | 48.7804
2019-08-16 05:15:00 | 13.061 | 255.507 | 14.774 | 260.987 | 15.224 | 266.8 | 15.622 | 260.183 | 19.314 | 889.842 | 59.136 | 49.4959
2019-08-16 05:30:00 | 12.335 | 253.773 | 14.099 | 261.691 | 14.964 | 265.683 | 15.244 | 260.867 | 19.085 | 889.608 | 59.136 | 48.7399
2019-08-16 05:45:00 | 12.871 | 257.573 | 14.562 | 260.37 | 15.676 | 262.883 | 15.937 | 257.317 | 18.602 | 889.683 | 59.328 | 48.666
2019-08-16 06:00:00 | 13.198 | 255.647 | 14.665 | 258.539 | 14.964 | 262.5 | 15.382 | 257.767 | 18.973 | 890.108 | 58.843 | 49.1456
2019-08-16 06:15:00 | 11.868 | 253.167 | 12.962 | 259.505 | 13.74 | 262.767 | 14.278 | 259.167 | 18.656 | 889.492 | 59.323 | 49.9926
2019-08-16 06:30:00 | 12.175 | 254.433 | 13.5 | 260.015 | 13.927 | 264.767 | 14.103 | 258.667 | 18.406 | 889.967 | 60.021 | 49.4903
2019-08-16 06:45:00 | 12.239 | 251.96 | 13.662 | 256.41 | 14.204 | 261.8 | 14.374 | 257.65 | 18.618 | 889.808 | 60.027 | 50.3962
2019-08-16 07:00:00 | 10.386 | 256.113 | 11.661 | 255.923 | 12.358 | 262.733 | 12.529 | 258.817 | 18.618 | 890.325 | 60.133 | 49.8754
2019-08-16 07:15:00 | 10.329 | 255.2 | 12.196 | 260.309 | 12.965 | 264.75 | 13.776 | 260.017 | 18.656 | 889.967 | 60.891 | 50.6634
2019-08-16 07:30:00 | 11.079 | 255.253 | 12.432 | 259.061 | 12.864 | 263.867 | 13.381 | 260.333 | 18.523 | 890.167 | 60.192 | 49.9059
2019-08-16 07:45:00 | 10.353 | 253.927 | 11.768 | 259.735 | 12.23 | 264.567 | 12.537 | 260.883 | 18.489 | 890.025 | 59.963 | 48.0883
2019-08-16 08:00:00 | 10.038 | 254.28 | 11.067 | 254.325 | 11.472 | 258.333 | 11.456 | 253.833 | 18.627 | 889.883 | 58.88 | 47.7259
2019-08-16 08:15:00 | 10.4 | 255.133 | 11.557 | 255.848 | 11.921 | 259.333 | 12.075 | 254.483 | 19.064 | 890.067 | 57.984 | 47.8787
2019-08-16 08:30:00 | 10.052 | 252.3 | 11.104 | 260.407 | 11.369 | 265.8 | 11.624 | 260.867 | 19.102 | 890.108 | 57.253 | 48.2262
2019-08-16 08:45:00 | 10.852 | 250.933 | 11.634 | 254.746 | 11.77 | 261.15 | 11.658 | 256.533 | 19.968 | 889.975 | 56.352 | 48.7093
2019-08-16 09:00:00 | 10.517 | 248.3 | 11.537 | 261.921 | 11.876 | 266.783 | 12.115 | 262.367 | 19.552 | 889.9 | 55.909 | 49.2863
2019-08-16 09:15:00 | 10.005 | 248.86 | 10.707 | 256.417 | 10.987 | 261.983 | 11.136 | 259.267 | 20.231 | 890.292 | 53.797 | 50.1241
2019-08-16 09:30:00 | 9.602 | 252.52 | 10.243 | 267.728 | 10.725 | 271.933 | 11.136 | 269.267 | 20.181 | 890.058 | 52.645 | 49.7439
2019-08-16 09:45:00 | 10.329 | 274.107 | 11.063 | 280.054 | 11.311 | 282.667 | 11.49 | 280.3 | 21.41 | 890.242 | 50.16 | 49.5734
2019-08-16 10:00:00 | 12.542 | 271.193 | 13.091 | 277.649 | 13.346 | 280.767 | 13.639 | 278.733 | 20.527 | 889.967 | 53.349 | 49.3062
2019-08-16 10:15:00 | 11.516 | 272.847 | 12.454 | 280.262 | 12.511 | 284.633 | 12.75 | 282.033 | 20.618 | 889.7 | 51.568 | 51.7378
2019-08-16 10:30:00 | 9.871 | 274.913 | 10.712 | 280.443 | 10.962 | 286.267 | 11.091 | 281.1 | 20.956 | 890.167 | 50.613 | 53.1021
2019-08-16 10:45:00 | 10.47 | 282.78 | 10.909 | 286.298 | 11.406 | 289.033 | 12.036 | 286.6 | 21.314 | 890.108 | 48.229 | 52.9564
2019-08-16 11:00:00 | 10.16 | 292.627 | 10.703 | 293.111 | 10.806 | 298.667 | 10.933 | 298.1 | 22.223 | 889.658 | 45.579 | 52.6288
2019-08-16 11:15:00 | 9.584 | 295.747 | 10.294 | 294.791 | 10.249 | 296.067 | 10.621 | 293.733 | 22.394 | 889.817 | 45.045 | 53.4133
2019-08-16 11:30:00 | 10.528 | 277.453 | 10.971 | 284.38 | 11.474 | 289.133 | 11.74 | 288.567 | 22.764 | 890.608 | 43.488 | 53.419
2019-08-16 11:45:00 | 9.873 | 269.707 | 10.454 | 279.203 | 10.257 | 286.467 | 10.791 | 283.967 | 23.314 | 889.958 | 42.763 | 52.7837
2019-08-16 12:00:00 | 9.767 | 270.1 | 10.555 | 281.531 | 10.488 | 284.133 | 10.769 | 282.933 | 23.598 | 889.658 | 41.589 | 47.8503
2019-08-16 12:15:00 | 8.668 | 274.747 | 9.069 | 277.492 | 9.195 | 286.833 | 9.533 | 285.45 | 23.818 | 889.9 | 40.045 | 56.3366
2019-08-16 12:30:00 | 10.332 | 293.213 | 11.092 | 292.852 | 11.24 | 299.9 | 11.815 | 298.133 | 24.323 | 889.9 | 38.552 | 56.392
2019-08-16 12:45:00 | 9.851 | 310.653 | 10.377 | 305.756 | 10.834 | 307.433 | 11.048 | 306.167 | 24.014 | 890.033 | 38.941 | 59.0929
2019-08-16 13:00:00 | 9.735 | 285.14 | 10.143 | 289.155 | 10.653 | 294.467 | 10.656 | 290.233 | 24.118 | 889.817 | 38.608 | 58.3752
2019-08-16 13:15:00 | 8.013 | 275.48 | 8.495 | 278.794 | 8.917 | 283.067 | 9.306 | 281.933 | 24.548 | 890.133 | 37.715 | 56.9889
2019-08-16 13:30:00 | 8.238 | 306.227 | 8.684 | 304.364 | 8.797 | 305.567 | 9.275 | 303.967 | 24.794 | 889.517 | 37.669 | 55.1229
2019-08-16 13:45:00 | 9.793 | 294.867 | 10.053 | 293.133 | 10.365 | 297.533 | 10.843 | 294.367 | 24.46 | 889.433 | 37.653 | 50.7778
2019-08-16 14:00:00 | 7.945 | 288.087 | 8.611 | 290.788 | 8.906 | 294.4 | 9.309 | 291.267 | 25.014 | 889.45 | 37.587 | 49.5912
2019-08-16 14:15:00 | 8.101 | 304.947 | 8.556 | 299.312 | 8.756 | 306.667 | 9.379 | 300.567 | 25.373 | 889.583 | 36.027 | 42.5146
2019-08-16 14:30:00 | 7.626 | 300.867 | 8.002 | 298.759 | 8.497 | 302.933 | 8.754 | 303.533 | 25.494 | 889.983 | 35.595 | 46.4036
2019-08-16 14:45:00 | 8.638 | 294.507 | 9.113 | 297.358 | 9.544 | 301.7 | 9.656 | 302.067 | 26.114 | 889.85 | 34.141 | 48.3562
2019-08-16 15:00:00 | 9.202 | 306.667 | 9.778 | 303.656 | 10.017 | 308.1 | 10.459 | 304.9 | 25.698 | 889.733 | 33.536 | 47.3763
2019-08-16 15:15:00 | 8.312 | 315.96 | 8.829 | 311.876 | 9.02 | 318.2 | 9.587 | 316.7 | 25.606 | 889.8 | 35.253 | 46.5428
2019-08-16 15:30:00 | 9.886 | 300.28 | 10.191 | 300.189 | 10.181 | 305.9 | 10.839 | 304.433 | 25.877 | 889.75 | 34.709 | 47.1667
2019-08-16 15:45:00 | 9.122 | 296.533 | 9.328 | 292.769 | 9.486 | 297.667 | 9.831 | 295.3 | 25.748 | 890.217 | 33.787 | 49.6956
2019-08-16 16:00:00 | 7.417 | 301.467 | 7.664 | 302.392 | 8.281 | 305.067 | 8.863 | 304.233 | 26.123 | 889.717 | 33.251 | 43.6039
2019-08-16 16:15:00 | 10.271 | 292.307 | 10.339 | 293.517 | 10.668 | 297 | 11.235 | 295.9 | 26.277 | 889.65 | 31.264 | 42.3512
2019-08-16 16:30:00 | 9.96 | 279.293 | 10.599 | 282.279 | 10.3 | 286.3 | 10.993 | 284.533 | 26.627 | 889.9 | 29.288 | 40.0795
2019-08-16 16:45:00 | 9.145 | 309.04 | 9.401 | 303.797 | 9.896 | 308.7 | 9.995 | 307.3 | 27.389 | 890.1 | 27.533 | 40.6551
2019-08-16 17:00:00 | 8.759 | 308.427 | 9.142 | 307.65 | 9.495 | 311.567 | 9.975 | 307.833 | 27.273 | 889.217 | 27.531 | 40.142
2019-08-16 17:15:00 | 9.605 | 287.453 | 9.881 | 289.145 | 10.02 | 295.667 | 10.433 | 293.5 | 27.198 | 889.983 | 26.76 | 39.823
2019-08-16 17:30:00 | 7.953 | 278.72 | 8.386 | 284.616 | 8.487 | 289.333 | 8.593 | 288.333 | 27.006 | 889.767 | 25.733 | 40.0625
2019-08-16 17:45:00 | 8.219 | 295.46 | 8.427 | 297.998 | 8.798 | 303.267 | 9.092 | 302.1 | 27.423 | 889.617 | 25.632 | 40.4604
2019-08-16 18:00:00 | 9.221 | 284.08 | 9.618 | 288.464 | 9.964 | 297 | 10.725 | 294.267 | 27.227 | 890.05 | 25.947 | 40.1982
2019-08-16 18:15:00 | 8.448 | 291.327 | 8.735 | 287.729 | 9.163 | 291.1 | 9.722 | 288.133 | 27.518 | 889.933 | 25.152 | 35.8147
2019-08-16 18:30:00 | 6.933 | 304.813 | 7.096 | 302.983 | 7.3 | 310.033 | 7.596 | 305.2 | 27.156 | 889.717 | 24.723 | 34.8185
2019-08-16 18:45:00 | 6.464 | 272.053 | 6.61 | 275.058 | 6.682 | 281.167 | 6.746 | 279.633 | 27.168 | 889.617 | 23.936 | 32.227
2019-08-16 19:00:00 | 6.392 | 277.347 | 6.891 | 279.724 | 7.079 | 284.7 | 7.404 | 281.5 | 27.568 | 889.8 | 23.317 | 32.0835
2019-08-16 19:15:00 | 7.675 | 272.233 | 8.104 | 277.564 | 8.18 | 282.767 | 8.452 | 278.333 | 27.285 | 890 | 24.432 | 29.6498
2019-08-16 19:30:00 | 7.008 | 278.047 | 7.207 | 282.026 | 7.479 | 288.8 | 7.85 | 286.133 | 26.848 | 889.683 | 25.272 | 32.7578
2019-08-16 19:45:00 | 6.968 | 280.847 | 7.15 | 278.849 | 7.278 | 285.3 | 7.57 | 280.033 | 26.935 | 889.533 | 25.659 | 36.4521
2019-08-16 20:00:00 | 6.431 | 294.147 | 6.962 | 292.807 | 7.139 | 299.667 | 7.446 | 294.533 | 26.785 | 889.8 | 25.947 | 33.5672
2019-08-16 20:15:00 | 6.732 | 277.133 | 7.183 | 282.161 | 7.492 | 286.333 | 7.79 | 283.467 | 26.21 | 889.683 | 26.925 | 30.1344
2019-08-16 20:30:00 | 7.009 | 293.387 | 7.743 | 292.206 | 8.049 | 296.6 | 8.338 | 293.4 | 26.364 | 889.7 | 27 | 30.5842
2019-08-16 20:45:00 | 6.058 | 289.68 | 6.247 | 283.693 | 6.436 | 288.067 | 6.638 | 282.8 | 26.252 | 889.733 | 26.712 | 28.3253
2019-08-16 21:00:00 | 5.59 | 275.513 | 6.294 | 279.649 | 6.595 | 282.733 | 7.096 | 280.267 | 26.002 | 889.8 | 27.84 | 30.0975
2019-08-16 21:15:00 | 5.699 | 277.567 | 6.443 | 281.684 | 6.75 | 286.333 | 7.235 | 282.5 | 25.477 | 889.8 | 28.795 | 23.502
2019-08-16 21:30:00 | 5.419 | 271 | 6.277 | 275.615 | 6.383 | 280.6 | 6.586 | 277.5 | 25.223 | 890.083 | 28.507 | 18.6417
2019-08-16 21:45:00 | 5.091 | 267.82 | 5.928 | 272.991 | 6.018 | 278.967 | 6.254 | 275.2 | 25.056 | 889.517 | 28.648 | 17.8025
2019-08-16 22:00:00 | 4.521 | 260.773 | 5.588 | 265.918 | 5.934 | 273.233 | 6.24 | 269.167 | 24.152 | 889.55 | 29.851 | 18.4875
2019-08-16 22:15:00 | 4.743 | 264.893 | 5.752 | 267.831 | 6.032 | 274.2 | 6.355 | 270.6 | 23.96 | 889.767 | 30.864 | 17.4409
2019-08-16 22:30:00 | 4.552 | 261.233 | 5.749 | 268.224 | 6.015 | 276.7 | 6.379 | 272.033 | 24.106 | 889.783 | 31.083 | 18.1955
2019-08-16 22:45:00 | 4.335 | 261.487 | 5.618 | 269.824 | 5.989 | 276.4 | 6.516 | 273.467 | 23.581 | 889.6 | 32.032 | 20.6128
2019-08-16 23:00:00 | 5.025 | 257.493 | 6.342 | 273.035 | 6.811 | 278.4 | 7.259 | 274.9 | 23.531 | 889.7 | 32.619 | 24.2047
2019-08-16 23:15:00 | 5.346 | 264.867 | 6.806 | 273.855 | 7.102 | 279.533 | 7.579 | 277.233 | 23.348 | 889.85 | 33.187 | 29.5802
2019-08-16 23:30:00 | 5.874 | 251.767 | 7.395 | 270.861 | 7.942 | 276.4 | 8.416 | 273.467 | 22.964 | 889.833 | 34.4 | 35.5084
2019-08-16 23:45:00 | 5.123 | 257.253 | 6.818 | 265.087 | 7.262 | 271.967 | 7.705 | 269.8 | 22.631 | 889.75 | 35.637 | 39.2666