## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-17 00:00:00 | 5.135 | 259.4 | 7.027 | 266.839 | 7.616 | 272.7 | 7.998 | 269.233 | 22.348 | 889.95 | 36.539 | 36.3163
2019-08-17 00:15:00 | 5.866 | 256.633 | 7.514 | 264.852 | 8.088 | 273.1 | 8.762 | 270.933 | 22.168 | 889.583 | 37.485 | 31.0319
2019-08-17 00:30:00 | 4.792 | 253.12 | 6.316 | 260.796 | 6.965 | 268.4 | 7.466 | 265.733 | 21.639 | 889.567 | 39.467 | 32.475
2019-08-17 00:45:00 | 5.441 | 258.08 | 6.617 | 262.695 | 7 | 270.567 | 7.455 | 267.767 | 21.414 | 889.933 | 39.912 | 27.6062
2019-08-17 01:00:00 | 5.124 | 260.607 | 6.599 | 268.81 | 7.07 | 274.767 | 7.413 | 271.067 | 21.248 | 889.783 | 39.872 | 17.4856
2019-08-17 01:15:00 | 4.476 | 262.927 | 5.71 | 279.081 | 6.13 | 284.933 | 6.579 | 285.133 | 21.568 | 889.317 | 39.549 | 12.8918
2019-08-17 01:30:00 | 2.647 | 274.147 | 3.783 | 281.984 | 4.188 | 288.033 | 4.972 | 286.9 | 21.202 | 889.95 | 40.371 | 12.5145
2019-08-17 01:45:00 | 3.259 | 265.807 | 4.563 | 274.503 | 4.93 | 281.2 | 5.511 | 280.633 | 20.381 | 889.975 | 41.387 | 11.8565
2019-08-17 02:00:00 | 3.666 | 237.847 | 4.564 | 252.423 | 4.925 | 263.467 | 5.371 | 263.617 | 19.768 | 890.233 | 42.475 | 16.505
2019-08-17 02:15:00 | 3.722 | 244.967 | 4.76 | 255.664 | 4.983 | 266.133 | 5.457 | 266.367 | 18.923 | 889.883 | 44.032 | 15.0924
2019-08-17 02:30:00 | 4.247 | 238.067 | 4.938 | 247.269 | 4.815 | 259.2 | 5.064 | 259.45 | 18.873 | 890.067 | 43.547 | 14.3677
2019-08-17 02:45:00 | 4.314 | 245.8 | 5.068 | 253.61 | 5.06 | 264 | 5.227 | 263.533 | 18.806 | 890.342 | 43.056 | 14.0962
2019-08-17 03:00:00 | 4.309 | 247.767 | 5.464 | 258.927 | 5.896 | 268.6 | 6.375 | 267.433 | 18.739 | 889.742 | 43.349 | 17.0529
2019-08-17 03:15:00 | 4.486 | 223.847 | 5.171 | 235.739 | 5.408 | 253.267 | 5.557 | 257.033 | 17.902 | 889.683 | 43.936 | 26.7493
2019-08-17 03:30:00 | 5.541 | 226.787 | 6.905 | 231.584 | 6.934 | 240.133 | 6.719 | 237.867 | 18.36 | 889.8 | 43.861 | 33.3867
2019-08-17 03:45:00 | 5.463 | 233.433 | 6.828 | 235.321 | 7.084 | 243.9 | 7.259 | 240.333 | 18.523 | 889.375 | 43.403 | 38.0054
2019-08-17 04:00:00 | 6.088 | 232.767 | 7.472 | 232.652 | 7.678 | 239.4 | 7.636 | 235.5 | 18.839 | 889.7 | 42.677 | 40.7368
2019-08-17 04:15:00 | 5.612 | 241.433 | 6.924 | 240.537 | 7.361 | 247.267 | 7.311 | 243.267 | 18.473 | 889.808 | 42.752 | 34.972
2019-08-17 04:30:00 | 5.884 | 244 | 7.026 | 241.64 | 7.224 | 248.4 | 7.127 | 244.167 | 18.539 | 889.492 | 42.944 | 25.6259
2019-08-17 04:45:00 | 4.885 | 239.533 | 5.557 | 239.913 | 5.535 | 249.633 | 5.498 | 247.633 | 18.489 | 889.592 | 43.435 | 26.4722
2019-08-17 05:00:00 | 5.113 | 232.28 | 5.866 | 234.228 | 5.735 | 244 | 5.664 | 242.633 | 18.194 | 889.95 | 43.787 | 31.1569
2019-08-17 05:15:00 | 5.433 | 236.653 | 6.461 | 236.643 | 6.646 | 243.733 | 6.645 | 240.267 | 17.698 | 890.05 | 44.117 | 31.1299
2019-08-17 05:30:00 | 5.192 | 231.593 | 6.413 | 235.582 | 6.472 | 245.933 | 6.459 | 245.367 | 17.848 | 889.708 | 44.501 | 33.1572
2019-08-17 05:45:00 | 5.326 | 231.987 | 6.612 | 234.425 | 6.857 | 243.467 | 6.81 | 241.567 | 17.477 | 890.2 | 44.693 | 32.377
2019-08-17 06:00:00 | 5.626 | 232.62 | 6.813 | 235.158 | 7.038 | 243.767 | 7.03 | 241.167 | 17.614 | 889.625 | 44.693 | 34.7943
2019-08-17 06:15:00 | 6.074 | 229.193 | 7 | 232.174 | 7.272 | 239.467 | 7.208 | 235.4 | 17.506 | 890.083 | 44.277 | 38.6818
2019-08-17 06:30:00 | 5.285 | 222.433 | 7.152 | 224.998 | 7.82 | 233.167 | 7.966 | 229.3 | 17.606 | 889.975 | 44.256 | 41.9241
2019-08-17 06:45:00 | 5.345 | 222.713 | 7.219 | 226.462 | 7.817 | 233 | 7.963 | 229.367 | 16.664 | 889.825 | 44.992 | 48.8955
2019-08-17 07:00:00 | 6.387 | 238.827 | 7.94 | 240.416 | 8.414 | 247.933 | 8.68 | 244.9 | 16.868 | 889.975 | 45.045 | 44.0892
2019-08-17 07:15:00 | 6.01 | 238.967 | 7.518 | 238.871 | 7.904 | 246.1 | 8.005 | 243.85 | 17.589 | 889.742 | 43.797 | 34.1733
2019-08-17 07:30:00 | 4.96 | 234.553 | 6.173 | 236.353 | 6.45 | 246.033 | 6.572 | 244.067 | 17.256 | 889.983 | 42.56 | 29.318
2019-08-17 07:45:00 | 4.564 | 232.18 | 6.074 | 235.636 | 6.576 | 244.1 | 6.667 | 243.433 | 17.868 | 889.625 | 40.325 | 30.0548
2019-08-17 08:00:00 | 5.126 | 234.193 | 6.364 | 233.909 | 7.059 | 242.8 | 7.26 | 239.5 | 18.527 | 889.45 | 38.171 | 38.328
2019-08-17 08:15:00 | 6.101 | 235.06 | 6.898 | 235.038 | 7.597 | 242.067 | 8.095 | 236.633 | 19.164 | 889.95 | 36.421 | 35.0793
2019-08-17 08:30:00 | 6.299 | 243.033 | 7.001 | 241.886 | 7.516 | 247.4 | 7.907 | 242.367 | 20.373 | 889.433 | 33.611 | 33.6567
2019-08-17 08:45:00 | 6.02 | 251.427 | 6.526 | 250.924 | 6.723 | 255.817 | 7.111 | 252.433 | 21.548 | 889.85 | 31.293 | 31.7531
2019-08-17 09:00:00 | 6.674 | 254.733 | 7.053 | 263.31 | 7.096 | 266.467 | 6.965 | 261.633 | 22.11 | 889.517 | 28.781 | 36.9658
2019-08-17 09:15:00 | 8.013 | 257.733 | 8.654 | 266.817 | 8.956 | 271.867 | 9.02 | 268.167 | 22.364 | 889.917 | 27.803 | 33.0278
2019-08-17 09:30:00 | 7.001 | 264.1 | 7.482 | 271.912 | 7.61 | 276.467 | 7.821 | 274.75 | 22.314 | 889.317 | 26.341 | 35.2363
2019-08-17 09:45:00 | 6.638 | 276.28 | 7.039 | 284.54 | 7.113 | 288.633 | 7.536 | 287.267 | 22.548 | 889.567 | 25.075 | 43.6473
2019-08-17 10:00:00 | 7.701 | 271.587 | 8.44 | 280.604 | 8.55 | 284.4 | 8.628 | 282.733 | 22.831 | 889.85 | 25.747 | 47.3387
2019-08-17 10:15:00 | 7.412 | 264.507 | 7.853 | 277.156 | 8.185 | 279.4 | 8.338 | 273.433 | 22.781 | 889.583 | 25.92 | 42.9275
2019-08-17 10:30:00 | 7.69 | 277.067 | 8.309 | 280.234 | 8.094 | 285 | 8.363 | 281.333 | 23.448 | 889.95 | 25.507 | 41.7302
2019-08-17 10:45:00 | 8.233 | 275.447 | 8.508 | 276.882 | 8.598 | 279.367 | 8.847 | 274.317 | 23.756 | 889.617 | 25.085 | 37.6373
2019-08-17 11:00:00 | 7.789 | 267.127 | 8.305 | 276.823 | 8.403 | 279.967 | 8.467 | 275.967 | 24.148 | 889.367 | 24.149 | 33.9274
2019-08-17 11:15:00 | 7.56 | 275.547 | 8.074 | 280.136 | 7.914 | 284.133 | 8.285 | 281.933 | 24.594 | 889.8 | 23.099 | 29.6477
2019-08-17 11:30:00 | 6.984 | 273.247 | 7.205 | 279.158 | 7.243 | 285.833 | 7.309 | 280.533 | 24.531 | 889.883 | 22.219 | 26.8793
2019-08-17 11:45:00 | 7.738 | 272.367 | 7.693 | 271.867 | 7.858 | 277.667 | 8.094 | 275.367 | 25.144 | 889.8 | 21.021 | 28.1406
2019-08-17 12:00:00 | 7.423 | 288.173 | 7.436 | 290.837 | 7.697 | 296.3 | 8.05 | 294.667 | 25.302 | 889.7 | 20.656 | 29.9063
2019-08-17 12:15:00 | 6.962 | 286.733 | 7.455 | 286.849 | 7.331 | 293 | 7.782 | 290.7 | 25.535 | 889.733 | 19.401 | 35.3422
2019-08-17 12:30:00 | 6.82 | 282.327 | 7.192 | 289.824 | 7.669 | 294 | 8.084 | 290.033 | 25.781 | 889.633 | 18.688 | 41.1638
2019-08-17 12:45:00 | 8.04 | 295.267 | 8.181 | 292.546 | 8.408 | 299.6 | 8.81 | 296.8 | 25.918 | 889.567 | 17.727 | 40.2437
2019-08-17 13:00:00 | 8.166 | 279.013 | 8.679 | 284.18 | 8.446 | 288.033 | 8.726 | 286.533 | 26.01 | 889.633 | 17.94 | 36.2048
2019-08-17 13:15:00 | 6.448 | 300.353 | 6.713 | 301.844 | 7.319 | 308.833 | 7.632 | 307.967 | 27.139 | 889.567 | 17.269 | 41.0992
2019-08-17 13:30:00 | 7.601 | 306.393 | 7.927 | 305.846 | 8.292 | 309.333 | 8.658 | 305.967 | 27.014 | 889.633 | 18.017 | 39.2048
2019-08-17 13:45:00 | 8.404 | 303.16 | 8.857 | 302.286 | 9.134 | 306.8 | 9.137 | 305.467 | 26.831 | 889.733 | 18.019 | 34.7787
2019-08-17 14:00:00 | 7.664 | 304.6 | 7.842 | 303.1 | 8.192 | 309.933 | 8.48 | 307 | 27.435 | 889.733 | 17.544 | 34.346
2019-08-17 14:15:00 | 7.96 | 310.813 | 8.294 | 308.94 | 8.35 | 312.9 | 8.816 | 313.267 | 27.602 | 889.6 | 17.296 | 27.7967
2019-08-17 14:30:00 | 6.08 | 332.973 | 5.805 | 324.355 | 5.99 | 327.767 | 6.274 | 323.533 | 28.177 | 889.6 | 16.047 | 25.9606
2019-08-17 14:45:00 | 6.635 | 309.56 | 7.059 | 304.558 | 7.091 | 308.867 | 7.578 | 307.5 | 27.906 | 889.567 | 15.647 | 28.3921
2019-08-17 15:00:00 | 7.075 | 288.207 | 7.205 | 287.84 | 7.665 | 296.933 | 8.037 | 295.867 | 28.018 | 889.4 | 15.528 | 30.0918
2019-08-17 15:15:00 | 8.464 | 317.96 | 8.814 | 315.576 | 9.046 | 319.2 | 9.474 | 318.867 | 28.618 | 889.367 | 15.567 | 26.4025
2019-08-17 15:30:00 | 7.14 | 292.687 | 7.311 | 295.992 | 7.602 | 298.7 | 7.998 | 300.033 | 29.181 | 889.433 | 15.504 | 29.3954
2019-08-17 15:45:00 | 7.038 | 303.013 | 7.443 | 306.325 | 7.844 | 310.6 | 8.136 | 315.7 | 29.248 | 889.367 | 14.983 | 28.9911
2019-08-17 16:00:00 | 7.822 | 286.76 | 8.017 | 289.487 | 8.383 | 294.767 | 8.755 | 295.8 | 28.981 | 889.367 | 15.013 | 33.322
2019-08-17 16:15:00 | 7.832 | 302 | 8.219 | 300.953 | 8.388 | 304.333 | 8.994 | 301.667 | 29.581 | 889.467 | 15.469 | 31.4994
2019-08-17 16:30:00 | 6.693 | 331.96 | 6.924 | 325.67 | 6.824 | 330.533 | 7.218 | 326.8 | 28.864 | 889.533 | 15.385 | 25.3502
2019-08-17 16:45:00 | 6.223 | 307.747 | 6.516 | 298.732 | 6.609 | 305.133 | 6.938 | 301.5 | 29.381 | 889.833 | 15.123 | 19.5043
2019-08-17 17:00:00 | 6.341 | 215.187 | 6.312 | 324.405 | 6.594 | 313.667 | 7.172 | 309.667 | 29.364 | 889.567 | 14.657 | 23.3229
2019-08-17 17:15:00 | 5.732 | 323.493 | 5.704 | 316.824 | 6.082 | 324.933 | 6.373 | 322.4 | 29.398 | 888.933 | 14.967 | 31.363
2019-08-17 17:30:00 | 7.19 | 312.693 | 7.416 | 309.559 | 7.853 | 315.533 | 8.407 | 312.267 | 29.331 | 889.1 | 15.785 | 29.0593
2019-08-17 17:45:00 | 6.565 | 293.987 | 6.868 | 296.783 | 7.1 | 302 | 7.603 | 299.833 | 29.231 | 889.433 | 15.863 | 30.1955
2019-08-17 18:00:00 | 6.112 | 308.427 | 6.399 | 299.389 | 6.459 | 302.767 | 6.808 | 299.267 | 29.214 | 889.533 | 16.236 | 31.0105
2019-08-17 18:15:00 | 7.093 | 292.053 | 7.43 | 291.12 | 7.811 | 298.233 | 8.116 | 296.167 | 28.981 | 889.4 | 16.412 | 31.5001
2019-08-17 18:30:00 | 6.448 | 300.933 | 7.141 | 297.513 | 7.62 | 303.333 | 7.984 | 304.1 | 29.131 | 889.633 | 16.823 | 34.5868
2019-08-17 18:45:00 | 6.031 | 292.6 | 6.41 | 293.454 | 6.806 | 296.233 | 7.205 | 292.3 | 28.948 | 889.433 | 16.903 | 27.8457
2019-08-17 19:00:00 | 6.722 | 291.973 | 6.939 | 291.117 | 7.25 | 293.367 | 7.543 | 293.333 | 28.902 | 889.567 | 16.975 | 31.3573
2019-08-17 19:15:00 | 7.088 | 289.867 | 7.613 | 288.954 | 7.76 | 292.767 | 8.206 | 290.1 | 28.523 | 889.6 | 17.072 | 30.9644
2019-08-17 19:30:00 | 6.978 | 274.193 | 7.401 | 280.809 | 7.595 | 285.033 | 7.99 | 282.567 | 28.752 | 889.267 | 17.169 | 31.6181
2019-08-17 19:45:00 | 6.409 | 279.167 | 6.726 | 279.791 | 6.962 | 283.5 | 7.223 | 280.467 | 28.377 | 889.533 | 18.517 | 32.1396
2019-08-17 20:00:00 | 6.337 | 264.207 | 6.677 | 268.473 | 6.879 | 274.033 | 7.086 | 269.7 | 28.031 | 889.333 | 19.841 | 28.628
2019-08-17 20:15:00 | 6.908 | 275.28 | 7.475 | 275.727 | 7.655 | 279.933 | 8.033 | 277.8 | 28.464 | 889.7 | 19.088 | 27.7576
2019-08-17 20:30:00 | 6.821 | 264.6 | 7.82 | 270.434 | 8.019 | 275.733 | 8.165 | 271.067 | 28.502 | 889.1 | 19.181 | 26.0984
2019-08-17 20:45:00 | 5.918 | 272.66 | 6.77 | 277.492 | 7.257 | 282.933 | 7.548 | 280.533 | 28.244 | 889.533 | 19.445 | 23.9084
2019-08-17 21:00:00 | 5.491 | 263.307 | 6.005 | 264.389 | 6.443 | 269.7 | 6.674 | 267.533 | 28.089 | 889.667 | 19.573 | 20.9034
2019-08-17 21:15:00 | 5.821 | 264.14 | 6.458 | 264.987 | 6.981 | 271.567 | 7.428 | 268.967 | 27.794 | 889.667 | 19.637 | 19.6614
2019-08-17 21:30:00 | 5.043 | 265.713 | 6.064 | 273.482 | 6.546 | 280.233 | 6.954 | 276.9 | 27.289 | 889.567 | 19.553 | 29.7933
2019-08-17 21:45:00 | 6.107 | 265.9 | 6.967 | 269.262 | 7.403 | 274.433 | 7.9 | 271.333 | 26.973 | 889.1 | 19.537 | 32.34
2019-08-17 22:00:00 | 6.433 | 259.033 | 7.356 | 268.161 | 7.869 | 273.433 | 8.253 | 270.967 | 26.694 | 889.65 | 20.339 | 38.0459
2019-08-17 22:15:00 | 5.294 | 261.16 | 6.708 | 262.499 | 7.098 | 269.3 | 7.563 | 264.2 | 26.381 | 889.217 | 20.869 | 47.8822
2019-08-17 22:30:00 | 6.882 | 257.773 | 8.009 | 262.319 | 8.863 | 267.633 | 9.3 | 263.867 | 25.252 | 889.8 | 21.963 | 54.4116
2019-08-17 22:45:00 | 6.994 | 253.1 | 8.624 | 263.559 | 9.368 | 270.433 | 9.862 | 266 | 25.235 | 889.5 | 22.539 | 55.2913
2019-08-17 23:00:00 | 7.249 | 255.753 | 8.579 | 259.966 | 9.447 | 265.8 | 10.249 | 261.317 | 24.839 | 889.65 | 23.109 | 58.3723
2019-08-17 23:15:00 | 8.597 | 253.753 | 10.222 | 265.303 | 11.075 | 270.433 | 11.742 | 266.167 | 24.652 | 890.117 | 23.72 | 52.2643
2019-08-17 23:30:00 | 10.108 | 254.52 | 12.145 | 269.038 | 13.021 | 273.867 | 13.968 | 269.933 | 24.673 | 889.8 | 23.901 | 50.3621
2019-08-17 23:45:00 | 10.634 | 256.253 | 12.496 | 268.111 | 13.129 | 273.533 | 13.871 | 269.433 | 24.652 | 889.533 | 24.293 | 47.6087