## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-18 00:00:00 | 11.976 | 256.607 | 13.458 | 264.99 | 14.05 | 270.533 | 14.469 | 265.367 | 23.989 | 889.717 | 24.451 | 46.2543
2019-08-18 00:15:00 | 12.118 | 253.78 | 13.565 | 263.94 | 13.806 | 268 | 14.511 | 264.967 | 23.889 | 889.6 | 24.688 | 48.2475
2019-08-18 00:30:00 | 11.255 | 255.587 | 12.961 | 265.183 | 13.86 | 270.167 | 14.452 | 267.067 | 23.844 | 889.983 | 24.901 | 48.4393
2019-08-18 00:45:00 | 12.539 | 257.493 | 14.126 | 268.186 | 15.029 | 272.5 | 15.576 | 267.8 | 23.598 | 890.017 | 25.467 | 48.0215
2019-08-18 01:00:00 | 12.38 | 251.367 | 13.48 | 265.893 | 14.241 | 271.133 | 14.726 | 266.167 | 23.789 | 890.233 | 26.059 | 52.2721
2019-08-18 01:15:00 | 10.916 | 252.367 | 12.715 | 263.164 | 13.195 | 270.567 | 13.845 | 265.467 | 23.581 | 889.633 | 26.592 | 53.8418
2019-08-18 01:30:00 | 11.26 | 255.107 | 12.812 | 267.474 | 13.545 | 270.933 | 14.103 | 268.5 | 23.414 | 889.833 | 27.773 | 53.7842
2019-08-18 01:45:00 | 10.343 | 258.967 | 11.7 | 268.708 | 12.479 | 274.3 | 12.945 | 268.867 | 22.764 | 890.083 | 29.019 | 56.3224
2019-08-18 02:00:00 | 9.054 | 253.693 | 10.294 | 263.463 | 10.819 | 268.367 | 11.17 | 264.117 | 23.081 | 890 | 29.456 | 52.0106
2019-08-18 02:15:00 | 8.289 | 252.113 | 9.45 | 258.878 | 9.953 | 265.233 | 10.207 | 261.117 | 22.731 | 889.667 | 30.2 | 47.3785
2019-08-18 02:30:00 | 7.587 | 257.86 | 8.069 | 264.98 | 8.199 | 270.2 | 8.44 | 265.967 | 22.864 | 889.617 | 32.475 | 52.3624
2019-08-18 02:45:00 | 10.249 | 272.733 | 11.574 | 281.936 | 11.724 | 283.967 | 12.371 | 280.4 | 22.531 | 889.783 | 34.04 | 50.8759
2019-08-18 03:00:00 | 12.738 | 259.893 | 14.13 | 273.808 | 14.463 | 276.5 | 15.162 | 271.867 | 22.098 | 889.583 | 38.187 | 49.2238
2019-08-18 03:15:00 | 11.32 | 261.967 | 12.82 | 268.716 | 13.535 | 274.4 | 14.027 | 270.5 | 21.41 | 889.675 | 41.477 | 48.1821
2019-08-18 03:30:00 | 11.541 | 259.907 | 13.061 | 271.602 | 13.844 | 275.9 | 14.681 | 273.167 | 20.852 | 890.508 | 41.296 | 48.5566
2019-08-18 03:45:00 | 10.709 | 250.173 | 12.305 | 266.022 | 12.824 | 270.067 | 13.559 | 265.867 | 20.844 | 889.658 | 41.632 | 47.9768
2019-08-18 04:00:00 | 10.295 | 254.313 | 11.783 | 269.751 | 12.415 | 273.733 | 12.766 | 270.367 | 20.885 | 889.617 | 39.637 | 45.3235
2019-08-18 04:15:00 | 8.155 | 260.52 | 9.442 | 275.051 | 10.163 | 279.4 | 11.133 | 276.433 | 20.948 | 889.2 | 39.523 | 47.5554
2019-08-18 04:30:00 | 8.192 | 265.14 | 9.508 | 272.26 | 10.086 | 278.333 | 10.881 | 275.833 | 21.027 | 889.733 | 38.984 | 48.5615
2019-08-18 04:45:00 | 9.809 | 245.413 | 10.945 | 264.808 | 11.176 | 269.65 | 11.714 | 266.067 | 21.039 | 889.933 | 37.997 | 47.4993
2019-08-18 05:00:00 | 9.998 | 250.94 | 11.455 | 264.572 | 11.744 | 267.433 | 11.954 | 263.017 | 20.089 | 889.933 | 41.893 | 45.6568
2019-08-18 05:15:00 | 8.382 | 246.28 | 9.953 | 267.247 | 10.591 | 271.433 | 11.209 | 266.3 | 19.789 | 889.842 | 42.885 | 50.6655
2019-08-18 05:30:00 | 9.554 | 250.66 | 10.587 | 255.31 | 10.948 | 258.75 | 11.111 | 255.25 | 19.644 | 889.908 | 45.653 | 53.8133
2019-08-18 05:45:00 | 9.927 | 251.707 | 11.23 | 251.712 | 11.876 | 256.633 | 12.043 | 251.367 | 18.773 | 889.875 | 49.936 | 51.9559
2019-08-18 06:00:00 | 8.552 | 247.64 | 9.434 | 245.459 | 10.288 | 251.383 | 10.843 | 247.833 | 18.639 | 889.85 | 51.403 | 48.6887
2019-08-18 06:15:00 | 8.228 | 252.567 | 9.548 | 251.717 | 10.247 | 254.8 | 10.204 | 249.933 | 18.423 | 889.767 | 52.027 | 49.5613
2019-08-18 06:30:00 | 8.77 | 245.127 | 9.973 | 243.8 | 10.821 | 251.367 | 10.835 | 244.083 | 18.152 | 889.8 | 53.152 | 44.5724
2019-08-18 06:45:00 | 9.085 | 245.28 | 10.106 | 243.425 | 11.246 | 250.283 | 11.187 | 246.983 | 17.789 | 889.775 | 54.581 | 51.4486
2019-08-18 07:00:00 | 9.5 | 245.607 | 10.936 | 242.606 | 11.318 | 249.967 | 11.697 | 245.733 | 17.568 | 889.7 | 57.504 | 52.6082
2019-08-18 07:15:00 | 10.635 | 248.247 | 11.982 | 245.679 | 12.326 | 252.283 | 12.481 | 248.267 | 17.702 | 889.617 | 57.467 | 51.4202
2019-08-18 07:30:00 | 10.352 | 247.993 | 11.623 | 248.596 | 12.595 | 252.733 | 13.027 | 248.417 | 17.335 | 889.675 | 56.837 | 50.1895
2019-08-18 07:45:00 | 10.442 | 247.907 | 11.479 | 243.832 | 11.969 | 250.8 | 12.297 | 244.5 | 17.189 | 890.525 | 55.947 | 50.3543
2019-08-18 08:00:00 | 11.569 | 249.713 | 12.818 | 249.66 | 13.336 | 254.433 | 13.293 | 249.583 | 17.652 | 890.117 | 55.893 | 49.6373
2019-08-18 08:15:00 | 11.03 | 249.027 | 12.383 | 248.915 | 12.946 | 255.267 | 13.3 | 250.183 | 17.231 | 890.325 | 57.131 | 48.9417
2019-08-18 08:30:00 | 10.836 | 252.5 | 12.545 | 252.959 | 12.926 | 256.65 | 12.876 | 251.633 | 17.681 | 890.292 | 57.451 | 48.8962
2019-08-18 08:45:00 | 10.537 | 247.727 | 11.707 | 245.106 | 11.95 | 251.033 | 11.85 | 245.683 | 17.439 | 889.625 | 58.677 | 50.5071
2019-08-18 09:00:00 | 10.456 | 255.147 | 11.311 | 255.822 | 11.773 | 260.117 | 11.705 | 254.15 | 17.714 | 890.233 | 57.483 | 50.4666
2019-08-18 09:15:00 | 10.098 | 248.373 | 11.082 | 259.457 | 11.101 | 263.917 | 11.108 | 260.383 | 17.348 | 889.85 | 57.952 | 50.4168
2019-08-18 09:30:00 | 12.015 | 248.747 | 13.043 | 258.261 | 13.484 | 263.217 | 13.639 | 258.6 | 16.981 | 890.233 | 59.664 | 49.3361
2019-08-18 09:45:00 | 11.367 | 252.693 | 12.415 | 254.408 | 12.564 | 258.733 | 12.963 | 252.167 | 16.964 | 889.867 | 60.096 | 49.9464
2019-08-18 10:00:00 | 11.934 | 252.147 | 12.53 | 259.839 | 12.632 | 265.133 | 12.5 | 260.333 | 17.773 | 889.492 | 58.08 | 51.3093
2019-08-18 10:15:00 | 10.028 | 255.053 | 11.106 | 263.637 | 11.021 | 266.85 | 10.931 | 262.017 | 17.606 | 889.892 | 57.333 | 52.3737
2019-08-18 10:30:00 | 11.072 | 246.94 | 12.323 | 263.67 | 12.362 | 266.933 | 12.159 | 263.3 | 17.777 | 890.317 | 55.68 | 52.2821
2019-08-18 10:45:00 | 12.423 | 248.513 | 13.391 | 261.638 | 13.635 | 265.833 | 13.992 | 260 | 18.014 | 889.858 | 55.237 | 52.2679
2019-08-18 11:00:00 | 10.17 | 252.4 | 11.745 | 259.77 | 11.82 | 263.683 | 11.894 | 259.083 | 17.898 | 889.858 | 55.317 | 51.8984
2019-08-18 11:15:00 | 10.589 | 247.507 | 11.827 | 269.53 | 12.067 | 270.9 | 12.065 | 266.933 | 17.735 | 889.983 | 55.979 | 50.2719
2019-08-18 11:30:00 | 11.393 | 246.98 | 12.753 | 265.464 | 13.078 | 267.533 | 13.437 | 263.917 | 18.489 | 890.25 | 55.669 | 51.5552
2019-08-18 11:45:00 | 10.603 | 245.413 | 11.525 | 263.988 | 11.819 | 266.5 | 11.622 | 261.433 | 18.723 | 889.7 | 54.075 | 54.3278
2019-08-18 12:00:00 | 11.377 | 264.04 | 12.515 | 275.929 | 12.778 | 279.4 | 13.13 | 277.233 | 18.523 | 889.783 | 53.093 | 55.9699
2019-08-18 12:15:00 | 11.669 | 264.747 | 12.495 | 271.777 | 12.572 | 275.367 | 12.765 | 271.433 | 18.706 | 890.033 | 52.496 | 55.4562
2019-08-18 12:30:00 | 10.708 | 260.44 | 11.656 | 270.023 | 11.938 | 275.1 | 12.289 | 272.567 | 19.023 | 889.808 | 52.277 | 54.4358
2019-08-18 12:45:00 | 11.297 | 262.4 | 12.503 | 272.112 | 12.678 | 276.433 | 13.054 | 272.133 | 19.518 | 889.967 | 50.912 | 54.5864
2019-08-18 13:00:00 | 11.908 | 261.053 | 12.97 | 274.321 | 13.1 | 278.467 | 13.514 | 274.433 | 19.185 | 889.875 | 50.043 | 54.5665
2019-08-18 13:15:00 | 11.49 | 265.433 | 12.588 | 276.066 | 12.684 | 281.567 | 12.996 | 277.167 | 19.552 | 889.85 | 49.589 | 54.6277
2019-08-18 13:30:00 | 10.95 | 253.2 | 12.233 | 272.344 | 12.647 | 275.567 | 12.958 | 272.333 | 19.589 | 890.167 | 48.576 | 53.7899
2019-08-18 13:45:00 | 11.32 | 267.953 | 12.41 | 276.099 | 12.957 | 281.233 | 12.927 | 277.5 | 19.585 | 889.808 | 47.851 | 50.5895
2019-08-18 14:00:00 | 10.678 | 278.393 | 11.469 | 278.537 | 11.921 | 282.467 | 12.398 | 278.933 | 19.935 | 889.567 | 45.483 | 53.6229
2019-08-18 14:15:00 | 9.898 | 269.233 | 10.364 | 278.056 | 10.623 | 281.433 | 10.995 | 278.333 | 20.002 | 889.742 | 44.549 | 57.0024
2019-08-18 14:30:00 | 10.024 | 266.72 | 10.611 | 275.818 | 10.959 | 280.367 | 11.025 | 276.8 | 20.248 | 889.783 | 44.587 | 57.6987
2019-08-18 14:45:00 | 8.082 | 269.56 | 8.964 | 280.891 | 9.065 | 284.567 | 9.351 | 280.7 | 20.131 | 889.875 | 42.907 | 56.6542
2019-08-18 15:00:00 | 8.624 | 258.9 | 9.384 | 267.554 | 9.437 | 272.167 | 9.284 | 268.65 | 20.623 | 890.442 | 42.597 | 47.5817
2019-08-18 15:15:00 | 8.394 | 260.593 | 8.816 | 271.217 | 9.052 | 275.867 | 9.222 | 272.267 | 20.331 | 889.758 | 42.709 | 52.1989
2019-08-18 15:30:00 | 8.497 | 286.013 | 9.24 | 284.343 | 9.253 | 288.667 | 9.675 | 286.2 | 20.706 | 889.983 | 41.792 | 60.2482
2019-08-18 15:45:00 | 9.945 | 282.44 | 10.566 | 281.528 | 10.687 | 285.233 | 11.071 | 281.933 | 20.256 | 889.658 | 43.616 | 62.8908
2019-08-18 16:00:00 | 10.255 | 276.5 | 11.422 | 281.751 | 11.696 | 287.633 | 11.96 | 285.667 | 20.464 | 890.242 | 44.677 | 63.6128
2019-08-18 16:15:00 | 9.721 | 284.16 | 10.65 | 284.429 | 10.889 | 289.833 | 11.358 | 286.833 | 20.256 | 890.267 | 44.709 | 59.7388
2019-08-18 16:30:00 | 10.218 | 295.667 | 11.194 | 293.21 | 11.249 | 297.867 | 11.948 | 294.7 | 20.185 | 889.842 | 45.419 | 60.2262
2019-08-18 16:45:00 | 9.772 | 298.467 | 10.493 | 299.201 | 10.675 | 304.467 | 11.12 | 301.1 | 19.673 | 889.967 | 46.267 | 59.7643
2019-08-18 17:00:00 | 10.213 | 293.08 | 11.199 | 291.633 | 11.524 | 297.567 | 11.939 | 295.6 | 19.823 | 889.767 | 46.395 | 56.1611
2019-08-18 17:15:00 | 10.18 | 290.52 | 10.841 | 288.42 | 10.981 | 293.233 | 11.53 | 291.367 | 20.514 | 889.967 | 46.272 | 52.4
2019-08-18 17:30:00 | 10.048 | 282.507 | 10.953 | 285.516 | 10.934 | 290.033 | 11.411 | 286.7 | 20.131 | 890.058 | 45.952 | 51.3598
2019-08-18 17:45:00 | 10.672 | 288 | 11.513 | 286.115 | 11.609 | 290.533 | 12.002 | 287.867 | 20.289 | 890.133 | 46.203 | 57.3392
2019-08-18 18:00:00 | 10.234 | 293.907 | 10.766 | 290.053 | 11.295 | 294.133 | 11.716 | 291.4 | 19.777 | 889.725 | 47.573 | 63.4884
2019-08-18 18:15:00 | 9.519 | 273.927 | 10.295 | 277.924 | 10.352 | 283.367 | 10.731 | 280.933 | 19.452 | 889.875 | 47.925 | 64.5138
2019-08-18 18:30:00 | 9.542 | 278.773 | 10.285 | 284.88 | 10.556 | 287.267 | 11.049 | 283.633 | 19.623 | 890.208 | 48.261 | 65.1426
2019-08-18 18:45:00 | 8.828 | 276.34 | 9.759 | 279.424 | 9.905 | 284.533 | 10.056 | 281.533 | 19.06 | 890 | 49.995 | 55.7042
2019-08-18 19:00:00 | 9.154 | 262.553 | 10.221 | 271.639 | 10.37 | 276.967 | 10.731 | 272.233 | 19.477 | 889.6 | 50.517 | 50.1781
2019-08-18 19:15:00 | 8.829 | 268.973 | 10.324 | 279.998 | 10.454 | 281.3 | 10.576 | 280.867 | 19.41 | 890.133 | 50.325 | 45.4471
2019-08-18 19:30:00 | 10.932 | 265.733 | 12.178 | 273.066 | 12.494 | 277.3 | 13.124 | 273.733 | 19.344 | 890.258 | 50.347 | 47.09
2019-08-18 19:45:00 | 11.13 | 267.833 | 12.343 | 277.524 | 12.486 | 283.267 | 12.867 | 280.1 | 19.348 | 889.875 | 51.211 | 51.4173
2019-08-18 20:00:00 | 10.91 | 284.853 | 12.062 | 284.949 | 12.51 | 288.567 | 12.921 | 285.6 | 19.373 | 889.467 | 51.792 | 51.6731
2019-08-18 20:15:00 | 9.755 | 281.687 | 11.27 | 283.305 | 11.481 | 286.233 | 12.305 | 284.5 | 18.931 | 889.625 | 52.773 | 51.4948
2019-08-18 20:30:00 | 9.763 | 279.307 | 11.18 | 282.132 | 11.508 | 285.133 | 12.123 | 283.133 | 18.702 | 890.033 | 53.152 | 51.8977
2019-08-18 20:45:00 | 11.205 | 274.927 | 12.65 | 279.443 | 12.993 | 283.7 | 13.426 | 280.667 | 18.506 | 889.892 | 54.229 | 47.485
2019-08-18 21:00:00 | 11.784 | 278.94 | 13.382 | 280.7 | 14.062 | 284.7 | 14.825 | 281.567 | 18.589 | 890.025 | 55.109 | 48.1722
2019-08-18 21:15:00 | 10.539 | 284.387 | 11.831 | 281.622 | 12.404 | 286.067 | 12.612 | 282.633 | 18.389 | 890.017 | 55.232 | 48.5679
2019-08-18 21:30:00 | 9.89 | 268.367 | 11.126 | 277.728 | 11.753 | 283.133 | 12.272 | 279.633 | 18.735 | 889.925 | 54.971 | 48.9325
2019-08-18 21:45:00 | 10.142 | 265.08 | 11.685 | 273.29 | 12.059 | 277.667 | 12.627 | 273.6 | 18.123 | 889.775 | 54.832 | 48.1935
2019-08-18 22:00:00 | 11.589 | 265.02 | 12.79 | 276.085 | 13.126 | 280 | 13.762 | 277.467 | 18.277 | 890.058 | 55.536 | 48.1281
2019-08-18 22:15:00 | 10.568 | 263.773 | 11.941 | 274.218 | 12.25 | 278.333 | 12.98 | 275.467 | 18.002 | 889.908 | 55.851 | 48.6632
2019-08-18 22:30:00 | 10.488 | 272.147 | 12.093 | 277.925 | 12.732 | 280.567 | 13.285 | 277.6 | 18.223 | 889.975 | 56.56 | 48.5658
2019-08-18 22:45:00 | 9.514 | 260.467 | 10.59 | 272.507 | 11.029 | 275.9 | 11.357 | 272.567 | 18.177 | 889.725 | 57.2 | 48.2823
2019-08-18 23:00:00 | 10.178 | 261.24 | 11.142 | 272.736 | 11.53 | 277.433 | 11.979 | 273.533 | 18.194 | 890.567 | 57.888 | 48.6255
2019-08-18 23:15:00 | 8.571 | 259.907 | 9.698 | 271.389 | 9.996 | 276.867 | 10.429 | 271.667 | 17.66 | 889.983 | 58.379 | 48.4031
2019-08-18 23:30:00 | 9.531 | 258.213 | 10.38 | 270.2 | 10.998 | 275.067 | 11.629 | 270.767 | 17.794 | 889.758 | 58.603 | 48.3065
2019-08-18 23:45:00 | 9.926 | 258.4 | 11.382 | 272.996 | 11.82 | 277.1 | 12.01 | 271.633 | 17.41 | 889.925 | 59.152 | 50.7075