## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-19 00:00:00 | 9.845 | 254.16 | 10.769 | 267.265 | 11.004 | 271.9 | 11.601 | 267.867 | 17.477 | 890 | 56.32 | 50.721
2019-08-19 00:15:00 | 10.362 | 251.793 | 11.752 | 269.207 | 12.317 | 273.533 | 12.746 | 270.9 | 17.506 | 889.325 | 55.883 | 51.0421
2019-08-19 00:30:00 | 10.316 | 259.753 | 11.932 | 269.238 | 12.559 | 273.233 | 13.026 | 269.067 | 17.231 | 890.183 | 56.939 | 50.8368
2019-08-19 00:45:00 | 9.348 | 254.42 | 10.603 | 269.349 | 11.339 | 272.9 | 11.904 | 269.317 | 17.014 | 889.933 | 58.016 | 50.9043
2019-08-19 01:00:00 | 9.505 | 248.293 | 10.371 | 268.106 | 10.855 | 273.867 | 11.433 | 268.733 | 17.181 | 889.9 | 58.725 | 51.1182
2019-08-19 01:15:00 | 10.114 | 263.567 | 11.284 | 271.515 | 11.575 | 277 | 12.015 | 272.767 | 16.831 | 889.55 | 58.64 | 50.9718
2019-08-19 01:30:00 | 10.362 | 256.313 | 11.705 | 271.919 | 12.21 | 275.1 | 12.591 | 272.95 | 17.064 | 890.575 | 57.685 | 51.2496
2019-08-19 01:45:00 | 11.645 | 261.787 | 12.958 | 274.489 | 13.37 | 279 | 13.729 | 276.633 | 17.214 | 889.967 | 57.157 | 51.2013
2019-08-19 02:00:00 | 11.082 | 251.167 | 12.376 | 271.207 | 13.064 | 275.3 | 13.693 | 270 | 16.931 | 889.667 | 56.693 | 51.2205
2019-08-19 02:15:00 | 11.237 | 251.54 | 12.273 | 269.969 | 12.556 | 275.767 | 13.089 | 272.2 | 17.114 | 890.092 | 56.384 | 50.7309
2019-08-19 02:30:00 | 9.837 | 256.52 | 11.204 | 269.484 | 12.096 | 275.3 | 12.391 | 271.5 | 16.831 | 890.292 | 56.661 | 50.7686
2019-08-19 02:45:00 | 8.362 | 250.267 | 9.496 | 264.089 | 9.704 | 270.167 | 9.983 | 265.533 | 16.981 | 889.683 | 57.189 | 50.7195
2019-08-19 03:00:00 | 7.978 | 246.793 | 9.046 | 267.448 | 9.443 | 273.033 | 9.872 | 268.667 | 16.781 | 889.617 | 58.192 | 50.6591
2019-08-19 03:15:00 | 8.423 | 251.467 | 9.359 | 264.416 | 9.686 | 270.567 | 10.094 | 265.267 | 16.764 | 889.717 | 59.392 | 50.8837
2019-08-19 03:30:00 | 8.57 | 253.993 | 9.996 | 261.477 | 10.43 | 266.667 | 10.895 | 260.85 | 16.314 | 889.558 | 59.867 | 50.5845
2019-08-19 03:45:00 | 8.731 | 239.76 | 10.233 | 261.983 | 10.615 | 265.067 | 10.776 | 261.917 | 16.331 | 889.7 | 60.187 | 51.0293
2019-08-19 04:00:00 | 9.972 | 248.433 | 11.09 | 258.991 | 11.546 | 265.167 | 11.388 | 261.617 | 16.134 | 890.117 | 60.181 | 50.76
2019-08-19 04:15:00 | 8.459 | 249.867 | 9.498 | 266.512 | 10.041 | 271.467 | 10.396 | 268.367 | 15.887 | 890.125 | 60.608 | 50.9967
2019-08-19 04:30:00 | 9.562 | 242.347 | 11.227 | 272.031 | 12.254 | 276.1 | 12.712 | 271.5 | 16.3 | 889.925 | 60.629 | 51.4038
2019-08-19 04:45:00 | 9.908 | 255.087 | 11.601 | 270.446 | 12.434 | 274.267 | 12.782 | 270.633 | 16.212 | 890.033 | 60.053 | 53.8425
2019-08-19 05:00:00 | 10.196 | 251.693 | 11.888 | 272.983 | 12.307 | 277.9 | 12.83 | 273.367 | 16.162 | 889.892 | 60.965 | 53.8197
2019-08-19 05:15:00 | 9.55 | 248.26 | 11.058 | 271.138 | 11.636 | 274 | 12.246 | 271.233 | 16.044 | 890.142 | 60.683 | 54.072
2019-08-19 05:30:00 | 9.624 | 241.793 | 11.104 | 261.554 | 11.655 | 266.967 | 11.952 | 263.117 | 15.951 | 889.575 | 60.725 | 54.0649
2019-08-19 05:45:00 | 9.632 | 245.1 | 10.946 | 266.519 | 11.78 | 271 | 12.598 | 268.183 | 15.77 | 889.75 | 60.544 | 53.9391
2019-08-19 06:00:00 | 10.882 | 248.413 | 11.933 | 261.062 | 12.67 | 267.467 | 12.906 | 262.767 | 15.438 | 889.858 | 60.389 | 53.9391
2019-08-19 06:15:00 | 8.44 | 249.533 | 9.896 | 258.218 | 10.293 | 264.1 | 10.331 | 259.833 | 15.126 | 889.892 | 61.061 | 53.8979
2019-08-19 06:30:00 | 8.642 | 244.967 | 9.837 | 254.669 | 10.241 | 261.25 | 10.469 | 256.717 | 14.967 | 889.833 | 61.632 | 54.094
2019-08-19 06:45:00 | 9.842 | 235.727 | 11.69 | 261.742 | 12.285 | 268.3 | 12.563 | 264.333 | 14.708 | 890.258 | 62.368 | 54.9275
2019-08-19 07:00:00 | 9.131 | 251.753 | 10.503 | 258.891 | 11.211 | 265.6 | 11.461 | 260.5 | 14.924 | 890.058 | 62.288 | 55.1869
2019-08-19 07:15:00 | 8.898 | 249.447 | 10.263 | 259.28 | 11.148 | 265.733 | 11.598 | 261.017 | 14.541 | 889.8 | 63.52 | 56.2428
2019-08-19 07:30:00 | 8.782 | 243.82 | 10.178 | 257.264 | 11.113 | 261.867 | 11.396 | 257.983 | 14.874 | 890.15 | 63.387 | 56.0083
2019-08-19 07:45:00 | 8.747 | 251.76 | 10.24 | 252.182 | 11.148 | 259.017 | 11.724 | 254.733 | 14.908 | 889.95 | 62.496 | 55.2167
2019-08-19 08:00:00 | 9.704 | 250.307 | 11.206 | 253.824 | 11.826 | 260.75 | 12.188 | 257.4 | 15.196 | 889.575 | 61.072 | 55.1833
2019-08-19 08:15:00 | 10.304 | 245.653 | 11.631 | 256.185 | 12.123 | 262 | 12.348 | 256.9 | 15.844 | 889.742 | 59.056 | 54.4479
2019-08-19 08:30:00 | 10.26 | 243.593 | 11.252 | 259.308 | 11.505 | 265.833 | 11.542 | 258.767 | 16.188 | 890.008 | 57.237 | 52.8896
2019-08-19 08:45:00 | 10.175 | 243.173 | 11.318 | 262.289 | 11.679 | 268.1 | 11.734 | 263.083 | 16.498 | 890.208 | 55.92 | 52.5727
2019-08-19 09:00:00 | 9.5 | 252.567 | 10.759 | 263.158 | 10.767 | 268.6 | 10.738 | 263.867 | 16.998 | 889.55 | 54.197 | 51.622
2019-08-19 09:15:00 | 12.204 | 262.473 | 13.234 | 272.488 | 13.276 | 277.533 | 13.494 | 274.167 | 17.139 | 889.433 | 52.469 | 50.8894
2019-08-19 09:30:00 | 13.205 | 270.793 | 14.433 | 279.233 | 14.718 | 282.2 | 14.826 | 279.1 | 17.356 | 889.842 | 50.4 | 50.8986
2019-08-19 09:45:00 | 11.542 | 270.733 | 12.561 | 278.076 | 12.982 | 281.8 | 13.445 | 281.1 | 17.614 | 889.692 | 48.64 | 50.9022
2019-08-19 10:00:00 | 12.308 | 282.553 | 13.279 | 285.735 | 13.489 | 290.167 | 13.773 | 289.3 | 18.223 | 889.975 | 46.539 | 49.874
2019-08-19 10:15:00 | 10.834 | 282.753 | 11.866 | 284.613 | 12.208 | 289.767 | 12.582 | 287.667 | 17.968 | 889.975 | 45.515 | 48.9509
2019-08-19 10:30:00 | 10.936 | 272.327 | 12.131 | 280.103 | 12.56 | 283.8 | 12.869 | 280.5 | 18.439 | 889.85 | 44.203 | 48.9076
2019-08-19 10:45:00 | 11.548 | 283.947 | 12.703 | 282.659 | 12.994 | 284.4 | 13.777 | 282.2 | 19.21 | 890.117 | 43.365 | 48.9922
2019-08-19 11:00:00 | 11.729 | 275.973 | 13.047 | 284.558 | 13.07 | 288.833 | 13.265 | 287 | 19.11 | 889.833 | 41.851 | 48.563
2019-08-19 11:15:00 | 12.23 | 285.013 | 13.175 | 285.75 | 13.436 | 289.767 | 13.781 | 288.567 | 19.381 | 889.85 | 40.544 | 49.584
2019-08-19 11:30:00 | 12.764 | 284.647 | 13.164 | 287.648 | 13.858 | 290.567 | 14.081 | 287.933 | 19.831 | 890.167 | 40.288 | 49.7823
2019-08-19 11:45:00 | 12.32 | 284.52 | 13.448 | 285.436 | 13.484 | 289.867 | 14.076 | 288.767 | 20.218 | 889.75 | 39.845 | 51.0656
2019-08-19 12:00:00 | 10.744 | 279.92 | 11.617 | 290.533 | 11.87 | 294.167 | 12.03 | 292.367 | 20.756 | 889.95 | 37.955 | 52.3723
2019-08-19 12:15:00 | 12.527 | 280.513 | 13.162 | 290.295 | 13.285 | 293.5 | 13.854 | 291.033 | 21.173 | 889.867 | 36.837 | 53.3565
2019-08-19 12:30:00 | 12.392 | 291.907 | 12.54 | 295.635 | 13.06 | 300.633 | 13.584 | 300.033 | 21.035 | 889.617 | 36.813 | 57.5545
2019-08-19 12:45:00 | 11.187 | 293.96 | 11.893 | 295.905 | 11.893 | 300.4 | 12.217 | 298.567 | 21.268 | 889.85 | 35.443 | 59.6116
2019-08-19 13:00:00 | 10.32 | 294.573 | 11.25 | 294.131 | 11.471 | 297.667 | 11.892 | 296.2 | 21.235 | 889.95 | 34.864 | 60.3847
2019-08-19 13:15:00 | 9.305 | 299.56 | 9.677 | 299.097 | 9.947 | 301.567 | 10.299 | 298.067 | 21.56 | 889.817 | 33.984 | 59.7366
2019-08-19 13:30:00 | 10.674 | 300.593 | 11.223 | 302.628 | 11.694 | 307.833 | 12.092 | 306.533 | 22.035 | 889.633 | 33.088 | 60.0962
2019-08-19 13:45:00 | 9.442 | 306.587 | 10.162 | 307.618 | 10.356 | 311.767 | 10.906 | 310.5 | 21.96 | 890.083 | 31.936 | 59.8389
2019-08-19 14:00:00 | 10.807 | 278.893 | 11.266 | 286.865 | 11.267 | 293.133 | 11.67 | 293.2 | 21.706 | 889.8 | 32.515 | 60.1445
2019-08-19 14:15:00 | 8.439 | 279.613 | 9.127 | 285.66 | 9.143 | 289.967 | 9.952 | 287.933 | 22.294 | 889.65 | 31.341 | 59.6641
2019-08-19 14:30:00 | 8.207 | 306.76 | 8.89 | 306.817 | 9.257 | 309.967 | 9.407 | 308.2 | 22.548 | 889.65 | 30.349 | 57.0315
2019-08-19 14:45:00 | 7.906 | 294.58 | 8.384 | 296.95 | 8.731 | 300.733 | 9.044 | 299.3 | 22.464 | 890.333 | 30.571 | 58.9081
2019-08-19 15:00:00 | 9.71 | 292.48 | 9.985 | 295.046 | 10.239 | 299.1 | 10.408 | 295.833 | 22.848 | 889.533 | 29.867 | 60.1303
2019-08-19 15:15:00 | 8.761 | 292.72 | 9.367 | 294.157 | 9.65 | 299.333 | 9.893 | 297.7 | 23.031 | 889.567 | 29.472 | 57.0279
2019-08-19 15:30:00 | 8.392 | 294.207 | 9.156 | 294.698 | 9.28 | 295.833 | 9.298 | 293.167 | 23.677 | 889.6 | 27.989 | 61.0746
2019-08-19 15:45:00 | 8.853 | 293.967 | 9.579 | 298.05 | 9.67 | 301.433 | 10.159 | 300.867 | 23.431 | 889.783 | 28.728 | 56.775
2019-08-19 16:00:00 | 7.186 | 305.48 | 7.345 | 307.88 | 7.344 | 310.433 | 7.639 | 307.667 | 23.231 | 889.7 | 28.827 | 63.784
2019-08-19 16:15:00 | 9.56 | 291.547 | 10.095 | 292.458 | 10.319 | 294.967 | 10.59 | 292.1 | 23.623 | 889.917 | 28.029 | 59.1632
2019-08-19 16:30:00 | 8.97 | 268.76 | 9.309 | 279.555 | 9.36 | 287.9 | 9.84 | 283.167 | 24.06 | 889.8 | 27.163 | 55.0625
2019-08-19 16:45:00 | 7.869 | 319.6 | 8.153 | 311.076 | 8.619 | 313.467 | 9.202 | 311.533 | 23.523 | 889.767 | 27.845 | 59.0218
2019-08-19 17:00:00 | 8.243 | 309.413 | 8.399 | 304.715 | 8.664 | 307.767 | 9.058 | 306.467 | 23.602 | 889.333 | 28.352 | 63.5602
2019-08-19 17:15:00 | 9.986 | 290.48 | 10.345 | 290.191 | 10.515 | 295.167 | 10.921 | 293.467 | 24.339 | 889.733 | 27.483 | 59.1739
2019-08-19 17:30:00 | 9.212 | 311.547 | 9.565 | 309.796 | 9.917 | 312.5 | 10.334 | 309.333 | 24.173 | 889.617 | 26.421 | 52.41
2019-08-19 17:45:00 | 8.01 | 270.067 | 8.168 | 279.325 | 8.362 | 281.733 | 8.654 | 280.5 | 24.031 | 889.9 | 26.123 | 60.2589
2019-08-19 18:00:00 | 8.959 | 282.22 | 9.764 | 290.454 | 10.144 | 298.167 | 10.162 | 295.733 | 23.918 | 889.683 | 24.611 | 56.3877
2019-08-19 18:15:00 | 7.495 | 274.667 | 8.097 | 276.818 | 8.682 | 281.367 | 8.965 | 278.667 | 24.06 | 889.983 | 24.011 | 59.6869
2019-08-19 18:30:00 | 9.002 | 301.4 | 9.402 | 300.959 | 9.782 | 306.867 | 10.128 | 304.733 | 24.598 | 889.667 | 23.229 | 62.149
2019-08-19 18:45:00 | 9.974 | 294.32 | 10.201 | 293.784 | 10.471 | 300.667 | 11.114 | 298.133 | 24.356 | 889.85 | 23.853 | 52.4718
2019-08-19 19:00:00 | 7.692 | 297.28 | 8.186 | 295.856 | 8.4 | 298.833 | 8.855 | 299.167 | 24.306 | 889.783 | 23.251 | 51.536
2019-08-19 19:15:00 | 8.744 | 275.673 | 9.534 | 283.244 | 9.842 | 287.933 | 10.043 | 286.8 | 23.894 | 889.567 | 23.117 | 52.4469
2019-08-19 19:30:00 | 8.114 | 279.02 | 8.597 | 282.676 | 8.787 | 289.033 | 9.11 | 287.1 | 24.135 | 889.3 | 23.461 | 57.8941
2019-08-19 19:45:00 | 9.493 | 264.687 | 10.135 | 275.132 | 10.2 | 277.3 | 10.304 | 274.2 | 24.468 | 889.967 | 23.632 | 58.7028
2019-08-19 20:00:00 | 7.912 | 286.413 | 8.589 | 284.434 | 8.844 | 288.967 | 9.454 | 286.3 | 23.927 | 889.917 | 24.069 | 64.5401
2019-08-19 20:15:00 | 8.998 | 270.893 | 9.528 | 276.933 | 9.914 | 280.867 | 10.398 | 277.6 | 23.831 | 889.567 | 25.075 | 50.3436
2019-08-19 20:30:00 | 7.113 | 273.233 | 8.028 | 280.088 | 8.12 | 283.033 | 8.382 | 280.4 | 23.448 | 889.95 | 25.507 | 55.1322
2019-08-19 20:45:00 | 8.282 | 271.193 | 9.27 | 281.021 | 9.529 | 283.867 | 10.057 | 281.167 | 23.381 | 889.733 | 26.451 | 60.1111
2019-08-19 21:00:00 | 8.177 | 265.567 | 9.346 | 271.923 | 9.738 | 276.067 | 10.131 | 272.533 | 23.014 | 889.867 | 27.083 | 57.9091
2019-08-19 21:15:00 | 6.799 | 261.027 | 8.311 | 275.803 | 8.436 | 280.3 | 8.758 | 276.8 | 22.548 | 889.883 | 27.523 | 51.5573
2019-08-19 21:30:00 | 6.309 | 263.933 | 7.235 | 272.501 | 7.771 | 278.133 | 8.248 | 276.033 | 21.814 | 889.883 | 27.821 | 45.3583
2019-08-19 21:45:00 | 7.021 | 262.613 | 8.35 | 276.305 | 8.748 | 279.933 | 9.129 | 277.233 | 21.935 | 889.933 | 28.224 | 36.1572
2019-08-19 22:00:00 | 6.751 | 264.02 | 7.832 | 274.883 | 8.409 | 279.433 | 8.791 | 278.1 | 21.981 | 889.767 | 28.605 | 33.062
2019-08-19 22:15:00 | 6.463 | 265.073 | 7.717 | 271.352 | 7.959 | 278.367 | 8.354 | 276.133 | 21.802 | 889.7 | 29.029 | 29.8516
2019-08-19 22:30:00 | 5.204 | 270.647 | 6.185 | 277.876 | 6.815 | 283.333 | 7.499 | 279.067 | 21.477 | 890.083 | 30.029 | 30.3412
2019-08-19 22:45:00 | 5.307 | 259.313 | 6.341 | 270.899 | 6.644 | 275.733 | 6.934 | 273.467 | 20.86 | 889.967 | 30.899 | 34.1036
2019-08-19 23:00:00 | 5.458 | 265.013 | 6.643 | 274.98 | 7.36 | 279.833 | 8.035 | 276.833 | 20.71 | 889.833 | 31.541 | 39.5032
2019-08-19 23:15:00 | 6.27 | 274.16 | 7.568 | 281.119 | 7.948 | 286.867 | 8.663 | 283.433 | 20.302 | 889.5 | 32.288 | 33.9907
2019-08-19 23:30:00 | 6.015 | 272.647 | 7.218 | 280.152 | 7.817 | 285.067 | 8.593 | 283.533 | 20.402 | 889.633 | 33.048 | 29.5944
2019-08-19 23:45:00 | 5.729 | 273.393 | 7.07 | 278.043 | 7.631 | 285.3 | 8.105 | 282.967 | 20.156 | 889.883 | 33.483 | 25.5633