## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-20 00:00:00 | 5.492 | 271.833 | 6.743 | 278.708 | 7.118 | 284.367 | 7.439 | 281.267 | 19.931 | 889.833 | 34.115 | 24.7242
2019-08-20 00:15:00 | 4.964 | 275.327 | 6.113 | 280.441 | 6.607 | 285 | 7.033 | 285.2 | 19.773 | 889.833 | 35.016 | 24.0584
2019-08-20 00:30:00 | 4.785 | 269.227 | 6.363 | 279.657 | 6.727 | 286.1 | 7.585 | 284.7 | 19.444 | 889.383 | 36.125 | 25.0453
2019-08-20 00:45:00 | 4.808 | 277.227 | 5.823 | 282.527 | 6.115 | 288.1 | 6.692 | 285.833 | 19.156 | 890.05 | 36.517 | 22.4383
2019-08-20 01:00:00 | 5.082 | 256.22 | 6.165 | 275.774 | 6.487 | 281.433 | 6.956 | 279.833 | 19.06 | 889.7 | 37.069 | 21.2303
2019-08-20 01:15:00 | 4.938 | 252.66 | 6.148 | 272.695 | 6.53 | 279.867 | 7.07 | 277.033 | 18.689 | 889.917 | 37.816 | 19.8618
2019-08-20 01:30:00 | 4.552 | 256.707 | 5.905 | 269.738 | 6.266 | 277.167 | 6.617 | 273.767 | 18.231 | 889.733 | 38.837 | 18.0114
2019-08-20 01:45:00 | 4.413 | 258.153 | 5.822 | 264.474 | 6.184 | 273.333 | 6.542 | 270.3 | 17.531 | 889.883 | 40.2 | 16.547
2019-08-20 02:00:00 | 4.279 | 253.513 | 5.493 | 263.558 | 5.828 | 271.4 | 6.33 | 270 | 16.964 | 889.642 | 41.325 | 14.0905
2019-08-20 02:15:00 | 4.29 | 250.413 | 5.124 | 260.651 | 5.549 | 269.6 | 5.909 | 268.267 | 17.048 | 889.55 | 42.331 | 11.2063
2019-08-20 02:30:00 | 3.814 | 243.213 | 4.48 | 256.663 | 4.724 | 266.833 | 5.181 | 265.467 | 16.714 | 890.133 | 42.965 | 15.9536
2019-08-20 02:45:00 | 5.603 | 215.02 | 5.515 | 224.262 | 5.188 | 236.433 | 5.072 | 238.233 | 16.182 | 889.867 | 44.651 | 21.6908
2019-08-20 03:00:00 | 5.639 | 228.78 | 6.217 | 228.814 | 5.86 | 236.433 | 5.736 | 237.533 | 16.348 | 889.742 | 44.651 | 21.5273
2019-08-20 03:15:00 | 5.498 | 234.947 | 5.907 | 236.978 | 5.778 | 247.2 | 5.855 | 247.167 | 16.431 | 889.608 | 44.299 | 23.3805
2019-08-20 03:30:00 | 5.237 | 231.447 | 5.964 | 236.314 | 5.983 | 245.7 | 6.006 | 244.933 | 16.208 | 889.658 | 44.48 | 26.5517
2019-08-20 03:45:00 | 5.634 | 234.967 | 6.403 | 238.735 | 6.408 | 247.367 | 6.466 | 246.267 | 16.039 | 890.267 | 45.077 | 34.066
2019-08-20 04:00:00 | 6.543 | 226.78 | 7.569 | 229.814 | 7.513 | 236.433 | 7.388 | 233.2 | 15.673 | 889.992 | 45.376 | 35.6669
2019-08-20 04:15:00 | 6.453 | 228.86 | 7.506 | 231.5 | 7.442 | 239.267 | 7.441 | 235.067 | 15.238 | 889.417 | 46.197 | 34.859
2019-08-20 04:30:00 | 6.093 | 231.047 | 7.289 | 235.057 | 7.557 | 241.867 | 7.428 | 238.267 | 15.913 | 889.917 | 46.123 | 37.444
2019-08-20 04:45:00 | 6.083 | 223.887 | 7.678 | 226.662 | 7.988 | 233.867 | 7.815 | 232.233 | 15.682 | 889.45 | 46.432 | 35.3983
2019-08-20 05:00:00 | 5.36 | 229.333 | 7.043 | 232.275 | 7.458 | 242.767 | 7.539 | 239.167 | 15.231 | 889.25 | 46.997 | 36.2922
2019-08-20 05:15:00 | 6.033 | 226.633 | 7.636 | 229.247 | 7.814 | 238.333 | 7.92 | 235.367 | 14.724 | 889.975 | 47.2 | 38.178
2019-08-20 05:30:00 | 5.939 | 224.667 | 7.516 | 229.539 | 7.725 | 238.967 | 7.694 | 236.733 | 14.791 | 889.733 | 47.349 | 33.3597
2019-08-20 05:45:00 | 5.256 | 224.68 | 6.838 | 231.722 | 7.085 | 242.067 | 7.174 | 239.7 | 14.67 | 889.808 | 47.52 | 37.0859
2019-08-20 06:00:00 | 6.237 | 214.393 | 7.583 | 223.343 | 7.735 | 233.667 | 7.699 | 232.133 | 14.291 | 889.892 | 47.883 | 38.4054
2019-08-20 06:15:00 | 5.908 | 218.493 | 7.542 | 224.85 | 8.099 | 234.933 | 7.949 | 232.633 | 13.987 | 889.775 | 48.437 | 40.5478
2019-08-20 06:30:00 | 6.396 | 220.2 | 7.995 | 224.061 | 8.395 | 233.333 | 8.324 | 230.533 | 13.687 | 889.825 | 48.779 | 44.441
2019-08-20 06:45:00 | 6.57 | 218.267 | 8.671 | 220.951 | 8.821 | 229.4 | 8.867 | 227.233 | 14.012 | 889.417 | 48.864 | 46.3098
2019-08-20 07:00:00 | 6.949 | 217.147 | 8.617 | 220.893 | 8.957 | 228.533 | 9.14 | 226.167 | 13.82 | 889.65 | 49.067 | 42.413
2019-08-20 07:15:00 | 6.387 | 216.26 | 8.328 | 219.747 | 8.453 | 228.833 | 8.493 | 226.333 | 13.849 | 889.683 | 49.408 | 39.2744
2019-08-20 07:30:00 | 5.895 | 216.433 | 7.911 | 220.541 | 8.01 | 229.733 | 8.234 | 228.767 | 14.283 | 890.525 | 48.736 | 38.4012
2019-08-20 07:45:00 | 5.927 | 218.1 | 8.309 | 219.441 | 8.549 | 227.833 | 8.438 | 225.533 | 14.808 | 889.833 | 47.264 | 35.5298
2019-08-20 08:00:00 | 5.331 | 220.413 | 7.131 | 220.217 | 7.431 | 229.533 | 7.679 | 227.567 | 15.818 | 889.867 | 44.821 | 34.0326
2019-08-20 08:15:00 | 5.742 | 218.667 | 6.988 | 222.137 | 7.497 | 231.467 | 7.842 | 229.1 | 16.748 | 890.075 | 42.176 | 29.7173
2019-08-20 08:30:00 | 5.44 | 231.52 | 6.247 | 229.769 | 6.845 | 236.8 | 7.064 | 232.667 | 18.156 | 889.65 | 39.04 | 25.1832
2019-08-20 08:45:00 | 6.067 | 233.02 | 6.447 | 228.584 | 6.909 | 234.067 | 6.974 | 228.8 | 19.273 | 890.05 | 36.379 | 21.6964
2019-08-20 09:00:00 | 6.22 | 231.553 | 6.608 | 228.996 | 6.799 | 232.033 | 7.077 | 229.233 | 19.781 | 889.65 | 35.024 | 22.9726
2019-08-20 09:15:00 | 5.946 | 246.693 | 6.231 | 247.44 | 6.309 | 249.95 | 6.421 | 244.617 | 20.989 | 889.417 | 33.555 | 20.2277
2019-08-20 09:30:00 | 5.754 | 249.853 | 6.192 | 256.565 | 6.203 | 260.067 | 6.299 | 257.117 | 20.473 | 890.383 | 32.795 | 20.2369
2019-08-20 09:45:00 | 4.684 | 269.487 | 5.108 | 272.344 | 5.124 | 278.9 | 5.223 | 274.133 | 20.406 | 889.483 | 32.037 | 20.6363
2019-08-20 10:00:00 | 5.973 | 282.1 | 6.241 | 282.643 | 6.352 | 285.6 | 6.395 | 282.15 | 20.698 | 889.567 | 31.149 | 21.8911
2019-08-20 10:15:00 | 5.438 | 261.367 | 5.92 | 271.016 | 6.159 | 274.5 | 6.44 | 271.767 | 20.785 | 890.15 | 30.032 | 24.1024
2019-08-20 10:30:00 | 7.457 | 278.42 | 7.71 | 281.784 | 7.626 | 285.733 | 7.638 | 280.267 | 21.318 | 889.617 | 30.037 | 20.3769
2019-08-20 10:45:00 | 6.5 | 280.347 | 6.914 | 282.391 | 6.983 | 284.933 | 7.375 | 280.933 | 21.644 | 890.1 | 30.019 | 17.8352
2019-08-20 11:00:00 | 5.107 | 288.72 | 5.319 | 288.909 | 5.448 | 293.4 | 5.926 | 288.667 | 21.814 | 889.917 | 29.8 | 16.3395
2019-08-20 11:15:00 | 6.331 | 286.953 | 6.477 | 292.128 | 6.512 | 296.933 | 6.913 | 292.6 | 21.768 | 889.817 | 28.528 | 16.0034
2019-08-20 11:30:00 | 6.368 | 285.567 | 6.804 | 290.001 | 7.05 | 293.6 | 6.884 | 290.167 | 21.918 | 889.967 | 27.565 | 14.8636
2019-08-20 11:45:00 | 6.296 | 254.293 | 6.566 | 265.586 | 6.613 | 270.133 | 6.785 | 268.05 | 22.339 | 889.667 | 27.275 | 16.8781
2019-08-20 12:00:00 | 5.343 | 270.433 | 5.779 | 274.539 | 5.98 | 277.233 | 5.886 | 273.433 | 22.731 | 890.1 | 26.805 | 12.5046
2019-08-20 12:15:00 | 5.218 | 277.12 | 5.258 | 267.759 | 4.739 | 273.8 | 5.487 | 291.6 | 22.998 | 889.783 | 25.717 | 12.8527
2019-08-20 12:30:00 | 4.891 | 273.44 | 5.038 | 276.795 | 4.9 | 282.867 | 5.379 | 281.5 | 22.948 | 889.333 | 25.411 | 13.1348
2019-08-20 12:45:00 | 5.453 | 304.747 | 5.23 | 308.873 | 5.344 | 309.867 | 5.712 | 307.267 | 23.181 | 889.9 | 24.949 | 17.3506
2019-08-20 13:00:00 | 5.374 | 310.32 | 5.604 | 306.348 | 5.635 | 309.867 | 5.893 | 302.467 | 23.852 | 889.667 | 23.992 | 16.6727
2019-08-20 13:15:00 | 4.672 | 281.393 | 4.687 | 281.515 | 4.471 | 287.6 | 5.093 | 283.35 | 23.614 | 889.7 | 23.917 | 17.1666
2019-08-20 13:30:00 | 4.503 | 304.04 | 4.504 | 299.002 | 4.668 | 303.967 | 5.16 | 304.433 | 23.806 | 889.7 | 23.8 | 24.5302
2019-08-20 13:45:00 | 5.43 | 293.553 | 5.775 | 294.3 | 5.789 | 297.733 | 6.023 | 295.9 | 23.514 | 889.483 | 24.275 | 16.8305
2019-08-20 14:00:00 | 5.91 | 316.44 | 6.245 | 310.014 | 6.29 | 313.3 | 6.805 | 309.467 | 23.689 | 889.583 | 24.04 | 21.42
2019-08-20 14:15:00 | 5.572 | 292.2 | 5.958 | 293.469 | 5.882 | 296.8 | 6.034 | 295.9 | 24.485 | 890.133 | 23.365 | 17.4266
2019-08-20 14:30:00 | 7.192 | 317.12 | 7.443 | 310.996 | 7.652 | 314.767 | 7.785 | 314.933 | 24.548 | 889.8 | 22.704 | 19.4496
2019-08-20 14:45:00 | 5.492 | 316.187 | 5.778 | 314.892 | 5.967 | 318.567 | 6.096 | 312.2 | 24.348 | 889.933 | 23.011 | 20.1204
2019-08-20 15:00:00 | 8.272 | 298.907 | 8.385 | 295.584 | 8.176 | 299.1 | 8.312 | 295.433 | 25.244 | 889.55 | 22.173 | 17.8679
2019-08-20 15:15:00 | 4.01 | 297.287 | 4.158 | 305.18 | 4.317 | 297.367 | 4.707 | 305.467 | 24.756 | 889.667 | 22.52 | 20.8224
2019-08-20 15:30:00 | 7.775 | 276.34 | 8.086 | 283.093 | 8.055 | 287.433 | 8.49 | 285.267 | 24.877 | 889.683 | 22.019 | 25.3345
2019-08-20 15:45:00 | 5.958 | 289.373 | 6.265 | 293.869 | 6.289 | 300.1 | 6.597 | 300.167 | 25.002 | 889.967 | 21.952 | 18.7064
2019-08-20 16:00:00 | 5.244 | 316.627 | 5.744 | 311.905 | 5.6 | 313.133 | 5.915 | 307.833 | 25.202 | 889.583 | 22.061 | 21.528
2019-08-20 16:15:00 | 3.915 | 280.15 | 4.005 | 299.77 | 3.954 | 309.3 | 4.562 | 309.667 | 25.331 | 889.7 | 21.869 | 32.5241
2019-08-20 16:30:00 | 7.385 | 310.053 | 7.628 | 307.538 | 7.525 | 310.767 | 8.405 | 308.5 | 25.514 | 890.217 | 21.397 | 27.1195
2019-08-20 16:45:00 | 5.522 | 297.327 | 5.873 | 296.481 | 6.06 | 300.733 | 6.353 | 295 | 25.335 | 889.7 | 21.149 | 29.1624
2019-08-20 17:00:00 | 7.237 | 287.48 | 7.949 | 289.155 | 7.953 | 293.367 | 8.263 | 290.267 | 25.618 | 889.967 | 21.408 | 30.6979
2019-08-20 17:15:00 | 5.782 | 300.067 | 6.249 | 294.749 | 6.533 | 293.533 | 7.289 | 287.133 | 25.731 | 889.5 | 20.78 | 31.9023
2019-08-20 17:30:00 | 7.242 | 260.68 | 7.626 | 268.315 | 7.618 | 272.633 | 7.735 | 269.667 | 25.66 | 889.567 | 20.127 | 29.7706
2019-08-20 17:45:00 | 5.92 | 273.82 | 6.18 | 281.978 | 6.248 | 289.5 | 6.641 | 287.95 | 25.827 | 889.633 | 19.42 | 30.9679
2019-08-20 18:00:00 | 6.772 | 291.64 | 7.041 | 290.493 | 7.332 | 294.8 | 7.7 | 290.333 | 25.956 | 889.5 | 18.541 | 29.2469
2019-08-20 18:15:00 | 7.16 | 282.793 | 7.208 | 286.165 | 7.202 | 288.933 | 7.455 | 281.9 | 26.244 | 889.633 | 18.491 | 31.1491
2019-08-20 18:30:00 | 6.802 | 278.053 | 7.388 | 282.564 | 7.641 | 286.867 | 7.996 | 284.967 | 26.048 | 889.333 | 18.692 | 36.0087
2019-08-20 18:45:00 | 6.573 | 256.387 | 7.383 | 265.621 | 7.593 | 269.767 | 7.663 | 267.533 | 25.76 | 889.15 | 19.379 | 31.1797
2019-08-20 19:00:00 | 6.952 | 287.173 | 7.388 | 289.144 | 7.642 | 292.867 | 7.905 | 288.867 | 25.627 | 889.433 | 19.728 | 30.9835
2019-08-20 19:15:00 | 6.367 | 279.807 | 6.649 | 286.274 | 6.883 | 292.2 | 7.407 | 289.367 | 25.485 | 889.5 | 20.021 | 30.6027
2019-08-20 19:30:00 | 7.087 | 272.227 | 7.723 | 278.783 | 7.884 | 281.3 | 8.093 | 277.467 | 25.281 | 889.733 | 21.495 | 28.6238
2019-08-20 19:45:00 | 6.67 | 275.76 | 7.035 | 283.003 | 7.433 | 288.467 | 7.633 | 287.333 | 25.173 | 889.95 | 22.747 | 33.9409
2019-08-20 20:00:00 | 7.003 | 279.173 | 7.651 | 282.773 | 7.856 | 287.833 | 8.157 | 284.333 | 25.102 | 889.65 | 23.325 | 38.8254
2019-08-20 20:15:00 | 7.158 | 284.213 | 7.708 | 287.689 | 7.959 | 293.033 | 8.256 | 292.067 | 24.535 | 889.383 | 23.165 | 21.9288
2019-08-20 20:30:00 | 6.076 | 294.947 | 6.787 | 295.335 | 7.174 | 300 | 7.75 | 296.467 | 24.748 | 889.717 | 25.269 | 21.3063
2019-08-20 20:45:00 | 6.549 | 276.033 | 7.215 | 281.046 | 7.471 | 284.567 | 7.828 | 281.933 | 24.439 | 889.917 | 26.056 | 27.835
2019-08-20 21:00:00 | 6.021 | 272.287 | 6.69 | 279.422 | 6.562 | 285 | 7.03 | 283.867 | 24.01 | 889.883 | 26.44 | 72.1985
2019-08-20 21:15:00 | 10.567 | 295.747 | 11.783 | 295.214 | 12.052 | 301 | 12.683 | 298 | 23.381 | 889.9 | 29.099 | 76.587
2019-08-20 21:30:00 | 10.46 | 281.813 | 11.529 | 286.905 | 12.24 | 290.3 | 13.04 | 287.933 | 23.014 | 889.75 | 30.155 | 72.131
2019-08-20 21:45:00 | 9.71 | 283.813 | 10.679 | 286.173 | 11.267 | 289.867 | 11.854 | 288.733 | 22.948 | 889.4 | 30.904 | 62.1931
2019-08-20 22:00:00 | 9.757 | 274.467 | 11.007 | 283.512 | 11.328 | 286.533 | 11.731 | 284.067 | 22.381 | 889.933 | 31.352 | 60.8174
2019-08-20 22:15:00 | 9.782 | 278.833 | 10.798 | 283.354 | 11.172 | 287.933 | 11.845 | 283.933 | 22.531 | 890.267 | 31.635 | 61.3247
2019-08-20 22:30:00 | 9.508 | 284.773 | 10.668 | 285.583 | 11.085 | 289.6 | 11.653 | 287.7 | 22.231 | 889.717 | 31.792 | 63.4067
2019-08-20 22:45:00 | 9.317 | 277.713 | 10.228 | 282.76 | 10.402 | 285.933 | 10.745 | 282.967 | 22.248 | 889.533 | 31.483 | 61.8207
2019-08-20 23:00:00 | 8.776 | 271.133 | 9.758 | 276.145 | 10.16 | 279.9 | 10.469 | 278.067 | 22.031 | 889.633 | 31.784 | 59.3188
2019-08-20 23:15:00 | 8.272 | 274.013 | 9.642 | 278.903 | 9.96 | 281.267 | 10.13 | 280.267 | 22.048 | 889.75 | 31.568 | 58.2899
2019-08-20 23:30:00 | 7.363 | 267.113 | 8.357 | 276.051 | 8.607 | 279.933 | 9.112 | 275.433 | 21.877 | 889.583 | 31.171 | 51.3242
2019-08-20 23:45:00 | 6.825 | 261.76 | 7.634 | 269.472 | 8.23 | 274.133 | 8.6 | 270.733 | 22.039 | 890.033 | 31.264 | 49.2607