## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-21 00:00:00 | 7.201 | 258.98 | 8.268 | 273.302 | 8.535 | 277.6 | 9.267 | 272.867 | 21.644 | 889.717 | 30.789 | 40.4575
2019-08-21 00:15:00 | 6.412 | 262.347 | 7.212 | 271.086 | 7.603 | 275.267 | 7.918 | 270.5 | 21.898 | 889.317 | 31.184 | 40.4916
2019-08-21 00:30:00 | 6.54 | 252.007 | 7.592 | 258.37 | 7.749 | 262.15 | 7.96 | 258.8 | 21.744 | 889.967 | 31.533 | 42.5743
2019-08-21 00:45:00 | 6.091 | 259.5 | 6.99 | 271.224 | 7.283 | 277.567 | 7.7 | 273.733 | 21.606 | 889.883 | 32.216 | 45.153
2019-08-21 01:00:00 | 5.812 | 257.5 | 6.678 | 269.114 | 7.139 | 272.667 | 7.402 | 267.233 | 21.373 | 889.583 | 32.608 | 53.1568
2019-08-21 01:15:00 | 7.925 | 258.633 | 9.052 | 273.292 | 9.625 | 274.6 | 10.057 | 271.633 | 21.118 | 889.667 | 33.341 | 62.9185
2019-08-21 01:30:00 | 7.756 | 271.287 | 8.68 | 279.76 | 8.957 | 281.233 | 9.434 | 278.567 | 21.048 | 889.45 | 33.979 | 78.4501
2019-08-21 01:45:00 | 8.834 | 293.72 | 9.664 | 289.815 | 9.865 | 293.867 | 10.828 | 290.1 | 20.918 | 889.667 | 34.715 | 75.7926
2019-08-21 02:00:00 | 9.59 | 294.013 | 11.1 | 292.112 | 11.51 | 297.567 | 12.082 | 293 | 20.877 | 889.8 | 35.221 | 65.6478
2019-08-21 02:15:00 | 10.122 | 288.073 | 11.265 | 290.293 | 11.8 | 295 | 12.482 | 291.533 | 20.414 | 889.583 | 35.592 | 58.2778
2019-08-21 02:30:00 | 9.266 | 289.293 | 10.96 | 288.893 | 11.363 | 292.833 | 12.188 | 289.867 | 20.56 | 889.817 | 35.757 | 47.1383
2019-08-21 02:45:00 | 9.789 | 288.667 | 10.995 | 291.499 | 11.664 | 296 | 12.345 | 292.267 | 20.648 | 889.667 | 35.789 | 32.9284
2019-08-21 03:00:00 | 6.64 | 284.867 | 7.598 | 284.19 | 7.993 | 287.567 | 8.467 | 288.067 | 20.727 | 889.733 | 35.877 | 27.7043
2019-08-21 03:15:00 | 6.793 | 269.167 | 7.639 | 275.96 | 8.094 | 280.833 | 8.762 | 279.9 | 20.264 | 889.583 | 35.768 | 38.5639
2019-08-21 03:30:00 | 6.759 | 266.38 | 7.782 | 273.914 | 7.92 | 279.667 | 8.361 | 275 | 20.435 | 889.867 | 35.731 | 45.8173
2019-08-21 03:45:00 | 7.861 | 268.273 | 8.54 | 277.25 | 8.733 | 282.067 | 9.357 | 279.333 | 20.331 | 890.017 | 35.667 | 44.1354
2019-08-21 04:00:00 | 7.13 | 254.46 | 8.242 | 266.715 | 8.377 | 270.733 | 8.656 | 264.7 | 20.073 | 889.633 | 36.28 | 52.022
2019-08-21 04:15:00 | 7.715 | 252.787 | 8.591 | 264.35 | 8.895 | 269.683 | 8.954 | 264.733 | 20.244 | 889.75 | 36.829 | 62.3274
2019-08-21 04:30:00 | 9.303 | 251 | 10.577 | 266.392 | 10.76 | 271.5 | 11.074 | 266.333 | 19.827 | 889.567 | 38.845 | 52.631
2019-08-21 04:45:00 | 7.256 | 246.547 | 8.162 | 258.975 | 8.498 | 266.267 | 8.858 | 262.35 | 19.052 | 889.825 | 42.517 | 42.0094
2019-08-21 05:00:00 | 6.491 | 251.493 | 7.417 | 254.561 | 7.748 | 261.517 | 7.994 | 257 | 19.048 | 889.775 | 44.133 | 41.7643
2019-08-21 05:15:00 | 6.972 | 237.267 | 7.842 | 235.801 | 8.223 | 241.533 | 8.342 | 237 | 18.623 | 889.558 | 44.597 | 45.0883
2019-08-21 05:30:00 | 6.8 | 234.933 | 7.683 | 232.808 | 8.384 | 239.433 | 8.583 | 235.733 | 18.689 | 890.05 | 44.832 | 55.6068
2019-08-21 05:45:00 | 7.747 | 232.6 | 8.666 | 231.454 | 9.257 | 236.8 | 9.542 | 231.867 | 18.606 | 889.825 | 44.885 | 46.1485
2019-08-21 06:00:00 | 6.27 | 235.9 | 7.035 | 234.043 | 7.399 | 239.433 | 7.768 | 234.767 | 18.589 | 889.792 | 44.853 | 37.0859
2019-08-21 06:15:00 | 6.451 | 240.933 | 6.924 | 238.321 | 7.147 | 245.1 | 7.237 | 240 | 18.423 | 890.117 | 44.608 | 30.2161
2019-08-21 06:30:00 | 5.625 | 243.433 | 6.333 | 242.313 | 6.676 | 249 | 6.945 | 245.55 | 18.673 | 889.875 | 44.021 | 27.7867
2019-08-21 06:45:00 | 5.17 | 250.407 | 6.099 | 251.677 | 6.496 | 256.75 | 7.048 | 252.45 | 18.639 | 889.483 | 43.616 | 29.2412
2019-08-21 07:00:00 | 5.998 | 252.807 | 7.066 | 252.871 | 7.319 | 257.75 | 7.609 | 251.95 | 18.656 | 889.733 | 43.099 | 34.8867
2019-08-21 07:15:00 | 6.416 | 248.107 | 7.24 | 248.478 | 7.546 | 254.6 | 7.644 | 250.2 | 18.489 | 889.967 | 42.576 | 39.6624
2019-08-21 07:30:00 | 6.375 | 249.167 | 7.33 | 248.919 | 7.5 | 254.433 | 7.774 | 250.567 | 18.652 | 889.95 | 42.336 | 35.9312
2019-08-21 07:45:00 | 6.266 | 250.373 | 7.024 | 248.322 | 7.59 | 254.817 | 7.874 | 251.6 | 18.727 | 889.492 | 41.963 | 29.6718
2019-08-21 08:00:00 | 5.913 | 250.033 | 6.807 | 249.356 | 7.127 | 256.15 | 7.237 | 254.317 | 18.589 | 889.908 | 41.296 | 25.6308
2019-08-21 08:15:00 | 5.83 | 252.26 | 6.406 | 250.742 | 6.948 | 256.2 | 7.284 | 252.133 | 19.168 | 889.367 | 40.467 | 25.0162
2019-08-21 08:30:00 | 5.894 | 246.387 | 6.621 | 246.746 | 6.829 | 251.667 | 6.898 | 247.4 | 19.231 | 889.917 | 39.797 | 23.4913
2019-08-21 08:45:00 | 5.702 | 246.32 | 6.231 | 247.274 | 6.605 | 253.717 | 6.825 | 248.35 | 19.373 | 889.833 | 39.571 | 22.6692
2019-08-21 09:00:00 | 5.66 | 249.553 | 6.158 | 245.857 | 6.577 | 251.567 | 6.727 | 245.967 | 19.648 | 889.65 | 38.613 | 22.1455
2019-08-21 09:15:00 | 5.835 | 250.78 | 6.142 | 249.751 | 5.991 | 254.133 | 6.19 | 248.55 | 19.844 | 889.717 | 37.947 | 21.5131
2019-08-21 09:30:00 | 5.608 | 251.44 | 5.936 | 253.984 | 5.875 | 257.6 | 6.004 | 253.583 | 20.181 | 890.017 | 37.053 | 20.453
2019-08-21 09:45:00 | 5.698 | 253.233 | 6.17 | 257.46 | 6.061 | 262.933 | 6.266 | 258.983 | 20.527 | 889.683 | 36.4 | 17.433
2019-08-21 10:00:00 | 5.572 | 258.38 | 5.711 | 264.977 | 5.607 | 267.367 | 5.703 | 261.35 | 20.968 | 889.95 | 35.656 | 20.3997
2019-08-21 10:15:00 | 6.609 | 252.287 | 6.986 | 262.215 | 6.925 | 265.917 | 6.972 | 260.783 | 21.368 | 889.567 | 35.443 | 23.6214
2019-08-21 10:30:00 | 6.393 | 256.06 | 6.736 | 263.814 | 6.742 | 266.9 | 7.016 | 260.833 | 21.248 | 889.367 | 35.424 | 23.1595
2019-08-21 10:45:00 | 6.023 | 265.887 | 6.451 | 267.585 | 6.526 | 270.183 | 6.718 | 267.267 | 21.727 | 889.75 | 34.691 | 20.8608
2019-08-21 11:00:00 | 6.081 | 276.587 | 6.796 | 282.49 | 7.077 | 284.5 | 7.153 | 281.2 | 21.873 | 889.567 | 33.197 | 19.7772
2019-08-21 11:15:00 | 6.35 | 252.887 | 6.547 | 261.271 | 6.401 | 267.967 | 6.546 | 266.267 | 21.918 | 889.7 | 32.904 | 19.3303
2019-08-21 11:30:00 | 6.423 | 252.267 | 6.961 | 270.68 | 7.252 | 277.3 | 7.085 | 273.8 | 22.514 | 889.817 | 31.707 | 17.7649
2019-08-21 11:45:00 | 5.175 | 284.2 | 5.51 | 287.693 | 5.738 | 289.8 | 5.936 | 285.033 | 22.464 | 889.85 | 30.877 | 16.7495
2019-08-21 12:00:00 | 5.345 | 277.367 | 5.667 | 277.033 | 5.659 | 282.8 | 5.868 | 277.817 | 22.831 | 889.867 | 30.123 | 12.312
2019-08-21 12:15:00 | 5.408 | 274.613 | 5.809 | 276.381 | 5.727 | 280.4 | 6.025 | 275.767 | 22.931 | 889.267 | 30.256 | 8.9695
2019-08-21 12:30:00 | 5.385 | 265.26 | 5.619 | 267.208 | 5.577 | 273.533 | 5.924 | 269.35 | 23.098 | 889.85 | 28.627 | 8.1154
2019-08-21 12:45:00 | 4.522 | 255.58 | 4.942 | 267.795 | 4.975 | 274.233 | 5.391 | 274.3 | 22.714 | 889.8 | 28.651 | 7.3053
2019-08-21 13:00:00 | 4.461 | 263.673 | 4.537 | 270.249 | 4.464 | 273.817 | 4.626 | 265.983 | 23.164 | 889.983 | 28.235 | 5.7776
2019-08-21 13:15:00 | 3.86 | 267.167 | 4.077 | 261.967 | 4.232 | 267.55 | 4.397 | 261.783 | 23.298 | 890.033 | 27.797 | 8.6149
2019-08-21 13:30:00 | 5.874 | 264.42 | 6.308 | 269.818 | 6.362 | 273.867 | 6.583 | 272 | 23.964 | 889.217 | 26.907 | 10.3615
2019-08-21 13:45:00 | 4.164 | 294.107 | 4.327 | 290.109 | 4.58 | 294.467 | 4.654 | 284.867 | 23.448 | 889.8 | 26.941 | 10.7225
2019-08-21 14:00:00 | 3.757 | 242.287 | 3.849 | 245.638 | 4.253 | 255.917 | 4.533 | 253.65 | 23.889 | 889.75 | 26.867 | 10.554
2019-08-21 14:15:00 | 4.054 | 290.487 | 4.274 | 287.236 | 4.816 | 289.6 | 5.046 | 288.133 | 23.66 | 889.617 | 26.389 | 14.5865
2019-08-21 14:30:00 | 6.185 | 257.833 | 6.728 | 263.99 | 6.722 | 270.867 | 6.629 | 267.917 | 24.131 | 889.9 | 26.163 | 22.7204
2019-08-21 14:45:00 | 6.486 | 297.493 | 6.746 | 298.087 | 6.899 | 301.933 | 7.392 | 297.033 | 23.668 | 889.283 | 26.024 | 23.8814
2019-08-21 15:00:00 | 6.612 | 288.947 | 6.897 | 285.519 | 7.119 | 286.933 | 7.099 | 282.583 | 24.781 | 890.017 | 23.765 | 20.7443
2019-08-21 15:15:00 | 5.879 | 282.247 | 6.394 | 282.829 | 6.679 | 288 | 7.253 | 282.667 | 24.089 | 889.933 | 24.949 | 18.4008
2019-08-21 15:30:00 | 5.604 | 283.78 | 6.167 | 282.439 | 6.287 | 285.9 | 6.574 | 278.533 | 24.277 | 890.267 | 25.213 | 24.5359
2019-08-21 15:45:00 | 6.109 | 276.847 | 6.384 | 279.245 | 6.362 | 286.467 | 7.195 | 284.267 | 24.073 | 889.667 | 25.299 | 23.2206
2019-08-21 16:00:00 | 6.245 | 289.7 | 6.629 | 289.896 | 6.539 | 294.6 | 6.862 | 292.733 | 24.594 | 889.55 | 24.912 | 21.997
2019-08-21 16:15:00 | 7.335 | 283.58 | 7.719 | 282.204 | 7.848 | 287.967 | 7.936 | 282.733 | 25.077 | 889.417 | 23.456 | 25.1128
2019-08-21 16:30:00 | 6.046 | 307.32 | 6.379 | 304.509 | 6.638 | 305.7 | 7.256 | 303.067 | 25.023 | 889.833 | 23.309 | 25.2784
2019-08-21 16:45:00 | 7.138 | 290.76 | 7.529 | 290.712 | 7.691 | 292.167 | 8.292 | 290.4 | 25.244 | 889.667 | 23.115 | 26.7578
2019-08-21 17:00:00 | 7.08 | 293.667 | 7.192 | 293.158 | 7.315 | 297.167 | 7.557 | 292.5 | 25.123 | 889.917 | 23.984 | 27.8379
2019-08-21 17:15:00 | 6.87 | 287.667 | 7.271 | 287.128 | 7.266 | 291.667 | 7.522 | 288.267 | 25.006 | 889.717 | 23.96 | 24.2701
2019-08-21 17:30:00 | 6.116 | 272.647 | 6.492 | 281.506 | 6.582 | 287.967 | 6.701 | 286.533 | 24.773 | 889.55 | 24.568 | 27.5053
2019-08-21 17:45:00 | 6.517 | 288.667 | 6.757 | 288.375 | 6.849 | 292.967 | 7.305 | 289.3 | 25.194 | 889.45 | 24.493 | 27.1316
2019-08-21 18:00:00 | 5.801 | 301.533 | 6.09 | 299.459 | 6.194 | 304.633 | 6.507 | 301.9 | 25.189 | 889.65 | 24.659 | 29.8047
2019-08-21 18:15:00 | 6.946 | 287.4 | 7.219 | 286.977 | 7.496 | 291.133 | 7.954 | 287.567 | 25.206 | 889.9 | 24.163 | 37.9741
2019-08-21 18:30:00 | 7.324 | 266.813 | 7.855 | 275.522 | 7.803 | 282.5 | 8.037 | 280.1 | 25.26 | 889.533 | 24.693 | 27.3398
2019-08-21 18:45:00 | 6.66 | 281.86 | 7.066 | 283.059 | 7.009 | 286.533 | 7.229 | 284.533 | 25.389 | 889.65 | 23.92 | 19.5761
2019-08-21 19:00:00 | 5.93 | 279.52 | 6.308 | 280.208 | 6.422 | 286.033 | 6.653 | 281.4 | 25.252 | 889.85 | 23.576 | 21.4911
2019-08-21 19:15:00 | 5.991 | 269.093 | 6.421 | 275.686 | 6.389 | 281.667 | 6.663 | 279.267 | 25.906 | 889.867 | 22.235 | 23.4679
2019-08-21 19:30:00 | 6.177 | 281.14 | 6.414 | 288.034 | 6.497 | 292.867 | 6.957 | 288.2 | 25.764 | 889.467 | 23.549 | 21.2111
2019-08-21 19:45:00 | 5.892 | 293.253 | 6.141 | 292.87 | 6.359 | 298.733 | 6.803 | 296.933 | 25.481 | 889.383 | 23.405 | 20.7727
2019-08-21 20:00:00 | 6.192 | 315.093 | 6.518 | 308.295 | 6.639 | 313.6 | 7.015 | 310.567 | 25.248 | 889.467 | 24.363 | 20.6519
2019-08-21 20:15:00 | 6.102 | 295.293 | 6.716 | 293.524 | 6.822 | 298.567 | 7.202 | 296 | 25.098 | 889.6 | 24.893 | 18.6822
2019-08-21 20:30:00 | 5.067 | 295.093 | 5.887 | 292.462 | 5.973 | 295.5 | 6.302 | 292 | 24.777 | 889.783 | 25.651 | 17.1865
2019-08-21 20:45:00 | 4.639 | 285.187 | 5.616 | 287.189 | 5.939 | 292.5 | 6.482 | 291.067 | 24.002 | 890.05 | 26.317 | 16.1242
2019-08-21 21:00:00 | 4.208 | 286 | 5.122 | 284.183 | 5.375 | 289.333 | 5.942 | 287.633 | 23.735 | 889.617 | 26.968 | 15.8471
2019-08-21 21:15:00 | 4.22 | 288.467 | 5.302 | 288.613 | 5.492 | 293.433 | 5.926 | 290.433 | 23.598 | 889.833 | 27.512 | 15.6715
2019-08-21 21:30:00 | 4.218 | 292.787 | 5.468 | 289.617 | 5.771 | 294.7 | 6.338 | 291.867 | 23.531 | 889.667 | 27.811 | 17.6043
2019-08-21 21:45:00 | 4.856 | 286.513 | 6.314 | 287.304 | 6.582 | 292.567 | 7.025 | 290.767 | 23.064 | 889.8 | 28.203 | 17.1133
2019-08-21 22:00:00 | 4.65 | 275.347 | 5.646 | 281.53 | 5.696 | 285.3 | 6.134 | 283.633 | 22.848 | 889.6 | 28.587 | 17.8722
2019-08-21 22:15:00 | 4.085 | 277.933 | 5.326 | 283.737 | 5.624 | 290.333 | 6.113 | 288.9 | 22.981 | 889.6 | 28.392 | 13.5065
2019-08-21 22:30:00 | 4.232 | 277.747 | 5.065 | 280.378 | 5.221 | 285.4 | 5.736 | 286.1 | 23.131 | 889.8 | 28.395 | 10.3892
2019-08-21 22:45:00 | 3.963 | 265.693 | 5.133 | 275.564 | 5.279 | 281.167 | 5.756 | 278.867 | 22.864 | 889.9 | 28.648 | 10.6585
2019-08-21 23:00:00 | 4.475 | 264.333 | 5.398 | 274.803 | 5.483 | 278.433 | 5.967 | 276.767 | 22.398 | 889.733 | 29.024 | 10.5526
2019-08-21 23:15:00 | 4.208 | 254.667 | 5.403 | 262.552 | 5.436 | 269.567 | 5.756 | 265.067 | 22.631 | 889.867 | 29.197 | 11.2483
2019-08-21 23:30:00 | 4.56 | 249.96 | 5.542 | 253.879 | 5.72 | 260.7 | 6.045 | 258.217 | 22.281 | 889.7 | 29.571 | 10.7878
2019-08-21 23:45:00 | 4.213 | 256.533 | 5.065 | 257.124 | 5.383 | 263.233 | 5.743 | 260.7 | 22.581 | 890.033 | 30.04 | 9.8747