## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-22 00:00:00 | 3.686 | 262.113 | 4.91 | 268.9 | 5.278 | 273.933 | 5.674 | 270.033 | 22.477 | 889.767 | 30.315 | 7.5313
2019-08-22 00:15:00 | 3.755 | 263.307 | 4.807 | 267.411 | 4.985 | 273.167 | 5.386 | 270.067 | 22.318 | 889.683 | 30.643 | 5.5531
2019-08-22 00:30:00 | 3.288 | 253.633 | 4.274 | 258.266 | 4.414 | 265.367 | 4.85 | 262.533 | 22.102 | 889.6 | 31.216 | 5.0486
2019-08-22 00:45:00 | 3.276 | 234.207 | 3.817 | 243.306 | 4.077 | 253.867 | 4.556 | 252.55 | 21.394 | 890.183 | 31.525 | 4.9733
2019-08-22 01:00:00 | 3.217 | 235.507 | 3.837 | 245.31 | 3.779 | 256 | 4.131 | 256.317 | 21.51 | 889.533 | 31.648 | 5.3797
2019-08-22 01:15:00 | 3.362 | 236.327 | 4.23 | 246.037 | 4.152 | 256.4 | 4.484 | 256.4 | 21.248 | 889.55 | 31.947 | 5.1026
2019-08-22 01:30:00 | 3.662 | 242.747 | 4.279 | 249.432 | 4.235 | 257.6 | 4.589 | 256.317 | 21.268 | 889.983 | 32.149 | 5.6732
2019-08-22 01:45:00 | 3.589 | 235.18 | 4.232 | 241.667 | 4.008 | 250.933 | 4.344 | 248.817 | 20.994 | 889.317 | 32.443 | 5.6639
2019-08-22 02:00:00 | 3.628 | 236.487 | 4.327 | 243.427 | 4.021 | 252.6 | 4.207 | 250.467 | 20.802 | 890.05 | 33.04 | 6.1919
2019-08-22 02:15:00 | 3.953 | 228.407 | 4.512 | 238.875 | 4.202 | 249.067 | 4.324 | 248.633 | 19.889 | 889.983 | 33.856 | 7.6883
2019-08-22 02:30:00 | 4.484 | 233.047 | 4.976 | 238.266 | 4.7 | 245.867 | 4.647 | 242.933 | 19.494 | 889.3 | 34.432 | 7.0119
2019-08-22 02:45:00 | 4.591 | 216.007 | 5.44 | 223.558 | 5.109 | 233.767 | 4.988 | 231.233 | 19.21 | 889.817 | 34.768 | 5.9453
2019-08-22 03:00:00 | 4.489 | 225.227 | 4.955 | 234.406 | 4.714 | 243.267 | 4.796 | 240.633 | 18.981 | 890.167 | 35.408 | 5.5723
2019-08-22 03:15:00 | 4.07 | 222.833 | 5.002 | 233.309 | 4.678 | 243.7 | 4.643 | 240.033 | 18.739 | 889.85 | 35.707 | 5.0983
2019-08-22 03:30:00 | 4.03 | 214.28 | 4.943 | 222.133 | 4.35 | 235.9 | 4.114 | 237.333 | 18.431 | 889.783 | 36.272 | 4.5519
2019-08-22 03:45:00 | 5.205 | 217.627 | 5.517 | 219.367 | 4.89 | 227.633 | 4.435 | 227.033 | 18.135 | 889.9 | 36.693 | 3.825
2019-08-22 04:00:00 | 4.741 | 224.56 | 4.702 | 225.995 | 4.289 | 234.267 | 4.354 | 233.367 | 18.085 | 889.75 | 36.859 | 4.6755
2019-08-22 04:15:00 | 4.666 | 221.233 | 5.196 | 228.956 | 4.709 | 238.067 | 4.431 | 236.133 | 17.844 | 889.4 | 37.461 | 5.0102
2019-08-22 04:30:00 | 5.304 | 218.007 | 5.439 | 222.872 | 4.536 | 232.2 | 4.398 | 231.333 | 17.135 | 889.75 | 38.341 | 2.6945
2019-08-22 04:45:00 | 4.628 | 220.307 | 4.542 | 227.848 | 3.928 | 238 | 3.743 | 237.9 | 17.281 | 889.75 | 38.528 | 2.7272
2019-08-22 05:00:00 | 4.859 | 221.64 | 4.395 | 228.417 | 3.719 | 237.967 | 3.77 | 238.133 | 16.864 | 889.417 | 39.013 | 5.3022
2019-08-22 05:15:00 | 5.548 | 215.153 | 5.926 | 220.783 | 4.778 | 228.733 | 4.168 | 227.233 | 17.131 | 889.667 | 39.248 | 5.8778
2019-08-22 05:30:00 | 5.308 | 215.627 | 6.142 | 220.336 | 5.143 | 226.867 | 4.548 | 226.867 | 16.998 | 889.967 | 39.387 | 4.9391
2019-08-22 05:45:00 | 5.109 | 217.053 | 4.976 | 223.633 | 4.241 | 233.9 | 4.049 | 231 | 17.56 | 889.867 | 39.163 | 5.2141
2019-08-22 06:00:00 | 5.67 | 214.067 | 6.526 | 211.125 | 5.785 | 215 | 4.999 | 214.433 | 17.189 | 889.633 | 38.939 | 2.8273
2019-08-22 06:15:00 | 4.42 | 212.627 | 5.139 | 209.51 | 4.784 | 212.667 | 4.552 | 211.967 | 17.473 | 889.883 | 38.725 | 2.212
2019-08-22 06:30:00 | 4.816 | 218.253 | 4.756 | 210.562 | 4.194 | 212 | 4.463 | 212 | 17.306 | 889.85 | 38.832 | 0.47324
2019-08-22 06:45:00 | 4.868 | 220.88 | 3.807 | 212.101 | 3.626 | 213.867 | 3.636 | 216 | 17.564 | 889.733 | 38.24 | 1.4844
2019-08-22 07:00:00 | 5.135 | 218.627 | 4.153 | 212.074 | 3.781 | 214.533 | 3.724 | 216 | 17.794 | 889.833 | 37.867 | 2.4195
2019-08-22 07:15:00 | 5.064 | 220.24 | 4.568 | 207.524 | 3.986 | 212 | 4.055 | 210.733 | 17.718 | 889.983 | 37.749 | 0.57059
2019-08-22 07:30:00 | 4.307 | 223.76 | 3.453 | 216.326 | 2.615 | 220 | 2.874 | 218.033 | 18.373 | 889.6 | 37.131 | 3.6125
2019-08-22 07:45:00 | 4.652 | 224.6 | 6.17 | 212.614 | 5.04 | 217.1 | 4.545 | 216.767 | 18.456 | 889.683 | 36.864 | 7.6045
2019-08-22 08:00:00 | 4.516 | 218.927 | 6.202 | 214.103 | 5.33 | 219.1 | 4.878 | 217 | 19.014 | 889.95 | 35.915 | 12.2047
2019-08-22 08:15:00 | 4.759 | 220.42 | 6.277 | 216.014 | 6.783 | 217.733 | 6.42 | 214.9 | 19.235 | 889.533 | 38.699 | 19.9513
2019-08-22 08:30:00 | 5.105 | 236.273 | 6.583 | 232.98 | 7.066 | 236.567 | 6.999 | 230.033 | 19.464 | 889.633 | 38.683 | 59.2279
2019-08-22 08:45:00 | 7.446 | 223.493 | 8.593 | 223.732 | 9.238 | 227.533 | 9.803 | 222.533 | 20.052 | 889.917 | 38.053 | 77.3224
2019-08-22 09:00:00 | 9.531 | 234.547 | 11.205 | 232.519 | 12.04 | 238 | 12.109 | 232.333 | 18.227 | 889.858 | 62.603 | 41.8929
2019-08-22 09:15:00 | 6.413 | 229.04 | 7.699 | 225.849 | 8.372 | 230.167 | 8.624 | 225.4 | 17.131 | 889.925 | 74.005 | 14.3698
2019-08-22 09:30:00 | 3.777 | 206.32 | 5.069 | 208.087 | 5.896 | 213.067 | 6.467 | 210.933 | 16.443 | 889.717 | 80.171 | 8.5502
2019-08-22 09:45:00 | 3.666 | 198.053 | 4.871 | 197.201 | 5.16 | 203.267 | 5.494 | 199.7 | 16.022 | 889.75 | 81.867 | 6.7063
2019-08-22 10:00:00 | 3.39 | 198.527 | 4.778 | 195.545 | 5.402 | 198.533 | 6.041 | 194.033 | 15.925 | 890.012 | 82.539 | 8.2554
2019-08-22 10:15:00 | 3.418 | 199.673 | 4.289 | 193.462 | 4.837 | 194.833 | 5.648 | 189.567 | 16.848 | 889.796 | 81.365 | 10.1355
2019-08-22 10:30:00 | 4.346 | 203.053 | 5.321 | 198.91 | 5.706 | 203.233 | 6.305 | 201.433 | 16.848 | 889.633 | 79.712 | 11.9851
2019-08-22 10:45:00 | 4.799 | 214.987 | 5.649 | 213.782 | 6.283 | 216.967 | 6.957 | 212.367 | 17.494 | 890.058 | 78.336 | 7.9633
2019-08-22 11:00:00 | 3.112 | 220.133 | 4.484 | 219.751 | 5.406 | 222.633 | 6.222 | 215.767 | 16.748 | 890.25 | 80.693 | 0.98271
2019-08-22 11:15:00 | 1.922 | 194.747 | 2.638 | 190.413 | 3.137 | 190.7 | 3.898 | 188.467 | 16.531 | 889.858 | 82.752 | 0.1613
2019-08-22 11:30:00 | 2.45 | 182.74 | 2.962 | 178.612 | 3.244 | 184.433 | 3.52 | 184.667 | 16.914 | 890.042 | 79.499 | 0.50948
2019-08-22 11:45:00 | 1.69 | 141.057 | 1.934 | 136.314 | 2.307 | 144.967 | 2.596 | 148.867 | 17.573 | 889.858 | 76.043 | 0.88608
2019-08-22 12:00:00 | 1.857 | 132.247 | 2.421 | 128.829 | 2.484 | 135.967 | 2.407 | 125.467 | 17.394 | 890.083 | 74.848 | 5.8927
2019-08-22 12:15:00 | 4.128 | 147.773 | 4.625 | 142.162 | 4.361 | 148.567 | 4.477 | 146.167 | 17.348 | 889.633 | 72.341 | 8.5346
2019-08-22 12:30:00 | 3.153 | 155.993 | 3.658 | 153.22 | 3.607 | 157.967 | 4.07 | 157.1 | 17.981 | 889.65 | 69.92 | 4.4673
2019-08-22 12:45:00 | 2.001 | 165.92 | 2.084 | 166.083 | 2.69 | 169.667 | 2.939 | 165.633 | 18.139 | 889.792 | 68.608 | 5.3612
2019-08-22 13:00:00 | 1.744 | 164.733 | 1.833 | 163.746 | 2.498 | 167.133 | 3.104 | 162.467 | 18.048 | 890.092 | 66.059 | 2.8735
2019-08-22 13:15:00 | 0.82 | 158.4 | 1.703 | 164.22 | 2.594 | 166.233 | 2.917 | 163.4 | 18.589 | 889.925 | 63.189 | 0.22099
2019-08-22 13:30:00 | 0.03 | 181.227 | 0.583 | 165.413 | 1.866 | 169.6 | 2.038 | 164 | 19.185 | 889.717 | 61.685 | 0.20038
2019-08-22 13:45:00 | 3.335 | 75.817 | 3.683 | 70.247 | 3.688 | 76.6 | 3.362 | 77.567 | 19.044 | 889.625 | 67.872 | 10.3679
2019-08-22 14:00:00 | 4.686 | 70.048 | 5.116 | 67.378 | 5.248 | 74.233 | 4.758 | 72.667 | 18.923 | 889.933 | 65.696 | 24.2523
2019-08-22 14:15:00 | 5.984 | 88.562 | 5.818 | 87.418 | 5.215 | 89.367 | 4.876 | 88.967 | 18.439 | 890.325 | 66.432 | 32.0665
2019-08-22 14:30:00 | 6.198 | 79.593 | 6.32 | 77.071 | 6.537 | 80.5 | 6.707 | 75.5 | 18.981 | 889.725 | 63.413 | 40.6949
2019-08-22 14:45:00 | 6.999 | 88.507 | 6.737 | 83.4 | 6.633 | 89.033 | 6.779 | 83.467 | 19.973 | 889.633 | 59.797 | 43.8107
2019-08-22 15:00:00 | 7.753 | 79.333 | 7.69 | 74.066 | 8.014 | 78.767 | 8.217 | 76.333 | 20.406 | 889.892 | 59.04 | 36.4599
2019-08-22 15:15:00 | 7.069 | 79.077 | 7.26 | 73.438 | 7.517 | 76.5 | 7.663 | 73 | 20.535 | 889.933 | 57.184 | 31.0589
2019-08-22 15:30:00 | 6.338 | 89.257 | 6.455 | 84.135 | 6.591 | 88.533 | 6.524 | 83.267 | 20.127 | 890.017 | 60.512 | 30.9104
2019-08-22 15:45:00 | 6.504 | 74.84 | 7.092 | 70.591 | 7.629 | 75.167 | 7.624 | 73.433 | 20.473 | 890.108 | 58.485 | 28.4895
2019-08-22 16:00:00 | 6.416 | 64.305 | 6.404 | 61.148 | 6.426 | 65.567 | 6.587 | 62.233 | 20.206 | 889.758 | 65.675 | 18.3461
2019-08-22 16:15:00 | 5.21 | 84.53 | 5.438 | 80.297 | 5.311 | 85.567 | 5.176 | 79 | 19.777 | 890.283 | 60.875 | 18.2566
2019-08-22 16:30:00 | 5.551 | 66.772 | 5.386 | 60.534 | 5.206 | 62.933 | 5.521 | 60.8 | 19.689 | 889.767 | 60.021 | 13.2101
2019-08-22 16:45:00 | 5.295 | 21.164 | 5.496 | 22.466 | 5.529 | 28.8 | 5.772 | 26.033 | 19.148 | 889.525 | 75.381 | 11.8515
2019-08-22 17:00:00 | 5.735 | 36.032 | 6.087 | 32.591 | 6.382 | 39.133 | 6.362 | 36.4 | 18.96 | 889.783 | 74.411 | 7.5682
2019-08-22 17:15:00 | 4.842 | 51.385 | 4.768 | 44.975 | 4.602 | 46.767 | 4.729 | 44.8 | 19.552 | 889.833 | 67.947 | 4.8688
2019-08-22 17:30:00 | 4.343 | 30.792 | 4.15 | 24.624 | 4.164 | 27 | 4.167 | 24.7 | 19.385 | 889.842 | 63.648 | 2.4543
2019-08-22 17:45:00 | 3.782 | 30.841 | 3.724 | 27.196 | 3.841 | 30.967 | 3.914 | 28.867 | 18.76 | 890.167 | 64.736 | 0.37376
2019-08-22 18:00:00 | 2.463 | 38.018 | 2.386 | 37.139 | 2.45 | 43.6 | 2.527 | 40.933 | 19.168 | 889.908 | 63.499 | 0.23946
2019-08-22 18:15:00 | 3.02 | 69.497 | 2.977 | 62.598 | 2.96 | 67.5 | 2.915 | 61.733 | 19.189 | 889.808 | 63.093 | 2.6184
2019-08-22 18:30:00 | 4.016 | 29.061 | 4.246 | 37.832 | 4.332 | 6.4 | 4.384 | 5 | 19.294 | 890.075 | 63.989 | 0.2558
2019-08-22 18:45:00 | 3.228 | 22.327 | 3.036 | 19.69 | 3.217 | 22.867 | 3.171 | 22.3 | 19.723 | 889.792 | 59.605 | 0.31691
2019-08-22 19:00:00 | 1.15 | 72.227 | 0.902 | 61.018 | 1.52 | 68.9 | 1.411 | 63.9 | 19.781 | 890.075 | 60.533 | 0.35884
2019-08-22 19:15:00 | 2.996 | 20.5 | 2.936 | 17.137 | 2.861 | 22.467 | 2.623 | 21.833 | 19.044 | 889.542 | 65.045 | 4.9235
2019-08-22 19:30:00 | 4.176 | 46.215 | 4.259 | 225.737 | 4.35 | 12.4 | 4.338 | 59.667 | 18.981 | 890.208 | 66.549 | 0.88181
2019-08-22 19:45:00 | 2.892 | 59.069 | 3.478 | 95.13 | 3.654 | 3 | 3.462 | 0 | 18.856 | 889.967 | 66.016 | 0.28778
2019-08-22 20:00:00 | 1.191 | 24.075 | 1.107 | 30.892 | 1.504 | 36.067 | 1.704 | 31.1 | 18.589 | 890 | 66.443 | 0.17267
2019-08-22 20:15:00 | 0.869 | 20.075 | 0.52 | 18.068 | 1.22 | 25 | 1.38 | 31.067 | 18.306 | 889.583 | 66.784 | 0.16485
2019-08-22 20:30:00 | 0 | 20.075 | 0 | 18.056 | 0 | 25.133 | 0 | 31 | 18.539 | 889.9 | 67.083 | 0.17054
2019-08-22 20:45:00 | 1.848 | 158.62 | 1.634 | 142.736 | 1.664 | 145.867 | 1.592 | 136.667 | 18.306 | 889.642 | 67.349 | 1.0751
2019-08-22 21:00:00 | 3.452 | 137.47 | 3.741 | 127.611 | 3.814 | 126.733 | 3.861 | 119.5 | 18.118 | 890.117 | 68.491 | 0.62104
2019-08-22 21:15:00 | 2.606 | 157.56 | 2.775 | 149.092 | 2.844 | 149.733 | 2.603 | 142.967 | 18.118 | 889.992 | 69.888 | 0.69209
2019-08-22 21:30:00 | 2.704 | 158.807 | 2.852 | 147.547 | 2.956 | 147.867 | 2.924 | 140.967 | 18.231 | 889.658 | 71.051 | 0.85979
2019-08-22 21:45:00 | 1.013 | 155.613 | 1.573 | 144.666 | 2.054 | 146.533 | 2.129 | 135.133 | 18.194 | 889.825 | 72.277 | 0.15561
2019-08-22 22:00:00 | 0.35 | 151.68 | 1.066 | 125.266 | 1.574 | 134.033 | 1.65 | 107 | 17.973 | 889.808 | 74.155 | 0.19754
2019-08-22 22:15:00 | 1.088 | 169.1 | 1.854 | 148.027 | 2.214 | 147 | 2.567 | 140.033 | 17.881 | 890.317 | 76.864 | 0.1883
2019-08-22 22:30:00 | 0.959 | 182.48 | 1.475 | 148.108 | 2.117 | 147 | 2.459 | 140.067 | 17.164 | 889.842 | 77.739 | 0.17764
2019-08-22 22:45:00 | 1.283 | 196.293 | 0.814 | 147.907 | 1.766 | 146.933 | 2.277 | 133.4 | 16.614 | 890.317 | 78.763 | 0.15846
2019-08-22 23:00:00 | 1.275 | 196.273 | 0.818 | 147.604 | 2.025 | 131.7 | 2.545 | 107.3 | 16.648 | 890.058 | 79.04 | 0.10019
2019-08-22 23:15:00 | 1.768 | 180.76 | 1.871 | 138.623 | 2.571 | 120.833 | 2.915 | 104.9 | 17.131 | 889.925 | 75.093 | 0.20393
2019-08-22 23:30:00 | 0.682 | 291.067 | 0.156 | 220.262 | 1.152 | 208.7 | 1.609 | 155.867 | 16.108 | 890.012 | 82.56 | 0.23307
2019-08-22 23:45:00 | 1.047 | 267.72 | 0.769 | 235.698 | 0.94 | 236.35 | 0.937 | 225.2 | 16.298 | 890.029 | 82.528 | 0.18617