## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-23 00:00:00 | 1.745 | 267.507 | 1.028 | 273.009 | 0.17 | 121.05 | 0.319 | 104 | 16.531 | 889.867 | 81.835 | 0.17054
2019-08-23 00:15:00 | 1.068 | 272.08 | 0.223 | 272.819 | 0.07 | 326.4 | 0.41 | 196.217 | 17.031 | 889.675 | 79.072 | 0.17054
2019-08-23 00:30:00 | 0.642 | 265.787 | 0.19 | 86.396 | 0.692 | 109.092 | 1.149 | 117 | 16.448 | 890.092 | 79.445 | 0.1748
2019-08-23 00:45:00 | 0 | 247.133 | 0 | 126.109 | 0.818 | 109 | 1.214 | 117.033 | 15.951 | 889.488 | 81.845 | 0.17196
2019-08-23 01:00:00 | 1.765 | 212.227 | 1.162 | 183.445 | 1.036 | 161 | 1.502 | 117.867 | 15.768 | 890.146 | 84.373 | 0.17764
2019-08-23 01:15:00 | 2.354 | 211.92 | 1.643 | 181.683 | 1.986 | 160.8 | 2.141 | 130.033 | 15.732 | 889.833 | 87.467 | 0.18191
2019-08-23 01:30:00 | 2.01 | 209.24 | 1.468 | 169.419 | 1.726 | 152.367 | 2.412 | 129.267 | 15.68 | 889.475 | 86.443 | 0.10801
2019-08-23 01:45:00 | 2.673 | 210.88 | 1.797 | 165.302 | 2.091 | 145.967 | 2.774 | 119.433 | 16.07 | 890.483 | 85.291 | 0.24372
2019-08-23 02:00:00 | 2.612 | 212.98 | 1.471 | 170.326 | 1.6 | 151.867 | 2.172 | 121.467 | 15.55 | 889.846 | 83.435 | 0.42492
2019-08-23 02:15:00 | 2.234 | 201.447 | 2.036 | 169.298 | 2.197 | 142.267 | 2.903 | 115.1 | 16.037 | 889.729 | 82.123 | 0.28209
2019-08-23 02:30:00 | 2.268 | 200.56 | 1.996 | 157.948 | 2.005 | 140.067 | 2.613 | 116.8 | 16.015 | 889.933 | 81.088 | 0.83278
2019-08-23 02:45:00 | 2.632 | 196.12 | 2.398 | 164.66 | 2.318 | 141.833 | 3.2 | 126.1 | 15.818 | 889.683 | 80.341 | 1.3145
2019-08-23 03:00:00 | 2.98 | 196.133 | 3.001 | 171.79 | 2.907 | 151.5 | 3.276 | 124.2 | 16.134 | 890.075 | 79.339 | 2.6398
2019-08-23 03:15:00 | 3.599 | 193.833 | 3.538 | 170.406 | 3.481 | 155.567 | 3.174 | 135.3 | 16.398 | 889.917 | 79.627 | 2.2312
2019-08-23 03:30:00 | 3.485 | 203.387 | 3.154 | 166.684 | 3.274 | 149.833 | 2.643 | 135.933 | 16.022 | 889.858 | 80.48 | 1.8787
2019-08-23 03:45:00 | 3.416 | 205.067 | 2.814 | 165.559 | 2.962 | 149.467 | 2.513 | 136.167 | 15.041 | 889.871 | 82.368 | 1.2108
2019-08-23 04:00:00 | 2.954 | 203.333 | 2.636 | 162.302 | 2.569 | 147.467 | 2.415 | 131.7 | 14.758 | 889.858 | 81.397 | 1.2229
2019-08-23 04:15:00 | 3.372 | 202.36 | 2.617 | 166.123 | 2.68 | 150.3 | 2.512 | 134 | 15.618 | 889.858 | 79.029 | 0.52866
2019-08-23 04:30:00 | 3.465 | 219.22 | 1.86 | 182.45 | 1.62 | 156.367 | 1.811 | 138.9 | 15.899 | 890.05 | 77.568 | 0.093084
2019-08-23 04:45:00 | 2.995 | 215.987 | 1.839 | 180.176 | 2.029 | 152 | 2.321 | 130 | 15.626 | 889.975 | 76.032 | 0.11085
2019-08-23 05:00:00 | 3.644 | 225.553 | 2.176 | 197.994 | 2.15 | 157 | 2.542 | 134.733 | 15.046 | 889.708 | 77.611 | 0.40502
2019-08-23 05:15:00 | 3.889 | 220.687 | 2.657 | 196.81 | 2.4 | 164.133 | 2.997 | 147.4 | 15.452 | 889.85 | 76.096 | 2.3584
2019-08-23 05:30:00 | 3.836 | 211.813 | 3.041 | 180.076 | 2.738 | 161.267 | 2.94 | 144.1 | 16.02 | 890.083 | 73.045 | 3.1983
2019-08-23 05:45:00 | 3.829 | 206.927 | 3.145 | 176.004 | 3.05 | 156.8 | 3.023 | 142.833 | 16.222 | 889.883 | 72.096 | 2.2276
2019-08-23 06:00:00 | 4.334 | 212.82 | 3.595 | 184.143 | 3.04 | 168.1 | 2.892 | 152.7 | 15.492 | 890.05 | 73.003 | 1.2172
2019-08-23 06:15:00 | 3.888 | 216.273 | 3.377 | 190.647 | 2.706 | 171.367 | 2.088 | 148.133 | 15.754 | 889.55 | 72.555 | 0.91095
2019-08-23 06:30:00 | 3.882 | 216.12 | 3.63 | 189.574 | 2.65 | 166.033 | 2.326 | 143.933 | 15.419 | 889.408 | 71.136 | 0.14638
2019-08-23 06:45:00 | 4.171 | 211.667 | 3.504 | 182.834 | 2.908 | 168.467 | 2.921 | 151.267 | 14.316 | 889.942 | 73.824 | 0.52653
2019-08-23 07:00:00 | 3.412 | 210.82 | 2.863 | 181.447 | 2.337 | 159.8 | 2.312 | 139.833 | 16.914 | 889.55 | 64.064 | 0.19754
2019-08-23 07:15:00 | 3.71 | 208.707 | 3.47 | 181.892 | 3.461 | 166.7 | 3.027 | 156.167 | 15.69 | 889.908 | 67.808 | 0.20749
2019-08-23 07:30:00 | 3.02 | 233.793 | 0.948 | 205.099 | 0.08 | 182.633 | 0 | 164 | 16.172 | 889.9 | 64.811 | 0.17338
2019-08-23 07:45:00 | 3.621 | 248.707 | 2.229 | 246.147 | 1.218 | 183 | 1.469 | 216.967 | 16.698 | 890.025 | 60.757 | 0.1748
2019-08-23 08:00:00 | 3.503 | 196.46 | 2.638 | 221.317 | 2.194 | 243 | 1.579 | 231.333 | 15.188 | 890.2 | 64.811 | 0.1748
2019-08-23 08:15:00 | 3.724 | 233.46 | 2.478 | 237.544 | 2.285 | 244.033 | 1.752 | 238 | 15.652 | 890.083 | 64.075 | 0.18972
2019-08-23 08:30:00 | 3.231 | 220.607 | 2.88 | 223.556 | 2.205 | 231.467 | 1.856 | 224 | 16.848 | 889.342 | 61.12 | 0.16769
2019-08-23 08:45:00 | 2.781 | 227.687 | 2.55 | 229.602 | 1.915 | 224.067 | 1.674 | 224.333 | 17.864 | 890.125 | 60.053 | 0.15775
2019-08-23 09:00:00 | 2.205 | 246.067 | 1.11 | 230.302 | 1.056 | 224 | 0.809 | 224.3 | 19.518 | 889.7 | 55.04 | 0.13501
2019-08-23 09:15:00 | 1.703 | 233.46 | 1.91 | 215.859 | 1.924 | 212 | 2.964 | 200.1 | 21.11 | 889.9 | 47.797 | 0.17693
2019-08-23 09:30:00 | 1.391 | 274.88 | 1.577 | 259.702 | 2.135 | 253.883 | 2.596 | 245.7 | 21.61 | 889.65 | 46.187 | 0.17196
2019-08-23 09:45:00 | 0.459 | 288.533 | 0.173 | 261.911 | 1.205 | 265.817 | 1.972 | 251 | 21.294 | 889.725 | 45.083 | 0.16059
2019-08-23 10:00:00 | 1.286 | 270.653 | 1.525 | 258.217 | 1.881 | 261.067 | 1.99 | 250.467 | 23.573 | 889.875 | 41.845 | 0.16769
2019-08-23 10:15:00 | 1.866 | 84.674 | 1.812 | 49.923 | 1.974 | 26.133 | 1.84 | 86.4 | 23.181 | 889.892 | 41.893 | 0.20322
2019-08-23 10:30:00 | 2.818 | 131.5 | 3.052 | 130.004 | 2.818 | 94.333 | 2.513 | 130.467 | 22.698 | 889.717 | 41.139 | 0.14638
2019-08-23 10:45:00 | 3.125 | 233 | 3.044 | 337.259 | 3.14 | 314.067 | 3.06 | 336.733 | 22.664 | 890.158 | 41.613 | 0.44553
2019-08-23 11:00:00 | 3.075 | 238.4 | 3.025 | 341.5 | 3.145 | 318.833 | 3.293 | 341.1 | 22.531 | 890 | 41.141 | 2.1075
2019-08-23 11:15:00 | 3.544 | 340.76 | 3.778 | 332.776 | 3.909 | 337.333 | 3.87 | 336.9 | 22.548 | 889.95 | 40.48 | 3.339
2019-08-23 11:30:00 | 4.656 | 298.48 | 4.906 | 330.818 | 5.186 | 334.5 | 5.13 | 345.2 | 22.898 | 890.408 | 41.883 | 3.8271
2019-08-23 11:45:00 | 4 | 273.013 | 4.168 | 311.204 | 4.068 | 326 | 3.884 | 337.067 | 23.081 | 889.808 | 39.888 | 4.3885
2019-08-23 12:00:00 | 3.502 | 306.535 | 3.63 | 323.622 | 3.748 | 328.833 | 3.782 | 325.3 | 23.468 | 889.783 | 38.168 | 7.807
2019-08-23 12:15:00 | 3.74 | 326.173 | 4.057 | 320.7 | 4.207 | 325.9 | 4.297 | 323.033 | 23.827 | 889.833 | 35.904 | 6.6012
2019-08-23 12:30:00 | 4.192 | 319.947 | 4.384 | 311.344 | 4.5 | 314.133 | 4.622 | 312.1 | 24.698 | 889.65 | 33.971 | 6.3176
2019-08-23 12:45:00 | 4.105 | 322.147 | 4.347 | 325.02 | 4.642 | 327.333 | 4.93 | 324.4 | 24.994 | 889.933 | 33.533 | 6.7156
2019-08-23 13:00:00 | 5.083 | 320.987 | 5.088 | 321.538 | 4.895 | 324.567 | 4.902 | 321.9 | 25.227 | 889.75 | 31.621 | 6.793
2019-08-23 13:15:00 | 4.208 | 312.333 | 4.522 | 306.488 | 5.01 | 307.833 | 5.303 | 294.967 | 25.51 | 889.55 | 31.08 | 7.8709
2019-08-23 13:30:00 | 4.231 | 334.4 | 4.628 | 315.696 | 4.799 | 320.233 | 5.014 | 330.1 | 25.798 | 889.783 | 30.789 | 11.5098
2019-08-23 13:45:00 | 5.643 | 323.253 | 5.979 | 316.99 | 6.266 | 322.267 | 6.316 | 323.1 | 26.277 | 889.783 | 29.677 | 11.8551
2019-08-23 14:00:00 | 4.981 | 291.62 | 5.111 | 289.322 | 5.505 | 295.083 | 5.498 | 295.867 | 26.435 | 889.517 | 29.856 | 12.6872
2019-08-23 14:15:00 | 4.828 | 304.92 | 5.022 | 298.987 | 5.126 | 304 | 5.333 | 302.1 | 27.406 | 890.017 | 27.445 | 9.8229
2019-08-23 14:30:00 | 4.978 | 318.053 | 5.271 | 314.679 | 5.447 | 322.5 | 5.543 | 320.8 | 26.977 | 890.083 | 25.416 | 8.4607
2019-08-23 14:45:00 | 4.299 | 311.96 | 4.568 | 306.66 | 4.602 | 311.767 | 4.607 | 308.733 | 27.477 | 889.9 | 24.053 | 8.6483
2019-08-23 15:00:00 | 5.085 | 328.667 | 4.916 | 322.626 | 4.801 | 328.233 | 4.922 | 328.033 | 27.502 | 889.867 | 22.915 | 11.1516
2019-08-23 15:15:00 | 3.594 | 274.273 | 3.734 | 276.937 | 3.721 | 289.033 | 3.798 | 291.133 | 28.048 | 889.8 | 24.587 | 10.844
2019-08-23 15:30:00 | 5.136 | 311.093 | 5.337 | 322.895 | 5.606 | 325.7 | 5.96 | 324.233 | 28.277 | 889.7 | 23.963 | 6.1542
2019-08-23 15:45:00 | 4.777 | 151.42 | 4.81 | 188.854 | 4.999 | 206.667 | 5.396 | 274.867 | 28.789 | 890.067 | 23.173 | 13.1874
2019-08-23 16:00:00 | 5.714 | 319.28 | 5.882 | 312.956 | 5.781 | 317.367 | 5.961 | 321.067 | 28.331 | 889.833 | 22.309 | 8.261
2019-08-23 16:15:00 | 2.895 | 269.494 | 3.235 | 315.518 | 3.399 | 329.3 | 3.559 | 323 | 28.51 | 889.583 | 22.909 | 4.2414
2019-08-23 16:30:00 | 6.298 | 298.6 | 6.808 | 314.405 | 6.78 | 283.967 | 6.895 | 307.4 | 28.864 | 889.9 | 21.531 | 13.6962
2019-08-23 16:45:00 | 3.186 | 285.487 | 3.766 | 273.586 | 3.874 | 286.801 | 3.813 | 287.767 | 28.898 | 889.917 | 21.033 | 15.8371
2019-08-23 17:00:00 | 5.257 | 318.52 | 5.448 | 325.334 | 5.307 | 331.767 | 5.262 | 331.567 | 29.148 | 889.367 | 21.664 | 6.7447
2019-08-23 17:15:00 | 5.771 | 311.333 | 6.605 | 301.791 | 6.892 | 304.833 | 7.355 | 302.2 | 29.031 | 889.3 | 19.095 | 13.3366
2019-08-23 17:30:00 | 6.142 | 295.093 | 6.648 | 313.864 | 6.742 | 319.133 | 6.941 | 329.433 | 29.481 | 889.833 | 19.067 | 14.6171
2019-08-23 17:45:00 | 5.535 | 314.667 | 5.508 | 307.587 | 5.569 | 313.667 | 5.534 | 311.6 | 28.827 | 889.433 | 18.849 | 3.2864
2019-08-23 18:00:00 | 4.801 | 259.04 | 5.031 | 249.136 | 5.189 | 253.283 | 4.961 | 249.183 | 29.677 | 889.567 | 15.557 | 14.9169
2019-08-23 18:15:00 | 5.847 | 264.013 | 6.205 | 264.807 | 6.52 | 267.967 | 6.432 | 260.733 | 29.298 | 889.5 | 15.156 | 20.0707
2019-08-23 18:30:00 | 7.742 | 300.587 | 8.413 | 296.27 | 8.812 | 299.567 | 9.233 | 298.5 | 29.731 | 889.567 | 14.5 | 24.268
2019-08-23 18:45:00 | 6.023 | 299.413 | 6.382 | 294.878 | 6.344 | 301.533 | 6.332 | 299.833 | 29.564 | 889.2 | 15.116 | 23.5709
2019-08-23 19:00:00 | 6.472 | 301.933 | 6.792 | 297.308 | 6.999 | 301.633 | 7.217 | 299.8 | 29.531 | 889.233 | 15.56 | 29.9035
2019-08-23 19:15:00 | 8.309 | 294.36 | 8.687 | 286.489 | 9.063 | 291.067 | 9.406 | 288.267 | 29.714 | 889.5 | 15.756 | 28.7012
2019-08-23 19:30:00 | 6.798 | 300.533 | 7.226 | 295.404 | 7.658 | 301.6 | 8.12 | 298.567 | 29.631 | 889.967 | 15.676 | 30.1245
2019-08-23 19:45:00 | 6.867 | 280.76 | 7.434 | 278.166 | 7.566 | 283.767 | 7.821 | 280.467 | 29.198 | 889.367 | 16.639 | 28.3381
2019-08-23 20:00:00 | 5.825 | 298.827 | 6.595 | 292.785 | 6.927 | 298.467 | 7.344 | 295.633 | 28.823 | 889.4 | 17.464 | 27.7
2019-08-23 20:15:00 | 6.641 | 306.64 | 7.436 | 300.776 | 7.507 | 307.567 | 7.765 | 306.433 | 28.564 | 889.233 | 17.455 | 24.8592
2019-08-23 20:30:00 | 5.114 | 314.227 | 5.749 | 306.433 | 6.046 | 311.7 | 6.406 | 309.767 | 28.498 | 889.433 | 18.083 | 28.7986
2019-08-23 20:45:00 | 5.629 | 306.093 | 6.363 | 302.349 | 6.742 | 307 | 7.05 | 307.7 | 28.01 | 889.3 | 19.425 | 25.5278
2019-08-23 21:00:00 | 5.121 | 309.867 | 5.964 | 306.654 | 6.339 | 311.3 | 6.569 | 309.5 | 27.948 | 889.6 | 20.083 | 29.3521
2019-08-23 21:15:00 | 5.445 | 320.107 | 6.368 | 314.552 | 6.94 | 318.7 | 7.374 | 317.533 | 27.335 | 890 | 20.861 | 25.0041
2019-08-23 21:30:00 | 4.352 | 315.307 | 5.436 | 308.462 | 5.959 | 313.5 | 6.484 | 310.867 | 26.864 | 889.883 | 22.328 | 23.3819
2019-08-23 21:45:00 | 4.799 | 311.52 | 5.815 | 305.208 | 6.309 | 310.833 | 6.774 | 307.3 | 26.81 | 889.15 | 23.344 | 25.5214
2019-08-23 22:00:00 | 5.048 | 299.333 | 6.33 | 295.509 | 6.891 | 299.9 | 7.349 | 297.833 | 26.839 | 889.7 | 23.763 | 26.1467
2019-08-23 22:15:00 | 5.803 | 318.493 | 6.705 | 314.296 | 6.977 | 320.7 | 7.299 | 320.567 | 26.489 | 889.667 | 24.589 | 19.5896
2019-08-23 22:30:00 | 3.806 | 249.013 | 5.287 | 351.918 | 5.516 | 248.767 | 5.835 | 331.167 | 25.66 | 889.75 | 26.632 | 17.244
2019-08-23 22:45:00 | 3.614 | 329.987 | 4.56 | 351.309 | 4.73 | 272.033 | 4.978 | 341.7 | 25.194 | 890.05 | 27.405 | 14.6469
2019-08-23 23:00:00 | 2.703 | 59.8 | 3.586 | 11.97 | 3.977 | 0 | 3.984 | 23.867 | 24.973 | 889.567 | 28.277 | 12.3745
2019-08-23 23:15:00 | 2.414 | 335.32 | 3.44 | 331.587 | 3.978 | 339.6 | 4.272 | 341.2 | 24.36 | 889.633 | 29.389 | 5.1374
2019-08-23 23:30:00 | 2.714 | 333.653 | 2.994 | 327.994 | 3.423 | 335.667 | 3.746 | 331.3 | 24.431 | 889.767 | 29.24 | 0.28849
2019-08-23 23:45:00 | 1.696 | 300.24 | 1.82 | 302.968 | 2.247 | 310.9 | 2.738 | 303.8 | 24.877 | 889.817 | 29.509 | 0.73401