## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-24 00:00:00 | 2.41 | 271.267 | 2.394 | 289.061 | 2.863 | 295.367 | 3.132 | 295.3 | 24.36 | 889.467 | 29.939 | 1.8638
2019-08-24 00:15:00 | 3.12 | 275.813 | 3.322 | 286.616 | 3.68 | 294.8 | 4.124 | 294.633 | 23.885 | 889.767 | 31.059 | 1.4936
2019-08-24 00:30:00 | 2.574 | 252.787 | 3.106 | 285.011 | 3.654 | 294.833 | 4.502 | 293.567 | 23.514 | 889.883 | 35.493 | 1.0275
2019-08-24 00:45:00 | 3.164 | 220.493 | 2.807 | 233.758 | 3.192 | 259.8 | 4.095 | 269.667 | 22.631 | 889.85 | 35.152 | 7.8503
2019-08-24 01:00:00 | 5.208 | 217.367 | 5.455 | 223.864 | 5.32 | 236.367 | 5.47 | 241.133 | 22.964 | 889.917 | 35.168 | 18.6488
2019-08-24 01:15:00 | 5.24 | 233.2 | 6.402 | 238.394 | 6.474 | 247.9 | 6.252 | 248.117 | 22.614 | 889.717 | 35.803 | 25.4099
2019-08-24 01:30:00 | 4.41 | 251.753 | 5.967 | 259.762 | 6.858 | 269.533 | 7.551 | 270.1 | 22.335 | 889.767 | 35.341 | 22.1654
2019-08-24 01:45:00 | 4.555 | 270.427 | 6.613 | 269.304 | 7.388 | 276.133 | 7.726 | 272.867 | 22.323 | 889.617 | 35.475 | 18.1379
2019-08-24 02:00:00 | 4.051 | 271.693 | 5.701 | 273.201 | 6.352 | 280.067 | 6.866 | 277.867 | 22.223 | 889.733 | 35.963 | 14.5702
2019-08-24 02:15:00 | 3.215 | 255.853 | 4.99 | 266.796 | 5.716 | 276.567 | 6.098 | 275.867 | 21.356 | 889.867 | 38.125 | 13.6514
2019-08-24 02:30:00 | 3.583 | 253.047 | 5.037 | 264.023 | 5.527 | 274.267 | 5.799 | 274 | 20.552 | 889.967 | 39.728 | 10.9491
2019-08-24 02:45:00 | 3.223 | 255.613 | 5.145 | 270.511 | 5.546 | 282.633 | 5.886 | 283.533 | 20.718 | 889.542 | 40.312 | 8.1466
2019-08-24 03:00:00 | 3.459 | 241.187 | 4.495 | 256.254 | 5.186 | 277.8 | 5.688 | 282.933 | 19.968 | 889.658 | 43.243 | 9.1052
2019-08-24 03:15:00 | 4.017 | 238.033 | 5.309 | 257.272 | 5.766 | 273.8 | 6.247 | 275.633 | 19.585 | 889.967 | 43.307 | 13.6756
2019-08-24 03:30:00 | 5.659 | 234.147 | 6.097 | 245.162 | 5.92 | 255.467 | 6.003 | 253.65 | 19.089 | 889.925 | 44.309 | 16.7104
2019-08-24 03:45:00 | 5.922 | 225.813 | 6.542 | 233.791 | 6.355 | 243.633 | 6.156 | 241.767 | 19.685 | 890.092 | 43.851 | 15.5643
2019-08-24 04:00:00 | 4.877 | 227.247 | 6.265 | 235.63 | 6.035 | 250.233 | 5.788 | 251.7 | 19.377 | 889.983 | 44.139 | 10.3302
2019-08-24 04:15:00 | 3.91 | 237.4 | 4.706 | 247.938 | 4.287 | 262.333 | 4.268 | 267.433 | 19.368 | 889.717 | 44.299 | 7.3053
2019-08-24 04:30:00 | 3.837 | 240.607 | 5.216 | 247.272 | 4.612 | 263.167 | 4.305 | 266.367 | 19.16 | 890.067 | 44.608 | 4.6919
2019-08-24 04:45:00 | 4.656 | 239.7 | 4.905 | 248.036 | 4.346 | 260.2 | 4.271 | 265.567 | 18.673 | 890.042 | 45.888 | 0.61606
2019-08-24 05:00:00 | 3.266 | 232.56 | 2.18 | 255.596 | 2.448 | 288.2 | 3.04 | 296.167 | 18.218 | 890.242 | 47.333 | 0.21033
2019-08-24 05:15:00 | 2.483 | 231.693 | 0.256 | 252.52 | 1.501 | 294 | 2.116 | 323 | 17.81 | 889.633 | 47.211 | 0.22099
2019-08-24 05:30:00 | 3.426 | 221.5 | 1.99 | 231.251 | 1.019 | 267.233 | 1.803 | 322.1 | 18.706 | 889.7 | 45.376 | 0.2217
2019-08-24 05:45:00 | 3.888 | 227.487 | 2.784 | 226.627 | 2.066 | 240.233 | 1.843 | 274.333 | 18.914 | 889.8 | 44.512 | 0.18191
2019-08-24 06:00:00 | 3.765 | 222.04 | 2.019 | 227.238 | 1.27 | 251 | 0.849 | 274 | 18.131 | 889.583 | 47.573 | 0.14282
2019-08-24 06:15:00 | 3.681 | 219.153 | 1.65 | 220.869 | 0.257 | 238 | 0 | 274 | 17.781 | 890.142 | 47.328 | 0.15419
2019-08-24 06:30:00 | 4.149 | 228.053 | 2.247 | 221.59 | 0.952 | 236.967 | 1.256 | 274 | 17.56 | 889.692 | 50.229 | 0.41355
2019-08-24 06:45:00 | 5.296 | 230.667 | 3.179 | 238.573 | 2.638 | 248.667 | 2.637 | 252.767 | 17.198 | 889.883 | 51.765 | 3.7944
2019-08-24 07:00:00 | 5.366 | 219.847 | 4.922 | 223.362 | 4.308 | 232.3 | 3.534 | 235.967 | 17.264 | 889.858 | 51.563 | 9.5799
2019-08-24 07:15:00 | 5.581 | 220.72 | 5.696 | 220.921 | 5.096 | 227.2 | 4.501 | 221.733 | 17.748 | 889.592 | 50.123 | 15.361
2019-08-24 07:30:00 | 5.738 | 222.753 | 6.332 | 222.141 | 6.371 | 231.033 | 6.329 | 229.433 | 16.981 | 889.925 | 52.043 | 12.155
2019-08-24 07:45:00 | 4.33 | 221.9 | 6.199 | 221.996 | 6.057 | 230.667 | 5.812 | 229.433 | 17.131 | 889.833 | 51.381 | 14.001
2019-08-24 08:00:00 | 4.314 | 220.567 | 6.817 | 224.608 | 6.409 | 233.1 | 5.851 | 232.167 | 17.756 | 889.917 | 49.056 | 12.5685
2019-08-24 08:15:00 | 4.77 | 223.7 | 6.319 | 223.037 | 5.862 | 233.867 | 5.434 | 235.833 | 19.027 | 889.825 | 45.195 | 8.8657
2019-08-24 08:30:00 | 4.225 | 233.3 | 5.268 | 228.562 | 5.58 | 236 | 5.461 | 237.7 | 19.944 | 890.117 | 42.709 | 9.231
2019-08-24 08:45:00 | 4.752 | 234.62 | 5.516 | 230.651 | 6.127 | 243.833 | 5.763 | 244.567 | 20.752 | 889.483 | 40.603 | 8.1637
2019-08-24 09:00:00 | 4.925 | 233.273 | 5.25 | 234.199 | 5.734 | 242.4 | 5.679 | 244.467 | 21.56 | 890.15 | 37.552 | 7.1973
2019-08-24 09:15:00 | 4.686 | 253.987 | 4.941 | 252.376 | 5.184 | 258.55 | 5.392 | 254.283 | 22.781 | 889.95 | 33.637 | 7.208
2019-08-24 09:30:00 | 4.544 | 272.947 | 4.558 | 268.971 | 4.729 | 274.6 | 4.895 | 270.483 | 22.831 | 889.467 | 31.363 | 9.6545
2019-08-24 09:45:00 | 5.786 | 274.747 | 5.897 | 271.736 | 5.865 | 276.9 | 5.897 | 273.2 | 23.198 | 889.7 | 28.357 | 9.9756
2019-08-24 10:00:00 | 5.151 | 285.8 | 5.397 | 283.196 | 5.604 | 286.967 | 5.752 | 284.967 | 22.664 | 889.95 | 27.912 | 11.9766
2019-08-24 10:15:00 | 5.178 | 284.133 | 5.54 | 281.836 | 5.63 | 284.133 | 5.785 | 281.067 | 22.414 | 889.95 | 27.395 | 8.8942
2019-08-24 10:30:00 | 5.385 | 285.533 | 5.604 | 280.879 | 5.786 | 284 | 5.792 | 278.9 | 22.431 | 889.9 | 27.347 | 12.1038
2019-08-24 10:45:00 | 5.441 | 294.773 | 5.744 | 290.142 | 5.784 | 292.367 | 5.8 | 286.233 | 23.131 | 889.5 | 25.627 | 17.4643
2019-08-24 11:00:00 | 6.409 | 278.76 | 6.643 | 277.703 | 6.624 | 280.067 | 6.684 | 276.6 | 22.948 | 889.483 | 25.437 | 17.7478
2019-08-24 11:15:00 | 5.28 | 308.16 | 5.532 | 300.56 | 5.805 | 304.533 | 6.124 | 302.267 | 23.531 | 890.083 | 24.635 | 20.6761
2019-08-24 11:30:00 | 6.445 | 313.72 | 6.842 | 307.54 | 6.911 | 311.733 | 7.059 | 311.367 | 23.914 | 889.717 | 22.6 | 21.992
2019-08-24 11:45:00 | 5.558 | 288.333 | 5.974 | 284.637 | 6.171 | 292.1 | 6.19 | 290.333 | 24.056 | 890.017 | 22.013 | 19.4574
2019-08-24 12:00:00 | 5.849 | 303.587 | 5.974 | 309.919 | 5.982 | 313.067 | 6.477 | 312.633 | 24.285 | 890.033 | 21.544 | 23.4892
2019-08-24 12:15:00 | 6.017 | 294.72 | 6.347 | 292.132 | 6.6 | 302.167 | 7.002 | 302.133 | 24.377 | 889.867 | 21.696 | 21.2253
2019-08-24 12:30:00 | 6.046 | 304.453 | 6.631 | 298.726 | 6.984 | 302.4 | 7.374 | 298.8 | 24.481 | 889.783 | 21.821 | 18.0185
2019-08-24 12:45:00 | 7.178 | 296.147 | 7.301 | 294.65 | 7.195 | 299.967 | 7.45 | 300.2 | 24.423 | 889.7 | 22.365 | 18.3639
2019-08-24 13:00:00 | 5.998 | 327.987 | 6.465 | 321.177 | 6.693 | 321.233 | 6.845 | 322.2 | 25.01 | 889.55 | 21.88 | 15.9842
2019-08-24 13:15:00 | 4.574 | 291.12 | 5.004 | 289.462 | 5.221 | 295.95 | 5.396 | 298.133 | 24.944 | 889.8 | 21.845 | 17.8182
2019-08-24 13:30:00 | 6.038 | 310.213 | 6.178 | 309.803 | 6.441 | 311.3 | 6.489 | 309.6 | 25.306 | 889.283 | 22.837 | 21.6318
2019-08-24 13:45:00 | 5.896 | 287.867 | 5.886 | 284.566 | 6.039 | 288.467 | 6.432 | 288.933 | 25.394 | 889.8 | 23.155 | 22.8326
2019-08-24 14:00:00 | 6.641 | 298.32 | 7.104 | 308.741 | 7.408 | 310.067 | 7.354 | 308.267 | 25.727 | 889.883 | 26.211 | 16.5519
2019-08-24 14:15:00 | 6.158 | 293.867 | 6.368 | 287.398 | 6.542 | 290.467 | 6.753 | 288.633 | 26.085 | 889.233 | 24 | 17.1964
2019-08-24 14:30:00 | 5.715 | 300.587 | 6.087 | 297.066 | 6.303 | 299.667 | 6.738 | 295.967 | 26.294 | 889.683 | 23.715 | 22.8419
2019-08-24 14:45:00 | 7.041 | 311.253 | 7.019 | 303.292 | 7.419 | 304.4 | 7.547 | 303.333 | 26.448 | 889.55 | 24.664 | 21.6353
2019-08-24 15:00:00 | 5.806 | 311.84 | 5.886 | 297.98 | 6.276 | 304.933 | 6.483 | 301.333 | 26.556 | 889.583 | 24.824 | 19.2102
2019-08-24 15:15:00 | 6.27 | 288.453 | 6.33 | 306.115 | 6.578 | 310.067 | 6.683 | 307.433 | 27.068 | 889.55 | 23.957 | 26.3123
2019-08-24 15:30:00 | 7.622 | 329.72 | 7.654 | 323.785 | 8.18 | 324.933 | 8.454 | 324.667 | 27.164 | 889.317 | 23.784 | 23.6342
2019-08-24 15:45:00 | 7.357 | 323.853 | 7.684 | 316.01 | 7.987 | 315.167 | 8.19 | 309.933 | 27.506 | 889.433 | 23.877 | 31.7879
2019-08-24 16:00:00 | 8.851 | 313.067 | 9.31 | 308.11 | 9.443 | 310.767 | 9.602 | 307.267 | 27.298 | 889.75 | 23.267 | 34.1598
2019-08-24 16:15:00 | 8.013 | 306.733 | 8.507 | 300.465 | 8.522 | 305.933 | 8.811 | 303.2 | 27.331 | 889.75 | 23.352 | 34.5918
2019-08-24 16:30:00 | 7.125 | 320.24 | 7.524 | 313.268 | 7.794 | 317.6 | 7.921 | 319.2 | 27.081 | 889.983 | 22.984 | 36.3654
2019-08-24 16:45:00 | 7.74 | 296.893 | 8.216 | 294.399 | 8.392 | 299.8 | 8.849 | 300.567 | 27.289 | 889.8 | 22.941 | 37.4689
2019-08-24 17:00:00 | 6.981 | 316.093 | 7.146 | 311.413 | 7.612 | 314.633 | 8.048 | 312.3 | 27.46 | 890.183 | 22.965 | 41.2605
2019-08-24 17:15:00 | 9.317 | 322.133 | 10.187 | 315.655 | 10.349 | 317.6 | 10.493 | 317.033 | 27.331 | 889.883 | 23.016 | 32.2889
2019-08-24 17:30:00 | 7.739 | 326.04 | 7.763 | 317.026 | 7.768 | 321.933 | 7.979 | 320.233 | 27.473 | 890.05 | 22.648 | 36.2737
2019-08-24 17:45:00 | 6.233 | 297.08 | 6.641 | 295.23 | 6.895 | 302.267 | 7.217 | 301.933 | 27.327 | 889.5 | 22.227 | 42.4869
2019-08-24 18:00:00 | 8.049 | 305.64 | 8.256 | 300.467 | 8.46 | 305.667 | 9.001 | 302.4 | 27.406 | 889.567 | 21.893 | 40.5016
2019-08-24 18:15:00 | 6.452 | 293.6 | 7.056 | 289.689 | 7.707 | 293.767 | 8.147 | 293.333 | 27.673 | 890.033 | 21.589 | 36.4606
2019-08-24 18:30:00 | 6.612 | 309.16 | 6.984 | 298.22 | 7.35 | 301.867 | 7.658 | 297.333 | 27.306 | 889.817 | 21.635 | 40.972
2019-08-24 18:45:00 | 7.322 | 309.067 | 7.588 | 303.81 | 7.557 | 308.433 | 7.855 | 304.133 | 27.348 | 889.783 | 21.387 | 44.1347
2019-08-24 19:00:00 | 8.079 | 298.64 | 8.327 | 293.626 | 8.687 | 298.933 | 9.462 | 297.333 | 27.973 | 889.95 | 20.499 | 48.6113
2019-08-24 19:15:00 | 9.616 | 293.72 | 10.43 | 291.845 | 10.515 | 298.367 | 10.816 | 294.5 | 27.402 | 889.333 | 20.076 | 35.7145
2019-08-24 19:30:00 | 6.964 | 285.867 | 7.605 | 281.992 | 7.759 | 286.4 | 7.937 | 284.533 | 27.244 | 889.133 | 20.289 | 44.8858
2019-08-24 19:45:00 | 7.802 | 309.827 | 8.385 | 302.444 | 8.706 | 305.3 | 8.894 | 303.2 | 27.46 | 889.3 | 20.42 | 38.6136
2019-08-24 20:00:00 | 6.647 | 321.627 | 7.283 | 312.429 | 7.735 | 317.167 | 8.315 | 313.8 | 26.902 | 889.567 | 20.869 | 37.2856
2019-08-24 20:15:00 | 6.751 | 302.293 | 7.27 | 298.819 | 7.282 | 303.033 | 7.523 | 302.767 | 26.852 | 889.9 | 21.328 | 23.8587
2019-08-24 20:30:00 | 5.064 | 301.693 | 5.687 | 296.886 | 6.166 | 302.9 | 6.474 | 300.467 | 26.677 | 889.833 | 22.197 | 20.4707
2019-08-24 20:45:00 | 3.952 | 310.88 | 4.467 | 302.998 | 4.878 | 305.9 | 5.197 | 304.267 | 25.948 | 889.733 | 23.048 | 22.5171
2019-08-24 21:00:00 | 4.673 | 314.293 | 5.552 | 308.752 | 5.844 | 314 | 6.205 | 313.1 | 25.727 | 890.317 | 23.907 | 45.8948
2019-08-24 21:15:00 | 7.9 | 293.12 | 9.249 | 288.584 | 10.074 | 294.067 | 10.702 | 290.4 | 25.244 | 889.283 | 24.664 | 51.2688
2019-08-24 21:30:00 | 7.23 | 298.6 | 8.356 | 292.781 | 8.788 | 299.4 | 9.306 | 296.567 | 24.852 | 889.817 | 25.621 | 48.359
2019-08-24 21:45:00 | 7.478 | 300.347 | 8.474 | 295.016 | 9.147 | 299.633 | 9.781 | 296.233 | 24.456 | 889.633 | 26.445 | 22.4752
2019-08-24 22:00:00 | 3.699 | 258.76 | 4.187 | 332.529 | 4.588 | 213.067 | 5.031 | 234.467 | 24.139 | 889.883 | 25.792 | 12.9643
2019-08-24 22:15:00 | 3.191 | 189.16 | 4.508 | 352.258 | 4.877 | 224.867 | 5.139 | 343.533 | 23.314 | 889.9 | 25.739 | 12.3923
2019-08-24 22:30:00 | 4.127 | 321.72 | 5.108 | 312.96 | 5.939 | 315.833 | 6.733 | 312.133 | 22.464 | 890.267 | 26.285 | 13.4119
2019-08-24 22:45:00 | 4.679 | 317.64 | 5.889 | 308.606 | 6.399 | 315.233 | 6.862 | 313.467 | 23.264 | 889.483 | 25.853 | 14.7237
2019-08-24 23:00:00 | 4.385 | 302.067 | 5.158 | 300.671 | 5.962 | 306.467 | 6.472 | 302.8 | 23.048 | 889.433 | 26.851 | 18.231
2019-08-24 23:15:00 | 4.944 | 292.533 | 6.163 | 289.649 | 6.662 | 295.1 | 7.172 | 293.467 | 22.698 | 889.567 | 28.435 | 21.7938
2019-08-24 23:30:00 | 5.786 | 293.853 | 7.41 | 290.888 | 8.117 | 294.6 | 8.862 | 293.367 | 22.16 | 889.767 | 30.184 | 24.4172
2019-08-24 23:45:00 | 5.506 | 295.093 | 7.106 | 291.657 | 7.935 | 297.633 | 8.726 | 295.267 | 21.981 | 889.9 | 31.141 | 28.692