## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-25 00:00:00 | 5.878 | 290.4 | 7.209 | 287.785 | 8.126 | 293.067 | 8.85 | 291.8 | 21.835 | 889.783 | 31.104 | 30.1749
2019-08-25 00:15:00 | 5.66 | 280.88 | 7.334 | 279.132 | 8.254 | 285.6 | 8.804 | 283.067 | 21.852 | 889.417 | 31.979 | 26.4615
2019-08-25 00:30:00 | 5.621 | 276.107 | 7.064 | 276.759 | 7.655 | 282.8 | 8.501 | 280.567 | 21.285 | 889.9 | 33.2 | 30.1763
2019-08-25 00:45:00 | 6.285 | 273.52 | 7.827 | 272.998 | 8.362 | 278.7 | 9.232 | 277.567 | 21.094 | 889.5 | 33.696 | 42.1892
2019-08-25 01:00:00 | 7.776 | 279.973 | 9.858 | 281.249 | 10.741 | 284.1 | 11.864 | 284.033 | 21.268 | 889.267 | 33.827 | 57.482
2019-08-25 01:15:00 | 10.182 | 287.88 | 12.007 | 283.696 | 12.895 | 287.867 | 13.782 | 284.333 | 21.564 | 889.3 | 33.467 | 56.5234
2019-08-25 01:30:00 | 9.159 | 285.973 | 11.002 | 281.36 | 11.645 | 285.633 | 12.372 | 283.967 | 21.352 | 889.7 | 33.075 | 54.2709
2019-08-25 01:45:00 | 8.909 | 284.853 | 10.41 | 280.203 | 10.864 | 286.067 | 11.439 | 283.3 | 21.177 | 889.45 | 32.955 | 52.5898
2019-08-25 02:00:00 | 8.326 | 282.587 | 9.814 | 278.613 | 10.603 | 282.3 | 11.076 | 278.167 | 21.194 | 889.817 | 32.741 | 55.3979
2019-08-25 02:15:00 | 10.128 | 284.707 | 11.47 | 280.223 | 12.04 | 282.6 | 12.416 | 279.5 | 20.835 | 889.617 | 32.392 | 48.4564
2019-08-25 02:30:00 | 8.788 | 281.107 | 10.276 | 277.608 | 11.194 | 280 | 11.924 | 277.2 | 20.956 | 889.483 | 32.525 | 50.0139
2019-08-25 02:45:00 | 9.81 | 278.947 | 11.48 | 275.569 | 12.051 | 280.2 | 12.785 | 277.933 | 20.352 | 890 | 32.651 | 52.847
2019-08-25 03:00:00 | 9.88 | 280.067 | 10.985 | 274.209 | 11.74 | 278.9 | 12.641 | 277.5 | 20.494 | 890.033 | 33.021 | 53.964
2019-08-25 03:15:00 | 9.958 | 276.693 | 11.452 | 273.742 | 12.106 | 280 | 12.711 | 275.633 | 20.198 | 889.483 | 33.36 | 53.9817
2019-08-25 03:30:00 | 10.18 | 275.92 | 11.489 | 272.488 | 12.202 | 276.8 | 12.752 | 275.1 | 20.018 | 889.517 | 33.176 | 54.865
2019-08-25 03:45:00 | 13.34 | 275.747 | 14.92 | 274.56 | 15.407 | 278.3 | 15.536 | 274.033 | 20.044 | 890.033 | 30.024 | 54.568
2019-08-25 04:00:00 | 13.53 | 280.693 | 15.138 | 278.492 | 15.372 | 281.233 | 16.292 | 277.567 | 19.323 | 889.517 | 29.448 | 53.3785
2019-08-25 04:15:00 | 14.919 | 278.607 | 16.607 | 276.733 | 17.4 | 280.967 | 18.342 | 276.533 | 19.023 | 890.117 | 30.013 | 53.8958
2019-08-25 04:30:00 | 16.302 | 280.027 | 18.126 | 274.629 | 18.073 | 278.067 | 18.462 | 275 | 17.718 | 889.783 | 36.669 | 53.6634
2019-08-25 04:45:00 | 13.57 | 260.933 | 15.162 | 259.607 | 15.818 | 264.5 | 16.18 | 261.1 | 16.381 | 889.775 | 47.541 | 54.1558
2019-08-25 05:00:00 | 15.309 | 279.493 | 18.099 | 276.534 | 18.801 | 279.1 | 19.573 | 276.033 | 15.193 | 890.05 | 53.051 | 54.1807
2019-08-25 05:15:00 | 14.52 | 272.5 | 16.804 | 272.126 | 17.787 | 277.1 | 19.038 | 273.667 | 14.745 | 889.95 | 57.307 | 54.2702
2019-08-25 05:30:00 | 13.252 | 265.027 | 14.812 | 266.944 | 15.983 | 270.733 | 16.822 | 266.7 | 14.433 | 889.85 | 60.139 | 54.1558
2019-08-25 05:45:00 | 11.911 | 260.753 | 13.43 | 261.204 | 13.775 | 265.867 | 14.166 | 261.65 | 13.904 | 889.858 | 60.315 | 52.9308
2019-08-25 06:00:00 | 11.213 | 259.653 | 13.46 | 258.001 | 14.193 | 266.75 | 15.074 | 260.85 | 13.337 | 889.533 | 71.403 | 52.9095
2019-08-25 06:15:00 | 10.525 | 259.053 | 12.138 | 261.465 | 12.85 | 268 | 13.477 | 266.9 | 12.559 | 889.533 | 77.557 | 53.0481
2019-08-25 06:30:00 | 12.441 | 265.567 | 15.315 | 270.059 | 16.372 | 274.3 | 17.217 | 270.967 | 12.422 | 889.825 | 76.661 | 53.1944
2019-08-25 06:45:00 | 11.095 | 263.953 | 13.001 | 263.481 | 14.4 | 270.467 | 15.312 | 266.833 | 12.536 | 889.558 | 78.587 | 53.4879
2019-08-25 07:00:00 | 11.31 | 262.733 | 13.075 | 261.093 | 14.201 | 266.383 | 14.965 | 262.833 | 12.54 | 889.767 | 75.125 | 53.4993
2019-08-25 07:15:00 | 11.95 | 257.887 | 13.864 | 256.5 | 15.156 | 263.317 | 15.795 | 259.633 | 13.23 | 889.917 | 72.368 | 53.441
2019-08-25 07:30:00 | 10.48 | 247.9 | 12.6 | 247.112 | 13.251 | 253.317 | 13.614 | 249.4 | 13.37 | 889.45 | 72.997 | 53.392
2019-08-25 07:45:00 | 9.049 | 246.747 | 10.81 | 245.33 | 12.09 | 253.3 | 12.883 | 248.517 | 13.099 | 889.8 | 77.408 | 53.6989
2019-08-25 08:00:00 | 9.226 | 248.293 | 11.117 | 248.64 | 12.03 | 254.85 | 12.42 | 252.2 | 12.891 | 889.417 | 76.299 | 52.4007
2019-08-25 08:15:00 | 9.312 | 257.64 | 11.277 | 255.498 | 12.197 | 262.333 | 12.45 | 259.567 | 13.641 | 889.783 | 71.632 | 51.3711
2019-08-25 08:30:00 | 7.081 | 238.793 | 8.23 | 239.991 | 8.924 | 251.433 | 9.66 | 249.2 | 13.512 | 889.675 | 76.459 | 48.2624
2019-08-25 08:45:00 | 6.704 | 245.833 | 7.948 | 246.03 | 9.283 | 253.7 | 9.814 | 252.033 | 13.654 | 889.733 | 70.763 | 40.7595
2019-08-25 09:00:00 | 5.479 | 229.473 | 6.67 | 232.17 | 7.2 | 242.467 | 7.394 | 240.1 | 13.933 | 889.933 | 68.811 | 38.1176
2019-08-25 09:15:00 | 6.18 | 223.393 | 6.775 | 226.97 | 7.114 | 236 | 7.145 | 234.433 | 14.07 | 889.892 | 68.555 | 34.1832
2019-08-25 09:30:00 | 5.427 | 234.3 | 6.459 | 233.144 | 6.943 | 240.5 | 7.124 | 239.4 | 14.608 | 889.942 | 64.096 | 25.4397
2019-08-25 09:45:00 | 5.061 | 245.987 | 6.075 | 245.761 | 6.906 | 252.85 | 6.96 | 251.367 | 15.257 | 889.433 | 58.192 | 23.3315
2019-08-25 10:00:00 | 5.406 | 230.48 | 5.88 | 231.103 | 6.324 | 238.333 | 6.317 | 237.933 | 15.616 | 890.083 | 56.683 | 20.5631
2019-08-25 10:15:00 | 5.468 | 238.327 | 5.961 | 238.411 | 6.21 | 245.467 | 6.342 | 240.683 | 16.226 | 890.125 | 54.496 | 20.6654
2019-08-25 10:30:00 | 5.969 | 245.927 | 6.568 | 242.299 | 6.769 | 249.033 | 6.561 | 242.767 | 16.764 | 890.117 | 50.016 | 23.0337
2019-08-25 10:45:00 | 5.996 | 259.367 | 6.523 | 257.308 | 6.567 | 261.9 | 6.656 | 258.833 | 17.364 | 889.867 | 47.707 | 30.3284
2019-08-25 11:00:00 | 8.09 | 284.053 | 8.613 | 280.53 | 8.713 | 284.833 | 8.897 | 282 | 17.998 | 889.667 | 43.6 | 31.2685
2019-08-25 11:15:00 | 7.371 | 272.253 | 8.17 | 271.912 | 8.265 | 277 | 8.119 | 272.9 | 18.318 | 889.867 | 40.816 | 23.5702
2019-08-25 11:30:00 | 6.149 | 281.8 | 6.787 | 277.366 | 6.807 | 281.1 | 7.186 | 275.467 | 18.456 | 889.6 | 38.616 | 19.2961
2019-08-25 11:45:00 | 6.886 | 300.2 | 7.406 | 294.924 | 7.529 | 298.9 | 7.862 | 294.1 | 18.656 | 889.85 | 37.515 | 18.7092
2019-08-25 12:00:00 | 6.53 | 281.593 | 6.845 | 278.476 | 7.08 | 283.333 | 7.224 | 280.5 | 19.26 | 889.8 | 36.912 | 22.127
2019-08-25 12:15:00 | 6.471 | 283.16 | 6.809 | 278.158 | 6.866 | 284.067 | 7.22 | 282.5 | 19.106 | 889.4 | 38.528 | 18.5074
2019-08-25 12:30:00 | 5.705 | 272.373 | 6.122 | 270.01 | 6.254 | 275.567 | 6.548 | 271.15 | 19.46 | 889.767 | 38.587 | 17.6363
2019-08-25 12:45:00 | 5.692 | 266.993 | 6.091 | 269.836 | 6.15 | 273.867 | 6.334 | 272.75 | 20.364 | 889.617 | 36.541 | 19.483
2019-08-25 13:00:00 | 6.658 | 298.547 | 7.066 | 292.708 | 7.166 | 295.367 | 7.428 | 292.467 | 20.148 | 889.85 | 33.808 | 22.1057
2019-08-25 13:15:00 | 5.975 | 295.547 | 6.4 | 291.308 | 6.693 | 295.733 | 6.872 | 290.2 | 20.523 | 889.7 | 31.603 | 27.8542
2019-08-25 13:30:00 | 7.501 | 293.96 | 7.724 | 292.808 | 8.064 | 297.3 | 8.277 | 294.833 | 20.485 | 889.617 | 30.781 | 35.1546
2019-08-25 13:45:00 | 7.568 | 300.8 | 7.764 | 292.952 | 7.996 | 296.667 | 8.256 | 293.7 | 20.518 | 889.85 | 31.552 | 29.2419
2019-08-25 14:00:00 | 6.137 | 281.08 | 6.416 | 276.959 | 6.764 | 282.067 | 7.07 | 279.667 | 21.235 | 889.85 | 28.949 | 22.0539
2019-08-25 14:15:00 | 7.171 | 291.533 | 7.462 | 288.431 | 7.61 | 294.2 | 7.887 | 292.533 | 21.535 | 890.067 | 27.117 | 18.9409
2019-08-25 14:30:00 | 5.727 | 297.6 | 6.182 | 290.441 | 6.147 | 291.467 | 6.244 | 287.733 | 21.852 | 889.933 | 23.499 | 18.4925
2019-08-25 14:45:00 | 5.992 | 323.547 | 6.34 | 317.077 | 6.349 | 318.133 | 6.792 | 314.3 | 22.123 | 889.883 | 22.184 | 19.2862
2019-08-25 15:00:00 | 5.274 | 306.973 | 5.622 | 301.188 | 5.922 | 301.6 | 6.192 | 302.633 | 22.731 | 889.817 | 23.464 | 18.6723
2019-08-25 15:15:00 | 6.032 | 254.32 | 6.382 | 254.247 | 6.27 | 260.283 | 6.359 | 254.933 | 23.131 | 889.567 | 23.259 | 21.3298
2019-08-25 15:30:00 | 6.912 | 281.927 | 7.697 | 279.632 | 7.71 | 282.5 | 7.454 | 279.733 | 22.631 | 889.817 | 25.347 | 22.2812
2019-08-25 15:45:00 | 7.685 | 291.467 | 8.003 | 290.655 | 7.915 | 294.967 | 8.205 | 293.367 | 23.298 | 889.683 | 22.888 | 20.0636
2019-08-25 16:00:00 | 6.473 | 308.033 | 6.46 | 304.716 | 6.568 | 306.433 | 6.756 | 301.933 | 23.594 | 889.633 | 21.923 | 18.0519
2019-08-25 16:15:00 | 3.985 | 254.433 | 4.485 | 271.19 | 5.183 | 279.75 | 5.832 | 272.333 | 23.706 | 889.483 | 20.565 | 18.3411
2019-08-25 16:30:00 | 5.154 | 274.747 | 5.611 | 269.656 | 6.022 | 273.983 | 6.217 | 274.533 | 24.194 | 889.317 | 19.607 | 17.4885
2019-08-25 16:45:00 | 5.119 | 288.68 | 5.712 | 286.416 | 5.767 | 287.967 | 6.048 | 284.5 | 24.002 | 889.667 | 17.68 | 20.3478
2019-08-25 17:00:00 | 6.59 | 304.08 | 6.986 | 296.07 | 7.099 | 298.4 | 7.208 | 297.167 | 24.814 | 889.267 | 16.637 | 21.1927
2019-08-25 17:15:00 | 6.376 | 275.493 | 6.75 | 272.348 | 6.872 | 279.3 | 7.279 | 276.467 | 24.598 | 889.167 | 15.764 | 18.7682
2019-08-25 17:30:00 | 5.459 | 303.733 | 5.759 | 297.472 | 6.229 | 302.5 | 6.461 | 298.567 | 24.614 | 889.767 | 15.145 | 12.253
2019-08-25 17:45:00 | 4.748 | 273.147 | 4.867 | 272.09 | 5.035 | 277.533 | 5.109 | 276.517 | 25.139 | 889.733 | 14.552 | 16.7658
2019-08-25 18:00:00 | 6.756 | 270.96 | 6.914 | 266.361 | 6.894 | 272.367 | 7.07 | 267.667 | 24.873 | 889.433 | 14.459 | 14.4877
2019-08-25 18:15:00 | 4.614 | 259.86 | 4.984 | 259.931 | 5.292 | 262.683 | 5.361 | 258.217 | 25.344 | 889.433 | 14.152 | 14.9994
2019-08-25 18:30:00 | 5.043 | 297.16 | 5.571 | 297.821 | 5.713 | 301.133 | 5.978 | 301.233 | 25.235 | 889.733 | 15.18 | 28.2202
2019-08-25 18:45:00 | 8.963 | 280.187 | 9.358 | 278.976 | 9.266 | 283.767 | 9.431 | 280.3 | 25.527 | 889.467 | 15.443 | 19.2308
2019-08-25 19:00:00 | 6.09 | 268.687 | 6.508 | 265.374 | 6.738 | 268.617 | 6.606 | 267.75 | 25.435 | 889.333 | 15.168 | 30.0648
2019-08-25 19:15:00 | 7.556 | 277.853 | 8.207 | 273.094 | 7.974 | 280.1 | 8.329 | 276.2 | 25.11 | 889.733 | 14.973 | 22.9804
2019-08-25 19:30:00 | 5.517 | 262.887 | 5.865 | 255.897 | 5.999 | 261.283 | 5.886 | 257.25 | 25.502 | 889.867 | 14.557 | 19.6628
2019-08-25 19:45:00 | 5.832 | 302.333 | 6.092 | 296.743 | 6.429 | 303.3 | 6.638 | 301.3 | 25.023 | 889.4 | 13.828 | 14.6846
2019-08-25 20:00:00 | 5.703 | 283.227 | 6.395 | 279.128 | 6.526 | 282.3 | 6.725 | 279.433 | 24.66 | 889.833 | 13.885 | 13.451
2019-08-25 20:15:00 | 4.39 | 268.667 | 4.982 | 268.732 | 5.036 | 273 | 5.212 | 269.7 | 24.548 | 889.067 | 14.188 | 16.2372
2019-08-25 20:30:00 | 4.951 | 281.307 | 5.778 | 275.175 | 6.098 | 281.9 | 6.198 | 279.333 | 24.318 | 889.5 | 14.735 | 14.1303
2019-08-25 20:45:00 | 4.537 | 268.56 | 5.645 | 266.331 | 5.965 | 271.333 | 6.107 | 268.033 | 23.748 | 889.533 | 15.299 | 12.0477
2019-08-25 21:00:00 | 4.391 | 260.587 | 5.499 | 261.158 | 5.637 | 268.467 | 5.782 | 266.8 | 23.464 | 889.3 | 16.243 | 14.352
2019-08-25 21:15:00 | 4.347 | 249.68 | 5.464 | 252.391 | 5.512 | 257.367 | 5.589 | 255.183 | 22.389 | 889.533 | 18.365 | 14.7812
2019-08-25 21:30:00 | 4.778 | 255.653 | 5.503 | 259.9 | 5.692 | 267.033 | 5.924 | 264.2 | 21.927 | 889.867 | 19.035 | 15.8421
2019-08-25 21:45:00 | 4.621 | 245.087 | 5.775 | 252.336 | 6.046 | 260.8 | 6.16 | 258.9 | 21.044 | 889.833 | 20.957 | 19.9854
2019-08-25 22:00:00 | 4.575 | 243.353 | 6.026 | 252.95 | 6.282 | 260.867 | 6.364 | 258.15 | 20.752 | 889.567 | 22.203 | 22.5356
2019-08-25 22:15:00 | 5.324 | 241.633 | 6.096 | 246.996 | 6.269 | 256.633 | 6.318 | 253.433 | 20.152 | 889.9 | 23.189 | 26.2874
2019-08-25 22:30:00 | 5.375 | 244.453 | 6.493 | 251.528 | 6.729 | 258.633 | 6.815 | 256.15 | 20.156 | 889.467 | 23.755 | 27.4122
2019-08-25 22:45:00 | 5.555 | 246.4 | 6.845 | 252.512 | 7.069 | 261.367 | 7.285 | 258.983 | 20.081 | 889.75 | 24.317 | 24.5217
2019-08-25 23:00:00 | 4.932 | 249.873 | 6.162 | 259.658 | 6.559 | 267.6 | 6.992 | 263.167 | 19.535 | 889.617 | 25.589 | 24.5884
2019-08-25 23:15:00 | 4.889 | 247.633 | 6.252 | 257.629 | 6.71 | 266.2 | 7.102 | 264.2 | 18.889 | 890.083 | 28.299 | 25.2997
2019-08-25 23:30:00 | 5.09 | 244.433 | 6.42 | 252.805 | 6.695 | 262.867 | 7.082 | 260.183 | 18.739 | 890.333 | 29.203 | 30.7157
2019-08-25 23:45:00 | 5.272 | 245.3 | 6.596 | 254.043 | 7.095 | 263.467 | 7.471 | 260.95 | 18.773 | 889.667 | 30.04 | 29.0629