## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-26 00:00:00 | 5.249 | 246.92 | 6.497 | 253.994 | 6.876 | 263.133 | 7.31 | 261.567 | 18.444 | 889.667 | 29.797 | 26.453
2019-08-26 00:15:00 | 4.904 | 250.72 | 6.534 | 259.945 | 7.008 | 267.5 | 7.504 | 264.1 | 18.573 | 889.933 | 30.104 | 19.7516
2019-08-26 00:30:00 | 4.109 | 251.38 | 5.433 | 260.677 | 6.247 | 269.467 | 6.587 | 266.2 | 18.26 | 889.667 | 30.739 | 17.5204
2019-08-26 00:45:00 | 4.488 | 244.28 | 5.257 | 253.97 | 5.739 | 262.867 | 6.019 | 261.1 | 17.802 | 889.75 | 32.899 | 19.186
2019-08-26 01:00:00 | 5.001 | 247.073 | 5.927 | 261.059 | 6.3 | 270.333 | 6.764 | 267.267 | 17.739 | 890.117 | 34.691 | 19.272
2019-08-26 01:15:00 | 4.471 | 250.28 | 6.025 | 266.134 | 6.438 | 274.733 | 6.816 | 273.1 | 17.531 | 889.45 | 35.875 | 22.2244
2019-08-26 01:30:00 | 4.843 | 251.493 | 6.409 | 264.298 | 7.007 | 272.433 | 7.368 | 272 | 16.914 | 889.5 | 37.093 | 23.0188
2019-08-26 01:45:00 | 5.088 | 250.827 | 6.777 | 260.868 | 7.193 | 270.7 | 7.389 | 268.633 | 17.452 | 889.933 | 37.2 | 23.0486
2019-08-26 02:00:00 | 4.952 | 249.707 | 6.32 | 257.487 | 6.788 | 266.8 | 7.082 | 266.267 | 17.456 | 889.883 | 36.965 | 24.2346
2019-08-26 02:15:00 | 4.917 | 241.413 | 6.232 | 251.784 | 6.744 | 261.433 | 6.973 | 261.817 | 16.998 | 889.733 | 37.429 | 24.0896
2019-08-26 02:30:00 | 4.729 | 244.527 | 6.06 | 254.038 | 6.683 | 263 | 6.854 | 262.55 | 17.264 | 889.9 | 37.461 | 24.6929
2019-08-26 02:45:00 | 5.33 | 247.373 | 6.58 | 255.796 | 7.036 | 265.533 | 7.155 | 262.833 | 16.598 | 889.917 | 38.008 | 20.001
2019-08-26 03:00:00 | 4.693 | 248.713 | 6.178 | 258.574 | 6.549 | 267.333 | 6.853 | 266.7 | 16.831 | 889.567 | 37.517 | 14.3904
2019-08-26 03:15:00 | 4.352 | 244.007 | 5.444 | 255.005 | 5.781 | 266.8 | 5.817 | 266.167 | 16.581 | 890.3 | 38.029 | 16.0368
2019-08-26 03:30:00 | 4.701 | 229.74 | 5.335 | 241.5 | 5.13 | 255.667 | 5.132 | 257.55 | 16.15 | 889.742 | 40.859 | 19.6372
2019-08-26 03:45:00 | 5.718 | 228.053 | 6.24 | 232.612 | 5.91 | 242.633 | 5.543 | 243.6 | 15.816 | 890.033 | 40.981 | 22.9065
2019-08-26 04:00:00 | 5.307 | 232.893 | 6.378 | 235.608 | 6.107 | 244.6 | 5.828 | 244.533 | 15.992 | 889.783 | 40.405 | 25.638
2019-08-26 04:15:00 | 5.902 | 225.94 | 6.884 | 229.634 | 6.843 | 237.233 | 6.441 | 235.2 | 16.027 | 889.45 | 40.256 | 24.4797
2019-08-26 04:30:00 | 5.157 | 235.14 | 6.518 | 235.658 | 6.493 | 244.3 | 6.48 | 241.933 | 15.697 | 889.917 | 39.424 | 22.0048
2019-08-26 04:45:00 | 5.257 | 226.953 | 6.692 | 230.715 | 6.565 | 241.167 | 6.303 | 237.9 | 15.939 | 889.567 | 39.573 | 22.8412
2019-08-26 05:00:00 | 5.266 | 224.733 | 7.065 | 230.232 | 7.097 | 240 | 6.784 | 237.233 | 14.741 | 889.867 | 41.643 | 19.5718
2019-08-26 05:15:00 | 5.595 | 217.18 | 6.825 | 222.101 | 6.883 | 231.567 | 6.549 | 229.133 | 14.245 | 890.225 | 44.075 | 16.7019
2019-08-26 05:30:00 | 4.622 | 221.693 | 6.574 | 223.176 | 6.35 | 230.733 | 6.274 | 228.633 | 14.428 | 890.258 | 45.451 | 20.4998
2019-08-26 05:45:00 | 5.488 | 215.98 | 7.596 | 217.114 | 7.571 | 223.933 | 7.187 | 220.267 | 13.77 | 890.192 | 46.539 | 18.1266
2019-08-26 06:00:00 | 5.672 | 215.067 | 7.202 | 216.508 | 7.023 | 222.933 | 6.609 | 220.267 | 14.045 | 890.025 | 46.976 | 18.2374
2019-08-26 06:15:00 | 5.649 | 219.88 | 6.921 | 222.026 | 6.609 | 228.933 | 6.642 | 225.5 | 14.295 | 889.675 | 47.413 | 18.3113
2019-08-26 06:30:00 | 5.627 | 225.5 | 6.459 | 227.826 | 6.61 | 235.5 | 6.478 | 232.733 | 13.908 | 889.667 | 47.723 | 15.312
2019-08-26 06:45:00 | 5.267 | 222.507 | 6.574 | 226.617 | 6.334 | 235.533 | 6.127 | 233.6 | 13.695 | 889.808 | 48.597 | 15.6126
2019-08-26 07:00:00 | 5.529 | 219.173 | 6.497 | 226.474 | 6.451 | 234.5 | 6.114 | 232.167 | 13.595 | 889.517 | 49.237 | 19.1576
2019-08-26 07:15:00 | 5.848 | 219.073 | 7.677 | 218.984 | 7.208 | 224.4 | 6.685 | 222.433 | 13.524 | 890.217 | 49.931 | 17.6036
2019-08-26 07:30:00 | 6.295 | 216.307 | 7.382 | 215.659 | 6.976 | 221.2 | 6.696 | 219.233 | 14.066 | 890.392 | 47.712 | 12.5074
2019-08-26 07:45:00 | 4.907 | 220 | 6.376 | 219.69 | 6.043 | 223.933 | 5.78 | 222.467 | 15.041 | 889.883 | 45.301 | 11.6739
2019-08-26 08:00:00 | 5.023 | 215.8 | 6.035 | 219.948 | 5.919 | 226.267 | 5.867 | 225.267 | 16.086 | 889.75 | 41.952 | 10.5128
2019-08-26 08:15:00 | 4.811 | 212.793 | 6.123 | 217.04 | 5.713 | 222.4 | 5.658 | 221.267 | 16.414 | 889.617 | 40.139 | 11.3797
2019-08-26 08:30:00 | 5.302 | 211.16 | 6.421 | 207.253 | 6.894 | 212.533 | 6.625 | 212.6 | 16.948 | 890.1 | 40.112 | 9.069
2019-08-26 08:45:00 | 4.627 | 216.547 | 5.388 | 215.751 | 5.888 | 221.367 | 5.691 | 220.233 | 17.164 | 889.667 | 39.093 | 7.5889
2019-08-26 09:00:00 | 4.266 | 214.813 | 5.582 | 212.138 | 5.655 | 214.767 | 5.736 | 214.267 | 17.735 | 889.667 | 38.88 | 6.6324
2019-08-26 09:15:00 | 4.174 | 215.333 | 4.966 | 213.538 | 5.59 | 218.067 | 5.324 | 216.767 | 18.302 | 889.733 | 37.253 | 4.0623
2019-08-26 09:30:00 | 3.865 | 213.353 | 3.945 | 211.973 | 4.249 | 217.2 | 4.598 | 218.033 | 18.831 | 889.783 | 35.381 | 1.974
2019-08-26 09:45:00 | 3.478 | 213.827 | 3.505 | 213.525 | 3.803 | 219.5 | 4.056 | 218.433 | 19.335 | 889.883 | 33.824 | 0.60256
2019-08-26 10:00:00 | 3.135 | 216.227 | 2.943 | 213.954 | 3.186 | 217.367 | 3.406 | 215.767 | 20.189 | 889.35 | 30.069 | 1.9249
2019-08-26 10:15:00 | 3.517 | 218.64 | 3.565 | 216.965 | 3.696 | 224.567 | 3.906 | 223.533 | 20.302 | 889.617 | 29.483 | 5.0543
2019-08-26 10:30:00 | 4.291 | 235.76 | 4.572 | 233.896 | 4.685 | 236.3 | 4.591 | 230.5 | 20.731 | 889.733 | 26.469 | 6.5166
2019-08-26 10:45:00 | 4.145 | 239.007 | 4.357 | 237.51 | 4.608 | 243.583 | 4.5 | 237.283 | 21.139 | 889.767 | 25.349 | 8.6774
2019-08-26 11:00:00 | 4.582 | 238.593 | 4.836 | 237.37 | 5.154 | 240.733 | 4.996 | 236.067 | 21.206 | 889.883 | 24.728 | 11.6064
2019-08-26 11:15:00 | 5.619 | 230.913 | 5.714 | 228.436 | 6.149 | 234.1 | 6.3 | 227.267 | 21.323 | 890.05 | 23.877 | 21.4037
2019-08-26 11:30:00 | 5.926 | 221.233 | 6.078 | 218.452 | 6.384 | 220.9 | 6.357 | 215.967 | 21.839 | 889.617 | 24.912 | 26.102
2019-08-26 11:45:00 | 7.714 | 197.093 | 7.901 | 193.527 | 7.946 | 196.567 | 8.174 | 192.367 | 21.502 | 889.7 | 26.181 | 28.3005
2019-08-26 12:00:00 | 7.27 | 185.807 | 7.824 | 183.621 | 7.916 | 188.5 | 7.99 | 186.467 | 21.714 | 889.917 | 25.589 | 33.8812
2019-08-26 12:15:00 | 8.091 | 194.8 | 8.444 | 191.557 | 8.338 | 194.4 | 8.325 | 188.533 | 22.348 | 889.767 | 26.635 | 35.043
2019-08-26 12:30:00 | 7.978 | 194.22 | 8.46 | 190.057 | 8.675 | 193.2 | 8.817 | 188.033 | 21.727 | 889.917 | 27.776 | 39.5956
2019-08-26 12:45:00 | 7.944 | 189.493 | 8.151 | 185.713 | 8.488 | 189.167 | 8.555 | 186.4 | 21.739 | 890.033 | 29.072 | 47.4637
2019-08-26 13:00:00 | 8.76 | 202.307 | 9.136 | 199.688 | 9.17 | 201.9 | 9.257 | 196.233 | 22.002 | 890.183 | 28.507 | 51.3534
2019-08-26 13:15:00 | 8.991 | 193.94 | 9.507 | 189.915 | 9.69 | 193.167 | 10.119 | 190.7 | 21.598 | 889.75 | 31.563 | 52.0476
2019-08-26 13:30:00 | 9.174 | 197.687 | 9.546 | 194.394 | 9.904 | 196.6 | 10.344 | 192.867 | 21.077 | 889.75 | 32.395 | 50.9924
2019-08-26 13:45:00 | 8.95 | 203.313 | 9.062 | 200.498 | 9.476 | 201.9 | 9.779 | 196.233 | 21.185 | 890.05 | 32.16 | 51.4663
2019-08-26 14:00:00 | 9.167 | 201.247 | 9.56 | 199.944 | 9.452 | 200.267 | 9.927 | 194.633 | 22.135 | 889.833 | 31.275 | 40.0852
2019-08-26 14:15:00 | 8.132 | 204.067 | 8.017 | 200.727 | 7.938 | 205.233 | 8.067 | 200.867 | 22.21 | 889.617 | 30.64 | 25.0517
2019-08-26 14:30:00 | 6.354 | 204.8 | 6.539 | 200.517 | 6.754 | 205.267 | 6.926 | 202.4 | 22.481 | 889.883 | 29.701 | 29.4452
2019-08-26 14:45:00 | 6.619 | 206.827 | 6.871 | 202.888 | 7.205 | 206.7 | 7.368 | 202.5 | 23.148 | 889.667 | 29.616 | 41.5411
2019-08-26 15:00:00 | 8.467 | 202.06 | 8.483 | 200.218 | 8.751 | 203.733 | 9.131 | 200.167 | 23.331 | 889.683 | 31.472 | 34.3914
2019-08-26 15:15:00 | 7.191 | 224.153 | 7.886 | 218.767 | 8.09 | 219.45 | 8.082 | 212.9 | 22.898 | 890.25 | 31.349 | 26.9326
2019-08-26 15:30:00 | 6.643 | 225.06 | 7.181 | 222.58 | 7.256 | 225.167 | 7.036 | 220.967 | 23.518 | 889.667 | 30.309 | 27.3724
2019-08-26 15:45:00 | 5.924 | 212.36 | 6.491 | 208.152 | 6.925 | 212.467 | 7.24 | 207 | 23.873 | 889.483 | 30.421 | 27.5373
2019-08-26 16:00:00 | 5.538 | 218.507 | 5.719 | 216.507 | 6.05 | 218.6 | 6.274 | 217.733 | 24.102 | 889.65 | 30.213 | 27.9722
2019-08-26 16:15:00 | 6.904 | 232.833 | 7.443 | 230.755 | 7.534 | 235.267 | 7.356 | 228.133 | 24.568 | 889.8 | 29.915 | 24.3895
2019-08-26 16:30:00 | 5.947 | 218.407 | 6.036 | 214.37 | 6.542 | 219.183 | 6.682 | 213.167 | 24.152 | 889.567 | 30.848 | 20.6079
2019-08-26 16:45:00 | 5.439 | 248.547 | 6.05 | 246.278 | 6.276 | 247.317 | 6.352 | 241.433 | 24.464 | 889.783 | 29.483 | 15.8755
2019-08-26 17:00:00 | 4.474 | 219.48 | 5.141 | 211.953 | 5.589 | 213.1 | 5.664 | 208.667 | 25.218 | 890 | 28.149 | 19.5768
2019-08-26 17:15:00 | 6.325 | 214.453 | 6.513 | 213.546 | 6.952 | 218.167 | 7.105 | 214.833 | 25.723 | 889.75 | 27.083 | 16.2997
2019-08-26 17:30:00 | 4.262 | 216.22 | 4.656 | 211.726 | 5.321 | 214.533 | 5.602 | 213.4 | 25.931 | 889.633 | 26.259 | 8.3577
2019-08-26 17:45:00 | 2.826 | 237.627 | 3.172 | 237.409 | 3.089 | 241.817 | 3.724 | 233.3 | 25.756 | 889.517 | 23.157 | 1.9192
2019-08-26 18:00:00 | 2.253 | 216.758 | 2.515 | 235.072 | 2.787 | 273.367 | 2.919 | 287.217 | 25.777 | 889.833 | 21.221 | 0.1947
2019-08-26 18:15:00 | 3.056 | 235.273 | 3.247 | 236.322 | 3.449 | 239.367 | 3.33 | 234.4 | 26.923 | 889.267 | 19.891 | 0.22596
2019-08-26 18:30:00 | 2.665 | 206.093 | 2.637 | 211.293 | 3.092 | 221.633 | 3.046 | 221.767 | 27.064 | 889.567 | 19.507 | 0.1883
2019-08-26 18:45:00 | 3.389 | 218.471 | 3.42 | 269.608 | 3.129 | 204.035 | 2.977 | 217.467 | 27.314 | 889.767 | 19.004 | 0.098058
2019-08-26 19:00:00 | 2.992 | 28.47 | 3.217 | 67.281 | 3.243 | 37.733 | 3.403 | 53.167 | 26.431 | 889.6 | 20.531 | 0.22667
2019-08-26 19:15:00 | 2.037 | 29.446 | 2.18 | 76.899 | 2.103 | 76 | 2.324 | 10.333 | 26.235 | 889.333 | 19.925 | 0.25012
2019-08-26 19:30:00 | 2.493 | 12.603 | 2.339 | 33.15 | 2.302 | 7.733 | 2.378 | 18.733 | 26.289 | 889.633 | 20.248 | 0.13501
2019-08-26 19:45:00 | 0.692 | 171.693 | 0.39 | 274.483 | 0.806 | 12.633 | 1.39 | 27.233 | 26.377 | 889.233 | 19.627 | 1.1696
2019-08-26 20:00:00 | 1.54 | 71.583 | 0.966 | 56.44 | 0.63 | 44.733 | 0.89 | 40.033 | 26.414 | 889.233 | 19.715 | 1.7203
2019-08-26 20:15:00 | 0.256 | 88.04 | 0 | 90.104 | 0.236 | 61.933 | 0.946 | 63.067 | 26.131 | 889.65 | 20.219 | 3.8243
2019-08-26 20:30:00 | 0.297 | 82.14 | 0.41 | 103.343 | 0.31 | 74.167 | 0.239 | 66.067 | 25.598 | 889.717 | 21.371 | 8.0472
2019-08-26 20:45:00 | 4.504 | 174.753 | 4.546 | 175.501 | 4.442 | 183.367 | 4.443 | 186.6 | 24.231 | 889.583 | 30.693 | 9.4299
2019-08-26 21:00:00 | 4.029 | 187.687 | 5.067 | 185.992 | 5.562 | 189.367 | 6.034 | 186.367 | 23.431 | 889.867 | 34.304 | 9.3518
2019-08-26 21:15:00 | 4.895 | 196.447 | 5.928 | 193.155 | 6.484 | 196.1 | 6.618 | 192.167 | 22.598 | 889.467 | 36.432 | 8.104
2019-08-26 21:30:00 | 4.333 | 197.98 | 5.337 | 195.038 | 5.756 | 197.7 | 5.926 | 191.7 | 21.914 | 889.483 | 37.957 | 7.7615
2019-08-26 21:45:00 | 4.243 | 198.6 | 5.202 | 196.178 | 5.848 | 199.9 | 5.961 | 195.033 | 22.023 | 889.75 | 39.051 | 8.2731
2019-08-26 22:00:00 | 4.468 | 198.02 | 5.563 | 196.499 | 5.404 | 200 | 5.342 | 195.133 | 21.385 | 889.667 | 40.208 | 7.0524
2019-08-26 22:15:00 | 4.038 | 209.633 | 5.315 | 205.419 | 5.529 | 207.5 | 5.515 | 201.6 | 20.594 | 889.933 | 41.44 | 8.0465
2019-08-26 22:30:00 | 4.349 | 205.32 | 5.164 | 203.838 | 5.49 | 209.333 | 5.353 | 203.633 | 20.177 | 889.583 | 42.357 | 9.4562
2019-08-26 22:45:00 | 4.047 | 201.42 | 4.94 | 203.825 | 5.876 | 208.867 | 5.7 | 203 | 19.356 | 889.8 | 44.053 | 10.8745
2019-08-26 23:00:00 | 4.468 | 207.56 | 6.082 | 205.809 | 6.218 | 209.5 | 5.897 | 203 | 19.285 | 889.667 | 45.707 | 10.5285
2019-08-26 23:15:00 | 4.828 | 209.807 | 6.404 | 209.463 | 6.735 | 212.033 | 6.598 | 209.633 | 18.989 | 889.4 | 46.987 | 10.5114
2019-08-26 23:30:00 | 4.809 | 210.553 | 6.867 | 211.922 | 6.826 | 212.933 | 6.522 | 209.9 | 18.714 | 890.075 | 47.509 | 10.2314
2019-08-26 23:45:00 | 4.622 | 211.567 | 6.394 | 210.793 | 6.141 | 212.767 | 6.032 | 209.833 | 18.456 | 889.525 | 48.544 | 12.7803