## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-27 00:00:00 | 5.13 | 213.667 | 7.015 | 214.589 | 6.898 | 216.9 | 6.512 | 211.833 | 18.098 | 889.892 | 50.037 | 13.1007
2019-08-27 00:15:00 | 5.166 | 216.987 | 7.325 | 216.493 | 6.99 | 219.367 | 6.935 | 212.233 | 18.035 | 889.992 | 50.944 | 13.2869
2019-08-27 00:30:00 | 5.063 | 214.407 | 7.146 | 213.866 | 7.33 | 217.133 | 6.796 | 211.267 | 17.518 | 889.592 | 51.424 | 13.2599
2019-08-27 00:45:00 | 5.913 | 212.907 | 7.35 | 212.731 | 7.119 | 213.333 | 6.85 | 208.667 | 17.535 | 890.033 | 51.115 | 12.5593
2019-08-27 01:00:00 | 5.992 | 214.213 | 7.181 | 212.921 | 6.9 | 212.367 | 6.57 | 207.233 | 17.835 | 889.6 | 49.803 | 14.2959
2019-08-27 01:15:00 | 5.661 | 212.6 | 7.529 | 211.974 | 7.561 | 212.3 | 7.056 | 206.133 | 17.744 | 890.217 | 50.133 | 13.2492
2019-08-27 01:30:00 | 5.315 | 215.647 | 7.228 | 212.052 | 6.646 | 212 | 6.532 | 204.533 | 17.468 | 889.642 | 51.584 | 11.1566
2019-08-27 01:45:00 | 3.418 | 199.493 | 6.183 | 207.975 | 6.406 | 209.633 | 6.579 | 202.433 | 17.098 | 889.8 | 52.8 | 11.3172
2019-08-27 02:00:00 | 5.46 | 207.493 | 7.017 | 202.837 | 6.758 | 203.167 | 6.591 | 197.5 | 16.648 | 889.767 | 53.643 | 12.317
2019-08-27 02:15:00 | 3.96 | 204.34 | 5.925 | 206.073 | 6.875 | 207.867 | 6.818 | 201.933 | 16.714 | 889.867 | 55.136 | 10.812
2019-08-27 02:30:00 | 5.126 | 208.947 | 6.521 | 203.761 | 6.588 | 205.467 | 6.336 | 198.833 | 16.248 | 889.925 | 57.813 | 10.4084
2019-08-27 02:45:00 | 4.99 | 212.513 | 6.565 | 208.069 | 6.188 | 210.2 | 6.274 | 201.267 | 16.448 | 889.85 | 58.805 | 9.01
2019-08-27 03:00:00 | 5.126 | 216.26 | 6.625 | 211.069 | 6.251 | 210.633 | 5.777 | 202.467 | 16.198 | 890.025 | 60.021 | 9.0519
2019-08-27 03:15:00 | 5.291 | 213.38 | 6.521 | 209.563 | 6.074 | 211.5 | 6.297 | 206.167 | 16.103 | 889.917 | 60.896 | 10.5306
2019-08-27 03:30:00 | 5.99 | 214.173 | 6.577 | 209.024 | 6.701 | 208.9 | 6.579 | 201.9 | 16.086 | 889.85 | 61.824 | 9.0306
2019-08-27 03:45:00 | 5.013 | 214.667 | 6.765 | 207.808 | 6.228 | 207.833 | 5.775 | 200.5 | 16.001 | 890.267 | 63.733 | 9.0675
2019-08-27 04:00:00 | 4.314 | 274.08 | 4.152 | 255.253 | 5.276 | 230.917 | 6.974 | 210.8 | 15.1 | 889.675 | 66.128 | 5.6625
2019-08-27 04:15:00 | 4.615 | 234.78 | 5.233 | 219.481 | 5.889 | 215.133 | 5.472 | 209.967 | 15.516 | 889.725 | 66.923 | 4.9256
2019-08-27 04:30:00 | 3.82 | 256.107 | 5.231 | 237.311 | 5.801 | 231.383 | 5.649 | 212.9 | 15.564 | 890.175 | 67.627 | 2.8842
2019-08-27 04:45:00 | 4.9 | 247.6 | 4.986 | 235.108 | 5.691 | 228.5 | 4.801 | 212.4 | 15.181 | 889.95 | 67.755 | 2.3889
2019-08-27 05:00:00 | 3.292 | 252.94 | 4.124 | 234.446 | 4.63 | 230.45 | 5.093 | 213.467 | 14.699 | 889.525 | 68.779 | 2.7961
2019-08-27 05:15:00 | 4.108 | 230 | 4.928 | 216.313 | 5.028 | 208.267 | 4.67 | 201.033 | 14.333 | 889.658 | 68.64 | 3.0355
2019-08-27 05:30:00 | 5.027 | 232.513 | 5.598 | 213.107 | 5.828 | 209.833 | 5.157 | 201.3 | 14.704 | 889.875 | 66.453 | 4.5263
2019-08-27 05:45:00 | 5.148 | 223.7 | 4.744 | 210.553 | 4.702 | 206.233 | 4.242 | 198.267 | 14.641 | 889.75 | 64.139 | 6.6353
2019-08-27 06:00:00 | 4.734 | 215.107 | 5.437 | 204.926 | 5.342 | 202.967 | 5.533 | 194.533 | 14.562 | 889.75 | 63.477 | 6.1869
2019-08-27 06:15:00 | 4.553 | 218.16 | 6.315 | 205.752 | 5.756 | 203.833 | 6.056 | 193.6 | 14.566 | 889.875 | 63.872 | 2.7755
2019-08-27 06:30:00 | 3.289 | 199.7 | 5.352 | 198.802 | 5.649 | 196.033 | 5.092 | 185.933 | 14.333 | 889.592 | 64.299 | 1.3401
2019-08-27 06:45:00 | 3.839 | 211.2 | 5.583 | 199.878 | 5.284 | 194.8 | 4.683 | 186.667 | 14.454 | 890.175 | 63.797 | 0.45618
2019-08-27 07:00:00 | 4.525 | 209.187 | 4.706 | 195.859 | 4.231 | 188.567 | 3.68 | 177.3 | 14.474 | 890.533 | 63.595 | 0.1073
2019-08-27 07:15:00 | 4.406 | 211.467 | 4.138 | 193.351 | 3.59 | 184.3 | 3.182 | 174.167 | 14.824 | 889.858 | 62.848 | 0.17764
2019-08-27 07:30:00 | 5.041 | 221.567 | 4.968 | 200.389 | 3.627 | 191.6 | 2.895 | 181.667 | 14.42 | 889.925 | 62.475 | 0.5315
2019-08-27 07:45:00 | 5.341 | 220.733 | 4.303 | 200.432 | 3.215 | 190.833 | 2.848 | 173.933 | 14.791 | 890.017 | 60.416 | 1.9313
2019-08-27 08:00:00 | 5.182 | 216.887 | 5.578 | 209.58 | 4.063 | 203.767 | 3.157 | 187.833 | 15.842 | 889.792 | 56.96 | 3.5173
2019-08-27 08:15:00 | 4.844 | 219.633 | 5.727 | 212.387 | 4.66 | 212.333 | 3.948 | 199.7 | 17.168 | 889.8 | 51.957 | 3.6175
2019-08-27 08:30:00 | 3.895 | 216.173 | 5.159 | 211.95 | 4.111 | 214 | 3.766 | 200.867 | 18.568 | 890.008 | 48.459 | 2.8437
2019-08-27 08:45:00 | 4.27 | 212.76 | 4.716 | 210.676 | 4.551 | 212.9 | 4.012 | 202.667 | 19.71 | 890.008 | 44.747 | 1.7594
2019-08-27 09:00:00 | 3.58 | 200.6 | 3.619 | 199.317 | 3.739 | 202.7 | 4.074 | 194.133 | 21.056 | 889.942 | 40.512 | 1.1561
2019-08-27 09:15:00 | 3.679 | 203.893 | 3.69 | 202.77 | 3.785 | 206.4 | 3.981 | 203 | 22.077 | 889.85 | 37.557 | 0.38513
2019-08-27 09:30:00 | 3.489 | 210.947 | 3.441 | 204.386 | 3.513 | 204.167 | 3.767 | 197.333 | 22.631 | 889.483 | 35.952 | 0.10658
2019-08-27 09:45:00 | 3.135 | 192.453 | 3.105 | 189.876 | 3.009 | 187.833 | 3.419 | 190.533 | 23.148 | 890.017 | 34.384 | 0.28991
2019-08-27 10:00:00 | 2.432 | 190.14 | 2.304 | 183.828 | 2.198 | 185.667 | 2.498 | 178.833 | 23.298 | 890.1 | 32.203 | 0.22667
2019-08-27 10:15:00 | 1.188 | 149.667 | 1.306 | 156.974 | 1.048 | 156.367 | 1.539 | 148.233 | 23.564 | 889.65 | 30.416 | 0.16414
2019-08-27 10:30:00 | 2.489 | 125.603 | 2.259 | 135.749 | 2.252 | 138.167 | 2.668 | 127.8 | 23.981 | 889.767 | 27.28 | 0.16414
2019-08-27 10:45:00 | 2.803 | 100.793 | 3.067 | 93.325 | 3.25 | 98.2 | 3.292 | 94.767 | 24.189 | 889.617 | 27.648 | 0.61464
2019-08-27 11:00:00 | 1.682 | 94.92 | 1.914 | 90.562 | 2.044 | 101.267 | 2.523 | 101.167 | 24.644 | 889.85 | 27.397 | 1.3437
2019-08-27 11:15:00 | 2.937 | 108.052 | 3.302 | 95.947 | 3.48 | 100.233 | 3.732 | 96.833 | 24.823 | 889.967 | 27.307 | 1.694
2019-08-27 11:30:00 | 3.634 | 108.403 | 3.923 | 106.324 | 3.926 | 109 | 4.198 | 108 | 25.11 | 889.75 | 26.976 | 1.8148
2019-08-27 11:45:00 | 3.021 | 121.483 | 3.125 | 108.607 | 3.4 | 113.567 | 3.399 | 112.333 | 25.006 | 889.7 | 26.315 | 3.5621
2019-08-27 12:00:00 | 4.924 | 114.617 | 5.11 | 110.654 | 4.844 | 113.167 | 5.044 | 107.467 | 25.348 | 889.6 | 26.603 | 4.424
2019-08-27 12:15:00 | 4.158 | 134.613 | 4.505 | 125.008 | 4.419 | 130.167 | 4.392 | 121.933 | 25.789 | 889.4 | 25.909 | 3.3006
2019-08-27 12:30:00 | 2.558 | 122.27 | 2.39 | 111.613 | 2.522 | 118.433 | 3.041 | 104.2 | 25.748 | 890.283 | 25.429 | 2.5694
2019-08-27 12:45:00 | 2.135 | 79.143 | 2.264 | 111.126 | 2.518 | 93.333 | 3.072 | 96.567 | 26.444 | 890.133 | 23.301 | 2.6881
2019-08-27 13:00:00 | 3.193 | 111.12 | 3.697 | 97.299 | 3.664 | 105.367 | 3.878 | 94.767 | 27.339 | 889.6 | 21.904 | 2.5502
2019-08-27 13:15:00 | 3.403 | 113.165 | 3.718 | 95.265 | 3.986 | 92.7 | 4.214 | 91.333 | 26.923 | 889.767 | 22.027 | 1.6705
2019-08-27 13:30:00 | 3.106 | 62.915 | 3.285 | 66.274 | 3.72 | 80.633 | 3.97 | 78.233 | 27.464 | 889.75 | 20.987 | 0.73757
2019-08-27 13:45:00 | 1.596 | 33.889 | 1.564 | 36.006 | 1.517 | 23.4 | 1.645 | 36.2 | 27.939 | 889.517 | 20.648 | 0.97561
2019-08-27 14:00:00 | 2.675 | 42.983 | 2.275 | 61.991 | 2.232 | 64.933 | 2.34 | 64.7 | 28.194 | 889.633 | 20.244 | 1.4289
2019-08-27 14:15:00 | 3.426 | 104.893 | 3.593 | 90.587 | 3.636 | 97.433 | 3.602 | 99.733 | 28.414 | 889.567 | 19.728 | 1.0595
2019-08-27 14:30:00 | 2.664 | 55.467 | 2.647 | 49.244 | 3.003 | 51.8 | 3.116 | 45.9 | 28.498 | 889.6 | 18.781 | 0.79441
2019-08-27 14:45:00 | 3.501 | 67.818 | 3.962 | 66.742 | 4.076 | 68.367 | 4.35 | 64.367 | 27.939 | 889.067 | 19.413 | 0.76741
2019-08-27 15:00:00 | 3.377 | 102.533 | 3.794 | 94.146 | 4.131 | 101.367 | 4.477 | 95.6 | 29.031 | 889.167 | 18.275 | 0.40289
2019-08-27 15:15:00 | 0.269 | 90.127 | 0.274 | 18.328 | 0.372 | 21.854 | 0.789 | 27.4 | 29.181 | 889.4 | 17.307 | 0.42918
2019-08-27 15:30:00 | 2.798 | 202.953 | 2.793 | 192.86 | 2.793 | 183.467 | 2.932 | 174.167 | 29.581 | 889.5 | 17.075 | 0.15704
2019-08-27 15:45:00 | 2.236 | 185.293 | 2.07 | 170.22 | 2.14 | 135.65 | 2.761 | 123.267 | 29.631 | 889.5 | 16.624 | 0.11369
2019-08-27 16:00:00 | 2.185 | 112.227 | 1.748 | 131.041 | 1.764 | 140.167 | 1.993 | 133.467 | 29.048 | 889.167 | 16.732 | 0.39508
2019-08-27 16:15:00 | 1.524 | 246.56 | 1.676 | 291.583 | 1.976 | 312.517 | 2.223 | 305.667 | 29.331 | 889.3 | 15.931 | 1.014
2019-08-27 16:30:00 | 3.09 | 48.696 | 2.969 | 60.09 | 3.018 | 62.7 | 2.81 | 68.333 | 29.998 | 889.467 | 15.632 | 1.9036
2019-08-27 16:45:00 | 3.485 | 144.287 | 3.429 | 139.421 | 3.467 | 137.5 | 3.556 | 127.367 | 30.318 | 889.133 | 14.749 | 1.8539
2019-08-27 17:00:00 | 3.822 | 47.061 | 4.044 | 39.556 | 4.064 | 46.3 | 4.294 | 43.1 | 30.527 | 889.667 | 14.637 | 0.74965
2019-08-27 17:15:00 | 2.632 | 76.15 | 2.764 | 74.879 | 2.767 | 83.8 | 2.94 | 77.867 | 30.152 | 889.567 | 15.005 | 0.58835
2019-08-27 17:30:00 | 3.296 | 81.945 | 3.402 | 77.506 | 3.39 | 78.767 | 3.841 | 75.8 | 30.01 | 889.4 | 14.832 | 1.7587
2019-08-27 17:45:00 | 2.357 | 60.04 | 2.267 | 37.432 | 2.41 | 47.467 | 2.516 | 44.667 | 30.281 | 889.3 | 13.931 | 0.98413
2019-08-27 18:00:00 | 1.685 | 157.497 | 0.804 | 127.06 | 0.897 | 107.6 | 1.273 | 114.4 | 30.318 | 889.9 | 13.325 | 0.29418
2019-08-27 18:15:00 | 3.133 | 88.003 | 3.106 | 78.864 | 3.469 | 85.733 | 4.056 | 83.067 | 30.585 | 889.667 | 12.957 | 0.16059
2019-08-27 18:30:00 | 1.173 | 141.085 | 0.894 | 57.189 | 1.003 | 67.633 | 1.393 | 60.167 | 30.824 | 889.4 | 12.597 | 0.32118
2019-08-27 18:45:00 | 2.277 | 33.329 | 2.497 | 35.371 | 2.45 | 45.733 | 2.801 | 51.567 | 30.794 | 889.167 | 12.429 | 1.4417
2019-08-27 19:00:00 | 3.523 | 41.172 | 3.579 | 36.324 | 3.681 | 34.238 | 3.705 | 47.567 | 30.494 | 889.867 | 12.699 | 2.929
2019-08-27 19:15:00 | 3.473 | 52.848 | 3.614 | 43.222 | 3.816 | 48.3 | 3.864 | 45.433 | 30.514 | 889.367 | 12.312 | 5.892
2019-08-27 19:30:00 | 3.64 | 28.176 | 3.72 | 27.849 | 3.926 | 33 | 4.154 | 32.3 | 30.073 | 889.433 | 12.811 | 7.3089
2019-08-27 19:45:00 | 3.679 | 53.13 | 3.736 | 45.677 | 3.834 | 51.167 | 3.921 | 49.2 | 29.614 | 889.533 | 13.083 | 7.6848
2019-08-27 20:00:00 | 4.708 | 54.2 | 4.816 | 49.784 | 4.488 | 56.433 | 4.524 | 53.7 | 29.531 | 889.433 | 13.419 | 6.4441
2019-08-27 20:15:00 | 3.754 | 66.373 | 3.696 | 57.138 | 3.47 | 58.8 | 3.608 | 52.933 | 29.564 | 889.7 | 14.347 | 6.1485
2019-08-27 20:30:00 | 4.265 | 62.9 | 4.246 | 56.942 | 3.788 | 60.7 | 3.664 | 55.433 | 29.214 | 889.4 | 14.811 | 7.3764
2019-08-27 20:45:00 | 4.104 | 71.473 | 4.762 | 65.549 | 4.798 | 70.7 | 5.169 | 66.667 | 28.414 | 889.333 | 15.837 | 6.9763
2019-08-27 21:00:00 | 3.426 | 70.15 | 4.156 | 66.309 | 4.211 | 70.6 | 4.429 | 67.333 | 28.118 | 889.333 | 16.747 | 8.0251
2019-08-27 21:15:00 | 3.582 | 77.337 | 4.42 | 71.761 | 4.671 | 76.333 | 4.908 | 72.633 | 27.344 | 889.567 | 16.669 | 8.4493
2019-08-27 21:30:00 | 3.635 | 91.65 | 4.275 | 82.519 | 3.882 | 89.733 | 4.02 | 82.667 | 26.977 | 889.6 | 17.243 | 9.2679
2019-08-27 21:45:00 | 3.513 | 95.73 | 4.152 | 87.898 | 3.449 | 90.533 | 3.63 | 86.333 | 26.777 | 889.467 | 17.733 | 10.8837
2019-08-27 22:00:00 | 3.531 | 108.52 | 4.345 | 95.58 | 3.264 | 100.333 | 3.13 | 94.2 | 26.389 | 889.333 | 18.381 | 10.0304
2019-08-27 22:15:00 | 3.42 | 121.483 | 4.51 | 106.066 | 4.03 | 108.333 | 3.531 | 97.833 | 25.902 | 889.133 | 18.685 | 15.0235
2019-08-27 22:30:00 | 3.652 | 132.973 | 5.11 | 116.058 | 5.286 | 115.733 | 5.147 | 110.233 | 25.581 | 889.167 | 19.339 | 13.8184
2019-08-27 22:45:00 | 3.581 | 138.8 | 4.557 | 121.366 | 4.731 | 120.633 | 5.269 | 114.167 | 25.073 | 889.267 | 19.819 | 9.9245
2019-08-27 23:00:00 | 3.531 | 153.127 | 4.356 | 133.853 | 4.397 | 132.567 | 4.726 | 127.133 | 25.327 | 889.3 | 19.752 | 8.0607
2019-08-27 23:15:00 | 3.275 | 168.013 | 4.4 | 142.16 | 4.44 | 144.067 | 4.635 | 138.667 | 25.352 | 889.367 | 19.851 | 8.3534
2019-08-27 23:30:00 | 4.039 | 174.613 | 4.747 | 148.598 | 5.289 | 145.3 | 5.254 | 138.567 | 24.048 | 889.717 | 21.563 | 7.5235
2019-08-27 23:45:00 | 4.369 | 184.087 | 3.858 | 160.226 | 3.535 | 155.967 | 3.833 | 149 | 24.435 | 889.5 | 22.048 | 6.6289