## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-28 00:00:00 | 3.912 | 201.147 | 3.335 | 165.486 | 2.996 | 159.567 | 3.494 | 148.867 | 22.931 | 889.717 | 24.203 | 4.1952
2019-08-28 00:15:00 | 4.693 | 212.66 | 4.165 | 187.607 | 3.058 | 186.433 | 2.933 | 171.633 | 21.96 | 889.567 | 25.957 | 1.4297
2019-08-28 00:30:00 | 5.065 | 221.507 | 4.589 | 208.851 | 4.112 | 194.167 | 3.714 | 174.333 | 20.86 | 889.583 | 27.472 | 2.2099
2019-08-28 00:45:00 | 5.335 | 231.48 | 5.16 | 220.438 | 4.69 | 219.2 | 4.324 | 208.6 | 20.981 | 889.617 | 28.043 | 1.8063
2019-08-28 01:00:00 | 5.43 | 226.187 | 4.781 | 226.918 | 4.518 | 226.167 | 4.077 | 214.033 | 20.552 | 889.617 | 28.224 | 1.4972
2019-08-28 01:15:00 | 5.813 | 227.253 | 4.619 | 229.157 | 4.345 | 228 | 4.051 | 217.367 | 19.489 | 889.8 | 29.477 | 1.0637
2019-08-28 01:30:00 | 5.199 | 227.093 | 4.604 | 228.426 | 3.759 | 233.567 | 3.22 | 220.733 | 19.402 | 889.75 | 30.096 | 2.2873
2019-08-28 01:45:00 | 5.719 | 225.167 | 5.174 | 231.266 | 4.122 | 236.8 | 3.575 | 226.667 | 19.452 | 889.617 | 29.931 | 2.9176
2019-08-28 02:00:00 | 5.505 | 228.1 | 5.051 | 233.579 | 4.303 | 242.033 | 3.67 | 234.033 | 19.231 | 890.283 | 30.357 | 3.469
2019-08-28 02:15:00 | 5.373 | 230.027 | 5.64 | 235.82 | 4.876 | 245.933 | 3.937 | 243 | 18.76 | 889.667 | 31.179 | 6.5656
2019-08-28 02:30:00 | 6.287 | 222.553 | 6.614 | 223.496 | 5.481 | 234.933 | 4.567 | 233.733 | 19.273 | 889.667 | 30.832 | 7.2314
2019-08-28 02:45:00 | 5.864 | 221.647 | 6.747 | 221.284 | 6.034 | 226.4 | 5.439 | 221.9 | 18.952 | 889.9 | 30.315 | 6.1876
2019-08-28 03:00:00 | 5.467 | 226.033 | 6.673 | 223.565 | 6.442 | 229.233 | 6.077 | 226 | 19.623 | 889.683 | 31.152 | 4.5249
2019-08-28 03:15:00 | 5.727 | 225.807 | 6.486 | 224.108 | 5.714 | 230.767 | 4.914 | 226.533 | 19.177 | 889.85 | 31.707 | 3.3347
2019-08-28 03:30:00 | 5.66 | 225.94 | 6.422 | 221.711 | 5.922 | 228.8 | 4.913 | 225.267 | 19.21 | 889.85 | 32.613 | 2.411
2019-08-28 03:45:00 | 6.015 | 226 | 6.628 | 222.573 | 5.829 | 225.867 | 4.367 | 218.633 | 19.027 | 890.05 | 33.552 | 3.2942
2019-08-28 04:00:00 | 6.508 | 225.667 | 6.104 | 224.693 | 6.056 | 228.467 | 4.408 | 220.533 | 18.573 | 890.317 | 34.203 | 3.636
2019-08-28 04:15:00 | 6.425 | 227.667 | 6.277 | 227.062 | 5.23 | 232.5 | 4.057 | 224.2 | 18.789 | 890 | 34.336 | 3.2686
2019-08-28 04:30:00 | 6.4 | 223.167 | 6.958 | 222.812 | 5.258 | 225.567 | 3.152 | 216.533 | 18.639 | 889.517 | 33.472 | 3.9536
2019-08-28 04:45:00 | 6.132 | 224.3 | 7.082 | 221.993 | 6.482 | 227.633 | 4.845 | 222.167 | 18.773 | 889.767 | 33.36 | 2.4529
2019-08-28 05:00:00 | 6.137 | 223.027 | 5.435 | 223.507 | 4.23 | 229.133 | 2.944 | 226 | 18.877 | 889.7 | 33.173 | 4.5995
2019-08-28 05:15:00 | 6.623 | 222.1 | 7.003 | 219.42 | 5.549 | 226.233 | 3.789 | 223.133 | 18.456 | 889.567 | 33.333 | 3.8143
2019-08-28 05:30:00 | 6.122 | 214.34 | 7.243 | 212.305 | 6.226 | 216.1 | 4.702 | 214.567 | 18.635 | 889.783 | 33.403 | 4.5476
2019-08-28 05:45:00 | 6.096 | 216.833 | 6.538 | 212.337 | 5.737 | 215.167 | 4.375 | 210.633 | 18.506 | 890.267 | 33.541 | 4.5888
2019-08-28 06:00:00 | 5.738 | 224.447 | 6.246 | 215.191 | 4.978 | 216.933 | 3.728 | 213 | 18.139 | 889.433 | 34.235 | 9.8499
2019-08-28 06:15:00 | 6.8 | 235.173 | 7.973 | 233.887 | 7.745 | 234.267 | 7.024 | 221.9 | 17.894 | 889.533 | 34.731 | 12.1592
2019-08-28 06:30:00 | 6.161 | 228.753 | 7.142 | 227.189 | 6.741 | 230.533 | 5.848 | 219.567 | 17.848 | 889.667 | 33.728 | 13.0687
2019-08-28 06:45:00 | 5.928 | 217.593 | 6.355 | 224.832 | 6.088 | 231.6 | 5.837 | 226.6 | 18.152 | 889.267 | 33.381 | 12.6531
2019-08-28 07:00:00 | 6.201 | 215.693 | 7.169 | 217.508 | 6.978 | 224 | 6.117 | 220.033 | 18.118 | 889.767 | 33.019 | 10.0929
2019-08-28 07:15:00 | 6.69 | 214.48 | 6.862 | 214.098 | 6.271 | 220.133 | 5.786 | 214 | 18.448 | 889.85 | 32.773 | 8.2419
2019-08-28 07:30:00 | 6.422 | 212.413 | 6.681 | 212.775 | 5.755 | 220 | 5.233 | 215.3 | 18.602 | 889.75 | 32.261 | 6.5877
2019-08-28 07:45:00 | 5.605 | 208.653 | 6.533 | 208.68 | 6.276 | 213.733 | 5.4 | 213.133 | 19.035 | 889.867 | 32.128 | 4.3046
2019-08-28 08:00:00 | 4.895 | 202.693 | 5.888 | 206.447 | 5.061 | 211.1 | 4.67 | 209.533 | 20.239 | 889.733 | 31.808 | 5.0692
2019-08-28 08:15:00 | 4.428 | 210.833 | 5.99 | 204.48 | 5.563 | 207 | 4.229 | 204 | 20.031 | 889.8 | 31.984 | 5.3371
2019-08-28 08:30:00 | 4.801 | 211.633 | 6.406 | 207.241 | 5.813 | 205.133 | 5.094 | 200 | 19.264 | 889.333 | 32.112 | 5.261
2019-08-28 08:45:00 | 4.571 | 209.207 | 6.244 | 204.26 | 5.776 | 206.967 | 4.922 | 199.567 | 20.914 | 889.55 | 28.816 | 6.2786
2019-08-28 09:00:00 | 5.269 | 208.867 | 5.585 | 203.223 | 5.79 | 206.967 | 5.082 | 201.4 | 22.648 | 889.867 | 26.171 | 5.104
2019-08-28 09:15:00 | 4.682 | 206.013 | 4.814 | 199.76 | 5.077 | 202.3 | 5.367 | 196.8 | 24.848 | 890.1 | 23.909 | 2.3484
2019-08-28 09:30:00 | 4.317 | 210.427 | 4.387 | 205.681 | 4.361 | 210.267 | 4.427 | 204 | 25.902 | 889.517 | 21.867 | 0.27144
2019-08-28 09:45:00 | 3.073 | 217.58 | 3.117 | 215.626 | 3.165 | 218.567 | 3.333 | 213.1 | 27.239 | 889.667 | 19.944 | 0.28281
2019-08-28 10:00:00 | 2.654 | 225.707 | 2.56 | 221.696 | 2.669 | 226.2 | 2.89 | 220.7 | 28.552 | 889.733 | 18.445 | 0.23022
2019-08-28 10:15:00 | 1.613 | 239.98 | 1.21 | 228.464 | 1.026 | 224.45 | 1.867 | 217.433 | 29.514 | 889.367 | 16.836 | 0.19043
2019-08-28 10:30:00 | 1.966 | 204.887 | 1.639 | 200.577 | 1.64 | 203.767 | 1.855 | 205.267 | 29.281 | 889.2 | 16.392 | 0.17693
2019-08-28 10:45:00 | 0.804 | 236.753 | 0.084 | 222.67 | 0.107 | 228 | 0.93 | 219.667 | 28.802 | 889.3 | 17.056 | 0.16769
2019-08-28 11:00:00 | 0.186 | 209.907 | 0 | 213.498 | 0 | 228 | 0.131 | 213.1 | 29.431 | 890.067 | 16.651 | 0.16627
2019-08-28 11:15:00 | 0.462 | 221.24 | 0 | 287.725 | 0 | 230.033 | 0.138 | 213 | 29.364 | 889.767 | 16.416 | 0.16911
2019-08-28 11:30:00 | 1.051 | 239.28 | 0.24 | 221.161 | 0.223 | 234.2 | 0.745 | 243.967 | 29.414 | 889.333 | 16.013 | 0.16485
2019-08-28 11:45:00 | 0.849 | 50.277 | 0.535 | 70.59 | 0 | 50.535 | 0.262 | 254.617 | 29.681 | 889.733 | 15.372 | 0.17338
2019-08-28 12:00:00 | 0.893 | 175.097 | 0.97 | 216.131 | 1.198 | 205.5 | 1.645 | 89.033 | 29.564 | 889.567 | 14.624 | 0.17764
2019-08-28 12:15:00 | 2.386 | 311.32 | 1.993 | 255.904 | 1.933 | 210.803 | 2.063 | 48.467 | 29.564 | 889.333 | 13.471 | 0.21104
2019-08-28 12:30:00 | 0.743 | 215.327 | 0.56 | 213.676 | 0.983 | 204.5 | 1.478 | 178.371 | 31.205 | 889.5 | 12.543 | 0.1073
2019-08-28 12:45:00 | 4.246 | 27.265 | 4.069 | 22.159 | 3.851 | 16.567 | 3.772 | 18.567 | 30.477 | 889.6 | 12.997 | 0.23662
2019-08-28 13:00:00 | 2.34 | 166.148 | 2.07 | 165.416 | 2.168 | 134.433 | 2.477 | 160.367 | 30.76 | 889.533 | 12.716 | 0.66225
2019-08-28 13:15:00 | 3.083 | 222.265 | 2.979 | 164.493 | 3.015 | 95.901 | 3.237 | 107.8 | 29.881 | 889.767 | 13.444 | 0.65727
2019-08-28 13:30:00 | 3.802 | 26.548 | 4.086 | 20.177 | 4.155 | 29.2 | 4.237 | 26.4 | 29.798 | 889.5 | 13.325 | 2.1239
2019-08-28 13:45:00 | 4.765 | 44.725 | 5.014 | 34.868 | 5.118 | 43.433 | 5.199 | 41.8 | 30.71 | 889.533 | 13.504 | 3.2722
2019-08-28 14:00:00 | 2.522 | 111.955 | 2.114 | 63.765 | 2.25 | 53.876 | 2.756 | 66.733 | 30.848 | 889.667 | 12.924 | 2.3406
2019-08-28 14:15:00 | 2.24 | 113.172 | 2.133 | 129.41 | 2.011 | 115.233 | 2.274 | 99.5 | 31.68 | 889.533 | 12.531 | 1.2833
2019-08-28 14:30:00 | 4.067 | 52.082 | 4.413 | 41.969 | 4.085 | 40.367 | 3.96 | 30.9 | 31.377 | 889.333 | 11.957 | 1.4794
2019-08-28 14:45:00 | 1.805 | 56.182 | 1.235 | 68.748 | 0.856 | 112.9 | 0.94 | 88.76 | 31.61 | 889.433 | 11.832 | 2.1843
2019-08-28 15:00:00 | 1.823 | 107.022 | 1.009 | 95.7 | 1.01 | 88.533 | 0.796 | 64.833 | 31.847 | 889.733 | 11.315 | 1.1916
2019-08-28 15:15:00 | 4.291 | 55.891 | 4.502 | 60.336 | 4.268 | 78.867 | 4.279 | 62.8 | 32.526 | 889.733 | 11.351 | 1.3764
2019-08-28 15:30:00 | 3.913 | 68.091 | 4.018 | 63.885 | 4.058 | 71.3 | 4.445 | 69.633 | 31.73 | 889.767 | 11.653 | 0.7127
2019-08-28 15:45:00 | 4.502 | 25.6 | 4.809 | 19.126 | 4.906 | 21.6 | 5.033 | 20.367 | 31.841 | 889.5 | 11.944 | 1.4496
2019-08-28 16:00:00 | 2.931 | 119.596 | 3.414 | 82.775 | 3.4 | 51.208 | 3.731 | 42.667 | 31.661 | 889.833 | 11.916 | 0.84344
2019-08-28 16:15:00 | 5.416 | 153.95 | 5.745 | 149.139 | 5.657 | 150.133 | 5.426 | 144.767 | 32.149 | 889.7 | 11.904 | 0.12009
2019-08-28 16:30:00 | 3.323 | 95.3 | 2.99 | 92.375 | 2.83 | 97.533 | 2.844 | 88.4 | 31.901 | 889.3 | 11.573 | 0.11724
2019-08-28 16:45:00 | 2.619 | 141.607 | 2.813 | 135.614 | 3.076 | 142.075 | 3.557 | 129.875 | 32.079 | 889.767 | 11.165 | 0.17693
2019-08-28 17:00:00 | 2.274 | 131.353 | 2.472 | 138.468 | 2.551 | 146.233 | 2.852 | 145.4 | 32.078 | 889.4 | 11.304 | 0.21246
2019-08-28 17:15:00 | 0.949 | 148.771 | 0.653 | 181.029 | 0.666 | 185.767 | 0.88 | 176.867 | 32.134 | 889.533 | 11.223 | 1.1255
2019-08-28 17:30:00 | 1.176 | 199.433 | 1.025 | 200.309 | 0.682 | 199.4 | 0.457 | 106.425 | 32.769 | 889.333 | 10.559 | 1.1547
2019-08-28 17:45:00 | 2.027 | 169.446 | 2.067 | 75.705 | 2.332 | 61.224 | 2.518 | 118.367 | 33.346 | 889 | 9.979 | 0.36026
2019-08-28 18:00:00 | 1.639 | 302.213 | 0.613 | 280.128 | 0.797 | 286 | 1.022 | 274.4 | 33.013 | 889.067 | 9.075 | 0.12861
2019-08-28 18:15:00 | 1.083 | 143.93 | 1.086 | 133.008 | 1.221 | 95.269 | 1.638 | 87.404 | 33.096 | 889.267 | 8.712 | 0.1947
2019-08-28 18:30:00 | 4.521 | 265.18 | 4.553 | 265.624 | 4.373 | 270.667 | 4.306 | 267.117 | 33.613 | 889.067 | 8.704 | 2.1004
2019-08-28 18:45:00 | 2.263 | 271.707 | 2.427 | 300.579 | 2.533 | 312.067 | 2.735 | 310.033 | 32.454 | 888.8 | 9.227 | 2.1019
2019-08-28 19:00:00 | 3.259 | 273.153 | 3.534 | 265.055 | 3.566 | 269.967 | 3.599 | 268.983 | 32.692 | 888.8 | 9.198 | 0.69707
2019-08-28 19:15:00 | 2.504 | 308.867 | 2.441 | 307.236 | 2.748 | 315.367 | 3.239 | 312.433 | 32.361 | 888.733 | 9.121 | 0.15206
2019-08-28 19:30:00 | 1.68 | 288.96 | 1.366 | 339.625 | 1.629 | 294.1 | 2.13 | 324.867 | 32.642 | 889.067 | 9.056 | 0.63098
2019-08-28 19:45:00 | 2.584 | 272.371 | 2.508 | 250.992 | 2.896 | 269.004 | 3.146 | 268.967 | 32.759 | 889.133 | 9.099 | 5.8458
2019-08-28 20:00:00 | 5.805 | 10.735 | 5.993 | 8.525 | 6.364 | 12.167 | 6.03 | 11.333 | 31.568 | 889.367 | 10.992 | 10.1107
2019-08-28 20:15:00 | 5.302 | 17.604 | 5.646 | 14.118 | 6.127 | 19.1 | 6.157 | 17 | 31.056 | 890.333 | 11.341 | 9.3873
2019-08-28 20:30:00 | 4.34 | 22.854 | 4.692 | 19.182 | 5.083 | 25.233 | 5.12 | 22.867 | 30.698 | 889.867 | 11.672 | 7.0268
2019-08-28 20:45:00 | 3.804 | 45.427 | 4.998 | 37.936 | 5.482 | 41.667 | 5.56 | 37.467 | 30.031 | 889.567 | 12.333 | 4.5228
2019-08-28 21:00:00 | 2.896 | 43.653 | 4.171 | 33.752 | 4.35 | 38.2 | 4.506 | 36.033 | 29.564 | 889.433 | 12.568 | 3.5948
2019-08-28 21:15:00 | 2.754 | 65.853 | 3.064 | 60.17 | 3.01 | 61.5 | 2.831 | 56.533 | 29.014 | 889.133 | 12.699 | 2.3378
2019-08-28 21:30:00 | 2.886 | 81.573 | 3.623 | 70.898 | 3.688 | 73.167 | 3.761 | 68.467 | 28.873 | 889.233 | 12.517 | 1.3479
2019-08-28 21:45:00 | 2.426 | 87.203 | 2.844 | 71.087 | 3.123 | 70.5 | 3.431 | 66 | 28.568 | 889.667 | 12.664 | 0.68143
2019-08-28 22:00:00 | 2.126 | 110.653 | 2.17 | 88.665 | 2.239 | 87.5 | 2.57 | 74.633 | 28.381 | 889.567 | 12.875 | 0.68854
2019-08-28 22:15:00 | 2.01 | 119.573 | 1.504 | 99.622 | 1.219 | 97.1 | 1.703 | 86.433 | 28.923 | 889.6 | 12.84 | 0.28991
2019-08-28 22:30:00 | 0.973 | 134.867 | 1.539 | 93.858 | 1.884 | 85.967 | 2.109 | 71 | 27.964 | 889.633 | 13.309 | 0.17693
2019-08-28 22:45:00 | 0.08 | 135.153 | 1.699 | 83.268 | 2.099 | 77.9 | 2.499 | 71.033 | 27.868 | 889.333 | 13.712 | 0.2757
2019-08-28 23:00:00 | 0.596 | 135.227 | 1.269 | 81.213 | 1.847 | 72 | 2.504 | 64.067 | 27.573 | 889.567 | 13.96 | 0.1947
2019-08-28 23:15:00 | 1.539 | 237.38 | 0 | 82.27 | 0 | 71.9 | 0.92 | 65 | 25.827 | 889.933 | 15.115 | 0.18404
2019-08-28 23:30:00 | 2.72 | 206.707 | 1.826 | 168.48 | 1.017 | 117.5 | 0.151 | 65 | 25.573 | 889.233 | 14.765 | 0.19114
2019-08-28 23:45:00 | 3.197 | 201.64 | 2.287 | 157.891 | 1.855 | 145.067 | 1.797 | 138.167 | 26.135 | 889.4 | 14.659 | 0.1947