## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-29 00:00:00 | 4.692 | 227.88 | 2.736 | 196.995 | 2.147 | 170.867 | 1.832 | 141 | 25.589 | 889.567 | 16.325 | 0.15846
2019-08-29 00:15:00 | 5.182 | 243.667 | 3.819 | 238.393 | 2.723 | 233.6 | 1.903 | 207 | 23.398 | 889.533 | 17.643 | 1.3934
2019-08-29 00:30:00 | 4.897 | 235.953 | 3.776 | 245.467 | 2.172 | 255 | 1.181 | 231 | 23.131 | 888.833 | 18.544 | 0.97348
2019-08-29 00:45:00 | 4.914 | 231.587 | 3.584 | 239.984 | 2.504 | 238.133 | 1.555 | 238.967 | 23.281 | 889.067 | 18.315 | 0.23946
2019-08-29 01:00:00 | 5.228 | 224.787 | 3.554 | 238.571 | 2.321 | 240.867 | 1.337 | 241 | 23.398 | 889.367 | 18.691 | 0.17338
2019-08-29 01:15:00 | 5.514 | 228.707 | 3.525 | 233.535 | 2.04 | 237 | 1.625 | 240 | 23.548 | 889.533 | 18.507 | 0.24017
2019-08-29 01:30:00 | 5.528 | 226.56 | 2.688 | 230.574 | 0.959 | 237 | 1.25 | 240 | 23.548 | 889.3 | 18.739 | 0.20322
2019-08-29 01:45:00 | 4.946 | 230.593 | 1.954 | 224.239 | 0 | 237.033 | 0.067 | 240 | 23.739 | 889.7 | 18.152 | 0.17196
2019-08-29 02:00:00 | 5.004 | 230.48 | 2.814 | 240.228 | 1.528 | 238.633 | 0 | 239.933 | 23.131 | 889.6 | 18.979 | 0.20535
2019-08-29 02:15:00 | 4.038 | 244.713 | 2.527 | 284.849 | 2.067 | 310.2 | 2.11 | 332.8 | 22.798 | 889.1 | 19.683 | 0.10445
2019-08-29 02:30:00 | 5.622 | 250.267 | 3.695 | 275.226 | 2.85 | 300.533 | 2.719 | 324.4 | 22.281 | 889.933 | 19.739 | 0.22596
2019-08-29 02:45:00 | 5.14 | 232.38 | 3.812 | 261.594 | 2.43 | 298.533 | 2.406 | 326.233 | 22.339 | 889.667 | 19.919 | 0.60398
2019-08-29 03:00:00 | 5.563 | 223.953 | 4.785 | 249.811 | 3.013 | 272 | 1.902 | 305.933 | 21.573 | 889.9 | 20.997 | 4.5462
2019-08-29 03:15:00 | 6.437 | 218.027 | 7.456 | 223.847 | 5.993 | 240.333 | 4.092 | 255.1 | 21.127 | 889.417 | 21.461 | 7.3238
2019-08-29 03:30:00 | 5.956 | 223.98 | 6.253 | 230.145 | 6.047 | 237.433 | 5.484 | 234.267 | 21.794 | 889.667 | 20.811 | 6.2466
2019-08-29 03:45:00 | 6.127 | 219.153 | 6.065 | 226.484 | 5.484 | 234.667 | 4.671 | 233.467 | 21.318 | 889.883 | 21.232 | 6.6267
2019-08-29 04:00:00 | 5.986 | 224.107 | 6.318 | 224.314 | 5.756 | 233.1 | 5.22 | 230.8 | 21.394 | 889.917 | 21.205 | 6.9714
2019-08-29 04:15:00 | 5.471 | 229.807 | 5.825 | 236.291 | 5.603 | 243.6 | 5.395 | 240.567 | 21.377 | 890 | 21.387 | 7.7246
2019-08-29 04:30:00 | 5.237 | 234.327 | 5.158 | 242.113 | 4.992 | 252.133 | 4.478 | 254.233 | 21.468 | 890.25 | 21.141 | 4.5618
2019-08-29 04:45:00 | 5.449 | 232.72 | 5.115 | 242.152 | 4.735 | 253.467 | 4.072 | 258.233 | 21.877 | 889.7 | 20.992 | 4.7047
2019-08-29 05:00:00 | 5.995 | 228.207 | 5.629 | 239.315 | 4.821 | 248.433 | 4.152 | 248.933 | 21.648 | 890.233 | 21.472 | 6.0014
2019-08-29 05:15:00 | 5.457 | 230.72 | 5.514 | 242.9 | 4.907 | 250.333 | 4.179 | 249.533 | 21.623 | 890.267 | 21.579 | 11.2582
2019-08-29 05:30:00 | 6.214 | 232.113 | 6.409 | 240.718 | 6.045 | 251.067 | 5.324 | 252.867 | 21.477 | 890 | 21.829 | 6.685
2019-08-29 05:45:00 | 5.576 | 227.667 | 5.001 | 238.839 | 4.409 | 251.867 | 4 | 257.267 | 20.935 | 890 | 21.984 | 9.0292
2019-08-29 06:00:00 | 6.039 | 234.34 | 6.73 | 244.702 | 5.886 | 257.833 | 5.283 | 264.267 | 21.152 | 889.95 | 22.619 | 10.5654
2019-08-29 06:15:00 | 5.889 | 233.213 | 6.262 | 245.18 | 5.462 | 259.733 | 5.259 | 267.8 | 20.877 | 889.4 | 22.309 | 5.9894
2019-08-29 06:30:00 | 5.531 | 232.507 | 5.017 | 249.447 | 4.544 | 268.333 | 4.596 | 278.433 | 21.135 | 889.733 | 22.229 | 5.5978
2019-08-29 06:45:00 | 5.564 | 220.567 | 5.078 | 232.816 | 4.306 | 250.6 | 3.865 | 258.733 | 20.644 | 889.583 | 22.656 | 4.397
2019-08-29 07:00:00 | 5.731 | 214.953 | 4.529 | 226.299 | 3.635 | 241.7 | 3.192 | 251.6 | 20.652 | 889.633 | 22.869 | 8.6114
2019-08-29 07:15:00 | 5.257 | 213.6 | 6.511 | 214.274 | 5.864 | 221.833 | 5.133 | 219.533 | 20.152 | 889.733 | 23.264 | 8.6938
2019-08-29 07:30:00 | 6.221 | 216.887 | 7.17 | 214.755 | 6.554 | 220.933 | 6.03 | 219.467 | 20.398 | 889.667 | 22.992 | 5.8679
2019-08-29 07:45:00 | 5.438 | 222.207 | 6.18 | 219.782 | 5.632 | 227.6 | 4.925 | 226.667 | 20.131 | 889.383 | 22.901 | 7.7935
2019-08-29 08:00:00 | 5.461 | 222.9 | 6.121 | 224.765 | 5.553 | 232.233 | 4.992 | 231.533 | 20.985 | 890.067 | 22.645 | 6.9479
2019-08-29 08:15:00 | 4.404 | 223.073 | 4.951 | 224.148 | 4.898 | 233.4 | 4.845 | 233.167 | 21.698 | 890.117 | 22.837 | 3.3844
2019-08-29 08:30:00 | 4.624 | 220.653 | 5.633 | 217.436 | 5.012 | 224.667 | 4.391 | 222.7 | 21.894 | 889.783 | 22.688 | 1.4581
2019-08-29 08:45:00 | 3.524 | 219.787 | 4.203 | 227.267 | 3.67 | 242.333 | 3.456 | 242.1 | 22.848 | 890.317 | 21.419 | 1.4034
2019-08-29 09:00:00 | 2.989 | 231.247 | 4.324 | 237.009 | 3.933 | 246.9 | 3.435 | 246.967 | 23.264 | 889.517 | 20.344 | 3.2437
2019-08-29 09:15:00 | 3.761 | 242.667 | 4.614 | 239.324 | 4.441 | 250.067 | 4.148 | 254.9 | 23.935 | 889.433 | 19.019 | 6.1976
2019-08-29 09:30:00 | 4.026 | 257.333 | 4.482 | 255.685 | 4.786 | 266.067 | 5.074 | 269.667 | 25.377 | 889.967 | 17.723 | 6.766
2019-08-29 09:45:00 | 4.22 | 280.373 | 4.398 | 273.57 | 4.56 | 279 | 4.906 | 276.3 | 25.839 | 889.5 | 17.46 | 7.1895
2019-08-29 10:00:00 | 4.538 | 274.627 | 4.98 | 272.183 | 5.096 | 277.1 | 5.209 | 275.167 | 25.994 | 889.5 | 17.271 | 11.6554
2019-08-29 10:15:00 | 5.971 | 288.227 | 6.34 | 282.798 | 6.36 | 287.767 | 6.87 | 286.033 | 26.714 | 889.433 | 16.881 | 16.4247
2019-08-29 10:30:00 | 6.089 | 297.973 | 6.269 | 291.011 | 6.401 | 294.967 | 6.678 | 292.333 | 27.098 | 889.967 | 16.927 | 14.293
2019-08-29 10:45:00 | 5.72 | 290.573 | 5.934 | 287.234 | 5.984 | 291.9 | 6.192 | 289.467 | 27.285 | 889.433 | 17.225 | 10.3785
2019-08-29 11:00:00 | 5.109 | 305.853 | 5.215 | 297.196 | 5.28 | 301.833 | 5.425 | 297.833 | 27.214 | 889.5 | 17.443 | 8.8359
2019-08-29 11:15:00 | 5.514 | 300.52 | 5.693 | 297.805 | 5.863 | 305.933 | 6.227 | 303.4 | 27.06 | 889.267 | 17.724 | 13.1732
2019-08-29 11:30:00 | 5.685 | 325.067 | 5.913 | 318.956 | 6.117 | 323.833 | 6.254 | 322.467 | 27.418 | 889.033 | 18.648 | 9.8996
2019-08-29 11:45:00 | 5.288 | 329.333 | 5.847 | 323.734 | 5.938 | 329.333 | 5.93 | 328.4 | 26.773 | 889.333 | 19.021 | 4.0197
2019-08-29 12:00:00 | 3.764 | 288.493 | 4.006 | 285.811 | 4.072 | 292.1 | 4.229 | 292.6 | 27.002 | 889.767 | 19.005 | 3.6616
2019-08-29 12:15:00 | 4.039 | 106.053 | 4.366 | 269.349 | 4.36 | 216.633 | 4.564 | 260.033 | 27.014 | 889.433 | 18.505 | 0.32402
2019-08-29 12:30:00 | 3.122 | 307.693 | 3.395 | 320.891 | 3.775 | 243.733 | 3.855 | 266.867 | 27.573 | 889.433 | 17.167 | 0.23093
2019-08-29 12:45:00 | 1.55 | 133.625 | 1.267 | 225.152 | 1.536 | 199.767 | 1.977 | 171.267 | 27.71 | 889.467 | 16.389 | 0.24444
2019-08-29 13:00:00 | 2.658 | 46.765 | 2.217 | 64.55 | 2.35 | 21.1 | 2.445 | 18.933 | 28.452 | 889.333 | 15.589 | 1.3295
2019-08-29 13:15:00 | 2.47 | 44.897 | 2.413 | 50.245 | 2.458 | 43.4 | 2.715 | 29.6 | 28.494 | 889.567 | 14.88 | 2.384
2019-08-29 13:30:00 | 3.476 | 34.346 | 3.642 | 31.058 | 3.862 | 34.867 | 3.878 | 31.767 | 28.435 | 889.333 | 13.723 | 3.2793
2019-08-29 13:45:00 | 3.675 | 57.376 | 3.725 | 54.299 | 4.031 | 59.967 | 4.338 | 57.867 | 28.831 | 889.533 | 12.675 | 5.762
2019-08-29 14:00:00 | 3.727 | 59.58 | 4.09 | 51.545 | 4.127 | 57.667 | 4.44 | 54.533 | 28.948 | 889.8 | 11.707 | 8.1836
2019-08-29 14:15:00 | 5.024 | 87.187 | 5.322 | 80.477 | 5.631 | 81.5 | 5.63 | 73.067 | 29.714 | 889.533 | 11.907 | 8.9112
2019-08-29 14:30:00 | 3.947 | 64.233 | 4.4 | 57.687 | 4.67 | 57.4 | 4.708 | 55.9 | 30.114 | 889.8 | 11.6 | 11.5105
2019-08-29 14:45:00 | 5.536 | 70.962 | 5.597 | 61.799 | 5.764 | 66.467 | 6.196 | 63.667 | 30.581 | 889.4 | 11.315 | 9.6936
2019-08-29 15:00:00 | 4.884 | 92.675 | 5.255 | 89.82 | 5.151 | 101 | 5.402 | 96.1 | 30.598 | 889.6 | 11.629 | 3.5308
2019-08-29 15:15:00 | 3.682 | 93.987 | 3.999 | 88.655 | 4.076 | 95.133 | 4.114 | 90.133 | 30.389 | 889.233 | 11.861 | 4.9214
2019-08-29 15:30:00 | 3.698 | 108.292 | 3.992 | 99.936 | 4.182 | 106.833 | 4.239 | 103.867 | 31.255 | 889.4 | 10.957 | 7.5363
2019-08-29 15:45:00 | 5.775 | 54.263 | 5.752 | 55.614 | 5.922 | 65.033 | 5.999 | 59.833 | 30.698 | 889.367 | 11.181 | 6.2381
2019-08-29 16:00:00 | 4.636 | 77.948 | 4.748 | 72.118 | 4.909 | 75.467 | 5.045 | 73.8 | 30.739 | 889.6 | 11.944 | 8.8174
2019-08-29 16:15:00 | 3.457 | 75.605 | 3.769 | 73.428 | 4.232 | 83.3 | 4.317 | 75.067 | 30.999 | 889.667 | 11.656 | 15.9373
2019-08-29 16:30:00 | 5.838 | 69.837 | 6.221 | 63.473 | 6.435 | 66.233 | 6.628 | 64.1 | 31.414 | 889.667 | 11.011 | 24.8229
2019-08-29 16:45:00 | 8.107 | 41.338 | 8.03 | 39.181 | 8.361 | 46.067 | 8.374 | 41.6 | 31.397 | 889.267 | 10.915 | 24.0818
2019-08-29 17:00:00 | 6.86 | 57.478 | 6.602 | 51.339 | 6.592 | 56.933 | 6.569 | 52.733 | 31.218 | 889.533 | 11.272 | 14.2497
2019-08-29 17:15:00 | 5.153 | 75.418 | 5.202 | 66.088 | 5.147 | 72 | 5.264 | 67.333 | 30.56 | 889.4 | 11.904 | 14.1097
2019-08-29 17:30:00 | 5.794 | 58.666 | 6.338 | 52.619 | 6.5 | 54.367 | 6.337 | 51.833 | 30.903 | 889.333 | 11.531 | 11.8295
2019-08-29 17:45:00 | 5.422 | 48.257 | 5.758 | 45.294 | 6.034 | 47.567 | 5.866 | 47.367 | 30.985 | 889.3 | 11.421 | 11.3193
2019-08-29 18:00:00 | 4.476 | 32.732 | 4.714 | 31.527 | 4.615 | 35.967 | 4.595 | 34.267 | 30.735 | 889.7 | 11.56 | 11.9496
2019-08-29 18:15:00 | 6.057 | 37.811 | 6.17 | 36.567 | 6.109 | 39.133 | 6.142 | 36.967 | 31.162 | 889.467 | 11.051 | 7.9896
2019-08-29 18:30:00 | 5.09 | 93.203 | 5.716 | 86.278 | 5.685 | 88.633 | 5.632 | 82.2 | 31.356 | 889.633 | 10.8 | 12.7717
2019-08-29 18:45:00 | 4.978 | 55.69 | 5.124 | 53.875 | 5.096 | 59.633 | 4.961 | 55.933 | 31.936 | 889.367 | 11 | 13.8575
2019-08-29 19:00:00 | 4.98 | 57.883 | 5.161 | 51.45 | 5.14 | 57.5 | 5.185 | 55.267 | 31.079 | 889.6 | 10.979 | 11.6071
2019-08-29 19:15:00 | 4.125 | 54.351 | 4.114 | 49.831 | 4.442 | 56.467 | 4.583 | 52.367 | 31.244 | 889.233 | 11.307 | 18.0228
2019-08-29 19:30:00 | 6.892 | 48.935 | 7.003 | 45.297 | 6.661 | 50.233 | 6.45 | 47.933 | 31.06 | 889.733 | 11.523 | 21.9288
2019-08-29 19:45:00 | 6.138 | 50.27 | 6.521 | 46.665 | 6.72 | 52.233 | 6.803 | 51.267 | 30.339 | 889.7 | 11.768 | 22.3111
2019-08-29 20:00:00 | 6.316 | 61.187 | 6.078 | 56.905 | 5.699 | 60.433 | 5.634 | 54.7 | 30.66 | 889.333 | 12.179 | 16.7658
2019-08-29 20:15:00 | 4.923 | 65.727 | 5.112 | 62.1 | 5.391 | 66.367 | 5.403 | 61.933 | 30.031 | 889.4 | 13.131 | 10.7203
2019-08-29 20:30:00 | 3.942 | 64.18 | 4.247 | 62.01 | 4.478 | 65.8 | 4.663 | 64.067 | 29.431 | 889.833 | 13.805 | 9.0469
2019-08-29 20:45:00 | 4.385 | 65.66 | 4.827 | 61.118 | 4.885 | 65.333 | 4.702 | 60.833 | 29.631 | 889.767 | 14.203 | 7.9697
2019-08-29 21:00:00 | 3.902 | 65.7 | 4.318 | 60.778 | 4.342 | 64.733 | 4.599 | 62.033 | 29.098 | 889.6 | 15.021 | 5.7904
2019-08-29 21:15:00 | 3.104 | 59.648 | 3.179 | 52.898 | 2.751 | 60.6 | 3.037 | 57.467 | 28.568 | 889.567 | 15.643 | 3.5962
2019-08-29 21:30:00 | 2.485 | 63.267 | 3.103 | 59.191 | 3.234 | 61.967 | 3.29 | 57.167 | 28.202 | 889.367 | 16.259 | 3.076
2019-08-29 21:45:00 | 2.564 | 65.417 | 2.779 | 59.056 | 2.7 | 61.667 | 2.677 | 58.5 | 28.064 | 889.567 | 16.696 | 2.3506
2019-08-29 22:00:00 | 2.146 | 58.06 | 2.251 | 51.807 | 1.977 | 57.533 | 2.324 | 53.267 | 28.114 | 889.467 | 17.083 | 1.3472
2019-08-29 22:15:00 | 2.067 | 60.258 | 2.565 | 55.777 | 2.148 | 57.333 | 2.194 | 56.433 | 27.131 | 889.533 | 17.395 | 0.40218
2019-08-29 22:30:00 | 1.757 | 65.045 | 2.692 | 60.523 | 2.492 | 60.867 | 2.268 | 58.333 | 27.01 | 889.533 | 17.76 | 0.13714
2019-08-29 22:45:00 | 1.68 | 71.767 | 2.226 | 62.329 | 2.103 | 64.567 | 2.472 | 62.733 | 26.723 | 889.4 | 17.805 | 0.13785
2019-08-29 23:00:00 | 1.659 | 134.023 | 2.383 | 88.601 | 2.816 | 89 | 3.396 | 79.133 | 26.485 | 889.167 | 18.107 | 0.88821
2019-08-29 23:15:00 | 0.804 | 178.813 | 2.769 | 102.681 | 3.118 | 89.633 | 3.7 | 78.467 | 25.273 | 889.5 | 19.12 | 0.58551
2019-08-29 23:30:00 | 2.216 | 261.92 | 1.142 | 244.548 | 0.496 | 266 | 0.635 | 260.467 | 24.298 | 889.633 | 20.035 | 0.29986
2019-08-29 23:45:00 | 0.452 | 259.187 | 0 | 244.446 | 0 | 272.933 | 0.067 | 266.033 | 25.427 | 889.033 | 19.867 | 0.25722