## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-30 00:00:00 | 0 | 259.133 | 0 | 244.318 | 0.07 | 0 | 0.84 | 23 | 25.273 | 889.767 | 20.048 | 0.18191
2019-08-30 00:15:00 | 1.909 | 247.633 | 0 | 244.979 | 0 | 274 | 0.047 | 326 | 24.277 | 889.433 | 20.491 | 0.17054
2019-08-30 00:30:00 | 2.005 | 249.38 | 0 | 245.489 | 0 | 274 | 0 | 326 | 23.918 | 889.817 | 20.795 | 0.17054
2019-08-30 00:45:00 | 2.246 | 249.46 | 0 | 251.573 | 0 | 274 | 0 | 326 | 23.881 | 889.75 | 20.821 | 0.17338
2019-08-30 01:00:00 | 2.677 | 243.54 | 0.07 | 256.912 | 0.2 | 274.133 | 1.175 | 326 | 24.031 | 889.767 | 21.152 | 0.18333
2019-08-30 01:15:00 | 3.256 | 244.867 | 2.373 | 259.066 | 1.602 | 279.5 | 1.249 | 325.167 | 23.977 | 890.15 | 21.4 | 0.17196
2019-08-30 01:30:00 | 4.291 | 243.347 | 2.594 | 257.356 | 1.708 | 281.933 | 0.941 | 317.567 | 22.964 | 889.717 | 21.656 | 0.17338
2019-08-30 01:45:00 | 4.324 | 229.433 | 1.564 | 259.109 | 1.116 | 282 | 0.416 | 300 | 21.956 | 889.55 | 22.912 | 0.17054
2019-08-30 02:00:00 | 4.263 | 228.113 | 1.24 | 248.522 | 0 | 282 | 0 | 300 | 21.644 | 889.817 | 23.339 | 0.16911
2019-08-30 02:15:00 | 5.57 | 230.087 | 3.006 | 247.551 | 1.117 | 282 | 0.849 | 300 | 20.568 | 889.667 | 24.155 | 0.16911
2019-08-30 02:30:00 | 5.747 | 225.72 | 2.422 | 245.018 | 0.934 | 281.867 | 0.212 | 300.133 | 20.002 | 890.183 | 24.965 | 0.16911
2019-08-30 02:45:00 | 5.468 | 221.907 | 1.93 | 242.95 | 0.31 | 281.933 | 0 | 300.167 | 19.873 | 889.567 | 25.525 | 0.17196
2019-08-30 03:00:00 | 5.745 | 228.06 | 3.42 | 244.934 | 2.269 | 263.6 | 1.153 | 298.267 | 19.539 | 889.567 | 25.675 | 0.17622
2019-08-30 03:15:00 | 5.594 | 228.88 | 2.94 | 247.336 | 1.604 | 258.733 | 0.688 | 299.067 | 20.127 | 889.65 | 25.451 | 0.17054
2019-08-30 03:30:00 | 5.343 | 229.293 | 2.94 | 242.792 | 1.491 | 252.6 | 0 | 298 | 18.964 | 889.85 | 26.453 | 0.20606
2019-08-30 03:45:00 | 6.219 | 226.253 | 3.251 | 243.734 | 1.481 | 253.933 | 0.044 | 298 | 18.614 | 889.883 | 26.811 | 0.23662
2019-08-30 04:00:00 | 6.407 | 224.5 | 4.744 | 236.896 | 3.311 | 250.133 | 1.911 | 275.133 | 18.739 | 889.5 | 27.243 | 0.93368
2019-08-30 04:15:00 | 6.654 | 219.9 | 4.391 | 230.124 | 3.024 | 240.5 | 1.676 | 244 | 18.523 | 889.917 | 27.643 | 2.7407
2019-08-30 04:30:00 | 6.321 | 222.513 | 5.748 | 227.41 | 5.21 | 236.667 | 4.522 | 233.3 | 18.36 | 889.733 | 27.536 | 2.9034
2019-08-30 04:45:00 | 6.166 | 220.7 | 5.064 | 224.494 | 4.588 | 233.4 | 3.995 | 231 | 18.906 | 889.617 | 27.141 | 3.3439
2019-08-30 05:00:00 | 6.176 | 220.4 | 5.755 | 221.658 | 4.743 | 227.867 | 4.094 | 227.867 | 18.656 | 889.667 | 26.965 | 3.6871
2019-08-30 05:15:00 | 6.558 | 223.667 | 5.455 | 227.025 | 4.886 | 234.767 | 4.337 | 228.067 | 18.823 | 889.917 | 26.965 | 5.6561
2019-08-30 05:30:00 | 6.394 | 229.84 | 6.126 | 231.936 | 5.421 | 243.133 | 4.651 | 241.6 | 18.264 | 889.767 | 27.845 | 4.8262
2019-08-30 05:45:00 | 6.397 | 224.92 | 5.266 | 229.883 | 4.629 | 239.133 | 4.029 | 238 | 17.881 | 889.517 | 28.336 | 4.3657
2019-08-30 06:00:00 | 6.78 | 227.953 | 6.091 | 232.522 | 5.257 | 243.267 | 4.452 | 241 | 17.935 | 889.783 | 28.811 | 2.6717
2019-08-30 06:15:00 | 6.093 | 224.633 | 5.41 | 230.614 | 4.664 | 241.333 | 3.773 | 240.9 | 17.723 | 889.45 | 28.603 | 1.1163
2019-08-30 06:30:00 | 5.405 | 227.613 | 5.146 | 235.319 | 4.436 | 249.167 | 3.792 | 248.133 | 17.718 | 889.483 | 28.981 | 0.74823
2019-08-30 06:45:00 | 5.288 | 224.193 | 4.652 | 237.852 | 3.566 | 254.667 | 2.385 | 254.183 | 17.381 | 889.75 | 29.685 | 1.5043
2019-08-30 07:00:00 | 5.624 | 225.987 | 5.31 | 235.91 | 4.242 | 249.2 | 3.126 | 252.733 | 17.018 | 889.617 | 29.797 | 1.1085
2019-08-30 07:15:00 | 5.361 | 221.947 | 4.99 | 232.492 | 4.072 | 246.867 | 3.317 | 249.267 | 17.198 | 889.517 | 29.899 | 1.6606
2019-08-30 07:30:00 | 5.885 | 219.7 | 5.035 | 227.839 | 3.927 | 243.767 | 2.865 | 247.067 | 17.439 | 889.8 | 29.488 | 0.21104
2019-08-30 07:45:00 | 5.63 | 223.247 | 4.562 | 229.042 | 3.625 | 245.067 | 2.956 | 249.467 | 18.073 | 889.133 | 28.453 | 0.13643
2019-08-30 08:00:00 | 5.547 | 222.953 | 4.278 | 228.622 | 3.169 | 244.433 | 2.606 | 249.167 | 18.681 | 889.833 | 27.557 | 0.73259
2019-08-30 08:15:00 | 5.33 | 224.64 | 3.998 | 232.159 | 2.894 | 248.467 | 2.449 | 255.7 | 19.602 | 889.533 | 26.24 | 1.2577
2019-08-30 08:30:00 | 5.074 | 225.967 | 4.593 | 234.372 | 3.426 | 251.033 | 3.165 | 258.25 | 20.339 | 889.25 | 25.285 | 0.49384
2019-08-30 08:45:00 | 4.266 | 227.42 | 4.649 | 234.097 | 3.43 | 251.7 | 2.866 | 257.467 | 21.723 | 890 | 23.771 | 0.13785
2019-08-30 09:00:00 | 3.88 | 227.68 | 3.914 | 236.404 | 3.071 | 252.667 | 2.61 | 255.767 | 23.502 | 889.733 | 21.712 | 0.21317
2019-08-30 09:15:00 | 3.514 | 225.347 | 3.312 | 225.273 | 2.862 | 243.133 | 2.426 | 251.967 | 25.218 | 889.4 | 20.056 | 0.28138
2019-08-30 09:30:00 | 2.272 | 227.453 | 2.177 | 230.744 | 2.209 | 240.8 | 2.072 | 235.033 | 26.744 | 889.267 | 18.464 | 0.18191
2019-08-30 09:45:00 | 1.261 | 248.06 | 1.266 | 255.076 | 1.119 | 264.6 | 1.542 | 252.4 | 27.889 | 889.5 | 17.225 | 0.1748
2019-08-30 10:00:00 | 1.813 | 269.747 | 1.6 | 324.964 | 1.614 | 320.467 | 1.956 | 337.033 | 27.273 | 889.6 | 17.009 | 0.19185
2019-08-30 10:15:00 | 1.42 | 61.223 | 1.076 | 24.084 | 1.209 | 38.634 | 1.594 | 37.267 | 27.744 | 889.433 | 16.907 | 0.18191
2019-08-30 10:30:00 | 1.998 | 70.766 | 1.73 | 58.632 | 2.02 | 68.267 | 2.307 | 67.133 | 28.198 | 889.733 | 17.117 | 0.088821
2019-08-30 10:45:00 | 2.637 | 59.848 | 2.496 | 56.96 | 2.589 | 62.967 | 2.723 | 62.3 | 27.827 | 889.767 | 17.304 | 0.22667
2019-08-30 11:00:00 | 2.73 | 72.767 | 2.506 | 71.894 | 2.804 | 77.033 | 3.128 | 74.067 | 27.989 | 889.5 | 17.192 | 0.1009
2019-08-30 11:15:00 | 2.207 | 37.652 | 2.285 | 32.565 | 2.5 | 40.7 | 2.694 | 35.367 | 28.46 | 889.567 | 16.883 | 0.15561
2019-08-30 11:30:00 | 2.657 | 44.637 | 2.614 | 44.319 | 2.968 | 37.9 | 3.36 | 38.167 | 28.835 | 889.733 | 16.579 | 0.29915
2019-08-30 11:45:00 | 2.607 | 49.645 | 2.62 | 53.679 | 2.84 | 51.9 | 3.106 | 45.9 | 28.573 | 889.4 | 16.445 | 0.56277
2019-08-30 12:00:00 | 2.93 | 79.913 | 2.726 | 58.062 | 2.99 | 46.775 | 3.199 | 38.234 | 29.298 | 888.9 | 16.209 | 0.46755
2019-08-30 12:15:00 | 2.462 | 108.33 | 2.613 | 72.693 | 3.033 | 65.373 | 3.248 | 66.6 | 29.631 | 889.567 | 15.539 | 0.34676
2019-08-30 12:30:00 | 2.346 | 82.953 | 2.297 | 80.698 | 2.65 | 73.167 | 3.051 | 72.567 | 29.631 | 889.567 | 15.083 | 0.88252
2019-08-30 12:45:00 | 2.118 | 26.218 | 2.041 | 24.505 | 2.202 | 26.067 | 2.594 | 29.033 | 30.418 | 889.167 | 14.261 | 0.50521
2019-08-30 13:00:00 | 1.627 | 145.884 | 1.734 | 44.784 | 1.915 | 74.708 | 2.236 | 73.067 | 30.381 | 889.367 | 13.932 | 0.55993
2019-08-30 13:15:00 | 2.987 | 23.698 | 3.364 | 21.697 | 3.33 | 27.333 | 3.41 | 28.867 | 30.544 | 889.733 | 13.373 | 0.59048
2019-08-30 13:30:00 | 3.528 | 124.595 | 3.866 | 136.984 | 4.138 | 101.9 | 4.253 | 66.702 | 30.939 | 889.133 | 13.412 | 0.81218
2019-08-30 13:45:00 | 4.169 | 59.623 | 4.322 | 49.984 | 4.436 | 49.933 | 4.329 | 44.567 | 31.742 | 889.8 | 13.141 | 0.84771
2019-08-30 14:00:00 | 3.447 | 128.122 | 3.466 | 140.52 | 3.75 | 121.233 | 3.774 | 100.433 | 30.931 | 889.467 | 13.233 | 0.60682
2019-08-30 14:15:00 | 3.378 | 327.707 | 3.194 | 325.538 | 2.874 | 323.233 | 2.983 | 348.9 | 31.127 | 889.367 | 13.383 | 1.6812
2019-08-30 14:30:00 | 2.373 | 53.515 | 3.013 | 52.379 | 3.228 | 41.667 | 3.08 | 36.567 | 31.846 | 889.4 | 12.629 | 2.104
2019-08-30 14:45:00 | 4.491 | 66.768 | 5.008 | 57.614 | 5.378 | 62.1 | 5.512 | 56.3 | 31.219 | 889.633 | 12.736 | 0.94647
2019-08-30 15:00:00 | 3.327 | 16.047 | 3.436 | 25.145 | 3.023 | 16.967 | 3.133 | 40.933 | 31.667 | 889.333 | 12.559 | 0.87542
2019-08-30 15:15:00 | 1.57 | 80.502 | 1.362 | 127.129 | 1.322 | 109.108 | 1.657 | 142.767 | 32.311 | 889.467 | 12.129 | 0.47466
2019-08-30 15:30:00 | 3.674 | 111.077 | 3.846 | 104.344 | 3.942 | 104.267 | 3.817 | 97.4 | 31.984 | 889.2 | 12.088 | 0.47679
2019-08-30 15:45:00 | 1.186 | 114.051 | 1.24 | 115.593 | 1.488 | 109.875 | 1.491 | 87.8 | 33.03 | 889.2 | 11.397 | 0.12293
2019-08-30 16:00:00 | 3.417 | 309.934 | 3.59 | 308.652 | 3.871 | 287.633 | 3.881 | 258.467 | 32.205 | 889.6 | 11.643 | 0.34249
2019-08-30 16:15:00 | 3.394 | 39.786 | 3.595 | 36.058 | 3.661 | 32.433 | 3.68 | 23.7 | 31.748 | 889.733 | 11.843 | 1.0843
2019-08-30 16:30:00 | 3.626 | 325.48 | 3.962 | 313.391 | 4.393 | 316.367 | 4.569 | 312.533 | 31.852 | 889.667 | 11.699 | 0.85908
2019-08-30 16:45:00 | 1.24 | 184.234 | 0.84 | 226.684 | 1.209 | 192.35 | 1.748 | 196.2 | 32.746 | 889.533 | 11.459 | 1.4659
2019-08-30 17:00:00 | 2.427 | 80.254 | 2.666 | 37.513 | 3.086 | 49.336 | 3.498 | 50.042 | 32.806 | 889.75 | 11.433 | 1.6613
2019-08-30 17:15:00 | 2.733 | 60.728 | 2.837 | 98.02 | 2.718 | 38.638 | 2.952 | 53.4 | 32.924 | 889.367 | 11.407 | 1.2151
2019-08-30 17:30:00 | 2.218 | 32.618 | 1.953 | 40.817 | 1.7 | 53.833 | 2.134 | 57.667 | 32.377 | 889.3 | 11.523 | 0.84771
2019-08-30 17:45:00 | 4.15 | 36.076 | 4.406 | 77.88 | 4.298 | 59.967 | 4.37 | 82.733 | 32.87 | 889.133 | 10.563 | 2.1452
2019-08-30 18:00:00 | 3.823 | 143.902 | 3.837 | 138.658 | 3.684 | 82.867 | 3.742 | 79.733 | 32.354 | 889.667 | 10.889 | 2.9972
2019-08-30 18:15:00 | 1.285 | 213.313 | 0.516 | 315.697 | 0.707 | 316.967 | 0.928 | 329.333 | 32.344 | 889.733 | 10.591 | 2.9432
2019-08-30 18:30:00 | 3.559 | 184.584 | 3.652 | 282.964 | 3.816 | 220.183 | 3.844 | 190.235 | 33.013 | 889.433 | 10.208 | 1.0289
2019-08-30 18:45:00 | 2.147 | 118.866 | 2.186 | 244.246 | 2.257 | 162.233 | 2.45 | 176.267 | 32.963 | 889.3 | 9.975 | 0.78375
2019-08-30 19:00:00 | 1.607 | 120.301 | 1.234 | 118.333 | 1.296 | 102.469 | 1.834 | 95.367 | 32.913 | 888.933 | 9.637 | 1.4822
2019-08-30 19:15:00 | 3.758 | 51.982 | 4.044 | 44.64 | 4.161 | 49 | 4.093 | 47.4 | 32.349 | 889 | 9.619 | 0.97987
2019-08-30 19:30:00 | 3.983 | 20.01 | 4.182 | 20.295 | 4.439 | 28.2 | 4.594 | 28.333 | 32.277 | 889.167 | 10.041 | 0.61677
2019-08-30 19:45:00 | 3.646 | 46.242 | 3.847 | 40.626 | 3.879 | 45.933 | 4.164 | 42.767 | 32.404 | 888.8 | 10.164 | 0.26007
2019-08-30 20:00:00 | 2.583 | 166.789 | 2.671 | 225.314 | 2.736 | 85.233 | 2.819 | 110.333 | 32.343 | 889.667 | 10.455 | 0.81928
2019-08-30 20:15:00 | 3.18 | 35.284 | 3.436 | 29.714 | 3.927 | 35.3 | 4.294 | 31.933 | 31.884 | 889.7 | 10.824 | 1.9938
2019-08-30 20:30:00 | 3.864 | 36.01 | 4.412 | 30.126 | 4.452 | 33.7 | 4.474 | 29.333 | 31.448 | 889.533 | 11.517 | 1.149
2019-08-30 20:45:00 | 2.887 | 37.892 | 3.073 | 33.437 | 3.14 | 38.033 | 3.175 | 34 | 30.318 | 889.5 | 12.283 | 1.5696
2019-08-30 21:00:00 | 2.417 | 37.62 | 3.36 | 35.987 | 3.536 | 46.533 | 3.727 | 45.167 | 29.898 | 889.6 | 12.811 | 1.4751
2019-08-30 21:15:00 | 2.667 | 40.827 | 3.249 | 41.521 | 3.141 | 48.633 | 3.368 | 44.467 | 29.648 | 889.533 | 12.845 | 1.0452
2019-08-30 21:30:00 | 2.357 | 65.12 | 3.109 | 56.706 | 2.783 | 58.9 | 2.418 | 57.133 | 29.848 | 889.433 | 12.685 | 0.1144
2019-08-30 21:45:00 | 2.323 | 79.873 | 2.796 | 60.642 | 2.112 | 62.967 | 2.049 | 56 | 29.564 | 889.3 | 12.504 | 0.16627
2019-08-30 22:00:00 | 1.474 | 63.583 | 2.086 | 54.725 | 2.212 | 59.433 | 2.277 | 52 | 28.694 | 889.2 | 12.829 | 0.31691
2019-08-30 22:15:00 | 0.293 | 126.283 | 0 | 54.13 | 1.398 | 61.033 | 1.992 | 46.667 | 27.764 | 889.167 | 13.605 | 0.25509
2019-08-30 22:30:00 | 0 | 178.273 | 0.037 | 54.138 | 1.744 | 60.933 | 2.14 | 49 | 27.16 | 889.533 | 14.453 | 0.11937
2019-08-30 22:45:00 | 0.199 | 178.233 | 0.077 | 54.12 | 2.182 | 61.567 | 2.73 | 53.267 | 27.452 | 889.5 | 14.824 | 0.13572
2019-08-30 23:00:00 | 0.804 | 178.253 | 0 | 72.267 | 1.763 | 69 | 2.679 | 64.867 | 27.356 | 889.567 | 14.6 | 0.1748
2019-08-30 23:15:00 | 2.931 | 200.413 | 1.516 | 124.579 | 1.457 | 134.767 | 2.253 | 96.3 | 26.031 | 889.367 | 15.464 | 0.12861
2019-08-30 23:30:00 | 3.807 | 206.74 | 1.376 | 154.926 | 1.477 | 143.867 | 1.924 | 120.5 | 25.56 | 889.333 | 16.067 | 0.1144
2019-08-30 23:45:00 | 3.163 | 210.46 | 0.847 | 159.264 | 1.686 | 120.767 | 2.522 | 103.167 | 26.227 | 889.367 | 15.976 | 0.23591