## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-31 00:00:00 | 3.843 | 215.747 | 0.843 | 164.922 | 1.14 | 151.633 | 2.212 | 126 | 25.523 | 889.467 | 16.656 | 0.11014
2019-08-31 00:15:00 | 4.158 | 220.227 | 1.371 | 166.553 | 0.703 | 158.333 | 1.484 | 138.733 | 24.331 | 889.4 | 17.84 | 0.091663
2019-08-31 00:30:00 | 4.508 | 229.733 | 0.728 | 179.977 | 0 | 158.967 | 0 | 138 | 21.852 | 889.233 | 19.939 | 0.13643
2019-08-31 00:45:00 | 4.282 | 230.52 | 1.305 | 185.486 | 0 | 159.067 | 0.413 | 139.533 | 21.435 | 889.683 | 20.6 | 0.15277
2019-08-31 01:00:00 | 5.15 | 227.633 | 1.449 | 209.501 | 0.03 | 159 | 0.803 | 139.7 | 21.839 | 889.517 | 20.528 | 0.20606
2019-08-31 01:15:00 | 4.888 | 228.16 | 0 | 209.54 | 0 | 158.967 | 1.32 | 139.833 | 22.648 | 889.533 | 19.525 | 0.17054
2019-08-31 01:30:00 | 5.006 | 228.787 | 1.259 | 207.663 | 1.076 | 158.933 | 2.048 | 138 | 22.931 | 889.267 | 18.872 | 0.17054
2019-08-31 01:45:00 | 5.935 | 224.253 | 1.965 | 207.211 | 1.53 | 159.133 | 2.319 | 138 | 22.168 | 889.267 | 19.715 | 1.6379
2019-08-31 02:00:00 | 6.758 | 216.033 | 5.492 | 216.179 | 3.514 | 210.767 | 2.55 | 177.733 | 20.814 | 890.05 | 21.216 | 2.2909
2019-08-31 02:15:00 | 6.705 | 219.507 | 5.496 | 205.907 | 4.98 | 208.033 | 4.707 | 201.133 | 20.573 | 889.617 | 22.827 | 3.1109
2019-08-31 02:30:00 | 6.642 | 221 | 5.888 | 216.572 | 4.861 | 215.9 | 4.44 | 203.033 | 21.018 | 889.683 | 22.267 | 2.6639
2019-08-31 02:45:00 | 6.198 | 225.773 | 5.651 | 222.221 | 5.115 | 223.733 | 4.437 | 212.167 | 21.36 | 890.333 | 22 | 1.0445
2019-08-31 03:00:00 | 5.49 | 222.78 | 5.212 | 221.864 | 4.256 | 226.533 | 3.648 | 217.3 | 21.356 | 889.95 | 22.267 | 1.8759
2019-08-31 03:15:00 | 6.271 | 226.953 | 5.322 | 223.354 | 4.93 | 224.167 | 4.55 | 217.3 | 20.581 | 889.767 | 22.965 | 4.4013
2019-08-31 03:30:00 | 6.594 | 230.713 | 5.784 | 227.345 | 5.285 | 232.667 | 5.388 | 219.767 | 20.573 | 889.617 | 23.643 | 2.3434
2019-08-31 03:45:00 | 5.448 | 227.447 | 5.705 | 224.474 | 5.501 | 227.2 | 5.433 | 217.067 | 20.264 | 890 | 24.08 | 0.28707
2019-08-31 04:00:00 | 5.158 | 223.527 | 5.375 | 217.508 | 4.704 | 219.6 | 3.619 | 206.733 | 19.573 | 889.383 | 24.832 | 0.089531
2019-08-31 04:15:00 | 4.21 | 221.407 | 5.883 | 216.012 | 4.842 | 218.067 | 3.932 | 211.533 | 19.023 | 889.967 | 25.344 | 0.47537
2019-08-31 04:30:00 | 4.887 | 218.633 | 5.287 | 211.792 | 4.216 | 211.8 | 3.616 | 199.4 | 19.281 | 889.85 | 25.957 | 0.1414
2019-08-31 04:45:00 | 4.759 | 223.14 | 4.76 | 214.063 | 3.237 | 213.433 | 2.454 | 201.8 | 19.598 | 889.933 | 25.573 | 0.10161
2019-08-31 05:00:00 | 6.084 | 221.827 | 4.252 | 209.819 | 3.274 | 207.6 | 2.425 | 194.433 | 19.589 | 889.85 | 25.76 | 0.064662
2019-08-31 05:15:00 | 6.235 | 224.167 | 4.684 | 215.779 | 3.522 | 211.467 | 2.941 | 195 | 19.552 | 889.717 | 25.536 | 0.1208
2019-08-31 05:30:00 | 6.198 | 223.16 | 5.205 | 212.95 | 3.564 | 212 | 2.758 | 203.233 | 19.368 | 889.833 | 25.648 | 0.11511
2019-08-31 05:45:00 | 6.678 | 219.867 | 4.157 | 207.296 | 3.195 | 212 | 2.19 | 199.733 | 19.264 | 889.533 | 25.659 | 0.14993
2019-08-31 06:00:00 | 6.57 | 222.647 | 4.23 | 210.256 | 3.079 | 214.433 | 2.266 | 206.567 | 19.289 | 889.667 | 25.867 | 0.42847
2019-08-31 06:15:00 | 6.28 | 222.56 | 4.092 | 212.498 | 2.964 | 213.733 | 2.355 | 205.733 | 19.81 | 889.883 | 25.893 | 0.26788
2019-08-31 06:30:00 | 6.638 | 222.987 | 4.427 | 218.288 | 2.229 | 222.467 | 1.412 | 205.9 | 19.389 | 889.65 | 25.968 | 0.1414
2019-08-31 06:45:00 | 6.573 | 223.947 | 4.795 | 217.882 | 3.331 | 228.033 | 2.132 | 208.833 | 19.31 | 889.8 | 26.389 | 0.11227
2019-08-31 07:00:00 | 6.008 | 225.407 | 5.556 | 220.28 | 4.069 | 232.6 | 2.991 | 232.767 | 18.839 | 890.033 | 26.704 | 0.17906
2019-08-31 07:15:00 | 6.202 | 228.933 | 6.071 | 222.095 | 4.188 | 233.4 | 2.761 | 241.133 | 18.539 | 890.033 | 26.891 | 0.12435
2019-08-31 07:30:00 | 5.343 | 234.207 | 5.965 | 220.84 | 3.994 | 232.033 | 2.818 | 231.133 | 19.127 | 890.167 | 26.837 | 0.17338
2019-08-31 07:45:00 | 4.761 | 235.433 | 5.379 | 225.216 | 3.184 | 229.933 | 2.367 | 223.667 | 18.877 | 890.033 | 26.709 | 0.23449
2019-08-31 08:00:00 | 1.279 | 116.373 | 1.087 | 158.295 | 1.467 | 171.067 | 1.484 | 186.233 | 19.181 | 890.133 | 26.24 | 0.18191
2019-08-31 08:15:00 | 0.557 | 255.647 | 0.935 | 221.694 | 0.965 | 195.567 | 1.065 | 192.067 | 20.873 | 889.35 | 24.421 | 0.17054
2019-08-31 08:30:00 | 2.222 | 204.4 | 2.318 | 195.453 | 1.317 | 191.967 | 0 | 190 | 22.531 | 889.65 | 22.309 | 0.17054
2019-08-31 08:45:00 | 3.125 | 220.467 | 2.883 | 202.453 | 1.585 | 224.433 | 1.365 | 258 | 22.881 | 889.367 | 21.733 | 0.17196
2019-08-31 09:00:00 | 1.872 | 223.253 | 1.577 | 216.808 | 1.552 | 220 | 1.584 | 250.567 | 23.918 | 889.433 | 20.4 | 0.1947
2019-08-31 09:15:00 | 3.66 | 229.267 | 3.499 | 224.345 | 3.522 | 226.033 | 3.436 | 221.867 | 25.444 | 889.333 | 18.779 | 0.21104
2019-08-31 09:30:00 | 2.369 | 213.84 | 2.28 | 211.649 | 2.375 | 215.067 | 2.549 | 212.233 | 26.614 | 889.233 | 17.496 | 0.18617
2019-08-31 09:45:00 | 0.592 | 283.693 | 0.553 | 236.997 | 0.683 | 244.7 | 1.482 | 263.833 | 27.989 | 889.5 | 15.937 | 0.1613
2019-08-31 10:00:00 | 2.201 | 292.853 | 1.813 | 282.676 | 1.734 | 290.1 | 2.075 | 279.167 | 27.623 | 889.1 | 15.541 | 0.29986
2019-08-31 10:15:00 | 1.992 | 292.573 | 1.843 | 292.506 | 1.714 | 292.033 | 2.276 | 291.467 | 27.473 | 889.7 | 15.844 | 0.43131
2019-08-31 10:30:00 | 2.202 | 272.54 | 2.201 | 270.879 | 2.38 | 277.433 | 2.64 | 278.8 | 28.702 | 889.633 | 15.413 | 0.91024
2019-08-31 10:45:00 | 2.728 | 299.24 | 2.685 | 297.067 | 2.837 | 295.7 | 3.246 | 296.833 | 28.46 | 889.933 | 15.045 | 1.1653
2019-08-31 11:00:00 | 3.085 | 309.96 | 3.295 | 306.053 | 3.394 | 310.533 | 3.509 | 306.733 | 28.498 | 889.8 | 14.911 | 0.79228
2019-08-31 11:15:00 | 3.384 | 318.533 | 3.589 | 317.028 | 3.446 | 320.867 | 3.6 | 320.867 | 29.198 | 889.533 | 14.675 | 0.25722
2019-08-31 11:30:00 | 2.608 | 267.107 | 2.932 | 322.833 | 3.039 | 321.133 | 3.432 | 322.567 | 29.048 | 889.567 | 14.304 | 0.70772
2019-08-31 11:45:00 | 3.198 | 285.64 | 2.982 | 315.964 | 2.849 | 325.1 | 3.097 | 327.533 | 29.248 | 889.333 | 14.196 | 0.85979
2019-08-31 12:00:00 | 3.978 | 197.827 | 4.357 | 324.336 | 4.517 | 290.767 | 4.475 | 311.8 | 29.718 | 889.567 | 13.621 | 0.62459
2019-08-31 12:15:00 | 3.27 | 82.01 | 3.135 | 64.759 | 2.933 | 18.067 | 3.361 | 30.1 | 29.598 | 889.567 | 13.455 | 0.95642
2019-08-31 12:30:00 | 3.526 | 32.648 | 3.438 | 61.826 | 3.328 | 72.967 | 3.238 | 61.067 | 29.548 | 889.3 | 13.493 | 0.50308
2019-08-31 12:45:00 | 2.502 | 113.669 | 2.223 | 107.261 | 2.366 | 77.834 | 3.038 | 152.3 | 29.498 | 889.633 | 13.397 | 0.59403
2019-08-31 13:00:00 | 3.468 | 286.176 | 3.463 | 271.678 | 3.656 | 242.933 | 3.731 | 210.867 | 30.214 | 889.1 | 13.26 | 0.6189
2019-08-31 13:15:00 | 2.003 | 130.598 | 1.724 | 229.908 | 1.421 | 178.733 | 1.857 | 14.967 | 30.189 | 889.333 | 12.687 | 0.26149
2019-08-31 13:30:00 | 2.812 | 49.853 | 2.887 | 67.246 | 3.106 | 59.167 | 3.203 | 44.167 | 30.898 | 889.667 | 12.904 | 0.17551
2019-08-31 13:45:00 | 2.827 | 175.293 | 2.962 | 242.907 | 2.912 | 159.234 | 2.894 | 212.567 | 30.214 | 889.367 | 13.695 | 0.34107
2019-08-31 14:00:00 | 3.253 | 32.061 | 3.071 | 24.658 | 2.86 | 31.9 | 3.107 | 28.3 | 30.477 | 889.133 | 13.04 | 0.28849
2019-08-31 14:15:00 | 3.185 | 37.48 | 3.08 | 30.722 | 2.96 | 28.767 | 3.135 | 26.8 | 30.839 | 889.867 | 12.8 | 0.12222
2019-08-31 14:30:00 | 0.896 | 92.672 | 0.593 | 101.593 | 0.88 | 45.4 | 1.214 | 14.933 | 31.333 | 889.4 | 12.481 | 0.16556
2019-08-31 14:45:00 | 2.643 | 89.995 | 2.566 | 124.5 | 2.429 | 41.634 | 2.614 | 13.4 | 30.464 | 889.4 | 12.987 | 0.12293
2019-08-31 15:00:00 | 2.457 | 131.324 | 2.694 | 187.808 | 2.656 | 92.067 | 3.119 | 153.3 | 30.785 | 889.4 | 13.256 | 0.19896
2019-08-31 15:15:00 | 2.119 | 89.905 | 2.14 | 203.898 | 2.284 | 98.333 | 2.536 | 48.3 | 30.485 | 889.533 | 13.393 | 0.26717
2019-08-31 15:30:00 | 3.454 | 34.038 | 3.791 | 22.564 | 3.835 | 26.9 | 4.065 | 27.6 | 30.431 | 889.333 | 13.12 | 0.89247
2019-08-31 15:45:00 | 2.958 | 34.541 | 2.831 | 35.43 | 2.873 | 46.733 | 3.355 | 44.033 | 30.664 | 889.2 | 13.067 | 0.22738
2019-08-31 16:00:00 | 1.943 | 51.145 | 1.403 | 40.374 | 1.784 | 40.933 | 2.203 | 29.633 | 30.935 | 889.6 | 12.88 | 1.9072
2019-08-31 16:15:00 | 2.01 | 66.412 | 1.888 | 59.017 | 2.196 | 19.304 | 2.617 | 14.167 | 31.002 | 889.2 | 12.921 | 3.1862
2019-08-31 16:30:00 | 3.827 | 48.959 | 3.97 | 43.045 | 4.099 | 45.5 | 4.349 | 41.7 | 31.547 | 889.7 | 12.723 | 1.7608
2019-08-31 16:45:00 | 2.939 | 89.21 | 2.919 | 80.48 | 3.256 | 78.833 | 3.693 | 71.467 | 31.875 | 889.6 | 12.317 | 1.537
2019-08-31 17:00:00 | 2.635 | 68.112 | 2.813 | 59.087 | 3.148 | 55.633 | 3.355 | 53.833 | 32.034 | 889.067 | 12.099 | 4.365
2019-08-31 17:15:00 | 3.626 | 64.587 | 3.664 | 58.911 | 3.695 | 61.567 | 4.025 | 56.933 | 31.406 | 889.6 | 12.032 | 8.8053
2019-08-31 17:30:00 | 6.197 | 74.747 | 6.654 | 69.382 | 6.621 | 74.933 | 6.398 | 71.9 | 32.068 | 889.633 | 11.669 | 10.3771
2019-08-31 17:45:00 | 4.714 | 65.172 | 5.23 | 55.745 | 5.592 | 60.9 | 5.935 | 58.233 | 31.719 | 889.767 | 11.939 | 10.0851
2019-08-31 18:00:00 | 4.778 | 72.673 | 5.194 | 69.566 | 5.266 | 73.5 | 5.63 | 71.467 | 31.736 | 889.433 | 12.027 | 9.744
2019-08-31 18:15:00 | 4.495 | 63.183 | 4.571 | 57.051 | 4.719 | 60.9 | 4.752 | 60.3 | 31.774 | 889.267 | 12.248 | 8.8053
2019-08-31 18:30:00 | 4.51 | 68.995 | 5.17 | 63.142 | 5.153 | 66.867 | 5.284 | 62.233 | 32.067 | 889.633 | 12.192 | 10.2471
2019-08-31 18:45:00 | 4.294 | 72.68 | 4.581 | 60.576 | 4.8 | 64.167 | 5.107 | 60 | 31.358 | 889.467 | 12.085 | 12.9991
2019-08-31 19:00:00 | 5.622 | 67.02 | 5.96 | 63.502 | 6.138 | 66.433 | 6.034 | 63.8 | 31.604 | 889.367 | 12.304 | 11.9603
2019-08-31 19:15:00 | 4.202 | 73.215 | 4.308 | 67.292 | 4.549 | 72.467 | 4.534 | 67.667 | 31.614 | 889.467 | 12.32 | 11.4437
2019-08-31 19:30:00 | 4.516 | 65.2 | 4.81 | 62.747 | 5.01 | 66.967 | 5.422 | 65.733 | 31.928 | 889.633 | 11.965 | 13.7807
2019-08-31 19:45:00 | 5.794 | 65.162 | 6.015 | 59.89 | 6.18 | 65.833 | 6.226 | 63.333 | 31.879 | 889.567 | 12.173 | 17.7357
2019-08-31 20:00:00 | 5.511 | 74.507 | 6.281 | 68.97 | 6.492 | 73.5 | 6.618 | 69.567 | 31.468 | 889.733 | 12.251 | 13.915
2019-08-31 20:15:00 | 5.31 | 67.042 | 5.782 | 59.194 | 5.811 | 66.133 | 5.714 | 60.967 | 30.76 | 889.533 | 12.907 | 11.7165
2019-08-31 20:30:00 | 3.967 | 68.705 | 4.562 | 63.5 | 4.793 | 66.767 | 4.868 | 63 | 30.818 | 889.667 | 13.219 | 11.1424
2019-08-31 20:45:00 | 3.898 | 64.98 | 4.83 | 60.873 | 4.354 | 63.1 | 4.541 | 60.133 | 29.998 | 889.4 | 13.515 | 8.1886
2019-08-31 21:00:00 | 2.336 | 52.533 | 3.228 | 52.368 | 2.968 | 60 | 3.262 | 58.9 | 29.498 | 889.867 | 13.773 | 6.0441
2019-08-31 21:15:00 | 2.329 | 41.967 | 3.415 | 45.647 | 3.373 | 53.967 | 2.902 | 52.633 | 29.098 | 889.167 | 14.315 | 3.6452
2019-08-31 21:30:00 | 1.856 | 36.177 | 2.585 | 45.458 | 2.327 | 56.933 | 2.693 | 57.7 | 28.623 | 889.933 | 14.635 | 1.9981
2019-08-31 21:45:00 | 1.28 | 9.307 | 2.786 | 33.164 | 4.197 | 44.333 | 4.312 | 45.9 | 28.044 | 889.833 | 15.048 | 1.0943
2019-08-31 22:00:00 | 1.029 | 24.448 | 2.5 | 56.517 | 3.154 | 64.733 | 3.577 | 63.167 | 28.098 | 889.367 | 15.315 | 1.6315
2019-08-31 22:15:00 | 0 | 46.827 | 2.368 | 67.425 | 3.38 | 74.033 | 3.912 | 69.867 | 28.064 | 889.433 | 15.269 | 1.6016
2019-08-31 22:30:00 | 0 | 51.053 | 1.356 | 67.854 | 2.961 | 75.167 | 3.667 | 71.7 | 27.648 | 889.533 | 15.291 | 0.3361
2019-08-31 22:45:00 | 0 | 4.004 | 0 | 52.332 | 0.997 | 64.667 | 2.488 | 68.733 | 27.994 | 889.133 | 15.437 | 0.28849
2019-08-31 23:00:00 | 0.731 | 260.627 | 0 | 78.255 | 0.1 | 73 | 1.938 | 70.767 | 27.589 | 889.167 | 15.515 | 0.29702
2019-08-31 23:15:00 | 0.043 | 229.44 | 0.78 | 78.195 | 2.242 | 75.7 | 3.236 | 70.2 | 27.581 | 889.467 | 15.411 | 3.2643
2019-08-31 23:30:00 | 2.612 | 124.407 | 2.753 | 90.588 | 2.554 | 92.667 | 2.929 | 82.067 | 27.998 | 889.767 | 14.731 | 4.5995
2019-08-31 23:45:00 | 2.197 | 269.9 | 1.036 | 235.805 | 0.538 | 230.033 | 0.776 | 100.125 | 26.439 | 889.467 | 16.032 | 0.82639