## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-01 00:00:00 | 2.55 | 290.787 | 1.794 | 300.902 | 1.454 | 311.533 | 1.392 | 316.867 | 26.944 | 889.167 | 16.193 | 0.3226
2019-09-01 00:15:00 | 2.364 | 277.533 | 0.036 | 300.96 | 0 | 348.433 | 0.084 | 306 | 28.152 | 889.6 | 15.209 | 0.77239
2019-09-01 00:30:00 | 5.422 | 269.053 | 4.424 | 271.06 | 4.177 | 273.7 | 4.035 | 267.4 | 26.756 | 889.467 | 15.728 | 0.65017
2019-09-01 00:45:00 | 2.864 | 314.707 | 1.902 | 307.359 | 1.406 | 317.1 | 0.992 | 299.067 | 28.306 | 889.567 | 14.649 | 0.23307
2019-09-01 01:00:00 | 1.903 | 336.667 | 1.004 | 138.667 | 1.006 | 11.656 | 1.709 | 37.267 | 28.181 | 889.633 | 14.428 | 0.19612
2019-09-01 01:15:00 | 0.728 | 211.76 | 0 | 4.015 | 0 | 37.971 | 0.118 | 52 | 27.627 | 889.833 | 14.803 | 0.17764
2019-09-01 01:30:00 | 2.758 | 287.893 | 1.197 | 345.521 | 0.291 | 31.527 | 0.252 | 52 | 27.614 | 889.7 | 15.028 | 0.1947
2019-09-01 01:45:00 | 2.851 | 305.76 | 1.847 | 341.96 | 1.502 | 4.675 | 1.646 | 23.233 | 27.218 | 889.8 | 15.133 | 16.5718
2019-09-01 02:00:00 | 5.667 | 290.8 | 6.981 | 300.01 | 7.35 | 308.567 | 7.599 | 308.367 | 24.527 | 889.533 | 17.565 | 21.6531
2019-09-01 02:15:00 | 6.056 | 292.373 | 7.524 | 297.541 | 7.644 | 304.3 | 7.955 | 302.4 | 25.498 | 889.333 | 17.059 | 23.3684
2019-09-01 02:30:00 | 5.137 | 269.6 | 6.541 | 271.231 | 6.823 | 279.2 | 7.159 | 277.633 | 24.31 | 889.567 | 19.18 | 25.7957
2019-09-01 02:45:00 | 5.186 | 278.253 | 6.766 | 275.572 | 7.136 | 282.5 | 7.458 | 279.2 | 24.939 | 889.417 | 22.173 | 29.9262
2019-09-01 03:00:00 | 5.608 | 277.467 | 6.875 | 272.315 | 7.661 | 278.433 | 8.311 | 275.567 | 24.681 | 889.633 | 24.232 | 43.7503
2019-09-01 03:15:00 | 7.089 | 271.533 | 8.43 | 267.704 | 8.789 | 274.433 | 9.197 | 270.033 | 24.527 | 889.917 | 26.28 | 46.395
2019-09-01 03:30:00 | 6.774 | 273.28 | 8.18 | 269.874 | 8.975 | 275.1 | 9.544 | 272.967 | 25.068 | 889.95 | 26.597 | 48.1849
2019-09-01 03:45:00 | 7.482 | 270.267 | 8.972 | 264.805 | 9.653 | 270.8 | 9.915 | 266.833 | 25.123 | 889.6 | 27.067 | 40.9478
2019-09-01 04:00:00 | 7.168 | 263.5 | 8.47 | 260.776 | 8.681 | 266.467 | 8.982 | 262.467 | 24.677 | 889.9 | 27.421 | 41.237
2019-09-01 04:15:00 | 6.225 | 244.767 | 7.571 | 243.333 | 7.923 | 250.2 | 7.914 | 246.55 | 24.514 | 889.767 | 27.589 | 54.4564
2019-09-01 04:30:00 | 6.618 | 256.693 | 8.063 | 255.929 | 8.762 | 261.5 | 9.335 | 258.3 | 24.344 | 889.467 | 28.168 | 38.5447
2019-09-01 04:45:00 | 5.311 | 270.7 | 6.751 | 265.586 | 7.411 | 273.567 | 7.932 | 267.5 | 24.485 | 889.45 | 28.016 | 22.8348
2019-09-01 05:00:00 | 4.576 | 284.853 | 6.023 | 278.33 | 7.17 | 282.367 | 7.957 | 278.7 | 24.702 | 889.933 | 27.443 | 29.4068
2019-09-01 05:15:00 | 6.182 | 260.46 | 7.766 | 258.499 | 8.408 | 265.233 | 8.694 | 260.9 | 24.36 | 889.767 | 27.117 | 45.7868
2019-09-01 05:30:00 | 7.192 | 254.233 | 8.695 | 251.359 | 9.606 | 255.883 | 10.026 | 251.75 | 24.852 | 889.633 | 27.032 | 46.0099
2019-09-01 05:45:00 | 8.335 | 254.893 | 10.197 | 252.969 | 11.502 | 256.167 | 11.98 | 252.867 | 24.977 | 889.383 | 28.645 | 47.3905
2019-09-01 06:00:00 | 10.56 | 265.533 | 12.288 | 260.719 | 12.988 | 266.167 | 13.656 | 260.767 | 24.627 | 889.35 | 28.995 | 47.3273
2019-09-01 06:15:00 | 8.933 | 267.94 | 10.703 | 263.64 | 11.708 | 269.867 | 12.155 | 264.633 | 25.014 | 889.567 | 28.419 | 47.792
2019-09-01 06:30:00 | 9.148 | 267.24 | 10.652 | 262.198 | 11.3 | 267.433 | 11.638 | 261.7 | 24.618 | 889.617 | 28.243 | 49.7787
2019-09-01 06:45:00 | 8.298 | 267.447 | 9.722 | 261.198 | 10.889 | 267.733 | 11.55 | 264.033 | 24.631 | 889.933 | 28.408 | 52.4022
2019-09-01 07:00:00 | 9.032 | 267.793 | 10.549 | 263.051 | 11.112 | 268.5 | 11.694 | 263.467 | 24.664 | 889.6 | 27.603 | 54.6447
2019-09-01 07:15:00 | 8.278 | 271.88 | 9.878 | 266.815 | 10.718 | 272.767 | 11.394 | 267.1 | 24.781 | 889.333 | 26.875 | 54.6888
2019-09-01 07:30:00 | 8.598 | 275.867 | 9.812 | 269.437 | 10.188 | 274.567 | 10.74 | 269.2 | 25.173 | 889.8 | 26.544 | 53.6719
2019-09-01 07:45:00 | 10.677 | 276.04 | 12.137 | 269.785 | 12.829 | 274.9 | 13.176 | 270.6 | 24.552 | 889.583 | 27.011 | 52.2529
2019-09-01 08:00:00 | 10.458 | 275.653 | 12.059 | 270.047 | 13.166 | 276 | 13.608 | 269.533 | 24.789 | 889.983 | 27.272 | 51.6149
2019-09-01 08:15:00 | 9.123 | 271.84 | 10.48 | 265.383 | 10.836 | 270.067 | 11.3 | 264.717 | 24.36 | 889.833 | 28.133 | 51.5239
2019-09-01 08:30:00 | 9.503 | 248.347 | 10.466 | 247.74 | 11.261 | 254.817 | 11.454 | 250.417 | 23.985 | 889.883 | 29.496 | 54.693
2019-09-01 08:45:00 | 9.216 | 269.587 | 10.667 | 262.242 | 11.454 | 267.167 | 11.624 | 262.517 | 24.173 | 889.883 | 29.48 | 58.9252
2019-09-01 09:00:00 | 11.306 | 279.653 | 13.608 | 274.36 | 14.148 | 276.867 | 14.8 | 273.167 | 24.214 | 889.75 | 29.715 | 55.4178
2019-09-01 09:15:00 | 10.503 | 268.847 | 11.913 | 264.262 | 12.671 | 270.6 | 12.971 | 264.9 | 24.414 | 889.933 | 30.203 | 52.0341
2019-09-01 09:30:00 | 8.245 | 241.34 | 9.122 | 238.999 | 9.393 | 246.567 | 9.508 | 239.567 | 23.968 | 889.867 | 30.397 | 45.0783
2019-09-01 09:45:00 | 8.344 | 256.453 | 9.183 | 253.526 | 9.439 | 257.533 | 9.402 | 252.417 | 23.873 | 889.667 | 30.312 | 44.8936
2019-09-01 10:00:00 | 9.715 | 274.253 | 10.718 | 269.961 | 10.821 | 272.933 | 11.044 | 268.5 | 24.027 | 889.683 | 31.173 | 40.0816
2019-09-01 10:15:00 | 9.166 | 270.067 | 9.865 | 264.68 | 9.936 | 271.7 | 9.954 | 269.4 | 24.202 | 889.367 | 30.835 | 37.3488
2019-09-01 10:30:00 | 8.378 | 273.673 | 9.289 | 267.65 | 9.599 | 271.867 | 9.757 | 266.55 | 24.589 | 889.717 | 30.317 | 35.4054
2019-09-01 10:45:00 | 8.24 | 272.6 | 9.383 | 269.361 | 9.598 | 273.967 | 9.666 | 270.6 | 25.26 | 889.567 | 28.88 | 36.0598
2019-09-01 11:00:00 | 8.348 | 294 | 8.817 | 287.53 | 8.895 | 292.467 | 9.399 | 291.467 | 25.835 | 889.617 | 28.149 | 36.1266
2019-09-01 11:15:00 | 8.179 | 295.253 | 8.481 | 289.183 | 8.79 | 293.6 | 9.153 | 289.9 | 25.481 | 889.383 | 28.501 | 33.2801
2019-09-01 11:30:00 | 7.395 | 283.48 | 7.828 | 280.094 | 8.048 | 283 | 8.378 | 280.533 | 25.506 | 889.767 | 29.765 | 18.0456
2019-09-01 11:45:00 | 6.15 | 284.707 | 6.447 | 279.55 | 6.342 | 285.567 | 6.434 | 282.467 | 25.789 | 890.033 | 29.373 | 12.6282
2019-09-01 12:00:00 | 5.397 | 295.467 | 5.806 | 288.771 | 6.127 | 290.3 | 6.147 | 284.733 | 25.835 | 889.35 | 28.64 | 9.1933
2019-09-01 12:15:00 | 5.369 | 289.96 | 5.632 | 284.22 | 5.642 | 289.667 | 5.903 | 287.3 | 26.556 | 890.15 | 27.056 | 11.1985
2019-09-01 12:30:00 | 4.502 | 285.28 | 4.816 | 278.728 | 5.206 | 284.2 | 5.274 | 284.6 | 26.252 | 889.317 | 26.192 | 16.154
2019-09-01 12:45:00 | 5.544 | 320.04 | 5.927 | 315.483 | 6.191 | 321.733 | 6.357 | 320.233 | 26.298 | 889.583 | 25.965 | 14.9567
2019-09-01 13:00:00 | 4.99 | 322.987 | 5.088 | 314.99 | 5.348 | 319.7 | 5.526 | 317.3 | 26.689 | 889.733 | 26.395 | 11.8658
2019-09-01 13:15:00 | 5.161 | 303.653 | 5.58 | 334.524 | 5.717 | 338.7 | 5.991 | 336.633 | 26.96 | 889.917 | 24.659 | 9.4605
2019-09-01 13:30:00 | 4.692 | 238.227 | 5.143 | 327.367 | 5.445 | 297 | 5.487 | 321.733 | 27.381 | 889.667 | 21.859 | 8.934
2019-09-01 13:45:00 | 5.215 | 306.48 | 5.408 | 337.098 | 5.265 | 343 | 5.624 | 319.3 | 28.139 | 889.267 | 19.443 | 13.6628
2019-09-01 14:00:00 | 5.636 | 293.193 | 6.196 | 317.006 | 6.249 | 274.3 | 6.554 | 299.9 | 27.802 | 889.667 | 20.175 | 18.3724
2019-09-01 14:15:00 | 5.374 | 280.987 | 5.573 | 327.106 | 5.491 | 282.334 | 5.916 | 282.867 | 27.589 | 889.55 | 24.312 | 17.286
2019-09-01 14:30:00 | 5.225 | 297.653 | 5.837 | 325.522 | 5.95 | 332.633 | 6.218 | 275.2 | 27.327 | 889.833 | 24.429 | 15.1997
2019-09-01 14:45:00 | 5.598 | 322.307 | 5.785 | 315.874 | 5.986 | 321.033 | 6.251 | 322.267 | 26.948 | 889.767 | 25.563 | 13.4567
2019-09-01 15:00:00 | 3.856 | 197.387 | 4.21 | 264.15 | 4.604 | 277.3 | 5.201 | 286.133 | 27.377 | 889.75 | 25.128 | 12.3958
2019-09-01 15:15:00 | 4.807 | 261.14 | 5.458 | 313.195 | 5.963 | 292.2 | 6.234 | 278.567 | 27.902 | 889.867 | 23.672 | 12.9387
2019-09-01 15:30:00 | 4.517 | 128.675 | 4.755 | 170.198 | 5.023 | 208.767 | 5.112 | 171.633 | 28.223 | 889.8 | 22.347 | 9.2331
2019-09-01 15:45:00 | 4.41 | 88.801 | 4.7 | 191.802 | 4.972 | 121.267 | 5.027 | 120.433 | 28.118 | 889.617 | 21.605 | 8.4543
2019-09-01 16:00:00 | 4.296 | 124.689 | 4.473 | 151.33 | 4.697 | 140.334 | 4.803 | 103.5 | 28.206 | 889.483 | 20.763 | 9.3226
2019-09-01 16:15:00 | 5.84 | 36.874 | 5.638 | 31.312 | 5.418 | 32.533 | 5.679 | 27.767 | 28.777 | 889.35 | 20.051 | 6.7099
2019-09-01 16:30:00 | 2.545 | 21.18 | 2.563 | 81.343 | 3.006 | 14.033 | 3.327 | 14.333 | 28.939 | 889.433 | 19.811 | 11.1417
2019-09-01 16:45:00 | 6.236 | 52.063 | 5.759 | 45.048 | 5.596 | 50.333 | 5.903 | 45.9 | 29.548 | 889.667 | 16.784 | 8.7172
2019-09-01 17:00:00 | 4.897 | 130.833 | 5.173 | 131.122 | 5.15 | 25.334 | 5.13 | 83.8 | 29.264 | 889.533 | 19.144 | 9.0555
2019-09-01 17:15:00 | 3.657 | 40.612 | 3.671 | 40.175 | 3.895 | 46.367 | 4.183 | 44.1 | 29.264 | 889.833 | 17.616 | 7.041
2019-09-01 17:30:00 | 3.375 | 17.785 | 3.47 | 20.756 | 3.582 | 25.4 | 3.735 | 21.7 | 29.264 | 889.7 | 18.336 | 5.6405
2019-09-01 17:45:00 | 5.066 | 33.042 | 5.413 | 27.751 | 5.655 | 34.7 | 5.751 | 32.433 | 29.081 | 889.467 | 18.267 | 5.7499
2019-09-01 18:00:00 | 4.545 | 46.907 | 5.106 | 37.12 | 5.701 | 26.133 | 5.962 | 20.9 | 29.548 | 888.933 | 18.715 | 7.1519
2019-09-01 18:15:00 | 4.227 | 115.554 | 4.433 | 61.194 | 4.403 | 7.805 | 4.747 | 7.267 | 29.014 | 889.333 | 19.407 | 6.3162
2019-09-01 18:30:00 | 3.592 | 81.957 | 3.953 | 80.373 | 4.126 | 47.167 | 3.894 | 71.2 | 29.381 | 889.567 | 20.375 | 5.4806
2019-09-01 18:45:00 | 4.662 | 17.667 | 5.172 | 13.332 | 5.348 | 17.167 | 5.341 | 15.4 | 28.898 | 890.017 | 21.152 | 3.4072
2019-09-01 19:00:00 | 3.656 | 50.2 | 4.09 | 90.286 | 3.909 | 4.167 | 3.915 | 5.7 | 29.114 | 889.85 | 20.867 | 5.0102
2019-09-01 19:15:00 | 3.849 | 33.8 | 4.168 | 22.679 | 4.294 | 26.167 | 4.338 | 21.467 | 29.214 | 889.6 | 21.552 | 9.9216
2019-09-01 19:30:00 | 4.536 | 268.693 | 5.242 | 348.819 | 5.379 | 329.867 | 5.536 | 329.267 | 28.323 | 889.5 | 23.459 | 10.397
2019-09-01 19:45:00 | 4.741 | 349.24 | 5.31 | 343.885 | 5.415 | 348.033 | 5.561 | 347.467 | 28.531 | 889.95 | 23.76 | 11.5595
2019-09-01 20:00:00 | 5.246 | 336.053 | 5.693 | 343.785 | 5.709 | 336.1 | 5.747 | 346.967 | 28.118 | 889.8 | 24.128 | 14.6306
2019-09-01 20:15:00 | 5.299 | 341.973 | 5.769 | 337.086 | 5.726 | 343.4 | 6.093 | 343.467 | 27.818 | 889.517 | 24.76 | 12.2942
2019-09-01 20:30:00 | 4.135 | 308.395 | 5.367 | 347.956 | 5.437 | 352.2 | 5.491 | 351.733 | 27.702 | 889.783 | 25.264 | 11.7464
2019-09-01 20:45:00 | 4.557 | 334.973 | 5.633 | 330.505 | 5.862 | 334.767 | 6.062 | 332.833 | 27.456 | 889.567 | 25.485 | 12.695
2019-09-01 21:00:00 | 3.848 | 346.413 | 4.974 | 339.205 | 5.272 | 343.133 | 5.612 | 342.067 | 27.073 | 889.383 | 25.528 | 11.7364
2019-09-01 21:15:00 | 3.413 | 350.453 | 4.548 | 345.879 | 4.965 | 350.6 | 5.439 | 349.967 | 27.185 | 889.6 | 25.555 | 8.9212
2019-09-01 21:30:00 | 2.994 | 326.4 | 4.109 | 326.09 | 4.617 | 335.033 | 5.014 | 337.533 | 26.823 | 889.783 | 26.088 | 12.3624
2019-09-01 21:45:00 | 4.621 | 16.2 | 4.979 | 53.676 | 5.24 | 8.6 | 5.4 | 6.1 | 26.681 | 889.65 | 25.851 | 13.888
2019-09-01 22:00:00 | 2.866 | 46.126 | 4.205 | 7.432 | 5.013 | 12.302 | 5.126 | 9.2 | 26.277 | 889.767 | 26.251 | 0.59901
2019-09-01 22:15:00 | 1.863 | 279.2 | 1.802 | 318.666 | 2.362 | 326.567 | 3.009 | 336.667 | 26.306 | 889.817 | 26.571 | 1.4375
2019-09-01 22:30:00 | 2.764 | 317 | 3.405 | 314.466 | 3.591 | 320.8 | 3.825 | 324.967 | 26.377 | 889.583 | 26.571 | 2.3776
2019-09-01 22:45:00 | 2.246 | 314.52 | 3.478 | 319.075 | 3.866 | 329.267 | 4.098 | 331.333 | 26.039 | 889.933 | 26.805 | 2.3413
2019-09-01 23:00:00 | 2.902 | 318.28 | 3.839 | 319.399 | 4.143 | 326.467 | 4.385 | 327.5 | 25.71 | 889.65 | 26.776 | 1.9953
2019-09-01 23:15:00 | 2.804 | 305.093 | 3.319 | 313.799 | 3.576 | 323.3 | 3.963 | 327.1 | 25.523 | 889.75 | 26.749 | 1.5178
2019-09-01 23:30:00 | 2.709 | 296.067 | 3.236 | 302.247 | 3.415 | 312.667 | 3.85 | 314.4 | 25.781 | 889.517 | 26.653 | 0.71341
2019-09-01 23:45:00 | 2.903 | 289.787 | 3.432 | 300.82 | 3.784 | 309.533 | 4.158 | 311.033 | 25.46 | 889.483 | 26.949 | 0.095216