## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-02 00:00:00 | 2.146 | 269.4 | 2.98 | 289.354 | 2.887 | 299.533 | 3.289 | 303.2 | 24.835 | 889.55 | 27.149 | 0.094505
2019-09-02 00:15:00 | 2.184 | 222.373 | 2.935 | 274.09 | 2.735 | 273.067 | 2.965 | 277.1 | 24.339 | 889.533 | 28.171 | 0.23378
2019-09-02 00:30:00 | 3.152 | 233.907 | 2.601 | 264.974 | 2.353 | 279.867 | 2.817 | 284.667 | 24.189 | 889.5 | 28.968 | 0.1414
2019-09-02 00:45:00 | 2.973 | 234.473 | 2.815 | 272.283 | 2.726 | 292.067 | 2.967 | 302.467 | 23.298 | 889.633 | 30.136 | 0.26504
2019-09-02 01:00:00 | 3.053 | 232.953 | 2.441 | 265.262 | 1.782 | 281.933 | 2.135 | 288.033 | 23.231 | 889.8 | 30.627 | 0.22951
2019-09-02 01:15:00 | 3.855 | 228.58 | 2.66 | 259.028 | 1.887 | 276 | 2.109 | 274.5 | 22.998 | 889.867 | 31.083 | 0.25865
2019-09-02 01:30:00 | 4.111 | 229.893 | 3.29 | 254.371 | 2.036 | 264.2 | 1.992 | 274.333 | 23.014 | 889.95 | 31.371 | 0.16698
2019-09-02 01:45:00 | 3.645 | 235.933 | 2.102 | 255.062 | 1.509 | 268 | 1.991 | 274.633 | 22.798 | 889.517 | 31.259 | 0.18333
2019-09-02 02:00:00 | 3.715 | 223.727 | 2.69 | 254.435 | 1.602 | 266.467 | 1.617 | 274.067 | 22.781 | 890.1 | 31.44 | 0.17054
2019-09-02 02:15:00 | 3.488 | 226.26 | 2.582 | 249.522 | 1.885 | 247.9 | 1.835 | 250 | 22.714 | 889.95 | 31.749 | 0.17196
2019-09-02 02:30:00 | 3.389 | 230.72 | 2.604 | 244.546 | 2.208 | 247.8 | 2.219 | 250.133 | 22.814 | 889.733 | 31.685 | 0.13288
2019-09-02 02:45:00 | 3.783 | 230.967 | 3.296 | 244.436 | 2.889 | 252.4 | 2.714 | 253.467 | 22.631 | 890 | 31.856 | 0.73757
2019-09-02 03:00:00 | 4.14 | 226.3 | 3.824 | 245.057 | 3.212 | 254 | 3.118 | 252 | 22.127 | 889.8 | 32.176 | 0.11156
2019-09-02 03:15:00 | 3.363 | 220.46 | 2.623 | 244.522 | 2.192 | 250.067 | 2.412 | 251 | 22.11 | 890 | 32.496 | 0.1279
2019-09-02 03:30:00 | 3.611 | 221.727 | 2.797 | 244.557 | 2.249 | 252 | 2.387 | 251 | 22.381 | 890.233 | 32.576 | 0.17977
2019-09-02 03:45:00 | 3.757 | 221.353 | 2.997 | 244.355 | 2.4 | 251.933 | 2.588 | 252 | 22.131 | 889.717 | 32.987 | 0.27783
2019-09-02 04:00:00 | 3.432 | 227.52 | 3.199 | 244.554 | 2.308 | 253.667 | 2.298 | 252 | 22.131 | 889.667 | 33.237 | 0.12293
2019-09-02 04:15:00 | 4.023 | 229.607 | 3.043 | 250.405 | 2.389 | 260.067 | 2.458 | 273.767 | 21.51 | 890.233 | 33.557 | 0.18404
2019-09-02 04:30:00 | 4.369 | 231.373 | 3.79 | 245.359 | 2.992 | 255.833 | 2.978 | 260.967 | 21.698 | 890 | 33.851 | 0.27286
2019-09-02 04:45:00 | 3.917 | 231.467 | 2.688 | 254.419 | 2.076 | 274.133 | 2.561 | 285.867 | 21.448 | 889.567 | 34.021 | 0.28991
2019-09-02 05:00:00 | 3.8 | 224.08 | 2.933 | 251.369 | 1.771 | 270.067 | 2.19 | 283.833 | 21.439 | 889.783 | 34.373 | 0.24301
2019-09-02 05:15:00 | 4.25 | 226.953 | 2.801 | 249.073 | 1.748 | 273 | 2.166 | 284.067 | 21.16 | 889.85 | 34.928 | 0.18191
2019-09-02 05:30:00 | 4.497 | 224.447 | 2.999 | 244.54 | 2.087 | 258.667 | 2.219 | 283.067 | 21.01 | 889.9 | 35.243 | 0.17338
2019-09-02 05:45:00 | 5.245 | 222.96 | 3.189 | 243.822 | 2.161 | 255.7 | 2.17 | 275.733 | 20.648 | 889.85 | 35.685 | 0.19398
2019-09-02 06:00:00 | 4.679 | 222.727 | 2.757 | 244.433 | 1.887 | 258.133 | 2.122 | 275 | 20.002 | 889.7 | 36.331 | 0.17338
2019-09-02 06:15:00 | 4.381 | 225.92 | 2.993 | 244.345 | 1.89 | 260.2 | 2.24 | 275 | 19.914 | 889.617 | 36.88 | 0.17196
2019-09-02 06:30:00 | 4.754 | 222.667 | 2.93 | 245.533 | 1.931 | 266.1 | 2.165 | 286.4 | 19.352 | 889.55 | 37.829 | 0.31833
2019-09-02 06:45:00 | 5.099 | 226 | 3.958 | 238.303 | 3.15 | 260.833 | 3.147 | 268.333 | 18.639 | 889.633 | 38.677 | 0.35741
2019-09-02 07:00:00 | 4.223 | 241.167 | 3.942 | 253.16 | 3.279 | 271 | 3.272 | 277.167 | 18.739 | 889.983 | 38.925 | 0.86618
2019-09-02 07:15:00 | 4.615 | 230.767 | 5.482 | 242.128 | 4.4 | 256.667 | 3.656 | 253.583 | 17.894 | 889.317 | 40.299 | 3.4057
2019-09-02 07:30:00 | 4.906 | 235.1 | 5.977 | 245.659 | 4.954 | 254.9 | 4.307 | 253.917 | 17.977 | 889.6 | 40.405 | 5.902
2019-09-02 07:45:00 | 4.536 | 240.5 | 5.512 | 247.935 | 4.597 | 256.533 | 4.166 | 256.967 | 18.048 | 889.767 | 40.229 | 6.1563
2019-09-02 08:00:00 | 5.016 | 241.567 | 4.959 | 248.131 | 4.502 | 258.867 | 4.083 | 264.933 | 18.706 | 889.717 | 39.419 | 5.8927
2019-09-02 08:15:00 | 4.688 | 240.16 | 5.358 | 251.053 | 4.416 | 264.2 | 4.316 | 266.133 | 19.689 | 889.6 | 37.643 | 6.0306
2019-09-02 08:30:00 | 4.673 | 241.827 | 5.881 | 247.639 | 5.403 | 260.533 | 5.207 | 264.433 | 20.477 | 889.917 | 36.485 | 3.4811
2019-09-02 08:45:00 | 3.513 | 234.827 | 4.028 | 239.432 | 4.052 | 256.6 | 4.159 | 262 | 20.698 | 889.7 | 37.163 | 2.0344
2019-09-02 09:00:00 | 2.584 | 250.273 | 2.717 | 247.874 | 2.859 | 258.933 | 3.222 | 269.167 | 20.931 | 890 | 37.776 | 1.8596
2019-09-02 09:15:00 | 2.517 | 258.46 | 2.206 | 253.843 | 2.267 | 259.417 | 2.72 | 258.167 | 23.681 | 889.783 | 33.496 | 4.4545
2019-09-02 09:30:00 | 3.878 | 274.387 | 4.01 | 274.356 | 4.068 | 277.067 | 4.22 | 276.567 | 23.639 | 889.517 | 33.288 | 7.1966
2019-09-02 09:45:00 | 5.09 | 287.867 | 5.142 | 280.428 | 5.447 | 285.7 | 5.586 | 284.733 | 24.139 | 889.617 | 33.155 | 13.1362
2019-09-02 10:00:00 | 5.345 | 297.36 | 5.676 | 293.551 | 5.759 | 298.767 | 5.938 | 295.9 | 24.185 | 890.267 | 32.765 | 12.0306
2019-09-02 10:15:00 | 5.618 | 287.76 | 5.736 | 284.809 | 5.781 | 289.1 | 5.958 | 287.467 | 24.135 | 889.75 | 33.085 | 10.0453
2019-09-02 10:30:00 | 4.915 | 301.853 | 5.374 | 295.524 | 5.454 | 299.8 | 5.647 | 296.067 | 24.244 | 889.583 | 32.237 | 9.0562
2019-09-02 10:45:00 | 5.105 | 325.333 | 5.509 | 313.592 | 5.356 | 317.1 | 5.371 | 312.967 | 25.056 | 889.567 | 30.872 | 8.4998
2019-09-02 11:00:00 | 4.78 | 321.587 | 5.058 | 315.608 | 5.41 | 318.733 | 5.611 | 317.133 | 25.668 | 889.517 | 29.248 | 7.5874
2019-09-02 11:15:00 | 4.853 | 312.933 | 5.111 | 309.558 | 5.267 | 318.767 | 5.563 | 323.3 | 25.985 | 889.517 | 28.813 | 7.7146
2019-09-02 11:30:00 | 4.377 | 319.267 | 4.878 | 313.692 | 5.261 | 318.233 | 5.643 | 316.433 | 26.002 | 889.617 | 28.608 | 7.4411
2019-09-02 11:45:00 | 3.817 | 314.02 | 3.883 | 297.373 | 4.412 | 293.35 | 4.692 | 291.5 | 26.16 | 890.067 | 27.747 | 10.0694
2019-09-02 12:00:00 | 5.029 | 324.813 | 5.367 | 316.802 | 5.46 | 323.333 | 5.695 | 319.967 | 26.152 | 889.983 | 27.533 | 11.2696
2019-09-02 12:15:00 | 4.878 | 314.013 | 5.238 | 310.513 | 5.275 | 315.267 | 5.229 | 316.5 | 26.61 | 889.2 | 27.928 | 12.8328
2019-09-02 12:30:00 | 4.328 | 306.947 | 4.589 | 300.805 | 4.788 | 303.433 | 4.967 | 306.233 | 26.956 | 889.4 | 27.072 | 11.8771
2019-09-02 12:45:00 | 5.807 | 306.587 | 5.961 | 305.49 | 6.021 | 309.967 | 6.082 | 309.1 | 27.181 | 889.65 | 25.843 | 10.5782
2019-09-02 13:00:00 | 4.524 | 307.187 | 5.054 | 311.631 | 4.981 | 303.333 | 5.308 | 308.867 | 27.777 | 889.833 | 25.035 | 18.1607
2019-09-02 13:15:00 | 5.789 | 321.32 | 6.101 | 316.565 | 6.31 | 319.733 | 6.608 | 319.733 | 28.035 | 889.55 | 24.469 | 22.7019
2019-09-02 13:30:00 | 6.245 | 322.587 | 6.601 | 332.373 | 6.782 | 313.4 | 6.925 | 334.433 | 27.998 | 889.817 | 24.851 | 16.0723
2019-09-02 13:45:00 | 5.338 | 317 | 5.878 | 312.727 | 6.202 | 320.7 | 6.481 | 306.533 | 27.91 | 889.667 | 24.707 | 10.5775
2019-09-02 14:00:00 | 4.392 | 288.627 | 4.779 | 306.432 | 4.892 | 323.233 | 5.416 | 330.233 | 28.044 | 890.067 | 24.355 | 16.5562
2019-09-02 14:15:00 | 6.689 | 332.72 | 7.214 | 325.352 | 7.525 | 330.533 | 7.842 | 328.8 | 28.777 | 889.5 | 23.725 | 17.5162
2019-09-02 14:30:00 | 6.201 | 311.64 | 6.573 | 311.674 | 6.761 | 312.833 | 7.154 | 311.467 | 29.114 | 889.883 | 22.347 | 17.5631
2019-09-02 14:45:00 | 5.579 | 329.693 | 6.153 | 327.376 | 6.184 | 332.133 | 6.708 | 329.333 | 29.148 | 889.833 | 22.416 | 14.0493
2019-09-02 15:00:00 | 5.289 | 317.693 | 5.925 | 310.246 | 5.974 | 317.433 | 6.215 | 314.567 | 29.431 | 889.7 | 22.024 | 11.9212
2019-09-02 15:15:00 | 6.379 | 285.293 | 6.447 | 280.989 | 6.604 | 285.667 | 6.737 | 282.2 | 29.614 | 889.983 | 21.323 | 19.4269
2019-09-02 15:30:00 | 6.074 | 301.68 | 6.733 | 293.227 | 7.101 | 293.433 | 7.462 | 302.017 | 29.548 | 890.033 | 21.149 | 18.9245
2019-09-02 15:45:00 | 4.377 | 285.187 | 4.75 | 286.711 | 5.143 | 294.5 | 5.682 | 293.217 | 29.281 | 890.4 | 21.243 | 18.8584
2019-09-02 16:00:00 | 6.998 | 290.24 | 7.028 | 286.468 | 7.038 | 292.333 | 7.2 | 293.4 | 30.218 | 889.9 | 20.949 | 20.9617
2019-09-02 16:15:00 | 6.627 | 336.267 | 7.155 | 327.498 | 7.389 | 320.467 | 7.761 | 327.033 | 29.848 | 890.033 | 21.4 | 26.9738
2019-09-02 16:30:00 | 8.06 | 324.547 | 8.566 | 318.734 | 8.958 | 324.167 | 9.412 | 322.5 | 29.998 | 890 | 21.301 | 21.8727
2019-09-02 16:45:00 | 6.28 | 322.133 | 6.952 | 316.705 | 7.333 | 320 | 7.454 | 316.933 | 29.885 | 889.65 | 21.763 | 23.8836
2019-09-02 17:00:00 | 8.218 | 315 | 8.552 | 307.024 | 8.754 | 311.7 | 8.963 | 310.567 | 29.998 | 889.55 | 22.317 | 25.429
2019-09-02 17:15:00 | 7.004 | 309.92 | 7.59 | 303.899 | 7.569 | 309.7 | 8.011 | 308.4 | 29.931 | 889.817 | 22.661 | 36.6027
2019-09-02 17:30:00 | 7.496 | 299.333 | 8.023 | 297.902 | 8.284 | 304.133 | 8.78 | 300.967 | 29.581 | 889.3 | 23.091 | 36.5189
2019-09-02 17:45:00 | 6.681 | 306.787 | 7.542 | 300.108 | 8.15 | 303.5 | 8.811 | 300.3 | 29.548 | 889.9 | 23.224 | 41.2086
2019-09-02 18:00:00 | 7.873 | 318.667 | 8.184 | 313.059 | 8.27 | 317.3 | 8.419 | 316 | 29.581 | 889.85 | 22.984 | 43.8747
2019-09-02 18:15:00 | 8.265 | 309.533 | 8.599 | 305.083 | 8.976 | 309.733 | 9.242 | 304.967 | 29.381 | 890.383 | 23.784 | 33.9082
2019-09-02 18:30:00 | 7.118 | 303.627 | 7.917 | 293.662 | 8.316 | 302.267 | 8.761 | 298.433 | 29.514 | 889.7 | 24.093 | 45.5324
2019-09-02 18:45:00 | 7.524 | 312.333 | 8.206 | 306.665 | 8.28 | 310.233 | 8.815 | 307.7 | 28.964 | 889.733 | 24.424 | 37.7808
2019-09-02 19:00:00 | 7.695 | 302.333 | 8.199 | 297.84 | 8.437 | 305.1 | 8.82 | 300.867 | 29.231 | 889.917 | 24.509 | 36.0058
2019-09-02 19:15:00 | 6.132 | 301.6 | 6.677 | 294.69 | 6.811 | 299.9 | 7.1 | 298.933 | 28.931 | 889.6 | 24.653 | 39.1188
2019-09-02 19:30:00 | 6.865 | 291.227 | 7.741 | 287.906 | 7.868 | 292.4 | 8.108 | 289.967 | 28.685 | 889.7 | 25.187 | 44.3614
2019-09-02 19:45:00 | 8.504 | 286.347 | 9.243 | 281.704 | 9.35 | 286.067 | 9.714 | 285.733 | 28.252 | 889.767 | 25.803 | 42.3832
2019-09-02 20:00:00 | 8.432 | 287.693 | 9.18 | 283.678 | 9.488 | 288.233 | 9.886 | 284.7 | 27.977 | 889.917 | 26.352 | 42.8067
2019-09-02 20:15:00 | 8.257 | 290.173 | 9.153 | 287.538 | 9.336 | 292.767 | 9.942 | 286.267 | 27.627 | 889.3 | 27.131 | 42.0989
2019-09-02 20:30:00 | 9.512 | 286.987 | 10.84 | 280.351 | 11.159 | 284.433 | 12.013 | 282.067 | 27.014 | 889.667 | 27.659 | 39.666
2019-09-02 20:45:00 | 9.538 | 283.947 | 10.912 | 280.159 | 11.259 | 282.7 | 11.484 | 279.9 | 26.714 | 889.817 | 27.949 | 38.8971
2019-09-02 21:00:00 | 7.784 | 280.627 | 9.006 | 273.824 | 9.422 | 277.1 | 9.936 | 272.9 | 26.164 | 889.9 | 28.203 | 39.1636
2019-09-02 21:15:00 | 8.514 | 277.133 | 9.954 | 273.202 | 10.159 | 278.533 | 10.623 | 274.6 | 26.46 | 889.783 | 28.405 | 39.2531
2019-09-02 21:30:00 | 9.402 | 273.013 | 10.71 | 266.892 | 11.082 | 273.767 | 11.472 | 269.933 | 26.306 | 889.9 | 28.176 | 39.062
2019-09-02 21:45:00 | 8.263 | 275.933 | 9.368 | 270.055 | 9.928 | 274.667 | 10.241 | 270.967 | 25.631 | 889.433 | 28.269 | 39.1792
2019-09-02 22:00:00 | 8.071 | 270.513 | 9.411 | 266.83 | 10.09 | 271.9 | 10.768 | 266.4 | 25.477 | 889.8 | 28.44 | 39.1771
2019-09-02 22:15:00 | 8.309 | 278.4 | 9.721 | 271.916 | 10.349 | 276.167 | 10.7 | 272.333 | 25.389 | 889.883 | 28.533 | 38.9852
2019-09-02 22:30:00 | 7.615 | 279.32 | 8.977 | 274.816 | 9.254 | 278.3 | 9.855 | 273.967 | 24.939 | 889.533 | 28.859 | 39.5125
2019-09-02 22:45:00 | 10.52 | 275.12 | 12.144 | 270.104 | 12.698 | 274.633 | 13.395 | 269.433 | 24.098 | 889.633 | 32.635 | 38.9184
2019-09-02 23:00:00 | 10.81 | 268.96 | 12.481 | 264.456 | 13.437 | 268.567 | 14.054 | 263.633 | 23.464 | 889.783 | 35.117 | 38.7003
2019-09-02 23:15:00 | 11.627 | 266.393 | 13.108 | 265.005 | 13.735 | 269.933 | 14.412 | 263.6 | 22.981 | 889.65 | 36.128 | 39.2524
2019-09-02 23:30:00 | 11.878 | 265.2 | 13.317 | 262.616 | 13.887 | 267.233 | 14.341 | 262.367 | 22.764 | 889.467 | 37.043 | 40.8512
2019-09-02 23:45:00 | 12.384 | 259.167 | 13.681 | 258.448 | 14.425 | 262.767 | 14.865 | 258.533 | 22.464 | 889.967 | 37.976 | 42.2716