## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-03 00:00:00 | 11.928 | 260.767 | 13.431 | 259.29 | 14.015 | 265.233 | 14.63 | 259.433 | 22.16 | 889.683 | 38.664 | 43.174
2019-09-03 00:15:00 | 11.26 | 264.353 | 12.73 | 261.469 | 13.262 | 265.85 | 13.673 | 261.867 | 21.794 | 889.95 | 39 | 46.8143
2019-09-03 00:30:00 | 10.761 | 262.793 | 12.612 | 257.977 | 13.217 | 264.967 | 13.83 | 259.8 | 22.048 | 889.933 | 39.315 | 48.1324
2019-09-03 00:45:00 | 9.194 | 257.38 | 10.955 | 254.56 | 11.459 | 259.017 | 12.119 | 256.5 | 22.098 | 889.95 | 39.573 | 49.1016
2019-09-03 01:00:00 | 9.262 | 261.367 | 10.67 | 259.469 | 11.362 | 263.483 | 11.99 | 259.117 | 21.714 | 889.45 | 39.691 | 48.8017
2019-09-03 01:15:00 | 10.155 | 259.413 | 11.574 | 256.549 | 12.555 | 263.417 | 12.752 | 260.35 | 21.694 | 889.75 | 39.824 | 46.383
2019-09-03 01:30:00 | 9.243 | 256.173 | 10.687 | 254.977 | 11.367 | 261.55 | 11.763 | 256.067 | 21.235 | 889.683 | 40.517 | 45.6397
2019-09-03 01:45:00 | 9.056 | 251.76 | 10.053 | 250.376 | 10.391 | 257.183 | 10.603 | 252.417 | 21.21 | 889.742 | 41.061 | 44.76
2019-09-03 02:00:00 | 7.887 | 254.047 | 9.077 | 253.588 | 9.591 | 260.133 | 10.13 | 256.9 | 21.064 | 889.85 | 41.264 | 45.2965
2019-09-03 02:15:00 | 7.461 | 256.847 | 8.705 | 254.503 | 9.375 | 259.583 | 10.006 | 256.95 | 20.731 | 890.067 | 41.264 | 46.2494
2019-09-03 02:30:00 | 7.53 | 255.487 | 8.9 | 252.57 | 9.496 | 259.067 | 9.895 | 255.033 | 20.939 | 890.067 | 41.04 | 43.3993
2019-09-03 02:45:00 | 7.817 | 257.36 | 8.88 | 255.995 | 9.739 | 261.717 | 10.301 | 259.3 | 21.01 | 890.1 | 41.248 | 43.0326
2019-09-03 03:00:00 | 8.21 | 252.267 | 9.418 | 251.654 | 10.32 | 257 | 10.533 | 253.683 | 20.752 | 889.758 | 41.056 | 37.8981
2019-09-03 03:15:00 | 7.654 | 250.813 | 9.01 | 249.415 | 9.713 | 256.85 | 10.131 | 252.65 | 21.018 | 889.567 | 41.104 | 35.5816
2019-09-03 03:30:00 | 7.731 | 257.233 | 9.094 | 255.624 | 9.788 | 263.117 | 10.431 | 258.117 | 20.585 | 890.417 | 41.179 | 35.4281
2019-09-03 03:45:00 | 7.214 | 257.167 | 8.785 | 257.033 | 9.652 | 261.833 | 10.339 | 259.033 | 20.602 | 889.842 | 41.195 | 33.8578
2019-09-03 04:00:00 | 8.695 | 261.313 | 10.18 | 259.44 | 10.998 | 265.9 | 11.583 | 263.517 | 20.302 | 889.975 | 40.936 | 33.575
2019-09-03 04:15:00 | 8.608 | 264.733 | 10.236 | 262.514 | 11.039 | 268.033 | 11.95 | 266.367 | 20.281 | 889.783 | 40.592 | 32.1212
2019-09-03 04:30:00 | 8.922 | 262.14 | 10.612 | 261.58 | 11.275 | 266.067 | 11.702 | 262.467 | 20.294 | 890 | 40.365 | 31.9783
2019-09-03 04:45:00 | 8.621 | 260.453 | 10.028 | 259.406 | 10.615 | 264.567 | 10.859 | 260.4 | 20.194 | 889.483 | 40.661 | 32.0856
2019-09-03 05:00:00 | 8.456 | 258.533 | 9.963 | 255.908 | 10.298 | 263.833 | 10.871 | 258.983 | 20.26 | 889.825 | 40.885 | 32.1432
2019-09-03 05:15:00 | 8.086 | 262.367 | 9.66 | 260.877 | 10.608 | 266.55 | 11.215 | 261.367 | 20.194 | 889.925 | 41.76 | 32.7834
2019-09-03 05:30:00 | 8.366 | 265.887 | 9.944 | 263.177 | 10.622 | 267.967 | 11.075 | 263.633 | 19.96 | 889.333 | 42.101 | 33.2453
2019-09-03 05:45:00 | 6.866 | 263.473 | 8.332 | 262.816 | 9.099 | 269.5 | 9.834 | 264.85 | 20.056 | 889.825 | 42.347 | 33.4059
2019-09-03 06:00:00 | 7.904 | 260.193 | 9.145 | 258.566 | 9.822 | 265.467 | 10.314 | 260.417 | 19.823 | 890.042 | 42.939 | 33.1245
2019-09-03 06:15:00 | 7.215 | 250.147 | 8.91 | 249.518 | 9.837 | 255.483 | 10.183 | 249.9 | 19.381 | 889.875 | 43.909 | 33.1543
2019-09-03 06:30:00 | 8.756 | 240.447 | 10.14 | 238.69 | 10.854 | 246.5 | 11.005 | 242.6 | 18.868 | 889.5 | 45.579 | 33.3099
2019-09-03 06:45:00 | 9.146 | 243.667 | 10.629 | 242.094 | 11.386 | 248.933 | 11.478 | 244.9 | 18.164 | 889.65 | 48.363 | 33.3014
2019-09-03 07:00:00 | 8.72 | 245.253 | 10.457 | 244.349 | 11.49 | 250 | 11.716 | 245.267 | 17.814 | 890.125 | 50.037 | 33.1344
2019-09-03 07:15:00 | 8.331 | 245.753 | 10.032 | 244.325 | 10.806 | 251.1 | 11.266 | 247.85 | 18.123 | 889.7 | 50.976 | 34.3921
2019-09-03 07:30:00 | 8.553 | 245.587 | 10.008 | 243.584 | 11.067 | 250 | 11.398 | 244.75 | 17.573 | 889.9 | 51.371 | 35.7593
2019-09-03 07:45:00 | 7.916 | 240.547 | 9.586 | 241.061 | 10.611 | 246.633 | 11.184 | 244 | 17.714 | 889.883 | 51.179 | 35.0956
2019-09-03 08:00:00 | 7.576 | 244.193 | 8.898 | 242.461 | 9.866 | 249.75 | 10.373 | 246.967 | 18.368 | 889.75 | 49.333 | 34.6621
2019-09-03 08:15:00 | 8.304 | 247.053 | 9.517 | 243.35 | 10.051 | 250.4 | 10.402 | 246.767 | 18.898 | 889.858 | 47.456 | 33.7697
2019-09-03 08:30:00 | 7.759 | 248.187 | 8.684 | 248.117 | 9.595 | 254.5 | 9.959 | 251 | 19.56 | 889.508 | 44.896 | 34.665
2019-09-03 08:45:00 | 7.619 | 257.907 | 8.42 | 255.214 | 8.826 | 261.167 | 8.971 | 255.35 | 20.423 | 889.467 | 42.56 | 35.5518
2019-09-03 09:00:00 | 7.734 | 270.94 | 8.081 | 264.691 | 8.677 | 271.5 | 8.752 | 268.6 | 20.694 | 889.417 | 41.387 | 34.8199
2019-09-03 09:15:00 | 8.565 | 280.613 | 8.97 | 274.546 | 9.057 | 276.033 | 9.39 | 274.117 | 20.844 | 890.317 | 41.627 | 31.9506
2019-09-03 09:30:00 | 10.558 | 286.253 | 11.814 | 282.661 | 12.071 | 283.8 | 12.192 | 280.9 | 20.681 | 889.65 | 42.277 | 31.8199
2019-09-03 09:45:00 | 10.816 | 277.12 | 11.71 | 272.444 | 11.8 | 278 | 11.834 | 275.6 | 20.61 | 889.95 | 42.043 | 31.7069
2019-09-03 10:00:00 | 11.512 | 275.16 | 12.277 | 271.856 | 12.356 | 276.4 | 12.148 | 270.267 | 21.098 | 889.917 | 41.56 | 29.804
2019-09-03 10:15:00 | 10.71 | 277.747 | 11.285 | 273.845 | 11.103 | 275.8 | 11.262 | 270.9 | 21.41 | 890 | 41.248 | 29.5773
2019-09-03 10:30:00 | 10.2 | 281.267 | 11.121 | 277.03 | 11.177 | 279.933 | 11.446 | 278.333 | 21.514 | 890.183 | 39.483 | 29.5397
2019-09-03 10:45:00 | 11.382 | 286.653 | 11.923 | 281.267 | 12.015 | 284.3 | 12.394 | 280.133 | 21.502 | 890.3 | 39.093 | 30.0897
2019-09-03 11:00:00 | 11.596 | 283.427 | 12.724 | 280.846 | 12.785 | 284.867 | 13.091 | 282.9 | 21.235 | 889.85 | 39.968 | 29.5447
2019-09-03 11:15:00 | 11.102 | 285.173 | 11.714 | 279.983 | 12.084 | 284.3 | 12.519 | 282.033 | 21.994 | 889.717 | 38.856 | 29.7983
2019-09-03 11:30:00 | 10.986 | 285.88 | 12.078 | 282.794 | 12.309 | 287.1 | 12.941 | 285.8 | 22.273 | 889.533 | 38.816 | 29.7344
2019-09-03 11:45:00 | 11.426 | 298.56 | 12.032 | 294.365 | 12.182 | 299.8 | 12.776 | 296.4 | 21.964 | 889.667 | 39.619 | 29.4587
2019-09-03 12:00:00 | 11.071 | 310.52 | 11.461 | 303.252 | 12.142 | 308.767 | 12.544 | 305.633 | 21.939 | 889.817 | 39.032 | 29.9284
2019-09-03 12:15:00 | 10.874 | 298.96 | 11.794 | 294.794 | 11.918 | 299.267 | 12.319 | 295.033 | 21.864 | 889.642 | 40.645 | 29.6086
2019-09-03 12:30:00 | 11.659 | 300.453 | 12.246 | 295.515 | 12.433 | 300.533 | 13.075 | 298.767 | 21.468 | 889.9 | 40.883 | 29.6818
2019-09-03 12:45:00 | 11.028 | 304.333 | 11.333 | 298.462 | 11.745 | 302.5 | 11.978 | 300.867 | 21.618 | 890.017 | 41.573 | 29.3883
2019-09-03 13:00:00 | 10.447 | 312.453 | 11.093 | 305.72 | 11.349 | 311.033 | 12.102 | 307.367 | 21.585 | 889.558 | 41.264 | 29.4906
2019-09-03 13:15:00 | 10.891 | 313.147 | 11.608 | 308.086 | 11.771 | 311.4 | 12.159 | 309.5 | 21.731 | 889.808 | 41.08 | 29.8559
2019-09-03 13:30:00 | 9.89 | 314.213 | 10.448 | 309.562 | 10.619 | 313.733 | 11.317 | 313.233 | 21.377 | 890.083 | 41.856 | 29.5475
2019-09-03 13:45:00 | 10.427 | 310.24 | 11.01 | 305.158 | 11.272 | 308.9 | 11.976 | 306.367 | 21.385 | 890.158 | 43.152 | 29.7479
2019-09-03 14:00:00 | 11.226 | 303.533 | 11.71 | 299.006 | 12.048 | 304.367 | 12.752 | 301.733 | 21.652 | 889.85 | 44.464 | 29.4864
2019-09-03 14:15:00 | 10.713 | 297.253 | 11.679 | 294.667 | 11.814 | 298.967 | 12.392 | 298 | 21.298 | 890.208 | 45.157 | 29.9951
2019-09-03 14:30:00 | 10.93 | 312.72 | 11.292 | 304.177 | 11.454 | 308.767 | 11.961 | 306.2 | 21.894 | 890.125 | 43.483 | 29.7038
2019-09-03 14:45:00 | 9.478 | 301.853 | 9.765 | 296.324 | 10.153 | 301.933 | 10.619 | 298.333 | 22.231 | 889.967 | 41.899 | 29.7095
2019-09-03 15:00:00 | 8.945 | 290.4 | 9.126 | 289.839 | 9.294 | 294.967 | 9.602 | 292.967 | 22.364 | 890.308 | 42.469 | 29.2157
2019-09-03 15:15:00 | 8.628 | 303.36 | 9.202 | 298.593 | 9.205 | 303 | 9.487 | 302.6 | 22.548 | 889.783 | 41.792 | 29.5084
2019-09-03 15:30:00 | 10.222 | 312.68 | 10.634 | 309.292 | 10.893 | 313.533 | 11.428 | 312.667 | 22.41 | 890.233 | 43.387 | 29.539
2019-09-03 15:45:00 | 9.738 | 306.04 | 9.96 | 300.18 | 10.063 | 305.1 | 10.457 | 304.1 | 21.927 | 890.025 | 42.987 | 30.1095
2019-09-03 16:00:00 | 8.383 | 307.427 | 8.61 | 306.996 | 8.776 | 311 | 9.257 | 309.1 | 21.948 | 889.825 | 43.461 | 30.796
2019-09-03 16:15:00 | 6.733 | 321.067 | 7.173 | 315.125 | 7.624 | 318.433 | 8.045 | 317.433 | 21.498 | 890.183 | 43.301 | 29.917
2019-09-03 16:30:00 | 6.507 | 320.6 | 6.698 | 312.936 | 6.844 | 317.633 | 7.164 | 313.6 | 21.939 | 889.95 | 42.923 | 28.4959
2019-09-03 16:45:00 | 6.23 | 309.347 | 6.601 | 304.226 | 6.644 | 307.833 | 7.108 | 305.133 | 22.394 | 889.633 | 40.197 | 25.633
2019-09-03 17:00:00 | 6.984 | 320.88 | 7.248 | 314.291 | 7.334 | 317.067 | 7.639 | 316.4 | 22.277 | 889.317 | 40.456 | 22.6017
2019-09-03 17:15:00 | 6.363 | 317.24 | 6.691 | 314.171 | 6.677 | 319.1 | 7.135 | 316.6 | 22.164 | 889.558 | 41.221 | 16.4127
2019-09-03 17:30:00 | 5.534 | 323.72 | 5.685 | 317.846 | 5.767 | 320.9 | 6.076 | 321.133 | 22.198 | 889.775 | 41.128 | 15.4193
2019-09-03 17:45:00 | 6.293 | 316.387 | 6.432 | 312.012 | 6.551 | 314.367 | 6.679 | 310.333 | 22.027 | 889.992 | 41.995 | 20.8502
2019-09-03 18:00:00 | 6.216 | 326.413 | 6.612 | 319.572 | 6.736 | 324.133 | 6.954 | 322.167 | 21.831 | 890.033 | 42.661 | 26.9376
2019-09-03 18:15:00 | 7.025 | 320.613 | 7.307 | 314.875 | 7.372 | 318.833 | 7.763 | 316.467 | 21.935 | 889.525 | 44.283 | 32.4978
2019-09-03 18:30:00 | 7.038 | 302.627 | 7.536 | 298.72 | 7.637 | 302.5 | 8.182 | 298.133 | 21.694 | 889.867 | 44.229 | 32.6569
2019-09-03 18:45:00 | 8.523 | 290.947 | 8.991 | 286.793 | 9.189 | 291.5 | 9.437 | 289.133 | 21.902 | 889.825 | 42.832 | 31.272
2019-09-03 19:00:00 | 8.186 | 300.08 | 8.704 | 294.122 | 8.59 | 297.833 | 8.782 | 293.267 | 21.985 | 889.983 | 37.771 | 35.6811
2019-09-03 19:15:00 | 7.056 | 290.853 | 7.726 | 287.267 | 7.998 | 293.6 | 8.387 | 290.3 | 22.01 | 889.367 | 39.821 | 35.6747
2019-09-03 19:30:00 | 6.117 | 286.427 | 6.789 | 281.281 | 6.947 | 285.6 | 7.357 | 283.933 | 21.373 | 889.675 | 41.125 | 34.3985
2019-09-03 19:45:00 | 6.769 | 290.467 | 7.316 | 285.785 | 7.347 | 290.7 | 7.574 | 288.833 | 21.802 | 889.667 | 40.635 | 35.0515
2019-09-03 20:00:00 | 6.53 | 285.933 | 7.282 | 282.088 | 7.504 | 287.433 | 7.768 | 283.2 | 21.956 | 890.017 | 40.56 | 31.0326
2019-09-03 20:15:00 | 6.619 | 298.427 | 7.202 | 293.273 | 7.486 | 296.667 | 7.876 | 295.6 | 21.594 | 889.642 | 41.184 | 29.5205
2019-09-03 20:30:00 | 6.312 | 306.8 | 7.018 | 302.413 | 7.333 | 306.467 | 7.886 | 305.167 | 21.568 | 890.067 | 42.395 | 34.6352
2019-09-03 20:45:00 | 7.18 | 303.44 | 7.567 | 299.727 | 7.703 | 304.5 | 8.06 | 300.333 | 21.144 | 890.117 | 43.227 | 30.0371
2019-09-03 21:00:00 | 5.722 | 302.053 | 6.375 | 295.646 | 6.662 | 300.8 | 7.122 | 298.267 | 20.935 | 890.067 | 43.573 | 25.9449
2019-09-03 21:15:00 | 5.098 | 294.587 | 5.998 | 291.923 | 6.318 | 295.033 | 6.703 | 292.533 | 20.918 | 889.583 | 44.213 | 21.4378
2019-09-03 21:30:00 | 5.201 | 291.413 | 6.066 | 286.383 | 6.356 | 292.9 | 6.752 | 290.567 | 20.131 | 889.792 | 44.896 | 14.3762
2019-09-03 21:45:00 | 4.363 | 284.627 | 5.087 | 279.413 | 5.4 | 285.933 | 5.756 | 284.5 | 20.402 | 890.058 | 45.435 | 14.3911
2019-09-03 22:00:00 | 4.044 | 274.093 | 5.139 | 273.159 | 5.445 | 277.367 | 5.872 | 274.567 | 20.264 | 890 | 46.043 | 10.964
2019-09-03 22:15:00 | 3.828 | 276.667 | 4.717 | 274.95 | 5.048 | 280.133 | 5.473 | 277.6 | 19.96 | 889.533 | 46.635 | 9.6324
2019-09-03 22:30:00 | 3.672 | 266.933 | 4.674 | 266.475 | 4.896 | 273.067 | 5.24 | 271.133 | 19.76 | 889.708 | 47.525 | 10.2812
2019-09-03 22:45:00 | 4.211 | 250.74 | 4.761 | 254.603 | 4.854 | 263.767 | 5.056 | 264.683 | 19.273 | 889.683 | 48.587 | 12.42
2019-09-03 23:00:00 | 4.491 | 253.36 | 5.41 | 256.771 | 5.44 | 263.033 | 5.639 | 259.583 | 19.014 | 889.95 | 50.069 | 15.604
2019-09-03 23:15:00 | 4.45 | 254.253 | 5.67 | 257.23 | 5.781 | 265.267 | 5.979 | 262.767 | 18.973 | 889.492 | 50.853 | 19.1768
2019-09-03 23:30:00 | 5.132 | 256.133 | 6.389 | 258.722 | 6.568 | 264.167 | 6.588 | 259.65 | 18.573 | 889.592 | 51.461 | 17.978
2019-09-03 23:45:00 | 5.023 | 244.833 | 6.137 | 248.006 | 6.433 | 256.433 | 6.714 | 252.517 | 18.673 | 890.008 | 50.827 | 18.2005