## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-04 00:00:00 | 4.751 | 235.787 | 5.646 | 239.841 | 5.828 | 249.733 | 6.063 | 246.817 | 18.427 | 889.675 | 50.859 | 28.0375
2019-09-04 00:15:00 | 5.704 | 231.14 | 6.824 | 232.88 | 6.892 | 240.733 | 6.751 | 237.7 | 18.231 | 890.175 | 51.701 | 31.5463
2019-09-04 00:30:00 | 5.232 | 238.547 | 6.554 | 237.942 | 6.982 | 246.3 | 7.066 | 242.8 | 18.194 | 889.7 | 51.04 | 27.7967
2019-09-04 00:45:00 | 5.197 | 235.333 | 6.405 | 237.39 | 6.906 | 244.933 | 6.922 | 241.433 | 18.352 | 890.025 | 50.261 | 25.9613
2019-09-04 01:00:00 | 5.095 | 231.053 | 6.342 | 231.92 | 6.769 | 239.2 | 6.749 | 236.267 | 18.327 | 889.808 | 49.621 | 25.3978
2019-09-04 01:15:00 | 5.39 | 229.853 | 6.576 | 233.103 | 6.958 | 240.7 | 6.994 | 237.5 | 18.189 | 889.783 | 49.045 | 36.0904
2019-09-04 01:30:00 | 5.637 | 230.82 | 7.26 | 230.148 | 7.811 | 237.733 | 7.881 | 233.2 | 18.173 | 889.725 | 49.195 | 39.5999
2019-09-04 01:45:00 | 5.9 | 221.887 | 7.28 | 225.352 | 7.865 | 232.667 | 7.994 | 229 | 17.764 | 890.242 | 50.101 | 38.2448
2019-09-04 02:00:00 | 5.676 | 233.42 | 7.004 | 233.647 | 7.612 | 242.233 | 7.743 | 237.7 | 17.985 | 890.408 | 50.336 | 41.7806
2019-09-04 02:15:00 | 5.744 | 235.193 | 7.13 | 235.65 | 7.735 | 243.267 | 7.79 | 239.967 | 17.81 | 890.342 | 50.987 | 41.0573
2019-09-04 02:30:00 | 6.819 | 243.193 | 7.709 | 243.605 | 8.043 | 250.433 | 8.284 | 246.383 | 17.964 | 889.933 | 51.083 | 40.7062
2019-09-04 02:45:00 | 5.713 | 246.52 | 7.364 | 246.449 | 7.832 | 254.067 | 8.076 | 249.617 | 18.023 | 889.858 | 52.395 | 40.395
2019-09-04 03:00:00 | 5.652 | 249.98 | 6.986 | 249.783 | 7.46 | 256.133 | 7.984 | 253.2 | 17.648 | 890.058 | 53.803 | 34.5406
2019-09-04 03:15:00 | 5.673 | 250.7 | 6.694 | 251.84 | 7.243 | 258.967 | 7.769 | 256.383 | 17.881 | 889.658 | 54.272 | 32.9426
2019-09-04 03:30:00 | 6.813 | 252.347 | 8.181 | 255.488 | 8.642 | 260.833 | 8.949 | 256.333 | 17.744 | 889.925 | 55.632 | 36.7704
2019-09-04 03:45:00 | 6.827 | 251.187 | 8.295 | 253.822 | 8.683 | 258.967 | 9.089 | 255.333 | 17.823 | 890.092 | 55.84 | 34.714
2019-09-04 04:00:00 | 5.828 | 238.207 | 6.763 | 243.877 | 7.318 | 252.833 | 7.699 | 251.6 | 17.294 | 889.625 | 56.741 | 42.1842
2019-09-04 04:15:00 | 6.335 | 236.18 | 7.178 | 238.084 | 7.324 | 246.667 | 7.262 | 244.7 | 16.881 | 890.008 | 58.219 | 41.6854
2019-09-04 04:30:00 | 6.77 | 245.813 | 7.865 | 244.273 | 7.948 | 251.367 | 7.748 | 248.1 | 17.048 | 889.792 | 58.965 | 33.4641
2019-09-04 04:45:00 | 6.607 | 246.92 | 7.922 | 246.062 | 7.516 | 253 | 7.397 | 251.267 | 17.131 | 889.817 | 58.859 | 27.6709
2019-09-04 05:00:00 | 5.86 | 241.46 | 6.707 | 244.052 | 6.581 | 251.8 | 6.684 | 249.45 | 16.631 | 889.808 | 59.253 | 31.4682
2019-09-04 05:15:00 | 5.777 | 225.553 | 7.324 | 227.905 | 7.293 | 234.4 | 6.907 | 231.667 | 15.866 | 889.375 | 59.968 | 34.0226
2019-09-04 05:30:00 | 5.212 | 237.527 | 6.956 | 237.65 | 7.287 | 244.533 | 7.336 | 241.333 | 16.381 | 889.517 | 59.136 | 28.66
2019-09-04 05:45:00 | 4.438 | 233.887 | 6.652 | 238.044 | 7.142 | 247.633 | 7.051 | 245 | 16.414 | 889.717 | 59.243 | 29.4302
2019-09-04 06:00:00 | 6.182 | 233.673 | 7.638 | 234.934 | 7.81 | 243.733 | 7.5 | 241.067 | 16.184 | 889.683 | 59.68 | 27.1259
2019-09-04 06:15:00 | 5.735 | 229.08 | 6.941 | 232.001 | 6.982 | 242.3 | 6.932 | 239.867 | 15.823 | 889.15 | 59.637 | 28.0986
2019-09-04 06:30:00 | 5.913 | 230.447 | 7.602 | 232.569 | 7.491 | 241.9 | 7.275 | 239.167 | 15.556 | 889.817 | 61.355 | 28.2962
2019-09-04 06:45:00 | 6.24 | 223.293 | 7.42 | 224.291 | 7.342 | 233.833 | 7.004 | 231.833 | 15.775 | 889.95 | 61.707 | 25.8632
2019-09-04 07:00:00 | 6.231 | 219.707 | 7.824 | 220.875 | 7.381 | 228.833 | 7.072 | 228.633 | 15.05 | 890.025 | 62.155 | 20.5347
2019-09-04 07:15:00 | 7.124 | 215.46 | 7.455 | 218.662 | 7.037 | 225.333 | 6.489 | 225.9 | 15.038 | 889.733 | 63.125 | 15.7803
2019-09-04 07:30:00 | 6.544 | 216.313 | 7.787 | 215.219 | 7.127 | 222.567 | 6.363 | 222.933 | 15.366 | 890.117 | 62.411 | 15.0505
2019-09-04 07:45:00 | 6.029 | 221.38 | 7.853 | 218.123 | 7.107 | 225.133 | 6.366 | 225.9 | 15.243 | 890.067 | 61.664 | 18.3809
2019-09-04 08:00:00 | 5.725 | 223.867 | 7.337 | 222.153 | 6.456 | 232.6 | 5.99 | 233.4 | 16.364 | 889.492 | 58.549 | 19.8838
2019-09-04 08:15:00 | 5.448 | 224.613 | 6.297 | 227.99 | 6.285 | 238.4 | 6.112 | 236.133 | 16.981 | 889.75 | 55.328 | 20.1147
2019-09-04 08:30:00 | 5.037 | 217.807 | 6.365 | 217.874 | 6.143 | 229.6 | 5.943 | 230.267 | 17.823 | 889.717 | 51.957 | 24.2417
2019-09-04 08:45:00 | 5.403 | 222.4 | 6.101 | 219.799 | 6.897 | 225.333 | 7.058 | 222.8 | 18.639 | 889.908 | 48.171 | 15.5529
2019-09-04 09:00:00 | 4.802 | 222.273 | 5.086 | 221.234 | 5.396 | 226.467 | 5.834 | 222.533 | 20.302 | 889.717 | 43.115 | 10.8205
2019-09-04 09:15:00 | 4.478 | 235.48 | 4.65 | 232.679 | 4.677 | 236.4 | 4.906 | 231.9 | 21.031 | 889.85 | 37.648 | 13.2997
2019-09-04 09:30:00 | 5.299 | 231.653 | 5.39 | 229.582 | 5.689 | 232.6 | 5.995 | 227.433 | 22.031 | 889.817 | 33.467 | 16.2805
2019-09-04 09:45:00 | 5.162 | 254.767 | 5.642 | 250.98 | 5.899 | 253.967 | 5.926 | 247.517 | 22.814 | 889.65 | 29.176 | 17.5567
2019-09-04 10:00:00 | 5.29 | 262.413 | 5.803 | 259.687 | 5.748 | 263.017 | 5.879 | 257.217 | 23.248 | 889.567 | 25.784 | 15.425
2019-09-04 10:15:00 | 5.079 | 268.627 | 5.525 | 267.961 | 5.456 | 271.7 | 5.591 | 267.367 | 23.598 | 889.383 | 22.965 | 10.321
2019-09-04 10:30:00 | 5.116 | 266.753 | 5.418 | 262.225 | 5.322 | 267.117 | 5.482 | 263.8 | 23.918 | 889.467 | 21.789 | 8.5858
2019-09-04 10:45:00 | 3.904 | 273.767 | 4.351 | 270.447 | 4.547 | 275.667 | 4.526 | 273.6 | 24.073 | 889.65 | 20.052 | 9.3674
2019-09-04 11:00:00 | 5.589 | 263.013 | 6.089 | 264.871 | 6.204 | 269.5 | 6.238 | 268.1 | 24.644 | 889.3 | 18.52 | 6.9074
2019-09-04 11:15:00 | 4.14 | 300.587 | 4.157 | 292.444 | 4.231 | 292.3 | 4.344 | 290.683 | 24.989 | 889.9 | 18.403 | 5.5616
2019-09-04 11:30:00 | 4.135 | 269.907 | 4.173 | 270.132 | 4.341 | 273.65 | 4.309 | 272.967 | 25.231 | 889.2 | 17.86 | 6.4519
2019-09-04 11:45:00 | 4.764 | 293.733 | 5.062 | 293.162 | 4.813 | 298.533 | 5.125 | 297.433 | 25.039 | 889.767 | 16.656 | 8.2454
2019-09-04 12:00:00 | 5.059 | 286.447 | 5.293 | 281.977 | 5.408 | 283.7 | 5.619 | 283.933 | 25.373 | 889.9 | 16.867 | 7.1845
2019-09-04 12:15:00 | 5.282 | 290.367 | 5.687 | 283.105 | 5.919 | 287.967 | 6.045 | 286.067 | 25.477 | 889.5 | 15.939 | 6.2928
2019-09-04 12:30:00 | 3.235 | 253.9 | 3.504 | 249.933 | 3.469 | 258.3 | 3.982 | 260.65 | 25.852 | 889.5 | 15.619 | 4.9797
2019-09-04 12:45:00 | 4.363 | 309.96 | 4.753 | 320.199 | 4.704 | 323.133 | 4.772 | 323.7 | 26.256 | 889.8 | 15.197 | 3.9891
2019-09-04 13:00:00 | 5.038 | 320.107 | 4.967 | 315.103 | 5.031 | 317.233 | 5.05 | 313.933 | 25.973 | 889.1 | 15.289 | 4.5128
2019-09-04 13:15:00 | 3.288 | 264.787 | 3.205 | 255.627 | 3.084 | 264.267 | 3.095 | 268.967 | 26.264 | 889.7 | 15.077 | 3.5813
2019-09-04 13:30:00 | 3.544 | 255.3 | 3.929 | 250.17 | 4.11 | 255.95 | 4.53 | 253.917 | 26.794 | 889.833 | 14.147 | 2.9865
2019-09-04 13:45:00 | 3.987 | 326.96 | 4.217 | 334.438 | 4.191 | 336.933 | 4.433 | 334.5 | 27.252 | 889.333 | 13.412 | 4.9214
2019-09-04 14:00:00 | 2.264 | 251.693 | 2.486 | 273.266 | 2.724 | 278.433 | 3.066 | 280.833 | 27.406 | 889.667 | 13.139 | 4.6926
2019-09-04 14:15:00 | 3.462 | 198.656 | 3.893 | 326.49 | 4.02 | 324.067 | 4.148 | 326.133 | 27.614 | 889.433 | 13.785 | 5.6803
2019-09-04 14:30:00 | 4.754 | 290.628 | 4.886 | 304.433 | 5.44 | 308.967 | 5.473 | 307.967 | 27.639 | 889.5 | 12.989 | 4.6492
2019-09-04 14:45:00 | 5.146 | 274.627 | 5.564 | 269.585 | 5.523 | 273.8 | 5.309 | 268.85 | 28.181 | 889.667 | 12.94 | 4.117
2019-09-04 15:00:00 | 3.494 | 210.233 | 3.955 | 306.857 | 4.313 | 326.9 | 4.47 | 330.367 | 28.156 | 889.467 | 12.66 | 6.4434
2019-09-04 15:15:00 | 5.395 | 321.213 | 5.542 | 321.838 | 5.793 | 328.3 | 5.845 | 328.2 | 28.518 | 889.4 | 12.776 | 3.4157
2019-09-04 15:30:00 | 3.832 | 280.713 | 4.019 | 272.874 | 4.104 | 277.117 | 4.562 | 277.9 | 29.498 | 889.367 | 12.309 | 2.5438
2019-09-04 15:45:00 | 4.335 | 312.453 | 4.658 | 306.198 | 4.657 | 310.967 | 4.918 | 307.133 | 28.881 | 889.533 | 12.441 | 5.4394
2019-09-04 16:00:00 | 4.545 | 313.52 | 4.649 | 308.362 | 4.703 | 312.733 | 5.054 | 308.533 | 28.577 | 889.533 | 12.825 | 7.8837
2019-09-04 16:15:00 | 5.689 | 286.793 | 6.179 | 291.587 | 5.87 | 298.3 | 6.095 | 293.133 | 28.789 | 889.4 | 12.432 | 4.5398
2019-09-04 16:30:00 | 4.855 | 288.213 | 5.147 | 284.768 | 5.151 | 291.067 | 5.655 | 284.7 | 29.248 | 889.567 | 12.164 | 7.8496
2019-09-04 16:45:00 | 4.686 | 312.827 | 4.617 | 310.278 | 4.589 | 314.033 | 4.671 | 311.5 | 28.718 | 889.333 | 12.172 | 5.4053
2019-09-04 17:00:00 | 4.873 | 316.387 | 4.943 | 313.709 | 5.056 | 319.733 | 5.102 | 315.667 | 28.848 | 889.6 | 12.353 | 9.5969
2019-09-04 17:15:00 | 3.975 | 316.6 | 3.758 | 322.204 | 4.121 | 328.9 | 4.42 | 330.133 | 29.214 | 889.667 | 12.899 | 4.1355
2019-09-04 17:30:00 | 1.961 | 297.627 | 2.083 | 294.672 | 2.328 | 300 | 2.817 | 298.733 | 29.098 | 889.367 | 12.677 | 3.594
2019-09-04 17:45:00 | 5.117 | 291.913 | 5.307 | 290.492 | 5.12 | 293 | 5.187 | 293.367 | 29.431 | 889.5 | 12.491 | 7.8653
2019-09-04 18:00:00 | 5.299 | 182.64 | 5.79 | 260.688 | 6.135 | 306.4 | 6.458 | 303.533 | 29.298 | 889.133 | 12.189 | 8.983
2019-09-04 18:15:00 | 3.704 | 283.007 | 3.816 | 323.917 | 4.114 | 328.933 | 4.292 | 330.133 | 29.214 | 889.533 | 12.093 | 4.9853
2019-09-04 18:30:00 | 4.433 | 312.187 | 4.32 | 318.373 | 4.115 | 322.967 | 4.096 | 333.4 | 29.631 | 889.2 | 11.535 | 7.6713
2019-09-04 18:45:00 | 4.933 | 322.533 | 5.29 | 314.011 | 5.626 | 318.833 | 5.916 | 318.7 | 29.581 | 889.567 | 11.721 | 8.158
2019-09-04 19:00:00 | 4.744 | 338.627 | 4.715 | 329.914 | 4.804 | 333.5 | 4.963 | 329.433 | 29.548 | 889.6 | 11.637 | 6.4868
2019-09-04 19:15:00 | 4.191 | 139.467 | 4.641 | 278.489 | 4.861 | 255.633 | 5.036 | 275.6 | 29.048 | 889.3 | 11.771 | 7.9385
2019-09-04 19:30:00 | 5.847 | 334.253 | 6.006 | 326.097 | 6.059 | 328.167 | 6.415 | 326.233 | 29.081 | 889.533 | 11.831 | 12.0825
2019-09-04 19:45:00 | 4.274 | 293.2 | 4.737 | 333.837 | 5.046 | 313.3 | 5.396 | 325 | 29.031 | 889.4 | 12.011 | 7.8788
2019-09-04 20:00:00 | 3.696 | 330.08 | 3.988 | 328.339 | 4.24 | 332.433 | 4.495 | 332.233 | 28.894 | 889.7 | 12.339 | 6.4157
2019-09-04 20:15:00 | 3.126 | 336.84 | 3.465 | 328.355 | 3.802 | 335.167 | 4.102 | 335.8 | 28.531 | 888.933 | 12.651 | 4.456
2019-09-04 20:30:00 | 3.9 | 342.213 | 4.801 | 335.062 | 4.923 | 340.9 | 5.055 | 339.133 | 27.944 | 889.233 | 13.159 | 1.9839
2019-09-04 20:45:00 | 2.891 | 349.093 | 3.718 | 344.928 | 3.866 | 246.5 | 4.354 | 319.667 | 27.018 | 889.833 | 13.264 | 0.91237
2019-09-04 21:00:00 | 2.839 | 344.733 | 3.264 | 344.965 | 3.745 | 282.3 | 4.471 | 354.867 | 26.464 | 889.567 | 13.512 | 2.0912
2019-09-04 21:15:00 | 2.732 | 353.107 | 3.592 | 341.938 | 3.737 | 345.933 | 4.087 | 345.967 | 26.16 | 889.433 | 13.659 | 2.5708
2019-09-04 21:30:00 | 1.761 | 326.08 | 3.482 | 336.691 | 3.952 | 347 | 4.308 | 346.333 | 25.898 | 889.8 | 13.88 | 3.2302
2019-09-04 21:45:00 | 2.703 | 291.373 | 2.698 | 319.016 | 3.347 | 342.133 | 3.986 | 346.467 | 25.652 | 889.567 | 14.088 | 0.87258
2019-09-04 22:00:00 | 3.088 | 287.64 | 2.584 | 302.172 | 2.335 | 316.433 | 2.851 | 321.2 | 25.06 | 889.2 | 14.653 | 0.13856
2019-09-04 22:15:00 | 3.208 | 276.76 | 3.107 | 297.823 | 3.103 | 313.4 | 3.365 | 316.733 | 24.418 | 889.7 | 15.347 | 0.18972
2019-09-04 22:30:00 | 2.984 | 242.547 | 2.41 | 276.839 | 2.127 | 305.933 | 2.82 | 308.067 | 23.452 | 889.133 | 16.712 | 0.17267
2019-09-04 22:45:00 | 2.93 | 248.64 | 2.678 | 277.524 | 2.715 | 298 | 3.042 | 306.567 | 23.464 | 889.4 | 17.291 | 0.12648
2019-09-04 23:00:00 | 3.718 | 243.307 | 2.818 | 277.306 | 2.759 | 291.6 | 3.222 | 296.667 | 22.598 | 889.433 | 17.831 | 0.079583
2019-09-04 23:15:00 | 4.79 | 227.507 | 3.505 | 252.473 | 2.978 | 272.733 | 3.132 | 284.833 | 21.902 | 889.633 | 17.912 | 0.1144
2019-09-04 23:30:00 | 5.136 | 225.64 | 3.425 | 243.526 | 2.559 | 266.067 | 2.848 | 276.6 | 20.114 | 889.033 | 19.229 | 0.54216
2019-09-04 23:45:00 | 5.876 | 216.007 | 3.998 | 232.504 | 3.071 | 256.267 | 3.08 | 268 | 19.498 | 889.2 | 19.901 | 1.5171