## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-05 00:00:00 | 6.179 | 220.34 | 4.71 | 230.668 | 3.733 | 249.9 | 3.217 | 262.133 | 19.735 | 889.633 | 20.309 | 2.8153
2019-09-05 00:15:00 | 5.653 | 223.467 | 4.484 | 240.829 | 3.838 | 255.5 | 3.74 | 261.667 | 20.014 | 889.617 | 20.533 | 2.9801
2019-09-05 00:30:00 | 5.668 | 226.78 | 4.802 | 244.188 | 4.054 | 254.133 | 3.867 | 256 | 19.327 | 889.95 | 21.232 | 4.2044
2019-09-05 00:45:00 | 5.28 | 222.433 | 4.846 | 238.093 | 4.409 | 246.3 | 4.083 | 245.533 | 19.16 | 890.233 | 21.381 | 5.1147
2019-09-05 01:00:00 | 5.79 | 223.067 | 5.372 | 237.272 | 4.59 | 248.7 | 4.129 | 251 | 18.606 | 889.417 | 22.043 | 5.9659
2019-09-05 01:15:00 | 5.836 | 226.933 | 5.576 | 232.886 | 5.041 | 239.8 | 4.537 | 239.167 | 18.689 | 889.3 | 22.357 | 7.1739
2019-09-05 01:30:00 | 5.557 | 225.033 | 5.506 | 240.036 | 5.46 | 248.133 | 4.983 | 243.2 | 18.556 | 889.383 | 22.309 | 6.7745
2019-09-05 01:45:00 | 5.506 | 229.167 | 5.146 | 240.946 | 4.871 | 247.467 | 4.543 | 243.033 | 18.623 | 889.85 | 22.603 | 9.2189
2019-09-05 02:00:00 | 6.103 | 226.333 | 5.835 | 238.556 | 5.604 | 244.867 | 5.365 | 240.533 | 18.539 | 889.8 | 22.789 | 12.8023
2019-09-05 02:15:00 | 6.405 | 227.467 | 6.537 | 238.396 | 6.032 | 247.4 | 5.574 | 243.167 | 18.181 | 890.433 | 23.019 | 17.0557
2019-09-05 02:30:00 | 5.931 | 221.52 | 7.282 | 229.605 | 6.566 | 239.167 | 6.107 | 236.933 | 17.952 | 889.967 | 23.493 | 18.9821
2019-09-05 02:45:00 | 6.036 | 222.18 | 7.276 | 225.929 | 7.144 | 231.633 | 6.865 | 227.867 | 17.818 | 889.733 | 23.643 | 20.3172
2019-09-05 03:00:00 | 5.938 | 226.167 | 6.941 | 231.174 | 6.761 | 237.867 | 6.476 | 234.233 | 18.252 | 889.817 | 23.445 | 23.2092
2019-09-05 03:15:00 | 5.842 | 225.693 | 7.418 | 230.635 | 7.217 | 239.667 | 6.818 | 237.067 | 18.306 | 890.083 | 23.584 | 24.9238
2019-09-05 03:30:00 | 5.852 | 228.14 | 6.746 | 238.568 | 6.901 | 248.5 | 6.732 | 246.267 | 18.077 | 889.8 | 23.803 | 33.2332
2019-09-05 03:45:00 | 6.042 | 233.507 | 7.287 | 239.434 | 6.846 | 250.533 | 6.61 | 249.917 | 18.418 | 889.683 | 24.235 | 41.0835
2019-09-05 04:00:00 | 6.645 | 245.013 | 8.124 | 248.973 | 8.409 | 256.7 | 8.648 | 255.567 | 18.785 | 889.6 | 24.832 | 42.251
2019-09-05 04:15:00 | 6.351 | 242.127 | 8.188 | 247.127 | 9.038 | 254.467 | 9.357 | 252.733 | 19.039 | 889.867 | 24.784 | 40.9912
2019-09-05 04:30:00 | 5.804 | 240.067 | 7.797 | 248.612 | 9.767 | 261.467 | 11.144 | 263 | 18.556 | 889.817 | 27.552 | 40.7005
2019-09-05 04:45:00 | 5.758 | 246.107 | 8.54 | 253.135 | 10.113 | 264.8 | 10.625 | 263.2 | 18.923 | 890.117 | 29.989 | 40.5236
2019-09-05 05:00:00 | 5.29 | 239.293 | 7.711 | 251.767 | 9.526 | 262.667 | 10.137 | 262.733 | 17.981 | 889.733 | 31.357 | 42.9538
2019-09-05 05:15:00 | 6.028 | 255.06 | 8.683 | 259.909 | 10.067 | 270.267 | 10.371 | 268.033 | 18.285 | 889.7 | 32.173 | 46.476
2019-09-05 05:30:00 | 6.206 | 258.427 | 8.35 | 262.836 | 9.053 | 271.7 | 9.87 | 269.367 | 18.952 | 889.7 | 31.032 | 37.6828
2019-09-05 05:45:00 | 5.932 | 256.3 | 7.66 | 262.424 | 8.169 | 272.5 | 8.67 | 268.567 | 19.406 | 889.783 | 30.8 | 33.2773
2019-09-05 06:00:00 | 5.605 | 258.833 | 7.775 | 263.544 | 8.466 | 271.033 | 8.908 | 267.167 | 19.085 | 890.333 | 30.379 | 29.8879
2019-09-05 06:15:00 | 4.817 | 245.307 | 6.812 | 254.12 | 7.598 | 263.2 | 8.115 | 261.817 | 19.277 | 889.883 | 30.56 | 34.8618
2019-09-05 06:30:00 | 5.7 | 225.067 | 6.812 | 235.155 | 7.278 | 250.667 | 7.646 | 250.783 | 17.794 | 889.6 | 32.176 | 44.9448
2019-09-05 06:45:00 | 6.878 | 225.707 | 7.99 | 229.864 | 7.893 | 238 | 7.94 | 238.3 | 17.252 | 889.967 | 34 | 58.9436
2019-09-05 07:00:00 | 7.535 | 242.633 | 8.947 | 244.861 | 10.093 | 251.733 | 10.489 | 248.45 | 18.098 | 889.617 | 34.448 | 58.3375
2019-09-05 07:15:00 | 8.538 | 248.753 | 10.934 | 250.665 | 11.918 | 254.667 | 12.64 | 251.017 | 18.027 | 889.467 | 38.861 | 57.6348
2019-09-05 07:30:00 | 9.804 | 251.887 | 11.318 | 253.664 | 12.403 | 259.017 | 13.284 | 254.95 | 17.794 | 889.875 | 41.643 | 57.2823
2019-09-05 07:45:00 | 9.812 | 252.78 | 11.99 | 252.621 | 12.652 | 257.067 | 13.022 | 253.65 | 17.981 | 889.858 | 41.6 | 57.0322
2019-09-05 08:00:00 | 10.02 | 253.38 | 11.963 | 253.216 | 12.999 | 258.617 | 13.559 | 255.017 | 18.689 | 889.842 | 40.499 | 57.0279
2019-09-05 08:15:00 | 9.759 | 249.96 | 10.924 | 250.7 | 11.75 | 256.15 | 12.039 | 252.017 | 19.402 | 889.45 | 38.405 | 56.274
2019-09-05 08:30:00 | 9.178 | 255.647 | 10.151 | 255.317 | 10.238 | 260.283 | 10.783 | 257.383 | 20.156 | 889.85 | 36.952 | 58.1926
2019-09-05 08:45:00 | 10.441 | 264.467 | 11.292 | 263.113 | 11.896 | 268.667 | 12.403 | 263.933 | 20.594 | 889.633 | 35.211 | 61.6125
2019-09-05 09:00:00 | 10.752 | 267.653 | 11.44 | 268.697 | 11.61 | 272.733 | 11.817 | 269.967 | 21.168 | 890.083 | 33.851 | 58.54
2019-09-05 09:15:00 | 9.18 | 263.993 | 10.262 | 265.11 | 10.592 | 270.467 | 10.825 | 266.8 | 21.635 | 890.333 | 32.704 | 48.72
2019-09-05 09:30:00 | 9.52 | 268.98 | 10.229 | 267.805 | 10.703 | 272.233 | 10.81 | 268.933 | 22.11 | 889.483 | 32.712 | 49.3936
2019-09-05 09:45:00 | 8.813 | 269.507 | 9.454 | 266.719 | 9.738 | 271.533 | 9.805 | 267.8 | 22.031 | 889.467 | 32.419 | 47.5234
2019-09-05 10:00:00 | 8.036 | 274.04 | 8.772 | 271.68 | 8.881 | 275.9 | 8.88 | 271.467 | 22.514 | 889.517 | 31.051 | 49.1108
2019-09-05 10:15:00 | 10.776 | 270.68 | 11.614 | 267.017 | 11.606 | 274.2 | 11.634 | 270.4 | 22.914 | 890 | 29.715 | 55.2593
2019-09-05 10:30:00 | 9.745 | 274.06 | 9.954 | 271.604 | 10.411 | 278.5 | 10.751 | 274.3 | 22.948 | 889.667 | 30.451 | 40.5549
2019-09-05 10:45:00 | 7.839 | 291.053 | 8.263 | 287.48 | 8.566 | 292.233 | 8.808 | 290.3 | 23.448 | 889.783 | 28.496 | 43.2138
2019-09-05 11:00:00 | 9.107 | 293.173 | 9.811 | 285.979 | 9.918 | 288.933 | 10.322 | 286.267 | 23.96 | 889.8 | 26.912 | 47.5298
2019-09-05 11:15:00 | 8.538 | 304.467 | 9.023 | 299.695 | 9.21 | 303.467 | 9.646 | 299.267 | 24.481 | 889.533 | 25.992 | 47.8361
2019-09-05 11:30:00 | 8.457 | 310.013 | 8.486 | 305.518 | 8.773 | 310.133 | 9.161 | 306.333 | 24.135 | 889.517 | 26.317 | 51.1068
2019-09-05 11:45:00 | 10.285 | 305.413 | 10.722 | 302.251 | 11.051 | 308.167 | 11.496 | 306.2 | 24.494 | 889.717 | 27.12 | 45.8543
2019-09-05 12:00:00 | 8.839 | 314.387 | 9.414 | 308.188 | 9.711 | 313.067 | 10.13 | 312.3 | 24.718 | 889.583 | 27.123 | 47.7167
2019-09-05 12:15:00 | 8.252 | 314.347 | 8.782 | 304.954 | 8.95 | 310 | 9.589 | 307.833 | 24.544 | 889.783 | 25.917 | 48.0315
2019-09-05 12:30:00 | 8.4 | 311.2 | 9.111 | 306.912 | 9.375 | 312 | 9.642 | 310.067 | 24.989 | 889.783 | 25.517 | 43.2188
2019-09-05 12:45:00 | 9.278 | 319.573 | 9.821 | 314.551 | 10.041 | 317.767 | 10.39 | 312.1 | 25.264 | 889.567 | 24.875 | 46.2401
2019-09-05 13:00:00 | 7.677 | 332.853 | 7.833 | 325.857 | 8.092 | 328.467 | 8.472 | 325.967 | 25.598 | 889.5 | 25.155 | 47.7138
2019-09-05 13:15:00 | 10.444 | 309.747 | 10.573 | 302.833 | 10.843 | 308.567 | 11.55 | 306.033 | 25.035 | 889.633 | 29.011 | 46.5577
2019-09-05 13:30:00 | 8.02 | 322.88 | 8.3 | 313.907 | 8.372 | 315.8 | 8.899 | 310.9 | 24.423 | 889.5 | 28.789 | 37.9443
2019-09-05 13:45:00 | 7.075 | 314 | 7.536 | 308.624 | 7.668 | 314.667 | 7.962 | 312.367 | 24.989 | 889.567 | 27.979 | 34.3829
2019-09-05 14:00:00 | 8.064 | 317.013 | 8.46 | 308.355 | 8.502 | 314.233 | 8.807 | 311.867 | 25.356 | 890.1 | 26.675 | 33.0826
2019-09-05 14:15:00 | 6.422 | 301.067 | 6.741 | 294.911 | 7.053 | 302.833 | 7.53 | 301.267 | 25.664 | 889.467 | 25.869 | 33.0207
2019-09-05 14:30:00 | 6.966 | 309.04 | 7.535 | 301.346 | 7.562 | 304.833 | 7.941 | 305.5 | 25.635 | 889.7 | 25.224 | 38.1539
2019-09-05 14:45:00 | 8.846 | 305.907 | 9.526 | 298.017 | 9.685 | 305.233 | 10.17 | 304.533 | 25.806 | 889.65 | 25.984 | 36.1927
2019-09-05 15:00:00 | 7.232 | 294.173 | 7.944 | 291.168 | 8.197 | 295.533 | 8.447 | 293.4 | 26.11 | 889.35 | 24.541 | 33.0278
2019-09-05 15:15:00 | 7.121 | 296.773 | 7.656 | 292.411 | 7.873 | 297.367 | 8.094 | 292.167 | 26.127 | 889.717 | 24.632 | 37.6678
2019-09-05 15:30:00 | 7.956 | 296.773 | 8.317 | 291.148 | 8.287 | 298.5 | 8.339 | 296 | 25.839 | 889.767 | 24.776 | 36.4016
2019-09-05 15:45:00 | 7.685 | 288.027 | 8.164 | 283.985 | 8.386 | 290.767 | 8.741 | 288.667 | 25.656 | 889.933 | 24.531 | 28.7573
2019-09-05 16:00:00 | 5.684 | 325.067 | 5.889 | 319.268 | 6.364 | 321.167 | 6.822 | 319.333 | 26.068 | 889.55 | 24.488 | 24.9551
2019-09-05 16:15:00 | 6.507 | 314.227 | 6.73 | 306.836 | 7.006 | 308.433 | 7.22 | 307.517 | 26.489 | 889.733 | 23.515 | 28.8497
2019-09-05 16:30:00 | 6.783 | 280.013 | 6.842 | 275.088 | 6.884 | 280.567 | 7.065 | 277.6 | 26.452 | 889.533 | 23.979 | 23.75
2019-09-05 16:45:00 | 5.846 | 294.52 | 6.347 | 293.24 | 6.323 | 298.967 | 6.712 | 298.1 | 26.244 | 889.483 | 23.061 | 24.4058
2019-09-05 17:00:00 | 5.92 | 306.147 | 6.171 | 304.702 | 6.363 | 308.3 | 6.722 | 306.667 | 26.664 | 889.517 | 23.035 | 28.5648
2019-09-05 17:15:00 | 6.745 | 328.587 | 6.849 | 318.571 | 7.167 | 321.533 | 7.679 | 317.633 | 26.606 | 889.883 | 23.237 | 28.4404
2019-09-05 17:30:00 | 7.576 | 294 | 8.001 | 287.589 | 8.121 | 290.933 | 8.448 | 289 | 26.618 | 889.417 | 22.725 | 31.9044
2019-09-05 17:45:00 | 6.896 | 311.507 | 7.33 | 304.663 | 7.398 | 307.9 | 7.953 | 306.833 | 27.373 | 889.617 | 21.856 | 42.8635
2019-09-05 18:00:00 | 7.6 | 310.56 | 8.136 | 306.84 | 8.004 | 311.2 | 8.155 | 310.2 | 26.748 | 889.067 | 22.509 | 53.4971
2019-09-05 18:15:00 | 7.983 | 329.133 | 8.234 | 320.588 | 8.371 | 323.633 | 8.948 | 319.6 | 26.514 | 889.7 | 22.997 | 53.6158
2019-09-05 18:30:00 | 8.266 | 304.013 | 8.87 | 299.544 | 9.045 | 304.267 | 9.374 | 300.967 | 26.598 | 889.983 | 22.907 | 58.4299
2019-09-05 18:45:00 | 9.886 | 322.667 | 10.869 | 315.135 | 11.218 | 319.767 | 11.31 | 320.5 | 26.327 | 889.867 | 23.595 | 65.8631
2019-09-05 19:00:00 | 10.143 | 302.493 | 11.019 | 300.278 | 11.335 | 306.633 | 11.953 | 304.133 | 26.044 | 889.85 | 23.912 | 68.4098
2019-09-05 19:15:00 | 9.853 | 308 | 10.444 | 303.066 | 10.704 | 309.6 | 11.223 | 304.1 | 25.952 | 889.567 | 25.072 | 67.1102
2019-09-05 19:30:00 | 9.317 | 307.733 | 9.838 | 303.294 | 10.124 | 307.5 | 10.701 | 307.267 | 25.985 | 890.133 | 25.336 | 66.6334
2019-09-05 19:45:00 | 8.759 | 310.733 | 9.556 | 304.271 | 9.878 | 309.2 | 10.489 | 306.967 | 25.664 | 889.733 | 25.176 | 65.456
2019-09-05 20:00:00 | 9.589 | 301.547 | 10.933 | 297.074 | 11.24 | 300.533 | 11.943 | 298.133 | 25.66 | 889.75 | 25.424 | 67.4683
2019-09-05 20:15:00 | 9.462 | 296.533 | 10.77 | 292.236 | 11.283 | 295.833 | 11.973 | 292.367 | 24.989 | 889.85 | 25.941 | 71.5498
2019-09-05 20:30:00 | 9.883 | 294.28 | 10.732 | 290.398 | 11.032 | 294.167 | 11.728 | 289.933 | 24.864 | 889.767 | 26.987 | 70.7959
2019-09-05 20:45:00 | 9.051 | 287.467 | 10.358 | 283.951 | 11.038 | 288.433 | 11.519 | 286.333 | 24.427 | 889.767 | 27.672 | 67.2537
2019-09-05 21:00:00 | 8.881 | 294.133 | 10.081 | 288.59 | 10.477 | 291.767 | 10.901 | 289.867 | 24.294 | 889.983 | 28.109 | 63.2859
2019-09-05 21:15:00 | 8.324 | 291.173 | 9.263 | 286.411 | 9.576 | 291 | 10.065 | 288 | 24.148 | 889.683 | 28.672 | 73.2743
2019-09-05 21:30:00 | 10.23 | 286.227 | 11.334 | 284.728 | 11.883 | 288 | 12.642 | 285.767 | 23.614 | 889.633 | 29.552 | 70.3532
2019-09-05 21:45:00 | 11.253 | 284.24 | 12.245 | 279.926 | 12.815 | 284 | 13.548 | 280.833 | 23.064 | 889.85 | 30.512 | 69.5908
2019-09-05 22:00:00 | 11.775 | 277.053 | 13.185 | 273.572 | 13.558 | 276.267 | 14.003 | 272.733 | 22.331 | 889.7 | 31.04 | 65.1469
2019-09-05 22:15:00 | 12.655 | 274.173 | 14.301 | 271.668 | 15.097 | 276.733 | 15.716 | 271.933 | 22.285 | 889.85 | 33.595 | 57.391
2019-09-05 22:30:00 | 11.401 | 273.067 | 12.799 | 272.232 | 13.035 | 276.4 | 13.772 | 272.267 | 21.785 | 889.9 | 34.581 | 68.1647
2019-09-05 22:45:00 | 12.165 | 282.173 | 13.818 | 279.084 | 14.346 | 281.2 | 15.04 | 277.633 | 21.473 | 889.983 | 35.645 | 66.2412
2019-09-05 23:00:00 | 14.246 | 271.953 | 15.71 | 269.277 | 16.367 | 274.133 | 16.646 | 269.467 | 20.744 | 890.033 | 36.877 | 65.3132
2019-09-05 23:15:00 | 13.988 | 270.287 | 15.801 | 268.489 | 16.564 | 272.967 | 16.891 | 268.267 | 20.264 | 889.667 | 39.781 | 60.9673
2019-09-05 23:30:00 | 12.809 | 267.767 | 14.304 | 265.935 | 14.863 | 272.467 | 15.242 | 268.067 | 19.639 | 889.942 | 41.736 | 55.243
2019-09-05 23:45:00 | 11.968 | 271.527 | 13.574 | 269.515 | 14.451 | 273.733 | 15.149 | 269.833 | 19.664 | 889.65 | 42.267 | 54.8948