## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-06 00:00:00 | 13.747 | 279.467 | 15.409 | 274.532 | 15.873 | 277.933 | 16.702 | 275.133 | 19.556 | 890.083 | 42.016 | 53.8098
2019-09-06 00:15:00 | 16.935 | 263.887 | 19.307 | 260.263 | 19.926 | 265.467 | 19.665 | 261.533 | 18.806 | 890.2 | 43.563 | 53.6748
2019-09-06 00:30:00 | 17.584 | 269.153 | 19.682 | 265.67 | 19.761 | 270.5 | 20.013 | 266.167 | 17.935 | 890.292 | 50.085 | 54.4656
2019-09-06 00:45:00 | 14.432 | 265.987 | 16.176 | 263.657 | 16.744 | 267.867 | 17.461 | 262.95 | 17.214 | 890.233 | 54.869 | 54.504
2019-09-06 01:00:00 | 14.523 | 271.587 | 15.86 | 268.312 | 16.692 | 272.7 | 17.02 | 266.9 | 17.031 | 889.958 | 55.909 | 54.6852
2019-09-06 01:15:00 | 12.812 | 267.587 | 14.76 | 264.089 | 15.557 | 269.433 | 16.172 | 265.217 | 15.257 | 889.483 | 69.003 | 54.3711
2019-09-06 01:30:00 | 11.135 | 256.933 | 12.852 | 254.862 | 13.871 | 259.5 | 13.84 | 254.033 | 15.328 | 889.5 | 72.587 | 53.8574
2019-09-06 01:45:00 | 10.037 | 261.02 | 11.738 | 257.055 | 12.748 | 262.4 | 13.142 | 258.367 | 14.541 | 889.75 | 80.304 | 53.1809
2019-09-06 02:00:00 | 10.221 | 241.28 | 11.455 | 239.441 | 12.202 | 245.7 | 12.556 | 240.933 | 14.295 | 889.85 | 81.685 | 53.8745
2019-09-06 02:15:00 | 9.384 | 235.4 | 10.577 | 230.859 | 11.289 | 236.8 | 11.623 | 231.233 | 13.533 | 889.908 | 84.309 | 53.4772
2019-09-06 02:30:00 | 8.188 | 241.613 | 9.542 | 238.633 | 10.358 | 244 | 10.63 | 237.7 | 13.549 | 889.654 | 85.44 | 46.5201
2019-09-06 02:45:00 | 7.217 | 242.047 | 8.363 | 236.69 | 9.266 | 242.567 | 9.519 | 237.867 | 13.583 | 890.179 | 84.736 | 33.6915
2019-09-06 03:00:00 | 5.964 | 238.647 | 6.941 | 236.078 | 7.663 | 242.367 | 7.925 | 238.767 | 14.041 | 889.8 | 83.371 | 27.56
2019-09-06 03:15:00 | 5.083 | 250.24 | 6.1 | 249.979 | 6.627 | 256.133 | 7.006 | 254.167 | 13.991 | 889.75 | 81.104 | 30.1167
2019-09-06 03:30:00 | 5.475 | 246.333 | 6.691 | 244.877 | 7.19 | 252.467 | 7.484 | 248.2 | 14.508 | 890.125 | 75.861 | 35.782
2019-09-06 03:45:00 | 6.252 | 240.767 | 7.292 | 239.729 | 7.8 | 246.733 | 7.821 | 241.783 | 14.924 | 889.75 | 69.824 | 31.0987
2019-09-06 04:00:00 | 5.486 | 251.813 | 6.411 | 250.243 | 6.948 | 255.633 | 7.122 | 252.35 | 14.858 | 890.15 | 69.979 | 30.8024
2019-09-06 04:15:00 | 4.877 | 246.08 | 6.182 | 244.481 | 6.849 | 252.7 | 7.011 | 247.8 | 14.858 | 889.642 | 69.643 | 31.6316
2019-09-06 04:30:00 | 4.452 | 234.547 | 5.577 | 237.45 | 6.239 | 246.633 | 6.341 | 244.1 | 14.67 | 889.95 | 71.477 | 38.0459
2019-09-06 04:45:00 | 5.721 | 222.46 | 6.679 | 224.03 | 7.198 | 232.367 | 7.279 | 230.367 | 14.633 | 889.592 | 72.384 | 34.1363
2019-09-06 05:00:00 | 5.558 | 232.42 | 6.797 | 232.312 | 7.385 | 239.933 | 7.388 | 235.567 | 14.624 | 889.692 | 69.909 | 30.0165
2019-09-06 05:15:00 | 5.51 | 241.433 | 6.586 | 239.772 | 7.104 | 245.3 | 7.199 | 239.867 | 14.724 | 889.842 | 67.104 | 23.2533
2019-09-06 05:30:00 | 5.989 | 257.667 | 7.106 | 252.657 | 7.614 | 257.3 | 7.668 | 251.55 | 14.791 | 890.067 | 66.517 | 16.9115
2019-09-06 05:45:00 | 4.753 | 242.173 | 6.004 | 241.445 | 6.404 | 246.9 | 6.458 | 240.967 | 14.562 | 889.917 | 67.733 | 17.7251
2019-09-06 06:00:00 | 4.291 | 231.38 | 4.978 | 229.817 | 5.271 | 234.967 | 5.297 | 230.967 | 14.549 | 890.092 | 69.397 | 19.6145
2019-09-06 06:15:00 | 4.329 | 233.327 | 5.518 | 227.643 | 6.045 | 232.1 | 6.077 | 228.033 | 14.137 | 889.575 | 71.488 | 22.7786
2019-09-06 06:30:00 | 4.478 | 240.353 | 5.68 | 238.467 | 6.074 | 243.967 | 6.28 | 238.233 | 14.32 | 889.783 | 73.589 | 26.5752
2019-09-06 06:45:00 | 4.725 | 220.227 | 6.13 | 223.201 | 6.868 | 231.2 | 7.067 | 228.033 | 13.987 | 889.975 | 75.925 | 32.4239
2019-09-06 07:00:00 | 5.417 | 218.933 | 7.436 | 217.518 | 7.779 | 221.6 | 7.731 | 218.167 | 13.637 | 889.892 | 76.352 | 38.3493
2019-09-06 07:15:00 | 5.995 | 220.18 | 7.819 | 216.748 | 8.346 | 220.833 | 8.152 | 217.233 | 13.72 | 889.858 | 74.923 | 40.7858
2019-09-06 07:30:00 | 6.332 | 233.567 | 7.68 | 230.263 | 8.207 | 234.9 | 8.178 | 230.6 | 13.808 | 889.775 | 72.747 | 35.1098
2019-09-06 07:45:00 | 6.01 | 228.593 | 7.543 | 228.606 | 7.966 | 233.533 | 7.94 | 230.5 | 13.933 | 889.742 | 70.4 | 26.6377
2019-09-06 08:00:00 | 4.236 | 216.033 | 5.809 | 221.806 | 6.724 | 232.5 | 6.98 | 230.967 | 14.145 | 890.175 | 69.963 | 26.2114
2019-09-06 08:15:00 | 5.548 | 218.967 | 6.824 | 218.859 | 6.755 | 225.567 | 6.789 | 225.167 | 14.641 | 889.6 | 68.64 | 22.0254
2019-09-06 08:30:00 | 5.177 | 224.993 | 6.43 | 223.808 | 6.755 | 229.933 | 6.781 | 230.133 | 15.278 | 890 | 66.197 | 13.6223
2019-09-06 08:45:00 | 4.029 | 225.187 | 4.848 | 226.18 | 5.08 | 236.133 | 5.266 | 234.267 | 16.112 | 890.25 | 60.981 | 11.0777
2019-09-06 09:00:00 | 3.856 | 229.613 | 4.164 | 229.774 | 4.442 | 234.567 | 4.556 | 230.367 | 17.064 | 889.85 | 55.179 | 11.74
2019-09-06 09:15:00 | 4.683 | 222.267 | 4.922 | 221.196 | 5.162 | 224.367 | 5.235 | 220.633 | 17.86 | 889.4 | 51.083 | 10.6976
2019-09-06 09:30:00 | 4.845 | 231.673 | 5.193 | 231.454 | 5.286 | 237.767 | 5.188 | 233.533 | 17.86 | 889.708 | 51.296 | 9.3717
2019-09-06 09:45:00 | 4.324 | 262.853 | 4.46 | 255.042 | 4.437 | 259.95 | 4.46 | 253.9 | 18.639 | 889.875 | 43.595 | 9.2708
2019-09-06 10:00:00 | 4.531 | 265.547 | 4.956 | 265.279 | 5.061 | 271.983 | 5.08 | 268.583 | 18.856 | 889.775 | 42.848 | 13.8653
2019-09-06 10:15:00 | 5.25 | 267.447 | 5.551 | 266.044 | 5.493 | 272.633 | 5.594 | 269.283 | 18.773 | 890.008 | 42.256 | 17.0628
2019-09-06 10:30:00 | 5.463 | 281.2 | 5.677 | 277.543 | 5.69 | 281.067 | 5.761 | 275.833 | 18.739 | 889.517 | 40.829 | 16.8681
2019-09-06 10:45:00 | 5.738 | 290.987 | 6.081 | 283.272 | 6.263 | 287.133 | 6.43 | 281.967 | 19.268 | 889.892 | 39.443 | 15.2658
2019-09-06 11:00:00 | 5.56 | 289.347 | 5.918 | 287.909 | 6.078 | 290.167 | 6.322 | 286.9 | 19.631 | 890 | 38.725 | 12.5671
2019-09-06 11:15:00 | 5.291 | 278.76 | 5.63 | 274.957 | 5.718 | 279.8 | 5.895 | 277.633 | 19.798 | 889.5 | 37.877 | 9.781
2019-09-06 11:30:00 | 4.623 | 254.693 | 4.985 | 252.373 | 5.126 | 257.95 | 5.061 | 254.167 | 20.814 | 889.567 | 37.451 | 11.4032
2019-09-06 11:45:00 | 4.227 | 284.62 | 4.233 | 284.633 | 4.15 | 283.867 | 4.154 | 278.1 | 21.627 | 889.817 | 34.637 | 14.2319
2019-09-06 12:00:00 | 5.003 | 275.447 | 5.513 | 274.925 | 5.57 | 277.367 | 5.67 | 272.467 | 21.039 | 889.317 | 34.907 | 12.6367
2019-09-06 12:15:00 | 4.641 | 286.12 | 4.824 | 284.023 | 5.123 | 289.6 | 5.127 | 285.75 | 21.531 | 889.867 | 33.872 | 9.3397
2019-09-06 12:30:00 | 4.264 | 319.027 | 4.177 | 311.146 | 4.27 | 316.067 | 4.294 | 311.1 | 21.185 | 889.85 | 33.541 | 7.8887
2019-09-06 12:45:00 | 3.662 | 295.027 | 3.77 | 292.899 | 3.811 | 322.8 | 3.675 | 329.3 | 21.456 | 889.967 | 33.232 | 7.7054
2019-09-06 13:00:00 | 5.911 | 320.173 | 5.819 | 313.508 | 5.799 | 317.933 | 5.797 | 318.1 | 22.064 | 889.15 | 32.499 | 8.7158
2019-09-06 13:15:00 | 4.686 | 296.333 | 4.724 | 293.424 | 4.833 | 298.367 | 4.809 | 295.2 | 22.398 | 889.883 | 31.387 | 8.3023
2019-09-06 13:30:00 | 3.891 | 278.733 | 4.316 | 321.74 | 4.586 | 289.533 | 4.7 | 298.267 | 22.614 | 889.583 | 30.685 | 10.4247
2019-09-06 13:45:00 | 5.484 | 303.927 | 5.627 | 301.499 | 5.509 | 307.267 | 5.643 | 305.3 | 22.564 | 889.6 | 31.021 | 10.3281
2019-09-06 14:00:00 | 6.529 | 297.92 | 6.766 | 290.702 | 6.94 | 295.267 | 6.834 | 291.333 | 22.914 | 889.75 | 30.277 | 14.2305
2019-09-06 14:15:00 | 5.796 | 303.96 | 5.88 | 296.718 | 6.162 | 300.167 | 6.447 | 297 | 23.581 | 889.483 | 29.472 | 12.0469
2019-09-06 14:30:00 | 5.757 | 268.507 | 6.195 | 263.938 | 6.455 | 270.45 | 6.433 | 264.15 | 23.373 | 889.717 | 28.472 | 8.3122
2019-09-06 14:45:00 | 4.998 | 307.387 | 5.203 | 301.133 | 5.385 | 307.967 | 5.434 | 304.667 | 23.231 | 889.75 | 28.056 | 6.545
2019-09-06 15:00:00 | 4.427 | 218.907 | 4.53 | 277.318 | 4.633 | 261.467 | 4.921 | 298.567 | 23.564 | 889.967 | 27.379 | 9.6211
2019-09-06 15:15:00 | 5.632 | 340.613 | 5.939 | 331.248 | 6.098 | 334.867 | 6.346 | 334.9 | 23.848 | 890.083 | 26.451 | 6.2175
2019-09-06 15:30:00 | 3.982 | 289.187 | 4.166 | 308.661 | 4.017 | 302.6 | 3.97 | 302.767 | 24.464 | 889.733 | 25.557 | 6.3532
2019-09-06 15:45:00 | 4.642 | 299.12 | 5.004 | 292.038 | 4.902 | 294.95 | 5.09 | 290.6 | 24.756 | 889.633 | 24.92 | 6.7376
2019-09-06 16:00:00 | 4.973 | 280.327 | 5.303 | 277.264 | 5.156 | 283.35 | 5.088 | 283.317 | 24.577 | 890.033 | 23.853 | 6.027
2019-09-06 16:15:00 | 2.75 | 253.687 | 2.959 | 258.043 | 2.899 | 270.5 | 2.787 | 268.017 | 25.177 | 889.817 | 24.013 | 10.0737
2019-09-06 16:30:00 | 4.142 | 271.247 | 4.274 | 263.901 | 4.523 | 269.183 | 4.53 | 267.317 | 25.094 | 889.633 | 23.467 | 9.5507
2019-09-06 16:45:00 | 3.931 | 326.733 | 4.238 | 319.648 | 4.64 | 321.533 | 5.203 | 306.533 | 25.323 | 890.117 | 23.869 | 13.1874
2019-09-06 17:00:00 | 5.981 | 283.987 | 6.101 | 280.427 | 6.281 | 285.633 | 6.346 | 283.2 | 24.923 | 889.55 | 23.805 | 13.7516
2019-09-06 17:15:00 | 5.203 | 286.167 | 5.814 | 283.282 | 6.033 | 287.6 | 6.332 | 283.433 | 24.706 | 889.65 | 23.912 | 11.3001
2019-09-06 17:30:00 | 5.488 | 303.067 | 5.494 | 291.868 | 5.834 | 294.567 | 5.928 | 292.167 | 24.768 | 889.75 | 23.301 | 14.0834
2019-09-06 17:45:00 | 4.895 | 267.3 | 5.072 | 265.34 | 5.146 | 269.7 | 5.293 | 263.483 | 24.873 | 889.717 | 22.949 | 17.2575
2019-09-06 18:00:00 | 5.389 | 287.747 | 5.824 | 283.885 | 5.806 | 286.567 | 6.022 | 284.167 | 25.135 | 889.6 | 22.237 | 13.0432
2019-09-06 18:15:00 | 4.97 | 285.4 | 5.429 | 283.342 | 5.549 | 285.767 | 5.594 | 281 | 25.373 | 889.833 | 22.032 | 13.3075
2019-09-06 18:30:00 | 5.213 | 321.867 | 5.575 | 315.969 | 5.627 | 319.3 | 6.178 | 321.1 | 25.289 | 889.6 | 21.171 | 22.3864
2019-09-06 18:45:00 | 3.982 | 297.9 | 3.947 | 321.648 | 3.941 | 326.867 | 4.217 | 321.767 | 24.844 | 889.35 | 21.683 | 19.0091
2019-09-06 19:00:00 | 6.153 | 308.453 | 6.577 | 303.139 | 6.778 | 308.5 | 7.173 | 305.767 | 25.344 | 889.683 | 20.308 | 14.7521
2019-09-06 19:15:00 | 5.592 | 319.213 | 5.906 | 314.217 | 5.841 | 318.5 | 6.017 | 316.567 | 25.085 | 889.783 | 20.28 | 13.2919
2019-09-06 19:30:00 | 4.399 | 299.907 | 4.639 | 294.971 | 4.77 | 299.233 | 5.157 | 298.167 | 24.431 | 889.533 | 20.313 | 14.2078
2019-09-06 19:45:00 | 6.186 | 299.373 | 6.792 | 294.211 | 6.942 | 298.8 | 7.159 | 297.433 | 24.877 | 889.9 | 21.261 | 16.6891
2019-09-06 20:00:00 | 5.604 | 287.533 | 6.406 | 286.081 | 6.614 | 290.367 | 6.794 | 288.533 | 24.123 | 889.767 | 22.752 | 11.546
2019-09-06 20:15:00 | 4.634 | 296.453 | 5.041 | 290.265 | 5.372 | 295.5 | 5.642 | 291.933 | 23.627 | 889.533 | 23.52 | 11.5986
2019-09-06 20:30:00 | 4.677 | 309.733 | 5.152 | 305.506 | 5.37 | 309.233 | 5.48 | 305.8 | 23.864 | 889.6 | 22.517 | 10.3942
2019-09-06 20:45:00 | 5.022 | 288.32 | 5.772 | 287.586 | 6.082 | 294.5 | 6.449 | 294.733 | 23.581 | 889.55 | 22.992 | 12.0377
2019-09-06 21:00:00 | 4.641 | 292.787 | 5.665 | 288.745 | 5.946 | 294.3 | 6.277 | 290.6 | 22.898 | 889.183 | 23.568 | 14.9198
2019-09-06 21:15:00 | 4.682 | 295.84 | 6 | 294.083 | 6.323 | 300.667 | 6.701 | 298.233 | 22.998 | 889.95 | 22.909 | 13.0247
2019-09-06 21:30:00 | 4.082 | 286.547 | 5.381 | 288.592 | 5.611 | 296.767 | 6.283 | 294.267 | 22.377 | 889.65 | 23.517 | 13.0204
2019-09-06 21:45:00 | 4.163 | 280.56 | 5.274 | 283.754 | 5.614 | 288.6 | 5.917 | 287.667 | 21.998 | 890 | 23.899 | 21.7753
2019-09-06 22:00:00 | 5.238 | 286.387 | 6.674 | 285.798 | 7.085 | 292.5 | 7.551 | 291.567 | 21.856 | 889.383 | 24.632 | 25.3615
2019-09-06 22:15:00 | 5.266 | 287.2 | 6.467 | 284.772 | 6.774 | 290.033 | 7.157 | 289.267 | 21.552 | 889.5 | 24.899 | 30.489
2019-09-06 22:30:00 | 5.252 | 288.707 | 6.655 | 287.163 | 7.073 | 292.333 | 7.746 | 290.267 | 21.794 | 889.9 | 24.088 | 37.4589
2019-09-06 22:45:00 | 6.574 | 280.073 | 7.885 | 279.404 | 8.467 | 282.967 | 8.853 | 280.2 | 21.948 | 889.5 | 23.456 | 42.0158
2019-09-06 23:00:00 | 6.636 | 278.467 | 7.899 | 275.873 | 8.236 | 281.067 | 8.762 | 278.833 | 21.156 | 889.7 | 24.984 | 43.8988
2019-09-06 23:15:00 | 7.6 | 277.627 | 8.713 | 275.957 | 8.923 | 280.933 | 9.256 | 278.367 | 21.098 | 889.85 | 26.256 | 46.918
2019-09-06 23:30:00 | 7.169 | 279.773 | 8.512 | 276.869 | 8.987 | 279.867 | 9.435 | 278.2 | 20.818 | 889.417 | 27.475 | 49.5961
2019-09-06 23:45:00 | 8.197 | 281.053 | 9.608 | 279.447 | 10.3 | 282.5 | 10.567 | 280.567 | 20.814 | 889.6 | 28.131 | 44.5206