## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-07 00:00:00 | 8.023 | 281.74 | 9.433 | 280.707 | 9.894 | 284.8 | 10.339 | 280.967 | 20.723 | 889.733 | 28.288 | 50.765
2019-09-07 00:15:00 | 8.218 | 278.133 | 9.859 | 273.38 | 10.326 | 278.367 | 10.526 | 274.933 | 20.185 | 889.767 | 28.555 | 49.5421
2019-09-07 00:30:00 | 7.886 | 280.053 | 9.332 | 277.637 | 9.874 | 282.067 | 10.4 | 279.7 | 20.206 | 889.633 | 29.52 | 48.9168
2019-09-07 00:45:00 | 8.573 | 281.773 | 9.88 | 275.317 | 10.243 | 281.7 | 10.93 | 277.767 | 19.814 | 890 | 30.541 | 48.5289
2019-09-07 01:00:00 | 8.226 | 285.813 | 10.021 | 281.637 | 10.316 | 286 | 10.921 | 283.933 | 19.735 | 889.75 | 31.021 | 48.9985
2019-09-07 01:15:00 | 7.548 | 279.04 | 9.235 | 276.09 | 9.773 | 280 | 10.24 | 277.9 | 19.577 | 889.733 | 31.304 | 50.4659
2019-09-07 01:30:00 | 7.064 | 277 | 8.477 | 273.007 | 9.29 | 277.333 | 10.106 | 274.367 | 18.977 | 889.75 | 32.184 | 51.0166
2019-09-07 01:45:00 | 7.54 | 277.16 | 9.016 | 272.119 | 9.747 | 277.5 | 10.542 | 274.167 | 19.144 | 889.6 | 31.621 | 51.9701
2019-09-07 02:00:00 | 8.294 | 274.48 | 9.807 | 269.164 | 10.551 | 274.8 | 11.13 | 270.833 | 18.873 | 889.983 | 30.699 | 50.7053
2019-09-07 02:15:00 | 7.134 | 267.513 | 8.758 | 268.448 | 9.414 | 273.933 | 10.166 | 269.733 | 18.923 | 889.933 | 30.2 | 49.2551
2019-09-07 02:30:00 | 6.67 | 269.053 | 7.954 | 266.563 | 8.516 | 272.6 | 8.854 | 269.533 | 18.66 | 889.8 | 29.984 | 44.8567
2019-09-07 02:45:00 | 6.683 | 264.613 | 7.976 | 264.699 | 8.596 | 270.767 | 9.145 | 266.567 | 18.656 | 889.75 | 30.173 | 44.21
2019-09-07 03:00:00 | 6.78 | 262.72 | 7.893 | 261.076 | 8.438 | 267.767 | 8.96 | 264.9 | 18.381 | 889.633 | 30.395 | 48.2468
2019-09-07 03:15:00 | 6.24 | 265.613 | 7.595 | 265.165 | 8.106 | 270.367 | 8.641 | 266.733 | 18.289 | 889.8 | 30.427 | 49.4689
2019-09-07 03:30:00 | 6.917 | 265.653 | 8.24 | 263.429 | 8.53 | 271.2 | 9.074 | 267.5 | 18.002 | 889.617 | 31.125 | 51.4372
2019-09-07 03:45:00 | 6.9 | 260.393 | 7.945 | 260.546 | 8.354 | 266.633 | 8.808 | 263.8 | 17.952 | 889.75 | 31.979 | 48.1871
2019-09-07 04:00:00 | 6.745 | 260.2 | 7.794 | 259.615 | 8.152 | 267.3 | 8.464 | 264.833 | 17.498 | 889.8 | 32.309 | 46.5357
2019-09-07 04:15:00 | 6.773 | 258.62 | 7.87 | 258.531 | 8.147 | 265.7 | 8.371 | 262.317 | 16.968 | 889.783 | 32.776 | 49.5436
2019-09-07 04:30:00 | 6.846 | 258.02 | 8.09 | 260.992 | 8.76 | 267.433 | 9.237 | 262.667 | 17.227 | 889.7 | 33.117 | 49.5286
2019-09-07 04:45:00 | 6.944 | 246.06 | 7.95 | 245.693 | 8.174 | 253.567 | 8.327 | 250.817 | 16.898 | 889.733 | 33.52 | 49.1399
2019-09-07 05:00:00 | 6.759 | 251.253 | 7.655 | 249.923 | 8.154 | 254.867 | 8.634 | 251.233 | 17.231 | 889.633 | 34.237 | 43.8434
2019-09-07 05:15:00 | 7.032 | 253.967 | 8.1 | 252.577 | 8.578 | 258.233 | 8.914 | 253.383 | 17.048 | 889.983 | 35.304 | 39.7008
2019-09-07 05:30:00 | 6.88 | 254.32 | 8.202 | 250.873 | 8.551 | 257.733 | 8.836 | 254.1 | 16.731 | 889.9 | 36.912 | 36.6603
2019-09-07 05:45:00 | 5.716 | 237.62 | 6.827 | 237.433 | 7.448 | 244.6 | 7.491 | 241.017 | 16.664 | 889.567 | 38.363 | 47.0615
2019-09-07 06:00:00 | 6.611 | 226.74 | 7.77 | 226.535 | 8.296 | 231.633 | 8.128 | 228.4 | 15.837 | 889.783 | 41.056 | 48.2901
2019-09-07 06:15:00 | 6.49 | 235.813 | 7.455 | 233.914 | 8.121 | 240.433 | 8.123 | 236.333 | 16.17 | 890.208 | 43.424 | 48.6333
2019-09-07 06:30:00 | 6.17 | 237.793 | 7.297 | 235.936 | 7.877 | 242.133 | 8.137 | 237.533 | 15.552 | 890.15 | 45.28 | 55.0398
2019-09-07 06:45:00 | 6.63 | 243.187 | 8.237 | 240.339 | 8.827 | 246.3 | 9.102 | 241.233 | 15.566 | 889.75 | 47.381 | 53.1987
2019-09-07 07:00:00 | 7.026 | 240.747 | 8.446 | 237.82 | 9.135 | 245.2 | 9.208 | 241.233 | 15.11 | 889.783 | 49.141 | 51.7321
2019-09-07 07:15:00 | 7.006 | 239.4 | 8.502 | 237.414 | 9.199 | 244.6 | 9.161 | 238.867 | 14.991 | 889.792 | 49.931 | 46.5798
2019-09-07 07:30:00 | 6.444 | 238.033 | 7.977 | 234.765 | 8.772 | 240.167 | 9.035 | 234.367 | 14.808 | 889.642 | 52.341 | 39.5771
2019-09-07 07:45:00 | 6.697 | 233.66 | 8.184 | 233.711 | 8.698 | 240.733 | 9.022 | 234.833 | 15.155 | 889.783 | 47.083 | 45.5942
2019-09-07 08:00:00 | 6.511 | 237.82 | 7.687 | 235.72 | 8.603 | 241.367 | 9.012 | 235.7 | 15.816 | 889.3 | 44.075 | 38.7444
2019-09-07 08:15:00 | 5.99 | 250.827 | 7.365 | 247.902 | 8.211 | 254.917 | 8.703 | 250.5 | 16.276 | 889.783 | 43.403 | 37.6501
2019-09-07 08:30:00 | 6.09 | 252.973 | 7.083 | 253.895 | 7.326 | 259.567 | 7.456 | 256.883 | 17.089 | 889.517 | 42.56 | 46.5066
2019-09-07 08:45:00 | 7.359 | 261.773 | 8.071 | 260.206 | 8.578 | 266.567 | 8.611 | 260.617 | 17.056 | 889.375 | 44.08 | 49.739
2019-09-07 09:00:00 | 8.468 | 266.6 | 9.381 | 264.357 | 9.42 | 269.333 | 9.605 | 265.2 | 17.41 | 890.367 | 43.984 | 49.6359
2019-09-07 09:15:00 | 7.028 | 264.527 | 7.552 | 260.066 | 7.763 | 267.167 | 7.896 | 265.167 | 17.885 | 889.492 | 42.773 | 44.345
2019-09-07 09:30:00 | 7.916 | 265.787 | 8.21 | 265.351 | 8.219 | 270.583 | 8.177 | 265.367 | 18.235 | 889.583 | 41.76 | 36.03
2019-09-07 09:45:00 | 7.41 | 270.213 | 7.704 | 266.537 | 7.759 | 269.967 | 7.937 | 266.35 | 18.873 | 889.933 | 39.512 | 33.4343
2019-09-07 10:00:00 | 7.083 | 266.34 | 7.499 | 266.82 | 7.517 | 272.567 | 7.622 | 268.167 | 19.068 | 890.183 | 38.251 | 32.755
2019-09-07 10:15:00 | 7.062 | 275.04 | 7.398 | 271.913 | 7.388 | 277.533 | 7.548 | 272.667 | 18.985 | 889.933 | 36.653 | 27.0825
2019-09-07 10:30:00 | 7.476 | 286.467 | 7.873 | 281.624 | 7.974 | 282.6 | 8.078 | 279.367 | 19.214 | 889.417 | 36.816 | 27.6922
2019-09-07 10:45:00 | 6.29 | 279.327 | 6.882 | 276.941 | 6.784 | 280.533 | 7.013 | 276.183 | 19.898 | 889.567 | 35.168 | 40.0873
2019-09-07 11:00:00 | 8.052 | 272.453 | 8.589 | 266.469 | 8.637 | 270.733 | 8.903 | 266.833 | 20.052 | 889.75 | 36.619 | 44.102
2019-09-07 11:15:00 | 7.768 | 270.773 | 7.965 | 267.383 | 8.015 | 271.233 | 8.45 | 267.8 | 19.964 | 889.783 | 38.085 | 52.2686
2019-09-07 11:30:00 | 8.17 | 276.64 | 8.772 | 270.485 | 8.889 | 274.033 | 8.915 | 270.65 | 19.827 | 890.183 | 37.829 | 51.202
2019-09-07 11:45:00 | 8.196 | 272 | 8.805 | 269.037 | 8.859 | 274.167 | 8.963 | 267.067 | 20.368 | 889.533 | 35.832 | 51.9346
2019-09-07 12:00:00 | 9.04 | 285.987 | 10.016 | 282.083 | 10.222 | 286 | 10.022 | 282.833 | 20.052 | 889.533 | 35.216 | 51.1779
2019-09-07 12:15:00 | 8.244 | 287.147 | 8.797 | 286.844 | 8.91 | 293.833 | 9.381 | 292.967 | 20.268 | 889.983 | 32.611 | 51.2446
2019-09-07 12:30:00 | 9.596 | 293.787 | 10.63 | 289.281 | 10.83 | 292.7 | 11.251 | 289.533 | 20.748 | 889.667 | 32.04 | 46.3801
2019-09-07 12:45:00 | 8.843 | 287.667 | 9.522 | 281.741 | 9.298 | 287.533 | 9.586 | 284.333 | 20.952 | 889.817 | 31.072 | 46.9081
2019-09-07 13:00:00 | 7.81 | 310.067 | 8.277 | 305.301 | 8.621 | 310.533 | 9.214 | 307.433 | 20.968 | 889.683 | 30.381 | 47.6939
2019-09-07 13:15:00 | 8.553 | 281.107 | 9.12 | 280.895 | 9.302 | 284.9 | 9.163 | 281.633 | 21.427 | 890.017 | 30.843 | 46.9386
2019-09-07 13:30:00 | 8.565 | 309.813 | 8.927 | 303.405 | 9.263 | 307.367 | 9.582 | 303.767 | 21.41 | 889.583 | 29.616 | 46.2863
2019-09-07 13:45:00 | 8.221 | 295.76 | 8.874 | 291.28 | 9.178 | 295.067 | 9.632 | 293.583 | 21.76 | 889.817 | 28.992 | 47.5788
2019-09-07 14:00:00 | 8.355 | 307.08 | 8.847 | 302.222 | 8.986 | 307.833 | 9.384 | 304.967 | 21.627 | 889.683 | 26.987 | 45.8465
2019-09-07 14:15:00 | 9.576 | 308.32 | 9.918 | 302.49 | 9.909 | 307.1 | 10.233 | 305.367 | 22.281 | 889.833 | 26.565 | 46.621
2019-09-07 14:30:00 | 10.233 | 312.307 | 10.489 | 315.045 | 10.857 | 318.967 | 11.281 | 316.4 | 21.856 | 889.767 | 26.904 | 47.3621
2019-09-07 14:45:00 | 9.203 | 324.307 | 9.39 | 313.291 | 9.76 | 315.9 | 9.997 | 311.733 | 21.96 | 889.75 | 26.915 | 47.1425
2019-09-07 15:00:00 | 9.193 | 307.733 | 9.402 | 302.94 | 9.488 | 307.933 | 9.623 | 302.9 | 21.818 | 890.1 | 27.885 | 45.2382
2019-09-07 15:15:00 | 8.759 | 306.267 | 9.068 | 303.964 | 9.404 | 309.767 | 9.696 | 308.933 | 21.989 | 889.883 | 26.955 | 37.9471
2019-09-07 15:30:00 | 7.597 | 315.4 | 7.925 | 311.898 | 8.62 | 314.033 | 8.676 | 313.1 | 22.698 | 890.067 | 26.685 | 37.1207
2019-09-07 15:45:00 | 7.958 | 292.667 | 8.605 | 287.602 | 8.759 | 295.233 | 9.162 | 295.4 | 22.898 | 889.683 | 26.269 | 40.4263
2019-09-07 16:00:00 | 7.259 | 311.733 | 7.714 | 305.147 | 8.249 | 310.133 | 8.55 | 307.933 | 22.498 | 889.717 | 25.813 | 38.4999
2019-09-07 16:15:00 | 7.558 | 309.2 | 7.788 | 313.742 | 8.005 | 317.2 | 8.396 | 313.3 | 22.598 | 890.1 | 26.728 | 41.7479
2019-09-07 16:30:00 | 7.786 | 287.32 | 8.272 | 284.705 | 8.34 | 288.3 | 8.863 | 287.9 | 21.944 | 889.883 | 27.064 | 38.6811
2019-09-07 16:45:00 | 6.769 | 293.973 | 7.195 | 293.032 | 7.586 | 297.833 | 8.013 | 297.467 | 21.764 | 889.75 | 27.653 | 30.332
2019-09-07 17:00:00 | 6.476 | 300.507 | 6.927 | 298 | 6.913 | 301.5 | 7.18 | 300.433 | 22.164 | 890.1 | 27.488 | 34.7986
2019-09-07 17:15:00 | 7.221 | 298.28 | 7.569 | 291.196 | 7.78 | 293.667 | 8.294 | 292.4 | 21.968 | 889.733 | 27.291 | 41.7977
2019-09-07 17:30:00 | 7.868 | 304.627 | 8.418 | 300.277 | 8.641 | 304.033 | 9.016 | 304.2 | 22.168 | 889.967 | 27.883 | 34.3417
2019-09-07 17:45:00 | 7.333 | 293.867 | 7.869 | 291.677 | 8.112 | 295.933 | 8.436 | 292.867 | 21.989 | 889.867 | 27.776 | 34.5428
2019-09-07 18:00:00 | 8.365 | 289.76 | 8.689 | 286.273 | 8.745 | 289.967 | 8.868 | 289.3 | 21.694 | 889.9 | 27.48 | 32.7806
2019-09-07 18:15:00 | 5.872 | 293.52 | 6.346 | 287.375 | 6.5 | 291.133 | 6.803 | 287.633 | 21.906 | 890.233 | 26.509 | 30.1529
2019-09-07 18:30:00 | 6.793 | 290.013 | 7.561 | 282.92 | 7.816 | 283.733 | 8.085 | 278.6 | 22.018 | 889.45 | 27.251 | 31.5385
2019-09-07 18:45:00 | 6.313 | 290.613 | 7.041 | 288.902 | 7.241 | 291.9 | 7.527 | 288.933 | 21.952 | 889.883 | 27.595 | 41.4609
2019-09-07 19:00:00 | 7.203 | 300.96 | 7.626 | 295.473 | 7.86 | 297.9 | 8.329 | 294.667 | 21.477 | 889.917 | 28.219 | 41.0018
2019-09-07 19:15:00 | 7.968 | 302.813 | 8.447 | 297.238 | 8.706 | 301.033 | 9.209 | 297.967 | 21.631 | 889.533 | 29.171 | 42.8536
2019-09-07 19:30:00 | 7.366 | 283.12 | 8.234 | 277.187 | 8.31 | 284.967 | 8.725 | 281.7 | 20.818 | 889.617 | 30.064 | 39.1139
2019-09-07 19:45:00 | 7.088 | 285.813 | 7.758 | 282.892 | 7.952 | 287.967 | 8.343 | 286.1 | 20.998 | 889.667 | 30.373 | 40.6984
2019-09-07 20:00:00 | 8.354 | 282.293 | 8.948 | 278.194 | 9.325 | 280.567 | 9.595 | 277.2 | 20.789 | 890.017 | 31.72 | 47.7927
2019-09-07 20:15:00 | 8.078 | 277.013 | 9.191 | 274.573 | 9.392 | 278.5 | 9.66 | 275.1 | 20.302 | 889.733 | 33.773 | 49.2906
2019-09-07 20:30:00 | 8.686 | 273 | 9.807 | 271.027 | 9.974 | 275.433 | 10.207 | 271.9 | 20.168 | 889.933 | 35.12 | 50.1916
2019-09-07 20:45:00 | 7.865 | 275.787 | 8.555 | 271.836 | 9.037 | 275.267 | 9.332 | 271.233 | 19.673 | 889.717 | 35.893 | 43.6004
2019-09-07 21:00:00 | 6.82 | 279.2 | 7.806 | 275.998 | 8.092 | 279.8 | 8.224 | 275.067 | 19.248 | 889.7 | 36.896 | 40.9571
2019-09-07 21:15:00 | 7.058 | 275.147 | 8.065 | 271.289 | 8.55 | 277.233 | 8.828 | 272.167 | 19.094 | 889.533 | 37.267 | 39.3228
2019-09-07 21:30:00 | 6.561 | 272.107 | 7.451 | 267.952 | 7.659 | 271.667 | 7.894 | 266.933 | 19.052 | 889.75 | 37.861 | 38.6179
2019-09-07 21:45:00 | 6.543 | 275.453 | 7.599 | 272.674 | 8.113 | 276.467 | 8.452 | 272.933 | 18.931 | 889.367 | 38.32 | 38.048
2019-09-07 22:00:00 | 6.688 | 270.747 | 7.914 | 269.681 | 8.402 | 273.067 | 8.734 | 267.567 | 18.806 | 889.7 | 38.741 | 41.2704
2019-09-07 22:15:00 | 6.461 | 264.86 | 7.271 | 262.366 | 7.833 | 265.933 | 8.022 | 263.833 | 18.623 | 890.083 | 38.995 | 45.1288
2019-09-07 22:30:00 | 7.516 | 271.48 | 8.551 | 269.056 | 8.893 | 272.9 | 9.437 | 269.333 | 18.214 | 889.733 | 39.552 | 43.5705
2019-09-07 22:45:00 | 7.434 | 278.853 | 8.257 | 275.27 | 8.793 | 281.133 | 9.054 | 277.067 | 18.218 | 889.833 | 40.083 | 41.647
2019-09-07 23:00:00 | 7.312 | 278.52 | 8.21 | 274.124 | 8.468 | 277.9 | 9.125 | 272.8 | 17.998 | 890 | 40.365 | 49.7255
2019-09-07 23:15:00 | 7.744 | 270.907 | 8.545 | 269.818 | 8.785 | 274.633 | 9.311 | 271.6 | 17.856 | 890.142 | 40.992 | 55.2842
2019-09-07 23:30:00 | 8.422 | 267.32 | 9.401 | 266.171 | 9.486 | 270.7 | 9.728 | 267.033 | 17.581 | 889.817 | 41.659 | 52.9088
2019-09-07 23:45:00 | 7.358 | 269.553 | 8.309 | 267.743 | 8.875 | 272.433 | 9.419 | 269.433 | 17.556 | 890.108 | 42.005 | 47.5241