## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-08 00:00:00 | 7.091 | 267.253 | 8.096 | 265.914 | 8.557 | 269.367 | 8.913 | 265.083 | 17.423 | 890.042 | 42.277 | 47.2832
2019-09-08 00:15:00 | 6.734 | 270.653 | 7.758 | 267.048 | 8.556 | 270.767 | 8.806 | 267.133 | 17.635 | 890.142 | 42.56 | 49.4682
2019-09-08 00:30:00 | 7.772 | 266.633 | 8.938 | 265.592 | 9.549 | 270.167 | 10.135 | 264.917 | 17.223 | 889.992 | 43.024 | 48.6688
2019-09-08 00:45:00 | 7.676 | 268.667 | 8.988 | 267.849 | 9.486 | 272.3 | 9.788 | 266.9 | 17.456 | 889.667 | 43.509 | 45.6738
2019-09-08 01:00:00 | 8.425 | 266.407 | 9.48 | 264.935 | 9.786 | 269 | 10.013 | 265.067 | 17.114 | 889.817 | 44.101 | 45.1601
2019-09-08 01:15:00 | 8.347 | 267.307 | 9.276 | 264.537 | 9.79 | 269.933 | 9.905 | 266.633 | 17.081 | 889.858 | 44.832 | 47.1198
2019-09-08 01:30:00 | 7.202 | 263.413 | 8.337 | 262.749 | 9.063 | 269.567 | 9.511 | 266.7 | 16.898 | 889.875 | 45.557 | 52.0696
2019-09-08 01:45:00 | 8.882 | 264.693 | 10.202 | 263 | 10.798 | 268.133 | 11.166 | 263.65 | 16.548 | 889.917 | 46.219 | 55.6558
2019-09-08 02:00:00 | 8.025 | 265.913 | 9.663 | 264.357 | 10.157 | 267.933 | 10.412 | 264.8 | 16.781 | 889.667 | 46.885 | 52.9578
2019-09-08 02:15:00 | 7.434 | 265.22 | 8.986 | 266.015 | 9.537 | 271.967 | 9.77 | 266.467 | 16.364 | 890.233 | 47.6 | 50.0125
2019-09-08 02:30:00 | 8.699 | 264.44 | 9.737 | 264.585 | 10.222 | 268.1 | 10.528 | 263.867 | 16.238 | 890.35 | 47.909 | 46.9614
2019-09-08 02:45:00 | 8.975 | 264.027 | 10.187 | 262.345 | 10.711 | 268.1 | 10.928 | 262.417 | 16.305 | 889.583 | 48.352 | 45.7456
2019-09-08 03:00:00 | 8.486 | 267.013 | 9.57 | 264.068 | 9.92 | 269.133 | 10.183 | 265.133 | 16.322 | 889.683 | 48.587 | 44.4104
2019-09-08 03:15:00 | 6.885 | 265.507 | 8.204 | 264.606 | 8.743 | 270.8 | 9.374 | 264.75 | 16.056 | 889.35 | 48.912 | 38.9128
2019-09-08 03:30:00 | 6.694 | 258.667 | 8.026 | 259.737 | 8.696 | 264 | 8.884 | 259.55 | 15.576 | 889.725 | 48.677 | 36.8443
2019-09-08 03:45:00 | 6.82 | 254.193 | 7.963 | 255.341 | 8.368 | 260.767 | 8.623 | 255.967 | 15.412 | 889.875 | 48.56 | 35.9731
2019-09-08 04:00:00 | 4.994 | 237.467 | 6.132 | 238.858 | 6.774 | 248 | 7.052 | 245.267 | 15.454 | 889.85 | 48.235 | 40.5009
2019-09-08 04:15:00 | 5.297 | 230.733 | 6.441 | 231.708 | 6.83 | 241.733 | 6.994 | 239.5 | 14.891 | 889.9 | 50.187 | 43.869
2019-09-08 04:30:00 | 5.583 | 229.313 | 6.793 | 231.112 | 7.306 | 238.767 | 7.176 | 234.9 | 14.278 | 889.883 | 50.869 | 47.058
2019-09-08 04:45:00 | 6.635 | 244.067 | 7.847 | 242.662 | 8.272 | 248.033 | 8.212 | 244.7 | 14.608 | 889.75 | 50.891 | 46.5613
2019-09-08 05:00:00 | 6.432 | 253.047 | 8.084 | 251.975 | 8.634 | 259.267 | 8.88 | 254.633 | 14.824 | 890.1 | 50.208 | 40.103
2019-09-08 05:15:00 | 5.627 | 248.093 | 6.888 | 248.933 | 7.522 | 256.367 | 7.84 | 253.233 | 14.641 | 889.558 | 49.685 | 37.1498
2019-09-08 05:30:00 | 5.682 | 243.287 | 7.128 | 242.937 | 7.666 | 251.5 | 7.582 | 248.117 | 14.304 | 890.092 | 49.781 | 36.43
2019-09-08 05:45:00 | 5.878 | 235.253 | 7.225 | 234.642 | 7.829 | 241.9 | 7.977 | 238.033 | 14.554 | 889.7 | 50.837 | 35.5027
2019-09-08 06:00:00 | 5.466 | 239.78 | 6.881 | 239.184 | 7.435 | 245.233 | 7.499 | 241.033 | 14.262 | 889.833 | 51.701 | 28.8277
2019-09-08 06:15:00 | 6.065 | 240.14 | 7.208 | 235.82 | 7.695 | 241.833 | 7.951 | 235.933 | 14.441 | 890.017 | 51.467 | 30.7931
2019-09-08 06:30:00 | 5.057 | 230.647 | 6.42 | 228.583 | 7.092 | 234.2 | 7.323 | 229.8 | 14.191 | 889.533 | 51.413 | 29.8076
2019-09-08 06:45:00 | 5.053 | 222.12 | 6.251 | 224.63 | 6.903 | 232.667 | 7.001 | 230.533 | 14.183 | 889.633 | 51.968 | 30.8912
2019-09-08 07:00:00 | 4.956 | 224.88 | 6.436 | 224.213 | 7.128 | 233.1 | 7.143 | 231.767 | 13.787 | 889.883 | 53.067 | 28.1008
2019-09-08 07:15:00 | 4.825 | 227.807 | 6.456 | 230.678 | 6.926 | 239.933 | 6.995 | 238.267 | 14.104 | 890.017 | 52.832 | 26.2405
2019-09-08 07:30:00 | 4.903 | 229.293 | 6.292 | 232.754 | 6.575 | 244.167 | 6.546 | 242.367 | 13.983 | 889.533 | 51.893 | 23.2156
2019-09-08 07:45:00 | 4.812 | 239.113 | 6.038 | 240.894 | 6.473 | 249.933 | 6.515 | 247.433 | 13.987 | 889.917 | 51.072 | 20.0962
2019-09-08 08:00:00 | 4.96 | 246.327 | 6.08 | 253.368 | 6.329 | 264.6 | 6.91 | 264.733 | 14.224 | 889.383 | 49.365 | 17.4828
2019-09-08 08:15:00 | 4.35 | 243.8 | 5.478 | 252.228 | 5.883 | 263.4 | 6.602 | 264.817 | 14.641 | 889.942 | 47.051 | 16.8454
2019-09-08 08:30:00 | 4.405 | 248.72 | 5.296 | 256.009 | 5.912 | 266.167 | 6.529 | 264.633 | 15.067 | 889.95 | 43.872 | 15.1869
2019-09-08 08:45:00 | 3.865 | 251.627 | 4.984 | 259.086 | 5.659 | 264.867 | 6.149 | 261.817 | 15.744 | 889.75 | 40.936 | 15.3127
2019-09-08 09:00:00 | 5.446 | 254.707 | 5.877 | 255.081 | 5.968 | 260.867 | 6.162 | 256.467 | 16.814 | 890.15 | 38.144 | 17.271
2019-09-08 09:15:00 | 5.303 | 259.4 | 5.852 | 257.182 | 6.113 | 261.45 | 6.319 | 255.667 | 16.981 | 889.683 | 37.349 | 18.6573
2019-09-08 09:30:00 | 4.914 | 261.287 | 5.31 | 256.15 | 5.499 | 259.983 | 5.657 | 257.717 | 17.014 | 889.667 | 36.629 | 13.6521
2019-09-08 09:45:00 | 4.781 | 247.96 | 4.991 | 244.084 | 5.126 | 248.817 | 5.236 | 243.65 | 17.206 | 889.567 | 35.285 | 13.1206
2019-09-08 10:00:00 | 4.55 | 252.233 | 4.937 | 250.33 | 5.118 | 255.483 | 5.299 | 250.5 | 17.581 | 889.717 | 33.979 | 10.1654
2019-09-08 10:15:00 | 4.1 | 271.407 | 4.276 | 270.067 | 4.29 | 273.933 | 4.557 | 267.917 | 17.764 | 889.383 | 32.789 | 10.1476
2019-09-08 10:30:00 | 5.13 | 273.94 | 5.352 | 270.161 | 5.415 | 274.133 | 5.502 | 269.45 | 18.094 | 889.933 | 31.448 | 14.0294
2019-09-08 10:45:00 | 5.166 | 270.313 | 5.464 | 266.7 | 5.372 | 268.917 | 5.362 | 261.733 | 18.185 | 889.383 | 31.085 | 12.2296
2019-09-08 11:00:00 | 5.179 | 248.927 | 5.398 | 246.485 | 5.613 | 251.167 | 5.65 | 244.717 | 18.723 | 889.283 | 30.304 | 10.9051
2019-09-08 11:15:00 | 5.148 | 253.547 | 5.363 | 249.701 | 5.43 | 254.467 | 5.418 | 249.517 | 18.589 | 889.533 | 29.907 | 8.6874
2019-09-08 11:30:00 | 4.47 | 278.667 | 5.014 | 274.541 | 5.036 | 278.633 | 5.166 | 274.433 | 18.794 | 889.3 | 29.277 | 10.9179
2019-09-08 11:45:00 | 5.92 | 294.24 | 6.114 | 290.869 | 6.16 | 293.367 | 6.449 | 290.1 | 18.985 | 889.767 | 28.317 | 19.2308
2019-09-08 12:00:00 | 5.849 | 295.16 | 6.199 | 292.46 | 6.422 | 297.033 | 6.577 | 293.367 | 19.156 | 889.5 | 28.541 | 23.5446
2019-09-08 12:15:00 | 6.335 | 287.773 | 6.792 | 284.17 | 6.943 | 288.733 | 7.334 | 286.167 | 19.239 | 889.4 | 27.992 | 22.8525
2019-09-08 12:30:00 | 6.132 | 280.613 | 6.473 | 277.402 | 6.516 | 283.133 | 6.878 | 280.267 | 19.568 | 889.533 | 27.427 | 16.8525
2019-09-08 12:45:00 | 6.012 | 302.827 | 6.156 | 296.903 | 6.245 | 300.1 | 6.506 | 294 | 19.835 | 889.783 | 26.147 | 15.0441
2019-09-08 13:00:00 | 5.863 | 302.6 | 5.99 | 295.182 | 5.62 | 295.3 | 5.906 | 288.9 | 20.289 | 890.233 | 25.811 | 13.6152
2019-09-08 13:15:00 | 5.005 | 282.24 | 5.414 | 281.02 | 5.318 | 284.867 | 5.644 | 282.8 | 20.91 | 889.583 | 24.723 | 10.0666
2019-09-08 13:30:00 | 4.814 | 282.053 | 4.956 | 278.431 | 5.08 | 283.433 | 5.266 | 278.833 | 21.202 | 889.717 | 23.979 | 8.0727
2019-09-08 13:45:00 | 4.564 | 261.44 | 4.728 | 259.557 | 4.91 | 265.133 | 5.095 | 260.2 | 21.748 | 889.717 | 22.861 | 5.0543
2019-09-08 14:00:00 | 4.062 | 258.947 | 4.32 | 258.245 | 4.27 | 262.367 | 4.506 | 258.483 | 22.948 | 889.467 | 20.281 | 2.9695
2019-09-08 14:15:00 | 3.649 | 293.373 | 3.805 | 289.188 | 4.012 | 293.267 | 4.26 | 292.7 | 23.148 | 889.567 | 19.535 | 2.6014
2019-09-08 14:30:00 | 2.911 | 280.593 | 2.788 | 271.837 | 2.684 | 270.067 | 3.204 | 266.35 | 23.639 | 889.7 | 19.999 | 1.3053
2019-09-08 14:45:00 | 3.622 | 282.37 | 3.335 | 241.729 | 3.043 | 289.7 | 3.645 | 297.867 | 23.906 | 889.933 | 20.024 | 0.7397
2019-09-08 15:00:00 | 2.459 | 303.787 | 2.361 | 304.38 | 2.284 | 267.584 | 2.688 | 286 | 24.594 | 889.567 | 19.392 | 0.86973
2019-09-08 15:15:00 | 3.734 | 254.793 | 3.995 | 251.229 | 3.884 | 255.317 | 4.05 | 253.3 | 25.273 | 889.3 | 20.009 | 1.2243
2019-09-08 15:30:00 | 5.178 | 286.307 | 5.094 | 284.334 | 5.017 | 287.6 | 5.052 | 282.633 | 25.331 | 889.6 | 19.289 | 0.92303
2019-09-08 15:45:00 | 1.416 | 149.192 | 0.889 | 254.048 | 0.807 | 241.117 | 0.995 | 211.267 | 24.944 | 889.867 | 19.513 | 1.4297
2019-09-08 16:00:00 | 3.012 | 182.015 | 3.054 | 195.058 | 3.422 | 234.567 | 3.84 | 208.283 | 25.414 | 889.867 | 19.475 | 2.4188
2019-09-08 16:15:00 | 5.051 | 322.307 | 5.184 | 314.608 | 5.004 | 318.833 | 5.369 | 318.383 | 25.36 | 889.533 | 19.763 | 4.0353
2019-09-08 16:30:00 | 3.278 | 255.922 | 3.012 | 290.419 | 3.115 | 248.533 | 3.306 | 283.467 | 25.002 | 889.267 | 19.609 | 2.2184
2019-09-08 16:45:00 | 3.358 | 172.956 | 3.671 | 232.222 | 4.334 | 250.634 | 4.948 | 235.633 | 25.564 | 889.333 | 18.252 | 1.861
2019-09-08 17:00:00 | 5.308 | 300 | 5.26 | 301.182 | 5.217 | 309.6 | 5.355 | 309.267 | 25.664 | 889.767 | 18.735 | 2.4969
2019-09-08 17:15:00 | 2.766 | 286.827 | 2.517 | 297.774 | 2.497 | 298.4 | 3.105 | 299.033 | 25.218 | 889.267 | 18.867 | 0.70204
2019-09-08 17:30:00 | 2.274 | 41.035 | 1.475 | 45.045 | 0.95 | 35.9 | 0.88 | 46 | 25.489 | 889.5 | 18.275 | 0.27428
2019-09-08 17:45:00 | 3.242 | 308.493 | 3 | 300.805 | 2.934 | 297.433 | 3.254 | 288.033 | 25.794 | 889.4 | 18.063 | 0.1208
2019-09-08 18:00:00 | 2.494 | 249.893 | 2.19 | 237.97 | 2.26 | 241.017 | 2.376 | 230.567 | 26.064 | 889.667 | 17.876 | 0.11867
2019-09-08 18:15:00 | 2.48 | 210.922 | 2.234 | 250.654 | 2.09 | 170.369 | 2.381 | 205.802 | 26.377 | 889.6 | 16.864 | 0.72691
2019-09-08 18:30:00 | 3.762 | 316.467 | 3.917 | 316.131 | 4.33 | 310.234 | 4.824 | 322.733 | 26.635 | 889.467 | 16.124 | 2.1367
2019-09-08 18:45:00 | 2.423 | 28.11 | 1.65 | 54.53 | 1.796 | 86.567 | 2.283 | 178.233 | 26.068 | 889.4 | 16.931 | 1.7594
2019-09-08 19:00:00 | 2.732 | 318.173 | 2.587 | 318.772 | 2.354 | 323.067 | 2.792 | 320.267 | 26.264 | 889.933 | 16.528 | 0.81076
2019-09-08 19:15:00 | 1.137 | 260.248 | 0.743 | 221.113 | 0.337 | 225.767 | 1.34 | 239.8 | 26.406 | 889.5 | 16.864 | 0.8001
2019-09-08 19:30:00 | 3.85 | 321.227 | 3.917 | 313.154 | 3.908 | 316.433 | 4.089 | 316.067 | 26.252 | 889.267 | 17.129 | 1.2769
2019-09-08 19:45:00 | 2.348 | 319 | 2.338 | 311.111 | 1.972 | 317.067 | 2.338 | 316.067 | 25.631 | 889.8 | 18.103 | 1.7011
2019-09-08 20:00:00 | 3.506 | 332.653 | 3.771 | 324.254 | 3.881 | 327.5 | 4.132 | 327.3 | 25.431 | 889.6 | 19.063 | 3.9152
2019-09-08 20:15:00 | 3.649 | 352.48 | 4.132 | 347.12 | 4.225 | 326.8 | 4.302 | 349.167 | 25.168 | 889.95 | 20.367 | 2.7009
2019-09-08 20:30:00 | 3.714 | 59.36 | 4.643 | 166.538 | 4.608 | 0 | 4.825 | 11.933 | 24.673 | 889.467 | 19.637 | 2.8799
2019-09-08 20:45:00 | 3.906 | 15.901 | 4.446 | 9.635 | 4.621 | 14.033 | 4.44 | 11 | 24.264 | 889.567 | 18.523 | 2.2084
2019-09-08 21:00:00 | 3.008 | 16.683 | 3.854 | 14.644 | 3.903 | 19.367 | 3.977 | 18.067 | 23.906 | 889.633 | 18.472 | 1.3678
2019-09-08 21:15:00 | 2.454 | 16.827 | 2.892 | 12.931 | 3.185 | 21.233 | 3.342 | 16.6 | 22.981 | 889.433 | 18.808 | 0.35315
2019-09-08 21:30:00 | 0.594 | 40.503 | 1.666 | 22.462 | 2.093 | 26.7 | 2.462 | 23.267 | 22.798 | 889.833 | 19.555 | 0.21672
2019-09-08 21:45:00 | 1.197 | 74.867 | 1.524 | 24.053 | 2.288 | 48 | 2.706 | 39.067 | 22.331 | 889.533 | 19.632 | 0.26291
2019-09-08 22:00:00 | 3.122 | 157.953 | 2.543 | 128 | 1.886 | 125 | 1.626 | 91.767 | 22.164 | 889.817 | 21.112 | 0.2018
2019-09-08 22:15:00 | 2.603 | 153.7 | 1.883 | 121.229 | 1.62 | 121.1 | 1.914 | 99 | 22.123 | 889.9 | 21.531 | 0.17977
2019-09-08 22:30:00 | 3.472 | 159.373 | 3.369 | 127.29 | 3.132 | 124.933 | 2.999 | 120.7 | 21.735 | 890.067 | 22.96 | 0.17622
2019-09-08 22:45:00 | 3.608 | 172.687 | 2.413 | 139.239 | 1.197 | 137.733 | 1.474 | 123.033 | 21.231 | 889.767 | 23.488 | 0.59972
2019-09-08 23:00:00 | 3.61 | 175.28 | 3.12 | 147.43 | 2.865 | 143.367 | 2.331 | 144.7 | 21.56 | 889.85 | 23.835 | 1.9761
2019-09-08 23:15:00 | 5.07 | 194.733 | 4.31 | 164.352 | 3.47 | 159.467 | 3.011 | 155.867 | 19.927 | 889.7 | 27.179 | 0.36594
2019-09-08 23:30:00 | 4.24 | 201.927 | 2.953 | 172.134 | 2.879 | 166.367 | 3.209 | 156.7 | 18.71 | 889.667 | 28.512 | 0.24586
2019-09-08 23:45:00 | 4.046 | 213.8 | 3.659 | 187.07 | 2.641 | 188.433 | 2.315 | 183.667 | 18.923 | 889.767 | 29.211 | 0.24799