## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-09 00:00:00 | 4.981 | 222.5 | 2.798 | 192.366 | 2.398 | 190 | 2.682 | 189.067 | 18.064 | 889.983 | 32.213 | 0.1748
2019-09-09 00:15:00 | 4.902 | 233.72 | 2.435 | 208.01 | 1.486 | 196 | 1.736 | 189.6 | 18.006 | 889.533 | 33.349 | 0.17054
2019-09-09 00:30:00 | 5.74 | 227.267 | 3.594 | 224.501 | 1.988 | 214.233 | 1.47 | 190 | 17.048 | 889.4 | 34.352 | 0.17054
2019-09-09 00:45:00 | 5.328 | 234.44 | 3.397 | 224.432 | 2.061 | 230.833 | 1.78 | 209.1 | 16.714 | 889.867 | 35.84 | 0.17054
2019-09-09 01:00:00 | 5.465 | 227.587 | 3.473 | 233.388 | 2.066 | 234 | 1.487 | 211.167 | 16.146 | 889.9 | 37.776 | 0.17054
2019-09-09 01:15:00 | 5.33 | 230.64 | 2.92 | 233.7 | 0.293 | 233.967 | 0 | 213.933 | 15.58 | 889.733 | 38.8 | 0.18333
2019-09-09 01:30:00 | 5.966 | 226.753 | 4.664 | 231.66 | 3.265 | 247 | 2.073 | 237.367 | 15.732 | 889.683 | 39.264 | 2.5261
2019-09-09 01:45:00 | 6.502 | 221.48 | 7.724 | 217.561 | 6.018 | 224.9 | 4.75 | 225.533 | 15.383 | 889.833 | 40.203 | 2.5985
2019-09-09 02:00:00 | 5.049 | 226.307 | 6.008 | 218.163 | 4.435 | 223.033 | 3.88 | 222 | 15.804 | 889.867 | 38.992 | 2.8991
2019-09-09 02:15:00 | 5.806 | 226.413 | 5.83 | 217.629 | 4.975 | 214.9 | 4.536 | 207.533 | 16.12 | 890.283 | 38.645 | 3.2075
2019-09-09 02:30:00 | 5.466 | 221.867 | 5.612 | 217.561 | 5.098 | 217.933 | 5.19 | 211.5 | 16.348 | 890.008 | 41.019 | 2.6803
2019-09-09 02:45:00 | 5.699 | 216.053 | 4.971 | 212.329 | 4.92 | 211.733 | 5.287 | 203.5 | 16.498 | 890.183 | 44.448 | 1.8482
2019-09-09 03:00:00 | 4.544 | 213.793 | 4.582 | 209.535 | 4.354 | 203.233 | 4.898 | 196.067 | 15.808 | 889.875 | 47.147 | 1.7977
2019-09-09 03:15:00 | 4.101 | 213.88 | 4.894 | 207.863 | 4.556 | 206.867 | 5.097 | 199.667 | 15.723 | 889.783 | 48.139 | 2.1978
2019-09-09 03:30:00 | 3.817 | 219.92 | 5.915 | 219.651 | 5.77 | 218.367 | 5.125 | 212.6 | 15.509 | 889.492 | 49.611 | 1.5142
2019-09-09 03:45:00 | 4.346 | 227.62 | 4.714 | 213.026 | 4.399 | 211.367 | 4.644 | 205.433 | 15.666 | 890.142 | 51.2 | 0.52937
2019-09-09 04:00:00 | 4.543 | 239.493 | 4.735 | 219.07 | 5.132 | 217.1 | 4.796 | 204.633 | 15.395 | 890.292 | 51.221 | 1.1156
2019-09-09 04:15:00 | 5.427 | 226.133 | 4.241 | 215.08 | 3.408 | 217.833 | 3.754 | 211.8 | 15.711 | 890.017 | 50.411 | 1.7466
2019-09-09 04:30:00 | 4.434 | 232.367 | 5.452 | 221.06 | 4.628 | 223.233 | 4.382 | 218.967 | 14.841 | 889.775 | 51.563 | 1.3188
2019-09-09 04:45:00 | 3.428 | 218.24 | 4.785 | 213.753 | 5.286 | 212.933 | 4.575 | 201.9 | 15.3 | 889.883 | 52.181 | 0.68641
2019-09-09 05:00:00 | 4.39 | 177.533 | 4.75 | 183.081 | 5.062 | 196.467 | 4.654 | 191.367 | 15.281 | 890.2 | 52.651 | 0.94861
2019-09-09 05:15:00 | 3.482 | 171.78 | 3.364 | 172.41 | 3.972 | 180.233 | 5.076 | 178.5 | 16.764 | 889.733 | 48.725 | 1.0204
2019-09-09 05:30:00 | 3.789 | 177.44 | 3.704 | 161.796 | 3.757 | 169.5 | 4.727 | 173.5 | 16.748 | 889.967 | 47.797 | 0.34249
2019-09-09 05:45:00 | 4.191 | 181.147 | 3.216 | 169.435 | 2.711 | 174.4 | 3.308 | 174 | 16.298 | 889.95 | 48.288 | 2.6014
2019-09-09 06:00:00 | 4.383 | 191.607 | 4.104 | 171.432 | 3.518 | 171.9 | 3.619 | 169.033 | 15.29 | 889.725 | 51.104 | 0.69138
2019-09-09 06:15:00 | 4.296 | 202.42 | 2.679 | 176.754 | 2.366 | 176.067 | 3.312 | 163.567 | 14.52 | 890.058 | 52.8 | 0.6388
2019-09-09 06:30:00 | 4.417 | 208.567 | 2.81 | 195.578 | 1.72 | 202.867 | 2.123 | 180.867 | 14.758 | 889.483 | 51.52 | 2.6092
2019-09-09 06:45:00 | 4.465 | 236.107 | 4.253 | 206.257 | 3.147 | 202.067 | 2.2 | 192.733 | 15.134 | 889.833 | 50.624 | 1.7949
2019-09-09 07:00:00 | 4.255 | 227.333 | 4.154 | 202.642 | 3.13 | 195.4 | 3.054 | 190 | 15.951 | 889.883 | 48.512 | 0.42918
2019-09-09 07:15:00 | 3.808 | 224.307 | 3.04 | 203.439 | 2.883 | 194.067 | 2.923 | 189.867 | 15.357 | 889.75 | 47.979 | 0.27641
2019-09-09 07:30:00 | 4.06 | 235.693 | 4.215 | 217.718 | 3.383 | 217.633 | 3.055 | 207 | 13.987 | 890.15 | 50.016 | 0.95998
2019-09-09 07:45:00 | 4.79 | 227.933 | 5.436 | 214.912 | 3.606 | 215.433 | 2.784 | 207.067 | 14.858 | 889.858 | 46.869 | 0.93084
2019-09-09 08:00:00 | 3.638 | 220.993 | 5.266 | 216.25 | 3.356 | 207.467 | 2.859 | 194.6 | 14.749 | 889.333 | 46.923 | 0.60967
2019-09-09 08:15:00 | 4.229 | 236.767 | 4.628 | 223.129 | 2.691 | 213.133 | 2.014 | 201.533 | 15.124 | 889.917 | 44.789 | 1.581
2019-09-09 08:30:00 | 3.583 | 239.533 | 5.441 | 229.285 | 4.468 | 232 | 4.345 | 222.433 | 16.414 | 890.217 | 41.253 | 2.9027
2019-09-09 08:45:00 | 4.592 | 244.42 | 5.398 | 239.267 | 4.881 | 243.533 | 4.296 | 228.667 | 17.594 | 889.5 | 38.864 | 4.1632
2019-09-09 09:00:00 | 4.806 | 236.027 | 5.327 | 232.367 | 5.189 | 234.133 | 4.491 | 223.267 | 19.252 | 889.817 | 34.379 | 3.2913
2019-09-09 09:15:00 | 4.25 | 237.373 | 4.105 | 229.82 | 4.382 | 232.967 | 4.7 | 221.967 | 20.235 | 889.933 | 31.323 | 0.40147
2019-09-09 09:30:00 | 3.021 | 225.86 | 2.944 | 218.702 | 3.038 | 219.7 | 3.375 | 213.067 | 21.706 | 889.683 | 28.635 | 0.26078
2019-09-09 09:45:00 | 2.054 | 197.98 | 1.913 | 196.423 | 1.861 | 198.2 | 2.271 | 194.1 | 22.798 | 889.8 | 26.672 | 0.19754
2019-09-09 10:00:00 | 1.491 | 171.1 | 0.806 | 176.515 | 0.677 | 189.633 | 1.595 | 187.2 | 23.702 | 889.7 | 24.912 | 0.16485
2019-09-09 10:15:00 | 1.63 | 164.327 | 1.377 | 164.629 | 1.697 | 164.633 | 2.149 | 158.733 | 23.723 | 889.75 | 23.947 | 0.19612
2019-09-09 10:30:00 | 1.868 | 116.96 | 1.478 | 124.736 | 1.673 | 123.667 | 2.352 | 130 | 23.398 | 889.8 | 22.507 | 0.29346
2019-09-09 10:45:00 | 2.246 | 103.79 | 2.186 | 103.473 | 2.101 | 112.9 | 2.628 | 114.4 | 23.694 | 890.25 | 22.304 | 1.4204
2019-09-09 11:00:00 | 2.834 | 106.177 | 2.926 | 99.099 | 2.87 | 105.433 | 3.315 | 104.833 | 23.752 | 889.767 | 21.952 | 1.9875
2019-09-09 11:15:00 | 3.418 | 112.6 | 3.2 | 110.361 | 3.117 | 116.967 | 3.18 | 115.933 | 23.631 | 889.233 | 22.293 | 2.423
2019-09-09 11:30:00 | 3.37 | 89.247 | 3.682 | 82.145 | 3.515 | 85.6 | 3.63 | 88.833 | 24.381 | 889.533 | 22.395 | 2.1928
2019-09-09 11:45:00 | 3.366 | 113.697 | 3.381 | 108.396 | 3.352 | 113.8 | 3.869 | 110.333 | 25.106 | 889.883 | 21.637 | 2.045
2019-09-09 12:00:00 | 2.627 | 108.597 | 2.356 | 114.589 | 2.21 | 120.467 | 2.624 | 111.933 | 24.856 | 889.7 | 22.379 | 3.4256
2019-09-09 12:15:00 | 3.139 | 83.467 | 3.259 | 81.167 | 3.597 | 85.467 | 3.993 | 81.367 | 25.427 | 889.6 | 22.069 | 4.9683
2019-09-09 12:30:00 | 3.682 | 111.642 | 3.824 | 99.95 | 3.82 | 104.633 | 3.988 | 102.9 | 25.46 | 889.95 | 22.128 | 5.5588
2019-09-09 12:45:00 | 2.676 | 127.047 | 3.057 | 126.783 | 3.54 | 130.033 | 3.822 | 124.867 | 25.594 | 890.05 | 21.499 | 5.8224
2019-09-09 13:00:00 | 5.372 | 116.943 | 5.504 | 113.503 | 5.596 | 118.633 | 6.014 | 114.8 | 25.656 | 889.883 | 20.72 | 6.5081
2019-09-09 13:15:00 | 4.906 | 103.967 | 5.14 | 101.326 | 4.973 | 104.867 | 5.11 | 103.8 | 26.573 | 889.733 | 19.475 | 8.4295
2019-09-09 13:30:00 | 5.272 | 116.66 | 5.588 | 114.18 | 5.778 | 122.033 | 5.947 | 120.4 | 26.781 | 889.767 | 18.859 | 13.5981
2019-09-09 13:45:00 | 4.456 | 120.007 | 5.092 | 118.979 | 5.408 | 127.4 | 5.877 | 120.233 | 26.66 | 889.467 | 18.741 | 19.0524
2019-09-09 14:00:00 | 6.15 | 114.18 | 6.601 | 108.842 | 6.722 | 114.7 | 7.177 | 109.133 | 27.068 | 889.333 | 18.619 | 33.9352
2019-09-09 14:15:00 | 5.926 | 125.333 | 6.562 | 109.083 | 6.943 | 110.533 | 7.084 | 107.267 | 26.91 | 889.4 | 17.731 | 37.5449
2019-09-09 14:30:00 | 7.798 | 106.993 | 6.887 | 99.912 | 6.275 | 99.167 | 6.759 | 92.167 | 26.968 | 889.133 | 16.883 | 36.1025
2019-09-09 14:45:00 | 5.498 | 93.125 | 5.854 | 86.395 | 6.293 | 92.867 | 6.521 | 89.7 | 27.473 | 889.833 | 16.643 | 36.2609
2019-09-09 15:00:00 | 4.757 | 81.462 | 5.162 | 78.513 | 5.448 | 80.433 | 5.517 | 76.967 | 27.348 | 889.967 | 16.451 | 42.4755
2019-09-09 15:15:00 | 5.463 | 114.03 | 5.79 | 107.279 | 6.151 | 111.367 | 6.197 | 106.067 | 27.831 | 889.367 | 15.949 | 31.6337
2019-09-09 15:30:00 | 6.245 | 104.027 | 6.791 | 101.23 | 6.676 | 104.267 | 6.452 | 100.5 | 27.394 | 889.533 | 15.653 | 18.727
2019-09-09 15:45:00 | 5.185 | 200.433 | 5.377 | 198.136 | 5.57 | 203.3 | 5.911 | 197.367 | 29.052 | 889.333 | 12.395 | 31.4881
2019-09-09 16:00:00 | 3.832 | 178.64 | 4.088 | 174.478 | 4.426 | 175.667 | 4.9 | 174.8 | 29.464 | 889.567 | 12.701 | 44.6037
2019-09-09 16:15:00 | 5.884 | 147.28 | 6.914 | 133.99 | 6.974 | 138.667 | 7.226 | 134.3 | 28.427 | 890.1 | 14.453 | 39.327
2019-09-09 16:30:00 | 4.751 | 130.7 | 5.084 | 128.326 | 5.468 | 127.833 | 5.759 | 132.367 | 29.064 | 889.833 | 14.309 | 35.3436
2019-09-09 16:45:00 | 5.381 | 149.6 | 5.706 | 145.264 | 5.796 | 150.067 | 5.993 | 145.133 | 28.723 | 890.033 | 14.648 | 29.9127
2019-09-09 17:00:00 | 4.296 | 139.577 | 4.406 | 136.087 | 4.247 | 139.5 | 4.654 | 137.667 | 28.102 | 889.167 | 15.541 | 28.1029
2019-09-09 17:15:00 | 7.373 | 98.22 | 6.987 | 94.854 | 6.572 | 97.667 | 6.691 | 92.867 | 28.148 | 889.467 | 15.989 | 45.1771
2019-09-09 17:30:00 | 7.787 | 105.997 | 7.312 | 102.269 | 7.131 | 103.233 | 7.48 | 99.433 | 28.66 | 889.333 | 16.163 | 61.8179
2019-09-09 17:45:00 | 9.214 | 113.53 | 9.874 | 109.096 | 9.794 | 111.833 | 9.79 | 108.333 | 28.123 | 889.7 | 17.016 | 65.9839
2019-09-09 18:00:00 | 7.179 | 106.36 | 7.073 | 101.982 | 6.766 | 106.9 | 6.886 | 101.667 | 28.177 | 889.367 | 17.405 | 65.4617
2019-09-09 18:15:00 | 9.731 | 110.857 | 9.832 | 106.818 | 9.9 | 112.167 | 10.179 | 108.267 | 28.535 | 889.6 | 17.432 | 44.6939
2019-09-09 18:30:00 | 10.274 | 80.69 | 10.672 | 75.388 | 10.611 | 83.033 | 10.586 | 77.267 | 28.685 | 889.233 | 16.925 | 27.484
2019-09-09 18:45:00 | 5.238 | 179.113 | 5.643 | 175.977 | 5.776 | 183.2 | 6.079 | 176.633 | 29.464 | 889.233 | 15.421 | 37.6423
2019-09-09 19:00:00 | 5.75 | 115.75 | 5.746 | 108.849 | 5.462 | 108.367 | 5.91 | 101.967 | 28.852 | 889.667 | 14.997 | 25.2791
2019-09-09 19:15:00 | 2.522 | 261.267 | 2.831 | 283.416 | 2.835 | 271.65 | 2.827 | 152.109 | 28.948 | 889.9 | 14.719 | 32.1126
2019-09-09 19:30:00 | 4.334 | 104.677 | 4.445 | 97.206 | 4.319 | 105.7 | 4.237 | 102.633 | 28.802 | 889.4 | 14.219 | 31.6081
2019-09-09 19:45:00 | 7.878 | 137.497 | 8.442 | 135.46 | 8.345 | 141.367 | 9.007 | 137.9 | 28.377 | 889.767 | 14.459 | 37.4398
2019-09-09 20:00:00 | 4.363 | 135.767 | 4.621 | 134.506 | 4.567 | 138.133 | 5.027 | 133.167 | 27.868 | 889.467 | 14.091 | 41.9149
2019-09-09 20:15:00 | 4.667 | 102.777 | 5.078 | 100.708 | 4.976 | 103.4 | 5.092 | 99.767 | 27.677 | 889.9 | 13.995 | 35.3208
2019-09-09 20:30:00 | 5.617 | 132.047 | 6.148 | 131.855 | 6.323 | 137 | 6.502 | 135.133 | 27.235 | 889.3 | 14.901 | 15.5593
2019-09-09 20:45:00 | 5.162 | 143.41 | 5.882 | 136.922 | 5.601 | 144.133 | 5.628 | 137.733 | 27.218 | 889.4 | 15.68 | 11.6846
2019-09-09 21:00:00 | 4.124 | 143.513 | 4.764 | 139.62 | 5.093 | 145.867 | 5.316 | 143.3 | 26.318 | 889.767 | 14.411 | 21.3518
2019-09-09 21:15:00 | 4.558 | 153.073 | 4.645 | 144.936 | 5.047 | 146.433 | 5.446 | 146.1 | 26.202 | 889.733 | 15.661 | 4.6066
2019-09-09 21:30:00 | 3.03 | 139.537 | 2.638 | 131.786 | 2.436 | 134.5 | 2.562 | 132.767 | 26.298 | 889.3 | 16.101 | 0.64946
2019-09-09 21:45:00 | 1.742 | 147.04 | 1.334 | 142.326 | 1.645 | 148.6 | 1.797 | 150.667 | 26.218 | 889.8 | 16.88 | 1.5114
2019-09-09 22:00:00 | 1.662 | 239.073 | 1.94 | 243.15 | 2.463 | 258.55 | 3.307 | 261.333 | 25.61 | 889.667 | 18.544 | 3.1165
2019-09-09 22:15:00 | 3.485 | 261.46 | 3.482 | 257.91 | 3.546 | 263 | 3.593 | 258.6 | 24.414 | 889.9 | 23.069 | 3.0725
2019-09-09 22:30:00 | 3.101 | 253.113 | 3.025 | 266.072 | 3.218 | 273.133 | 3.37 | 270.333 | 24.477 | 889.8 | 23.488 | 3.0341
2019-09-09 22:45:00 | 2.863 | 242.153 | 3.178 | 254.248 | 3.31 | 259.233 | 3.451 | 254.917 | 24.148 | 889.867 | 24.333 | 4.3629
2019-09-09 23:00:00 | 2.98 | 240.467 | 3.304 | 240.468 | 3.693 | 247.933 | 3.887 | 243.917 | 24.044 | 889.617 | 24.955 | 6.5216
2019-09-09 23:15:00 | 3.113 | 240.773 | 3.296 | 239.439 | 3.703 | 244.133 | 4.086 | 239.533 | 23.548 | 890.033 | 25.856 | 9.3724
2019-09-09 23:30:00 | 4.751 | 223.68 | 5.043 | 228.643 | 5.27 | 235.9 | 5.391 | 230.933 | 23.081 | 889.783 | 26.496 | 13.0048
2019-09-09 23:45:00 | 5.749 | 220.573 | 5.333 | 220.16 | 5.066 | 225.2 | 5.073 | 221.033 | 22.377 | 889.75 | 27.488 | 11.5169