## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-10 00:00:00 | 5.388 | 217.547 | 5.688 | 220.717 | 6.005 | 224.467 | 6.27 | 220.8 | 22.439 | 890.083 | 28.112 | 12.8435
2019-09-10 00:15:00 | 5.999 | 212.207 | 5.952 | 212.493 | 5.855 | 214.733 | 5.835 | 211.767 | 21.273 | 890.117 | 29.888 | 19.9314
2019-09-10 00:30:00 | 6.519 | 211.78 | 6.507 | 209.451 | 6.866 | 212.4 | 7.198 | 208.833 | 21.527 | 889.783 | 29.691 | 23.7294
2019-09-10 00:45:00 | 5.86 | 215.32 | 6.612 | 216.325 | 7.078 | 220.133 | 7.476 | 215.033 | 21.314 | 889.817 | 29.675 | 26.3698
2019-09-10 01:00:00 | 5.952 | 214.027 | 7.306 | 216.614 | 7.752 | 219.267 | 8.192 | 213.7 | 19.794 | 889.367 | 31.349 | 23.2199
2019-09-10 01:15:00 | 6.452 | 209.787 | 7.634 | 210.209 | 7.526 | 213.9 | 7.851 | 211.833 | 19.273 | 889.7 | 31.856 | 15.4733
2019-09-10 01:30:00 | 6.246 | 212.933 | 7.015 | 213.636 | 7.25 | 215.667 | 7.392 | 211.667 | 19.789 | 889.733 | 31.44 | 12.7767
2019-09-10 01:45:00 | 6.029 | 222.467 | 6.4 | 220.783 | 6.221 | 220.867 | 6.571 | 213.7 | 19.248 | 889.567 | 32.309 | 8.2177
2019-09-10 02:00:00 | 6.011 | 228.173 | 5.636 | 227.355 | 5.2 | 229.2 | 5.333 | 218.933 | 19.027 | 889.867 | 33.301 | 5.875
2019-09-10 02:15:00 | 5.387 | 228.373 | 6.28 | 231.512 | 5.524 | 236.3 | 5.064 | 226.4 | 18.485 | 889.533 | 34.603 | 6.6637
2019-09-10 02:30:00 | 5.728 | 235.627 | 6.043 | 231.078 | 5.413 | 235.367 | 4.893 | 226.533 | 18.356 | 890.3 | 35.104 | 10.9882
2019-09-10 02:45:00 | 5.239 | 231.693 | 6.643 | 230.872 | 6 | 231.833 | 5.876 | 222.667 | 17.935 | 889.633 | 35.968 | 13.8468
2019-09-10 03:00:00 | 6.506 | 236.633 | 6.46 | 233.646 | 5.811 | 235.267 | 5.556 | 225.367 | 17.468 | 889.917 | 35.968 | 16.6123
2019-09-10 03:15:00 | 6.276 | 236.033 | 6.454 | 228.282 | 6.461 | 227.733 | 6.46 | 218.4 | 18.027 | 889.883 | 34.059 | 20.394
2019-09-10 03:30:00 | 6.506 | 233.867 | 7.729 | 227.418 | 7.883 | 226.5 | 7.782 | 218 | 18.285 | 890 | 32.411 | 17.2852
2019-09-10 03:45:00 | 5.979 | 226.787 | 7.756 | 220.683 | 7.902 | 221.067 | 7.876 | 213.033 | 17.781 | 889.75 | 32.123 | 11.7364
2019-09-10 04:00:00 | 5.706 | 229.547 | 7.405 | 222.779 | 7.49 | 222.1 | 7.162 | 213.567 | 17.802 | 889.933 | 31.621 | 9.1613
2019-09-10 04:15:00 | 5.305 | 276.533 | 7.054 | 265.166 | 7.403 | 262.633 | 7.612 | 253.367 | 17.681 | 889.683 | 32.445 | 17.3321
2019-09-10 04:30:00 | 3.265 | 325.107 | 3.905 | 317.921 | 4.519 | 293.767 | 5.281 | 298.267 | 19.006 | 890.05 | 32.587 | 17.443
2019-09-10 04:45:00 | 5.236 | 304.467 | 6.391 | 298.645 | 6.775 | 303.633 | 7.256 | 299.733 | 18.589 | 889.633 | 32.24 | 15.4015
2019-09-10 05:00:00 | 4.164 | 271.153 | 6.136 | 277.764 | 6.624 | 282.2 | 7.164 | 279.167 | 17.994 | 889.967 | 31.467 | 31.3992
2019-09-10 05:15:00 | 5.707 | 265.54 | 7.134 | 269.636 | 7.785 | 275.7 | 8.506 | 272.267 | 18.01 | 889.983 | 31.421 | 36.5629
2019-09-10 05:30:00 | 5.074 | 272.427 | 6.588 | 271.441 | 7.18 | 277.2 | 7.616 | 275.033 | 17.777 | 889.45 | 32.243 | 25.1214
2019-09-10 05:45:00 | 5.193 | 277.727 | 5.753 | 279.802 | 6.214 | 285.133 | 6.613 | 279.8 | 17.352 | 890.217 | 33.573 | 26.5539
2019-09-10 06:00:00 | 5.295 | 263.033 | 7.039 | 270.274 | 7.214 | 276.5 | 7.611 | 274.833 | 16.296 | 889.733 | 35.536 | 23.8544
2019-09-10 06:15:00 | 4.442 | 250.1 | 5.494 | 260.107 | 5.495 | 269.6 | 5.808 | 267.833 | 16.091 | 889.633 | 37.579 | 23.0842
2019-09-10 06:30:00 | 4.378 | 250.26 | 4.755 | 258.498 | 4.878 | 267.3 | 5.046 | 265.467 | 15.611 | 889.417 | 39.315 | 27.3319
2019-09-10 06:45:00 | 5.202 | 255.24 | 5.784 | 259.1 | 6.046 | 265.467 | 6.275 | 261.267 | 15.68 | 889.825 | 40.928 | 41.5404
2019-09-10 07:00:00 | 6.351 | 243.693 | 7.36 | 245.436 | 7.859 | 252.933 | 8.074 | 249.817 | 15.685 | 889.717 | 42.667 | 51.806
2019-09-10 07:15:00 | 7.095 | 246.587 | 8.777 | 244.629 | 8.988 | 251.483 | 9.098 | 247.15 | 16.022 | 889.608 | 43.019 | 34.7631
2019-09-10 07:30:00 | 4.056 | 273.933 | 5.292 | 268.705 | 5.793 | 271.467 | 6.13 | 267.7 | 15.761 | 890 | 43.797 | 23.6384
2019-09-10 07:45:00 | 4.512 | 252.907 | 5.192 | 257.257 | 5.425 | 263.767 | 5.82 | 260.567 | 15.53 | 889.417 | 43.872 | 22.1796
2019-09-10 08:00:00 | 4.069 | 250.727 | 4.777 | 253.314 | 4.978 | 261.6 | 5.071 | 259.283 | 15.875 | 890.258 | 42.955 | 24.8819
2019-09-10 08:15:00 | 4.36 | 252.607 | 5.087 | 257.301 | 5.475 | 265.9 | 5.776 | 263.867 | 16.364 | 889.8 | 41.584 | 24.5067
2019-09-10 08:30:00 | 4.973 | 251.127 | 6.035 | 249.976 | 6.541 | 257.367 | 6.796 | 253.9 | 17.014 | 889.917 | 39.984 | 20.848
2019-09-10 08:45:00 | 5.648 | 266.9 | 6.218 | 267.659 | 6.423 | 273.067 | 6.694 | 268.433 | 16.764 | 890.033 | 40.117 | 29.0998
2019-09-10 09:00:00 | 6.812 | 263.667 | 7.344 | 262.428 | 7.353 | 266.7 | 7.382 | 261.1 | 17.718 | 889.433 | 38.52 | 22.5179
2019-09-10 09:15:00 | 6.539 | 270.847 | 6.814 | 263.82 | 7.009 | 270.033 | 6.983 | 262.317 | 17.385 | 889.75 | 37.965 | 12.0427
2019-09-10 09:30:00 | 4.779 | 283.787 | 4.851 | 281.148 | 4.824 | 286.433 | 5.097 | 283.267 | 17.644 | 889.883 | 37.451 | 10.4709
2019-09-10 09:45:00 | 5.11 | 286.813 | 5.237 | 282.366 | 5.252 | 288.233 | 5.364 | 285.9 | 18.214 | 889.883 | 36.464 | 7.5839
2019-09-10 10:00:00 | 4.567 | 310.653 | 4.708 | 302.81 | 4.856 | 307 | 5.469 | 304.833 | 18.135 | 889.817 | 36.029 | 7.6222
2019-09-10 10:15:00 | 4.972 | 326.973 | 4.996 | 318.581 | 5.161 | 320.433 | 5.439 | 319.3 | 18.102 | 889.583 | 35.573 | 5.5289
2019-09-10 10:30:00 | 3.933 | 326.76 | 4.029 | 317.745 | 4.334 | 318.767 | 4.588 | 318.5 | 19.023 | 889.55 | 34.547 | 6.9643
2019-09-10 10:45:00 | 4.626 | 321.467 | 4.424 | 314.555 | 4.531 | 319.433 | 4.835 | 313.967 | 19.231 | 889.8 | 33.885 | 8.8387
2019-09-10 11:00:00 | 4.576 | 312.067 | 4.549 | 308.733 | 4.708 | 316.233 | 4.897 | 317.7 | 19.264 | 889.567 | 33.629 | 7.861
2019-09-10 11:15:00 | 4.962 | 319.373 | 5.122 | 311.688 | 5.049 | 315.333 | 5.381 | 314.8 | 19.631 | 889.467 | 33.216 | 6.7134
2019-09-10 11:30:00 | 3.678 | 319.147 | 3.779 | 317.591 | 3.981 | 318.7 | 4.497 | 320.8 | 20.164 | 889.517 | 31.936 | 3.7269
2019-09-10 11:45:00 | 3.412 | 310.493 | 3.311 | 319.478 | 3.407 | 322.733 | 3.539 | 320.733 | 19.981 | 889.483 | 31.171 | 1.0047
2019-09-10 12:00:00 | 3.547 | 268.82 | 3.775 | 283.51 | 4.014 | 308.7 | 4.166 | 298.333 | 20.752 | 889.883 | 29.989 | 0.94221
2019-09-10 12:15:00 | 3.805 | 157.758 | 3.902 | 166.824 | 3.953 | 97.901 | 4.025 | 111.067 | 20.656 | 889.617 | 29.491 | 0.77167
2019-09-10 12:30:00 | 2.897 | 291.84 | 2.657 | 310.013 | 2.781 | 323.833 | 3.166 | 319.667 | 21.289 | 889.483 | 29.003 | 0.15917
2019-09-10 12:45:00 | 2.33 | 299.64 | 2.029 | 293.326 | 2.214 | 327.8 | 2.508 | 319.467 | 22.798 | 889.933 | 26.507 | 0.10943
2019-09-10 13:00:00 | 1.213 | 264.893 | 0.753 | 262.389 | 1.368 | 274.6 | 1.738 | 258.75 | 22.394 | 889.833 | 26.381 | 0.066083
2019-09-10 13:15:00 | 2.881 | 107.433 | 2.777 | 220.196 | 2.642 | 230.069 | 2.989 | 323.9 | 22.298 | 889.6 | 26.608 | 0.068214
2019-09-10 13:30:00 | 1.345 | 139.742 | 0.963 | 94.975 | 0.864 | 189.934 | 1.764 | 11.87 | 22.564 | 889.467 | 25.659 | 0.1414
2019-09-10 13:45:00 | 2.126 | 57.272 | 1.847 | 41.318 | 1.623 | 43.933 | 1.781 | 37.767 | 23.231 | 889.633 | 25.728 | 0.40076
2019-09-10 14:00:00 | 3.529 | 244.688 | 3.862 | 310.243 | 3.457 | 279.7 | 3.879 | 290.5 | 23.281 | 889.6 | 25.349 | 1.0921
2019-09-10 14:15:00 | 3.05 | 155.079 | 2.608 | 125.436 | 2.924 | 147.5 | 3.294 | 214.8 | 23.331 | 889.617 | 25.277 | 0.81502
2019-09-10 14:30:00 | 3.953 | 54.912 | 3.889 | 44.683 | 3.981 | 45.4 | 4.08 | 40.1 | 23.381 | 890.083 | 23.696 | 0.65727
2019-09-10 14:45:00 | 3.372 | 146.044 | 3.502 | 154.324 | 3.573 | 119.838 | 3.922 | 134.534 | 23.677 | 889.917 | 23.464 | 1.2641
2019-09-10 15:00:00 | 4.328 | 37.14 | 4.382 | 32.854 | 4.232 | 35.233 | 4.397 | 31.733 | 23.781 | 890.083 | 23.643 | 1.7274
2019-09-10 15:15:00 | 3.298 | 62.073 | 3.328 | 55.414 | 3.567 | 79.933 | 4.115 | 79.692 | 23.985 | 890.017 | 23.173 | 2.0159
2019-09-10 15:30:00 | 4.054 | 277.88 | 4.403 | 334.358 | 4.566 | 282.6 | 4.904 | 295.567 | 23.902 | 889.983 | 23.965 | 2.6177
2019-09-10 15:45:00 | 3.984 | 113.224 | 4.279 | 221.99 | 4.067 | 164.933 | 4.19 | 213.233 | 23.831 | 889.6 | 24.432 | 4.5292
2019-09-10 16:00:00 | 4.72 | 164.952 | 4.95 | 167.006 | 4.789 | 152.618 | 4.955 | 131.6 | 23.844 | 889.85 | 24.765 | 6.3923
2019-09-10 16:15:00 | 4.49 | 109.041 | 5.12 | 156.136 | 4.878 | 74.033 | 4.958 | 130.733 | 24.044 | 889.617 | 24.579 | 10.9825
2019-09-10 16:30:00 | 5.267 | 275.015 | 5.479 | 268.564 | 5.337 | 261.833 | 5.769 | 259.567 | 24.318 | 890 | 23.488 | 15.1983
2019-09-10 16:45:00 | 3.867 | 218.915 | 3.805 | 288.613 | 4.134 | 297.067 | 4.79 | 322.4 | 24.344 | 889.85 | 24.128 | 21.7867
2019-09-10 17:00:00 | 7.11 | 317.827 | 7.203 | 308.88 | 7.188 | 313.433 | 7.443 | 310.767 | 24.268 | 889.4 | 25.216 | 39.818
2019-09-10 17:15:00 | 8.572 | 318.76 | 9.189 | 310.234 | 9.192 | 318.167 | 9.538 | 318.233 | 23.964 | 889.9 | 26.709 | 40.6288
2019-09-10 17:30:00 | 7.442 | 306.173 | 7.472 | 325.707 | 7.795 | 331.433 | 7.973 | 329.233 | 23.931 | 889.467 | 27.285 | 53.9619
2019-09-10 17:45:00 | 10.233 | 316.573 | 10.783 | 309.52 | 11.051 | 315.3 | 11.227 | 312.5 | 23.031 | 889.95 | 28.157 | 58.2181
2019-09-10 18:00:00 | 9.881 | 295.973 | 10.596 | 292.354 | 10.724 | 296.833 | 10.778 | 295.767 | 23.314 | 889.8 | 29.208 | 59.8446
2019-09-10 18:15:00 | 10.011 | 294.773 | 10.776 | 291.949 | 11.07 | 297.267 | 11.186 | 295.5 | 23.148 | 889.967 | 29.872 | 57.3022
2019-09-10 18:30:00 | 11.23 | 297.84 | 12.073 | 296.058 | 12.491 | 299.667 | 13.047 | 299 | 22.648 | 890.067 | 30.107 | 55.405
2019-09-10 18:45:00 | 11.481 | 290.4 | 12.223 | 287.702 | 12.797 | 292.267 | 13.222 | 289.133 | 22.414 | 889.45 | 31.128 | 50.4055
2019-09-10 19:00:00 | 11.819 | 282.387 | 13.041 | 281.816 | 13.223 | 284.833 | 13.747 | 282.7 | 21.702 | 889.533 | 31.32 | 45.8571
2019-09-10 19:15:00 | 11.817 | 285.84 | 13.157 | 282.728 | 13.591 | 286.467 | 14.234 | 283.7 | 21.473 | 889.95 | 31.595 | 43.1705
2019-09-10 19:30:00 | 12.064 | 281.153 | 13.409 | 279.621 | 13.927 | 283.9 | 14.45 | 281.867 | 21.235 | 889.917 | 31.816 | 41.4203
2019-09-10 19:45:00 | 13.379 | 287.187 | 14.91 | 283.585 | 15.324 | 286.4 | 16.216 | 284.167 | 20.614 | 889.817 | 33.035 | 41.2512
2019-09-10 20:00:00 | 14.82 | 267.62 | 16.842 | 270.39 | 17.728 | 274.333 | 18.137 | 269.9 | 18.735 | 890.067 | 37.509 | 41.8204
2019-09-10 20:15:00 | 15.352 | 274.587 | 17.307 | 272.687 | 17.676 | 276.867 | 18.268 | 273.433 | 18.077 | 889.8 | 39.021 | 48.2468
2019-09-10 20:30:00 | 14.446 | 274.447 | 16.378 | 272.472 | 17.027 | 275.567 | 17.298 | 272.75 | 17.41 | 889.9 | 40.549 | 55.2586
2019-09-10 20:45:00 | 13.975 | 271.107 | 15.731 | 270.66 | 16.604 | 276.7 | 17.148 | 272.167 | 17.214 | 889.65 | 42.091 | 49.0746
2019-09-10 21:00:00 | 14.498 | 287 | 16.651 | 285.964 | 17.121 | 290.2 | 18.014 | 289.2 | 16.614 | 889.892 | 42.235 | 49.2003
2019-09-10 21:15:00 | 15.948 | 286.507 | 18.035 | 284.677 | 18.642 | 287.133 | 19.664 | 283.8 | 16.246 | 889.95 | 43.787 | 48.2773
2019-09-10 21:30:00 | 15.557 | 285.2 | 17.734 | 280.997 | 18.571 | 285.467 | 19.373 | 283.8 | 15.538 | 890.175 | 45.728 | 48.0442
2019-09-10 21:45:00 | 16.782 | 285.6 | 18.877 | 283.29 | 19.792 | 287.2 | 20.781 | 284.833 | 14.958 | 889.7 | 47.515 | 47.414
2019-09-10 22:00:00 | 15.691 | 283.533 | 17.778 | 280.806 | 19.094 | 284.033 | 20.076 | 281.6 | 14.791 | 889.958 | 48.715 | 46.7389
2019-09-10 22:15:00 | 15.758 | 279.073 | 17.978 | 276.806 | 18.708 | 280.867 | 19.062 | 278.1 | 14.445 | 890.492 | 49.141 | 49.1257
2019-09-10 22:30:00 | 15.244 | 275.633 | 16.863 | 277.667 | 17.223 | 280.433 | 17.817 | 277.733 | 13.962 | 889.817 | 51.973 | 49.5372
2019-09-10 22:45:00 | 15.379 | 281.52 | 17.208 | 278.898 | 17.886 | 283.033 | 18.558 | 280.6 | 13.585 | 889.658 | 54.56 | 50.3422
2019-09-10 23:00:00 | 15.419 | 282.493 | 17.093 | 277.501 | 17.786 | 280.533 | 18.688 | 278.433 | 13.451 | 889.858 | 54.613 | 50.5554
2019-09-10 23:15:00 | 15.022 | 280.16 | 16.676 | 277.951 | 17.538 | 281.533 | 17.823 | 277.167 | 13.176 | 889.867 | 53.696 | 50.3465
2019-09-10 23:30:00 | 14.481 | 276.507 | 16.108 | 274.435 | 16.642 | 279.667 | 17.634 | 275.967 | 13.474 | 890.133 | 53.493 | 50.3891
2019-09-10 23:45:00 | 13.997 | 278.613 | 15.395 | 275.375 | 16.24 | 279.233 | 16.612 | 276.5 | 12.834 | 890.183 | 53.131 | 51.2645