## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-11 00:00:00 | 14.661 | 278.493 | 15.908 | 277.982 | 16.446 | 279.867 | 17.189 | 276.7 | 12.805 | 890.142 | 52.869 | 51.99
2019-09-11 00:15:00 | 16.578 | 268.08 | 18.388 | 267.108 | 18.978 | 271.933 | 19.36 | 266.533 | 12.791 | 889.55 | 53.584 | 51.2745
2019-09-11 00:30:00 | 15.851 | 271.82 | 17.786 | 272.989 | 18.729 | 276 | 19.257 | 270.767 | 12.149 | 890.067 | 55.227 | 51.5786
2019-09-11 00:45:00 | 15.579 | 270.34 | 17.908 | 269.461 | 18.769 | 273.533 | 19.109 | 268.567 | 11.774 | 889.983 | 57.216 | 51.8117
2019-09-11 01:00:00 | 15.775 | 272.74 | 18.184 | 272.886 | 19.005 | 276.2 | 19.365 | 272.633 | 12.307 | 890.3 | 57.696 | 51.4422
2019-09-11 01:15:00 | 15.926 | 273.733 | 17.594 | 272.085 | 18.007 | 276.267 | 18.483 | 272.633 | 11.703 | 890.075 | 58.32 | 51.6234
2019-09-11 01:30:00 | 15.225 | 273.453 | 17.18 | 273.463 | 17.66 | 278.667 | 18.369 | 273.767 | 11.503 | 889.642 | 59.024 | 51.6234
2019-09-11 01:45:00 | 14.399 | 268.72 | 15.827 | 269.949 | 16.592 | 275.167 | 17.217 | 269.9 | 11.624 | 890.05 | 59.936 | 53.4197
2019-09-11 02:00:00 | 14.422 | 275.733 | 16.629 | 271.251 | 17.052 | 277.067 | 17.58 | 273.067 | 11.482 | 889.808 | 60.837 | 52.4142
2019-09-11 02:15:00 | 13.85 | 278.027 | 15.255 | 274.536 | 15.956 | 277.9 | 16.506 | 272.567 | 11.37 | 889.708 | 60.939 | 53.2392
2019-09-11 02:30:00 | 14.364 | 276 | 16.057 | 274.309 | 16.641 | 278.833 | 17.367 | 275.333 | 11.245 | 889.65 | 61.712 | 52.8633
2019-09-11 02:45:00 | 12.47 | 273.227 | 14.175 | 271.138 | 14.635 | 277.433 | 14.94 | 272.933 | 11.078 | 889.7 | 63.189 | 53.6378
2019-09-11 03:00:00 | 12.897 | 273.947 | 14.15 | 272.091 | 15.043 | 275.733 | 15.63 | 274.733 | 11.145 | 889.842 | 63.712 | 53.4652
2019-09-11 03:15:00 | 11.688 | 283.6 | 12.374 | 277.513 | 12.802 | 281.133 | 13.239 | 278.8 | 11.161 | 889.658 | 63.323 | 54.7726
2019-09-11 03:30:00 | 11.317 | 274.273 | 13.186 | 275.347 | 13.731 | 279.267 | 14.267 | 276.167 | 10.961 | 889.65 | 62.885 | 52.7702
2019-09-11 03:45:00 | 11.845 | 289.333 | 13.807 | 287.786 | 14.756 | 291.6 | 15.556 | 287.6 | 10.845 | 890.242 | 63.531 | 50.8183
2019-09-11 04:00:00 | 13.739 | 277.813 | 15.89 | 278.228 | 16.214 | 281.9 | 17 | 278.4 | 10.634 | 889.842 | 65.275 | 51.3001
2019-09-11 04:15:00 | 12.611 | 272.54 | 14.706 | 268.687 | 15.258 | 274.633 | 15.564 | 270.9 | 10.599 | 890.008 | 65.595 | 51.2255
2019-09-11 04:30:00 | 13.463 | 282.373 | 15.188 | 277.694 | 15.476 | 281.267 | 15.527 | 278.567 | 10.526 | 890.008 | 66.315 | 52.8939
2019-09-11 04:45:00 | 12.241 | 281.813 | 13.444 | 277.306 | 13.89 | 282.8 | 14.449 | 279.967 | 10.872 | 890.042 | 67.227 | 53.6187
2019-09-11 05:00:00 | 12.781 | 276.96 | 14.606 | 271.08 | 15.268 | 276.733 | 15.577 | 273.167 | 10.649 | 889.775 | 68.416 | 53.8162
2019-09-11 05:15:00 | 11.306 | 279.747 | 12.673 | 277.745 | 13.402 | 283.3 | 13.901 | 279.733 | 10.147 | 890.117 | 70 | 53.2257
2019-09-11 05:30:00 | 10.547 | 285.333 | 12.135 | 283.17 | 12.807 | 284.733 | 13.248 | 281.233 | 9.993 | 889.758 | 72.656 | 52.6317
2019-09-11 05:45:00 | 12.315 | 282.627 | 13.631 | 280.54 | 13.983 | 285.6 | 14.537 | 281.8 | 10.101 | 889.642 | 71.376 | 58.0547
2019-09-11 06:00:00 | 11.924 | 283.36 | 13.523 | 279.401 | 14.058 | 282.333 | 14.677 | 279.067 | 10.135 | 890.258 | 70.245 | 60.5403
2019-09-11 06:15:00 | 13.436 | 279.987 | 15.153 | 277.775 | 15.643 | 282.233 | 16.285 | 278.317 | 10.426 | 889.583 | 69.68 | 60.2759
2019-09-11 06:30:00 | 13.189 | 280.08 | 15.074 | 277.6 | 15.737 | 280.867 | 16.212 | 276.967 | 10.064 | 889.842 | 71.637 | 59.5405
2019-09-11 06:45:00 | 12.843 | 283.4 | 13.821 | 280.888 | 14.413 | 283.767 | 14.828 | 280.067 | 9.358 | 889.846 | 81.632 | 60.5602
2019-09-11 07:00:00 | 9.161 | 283.173 | 10.221 | 278.014 | 10.66 | 281.867 | 11.394 | 278.733 | 9.004 | 890.238 | 87.872 | 61.2224
2019-09-11 07:15:00 | 9.3 | 277.373 | 10.328 | 274.835 | 11.223 | 280.667 | 12.011 | 277.8 | 8.481 | 889.833 | 89.259 | 60.2354
2019-09-11 07:30:00 | 10.396 | 274.413 | 11.538 | 271.044 | 12.211 | 278.167 | 12.609 | 273.9 | 8.438 | 890.258 | 88.256 | 60.0763
2019-09-11 07:45:00 | 10.873 | 273.547 | 12.12 | 270.31 | 12.477 | 276.6 | 12.906 | 273.567 | 8.683 | 890.067 | 84.224 | 58.1649
2019-09-11 08:00:00 | 12.719 | 284.573 | 13.812 | 280.506 | 14.32 | 283.933 | 14.458 | 279.867 | 9.104 | 890.088 | 81.019 | 57.5637
2019-09-11 08:15:00 | 11.726 | 279.373 | 13.111 | 273.808 | 13.577 | 278.967 | 14.081 | 276.833 | 8.654 | 890.092 | 83.797 | 58.13
2019-09-11 08:30:00 | 12.394 | 273.707 | 13.788 | 269.065 | 13.913 | 272.8 | 14.561 | 270.1 | 8.18 | 890.146 | 86.795 | 58.3269
2019-09-11 08:45:00 | 12.128 | 271.373 | 13.697 | 267.176 | 14.231 | 273.333 | 14.709 | 269.033 | 8.628 | 889.975 | 79.525 | 57.5381
2019-09-11 09:00:00 | 11.976 | 273.187 | 13.393 | 269.696 | 14.089 | 274.567 | 14.479 | 270.6 | 8.62 | 890.271 | 81.472 | 56.9896
2019-09-11 09:15:00 | 11.699 | 269.947 | 13.245 | 264.821 | 13.984 | 269.3 | 14.25 | 264.833 | 8.02 | 889.888 | 85.269 | 56.748
2019-09-11 09:30:00 | 12.492 | 270.587 | 13.786 | 267.767 | 13.996 | 273.467 | 14.474 | 268.433 | 8.687 | 889.858 | 82.581 | 57.0571
2019-09-11 09:45:00 | 12.494 | 273 | 14.076 | 269.611 | 14.348 | 273.667 | 14.782 | 269.4 | 8.708 | 889.867 | 79.931 | 56.2385
2019-09-11 10:00:00 | 11.842 | 267.987 | 13.349 | 264.695 | 13.952 | 270.133 | 13.923 | 267.15 | 8.858 | 889.721 | 82.485 | 53.7799
2019-09-11 10:15:00 | 11.176 | 276.067 | 12.328 | 269.663 | 12.95 | 272.4 | 13.277 | 268.533 | 8.491 | 890.096 | 83.829 | 48.823
2019-09-11 10:30:00 | 10.486 | 275.893 | 11.656 | 269.503 | 11.881 | 275.4 | 11.962 | 270 | 8.758 | 889.771 | 82.427 | 48.3747
2019-09-11 10:45:00 | 12.217 | 275.227 | 13.652 | 272.821 | 14.317 | 276.467 | 14.463 | 271.467 | 9.133 | 889.783 | 80.768 | 48.1487
2019-09-11 11:00:00 | 12.13 | 277.32 | 13.489 | 274.966 | 13.883 | 278.7 | 14.125 | 274 | 8.991 | 889.767 | 78.213 | 48.4848
2019-09-11 11:15:00 | 11.128 | 277.32 | 12.27 | 271.379 | 12.61 | 277.233 | 12.988 | 274 | 9.058 | 889.692 | 79.349 | 57.2248
2019-09-11 11:30:00 | 11.746 | 283.587 | 12.887 | 278.646 | 13.126 | 283.567 | 13.542 | 279.133 | 9.162 | 890.025 | 78.117 | 61.6743
2019-09-11 11:45:00 | 12.056 | 284.213 | 13.746 | 280.211 | 14.102 | 284.033 | 14.508 | 280.567 | 9.245 | 889.717 | 75.787 | 62.5768
2019-09-11 12:00:00 | 11.014 | 286.32 | 12.421 | 279.91 | 12.592 | 284.667 | 12.91 | 279.933 | 9.487 | 889.942 | 77.12 | 62.2492
2019-09-11 12:15:00 | 11.908 | 280.893 | 13.346 | 277.688 | 13.841 | 282.2 | 14.061 | 278.633 | 9.333 | 889.883 | 78.411 | 63.3683
2019-09-11 12:30:00 | 11.564 | 288.173 | 13.121 | 283.788 | 13.791 | 287.367 | 14.341 | 284.367 | 9.258 | 889.788 | 81.717 | 62.6464
2019-09-11 12:45:00 | 12.288 | 290.16 | 13.05 | 283.063 | 13.588 | 288.467 | 14.248 | 286.267 | 8.841 | 889.996 | 82.64 | 61.8285
2019-09-11 13:00:00 | 12.655 | 284.08 | 14.427 | 278.169 | 14.434 | 281.1 | 14.68 | 279.4 | 9.037 | 889.533 | 79.909 | 62.0467
2019-09-11 13:15:00 | 10.89 | 282.133 | 12.107 | 276.561 | 12.538 | 280.333 | 12.456 | 278.1 | 9.562 | 889.917 | 77.029 | 62.3366
2019-09-11 13:30:00 | 11.531 | 273.613 | 12.856 | 270.054 | 13.285 | 273.8 | 13.532 | 270.133 | 9.67 | 889.683 | 75.029 | 62.2783
2019-09-11 13:45:00 | 10.949 | 270.64 | 12.04 | 266.09 | 12.616 | 270.233 | 12.731 | 266.05 | 9.962 | 890.008 | 71.664 | 62.2826
2019-09-11 14:00:00 | 10.671 | 268.893 | 11.703 | 265.478 | 12.342 | 268.733 | 12.554 | 264.7 | 10.041 | 889.6 | 70.661 | 63.0443
2019-09-11 14:15:00 | 11.241 | 272 | 12.103 | 267.078 | 12.775 | 271.467 | 13.134 | 268.767 | 10.386 | 890 | 72.704 | 63.1367
2019-09-11 14:30:00 | 11.15 | 273.92 | 12.153 | 269.943 | 12.701 | 274.367 | 13.157 | 269.667 | 10.403 | 890.192 | 69.499 | 61.852
2019-09-11 14:45:00 | 13.26 | 266.66 | 14.706 | 264.734 | 14.941 | 270.6 | 14.807 | 265.233 | 10.845 | 890.017 | 64.933 | 62.785
2019-09-11 15:00:00 | 11.438 | 264.4 | 12.606 | 261.424 | 12.863 | 268 | 12.995 | 264.067 | 11.228 | 890.2 | 64.949 | 62.947
2019-09-11 15:15:00 | 11.643 | 270.267 | 13.001 | 266.812 | 13.067 | 272.2 | 13.253 | 265.233 | 11.195 | 890.183 | 63.552 | 62.8745
2019-09-11 15:30:00 | 12.576 | 259.307 | 13.914 | 256.869 | 14.14 | 262.717 | 14.01 | 258.567 | 11.84 | 889.342 | 60.709 | 62.9086
2019-09-11 15:45:00 | 12.906 | 261.053 | 13.834 | 262.783 | 14.085 | 267.333 | 14.052 | 261.167 | 12.453 | 889.742 | 56.912 | 62.6627
2019-09-11 16:00:00 | 12.013 | 263.393 | 13.06 | 264.388 | 13.513 | 269.833 | 13.617 | 267.033 | 12.895 | 889.858 | 55.899 | 62.6798
2019-09-11 16:15:00 | 12.968 | 268.187 | 13.974 | 266.043 | 14.096 | 271.433 | 13.999 | 267.7 | 12.605 | 889.642 | 56.16 | 61.9998
2019-09-11 16:30:00 | 13.981 | 267.793 | 15.14 | 265.334 | 15.45 | 269.9 | 15.214 | 264.933 | 12.432 | 889.908 | 56.347 | 60.4387
2019-09-11 16:45:00 | 12.886 | 266.193 | 13.821 | 267.213 | 14.438 | 271.733 | 14.451 | 267.433 | 12.27 | 889.733 | 57.568 | 61.6999
2019-09-11 17:00:00 | 12.436 | 262.513 | 13.706 | 261.894 | 14.187 | 267.767 | 14.225 | 263.4 | 12.751 | 889.675 | 57.275 | 61.8619
2019-09-11 17:15:00 | 11.062 | 267.28 | 12.156 | 266.456 | 12.446 | 271.283 | 12.699 | 266.433 | 12.557 | 889.775 | 57.707 | 62.0282
2019-09-11 17:30:00 | 12.161 | 265.373 | 12.866 | 264.843 | 13.241 | 269.333 | 13.464 | 264.867 | 12.584 | 889.633 | 56.869 | 61.8484
2019-09-11 17:45:00 | 11.191 | 263.033 | 12.202 | 263.173 | 12.548 | 268.233 | 12.658 | 262.75 | 13.039 | 890.058 | 55.243 | 61.6495
2019-09-11 18:00:00 | 10.629 | 267.333 | 11.525 | 267.446 | 11.882 | 272.167 | 11.846 | 266.6 | 12.834 | 890.075 | 56.293 | 61.8797
2019-09-11 18:15:00 | 9.723 | 272.947 | 10.958 | 270.594 | 11.143 | 276.167 | 11.236 | 272.367 | 12.59 | 889.6 | 55.381 | 61.8186
2019-09-11 18:30:00 | 9.329 | 269.773 | 9.828 | 270.176 | 9.921 | 272.033 | 9.973 | 267.45 | 12.743 | 889.583 | 56.875 | 62.9434
2019-09-11 18:45:00 | 10.149 | 270.973 | 11.267 | 269.912 | 11.484 | 275.567 | 11.863 | 273.3 | 12.793 | 889.833 | 54.677 | 62.0197
2019-09-11 19:00:00 | 10.407 | 285.293 | 11.67 | 279.914 | 11.717 | 283.233 | 12.002 | 279.967 | 13.016 | 890.033 | 53.125 | 61.9124
2019-09-11 19:15:00 | 11.714 | 280.347 | 13.283 | 278.613 | 13.598 | 283.233 | 14.033 | 278.9 | 13.172 | 889.9 | 53.451 | 62.014
2019-09-11 19:30:00 | 10.437 | 284.067 | 11.562 | 279.2 | 11.835 | 285.333 | 12.371 | 282.933 | 12.807 | 889.792 | 54.747 | 61.8918
2019-09-11 19:45:00 | 11.025 | 282.88 | 12.274 | 279.515 | 12.6 | 283.233 | 13.421 | 281.033 | 12.845 | 889.817 | 55.728 | 61.9188
2019-09-11 20:00:00 | 10.515 | 274.28 | 11.944 | 274.582 | 12.47 | 278.6 | 12.833 | 275.667 | 12.295 | 889.517 | 54.901 | 61.9657
2019-09-11 20:15:00 | 10.101 | 273.26 | 11.496 | 271.969 | 12.144 | 275.7 | 12.566 | 271.8 | 11.966 | 889.525 | 59.845 | 61.3233
2019-09-11 20:30:00 | 8.817 | 256.453 | 9.779 | 258.92 | 10.052 | 264.983 | 10.22 | 260.333 | 11.607 | 890.417 | 60.811 | 62.4609
2019-09-11 20:45:00 | 8.52 | 261.32 | 9.78 | 263.642 | 10.597 | 269.133 | 11.062 | 265.633 | 11.295 | 889.758 | 62.704 | 65.1277
2019-09-11 21:00:00 | 8.533 | 266.747 | 10.469 | 266.351 | 11.105 | 273.133 | 11.251 | 266.617 | 10.711 | 889.608 | 63.808 | 68.8063
2019-09-11 21:15:00 | 9.063 | 274.067 | 10.373 | 270.92 | 10.715 | 275.367 | 10.976 | 271.833 | 11.111 | 890.167 | 63.643 | 66.411
2019-09-11 21:30:00 | 10.82 | 274.467 | 12.363 | 273.464 | 12.704 | 278.2 | 13.262 | 275.2 | 10.928 | 889.875 | 63.515 | 69.5467
2019-09-11 21:45:00 | 10.296 | 274.36 | 12.071 | 270.973 | 12.729 | 276.267 | 13.145 | 273.067 | 11.061 | 889.817 | 64.133 | 65.2961
2019-09-11 22:00:00 | 8.065 | 270.4 | 9.356 | 270.477 | 9.714 | 274.3 | 10.364 | 271.467 | 11.211 | 889.808 | 63.915 | 71.0943
2019-09-11 22:15:00 | 8.944 | 278.333 | 10.269 | 275.124 | 11.168 | 277.933 | 12.054 | 273.567 | 10.878 | 889.55 | 64.043 | 70.1308
2019-09-11 22:30:00 | 8.166 | 275.467 | 9.457 | 275.127 | 10.219 | 280.7 | 10.73 | 276.867 | 10.861 | 890.292 | 64.917 | 71.4802
2019-09-11 22:45:00 | 12.022 | 273.733 | 14.093 | 272.914 | 15.094 | 276.4 | 16.069 | 272.667 | 10.53 | 890.542 | 61.675 | 68.0027
2019-09-11 23:00:00 | 12.935 | 269.393 | 15.023 | 268.188 | 16.077 | 273.1 | 16.94 | 267.933 | 9.864 | 889.6 | 61.589 | 65.9107
2019-09-11 23:15:00 | 11.693 | 269.707 | 13.862 | 269.981 | 14.53 | 273.8 | 15.034 | 269.467 | 9.768 | 889.892 | 63.163 | 65.9292
2019-09-11 23:30:00 | 10.595 | 261.993 | 12.35 | 261.752 | 13.074 | 266.867 | 13.295 | 262.1 | 9.633 | 889.892 | 65.573 | 67.8264
2019-09-11 23:45:00 | 9.155 | 255.927 | 10.758 | 253.847 | 11.517 | 259.517 | 11.935 | 253.633 | 9.097 | 889.583 | 68.837 | 69.4785