## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-12 00:00:00 | 9.066 | 257.347 | 10.932 | 257.901 | 11.854 | 262.6 | 12.209 | 258.167 | 8.77 | 889.5 | 69.68 | 68.0275
2019-09-12 00:15:00 | 7.629 | 255.18 | 9.348 | 254.961 | 10.253 | 261.617 | 10.655 | 257.217 | 9.095 | 889.883 | 69.595 | 69.8238
2019-09-12 00:30:00 | 8.647 | 256.333 | 10.29 | 256.558 | 10.664 | 262.083 | 11.048 | 259.417 | 9.008 | 889.667 | 69.472 | 68.1895
2019-09-12 00:45:00 | 7.769 | 260.967 | 9.2 | 261.664 | 9.907 | 264.933 | 10.225 | 260.7 | 9.049 | 889.775 | 69.589 | 68.7793
2019-09-12 01:00:00 | 8.162 | 251.287 | 9.595 | 249.304 | 10.244 | 255.983 | 10.695 | 252.2 | 8.841 | 890.142 | 69.051 | 68.9093
2019-09-12 01:15:00 | 9.036 | 255.447 | 10.287 | 254.827 | 10.885 | 259.167 | 11.316 | 255.917 | 9.183 | 889.6 | 68.645 | 67.1223
2019-09-12 01:30:00 | 9.759 | 266.913 | 11.113 | 266.577 | 11.686 | 272.633 | 12.13 | 266.3 | 9.183 | 889.817 | 66.619 | 65.3345
2019-09-12 01:45:00 | 9.028 | 262.967 | 10.538 | 259.305 | 11.352 | 265.25 | 11.932 | 261.55 | 9.516 | 889.642 | 66.789 | 65.2179
2019-09-12 02:00:00 | 9.484 | 260.44 | 10.847 | 257.844 | 11.348 | 265.033 | 11.872 | 261.45 | 9.187 | 889.942 | 67.488 | 65.3394
2019-09-12 02:15:00 | 9.292 | 259.453 | 10.916 | 256.696 | 11.43 | 263.767 | 11.541 | 258.95 | 8.883 | 889.933 | 67.568 | 67.7142
2019-09-12 02:30:00 | 8.626 | 259.693 | 9.992 | 260.014 | 10.972 | 264.333 | 11.551 | 260.967 | 9.141 | 889.833 | 67.584 | 64.1173
2019-09-12 02:45:00 | 8.35 | 257.833 | 9.922 | 259.414 | 10.535 | 265.033 | 11.154 | 260.067 | 8.941 | 889.567 | 68.624 | 67.4406
2019-09-12 03:00:00 | 8.381 | 258.02 | 10.508 | 259.355 | 11.611 | 265.5 | 11.861 | 260.983 | 8.745 | 889.617 | 68.837 | 70.42
2019-09-12 03:15:00 | 9.394 | 259.893 | 11.07 | 259.98 | 11.681 | 264.867 | 12.003 | 260.517 | 8.87 | 889.4 | 68.645 | 70.1123
2019-09-12 03:30:00 | 9.104 | 254.133 | 10.686 | 253.447 | 11.065 | 258.95 | 11.317 | 254.217 | 8.691 | 890.133 | 69.056 | 67.2914
2019-09-12 03:45:00 | 8.45 | 250.02 | 10.083 | 249.458 | 10.685 | 258.283 | 11.022 | 253.917 | 8.878 | 889.892 | 69.52 | 66.8757
2019-09-12 04:00:00 | 8.293 | 253.24 | 9.883 | 252.468 | 10.673 | 257.9 | 11.088 | 255.15 | 8.462 | 890.425 | 69.712 | 62.0581
2019-09-12 04:15:00 | 9.004 | 260.367 | 10.598 | 260.203 | 11.302 | 266 | 11.967 | 260.85 | 8.508 | 889.75 | 69.899 | 57.87
2019-09-12 04:30:00 | 7.614 | 265.74 | 9.407 | 263.793 | 10.091 | 269.567 | 10.576 | 264.067 | 8.712 | 889.65 | 69.621 | 53.6023
2019-09-12 04:45:00 | 7.564 | 261.313 | 9.209 | 259.142 | 10.197 | 265.867 | 10.83 | 261.717 | 8.641 | 889.717 | 69.499 | 48.629
2019-09-12 05:00:00 | 6.521 | 264.533 | 8.214 | 263.505 | 9.368 | 268.9 | 10.518 | 266.267 | 8.692 | 890.108 | 70.128 | 57.2546
2019-09-12 05:15:00 | 8.066 | 267 | 9.693 | 264.942 | 10.351 | 270.033 | 10.66 | 263.517 | 8.541 | 889.692 | 70.208 | 65.122
2019-09-12 05:30:00 | 7.495 | 266.92 | 9.019 | 264.138 | 9.901 | 270.4 | 10.44 | 265.367 | 8.625 | 889.992 | 71.248 | 69.9745
2019-09-12 05:45:00 | 9.251 | 264.027 | 11.119 | 261.841 | 12.355 | 267 | 13.002 | 263.933 | 8.508 | 889.842 | 71.109 | 67.2757
2019-09-12 06:00:00 | 10.083 | 265.387 | 12.059 | 263.188 | 12.927 | 267.233 | 13.507 | 264.067 | 8.541 | 889.633 | 70.032 | 66.0401
2019-09-12 06:15:00 | 9.222 | 261.813 | 11.223 | 259.33 | 12.123 | 265 | 12.489 | 261.1 | 8.552 | 890.133 | 70.539 | 65.9342
2019-09-12 06:30:00 | 8.884 | 261.68 | 10.87 | 260.275 | 11.785 | 265.183 | 12.352 | 260.167 | 8.25 | 890.033 | 70.613 | 65.3935
2019-09-12 06:45:00 | 9.243 | 264.7 | 10.81 | 261.665 | 11.751 | 266.2 | 12.129 | 263.333 | 8.804 | 890.342 | 70.731 | 65.4119
2019-09-12 07:00:00 | 8.48 | 262.773 | 10.419 | 261.501 | 11.472 | 268.033 | 11.757 | 263 | 8.294 | 890.017 | 71.824 | 62.8716
2019-09-12 07:15:00 | 7.173 | 256.56 | 9.087 | 255.68 | 9.559 | 262.2 | 10.125 | 255.883 | 8.03 | 889.9 | 72.981 | 51.1487
2019-09-12 07:30:00 | 6.561 | 257.573 | 8.07 | 255.736 | 9.017 | 262.55 | 9.295 | 258.15 | 8.414 | 889.692 | 73.403 | 51.8813
2019-09-12 07:45:00 | 7.282 | 256.453 | 8.504 | 255.267 | 9.523 | 261.45 | 9.89 | 257.367 | 8.749 | 890.208 | 70.32 | 49.8001
2019-09-12 08:00:00 | 7.13 | 254.707 | 8.647 | 252.678 | 9.366 | 259.133 | 9.661 | 254.8 | 9.424 | 889.808 | 67.211 | 55.2935
2019-09-12 08:15:00 | 7.862 | 254.14 | 9.094 | 255.194 | 9.925 | 261.667 | 10.464 | 258.933 | 9.801 | 889.758 | 63.68 | 56.0054
2019-09-12 08:30:00 | 7.374 | 261.04 | 8.563 | 257.976 | 8.993 | 262.9 | 9.424 | 259.567 | 10.491 | 890.4 | 60.976 | 41.8339
2019-09-12 08:45:00 | 7.029 | 266.273 | 8.274 | 264.137 | 8.65 | 269.633 | 9.173 | 266.467 | 10.472 | 889.617 | 60.336 | 42.7676
2019-09-12 09:00:00 | 8.747 | 264.76 | 9.595 | 262.027 | 10.169 | 265.717 | 10.602 | 262.7 | 10.961 | 889.892 | 57.157 | 55.2267
2019-09-12 09:15:00 | 8.873 | 271.567 | 9.706 | 268.701 | 9.777 | 271.433 | 10.08 | 264.567 | 11.199 | 890.1 | 56.304 | 59.8944
2019-09-12 09:30:00 | 8.556 | 269.26 | 9.277 | 266.086 | 9.658 | 272.033 | 9.918 | 266.933 | 11.349 | 889.717 | 55.835 | 70.2587
2019-09-12 09:45:00 | 9.003 | 273.44 | 10.002 | 268.28 | 10.27 | 271.3 | 10.266 | 267.05 | 11.426 | 889.85 | 54.528 | 73.2893
2019-09-12 10:00:00 | 9.243 | 269.433 | 10.141 | 268.072 | 10.455 | 274.267 | 10.709 | 267.95 | 12.016 | 889.85 | 52.624 | 71.1398
2019-09-12 10:15:00 | 9.383 | 270.32 | 10.496 | 269.157 | 10.802 | 272.733 | 11.18 | 267.467 | 12.42 | 890.175 | 49.835 | 68.3572
2019-09-12 10:30:00 | 11.054 | 264.747 | 11.807 | 267.908 | 12.102 | 271.833 | 12.421 | 267.567 | 12.853 | 889.925 | 47.835 | 68.1178
2019-09-12 10:45:00 | 10.691 | 263.58 | 11.143 | 263.03 | 11.464 | 267.9 | 11.644 | 261.517 | 13.003 | 890.142 | 46.448 | 68.4794
2019-09-12 11:00:00 | 11.088 | 258.727 | 12.415 | 258.506 | 12.782 | 263.8 | 12.585 | 260.933 | 13.435 | 889.958 | 42.923 | 62.6166
2019-09-12 11:15:00 | 10.792 | 273.867 | 11.447 | 271.299 | 11.557 | 274.8 | 11.832 | 268.95 | 13.195 | 889.75 | 43.232 | 64.2452
2019-09-12 11:30:00 | 9.598 | 270.893 | 10.478 | 267.219 | 10.642 | 272.633 | 10.797 | 267.65 | 14.099 | 889.725 | 41.584 | 66.2674
2019-09-12 11:45:00 | 9.695 | 266.627 | 10.458 | 264.3 | 10.56 | 269.333 | 10.537 | 265.467 | 13.691 | 890.125 | 42.085 | 69.1516
2019-09-12 12:00:00 | 7.886 | 268.993 | 8.588 | 266.702 | 9.028 | 272.817 | 9.41 | 268.65 | 14.137 | 889.683 | 39.795 | 65.0573
2019-09-12 12:15:00 | 9.181 | 277.333 | 9.799 | 277.032 | 9.9 | 277.767 | 9.936 | 273.583 | 13.974 | 889.95 | 39.101 | 73.8066
2019-09-12 12:30:00 | 9.336 | 289.12 | 10.042 | 285.613 | 10.205 | 288.967 | 10.751 | 287.133 | 13.833 | 889.433 | 37.885 | 73.2275
2019-09-12 12:45:00 | 9.349 | 289.013 | 10.339 | 285.212 | 10.805 | 290.267 | 11.047 | 286.033 | 14.449 | 890.017 | 35.339 | 72.5538
2019-09-12 13:00:00 | 9.987 | 283.773 | 10.951 | 280.294 | 11.228 | 284.567 | 11.83 | 281.833 | 14.583 | 889.583 | 33.627 | 71.5825
2019-09-12 13:15:00 | 10.445 | 275.56 | 11.367 | 274.693 | 11.679 | 279.733 | 11.937 | 276.367 | 14.791 | 889.6 | 33.579 | 71.5185
2019-09-12 13:30:00 | 11.988 | 275.227 | 12.414 | 276.49 | 12.713 | 279.867 | 13.062 | 277.9 | 14.941 | 889.767 | 32.621 | 71.1483
2019-09-12 13:45:00 | 12.863 | 258.973 | 13.811 | 266.39 | 13.994 | 270.933 | 13.926 | 264.983 | 15.842 | 889.867 | 30.451 | 67.6403
2019-09-12 14:00:00 | 10.785 | 288.34 | 11.766 | 291.214 | 11.696 | 295.367 | 11.81 | 291.667 | 15.659 | 889.783 | 31.352 | 64.6502
2019-09-12 14:15:00 | 12.268 | 281.9 | 13.076 | 281.498 | 13.625 | 287.967 | 14.039 | 284.167 | 16.108 | 889.667 | 28.835 | 63.4813
2019-09-12 14:30:00 | 11.181 | 270.207 | 12.184 | 271.3 | 12.355 | 274.933 | 12.447 | 271.45 | 15.858 | 889.783 | 29.285 | 61.2608
2019-09-12 14:45:00 | 10.306 | 273.1 | 11.415 | 271.604 | 11.666 | 274.933 | 11.736 | 272.967 | 15.207 | 889.467 | 31.683 | 60.0742
2019-09-12 15:00:00 | 12.294 | 269.693 | 12.763 | 274.519 | 12.948 | 277.967 | 13.01 | 275.433 | 15.849 | 889.7 | 27.24 | 58.5571
2019-09-12 15:15:00 | 12.616 | 269.38 | 13.279 | 273.36 | 13.427 | 278.367 | 13.492 | 274.8 | 16.086 | 889.817 | 27.155 | 59.5434
2019-09-12 15:30:00 | 11.051 | 270.98 | 11.977 | 272.825 | 12.519 | 277.633 | 13.18 | 274.2 | 16.153 | 889.25 | 28.44 | 57.563
2019-09-12 15:45:00 | 13.248 | 271.053 | 14.307 | 271.479 | 14.705 | 276 | 14.305 | 270.733 | 16.981 | 889.533 | 26.509 | 56.9548
2019-09-12 16:00:00 | 13.813 | 276.113 | 15.06 | 275.087 | 15.062 | 278.3 | 15.726 | 276.45 | 16.531 | 889.767 | 27.571 | 56.4709
2019-09-12 16:15:00 | 13.135 | 272.68 | 13.904 | 276.299 | 14.318 | 279.033 | 14.699 | 276.633 | 16.664 | 889.75 | 25.747 | 55.4931
2019-09-12 16:30:00 | 12.556 | 272.007 | 13.804 | 273.348 | 14.217 | 278.8 | 14.529 | 274.9 | 16.864 | 889.667 | 26.632 | 54.514
2019-09-12 16:45:00 | 13.599 | 273.413 | 14.7 | 273.931 | 14.704 | 276.467 | 15.098 | 274.267 | 16.748 | 889.483 | 26.301 | 54.0514
2019-09-12 17:00:00 | 12.566 | 280.4 | 13.367 | 281.626 | 13.851 | 284.8 | 14.204 | 283.333 | 16.664 | 889.6 | 27.085 | 53.873
2019-09-12 17:15:00 | 13.775 | 282.613 | 15.333 | 283.245 | 15.857 | 286.133 | 16.262 | 283.433 | 15.939 | 889.567 | 27.013 | 54.1637
2019-09-12 17:30:00 | 11.682 | 286.48 | 12.314 | 285.638 | 12.626 | 287.733 | 13.192 | 286.7 | 16.027 | 889.683 | 28.485 | 58.8449
2019-09-12 17:45:00 | 11.316 | 293.36 | 12.221 | 289.409 | 12.665 | 294.033 | 13.3 | 289.6 | 16.12 | 889.9 | 29.555 | 58.7148
2019-09-12 18:00:00 | 17.307 | 288.88 | 19.088 | 289.462 | 19.732 | 295.233 | 20.25 | 292.9 | 14.054 | 889.342 | 41.171 | 58.3183
2019-09-12 18:15:00 | 16.156 | 287.973 | 17.504 | 287.711 | 17.836 | 292.033 | 18.995 | 289.033 | 13.389 | 889.717 | 40.707 | 67.7987
2019-09-12 18:30:00 | 11.978 | 280.9 | 13.192 | 282.82 | 13.591 | 284.2 | 13.912 | 285 | 13.845 | 890.008 | 41.579 | 70.1308
2019-09-12 18:45:00 | 11.406 | 293.707 | 12.46 | 290.362 | 12.841 | 294.3 | 13.322 | 292.6 | 13.23 | 890.3 | 45.499 | 57.7314
2019-09-12 19:00:00 | 7.885 | 278.96 | 8.454 | 282.729 | 8.512 | 286.7 | 9.035 | 283.5 | 13.016 | 889.9 | 47.029 | 39.9708
2019-09-12 19:15:00 | 6.121 | 272.407 | 6.677 | 274.728 | 6.667 | 278.033 | 7.028 | 272.933 | 13.143 | 889.817 | 46.683 | 29.5184
2019-09-12 19:30:00 | 5.989 | 257.56 | 6.588 | 256.956 | 6.719 | 261.183 | 6.874 | 256.633 | 13.349 | 890.15 | 46.283 | 43.6977
2019-09-12 19:45:00 | 7.186 | 264.487 | 7.851 | 266.493 | 8.008 | 271.333 | 8.157 | 266.967 | 13.268 | 889.825 | 44.896 | 51.3029
2019-09-12 20:00:00 | 7.289 | 258.347 | 8.141 | 263.534 | 8.456 | 270 | 8.513 | 265.667 | 13.314 | 889.65 | 46.757 | 44.0715
2019-09-12 20:15:00 | 6.815 | 262.527 | 7.63 | 263.357 | 7.836 | 269.35 | 7.95 | 264.617 | 13.022 | 890.325 | 48.293 | 45.4002
2019-09-12 20:30:00 | 7.317 | 262.58 | 8.174 | 263.192 | 8.194 | 266.933 | 7.973 | 263.15 | 12.649 | 890.067 | 48.464 | 37.2159
2019-09-12 20:45:00 | 6.119 | 259.907 | 7.123 | 258.307 | 7.393 | 264.8 | 7.624 | 260.383 | 12.524 | 889.683 | 49.771 | 35.4289
2019-09-12 21:00:00 | 6.2 | 263.46 | 7.084 | 266.754 | 7.771 | 271.333 | 8.275 | 267.233 | 12.44 | 889.275 | 49.813 | 30.9878
2019-09-12 21:15:00 | 5.772 | 297.08 | 6.379 | 295.778 | 6.621 | 301.033 | 7.167 | 300.5 | 12.549 | 890.075 | 48.565 | 24.6112
2019-09-12 21:30:00 | 5.759 | 286.36 | 6.693 | 284.286 | 7.085 | 288.4 | 7.355 | 286.633 | 11.953 | 889.658 | 49.504 | 21.7952
2019-09-12 21:45:00 | 5.044 | 267.787 | 5.99 | 269.578 | 6.381 | 275.767 | 6.527 | 270.6 | 11.682 | 889.833 | 51.157 | 34.8121
2019-09-12 22:00:00 | 6.045 | 253.487 | 7.128 | 253.459 | 7.497 | 258.367 | 7.709 | 254.85 | 11.028 | 890.008 | 52.997 | 46.7588
2019-09-12 22:15:00 | 6.173 | 251.12 | 7.063 | 248.033 | 7.547 | 254.067 | 7.543 | 249.617 | 10.855 | 889.8 | 54.501 | 49.2487
2019-09-12 22:30:00 | 5.888 | 255.4 | 7.062 | 253.586 | 7.524 | 258.783 | 7.814 | 256.3 | 10.738 | 889.742 | 55.221 | 48.5253
2019-09-12 22:45:00 | 6.504 | 257.52 | 7.769 | 257.728 | 8.436 | 264.417 | 8.645 | 258.233 | 10.672 | 889.842 | 54.565 | 42.953
2019-09-12 23:00:00 | 6.038 | 245.627 | 7.256 | 245.142 | 7.735 | 250.167 | 7.722 | 244.25 | 10.166 | 889.833 | 54.453 | 56.2442
2019-09-12 23:15:00 | 6.981 | 239.227 | 8.373 | 239.984 | 9.087 | 246.4 | 9.144 | 242 | 10.514 | 889.925 | 58.357 | 54.8664
2019-09-12 23:30:00 | 6.643 | 240.073 | 8.111 | 239.906 | 8.812 | 246 | 9.008 | 241.9 | 9.88 | 889.992 | 60.011 | 54.2432
2019-09-12 23:45:00 | 6.931 | 234.167 | 8.238 | 233.587 | 8.953 | 239.833 | 9.115 | 234.767 | 9.926 | 889.692 | 59.861 | 59.7238